## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2834-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2834-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2834-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2834-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2834-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2834-1_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_2834-1_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_2834-1_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2834-1_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_2834-1_0_4_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_2834-1_0_4_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_2834-1_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2834-1_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2834-1_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_2834-1_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2834-1_0_4_node_90 | 0.4 | n |  | TRUE
16 | bus_LV_2834-1_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_2834-1_0_4_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_2834-1_0_4_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_2834-1_0_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_2834-1_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2834-1_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2834-1_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2834-1_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_2834-1_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2834-1_0_4_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_2834-1_0_4_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_2834-1_0_4_node_94 | 0.4 | n |  | TRUE
28 | bus_LV_2834-1_0_4_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_2834-1_0_4_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_2834-1_0_4_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_2834-1_0_4_node_95 | 0.4 | n |  | TRUE
32 | bus_LV_2834-1_0_4_node_96 | 0.4 | n |  | TRUE
33 | bus_LV_2834-1_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2834-1_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2834-1_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2834-1_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2834-1_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2834-1_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2834-1_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_2834-1_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_2834-1_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_2834-1_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2834-1_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_2834-1_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2834-1_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2834-1_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2834-1_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_2834-1_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_2834-1_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2834-1_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_2834-1_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2834-1_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_2834-1_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2834-1_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2834-1_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2834-1_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2834-1_0_4_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_2834-1_0_4_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_2834-1_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_2834-1_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_2834-1_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_2834-1_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_2834-1_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_2834-1_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_2834-1_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_2834-1_0_4_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_2834-1_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_2834-1_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_2834-1_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_2834-1_0_4_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_2834-1_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_2834-1_0_4_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_2834-1_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_2834-1_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_2834-1_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_2834-1_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_2834-1_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_2834-1_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_2834-1_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_2834-1_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_2834-1_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_2834-1_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_2834-1_0_4_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_2834-1_0_4_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_2834-1_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_2834-1_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_2834-1_0_4_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_2834-1_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_2834-1_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_MV_285_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2834-1_0_4_load_0 | 0 | 0.0013308 | 0.00033353 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2834-1_0_4_load_1 | 1 | 0.0018255 | 0.0004575 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2834-1_0_4_load_2 | 2 | 0.0018852 | 0.00047247 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2834-1_0_4_load_3 | 3 | 0.00050199 | 0.00012581 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2834-1_0_4_load_11 | 5 | 0.00074287 | 0.00018618 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2834-1_0_4_load_5 | 7 | 0.0015725 | 0.00039411 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2834-1_0_4_load_12 | 8 | 0.00024494 | 6.1388e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2834-1_0_4_load_43 | 9 | 0.0036253 | 0.00090858 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2834-1_0_4_load_6 | 11 | 0.0071923 | 0.0018026 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2834-1_0_4_load_7 | 12 | 0.0026175 | 0.000656 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2834-1_0_4_load_17 | 13 | 4.4171e-05 | 1.107e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2834-1_0_4_load_16 | 14 | 0.00013519 | 3.3881e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2834-1_0_4_load_37 | 16 | 0.00065868 | 0.00016508 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2834-1_0_4_load_56 | 17 | 0.0013658 | 0.00034229 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2834-1_0_4_load_44 | 18 | 0.0015087 | 0.00037811 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2834-1_0_4_load_13 | 20 | 0.00012903 | 3.2339e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2834-1_0_4_load_14 | 21 | 0.002335 | 0.00058521 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2834-1_0_4_load_15 | 22 | 0.076803 | 0.019249 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2834-1_0_4_load_22 | 23 | 0.057609 | 0.014438 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2834-1_0_4_load_20 | 24 | 0.0059086 | 0.0014808 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2834-1_0_4_load_87 | 25 | 0.00045492 | 0.00011401 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2834-1_0_4_load_88 | 26 | 0.00079581 | 0.00019945 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2834-1_0_4_load_94 | 27 | 0.00047744 | 0.00011966 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2834-1_0_4_load_91 | 28 | 0.00030392 | 7.617e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2834-1_0_4_load_92 | 29 | 0.0011667 | 0.00029239 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2834-1_0_4_load_95 | 31 | 0.0012298 | 0.00030821 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2834-1_0_4_load_96 | 32 | 0.00043453 | 0.0001089 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2834-1_0_4_load_19 | 33 | 0.0048205 | 0.0012081 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2834-1_0_4_load_21 | 34 | 0.0050984 | 0.0012778 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2834-1_0_4_load_23 | 35 | 0.0074991 | 0.0018794 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2834-1_0_4_load_24 | 36 | 0.0075533 | 0.001893 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2834-1_0_4_load_25 | 37 | 0.027785 | 0.0069637 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2834-1_0_4_load_36 | 38 | 0.0082501 | 0.0020677 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2834-1_0_4_load_38 | 39 | 0.008021 | 0.0020103 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2834-1_0_4_load_26 | 40 | 0.034966 | 0.0087634 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2834-1_0_4_load_27 | 41 | 0.00074551 | 0.00018684 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2834-1_0_4_load_28 | 42 | 0.041089 | 0.010298 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2834-1_0_4_load_29 | 43 | 0.00017789 | 4.4583e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2834-1_0_4_load_30 | 44 | 0.038457 | 0.0096381 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2834-1_0_4_load_31 | 45 | 0.0038074 | 0.00095422 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2834-1_0_4_load_32 | 46 | 0.007803 | 0.0019556 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2834-1_0_4_load_35 | 49 | 0.0031841 | 0.00079802 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2834-1_0_4_load_40 | 50 | 0.0070705 | 0.001772 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2834-1_0_4_load_41 | 51 | 0.0060158 | 0.0015077 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2834-1_0_4_load_42 | 53 | 0.0078702 | 0.0019725 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2834-1_0_4_load_47 | 54 | 0.00064982 | 0.00016286 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2834-1_0_4_load_48 | 55 | 0.0010925 | 0.00027382 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2834-1_0_4_load_49 | 56 | 0.0035008 | 0.00087739 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2834-1_0_4_load_69 | 57 | 0.0010657 | 0.0002671 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2834-1_0_4_load_70 | 58 | 0.0031308 | 0.00078465 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2834-1_0_4_load_71 | 59 | 0.0025102 | 0.00062912 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2834-1_0_4_load_50 | 60 | 0.0019366 | 0.00048537 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2834-1_0_4_load_63 | 62 | 0.00085029 | 0.0002131 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2834-1_0_4_load_57 | 63 | 0.0014301 | 0.00035843 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2834-1_0_4_load_51 | 64 | 0.00051645 | 0.00012943 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2834-1_0_4_load_52 | 65 | 0.00099078 | 0.00024831 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2834-1_0_4_load_53 | 66 | 0.00088632 | 0.00022213 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2834-1_0_4_load_54 | 67 | 0.00092038 | 0.00023067 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2834-1_0_4_load_55 | 68 | 0.0014804 | 0.00037102 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2834-1_0_4_load_60 | 69 | 0.00067546 | 0.00016929 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2834-1_0_4_load_74 | 70 | 0.0016317 | 0.00040895 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2834-1_0_4_load_61 | 71 | 0.00083082 | 0.00020822 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2834-1_0_4_load_73 | 72 | 0.0017064 | 0.00042766 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2834-1_0_4_load_62 | 73 | 0.0035307 | 0.00088487 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2834-1_0_4_load_64 | 74 | 0.00066116 | 0.0001657 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2834-1_0_4_load_65 | 75 | 0.00097116 | 0.0002434 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2834-1_0_4_load_66 | 76 | 0.0010605 | 0.00026579 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2834-1_0_4_load_67 | 77 | 0.001119 | 0.00028046 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2834-1_0_4_load_68 | 78 | 0.0010102 | 0.00025318 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2834-1_0_4_load_78 | 79 | 0.001188 | 0.00029774 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2834-1_0_4_load_79 | 80 | 0.0022439 | 0.00056237 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2834-1_0_4_load_76 | 81 | 0.0010651 | 0.00026694 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2834-1_0_4_load_83 | 85 | 0.0018859 | 0.00047265 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2834-1_0_4_load_84 | 86 | 0.001446 | 0.00036239 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2834-1_0_4_load_77 | 88 | 0.0014262 | 0.00035744 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2834-1_0_4_load_81 | 89 | 0.0011295 | 0.00028307 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2834-1_0_4_line_0 |  | 0 | 1 | 0.027284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2834-1_0_4_line_1 |  | 0 | 2 | 0.018189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2834-1_0_4_line_2 |  | 1 | 3 | 0.024497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2834-1_0_4_line_3 |  | 2 | 4 | 0.016382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2834-1_0_4_line_4 |  | 3 | 5 | 0.00093382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2834-1_0_4_line_5 |  | 4 | 6 | 0.014793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2834-1_0_4_line_6 |  | 4 | 7 | 0.015507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2834-1_0_4_line_7 |  | 5 | 8 | 0.012874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2834-1_0_4_line_8 |  | 6 | 9 | 0.0031136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2834-1_0_4_line_9 |  | 6 | 10 | 0.02654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2834-1_0_4_line_10 |  | 7 | 11 | 0.037875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2834-1_0_4_line_11 |  | 8 | 20 | 0.0025551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2834-1_0_4_line_12 |  | 9 | 16 | 0.053377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2834-1_0_4_line_13 |  | 10 | 17 | 0.045548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2834-1_0_4_line_14 |  | 11 | 12 | 0.042079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2834-1_0_4_line_15 |  | 12 | 13 | 0.11763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2834-1_0_4_line_16 |  | 13 | 14 | 0.0058197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2834-1_0_4_line_17 |  | 14 | 15 | 0.17587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2834-1_0_4_line_18 |  | 15 | 28 | 0.018308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2834-1_0_4_line_19 |  | 15 | 26 | 0.01275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2834-1_0_4_line_20 |  | 16 | 43 | 0.059737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2834-1_0_4_line_21 |  | 17 | 63 | 0.00030273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2834-1_0_4_line_22 |  | 18 | 19 | 0.0085409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2834-1_0_4_line_23 |  | 19 | 54 | 0.0092588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2834-1_0_4_line_24 |  | 19 | 55 | 0.019049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2834-1_0_4_line_25 |  | 20 | 21 | 0.027022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2834-1_0_4_line_26 |  | 21 | 22 | 0.012282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2834-1_0_4_line_27 |  | 22 | 23 | 0.070615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2834-1_0_4_line_28 |  | 23 | 24 | 0.01957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2834-1_0_4_line_29 |  | 24 | 33 | 0.011313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2834-1_0_4_line_30 |  | 25 | 26 | 0.026821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2834-1_0_4_line_31 |  | 25 | 27 | 0.43377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2834-1_0_4_line_32 |  | 27 | 32 | 0.029633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2834-1_0_4_line_33 |  | 27 | 30 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2834-1_0_4_line_34 |  | 29 | 30 | 0.0036343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2834-1_0_4_line_35 |  | 30 | 31 | 0.035313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2834-1_0_4_line_36 |  | 33 | 34 | 0.0042307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2834-1_0_4_line_37 |  | 34 | 35 | 0.030106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2834-1_0_4_line_38 |  | 35 | 36 | 0.017688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2834-1_0_4_line_39 |  | 36 | 37 | 0.034977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2834-1_0_4_line_40 |  | 37 | 38 | 0.0082564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2834-1_0_4_line_41 |  | 38 | 39 | 0.026083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2834-1_0_4_line_42 |  | 39 | 52 | 0.0016861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2834-1_0_4_line_43 |  | 40 | 41 | 0.047354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2834-1_0_4_line_44 |  | 40 | 42 | 0.042413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2834-1_0_4_line_45 |  | 41 | 43 | 0.036017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2834-1_0_4_line_46 |  | 44 | 45 | 0.029438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2834-1_0_4_line_47 |  | 45 | 46 | 0.048289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2834-1_0_4_line_48 |  | 46 | 47 | 0.0061012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2834-1_0_4_line_49 |  | 47 | 48 | 0.059857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2834-1_0_4_line_50 |  | 47 | 49 | 0.016708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2834-1_0_4_line_51 |  | 48 | 50 | 0.051313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2834-1_0_4_line_52 |  | 50 | 51 | 0.028644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2834-1_0_4_line_53 |  | 51 | 53 | 0.016072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2834-1_0_4_line_54 |  | 52 | 53 | 0.065553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2834-1_0_4_line_55 |  | 54 | 56 | 0.026217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2834-1_0_4_line_56 |  | 55 | 57 | 0.0010817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2834-1_0_4_line_57 |  | 56 | 60 | 0.010442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2834-1_0_4_line_58 |  | 58 | 59 | 0.023151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2834-1_0_4_line_59 |  | 59 | 84 | 0.0097896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2834-1_0_4_line_60 |  | 60 | 61 | 0.0055609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2834-1_0_4_line_61 |  | 61 | 62 | 0.0058691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2834-1_0_4_line_62 |  | 61 | 63 | 0.031323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2834-1_0_4_line_63 |  | 62 | 73 | 0.011737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2834-1_0_4_line_64 |  | 64 | 65 | 0.0038052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2834-1_0_4_line_65 |  | 64 | 66 | 0.017252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2834-1_0_4_line_66 |  | 65 | 67 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2834-1_0_4_line_67 |  | 66 | 68 | 0.022095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2834-1_0_4_line_68 |  | 67 | 69 | 0.0031376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2834-1_0_4_line_69 |  | 68 | 70 | 0.034628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2834-1_0_4_line_70 |  | 69 | 71 | 0.010819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2834-1_0_4_line_71 |  | 70 | 72 | 0.040835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2834-1_0_4_line_72 |  | 71 | 73 | 0.014442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2834-1_0_4_line_73 |  | 72 | 87 | 0.016422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2834-1_0_4_line_74 |  | 74 | 75 | 0.01415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2834-1_0_4_line_75 |  | 74 | 76 | 0.0066297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2834-1_0_4_line_76 |  | 75 | 77 | 0.0052085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2834-1_0_4_line_77 |  | 76 | 78 | 0.017077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2834-1_0_4_line_78 |  | 77 | 79 | 0.019574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2834-1_0_4_line_79 |  | 78 | 80 | 0.026288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2834-1_0_4_line_80 |  | 79 | 81 | 0.02161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2834-1_0_4_line_81 |  | 80 | 82 | 0.0026619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2834-1_0_4_line_82 |  | 80 | 83 | 0.096255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2834-1_0_4_line_83 |  | 81 | 87 | 0.014291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2834-1_0_4_line_84 |  | 82 | 84 | 0.01049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2834-1_0_4_line_85 |  | 83 | 86 | 0.036358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2834-1_0_4_line_86 |  | 85 | 86 | 0.0050844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2834-1_0_4_line_87 |  | 87 | 88 | 0.0078726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2834-1_0_4_line_88 |  | 88 | 89 | 0.014203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2834-1_0_4_trafo_22 | 0.63 MVA 20/0.4 kV | 90 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2620816.3505 | 1253637.0893 | 2620840.7189 | 1253649.3607
1 | 2620816.3505 | 1253637.0893 | 2620800.1049 | 1253628.9084
2 | 2620840.7189 | 1253649.3607 | 2620862.5982 | 1253660.3785
3 | 2620785.4729 | 1253621.5401 | 2620800.1049 | 1253628.9084
4 | 2620862.5982 | 1253660.3785 | 2620863.4322 | 1253660.7985
5 | 2620785.4729 | 1253621.5401 | 2620784.5923 | 1253627.4076 | 2620784.6622 | 1253631.1547 | 2620785.1967 | 1253633.636 | 2620786.086 | 1253636.0518
6 | 2620785.4729 | 1253621.5401 | 2620771.7418 | 1253614.3349
7 | 2620863.4322 | 1253660.7985 | 2620874.9308 | 1253666.589
8 | 2620786.086 | 1253636.0518 | 2620788.0505 | 1253638.4675
9 | 2620786.086 | 1253636.0518 | 2620778.7302 | 1253627.476 | 2620774.8814 | 1253623.5155 | 2620771.0743 | 1253620.5557 | 2620766.8737 | 1253617.9615
10 | 2620771.7418 | 1253614.3349 | 2620770.4346 | 1253613.6489 | 2620748.5332 | 1253602.9208 | 2620737.7364 | 1253597.6592
11 | 2620874.9308 | 1253666.589 | 2620877.2128 | 1253667.7381
12 | 2620817.8505 | 1253682.6877 | 2620794.7097 | 1253646.6557 | 2620788.0505 | 1253638.4675
13 | 2620766.8737 | 1253617.9615 | 2620754.5911 | 1253628.8592 | 2620751.4702 | 1253632.4951 | 2620740.4704 | 1253647.6667 | 2620737.146 | 1253652.1686
14 | 2620737.7364 | 1253597.6592 | 2620713.9485 | 1253586.0667 | 2620699.9709 | 1253579.102
15 | 2620699.9709 | 1253579.102 | 2620762.2547 | 1253479.3145
16 | 2620762.2547 | 1253479.3145 | 2620758.9203 | 1253476.0732 | 2620758.0375 | 1253475.3061
17 | 2620758.0375 | 1253475.3061 | 2620840.4133 | 1253319.9219
18 | 2620840.4133 | 1253319.9219 | 2620828.1932 | 1253312.8077 | 2620824.7375 | 1253310.4777
19 | 2620840.4133 | 1253319.9219 | 2620850.5633 | 1253312.2051
20 | 2620817.8505 | 1253682.6877 | 2620834.0718 | 1253707.9454 | 2620853.2906 | 1253728.3374 | 2620854.583 | 1253729.4378
21 | 2620736.9662 | 1253652.4121 | 2620737.146 | 1253652.1686
22 | 2620675.9341 | 1253648.4534 | 2620668.5665 | 1253644.1331
23 | 2620675.9341 | 1253648.4534 | 2620683.5647 | 1253653.6974
24 | 2620675.9341 | 1253648.4534 | 2620667.9215 | 1253657.2869 | 2620661.978 | 1253661.2132
25 | 2620901.347 | 1253679.8915 | 2620877.2128 | 1253667.7381
26 | 2620901.347 | 1253679.8915 | 2620912.317 | 1253685.4158
27 | 2620975.5985 | 1253716.7486 | 2620934.909 | 1253696.7926 | 2620912.317 | 1253685.4158
28 | 2620975.5985 | 1253716.7486 | 2620993.1686 | 1253725.3658
29 | 2621003.3256 | 1253730.3473 | 2620993.1686 | 1253725.3658
30 | 2620864.4709 | 1253290.5314 | 2620859.0607 | 1253305.7446 | 2620850.5633 | 1253312.2051
31 | 2620864.4709 | 1253290.5314 | 2621077.4025 | 1252912.6172
32 | 2621077.4025 | 1252912.6172 | 2621074.9512 | 1252912.936 | 2621070.4408 | 1252908.2392 | 2621063.8529 | 1252897.8534 | 2621061.7298 | 1252889.7776
33 | 2621089.7787 | 1252906.2398 | 2621082.7717 | 1252911.9187 | 2621077.4025 | 1252912.6172
34 | 2621089.7787 | 1252906.2398 | 2621093.223 | 1252905.0802
35 | 2621089.7787 | 1252906.2398 | 2621076.2808 | 1252873.6088
36 | 2621003.3256 | 1253730.3473 | 2621007.124 | 1253732.2102
37 | 2621034.1544 | 1253745.4672 | 2621007.124 | 1253732.2102
38 | 2621034.1544 | 1253745.4672 | 2621043.1913 | 1253749.8993 | 2621050.0356 | 1253753.2561
39 | 2621050.0356 | 1253753.2561 | 2621081.4388 | 1253768.6579
40 | 2621088.7809 | 1253772.4314 | 2621085.0938 | 1253770.4504 | 2621081.4388 | 1253768.6579
41 | 2621088.7809 | 1253772.4314 | 2621111.6135 | 1253784.6985 | 2621111.7605 | 1253784.7698
42 | 2621113.2779 | 1253785.505 | 2621111.7605 | 1253784.7698
43 | 2620923.0198 | 1253771.8727 | 2620920.0452 | 1253772.1901 | 2620911.4744 | 1253772.3823 | 2620904.9628 | 1253770.5359 | 2620884.4753 | 1253754.8868 | 2620882.0074 | 1253752.7858
44 | 2620923.0198 | 1253771.8727 | 2620939.2069 | 1253770.1452 | 2620948.063 | 1253770.3321 | 2620953.8011 | 1253771.1863 | 2620959.154 | 1253772.1391 | 2620964.6435 | 1253774.6529
45 | 2620882.0074 | 1253752.7858 | 2620854.583 | 1253729.4378
46 | 2621032.0983 | 1253811.6041 | 2621036.5585 | 1253814.1517 | 2621055.5779 | 1253829.279
47 | 2621093.3064 | 1253859.4084 | 2621083.153 | 1253851.7196 | 2621061.4967 | 1253833.9866 | 2621055.5779 | 1253829.279
48 | 2621098.1704 | 1253863.0916 | 2621093.3064 | 1253859.4084
49 | 2621098.1704 | 1253863.0916 | 2621121.7801 | 1253876.6512 | 2621150.489 | 1253892.4416
50 | 2621098.1704 | 1253863.0916 | 2621104.9623 | 1253878.3566
51 | 2621150.489 | 1253892.4416 | 2621173.731 | 1253846.6943
52 | 2621186.7055 | 1253821.1568 | 2621173.731 | 1253846.6943
53 | 2621186.7055 | 1253821.1568 | 2621172.2579 | 1253814.1154
54 | 2621113.2779 | 1253785.505 | 2621142.1221 | 1253799.4279 | 2621172.2579 | 1253814.1154
55 | 2620683.5647 | 1253653.6974 | 2620705.171 | 1253668.5459
56 | 2620661.978 | 1253661.2132 | 2620660.9408 | 1253661.5202
57 | 2620705.171 | 1253668.5459 | 2620713.7763 | 1253674.4598
58 | 2620663.1271 | 1253723.9836 | 2620682.3486 | 1253736.8875
59 | 2620690.4765 | 1253742.344 | 2620682.3486 | 1253736.8875
60 | 2620718.3593 | 1253677.6094 | 2620713.7763 | 1253674.4598
61 | 2620718.3593 | 1253677.6094 | 2620723.1472 | 1253681.0038
62 | 2620718.3593 | 1253677.6094 | 2620736.9662 | 1253652.4121
63 | 2620732.5786 | 1253687.972 | 2620731.0625 | 1253686.6152 | 2620723.1472 | 1253681.0038
64 | 2620767.9628 | 1253719.6373 | 2620765.1272 | 1253717.0998
65 | 2620767.9628 | 1253719.6373 | 2620780.8186 | 1253731.142
66 | 2620753.7406 | 1253706.9099 | 2620765.1272 | 1253717.0998
67 | 2620797.721 | 1253745.3701 | 2620787.8822 | 1253737.0917 | 2620781.9773 | 1253732.1789 | 2620780.8186 | 1253731.142
68 | 2620753.7406 | 1253706.9099 | 2620751.4026 | 1253704.8176
69 | 2620797.721 | 1253745.3701 | 2620821.5204 | 1253765.395 | 2620823.3572 | 1253768.4036
70 | 2620743.3404 | 1253697.6028 | 2620751.4026 | 1253704.8176
71 | 2620824.3552 | 1253804.8022 | 2620831.86 | 1253794.2837 | 2620830.289 | 1253779.7575 | 2620823.3572 | 1253768.4036
72 | 2620732.5786 | 1253687.972 | 2620743.3404 | 1253697.6028
73 | 2620809.9238 | 1253810.9512 | 2620822.0953 | 1253807.9696 | 2620824.3552 | 1253804.8022
74 | 2620744.18 | 1253775.6011 | 2620747.899 | 1253777.8901 | 2620751.3768 | 1253780.0481 | 2620756.2149 | 1253783.0427
75 | 2620744.18 | 1253775.6011 | 2620738.534 | 1253772.1262
76 | 2620760.6437 | 1253785.784 | 2620756.2149 | 1253783.0427
77 | 2620723.9907 | 1253763.1751 | 2620738.534 | 1253772.1262
78 | 2620760.6437 | 1253785.784 | 2620777.2873 | 1253796.0861
79 | 2620723.9907 | 1253763.1751 | 2620701.6031 | 1253749.396
80 | 2620796.8185 | 1253805.2513 | 2620780.9309 | 1253798.3413 | 2620777.2873 | 1253796.0861
81 | 2620699.3362 | 1253748.0008 | 2620701.6031 | 1253749.396
82 | 2620701.6031 | 1253749.396 | 2620654.574 | 1253833.3793
83 | 2620809.9238 | 1253810.9512 | 2620796.8185 | 1253805.2513
84 | 2620690.4765 | 1253742.344 | 2620699.3362 | 1253748.0008
85 | 2620654.574 | 1253833.3793 | 2620649.2652 | 1253830.5701 | 2620646.0856 | 1253829.4472 | 2620641.6428 | 1253829.265 | 2620634.1351 | 1253829.6503 | 2620629.9998 | 1253829.9806 | 2620625.7842 | 1253829.5545 | 2620619.3063 | 1253828.1409
86 | 2620614.3388 | 1253827.0569 | 2620619.3063 | 1253828.1409
87 | 2620809.9238 | 1253810.9512 | 2620804.8693 | 1253816.9869
88 | 2620804.8693 | 1253816.9869 | 2620795.7506 | 1253827.8757

## bus_geodata
| x | y | coords
0 | 2620816.3505 | 1253637.0893
1 | 2620840.7189 | 1253649.3607
2 | 2620800.1049 | 1253628.9084
3 | 2620862.5982 | 1253660.3785
4 | 2620785.4729 | 1253621.5401
5 | 2620863.4322 | 1253660.7985
6 | 2620786.086 | 1253636.0518
7 | 2620771.7418 | 1253614.3349
8 | 2620874.9308 | 1253666.589
9 | 2620788.0505 | 1253638.4675
10 | 2620766.8737 | 1253617.9615
11 | 2620737.7364 | 1253597.6592
12 | 2620699.9709 | 1253579.102
13 | 2620762.2547 | 1253479.3145
14 | 2620758.0375 | 1253475.3061
15 | 2620840.4133 | 1253319.9219
16 | 2620817.8505 | 1253682.6877
17 | 2620737.146 | 1253652.1686
18 | 2620668.5665 | 1253644.1331
19 | 2620675.9341 | 1253648.4534
20 | 2620877.2128 | 1253667.7381
21 | 2620901.347 | 1253679.8915
22 | 2620912.317 | 1253685.4158
23 | 2620975.5985 | 1253716.7486
24 | 2620993.1686 | 1253725.3658
25 | 2620864.4709 | 1253290.5314
26 | 2620850.5633 | 1253312.2051
27 | 2621077.4025 | 1252912.6172
28 | 2620824.7375 | 1253310.4777
29 | 2621093.223 | 1252905.0802
30 | 2621089.7787 | 1252906.2398
31 | 2621076.2808 | 1252873.6088
32 | 2621061.7298 | 1252889.7776
33 | 2621003.3256 | 1253730.3473
34 | 2621007.124 | 1253732.2102
35 | 2621034.1544 | 1253745.4672
36 | 2621050.0356 | 1253753.2561
37 | 2621081.4388 | 1253768.6579
38 | 2621088.7809 | 1253772.4314
39 | 2621111.7605 | 1253784.7698
40 | 2620923.0198 | 1253771.8727
41 | 2620882.0074 | 1253752.7858
42 | 2620964.6435 | 1253774.6529
43 | 2620854.583 | 1253729.4378
44 | 2621032.0983 | 1253811.6041
45 | 2621055.5779 | 1253829.279
46 | 2621093.3064 | 1253859.4084
47 | 2621098.1704 | 1253863.0916
48 | 2621150.489 | 1253892.4416
49 | 2621104.9623 | 1253878.3566
50 | 2621173.731 | 1253846.6943
51 | 2621186.7055 | 1253821.1568
52 | 2621113.2779 | 1253785.505
53 | 2621172.2579 | 1253814.1154
54 | 2620683.5647 | 1253653.6974
55 | 2620661.978 | 1253661.2132
56 | 2620705.171 | 1253668.5459
57 | 2620660.9408 | 1253661.5202
58 | 2620663.1271 | 1253723.9836
59 | 2620682.3486 | 1253736.8875
60 | 2620713.7763 | 1253674.4598
61 | 2620718.3593 | 1253677.6094
62 | 2620723.1472 | 1253681.0038
63 | 2620736.9662 | 1253652.4121
64 | 2620767.9628 | 1253719.6373
65 | 2620765.1272 | 1253717.0998
66 | 2620780.8186 | 1253731.142
67 | 2620753.7406 | 1253706.9099
68 | 2620797.721 | 1253745.3701
69 | 2620751.4026 | 1253704.8176
70 | 2620823.3572 | 1253768.4036
71 | 2620743.3404 | 1253697.6028
72 | 2620824.3552 | 1253804.8022
73 | 2620732.5786 | 1253687.972
74 | 2620744.18 | 1253775.6011
75 | 2620756.2149 | 1253783.0427
76 | 2620738.534 | 1253772.1262
77 | 2620760.6437 | 1253785.784
78 | 2620723.9907 | 1253763.1751
79 | 2620777.2873 | 1253796.0861
80 | 2620701.6031 | 1253749.396
81 | 2620796.8185 | 1253805.2513
82 | 2620699.3362 | 1253748.0008
83 | 2620654.574 | 1253833.3793
84 | 2620690.4765 | 1253742.344
85 | 2620614.3388 | 1253827.0569
86 | 2620619.3063 | 1253828.1409
87 | 2620809.9238 | 1253810.9512
88 | 2620804.8693 | 1253816.9869
89 | 2620795.7506 | 1253827.8757
90 | 2620971.2428 | 1253714.6124

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1