## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2861-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2861-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2861-10_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2861-10_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2861-10_0_4_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_2861-10_0_4_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_2861-10_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_2861-10_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2861-10_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_2861-10_0_4_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_2861-10_0_4_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_2861-10_0_4_node_84 | 0.4 | n |  | TRUE
12 | bus_LV_2861-10_0_4_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_2861-10_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_2861-10_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2861-10_0_4_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_2861-10_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2861-10_0_4_node_85 | 0.4 | n |  | TRUE
18 | bus_LV_2861-10_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2861-10_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_2861-10_0_4_node_6 | 0.4 | n |  | TRUE
21 | bus_LV_2861-10_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2861-10_0_4_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_2861-10_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2861-10_0_4_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_2861-10_0_4_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_2861-10_0_4_node_7 | 0.4 | n |  | TRUE
27 | bus_LV_2861-10_0_4_node_9 | 0.4 | n |  | TRUE
28 | bus_LV_2861-10_0_4_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_2861-10_0_4_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_2861-10_0_4_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_2861-10_0_4_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_2861-10_0_4_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_2861-10_0_4_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_2861-10_0_4_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_2861-10_0_4_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_2861-10_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_2861-10_0_4_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_2861-10_0_4_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_2861-10_0_4_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_2861-10_0_4_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_2861-10_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_2861-10_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_2861-10_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_2861-10_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_2861-10_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_2861-10_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_2861-10_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_2861-10_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_2861-10_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_2861-10_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_2861-10_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_2861-10_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_2861-10_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2861-10_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_2861-10_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_2861-10_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_2861-10_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_2861-10_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_2861-10_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_2861-10_0_4_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_2861-10_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_2861-10_0_4_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_2861-10_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_2861-10_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2861-10_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_2861-10_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_2861-10_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_2861-10_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_2861-10_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_2861-10_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_2861-10_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_2861-10_0_4_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_2861-10_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_2861-10_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_2861-10_0_4_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_2861-10_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_2861-10_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_2861-10_0_4_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_2861-10_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_2861-10_0_4_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_2861-10_0_4_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_2861-10_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_2861-10_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_2861-10_0_4_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_2861-10_0_4_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_2861-10_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_2861-10_0_4_node_88 | 0.4 | n |  | TRUE
88 | bus_MV_299_0_node_1 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2861-10_0_4_load_0 | 0 | 0.010876 | 0.0027259 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2861-10_0_4_load_23 | 4 | 0.001225 | 0.00030702 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2861-10_0_4_load_20 | 5 | 0.0026894 | 0.00067403 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2861-10_0_4_load_16 | 8 | 0.014288 | 0.003581 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2861-10_0_4_load_62 | 9 | 0.0049225 | 0.0012337 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2861-10_0_4_load_58 | 10 | 0.00089654 | 0.00022469 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2861-10_0_4_load_84 | 11 | 0.0046048 | 0.0011541 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2861-10_0_4_load_49 | 12 | 0.0059989 | 0.0015035 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2861-10_0_4_load_19 | 13 | 0.004302 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2861-10_0_4_load_17 | 14 | 0.010559 | 0.0026462 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2861-10_0_4_load_85 | 17 | 0.0036138 | 0.0009057 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2861-10_0_4_load_6 | 20 | 0.034776 | 0.0087156 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2861-10_0_4_load_52 | 22 | 0.031557 | 0.0079089 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2861-10_0_4_load_90 | 24 | 0.0027367 | 0.00068588 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2861-10_0_4_load_83 | 25 | 0.013525 | 0.0033897 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2861-10_0_4_load_10 | 28 | 0.0071848 | 0.0018007 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2861-10_0_4_load_79 | 29 | 0.0080475 | 0.0020169 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2861-10_0_4_load_82 | 30 | 0.010771 | 0.0026996 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2861-10_0_4_load_80 | 31 | 0.010184 | 0.0025522 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2861-10_0_4_load_81 | 33 | 0.012346 | 0.0030942 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2861-10_0_4_load_70 | 35 | 0.0036694 | 0.00091965 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2861-10_0_4_load_67 | 38 | 0.0058808 | 0.0014739 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2861-10_0_4_load_63 | 39 | 0.010109 | 0.0025335 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2861-10_0_4_load_89 | 40 | 0.0021818 | 0.00054681 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2861-10_0_4_load_21 | 41 | 0.0064523 | 0.0016171 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2861-10_0_4_load_22 | 42 | 0.0021626 | 0.00054199 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2861-10_0_4_load_24 | 43 | 0.0035406 | 0.00088737 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2861-10_0_4_load_48 | 44 | 0.0039196 | 0.00098234 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2861-10_0_4_load_25 | 45 | 0.0082115 | 0.002058 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2861-10_0_4_load_26 | 46 | 0.0023408 | 0.00058665 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2861-10_0_4_load_27 | 47 | 0.0018786 | 0.00047083 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2861-10_0_4_load_28 | 48 | 0.018644 | 0.0046727 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2861-10_0_4_load_29 | 49 | 0.0032188 | 0.00080671 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2861-10_0_4_load_39 | 51 | 0.014279 | 0.0035785 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2861-10_0_4_load_45 | 52 | 0.0011712 | 0.00029352 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2861-10_0_4_load_46 | 53 | 0.0018545 | 0.00046478 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2861-10_0_4_load_37 | 54 | 0.011419 | 0.0028618 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2861-10_0_4_load_30 | 55 | 0.0034062 | 0.00085367 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2861-10_0_4_load_31 | 56 | 0.0085357 | 0.0021392 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2861-10_0_4_load_32 | 57 | 0.0029724 | 0.00074496 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2861-10_0_4_load_33 | 58 | 0.0037786 | 0.000947 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2861-10_0_4_load_34 | 59 | 0.0075941 | 0.0019033 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2861-10_0_4_load_42 | 60 | 0.0054325 | 0.0013615 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2861-10_0_4_load_36 | 62 | 0.0068898 | 0.0017267 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2861-10_0_4_load_41 | 63 | 0.0056496 | 0.0014159 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2861-10_0_4_load_56 | 64 | 0.015489 | 0.0038819 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2861-10_0_4_load_54 | 65 | 0.010682 | 0.0026772 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2861-10_0_4_load_69 | 66 | 0.0042035 | 0.0010535 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2861-10_0_4_load_53 | 67 | 0.0031572 | 0.00079127 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2861-10_0_4_load_51 | 68 | 0.0049043 | 0.0012291 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2861-10_0_4_load_50 | 69 | 0.037955 | 0.0095125 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2861-10_0_4_load_55 | 70 | 0.016096 | 0.0040341 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2861-10_0_4_load_57 | 71 | 0.018064 | 0.0045272 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2861-10_0_4_load_77 | 72 | 0.0059676 | 0.0014956 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2861-10_0_4_load_60 | 73 | 0.00040275 | 0.00010094 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2861-10_0_4_load_61 | 74 | 0.0033458 | 0.00083853 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2861-10_0_4_load_74 | 76 | 0.0009748 | 0.00024431 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2861-10_0_4_load_64 | 78 | 0.0060595 | 0.0015187 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2861-10_0_4_load_66 | 79 | 0.0062659 | 0.0015704 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2861-10_0_4_load_68 | 80 | 0.0024759 | 0.00062052 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2861-10_0_4_load_71 | 81 | 0.0057535 | 0.001442 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2861-10_0_4_load_72 | 82 | 0.012754 | 0.0031965 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2861-10_0_4_load_91 | 84 | 0.011873 | 0.0029757 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2861-10_0_4_load_86 | 85 | 0.0010811 | 0.00027095 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2861-10_0_4_load_87 | 86 | 0.0015845 | 0.00039711 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2861-10_0_4_load_88 | 87 | 0.0061661 | 0.0015454 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2861-10_0_4_line_0 |  | 0 | 1 | 0.019234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2861-10_0_4_line_1 |  | 1 | 2 | 0.02646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2861-10_0_4_line_2 |  | 2 | 9 | 0.01431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2861-10_0_4_line_3 |  | 2 | 10 | 0.02118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2861-10_0_4_line_4 |  | 3 | 4 | 0.014414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2861-10_0_4_line_5 |  | 3 | 5 | 0.013284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2861-10_0_4_line_6 |  | 4 | 12 | 0.0235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2861-10_0_4_line_7 |  | 5 | 13 | 0.0068035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2861-10_0_4_line_8 |  | 6 | 7 | 0.11197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2861-10_0_4_line_9 |  | 6 | 8 | 0.014775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2861-10_0_4_line_10 |  | 7 | 11 | 0.015601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2861-10_0_4_line_11 |  | 8 | 14 | 0.032351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2861-10_0_4_line_12 |  | 10 | 15 | 0.031099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2861-10_0_4_line_13 |  | 11 | 25 | 0.012926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2861-10_0_4_line_14 |  | 12 | 44 | 0.015839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2861-10_0_4_line_15 |  | 13 | 41 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2861-10_0_4_line_16 |  | 15 | 73 | 0.020504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2861-10_0_4_line_17 |  | 15 | 74 | 0.015168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2861-10_0_4_line_18 |  | 16 | 17 | 0.014981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_2861-10_0_4_line_19 |  | 16 | 18 | 0.04874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2861-10_0_4_line_20 |  | 17 | 25 | 0.051239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2861-10_0_4_line_21 |  | 18 | 24 | 0.0091545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2861-10_0_4_line_22 |  | 18 | 19 | 0.045969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_2861-10_0_4_line_23 |  | 19 | 20 | 0.016592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2861-10_0_4_line_24 |  | 20 | 26 | 0.021178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2861-10_0_4_line_25 |  | 21 | 22 | 0.021899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2861-10_0_4_line_26 |  | 21 | 23 | 0.007274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2861-10_0_4_line_27 |  | 23 | 31 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2861-10_0_4_line_28 |  | 24 | 40 | 0.017939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2861-10_0_4_line_29 |  | 25 | 74 | 0.033493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2861-10_0_4_line_30 |  | 26 | 27 | 0.020071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2861-10_0_4_line_31 |  | 26 | 28 | 0.0072918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2861-10_0_4_line_32 |  | 27 | 29 | 0.017503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2861-10_0_4_line_33 |  | 27 | 30 | 0.010134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2861-10_0_4_line_34 |  | 29 | 32 | 0.0067586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2861-10_0_4_line_35 |  | 30 | 33 | 0.0080007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2861-10_0_4_line_36 |  | 31 | 32 | 0.0025919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2861-10_0_4_line_37 |  | 33 | 38 | 0.011782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2861-10_0_4_line_38 |  | 34 | 35 | 0.01323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2861-10_0_4_line_39 |  | 34 | 36 | 0.00931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2861-10_0_4_line_40 |  | 35 | 66 | 0.024243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_2861-10_0_4_line_41 |  | 36 | 61 | 0.02257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2861-10_0_4_line_42 |  | 36 | 59 | 0.027303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2861-10_0_4_line_43 |  | 37 | 38 | 0.022583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2861-10_0_4_line_44 |  | 37 | 39 | 0.011124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_2861-10_0_4_line_45 |  | 39 | 78 | 0.00012817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2861-10_0_4_line_46 |  | 40 | 87 | 0.0025627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2861-10_0_4_line_47 |  | 41 | 42 | 0.0015005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2861-10_0_4_line_48 |  | 42 | 43 | 0.038448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2861-10_0_4_line_49 |  | 44 | 52 | 0.005283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2861-10_0_4_line_50 |  | 45 | 46 | 0.0036054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2861-10_0_4_line_51 |  | 45 | 47 | 0.0017098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_2861-10_0_4_line_52 |  | 46 | 48 | 0.019849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2861-10_0_4_line_53 |  | 47 | 49 | 0.0060509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_2861-10_0_4_line_54 |  | 48 | 50 | 0.0027235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2861-10_0_4_line_55 |  | 49 | 51 | 0.0078068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_2861-10_0_4_line_56 |  | 50 | 52 | 0.016352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2861-10_0_4_line_57 |  | 50 | 53 | 0.016478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_2861-10_0_4_line_58 |  | 51 | 54 | 0.0053697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_2861-10_0_4_line_59 |  | 53 | 67 | 0.0014516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_2861-10_0_4_line_60 |  | 54 | 62 | 0.011243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_2861-10_0_4_line_61 |  | 55 | 56 | 0.027639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2861-10_0_4_line_62 |  | 55 | 57 | 0.010404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2861-10_0_4_line_63 |  | 56 | 58 | 0.022957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2861-10_0_4_line_64 |  | 57 | 59 | 0.0060445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2861-10_0_4_line_65 |  | 58 | 60 | 0.017861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2861-10_0_4_line_66 |  | 61 | 63 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2861-10_0_4_line_67 |  | 61 | 62 | 0.016429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_2861-10_0_4_line_68 |  | 63 | 64 | 0.00044769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2861-10_0_4_line_69 |  | 64 | 65 | 0.016953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2861-10_0_4_line_70 |  | 65 | 70 | 0.027154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2861-10_0_4_line_71 |  | 66 | 80 | 0.009956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_2861-10_0_4_line_72 |  | 67 | 68 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_2861-10_0_4_line_73 |  | 68 | 69 | 0.0013603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_2861-10_0_4_line_74 |  | 70 | 71 | 0.0030382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2861-10_0_4_line_75 |  | 71 | 72 | 0.010195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2861-10_0_4_line_76 |  | 73 | 75 | 0.046622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2861-10_0_4_line_77 |  | 75 | 76 | 0.0061276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2861-10_0_4_line_78 |  | 75 | 77 | 0.018384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2861-10_0_4_line_79 |  | 76 | 83 | 0.01505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2861-10_0_4_line_80 |  | 77 | 84 | 0.00302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2861-10_0_4_line_81 |  | 78 | 79 | 0.011214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_2861-10_0_4_line_82 |  | 79 | 80 | 0.0011913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_2861-10_0_4_line_83 |  | 81 | 82 | 0.0085137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2861-10_0_4_line_84 |  | 81 | 83 | 0.021331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2861-10_0_4_line_85 |  | 85 | 86 | 0.0066457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2861-10_0_4_line_86 |  | 85 | 87 | 0.008949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2861-10_0_4_trafo_50 | 0.63 MVA 20/0.4 kV | 88 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2627784.8329 | 1257218.1689 | 2627791.0004 | 1257236.3872
1 | 2627784.8329 | 1257218.1689 | 2627787.6338 | 1257217.3815 | 2627791.1294 | 1257229.2615 | 2627801.9024 | 1257226.3211
2 | 2627797.9709 | 1257212.56 | 2627801.9024 | 1257226.3211
3 | 2627801.9024 | 1257226.3211 | 2627804.506 | 1257235.4506 | 2627815.7848 | 1257232.3903
4 | 2627820.0915 | 1257185.4898 | 2627834.4815 | 1257186.3133
5 | 2627820.0915 | 1257185.4898 | 2627820.5911 | 1257172.2155
6 | 2627857.9425 | 1257186.0015 | 2627851.9947 | 1257186.6181 | 2627838.7174 | 1257186.5557 | 2627834.4815 | 1257186.3133
7 | 2627820.847 | 1257165.4168 | 2627820.5911 | 1257172.2155
8 | 2627762.7955 | 1257317.6553 | 2627770.7918 | 1257347.3129 | 2627822.1946 | 1257334.9565 | 2627849.7982 | 1257328.326
9 | 2627762.7955 | 1257317.6553 | 2627777.0115 | 1257313.6303 | 2627777.0115 | 1257313.6303
10 | 2627849.7982 | 1257328.326 | 2627845.4154 | 1257313.3532
11 | 2627777.0115 | 1257313.6303 | 2627769.01 | 1257282.2842
12 | 2627827.8736 | 1257254.3174 | 2627820.697 | 1257255.6736 | 2627815.7848 | 1257232.3903
13 | 2627841.784 | 1257300.9476 | 2627845.4154 | 1257313.3532
14 | 2627873.6402 | 1257183.9443 | 2627866.8705 | 1257185.0758 | 2627857.9425 | 1257186.0015
15 | 2627820.847 | 1257165.4168 | 2627821.3886 | 1257151.0287
16 | 2627827.8736 | 1257254.3174 | 2627846.5744 | 1257245.9085
17 | 2627827.8736 | 1257254.3174 | 2627832.2097 | 1257268.8526
18 | 2627894.8117 | 1257305.5221 | 2627892.9373 | 1257298.4863 | 2627885.4643 | 1257300.3413
19 | 2627894.8117 | 1257305.5221 | 2627897.8047 | 1257316.7883 | 2627917.1885 | 1257312.1319 | 2627933.8624 | 1257308.1299
20 | 2627841.784 | 1257300.9476 | 2627871.1112 | 1257295.0036 | 2627872.98 | 1257301.6391 | 2627884.7953 | 1257298.3035 | 2627885.4643 | 1257300.3413
21 | 2627933.8624 | 1257308.1299 | 2627936.3936 | 1257316.9275
22 | 2627933.8624 | 1257308.1299 | 2627955.8944 | 1257299.9282 | 2627955.0466 | 1257291.0404 | 2627954.8527 | 1257288.9937 | 2627960.1032 | 1257278.7893
23 | 2627960.1032 | 1257278.7893 | 2627975.7054 | 1257276.6503 | 2627976.465 | 1257276.283
24 | 2627987.6727 | 1257261.9079 | 2627987.2978 | 1257271.0456 | 2627976.465 | 1257276.283
25 | 2627947.1223 | 1257255.8903 | 2627937.9131 | 1257245.3509 | 2627934.1555 | 1257238.398
26 | 2627954.188 | 1257254.078 | 2627947.1223 | 1257255.8903
27 | 2627954.188 | 1257254.078 | 2627963.9596 | 1257251.4599
28 | 2627941.3537 | 1257334.1677 | 2627936.3936 | 1257316.9275
29 | 2627841.784 | 1257300.9476 | 2627832.2097 | 1257268.8526
30 | 2627989.0339 | 1257241.8896 | 2627987.996 | 1257254.1263 | 2627987.6727 | 1257261.9079
31 | 2627987.6727 | 1257261.9079 | 2627991.8748 | 1257267.8671
32 | 2627989.0339 | 1257241.8896 | 2627972.7506 | 1257248.31
33 | 2627989.0339 | 1257241.8896 | 2627995.7851 | 1257236.44 | 2627996.9116 | 1257235.5146
34 | 2627966.4631 | 1257250.7892 | 2627972.7506 | 1257248.31
35 | 2628003.0938 | 1257230.436 | 2627996.9116 | 1257235.5146
36 | 2627966.4631 | 1257250.7892 | 2627963.9596 | 1257251.4599
37 | 2628012.1977 | 1257222.9573 | 2628003.0938 | 1257230.436
38 | 2627998.4493 | 1257154.4859 | 2628006.5965 | 1257164.9099
39 | 2627989.6506 | 1257157.6021 | 2627991.9315 | 1257156.7901 | 2627998.4493 | 1257154.4859
40 | 2628006.5965 | 1257164.9099 | 2628020.4383 | 1257182.62 | 2628021.0768 | 1257184.2656
41 | 2627967.9804 | 1257164.1265 | 2627989.6506 | 1257157.6021
42 | 2627989.6506 | 1257157.6021 | 2627979.3267 | 1257138.8295 | 2627973.5356 | 1257137.8154
43 | 2628033.2357 | 1257215.6028 | 2628015.2984 | 1257220.4102 | 2628012.1977 | 1257222.9573
44 | 2628033.2357 | 1257215.6028 | 2628029.2119 | 1257205.2324
45 | 2628029.1656 | 1257205.1129 | 2628029.2119 | 1257205.2324
46 | 2627941.3537 | 1257334.1677 | 2627942.0623 | 1257336.6305
47 | 2627821.445 | 1257149.5292 | 2627821.3886 | 1257151.0287
48 | 2627822.8911 | 1257111.1081 | 2627821.445 | 1257149.5292
49 | 2627873.6402 | 1257183.9443 | 2627878.8509 | 1257183.0733
50 | 2627917.0124 | 1257175.4683 | 2627920.5317 | 1257174.6852
51 | 2627922.2007 | 1257174.3138 | 2627920.5317 | 1257174.6852
52 | 2627897.637 | 1257179.7799 | 2627917.0124 | 1257175.4683
53 | 2627922.2007 | 1257174.3138 | 2627928.1071 | 1257172.9994
54 | 2627894.9785 | 1257180.3715 | 2627897.637 | 1257179.7799
55 | 2627935.7274 | 1257171.3037 | 2627928.1071 | 1257172.9994
56 | 2627894.9785 | 1257180.3715 | 2627885.2445 | 1257182.0046 | 2627878.8509 | 1257183.0733
57 | 2627894.9785 | 1257180.3715 | 2627903.8099 | 1257194.2834
58 | 2627935.7274 | 1257171.3037 | 2627940.969 | 1257170.1373
59 | 2627904.5879 | 1257195.5089 | 2627903.8099 | 1257194.2834
60 | 2627951.9438 | 1257167.6951 | 2627940.969 | 1257170.1373
61 | 2627945.6644 | 1257105.678 | 2627948.6925 | 1257109.9767 | 2627961.5876 | 1257128.2696
62 | 2627967.5817 | 1257136.7727 | 2627961.5876 | 1257128.2696
63 | 2627945.6644 | 1257105.678 | 2627941.1877 | 1257099.323 | 2627933.6269 | 1257086.1562
64 | 2627967.5817 | 1257136.7727 | 2627973.5356 | 1257137.8154
65 | 2627928.739 | 1257068.9771 | 2627933.6269 | 1257086.1562 | 2627933.6269 | 1257086.1562
66 | 2627967.9804 | 1257164.1265 | 2627972.5152 | 1257179.257
67 | 2627967.9804 | 1257164.1265 | 2627951.9438 | 1257167.6951
68 | 2627972.5152 | 1257179.257 | 2627972.6438 | 1257179.6858
69 | 2627977.511 | 1257195.9255 | 2627972.6438 | 1257179.6858
70 | 2627977.511 | 1257195.9255 | 2627977.608 | 1257196.2492 | 2627965.0467 | 1257201.0265 | 2627969.5187 | 1257213.634
71 | 2628024.6781 | 1257193.5474 | 2628021.0768 | 1257184.2656
72 | 2627904.5879 | 1257195.5089 | 2627913.2222 | 1257209.1103
73 | 2627913.9512 | 1257210.2587 | 2627913.9512 | 1257210.2587 | 2627913.2222 | 1257209.1103
74 | 2627969.5187 | 1257213.634 | 2627969.5187 | 1257213.634 | 2627966.9559 | 1257215.2658
75 | 2627958.3564 | 1257220.7417 | 2627966.9559 | 1257215.2658
76 | 2627884.0324 | 1257240.8943 | 2627881.3697 | 1257241.1486 | 2627877.6301 | 1257242.721 | 2627874.2851 | 1257245.3626 | 2627864.142 | 1257249.0397 | 2627860.0534 | 1257239.8476 | 2627846.5744 | 1257245.9085
77 | 2627884.0324 | 1257240.8943 | 2627886.0291 | 1257237.9906 | 2627888.0724 | 1257236.3769
78 | 2627884.0324 | 1257240.8943 | 2627885.8872 | 1257242.493 | 2627886.8077 | 1257245.5772 | 2627886.356 | 1257255.037 | 2627886.4764 | 1257258.2843
79 | 2627899.0136 | 1257245.7681 | 2627893.7436 | 1257242.4966 | 2627891.4518 | 1257239.2392 | 2627890.1061 | 1257236.7979 | 2627888.0724 | 1257236.3769
80 | 2627886.4764 | 1257258.2843 | 2627888.0023 | 1257260.8932
81 | 2628025.1091 | 1257194.6581 | 2628029.1656 | 1257205.1129
82 | 2628024.6781 | 1257193.5474 | 2628025.1091 | 1257194.6581
83 | 2627908.2797 | 1257233.9508 | 2627909.9114 | 1257237.158 | 2627912.611 | 1257241.2655
84 | 2627899.0136 | 1257245.7681 | 2627901.6017 | 1257243.7456 | 2627903.7897 | 1257240.2424 | 2627904.3478 | 1257236.9983 | 2627903.9578 | 1257233.3496 | 2627904.6447 | 1257231.5961 | 2627907.0875 | 1257231.6076 | 2627908.2797 | 1257233.9508
85 | 2627944.5366 | 1257345.2307 | 2627946.3741 | 1257351.6173
86 | 2627944.5366 | 1257345.2307 | 2627942.0623 | 1257336.6305

## bus_geodata
| x | y | coords
0 | 2627791.0004 | 1257236.3872
1 | 2627784.8329 | 1257218.1689
2 | 2627801.9024 | 1257226.3211
3 | 2627820.0915 | 1257185.4898
4 | 2627834.4815 | 1257186.3133
5 | 2627820.5911 | 1257172.2155
6 | 2627762.7955 | 1257317.6553
7 | 2627849.7982 | 1257328.326
8 | 2627777.0115 | 1257313.6303
9 | 2627797.9709 | 1257212.56
10 | 2627815.7848 | 1257232.3903
11 | 2627845.4154 | 1257313.3532
12 | 2627857.9425 | 1257186.0015
13 | 2627820.847 | 1257165.4168
14 | 2627769.01 | 1257282.2842
15 | 2627827.8736 | 1257254.3174
16 | 2627894.8117 | 1257305.5221
17 | 2627885.4643 | 1257300.3413
18 | 2627933.8624 | 1257308.1299
19 | 2627960.1032 | 1257278.7893
20 | 2627976.465 | 1257276.283
21 | 2627947.1223 | 1257255.8903
22 | 2627934.1555 | 1257238.398
23 | 2627954.188 | 1257254.078
24 | 2627936.3936 | 1257316.9275
25 | 2627841.784 | 1257300.9476
26 | 2627987.6727 | 1257261.9079
27 | 2627989.0339 | 1257241.8896
28 | 2627991.8748 | 1257267.8671
29 | 2627972.7506 | 1257248.31
30 | 2627996.9116 | 1257235.5146
31 | 2627963.9596 | 1257251.4599
32 | 2627966.4631 | 1257250.7892
33 | 2628003.0938 | 1257230.436
34 | 2627998.4493 | 1257154.4859
35 | 2628006.5965 | 1257164.9099
36 | 2627989.6506 | 1257157.6021
37 | 2628033.2357 | 1257215.6028
38 | 2628012.1977 | 1257222.9573
39 | 2628029.2119 | 1257205.2324
40 | 2627941.3537 | 1257334.1677
41 | 2627821.3886 | 1257151.0287
42 | 2627821.445 | 1257149.5292
43 | 2627822.8911 | 1257111.1081
44 | 2627873.6402 | 1257183.9443
45 | 2627920.5317 | 1257174.6852
46 | 2627917.0124 | 1257175.4683
47 | 2627922.2007 | 1257174.3138
48 | 2627897.637 | 1257179.7799
49 | 2627928.1071 | 1257172.9994
50 | 2627894.9785 | 1257180.3715
51 | 2627935.7274 | 1257171.3037
52 | 2627878.8509 | 1257183.0733
53 | 2627903.8099 | 1257194.2834
54 | 2627940.969 | 1257170.1373
55 | 2627961.5876 | 1257128.2696
56 | 2627945.6644 | 1257105.678
57 | 2627967.5817 | 1257136.7727
58 | 2627933.6269 | 1257086.1562
59 | 2627973.5356 | 1257137.8154
60 | 2627928.739 | 1257068.9771
61 | 2627967.9804 | 1257164.1265
62 | 2627951.9438 | 1257167.6951
63 | 2627972.5152 | 1257179.257
64 | 2627972.6438 | 1257179.6858
65 | 2627977.511 | 1257195.9255
66 | 2628021.0768 | 1257184.2656
67 | 2627904.5879 | 1257195.5089
68 | 2627913.2222 | 1257209.1103
69 | 2627913.9512 | 1257210.2587
70 | 2627969.5187 | 1257213.634
71 | 2627966.9559 | 1257215.2658
72 | 2627958.3564 | 1257220.7417
73 | 2627846.5744 | 1257245.9085
74 | 2627832.2097 | 1257268.8526
75 | 2627884.0324 | 1257240.8943
76 | 2627888.0724 | 1257236.3769
77 | 2627886.4764 | 1257258.2843
78 | 2628029.1656 | 1257205.1129
79 | 2628025.1091 | 1257194.6581
80 | 2628024.6781 | 1257193.5474
81 | 2627908.2797 | 1257233.9508
82 | 2627912.611 | 1257241.2655
83 | 2627899.0136 | 1257245.7681
84 | 2627888.0023 | 1257260.8932
85 | 2627944.5366 | 1257345.2307
86 | 2627946.3741 | 1257351.6173
87 | 2627942.0623 | 1257336.6305
88 | 2627894.9785 | 1257180.3715

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1