## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2861-16_1_2_node_165 | 0.4 | n |  | TRUE
1 | bus_LV_2861-16_1_2_node_166 | 0.4 | n |  | TRUE
2 | bus_LV_2861-16_1_2_node_176 | 0.4 | n |  | TRUE
3 | bus_LV_2861-16_1_2_node_167 | 0.4 | n |  | TRUE
4 | bus_LV_2861-16_1_2_node_169 | 0.4 | n |  | TRUE
5 | bus_LV_2861-16_1_2_node_168 | 0.4 | n |  | TRUE
6 | bus_LV_2861-16_1_2_node_170 | 0.4 | n |  | TRUE
7 | bus_LV_2861-16_1_2_node_171 | 0.4 | n |  | TRUE
8 | bus_LV_2861-16_1_2_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_2861-16_1_2_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_2861-16_1_2_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_2861-16_1_2_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_2861-16_1_2_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_2861-16_1_2_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_2861-16_1_2_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_2861-16_1_2_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_2861-16_1_2_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_2861-16_1_2_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_2861-16_1_2_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_2861-16_1_2_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_2861-16_1_2_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_2861-16_1_2_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_2861-16_1_2_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_2861-16_1_2_node_89 | 0.4 | n |  | TRUE
24 | bus_LV_2861-16_1_2_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_2861-16_1_2_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_2861-16_1_2_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_2861-16_1_2_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_2861-16_1_2_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_2861-16_1_2_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_2861-16_1_2_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_2861-16_1_2_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_2861-16_1_2_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_2861-16_1_2_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_2861-16_1_2_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_2861-16_1_2_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_2861-16_1_2_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_2861-16_1_2_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_2861-16_1_2_node_108 | 0.4 | n |  | TRUE
39 | bus_LV_2861-16_1_2_node_107 | 0.4 | n |  | TRUE
40 | bus_LV_2861-16_1_2_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_2861-16_1_2_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_2861-16_1_2_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_2861-16_1_2_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_2861-16_1_2_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_2861-16_1_2_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_2861-16_1_2_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_2861-16_1_2_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_2861-16_1_2_node_83 | 0.4 | n |  | TRUE
49 | bus_LV_2861-16_1_2_node_84 | 0.4 | n |  | TRUE
50 | bus_LV_2861-16_1_2_node_121 | 0.4 | n |  | TRUE
51 | bus_LV_2861-16_1_2_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_2861-16_1_2_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_2861-16_1_2_node_174 | 0.4 | n |  | TRUE
54 | bus_LV_2861-16_1_2_node_172 | 0.4 | n |  | TRUE
55 | bus_LV_2861-16_1_2_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_2861-16_1_2_node_97 | 0.4 | n |  | TRUE
57 | bus_LV_2861-16_1_2_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_2861-16_1_2_node_99 | 0.4 | n |  | TRUE
59 | bus_LV_2861-16_1_2_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_2861-16_1_2_node_109 | 0.4 | n |  | TRUE
61 | bus_LV_2861-16_1_2_node_101 | 0.4 | n |  | TRUE
62 | bus_LV_2861-16_1_2_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_2861-16_1_2_node_103 | 0.4 | n |  | TRUE
64 | bus_LV_2861-16_1_2_node_104 | 0.4 | n |  | TRUE
65 | bus_LV_2861-16_1_2_node_105 | 0.4 | n |  | TRUE
66 | bus_LV_2861-16_1_2_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_2861-16_1_2_node_110 | 0.4 | n |  | TRUE
68 | bus_LV_2861-16_1_2_node_175 | 0.4 | n |  | TRUE
69 | bus_MV_299_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2861-16_1_2_load_165 | 0 | 0.0015057 | 0.00037736 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2861-16_1_2_load_166 | 1 | 0.00024709 | 6.1927e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2861-16_1_2_load_176 | 2 | 0.00062735 | 0.00015723 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2861-16_1_2_load_169 | 4 | 0.00055711 | 0.00013962 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2861-16_1_2_load_168 | 5 | 0.00026388 | 6.6134e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2861-16_1_2_load_170 | 6 | 0.00026746 | 6.7032e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2861-16_1_2_load_171 | 7 | 0.00015252 | 3.8226e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2861-16_1_2_load_43 | 8 | 0.00294 | 0.00073684 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2861-16_1_2_load_45 | 10 | 0.0025816 | 0.00064701 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2861-16_1_2_load_46 | 11 | 0.0028115 | 0.00070463 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2861-16_1_2_load_53 | 12 | 0.0081503 | 0.0020426 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2861-16_1_2_load_62 | 13 | 0.0021081 | 0.00052834 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2861-16_1_2_load_47 | 14 | 0.0023996 | 0.0006014 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2861-16_1_2_load_48 | 15 | 0.0031694 | 0.00079433 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2861-16_1_2_load_77 | 17 | 0.0018607 | 0.00046634 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2861-16_1_2_load_61 | 18 | 0.0022466 | 0.00056304 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2861-16_1_2_load_51 | 20 | 0.0050404 | 0.0012633 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2861-16_1_2_load_52 | 21 | 0.0022801 | 0.00057144 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2861-16_1_2_load_59 | 22 | 0.0023108 | 0.00057913 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2861-16_1_2_load_54 | 24 | 0.0053123 | 0.0013314 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2861-16_1_2_load_55 | 25 | 0.0023425 | 0.00058708 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2861-16_1_2_load_56 | 26 | 0.0024783 | 0.00062111 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2861-16_1_2_load_57 | 27 | 0.0039264 | 0.00098404 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2861-16_1_2_load_58 | 28 | 0.0037901 | 0.00094988 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2861-16_1_2_load_68 | 29 | 0.0041486 | 0.0010397 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2861-16_1_2_load_60 | 30 | 0.0043316 | 0.0010856 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2861-16_1_2_load_63 | 31 | 0.0010595 | 0.00026554 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2861-16_1_2_load_64 | 32 | 0.0021834 | 0.0005472 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2861-16_1_2_load_72 | 36 | 0.001654 | 0.00041454 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2861-16_1_2_load_69 | 37 | 0.0019413 | 0.00048653 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2861-16_1_2_load_108 | 38 | 0.0020795 | 0.00052116 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2861-16_1_2_load_107 | 39 | 0.0022077 | 0.00055331 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2861-16_1_2_load_70 | 40 | 0.0014734 | 0.00036927 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2861-16_1_2_load_71 | 41 | 0.0015614 | 0.00039132 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2861-16_1_2_load_73 | 42 | 0.0017172 | 0.00043038 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2861-16_1_2_load_74 | 43 | 0.0024448 | 0.00061272 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2861-16_1_2_load_75 | 44 | 0.0020868 | 0.00052301 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2861-16_1_2_load_78 | 45 | 0.0016461 | 0.00041256 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2861-16_1_2_load_82 | 47 | 0.0014383 | 0.00036048 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2861-16_1_2_load_84 | 49 | 0.0018902 | 0.00047372 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2861-16_1_2_load_121 | 50 | 0.0016708 | 0.00041875 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2861-16_1_2_load_88 | 51 | 0.0030846 | 0.00077307 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2861-16_1_2_load_174 | 53 | 0.0018318 | 0.0004591 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2861-16_1_2_load_172 | 54 | 0.00076753 | 0.00019236 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2861-16_1_2_load_96 | 55 | 0.0024181 | 0.00060603 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2861-16_1_2_load_97 | 56 | 0.0029908 | 0.00074956 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2861-16_1_2_load_98 | 57 | 0.0017569 | 0.00044031 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2861-16_1_2_load_99 | 58 | 0.0029812 | 0.00074715 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2861-16_1_2_load_100 | 59 | 0.0022972 | 0.00057574 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2861-16_1_2_load_109 | 60 | 0.00195 | 0.00048872 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2861-16_1_2_load_101 | 61 | 0.002911 | 0.00072955 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2861-16_1_2_load_102 | 62 | 0.0018878 | 0.00047312 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2861-16_1_2_load_103 | 63 | 0.0011278 | 0.00028266 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2861-16_1_2_load_104 | 64 | 0.001108 | 0.00027768 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2861-16_1_2_load_105 | 65 | 0.0030007 | 0.00075204 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2861-16_1_2_load_106 | 66 | 0.0015218 | 0.0003814 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2861-16_1_2_load_110 | 67 | 0.0027718 | 0.00069467 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2861-16_1_2_load_175 | 68 | 0.0017321 | 0.0004341 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2861-16_1_2_line_0 |  | 0 | 1 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2861-16_1_2_line_1 |  | 0 | 2 | 0.30123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2861-16_1_2_line_2 |  | 1 | 3 | 0.015736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2861-16_1_2_line_3 |  | 2 | 68 | 0.062573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2861-16_1_2_line_4 |  | 3 | 4 | 0.0087991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2861-16_1_2_line_5 |  | 3 | 5 | 0.013685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2861-16_1_2_line_6 |  | 4 | 6 | 0.022064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2861-16_1_2_line_7 |  | 6 | 7 | 0.004986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2861-16_1_2_line_8 |  | 7 | 54 | 0.014207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2861-16_1_2_line_9 |  | 8 | 9 | 0.022002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2861-16_1_2_line_10 |  | 9 | 10 | 0.0040862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2861-16_1_2_line_11 |  | 9 | 11 | 0.010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2861-16_1_2_line_12 |  | 10 | 12 | 0.022661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2861-16_1_2_line_13 |  | 11 | 13 | 0.027129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2861-16_1_2_line_14 |  | 12 | 24 | 0.0021149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2861-16_1_2_line_15 |  | 13 | 30 | 0.0090207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2861-16_1_2_line_16 |  | 14 | 15 | 0.00067515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2861-16_1_2_line_17 |  | 15 | 16 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2861-16_1_2_line_18 |  | 16 | 17 | 0.0088333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2861-16_1_2_line_19 |  | 16 | 18 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2861-16_1_2_line_20 |  | 17 | 45 | 0.015725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2861-16_1_2_line_21 |  | 18 | 30 | 0.038739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2861-16_1_2_line_22 |  | 19 | 20 | 0.01967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2861-16_1_2_line_23 |  | 19 | 21 | 0.013632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2861-16_1_2_line_24 |  | 20 | 22 | 0.026346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2861-16_1_2_line_25 |  | 21 | 23 | 0.025522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2861-16_1_2_line_26 |  | 22 | 27 | 0.022472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2861-16_1_2_line_27 |  | 23 | 52 | 0.033555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2861-16_1_2_line_28 |  | 23 | 51 | 0.04737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2861-16_1_2_line_29 |  | 25 | 26 | 0.013834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2861-16_1_2_line_30 |  | 25 | 27 | 0.00070561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2861-16_1_2_line_31 |  | 26 | 28 | 0.020779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2861-16_1_2_line_32 |  | 28 | 29 | 0.00026705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2861-16_1_2_line_33 |  | 29 | 33 | 0.030686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2861-16_1_2_line_34 |  | 31 | 32 | 0.01447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2861-16_1_2_line_35 |  | 31 | 33 | 0.010014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2861-16_1_2_line_36 |  | 32 | 34 | 0.036994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2861-16_1_2_line_37 |  | 33 | 35 | 0.05426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2861-16_1_2_line_38 |  | 34 | 36 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2861-16_1_2_line_39 |  | 34 | 37 | 0.021391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2861-16_1_2_line_40 |  | 35 | 38 | 0.039575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2861-16_1_2_line_41 |  | 35 | 39 | 0.014905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2861-16_1_2_line_42 |  | 37 | 40 | 0.0078511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2861-16_1_2_line_43 |  | 38 | 50 | 0.027631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2861-16_1_2_line_44 |  | 39 | 66 | 0.0022831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2861-16_1_2_line_45 |  | 40 | 41 | 0.013993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2861-16_1_2_line_46 |  | 41 | 42 | 0.0013736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2861-16_1_2_line_47 |  | 42 | 43 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2861-16_1_2_line_48 |  | 43 | 44 | 0.0062376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2861-16_1_2_line_49 |  | 44 | 45 | 0.0092748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2861-16_1_2_line_50 |  | 46 | 47 | 0.016117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2861-16_1_2_line_51 |  | 46 | 48 | 0.015936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2861-16_1_2_line_52 |  | 47 | 49 | 0.0057319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2861-16_1_2_line_53 |  | 48 | 50 | 0.029704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2861-16_1_2_line_54 |  | 52 | 53 | 0.053123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2861-16_1_2_line_55 |  | 53 | 68 | 0.033401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2861-16_1_2_line_56 |  | 55 | 56 | 0.0028249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2861-16_1_2_line_57 |  | 55 | 57 | 0.017178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2861-16_1_2_line_58 |  | 56 | 58 | 0.022179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2861-16_1_2_line_59 |  | 57 | 59 | 0.0043655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2861-16_1_2_line_60 |  | 58 | 60 | 0.005519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2861-16_1_2_line_61 |  | 59 | 61 | 0.0078699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2861-16_1_2_line_62 |  | 60 | 67 | 0.019531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2861-16_1_2_line_63 |  | 61 | 62 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2861-16_1_2_line_64 |  | 62 | 63 | 0.013034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2861-16_1_2_line_65 |  | 63 | 64 | 0.0094599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2861-16_1_2_line_66 |  | 64 | 65 | 0.0030938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2861-16_1_2_line_67 |  | 65 | 66 | 0.026269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2861-16_1_2_trafo_59 | 0.63 MVA 20/0.4 kV | 69 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2628555.8733 | 1258049.2606 | 2628563.5696 | 1258065.8073
1 | 2628285.0011 | 1257917.4681 | 2628555.8733 | 1258049.2606
2 | 2628570.2059 | 1258080.075 | 2628563.5696 | 1258065.8073
3 | 2628278.099 | 1257855.2773 | 2628285.0011 | 1257917.4681
4 | 2628570.2059 | 1258080.075 | 2628577.4734 | 1258075.1143
5 | 2628570.2059 | 1258080.075 | 2628560.9398 | 1258084.9781 | 2628558.8624 | 1258087.4136
6 | 2628577.4734 | 1258075.1143 | 2628595.6969 | 1258062.6753
7 | 2628595.6969 | 1258062.6753 | 2628599.815 | 1258059.8643
8 | 2628611.5487 | 1258051.8551 | 2628599.815 | 1258059.8643
9 | 2628112.3949 | 1258024.7602 | 2628114.0207 | 1258030.0716 | 2628116.1424 | 1258037.3199 | 2628118.8462 | 1258045.794
10 | 2628112.3949 | 1258024.7602 | 2628108.4786 | 1258025.9263
11 | 2628112.3949 | 1258024.7602 | 2628119.6787 | 1258022.8713 | 2628122.642 | 1258022.0538
12 | 2628108.4786 | 1258025.9263 | 2628103.7206 | 1258027.3431 | 2628092.362 | 1258030.0355 | 2628086.5491 | 1258031.6121
13 | 2628148.6678 | 1258014.403 | 2628130.1789 | 1258019.9747 | 2628122.642 | 1258022.0538
14 | 2628086.5491 | 1258031.6121 | 2628084.5079 | 1258032.1658
15 | 2628153.5283 | 1258006.8988 | 2628153.5283 | 1258006.8988 | 2628151.7611 | 1258010.7263 | 2628148.6678 | 1258014.403 | 2628148.6678 | 1258014.403
16 | 2628145.8797 | 1257951.8196 | 2628146.4628 | 1257951.4793
17 | 2628129.1894 | 1257956.8493 | 2628143.4701 | 1257953.2257 | 2628145.8797 | 1257951.8196
18 | 2628129.1894 | 1257956.8493 | 2628123.4723 | 1257957.4225 | 2628120.55 | 1257958.419
19 | 2628129.1894 | 1257956.8493 | 2628133.6212 | 1257963.4192 | 2628137.1814 | 1257971.7907
20 | 2628105.4846 | 1257962.9075 | 2628116.1402 | 1257959.9228 | 2628120.55 | 1257958.419
21 | 2628153.5283 | 1258006.8988 | 2628148.1449 | 1257994.3425 | 2628137.6249 | 1257972.8335 | 2628137.1814 | 1257971.7907
22 | 2628151.7175 | 1257883.4285 | 2628132.8661 | 1257889.0428
23 | 2628151.7175 | 1257883.4285 | 2628161.417 | 1257879.3384 | 2628164.0435 | 1257877.6816
24 | 2628107.7394 | 1257896.959 | 2628115.5604 | 1257894.6201 | 2628132.8661 | 1257889.0428
25 | 2628185.6293 | 1257864.0653 | 2628164.0435 | 1257877.6816
26 | 2628107.7394 | 1257896.959 | 2628086.2093 | 1257903.3976
27 | 2628185.6293 | 1257864.0653 | 2628200.3988 | 1257854.429 | 2628214.6444 | 1257847.1584
28 | 2628185.6293 | 1257864.0653 | 2628197.6056 | 1257818.2339
29 | 2628085.5333 | 1257903.5998 | 2628084.0483 | 1257904.0438 | 2628072.2958 | 1257907.6182
30 | 2628086.2093 | 1257903.3976 | 2628085.5333 | 1257903.5998
31 | 2628072.2958 | 1257907.6182 | 2628053.6302 | 1257913.295 | 2628052.4177 | 1257913.6703
32 | 2628052.4177 | 1257913.6703 | 2628052.1626 | 1257913.7493
33 | 2628022.8491 | 1257922.8226 | 2628052.1626 | 1257913.7493
34 | 2628024.481 | 1257932.7024 | 2628026.8391 | 1257946.9789
35 | 2628022.8491 | 1257922.8226 | 2628024.481 | 1257932.7024
36 | 2628032.8678 | 1257983.4779 | 2628026.8391 | 1257946.9789
37 | 2628022.8491 | 1257922.8226 | 2628013.8066 | 1257869.3213
38 | 2628032.8678 | 1257983.4779 | 2628038.7519 | 1258002.1168
39 | 2628032.8678 | 1257983.4779 | 2628040.9 | 1257981.181 | 2628051.2359 | 1257977.9499 | 2628053.3544 | 1257977.3293
40 | 2628013.8066 | 1257869.3213 | 2628007.7315 | 1257830.2156
41 | 2628013.8066 | 1257869.3213 | 2628028.0182 | 1257864.8269
42 | 2628053.3544 | 1257977.3293 | 2628060.8889 | 1257975.1224
43 | 2628007.7315 | 1257830.2156 | 2628005.5683 | 1257816.2908 | 2628009.0929 | 1257803.218
44 | 2628028.0182 | 1257864.8269 | 2628030.195 | 1257864.1385
45 | 2628060.8889 | 1257975.1224 | 2628061.3218 | 1257974.9956 | 2628071.0214 | 1257972.4175 | 2628074.3958 | 1257971.4688
46 | 2628075.7181 | 1257971.097 | 2628074.3958 | 1257971.4688
47 | 2628075.7181 | 1257971.097 | 2628083.3109 | 1257968.9623 | 2628090.5403 | 1257967.0631
48 | 2628096.5732 | 1257965.4783 | 2628090.5403 | 1257967.0631
49 | 2628105.4846 | 1257962.9075 | 2628105.1717 | 1257962.9951 | 2628096.5732 | 1257965.4783 | 2628096.5732 | 1257965.4783
50 | 2628030.4578 | 1257766.2188 | 2628037.0138 | 1257765.2603 | 2628046.4528 | 1257764.2658
51 | 2628016.8255 | 1257774.5378 | 2628030.4578 | 1257766.2188
52 | 2628046.4528 | 1257764.2658 | 2628052.1532 | 1257763.6653
53 | 2628016.8255 | 1257774.5378 | 2628009.0929 | 1257803.218
54 | 2628214.6444 | 1257847.1584 | 2628215.3269 | 1257841.569 | 2628217.8265 | 1257835.9326 | 2628222.5034 | 1257830.6179 | 2628227.8501 | 1257827.1188 | 2628231.5805 | 1257825.8246 | 2628237.1398 | 1257825.195 | 2628243.4061 | 1257826.4813 | 2628250.1589 | 1257830.0937 | 2628253.558 | 1257832.6593
55 | 2628253.558 | 1257832.6593 | 2628257.423 | 1257835.5765 | 2628278.099 | 1257855.2773 | 2628278.099 | 1257855.2773
56 | 2628120.5113 | 1257832.1431 | 2628123.1123 | 1257831.0407
57 | 2628120.5113 | 1257832.1431 | 2628104.6949 | 1257838.8469
58 | 2628143.0341 | 1257821.4028 | 2628136.123 | 1257825.5262 | 2628123.1123 | 1257831.0407
59 | 2628104.6949 | 1257838.8469 | 2628103.0205 | 1257839.5565 | 2628100.6185 | 1257840.4034
60 | 2628143.0341 | 1257821.4028 | 2628147.7736 | 1257818.575
61 | 2628093.1963 | 1257843.0201 | 2628100.6185 | 1257840.4034
62 | 2628147.7736 | 1257818.575 | 2628164.5463 | 1257808.5678
63 | 2628093.1963 | 1257843.0201 | 2628079.4282 | 1257847.874
64 | 2628067.1353 | 1257852.2079 | 2628079.4282 | 1257847.874
65 | 2628058.1908 | 1257855.285 | 2628060.2935 | 1257854.62 | 2628067.1353 | 1257852.2079
66 | 2628058.1908 | 1257855.285 | 2628055.241 | 1257856.2178
67 | 2628030.195 | 1257864.1385 | 2628055.241 | 1257856.2178

## bus_geodata
| x | y | coords
0 | 2628555.8733 | 1258049.2606
1 | 2628563.5696 | 1258065.8073
2 | 2628285.0011 | 1257917.4681
3 | 2628570.2059 | 1258080.075
4 | 2628577.4734 | 1258075.1143
5 | 2628558.8624 | 1258087.4136
6 | 2628595.6969 | 1258062.6753
7 | 2628599.815 | 1258059.8643
8 | 2628118.8462 | 1258045.794
9 | 2628112.3949 | 1258024.7602
10 | 2628108.4786 | 1258025.9263
11 | 2628122.642 | 1258022.0538
12 | 2628086.5491 | 1258031.6121
13 | 2628148.6678 | 1258014.403
14 | 2628146.4628 | 1257951.4793
15 | 2628145.8797 | 1257951.8196
16 | 2628129.1894 | 1257956.8493
17 | 2628120.55 | 1257958.419
18 | 2628137.1814 | 1257971.7907
19 | 2628151.7175 | 1257883.4285
20 | 2628132.8661 | 1257889.0428
21 | 2628164.0435 | 1257877.6816
22 | 2628107.7394 | 1257896.959
23 | 2628185.6293 | 1257864.0653
24 | 2628084.5079 | 1258032.1658
25 | 2628085.5333 | 1257903.5998
26 | 2628072.2958 | 1257907.6182
27 | 2628086.2093 | 1257903.3976
28 | 2628052.4177 | 1257913.6703
29 | 2628052.1626 | 1257913.7493
30 | 2628153.5283 | 1258006.8988
31 | 2628024.481 | 1257932.7024
32 | 2628026.8391 | 1257946.9789
33 | 2628022.8491 | 1257922.8226
34 | 2628032.8678 | 1257983.4779
35 | 2628013.8066 | 1257869.3213
36 | 2628038.7519 | 1258002.1168
37 | 2628053.3544 | 1257977.3293
38 | 2628007.7315 | 1257830.2156
39 | 2628028.0182 | 1257864.8269
40 | 2628060.8889 | 1257975.1224
41 | 2628074.3958 | 1257971.4688
42 | 2628075.7181 | 1257971.097
43 | 2628090.5403 | 1257967.0631
44 | 2628096.5732 | 1257965.4783
45 | 2628105.4846 | 1257962.9075
46 | 2628030.4578 | 1257766.2188
47 | 2628046.4528 | 1257764.2658
48 | 2628016.8255 | 1257774.5378
49 | 2628052.1532 | 1257763.6653
50 | 2628009.0929 | 1257803.218
51 | 2628197.6056 | 1257818.2339
52 | 2628214.6444 | 1257847.1584
53 | 2628253.558 | 1257832.6593
54 | 2628611.5487 | 1258051.8551
55 | 2628120.5113 | 1257832.1431
56 | 2628123.1123 | 1257831.0407
57 | 2628104.6949 | 1257838.8469
58 | 2628143.0341 | 1257821.4028
59 | 2628100.6185 | 1257840.4034
60 | 2628147.7736 | 1257818.575
61 | 2628093.1963 | 1257843.0201
62 | 2628079.4282 | 1257847.874
63 | 2628067.1353 | 1257852.2079
64 | 2628058.1908 | 1257855.285
65 | 2628055.241 | 1257856.2178
66 | 2628030.195 | 1257864.1385
67 | 2628164.5463 | 1257808.5678
68 | 2628278.099 | 1257855.2773
69 | 2628151.7175 | 1257883.4285

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1