## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_449-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_449-1_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_449-1_0_3_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_449-1_0_3_node_71 | 0.4 | n |  | TRUE
4 | bus_LV_449-1_0_3_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_449-1_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_449-1_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_449-1_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_449-1_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_449-1_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_449-1_0_3_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_449-1_0_3_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_449-1_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_449-1_0_3_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_449-1_0_3_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_449-1_0_3_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_449-1_0_3_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_449-1_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_449-1_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_449-1_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_449-1_0_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_449-1_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_449-1_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_449-1_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_449-1_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_449-1_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_449-1_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_449-1_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_449-1_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_449-1_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_449-1_0_3_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_449-1_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_449-1_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_449-1_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_449-1_0_3_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_449-1_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_449-1_0_3_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_449-1_0_3_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_449-1_0_3_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_449-1_0_3_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_449-1_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_449-1_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_449-1_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_449-1_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_449-1_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_449-1_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_449-1_0_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_449-1_0_3_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_449-1_0_3_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_449-1_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_449-1_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_449-1_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_449-1_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_449-1_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_449-1_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_449-1_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_449-1_0_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_449-1_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_449-1_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_449-1_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_449-1_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_449-1_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_449-1_0_3_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_449-1_0_3_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_449-1_0_3_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_449-1_0_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_449-1_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_449-1_0_3_node_68 | 0.4 | n |  | TRUE
68 | bus_MV_308_0_node_1 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_449-1_0_3_load_0 | 0 | 0.0024285 | 0.00060863 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_449-1_0_3_load_71 | 3 | 0.0035029 | 0.00087791 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_449-1_0_3_load_3 | 5 | 0.0020039 | 0.00050223 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_449-1_0_3_load_4 | 6 | 0.0029007 | 0.00072699 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_449-1_0_3_load_54 | 10 | 0.0082521 | 0.0020682 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_449-1_0_3_load_50 | 11 | 0.0026982 | 0.00067623 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_449-1_0_3_load_53 | 13 | 0.0017238 | 0.00043202 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_449-1_0_3_load_61 | 15 | 0.0022347 | 0.00056007 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_449-1_0_3_load_58 | 16 | 0.0049991 | 0.0012529 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_449-1_0_3_load_31 | 17 | 0.00067695 | 0.00016966 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_449-1_0_3_load_32 | 18 | 0.00085926 | 0.00021535 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_449-1_0_3_load_51 | 20 | 0.0014564 | 0.000365 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_449-1_0_3_load_21 | 21 | 0.007454 | 0.0018682 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_449-1_0_3_load_10 | 22 | 0.0040488 | 0.0010147 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_449-1_0_3_load_12 | 24 | 0.0017354 | 0.00043493 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_449-1_0_3_load_22 | 28 | 0.0031228 | 0.00078266 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_449-1_0_3_load_60 | 30 | 0.0018753 | 0.00046999 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_449-1_0_3_load_39 | 31 | 0.0059543 | 0.0014923 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_449-1_0_3_load_24 | 32 | 0.0062772 | 0.0015732 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_449-1_0_3_load_23 | 33 | 0.0067917 | 0.0017022 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_449-1_0_3_load_59 | 34 | 0.00072039 | 0.00018055 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_449-1_0_3_load_36 | 35 | 0.0061685 | 0.001546 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_449-1_0_3_load_17 | 36 | 0.0022267 | 0.00055807 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_449-1_0_3_load_18 | 37 | 0.0072102 | 0.0018071 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_449-1_0_3_load_19 | 38 | 0.010727 | 0.0026883 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_449-1_0_3_load_20 | 39 | 0.0030215 | 0.00075727 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_449-1_0_3_load_26 | 40 | 0.00080575 | 0.00020194 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_449-1_0_3_load_27 | 41 | 0.0013435 | 0.00033672 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_449-1_0_3_load_28 | 42 | 0.00056693 | 0.00014209 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_449-1_0_3_load_29 | 43 | 0.0072238 | 0.0018104 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_449-1_0_3_load_30 | 44 | 0.0013496 | 0.00033824 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_449-1_0_3_load_35 | 45 | 0.00083687 | 0.00020974 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_449-1_0_3_load_55 | 46 | 0.0018807 | 0.00047134 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_449-1_0_3_load_48 | 47 | 0.0019753 | 0.00049505 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_449-1_0_3_load_56 | 48 | 0.0045986 | 0.0011525 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_449-1_0_3_load_52 | 49 | 0.0052041 | 0.0013043 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_449-1_0_3_load_40 | 50 | 0.00074896 | 0.00018771 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_449-1_0_3_load_41 | 51 | 0.0018386 | 0.00046079 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_449-1_0_3_load_42 | 52 | 0.00086384 | 0.0002165 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_449-1_0_3_load_43 | 53 | 0.0021675 | 0.00054322 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_449-1_0_3_load_44 | 54 | 0.00086847 | 0.00021766 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_449-1_0_3_load_45 | 55 | 0.001216 | 0.00030476 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_449-1_0_3_load_63 | 56 | 0.00091717 | 0.00022987 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_449-1_0_3_load_46 | 57 | 0.0023384 | 0.00058606 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_449-1_0_3_load_64 | 58 | 0.0009634 | 0.00024145 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_449-1_0_3_load_47 | 59 | 0.0032905 | 0.00082468 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_449-1_0_3_load_57 | 60 | 0.0051329 | 0.0012864 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_449-1_0_3_load_62 | 61 | 0.0091663 | 0.0022973 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_449-1_0_3_load_70 | 62 | 0.00081122 | 0.00020331 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_449-1_0_3_load_69 | 63 | 0.0010018 | 0.00025108 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_449-1_0_3_load_65 | 64 | 0.0010628 | 0.00026637 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_449-1_0_3_load_66 | 65 | 0.0010496 | 0.00026305 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_449-1_0_3_load_67 | 66 | 0.00094788 | 0.00023756 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_449-1_0_3_load_68 | 67 | 0.00096528 | 0.00024192 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_449-1_0_3_line_0 |  | 0 | 1 | 0.015414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_449-1_0_3_line_1 |  | 1 | 2 | 1.0115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_449-1_0_3_line_2 |  | 2 | 3 | 0.022128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_449-1_0_3_line_3 |  | 2 | 4 | 0.003467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_449-1_0_3_line_4 |  | 4 | 35 | 0.046866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_449-1_0_3_line_5 |  | 4 | 31 | 0.05395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_449-1_0_3_line_6 |  | 5 | 6 | 0.010621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_449-1_0_3_line_7 |  | 5 | 7 | 0.080048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_449-1_0_3_line_8 |  | 7 | 8 | 0.044975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_449-1_0_3_line_9 |  | 7 | 9 | 0.009794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_449-1_0_3_line_10 |  | 8 | 10 | 0.0092246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_449-1_0_3_line_11 |  | 8 | 11 | 0.0093017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_449-1_0_3_line_12 |  | 9 | 12 | 0.004843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_449-1_0_3_line_13 |  | 10 | 13 | 0.00061687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_449-1_0_3_line_14 |  | 11 | 14 | 0.003509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_449-1_0_3_line_15 |  | 12 | 15 | 0.033893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_449-1_0_3_line_16 |  | 12 | 16 | 0.0061449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_449-1_0_3_line_17 |  | 13 | 49 | 0.020698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_449-1_0_3_line_18 |  | 14 | 47 | 0.045133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_449-1_0_3_line_19 |  | 14 | 59 | 0.036108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_449-1_0_3_line_20 |  | 16 | 34 | 0.04755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_449-1_0_3_line_21 |  | 17 | 18 | 0.051926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_449-1_0_3_line_22 |  | 18 | 27 | 0.0087476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_449-1_0_3_line_23 |  | 19 | 20 | 0.013033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_449-1_0_3_line_24 |  | 19 | 21 | 0.040539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_449-1_0_3_line_25 |  | 20 | 49 | 0.030758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_449-1_0_3_line_26 |  | 21 | 39 | 0.028333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_449-1_0_3_line_27 |  | 22 | 23 | 0.014732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_449-1_0_3_line_28 |  | 22 | 24 | 0.05635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_449-1_0_3_line_29 |  | 23 | 25 | 0.028945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_449-1_0_3_line_30 |  | 25 | 31 | 0.029171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_449-1_0_3_line_31 |  | 25 | 32 | 0.059795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_449-1_0_3_line_32 |  | 26 | 27 | 0.009731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_449-1_0_3_line_33 |  | 26 | 28 | 0.0065405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_449-1_0_3_line_34 |  | 27 | 29 | 0.004111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_449-1_0_3_line_35 |  | 28 | 33 | 0.05066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_449-1_0_3_line_36 |  | 29 | 30 | 0.037184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_449-1_0_3_line_37 |  | 30 | 34 | 0.02155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_449-1_0_3_line_38 |  | 32 | 33 | 0.018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_449-1_0_3_line_39 |  | 36 | 37 | 0.019305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_449-1_0_3_line_40 |  | 37 | 38 | 0.0098552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_449-1_0_3_line_41 |  | 38 | 39 | 8.6462e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_449-1_0_3_line_42 |  | 40 | 41 | 0.00060758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_449-1_0_3_line_43 |  | 40 | 42 | 0.024966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_449-1_0_3_line_44 |  | 41 | 43 | 0.030769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_449-1_0_3_line_45 |  | 42 | 44 | 0.0066548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_449-1_0_3_line_46 |  | 43 | 45 | 0.0085641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_449-1_0_3_line_47 |  | 44 | 46 | 0.0084661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_449-1_0_3_line_48 |  | 45 | 47 | 0.023407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_449-1_0_3_line_49 |  | 46 | 48 | 0.021852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_449-1_0_3_line_50 |  | 48 | 60 | 0.057048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_449-1_0_3_line_51 |  | 50 | 51 | 0.010866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_449-1_0_3_line_52 |  | 50 | 52 | 0.007233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_449-1_0_3_line_53 |  | 51 | 53 | 0.067209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_449-1_0_3_line_54 |  | 52 | 54 | 0.0045647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_449-1_0_3_line_55 |  | 53 | 55 | 0.00059517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_449-1_0_3_line_56 |  | 54 | 56 | 0.0053517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_449-1_0_3_line_57 |  | 55 | 57 | 0.032798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_449-1_0_3_line_58 |  | 56 | 58 | 0.0055418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_449-1_0_3_line_59 |  | 57 | 59 | 0.035872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_449-1_0_3_line_60 |  | 58 | 62 | 0.0052667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_449-1_0_3_line_61 |  | 60 | 61 | 0.0026863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_449-1_0_3_line_62 |  | 62 | 63 | 0.032003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_449-1_0_3_line_63 |  | 63 | 66 | 0.00036914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_449-1_0_3_line_64 |  | 64 | 65 | 0.0004257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_449-1_0_3_line_65 |  | 64 | 66 | 0.00044266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_449-1_0_3_line_66 |  | 65 | 67 | 0.00044426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_449-1_0_3_trafo_28 | 0.63 MVA 20/0.4 kV | 68 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2587256.7443 | 1224842.1555 | 2587270.2616 | 1224849.564
1 | 2586431.2701 | 1224257.5941 | 2587256.7443 | 1224842.1555
2 | 2586431.2701 | 1224257.5941 | 2586433.2144 | 1224262.3702 | 2586428.2409 | 1224265.728 | 2586418.7006 | 1224271.2198
3 | 2586431.2701 | 1224257.5941 | 2586429.9587 | 1224254.3841
4 | 2586429.9587 | 1224254.3841 | 2586434.8434 | 1224251.9937 | 2586441.7676 | 1224246.2745 | 2586447.6828 | 1224240.3242 | 2586452.1074 | 1224232.3205 | 2586454.8645 | 1224224.5763 | 2586455.5003 | 1224217.9151
5 | 2586429.9587 | 1224254.3841 | 2586424.5887 | 1224256.7534 | 2586417.5788 | 1224258.1147 | 2586412.1137 | 1224258.6943 | 2586403.6976 | 1224258.5357 | 2586376.7897 | 1224256.0103
6 | 2586008.5905 | 1224241.1361 | 2585998.946 | 1224236.6873
7 | 2586086.7807 | 1224254.4701 | 2586056.9666 | 1224253.2729 | 2586035.9894 | 1224250.632 | 2586017.3178 | 1224245.1618 | 2586008.5905 | 1224241.1361
8 | 2586086.7807 | 1224254.4701 | 2586083.7882 | 1224248.9851 | 2586073.2423 | 1224239.4376 | 2586051.637 | 1224227.715
9 | 2586096.5409 | 1224255.5701 | 2586086.7807 | 1224254.4701
10 | 2586051.637 | 1224227.715 | 2586043.1003 | 1224224.2198
11 | 2586051.637 | 1224227.715 | 2586060.7879 | 1224226.0467
12 | 2586095.3085 | 1224260.2535 | 2586096.5409 | 1224255.5701
13 | 2586042.5294 | 1224223.9861 | 2586043.1003 | 1224224.2198
14 | 2586064.24 | 1224225.4173 | 2586060.7879 | 1224226.0467
15 | 2586095.3085 | 1224260.2535 | 2586089.6881 | 1224259.2216 | 2586070.5719 | 1224258.077 | 2586061.5545 | 1224257.6336
16 | 2586095.3085 | 1224260.2535 | 2586098.8886 | 1224260.901 | 2586101.3073 | 1224261.5595
17 | 2586042.5294 | 1224223.9861 | 2586030.5242 | 1224219.0709 | 2586023.5382 | 1224215.7725
18 | 2586064.24 | 1224225.4173 | 2586070.2317 | 1224226.3148 | 2586080.2233 | 1224229.0485 | 2586098.9804 | 1224235.4414 | 2586107.4363 | 1224238.2132
19 | 2586064.24 | 1224225.4173 | 2586074.3645 | 1224220.1793 | 2586088.7842 | 1224213.4081 | 2586097.0376 | 1224210.419
20 | 2586101.3073 | 1224261.5595 | 2586107.9166 | 1224263.359 | 2586133.5574 | 1224272.8488 | 2586146.3392 | 1224276.7357
21 | 2586146.4965 | 1224272.4748 | 2586160.2088 | 1224276.8555 | 2586178.7768 | 1224280.2918 | 2586192.1222 | 1224281.0278 | 2586197.4029 | 1224281.1285
22 | 2586206.149 | 1224281.2952 | 2586197.4029 | 1224281.1285
23 | 2585988.6156 | 1224191.6428 | 2585995.4726 | 1224192.9496 | 2586000.8314 | 1224195.7639
24 | 2585988.6156 | 1224191.6428 | 2585991.8418 | 1224183.7306 | 2585995.7558 | 1224174.8939 | 2586000.7867 | 1224167.0218 | 2586008.8777 | 1224157.9307 | 2586009.4215 | 1224157.3209
25 | 2586000.8314 | 1224195.7639 | 2586002.5324 | 1224196.6573 | 2586008.1922 | 1224201.4467 | 2586012.8177 | 1224208.1174 | 2586018.9264 | 1224213.5951 | 2586023.5382 | 1224215.7725
26 | 2586030.9503 | 1224139.0718 | 2586025.8241 | 1224142.3149 | 2586012.9308 | 1224153.3852 | 2586009.4215 | 1224157.3209
27 | 2586324.3017 | 1224264.9002 | 2586317.7182 | 1224270.352 | 2586312.5781 | 1224273.7901
28 | 2586262.5429 | 1224298.2406 | 2586265.2875 | 1224298.2564 | 2586275.7357 | 1224295.3194 | 2586294.5845 | 1224285.8257 | 2586312.5781 | 1224273.7901
29 | 2586347.7625 | 1224253.1169 | 2586345.7409 | 1224257.5798 | 2586342.6793 | 1224261.4669 | 2586341.021 | 1224262.3712 | 2586339.1034 | 1224262.5869 | 2586328.9443 | 1224262.7438 | 2586324.3017 | 1224264.9002
30 | 2586347.7625 | 1224253.1169 | 2586372.2495 | 1224255.5841 | 2586376.7897 | 1224256.0103
31 | 2586347.7625 | 1224253.1169 | 2586333.3252 | 1224252.3387 | 2586326.4495 | 1224252.7437 | 2586315.1846 | 1224253.4146 | 2586298.8398 | 1224257.2436 | 2586289.0945 | 1224260.8095
32 | 2586215.8822 | 1224280.5832 | 2586206.149 | 1224281.2952
33 | 2586215.8822 | 1224280.5832 | 2586222.3585 | 1224279.6697
34 | 2586204.2772 | 1224284.9573 | 2586206.149 | 1224281.2952
35 | 2586271.377 | 1224267.2925 | 2586263.6148 | 1224270.1328 | 2586246.3477 | 1224275.0758 | 2586227.7436 | 1224278.9102 | 2586222.3585 | 1224279.6697
36 | 2586204.2772 | 1224284.9573 | 2586187.7327 | 1224284.3622 | 2586174.3858 | 1224283.0259 | 2586167.3138 | 1224281.5938
37 | 2586167.3138 | 1224281.5938 | 2586152.3506 | 1224278.5637 | 2586146.3392 | 1224276.7357
38 | 2586289.0945 | 1224260.8095 | 2586271.377 | 1224267.2925
39 | 2586039.4496 | 1224133.9202 | 2586053.5881 | 1224125.9398 | 2586056.3725 | 1224124.6479
40 | 2586039.4496 | 1224133.9202 | 2586036.1428 | 1224135.7867 | 2586031.0233 | 1224139.0256
41 | 2586030.9503 | 1224139.0718 | 2586031.0233 | 1224139.0256
42 | 2586169.3721 | 1224249.2068 | 2586168.7645 | 1224249.2082
43 | 2586193.6523 | 1224244.2799 | 2586185.485 | 1224247.179 | 2586178.8846 | 1224248.573 | 2586174.1247 | 1224249.1956 | 2586169.3721 | 1224249.2068
44 | 2586168.7645 | 1224249.2082 | 2586167.3619 | 1224249.2115 | 2586144.9317 | 1224247.7297 | 2586138.08 | 1224247.032
45 | 2586199.9237 | 1224242.0538 | 2586193.6523 | 1224244.2799
46 | 2586138.08 | 1224247.032 | 2586136.1803 | 1224246.8386 | 2586131.4173 | 1224246.0827 | 2586129.6771 | 1224245.5102
47 | 2586207.8222 | 1224239.0068 | 2586200.6813 | 1224241.7849 | 2586199.9237 | 1224242.0538
48 | 2586107.4363 | 1224238.2132 | 2586124.0345 | 1224243.6541 | 2586129.6771 | 1224245.5102
49 | 2586207.8222 | 1224239.0068 | 2586215.7174 | 1224235.9353 | 2586228.3042 | 1224231.3957
50 | 2586228.3042 | 1224231.3957 | 2586235.8224 | 1224228.6842 | 2586266.681 | 1224219.2737 | 2586282.9598 | 1224215.1433
51 | 2586233.8225 | 1224159.904 | 2586226.7659 | 1224165.1571 | 2586225.0796 | 1224166.356
52 | 2586233.8225 | 1224159.904 | 2586239.6244 | 1224155.5849
53 | 2586164.0998 | 1224193.4286 | 2586182.5803 | 1224188.3848 | 2586193.6324 | 1224184.2232 | 2586203.4549 | 1224179.4531 | 2586217.2589 | 1224171.9165 | 2586225.0796 | 1224166.356
54 | 2586243.2859 | 1224152.8592 | 2586239.6244 | 1224155.5849
55 | 2586164.0998 | 1224193.4286 | 2586163.5257 | 1224193.5853
56 | 2586243.2859 | 1224152.8592 | 2586247.5787 | 1224149.6636
57 | 2586163.5257 | 1224193.5853 | 2586161.0921 | 1224194.2495 | 2586135.2971 | 1224199.9799 | 2586131.5231 | 1224200.7482
58 | 2586247.5787 | 1224149.6636 | 2586252.024 | 1224146.3544
59 | 2586131.5231 | 1224200.7482 | 2586119.33 | 1224203.2304 | 2586103.6773 | 1224208.0144 | 2586097.0376 | 1224210.419
60 | 2586256.2486 | 1224143.2095 | 2586252.024 | 1224146.3544
61 | 2586285.5636 | 1224214.4826 | 2586282.9598 | 1224215.1433
62 | 2586256.2486 | 1224143.2095 | 2586266.7061 | 1224135.4246 | 2586283.5137 | 1224126.6379
63 | 2586283.8408 | 1224126.4669 | 2586283.5137 | 1224126.6379
64 | 2586284.6103 | 1224126.0646 | 2586284.2331 | 1224126.2618
65 | 2586284.2331 | 1224126.2618 | 2586283.8408 | 1224126.4669
66 | 2586285.004 | 1224125.8588 | 2586284.6103 | 1224126.0646

## bus_geodata
| x | y | coords
0 | 2587270.2616 | 1224849.564
1 | 2587256.7443 | 1224842.1555
2 | 2586431.2701 | 1224257.5941
3 | 2586418.7006 | 1224271.2198
4 | 2586429.9587 | 1224254.3841
5 | 2586008.5905 | 1224241.1361
6 | 2585998.946 | 1224236.6873
7 | 2586086.7807 | 1224254.4701
8 | 2586051.637 | 1224227.715
9 | 2586096.5409 | 1224255.5701
10 | 2586043.1003 | 1224224.2198
11 | 2586060.7879 | 1224226.0467
12 | 2586095.3085 | 1224260.2535
13 | 2586042.5294 | 1224223.9861
14 | 2586064.24 | 1224225.4173
15 | 2586061.5545 | 1224257.6336
16 | 2586101.3073 | 1224261.5595
17 | 2586146.4965 | 1224272.4748
18 | 2586197.4029 | 1224281.1285
19 | 2585988.6156 | 1224191.6428
20 | 2586000.8314 | 1224195.7639
21 | 2586009.4215 | 1224157.3209
22 | 2586312.5781 | 1224273.7901
23 | 2586324.3017 | 1224264.9002
24 | 2586262.5429 | 1224298.2406
25 | 2586347.7625 | 1224253.1169
26 | 2586215.8822 | 1224280.5832
27 | 2586206.149 | 1224281.2952
28 | 2586222.3585 | 1224279.6697
29 | 2586204.2772 | 1224284.9573
30 | 2586167.3138 | 1224281.5938
31 | 2586376.7897 | 1224256.0103
32 | 2586289.0945 | 1224260.8095
33 | 2586271.377 | 1224267.2925
34 | 2586146.3392 | 1224276.7357
35 | 2586455.5003 | 1224217.9151
36 | 2586056.3725 | 1224124.6479
37 | 2586039.4496 | 1224133.9202
38 | 2586031.0233 | 1224139.0256
39 | 2586030.9503 | 1224139.0718
40 | 2586169.3721 | 1224249.2068
41 | 2586168.7645 | 1224249.2082
42 | 2586193.6523 | 1224244.2799
43 | 2586138.08 | 1224247.032
44 | 2586199.9237 | 1224242.0538
45 | 2586129.6771 | 1224245.5102
46 | 2586207.8222 | 1224239.0068
47 | 2586107.4363 | 1224238.2132
48 | 2586228.3042 | 1224231.3957
49 | 2586023.5382 | 1224215.7725
50 | 2586233.8225 | 1224159.904
51 | 2586225.0796 | 1224166.356
52 | 2586239.6244 | 1224155.5849
53 | 2586164.0998 | 1224193.4286
54 | 2586243.2859 | 1224152.8592
55 | 2586163.5257 | 1224193.5853
56 | 2586247.5787 | 1224149.6636
57 | 2586131.5231 | 1224200.7482
58 | 2586252.024 | 1224146.3544
59 | 2586097.0376 | 1224210.419
60 | 2586282.9598 | 1224215.1433
61 | 2586285.5636 | 1224214.4826
62 | 2586256.2486 | 1224143.2095
63 | 2586283.5137 | 1224126.6379
64 | 2586284.2331 | 1224126.2618
65 | 2586284.6103 | 1224126.0646
66 | 2586283.8408 | 1224126.4669
67 | 2586285.004 | 1224125.8588
68 | 2586285.5636 | 1224214.4826

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1