## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_450-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_450-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_450-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_450-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_450-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_450-2_0_6_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_450-2_0_6_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_450-2_0_6_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_450-2_0_6_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_450-2_0_6_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_450-2_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_450-2_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_450-2_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_450-2_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_450-2_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_450-2_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_450-2_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_450-2_0_6_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_450-2_0_6_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_450-2_0_6_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_450-2_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_450-2_0_6_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_450-2_0_6_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_450-2_0_6_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_450-2_0_6_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_450-2_0_6_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_450-2_0_6_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_450-2_0_6_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_450-2_0_6_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_450-2_0_6_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_450-2_0_6_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_450-2_0_6_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_450-2_0_6_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_450-2_0_6_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_450-2_0_6_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_450-2_0_6_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_450-2_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_450-2_0_6_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_450-2_0_6_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_450-2_0_6_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_450-2_0_6_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_450-2_0_6_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_450-2_0_6_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_450-2_0_6_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_450-2_0_6_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_450-2_0_6_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_450-2_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_450-2_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_450-2_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_450-2_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_450-2_0_6_node_43 | 0.4 | n |  | TRUE
51 | bus_MV_308_0_node_222 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_450-2_0_6_load_0 | 0 | 0.0057544 | 0.0014422 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_450-2_0_6_load_1 | 1 | 0.00061055 | 0.00015302 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_450-2_0_6_load_3 | 3 | 0.00064074 | 0.00016058 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_450-2_0_6_load_4 | 4 | 0.0014514 | 0.00036375 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_450-2_0_6_load_37 | 6 | 0.00085594 | 0.00021452 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_450-2_0_6_load_24 | 8 | 0.00029235 | 7.3269e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_450-2_0_6_load_38 | 9 | 0.00029294 | 7.3418e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_450-2_0_6_load_5 | 10 | 0.096148 | 0.024097 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_450-2_0_6_load_12 | 16 | 0.072023 | 0.018051 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_450-2_0_6_load_23 | 17 | 0.0012659 | 0.00031727 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_450-2_0_6_load_52 | 18 | 0.0091583 | 0.0022953 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_450-2_0_6_load_30 | 19 | 0.0013134 | 0.00032917 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_450-2_0_6_load_33 | 21 | 0.0048163 | 0.0012071 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_450-2_0_6_load_27 | 23 | 0.030689 | 0.0076915 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_450-2_0_6_load_21 | 24 | 0.0012651 | 0.00031705 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_450-2_0_6_load_45 | 25 | 0.013322 | 0.0033389 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_450-2_0_6_load_46 | 27 | 0.016079 | 0.0040298 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_450-2_0_6_load_35 | 28 | 0.0084296 | 0.0021127 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_450-2_0_6_load_28 | 29 | 0.013019 | 0.0032629 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_450-2_0_6_load_13 | 30 | 0.041404 | 0.010377 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_450-2_0_6_load_14 | 31 | 0.0035742 | 0.00089577 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_450-2_0_6_load_16 | 33 | 0.0054322 | 0.0013614 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_450-2_0_6_load_17 | 34 | 0.012716 | 0.0031868 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_450-2_0_6_load_29 | 36 | 0.037465 | 0.0093896 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_450-2_0_6_load_50 | 38 | 0.019486 | 0.0048837 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_450-2_0_6_load_48 | 39 | 0.006616 | 0.0016581 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_450-2_0_6_load_19 | 41 | 0.00068141 | 0.00017078 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_450-2_0_6_load_20 | 42 | 0.00067767 | 0.00016984 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_450-2_0_6_load_22 | 43 | 0.00042176 | 0.0001057 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_450-2_0_6_load_51 | 44 | 0.00039674 | 9.9433e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_450-2_0_6_load_41 | 46 | 0.00017196 | 4.3096e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_450-2_0_6_load_34 | 47 | 0.096951 | 0.024298 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_450-2_0_6_load_43 | 50 | 0.00047622 | 0.00011935 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_450-2_0_6_line_0 |  | 0 | 1 | 0.023301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_450-2_0_6_line_1 |  | 0 | 2 | 0.018458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_450-2_0_6_line_2 |  | 1 | 3 | 0.43653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_450-2_0_6_line_3 |  | 2 | 4 | 0.04043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_450-2_0_6_line_4 |  | 3 | 5 | 0.087356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_450-2_0_6_line_5 |  | 4 | 6 | 0.030531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_450-2_0_6_line_6 |  | 5 | 7 | 0.40232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_450-2_0_6_line_7 |  | 5 | 8 | 0.041565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_450-2_0_6_line_8 |  | 6 | 9 | 0.0080682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_450-2_0_6_line_9 |  | 7 | 44 | 0.2141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_450-2_0_6_line_10 |  | 7 | 45 | 0.25239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_450-2_0_6_line_11 |  | 8 | 43 | 0.023347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_450-2_0_6_line_12 |  | 9 | 48 | 0.03337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_450-2_0_6_line_13 |  | 10 | 11 | 0.023071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_450-2_0_6_line_14 |  | 10 | 12 | 0.0871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_450-2_0_6_line_15 |  | 11 | 13 | 0.14441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_450-2_0_6_line_16 |  | 11 | 14 | 0.019433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_450-2_0_6_line_17 |  | 11 | 15 | 0.33011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_450-2_0_6_line_18 |  | 12 | 16 | 0.043421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_450-2_0_6_line_19 |  | 13 | 17 | 0.084209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_450-2_0_6_line_20 |  | 14 | 18 | 0.035943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_450-2_0_6_line_21 |  | 15 | 19 | 0.010741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_450-2_0_6_line_22 |  | 16 | 23 | 0.082777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_450-2_0_6_line_23 |  | 17 | 24 | 0.034007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_450-2_0_6_line_24 |  | 19 | 20 | 0.019134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_450-2_0_6_line_25 |  | 20 | 21 | 0.016847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_450-2_0_6_line_26 |  | 20 | 22 | 0.24124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_450-2_0_6_line_27 |  | 21 | 28 | 0.040392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_450-2_0_6_line_28 |  | 22 | 25 | 0.049924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_450-2_0_6_line_29 |  | 23 | 29 | 0.027085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_450-2_0_6_line_30 |  | 24 | 41 | 0.030411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_450-2_0_6_line_31 |  | 25 | 26 | 0.048505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_450-2_0_6_line_32 |  | 26 | 27 | 0.027787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_450-2_0_6_line_33 |  | 27 | 40 | 0.046834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_450-2_0_6_line_34 |  | 28 | 47 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_450-2_0_6_line_35 |  | 29 | 36 | 0.032065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_450-2_0_6_line_36 |  | 30 | 31 | 0.031741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_450-2_0_6_line_37 |  | 30 | 32 | 0.022715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_450-2_0_6_line_38 |  | 31 | 33 | 0.017261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_450-2_0_6_line_39 |  | 32 | 34 | 0.021218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_450-2_0_6_line_40 |  | 32 | 35 | 0.27209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_450-2_0_6_line_41 |  | 33 | 36 | 0.028545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_450-2_0_6_line_42 |  | 35 | 37 | 0.014029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_450-2_0_6_line_43 |  | 37 | 38 | 0.075855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_450-2_0_6_line_44 |  | 39 | 40 | 0.048904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_450-2_0_6_line_45 |  | 41 | 42 | 0.027066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_450-2_0_6_line_46 |  | 42 | 43 | 0.030707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_450-2_0_6_line_47 |  | 45 | 46 | 0.043079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_450-2_0_6_line_48 |  | 48 | 49 | 0.076606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_450-2_0_6_line_49 |  | 49 | 50 | 0.042333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_450-2_0_6_trafo_7 | 0.63 MVA 20/0.4 kV | 51 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31
0 | 2585418.9058 | 1225015.6738 | 2585412.8822 | 1225020.4416 | 2585406.2188 | 1225026.6172 | 2585402.3337 | 1225031.8709
1 | 2585434.0631 | 1225005.1805 | 2585424.3371 | 1225011.3748 | 2585418.9058 | 1225015.6738
2 | 2585402.3337 | 1225031.8709 | 2585401.2851 | 1225033.2889 | 2585397.0967 | 1225040.9482 | 2585395.1327 | 1225046.8676 | 2585393.9135 | 1225053.5301 | 2585393.1852 | 1225059.4464 | 2585392.7114 | 1225067.0965 | 2585392.5038 | 1225084.3516 | 2585393.8634 | 1225131.4426 | 2585394.4 | 1225149.1961 | 2585395.6825 | 1225168.1819 | 2585397.9501 | 1225183.9633 | 2585398.7146 | 1225195.7906 | 2585398.0086 | 1225207.6326 | 2585396.3627 | 1225244.1248 | 2585396.3889 | 1225254.7309 | 2585396.1866 | 1225271.0076 | 2585397.4648 | 1225288.2591 | 2585399.7266 | 1225304.7743 | 2585403.9866 | 1225326.2208 | 2585411.7169 | 1225350.1158 | 2585417.4513 | 1225370.0689 | 2585419.7079 | 1225381.4145 | 2585420.2292 | 1225392.9978 | 2585420.2504 | 1225401.625 | 2585419.2929 | 1225422.1505 | 2585418.9774 | 1225432.5463 | 2585420.9104 | 1225441.8025 | 2585425.1677 | 1225452.9764 | 2585428.2408 | 1225461.7671
3 | 2585434.0631 | 1225005.1805 | 2585435.6652 | 1225000.0847 | 2585435.8808 | 1224992.2018 | 2585433.1472 | 1224981.1464 | 2585427.689 | 1224971.8656 | 2585424.6795 | 1224967.8142
4 | 2585475.3219 | 1225519.3032 | 2585464.1111 | 1225522.4436 | 2585456.4848 | 1225522.14 | 2585450.6778 | 1225518.7856 | 2585446.2084 | 1225510.7363 | 2585437.2675 | 1225487.5892 | 2585428.2408 | 1225461.7671
5 | 2585404.6138 | 1224945.4499 | 2585408.2141 | 1224947.3881 | 2585415.0215 | 1224953.4415 | 2585420.0145 | 1224961.534 | 2585424.6795 | 1224967.8142
6 | 2585287.2562 | 1225456.9423 | 2585283.7625 | 1225451.1475 | 2585278.9548 | 1225447.3573 | 2585271.017 | 1225443.7638 | 2585258.1919 | 1225444.0181 | 2585249.1996 | 1225443.1289 | 2585243.3617 | 1225439.6192 | 2585231.2936 | 1225430.3438 | 2585241.2772 | 1225418.3897 | 2585250.4512 | 1225410.0285 | 2585259.8172 | 1225402.6898 | 2585277.4685 | 1225392.3064 | 2585289.978 | 1225387.0389 | 2585302.2793 | 1225383.4062 | 2585315.0076 | 1225380.7619 | 2585325.708 | 1225379.5902 | 2585337.5622 | 1225379.0383 | 2585348.1527 | 1225379.4012 | 2585358.3591 | 1225380.7322 | 2585370.1381 | 1225383.4936 | 2585383.4747 | 1225387.7409 | 2585394.9038 | 1225393.0936 | 2585408.7418 | 1225400.8863 | 2585418.1971 | 1225408.1339 | 2585425.3385 | 1225414.6312 | 2585435.0671 | 1225425.1579 | 2585444.796 | 1225438.8865 | 2585452.3514 | 1225453.432 | 2585459.2903 | 1225470.1136 | 2585465.6039 | 1225488.331 | 2585470.0845 | 1225504.0515 | 2585475.3219 | 1225519.3032
7 | 2585475.3219 | 1225519.3032 | 2585486.4452 | 1225557.6984 | 2585486.8936 | 1225559.2246
8 | 2585404.6138 | 1224945.4499 | 2585397.5096 | 1224941.6255
9 | 2585287.2562 | 1225456.9423 | 2585290.2773 | 1225470.7984 | 2585292.6431 | 1225489.4369 | 2585294.447 | 1225559.4624 | 2585295.3467 | 1225604.2532 | 2585297.9647 | 1225632.8635 | 2585299.4596 | 1225645.7118 | 2585305.3315 | 1225653.8575 | 2585315.0456 | 1225664.7176
10 | 2585283.9594 | 1225575.9649 | 2585277.4105 | 1225569.9665 | 2585275.8215 | 1225561.9546 | 2585272.2746 | 1225550.012 | 2585268.9142 | 1225542.9496 | 2585264.3337 | 1225536.0236 | 2585259.8572 | 1225531.2541 | 2585254.6008 | 1225526.8758 | 2585247.4956 | 1225522.7577 | 2585228.4608 | 1225516.1902 | 2585221.9198 | 1225510.392 | 2585216.2236 | 1225505.937 | 2585212.5273 | 1225500.9989 | 2585210.3948 | 1225496.9574 | 2585209.0228 | 1225493.9479 | 2585207.8676 | 1225489.7039 | 2585207.4847 | 1225485.1355 | 2585207.949 | 1225479.809 | 2585209.191 | 1225473.2909 | 2585211.9896 | 1225464.8123 | 2585215.6137 | 1225456.0536 | 2585222.0049 | 1225444.353 | 2585231.2936 | 1225430.3438 | 2585243.3617 | 1225439.6192 | 2585249.1996 | 1225443.1289 | 2585258.1919 | 1225444.0181 | 2585271.017 | 1225443.7638 | 2585278.9548 | 1225447.3573 | 2585283.7625 | 1225451.1475 | 2585287.2562 | 1225456.9423
11 | 2585493.4749 | 1225581.6244 | 2585486.8936 | 1225559.2246
12 | 2585368.1441 | 1224926.8194 | 2585371.8994 | 1224931.0237 | 2585379.2223 | 1224933.9851 | 2585395.1805 | 1224940.3717 | 2585397.5096 | 1224941.6255
13 | 2585605.2791 | 1225913.2728 | 2585614.7558 | 1225934.3081
14 | 2585650.5305 | 1226013.722 | 2585629.2843 | 1225966.5569 | 2585614.7558 | 1225934.3081
15 | 2585551.2742 | 1225779.7592 | 2585559.6143 | 1225802.4744 | 2585584.228 | 1225862.483 | 2585587.5128 | 1225869.846 | 2585590.1426 | 1225872.8192 | 2585594.4646 | 1225889.0182 | 2585605.2791 | 1225913.2728
16 | 2585605.2791 | 1225913.2728 | 2585589.5895 | 1225919.548 | 2585587.2345 | 1225920.4876
17 | 2585605.2791 | 1225913.2728 | 2585594.4646 | 1225889.0182 | 2585590.1426 | 1225872.8192 | 2585593.7621 | 1225874.4669 | 2585598.0987 | 1225874.9121 | 2585600.5921 | 1225874.7504 | 2585603.9299 | 1225872.7856 | 2585605.4327 | 1225870.4917 | 2585607.0916 | 1225866.9633 | 2585607.1961 | 1225863.1831 | 2585606.0175 | 1225858.5165 | 2585582.4042 | 1225801.4849 | 2585572.5396 | 1225775.2713 | 2585556.0097 | 1225729.3513 | 2585551.2802 | 1225717.0668 | 2585549.3512 | 1225709.3669 | 2585549.3339 | 1225702.2628 | 2585550.6469 | 1225696.7564 | 2585552.788 | 1225692.0373 | 2585555.2649 | 1225688.2178 | 2585559.6053 | 1225683.9492 | 2585563.4195 | 1225681.4718 | 2585584.2886 | 1225672.8269 | 2585589.4705 | 1225671.6692 | 2585596.2241 | 1225671.6305 | 2585623.4314 | 1225660.4466
18 | 2585650.5305 | 1226013.722 | 2585652.4886 | 1226017.9086 | 2585668.1305 | 1226053.4147
19 | 2585551.2742 | 1225779.7592 | 2585537.1085 | 1225733.6222 | 2585527.2504 | 1225699.0538
20 | 2585553.7806 | 1225933.8771 | 2585556.1659 | 1225932.9152 | 2585568.145 | 1225928.1275 | 2585587.2345 | 1225920.4876
21 | 2585623.4314 | 1225660.4466 | 2585627.6729 | 1225670.3145
22 | 2585701.6937 | 1226129.0817 | 2585674.1333 | 1226067.0406 | 2585668.1305 | 1226053.4147
23 | 2585527.2504 | 1225699.0538 | 2585520.6936 | 1225676.0619 | 2585517.9135 | 1225666.3542
24 | 2585630.7469 | 1225688.8678 | 2585631.1321 | 1225682.0406 | 2585629.8424 | 1225675.362 | 2585627.6729 | 1225670.3145
25 | 2585630.7469 | 1225688.8678 | 2585633.0094 | 1225696.6113 | 2585636.3003 | 1225704.7513
26 | 2585630.7469 | 1225688.8678 | 2585625.4364 | 1225690.1036 | 2585614.5356 | 1225692.8206 | 2585638.6828 | 1225776.1331 | 2585648.3709 | 1225810.9635 | 2585657.0901 | 1225840.1484 | 2585665.7349 | 1225869.9116 | 2585677.5761 | 1225898.7999 | 2585675.6039 | 1225907.5654
27 | 2585662.1377 | 1225730.4489 | 2585658.4398 | 1225730.9809 | 2585651.0754 | 1225729.1643 | 2585645.546 | 1225724.4972 | 2585640.4139 | 1225714.9263 | 2585636.3003 | 1225704.7513
28 | 2585675.6039 | 1225907.5654 | 2585695.7015 | 1225953.2657
29 | 2585701.6937 | 1226129.0817 | 2585710.0885 | 1226147.9791 | 2585712.4079 | 1226153.9515
30 | 2585509.5408 | 1225637.1181 | 2585517.9135 | 1225666.3542
31 | 2585715.2279 | 1225997.6671 | 2585695.7015 | 1225953.2657
32 | 2585715.2279 | 1225997.6671 | 2585726.4856 | 1226023.0714
33 | 2585745.4602 | 1226065.8899 | 2585726.4856 | 1226023.0714
34 | 2585681.9536 | 1225734.5927 | 2585678.4751 | 1225731.7439 | 2585674.9997 | 1225730.1292 | 2585670.2916 | 1225729.7292 | 2585665.5927 | 1225729.9518 | 2585662.1377 | 1225730.4489
35 | 2585724.0158 | 1226183.8412 | 2585712.4079 | 1226153.9515
36 | 2585737.8937 | 1226227.4509 | 2585741.0407 | 1226238.4355 | 2585744.4513 | 1226258.4619
37 | 2585750.0686 | 1226279.7825 | 2585746.1984 | 1226274.611 | 2585745.246 | 1226263.1288 | 2585744.4513 | 1226258.4619
38 | 2585737.8937 | 1226227.4509 | 2585733.1398 | 1226210.8574
39 | 2585750.0686 | 1226279.7825 | 2585742.042 | 1226289.0629 | 2585733.372 | 1226291.2764
40 | 2585750.0686 | 1226279.7825 | 2585758.9612 | 1226277.5931 | 2585766.9539 | 1226276.1953 | 2585788.8569 | 1226294.8647 | 2585790.7032 | 1226296.7392 | 2585791.4805 | 1226298.5273 | 2585788.4362 | 1226312.176 | 2585778.1226 | 1226347.4549 | 2585759.3017 | 1226387.4571 | 2585741.1141 | 1226416.5625 | 2585716.1954 | 1226448.2969 | 2585698.5033 | 1226465.8722 | 2585687.6582 | 1226475.3818 | 2585675.0363 | 1226477.2357
41 | 2585724.0158 | 1226183.8412 | 2585729.2925 | 1226197.4285 | 2585733.1398 | 1226210.8574
42 | 2585675.0363 | 1226477.2357 | 2585681.8479 | 1226482.7558 | 2585685.9561 | 1226486.0811
43 | 2585685.9561 | 1226486.0811 | 2585705.1926 | 1226474.0942 | 2585722.4361 | 1226459.0548 | 2585742.3101 | 1226437.9389 | 2585743.3204 | 1226437.1028
44 | 2585745.4602 | 1226065.8899 | 2585752.7977 | 1226069.3186 | 2585768.2705 | 1226105.2915 | 2585768.8502 | 1226106.8317
45 | 2585509.5408 | 1225637.1181 | 2585502.089 | 1225611.0981
46 | 2585502.089 | 1225611.0981 | 2585500.334 | 1225604.9699 | 2585493.4749 | 1225581.6244
47 | 2585283.9594 | 1225575.9649 | 2585286.8752 | 1225618.9451
48 | 2585368.1441 | 1224926.8194 | 2585349.233 | 1224925.0318 | 2585328.3406 | 1224931.3206 | 2585323.3546 | 1224932.189 | 2585304.0349 | 1224933.7712 | 2585304.5639 | 1224945.2878
49 | 2585304.5639 | 1224945.2878 | 2585303.3094 | 1224952.9509 | 2585300.1458 | 1224958.1063 | 2585297.8214 | 1224962.3256 | 2585293.7466 | 1224966.8384 | 2585288.3622 | 1224972.1327 | 2585280.3862 | 1224978.2801

## bus_geodata
| x | y | coords
0 | 2585418.9058 | 1225015.6738
1 | 2585402.3337 | 1225031.8709
2 | 2585434.0631 | 1225005.1805
3 | 2585428.2408 | 1225461.7671
4 | 2585424.6795 | 1224967.8142
5 | 2585475.3219 | 1225519.3032
6 | 2585404.6138 | 1224945.4499
7 | 2585287.2562 | 1225456.9423
8 | 2585486.8936 | 1225559.2246
9 | 2585397.5096 | 1224941.6255
10 | 2585614.7558 | 1225934.3081
11 | 2585605.2791 | 1225913.2728
12 | 2585650.5305 | 1226013.722
13 | 2585551.2742 | 1225779.7592
14 | 2585587.2345 | 1225920.4876
15 | 2585623.4314 | 1225660.4466
16 | 2585668.1305 | 1226053.4147
17 | 2585527.2504 | 1225699.0538
18 | 2585553.7806 | 1225933.8771
19 | 2585627.6729 | 1225670.3145
20 | 2585630.7469 | 1225688.8678
21 | 2585636.3003 | 1225704.7513
22 | 2585675.6039 | 1225907.5654
23 | 2585701.6937 | 1226129.0817
24 | 2585517.9135 | 1225666.3542
25 | 2585695.7015 | 1225953.2657
26 | 2585715.2279 | 1225997.6671
27 | 2585726.4856 | 1226023.0714
28 | 2585662.1377 | 1225730.4489
29 | 2585712.4079 | 1226153.9515
30 | 2585744.4513 | 1226258.4619
31 | 2585737.8937 | 1226227.4509
32 | 2585750.0686 | 1226279.7825
33 | 2585733.1398 | 1226210.8574
34 | 2585733.372 | 1226291.2764
35 | 2585675.0363 | 1226477.2357
36 | 2585724.0158 | 1226183.8412
37 | 2585685.9561 | 1226486.0811
38 | 2585743.3204 | 1226437.1028
39 | 2585768.8502 | 1226106.8317
40 | 2585745.4602 | 1226065.8899
41 | 2585509.5408 | 1225637.1181
42 | 2585502.089 | 1225611.0981
43 | 2585493.4749 | 1225581.6244
44 | 2585315.0456 | 1225664.7176
45 | 2585283.9594 | 1225575.9649
46 | 2585286.8752 | 1225618.9451
47 | 2585681.9536 | 1225734.5927
48 | 2585368.1441 | 1224926.8194
49 | 2585304.5639 | 1224945.2878
50 | 2585280.3862 | 1224978.2801
51 | 2585674.9206 | 1226068.813

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1