## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5428-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5428-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5428-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5428-4_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5428-4_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5428-4_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5428-4_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5428-4_0_6_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_5428-4_0_6_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_5428-4_0_6_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_5428-4_0_6_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_5428-4_0_6_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_5428-4_0_6_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_5428-4_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5428-4_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5428-4_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5428-4_0_6_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_5428-4_0_6_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_5428-4_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5428-4_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5428-4_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5428-4_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5428-4_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5428-4_0_6_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_5428-4_0_6_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_5428-4_0_6_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_5428-4_0_6_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_5428-4_0_6_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_5428-4_0_6_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_5428-4_0_6_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_5428-4_0_6_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_5428-4_0_6_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5428-4_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5428-4_0_6_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_5428-4_0_6_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_5428-4_0_6_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_5428-4_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_5428-4_0_6_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_5428-4_0_6_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_5428-4_0_6_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_5428-4_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5428-4_0_6_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5428-4_0_6_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_5428-4_0_6_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_5428-4_0_6_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_5428-4_0_6_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5428-4_0_6_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_5428-4_0_6_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_5428-4_0_6_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_5428-4_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5428-4_0_6_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_5428-4_0_6_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_5428-4_0_6_node_90 | 0.4 | n |  | TRUE
53 | bus_LV_5428-4_0_6_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_5428-4_0_6_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_5428-4_0_6_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_5428-4_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_5428-4_0_6_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5428-4_0_6_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5428-4_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_5428-4_0_6_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_5428-4_0_6_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_5428-4_0_6_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_5428-4_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_5428-4_0_6_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_5428-4_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_5428-4_0_6_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_5428-4_0_6_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_5428-4_0_6_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_5428-4_0_6_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_5428-4_0_6_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_5428-4_0_6_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_5428-4_0_6_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_5428-4_0_6_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_5428-4_0_6_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_5428-4_0_6_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_5428-4_0_6_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_5428-4_0_6_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_5428-4_0_6_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_5428-4_0_6_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_5428-4_0_6_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_5428-4_0_6_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_5428-4_0_6_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_5428-4_0_6_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_5428-4_0_6_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_5428-4_0_6_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_5428-4_0_6_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_5428-4_0_6_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_5428-4_0_6_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_5428-4_0_6_node_82 | 0.4 | n |  | TRUE
90 | bus_MV_313_0_node_1 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5428-4_0_6_load_0 | 0 | 0.0012554 | 0.00031463 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5428-4_0_6_load_1 | 1 | 0.0048676 | 0.0012199 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5428-4_0_6_load_3 | 3 | 0.0018838 | 0.00047212 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5428-4_0_6_load_4 | 4 | 0.015602 | 0.0039102 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5428-4_0_6_load_5 | 5 | 0.052744 | 0.013219 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5428-4_0_6_load_6 | 6 | 0.00076586 | 0.00019194 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5428-4_0_6_load_15 | 7 | 0.05126 | 0.012847 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5428-4_0_6_load_20 | 11 | 0.074987 | 0.018793 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5428-4_0_6_load_21 | 12 | 0.0071362 | 0.0017885 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5428-4_0_6_load_7 | 13 | 0.010543 | 0.0026422 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5428-4_0_6_load_8 | 14 | 0.0037764 | 0.00094646 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5428-4_0_6_load_51 | 16 | 0.0054051 | 0.0013547 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5428-4_0_6_load_49 | 17 | 0.0088182 | 0.0022101 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5428-4_0_6_load_12 | 18 | 0.0011665 | 0.00029235 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5428-4_0_6_load_16 | 20 | 0.033427 | 0.0083775 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5428-4_0_6_load_18 | 22 | 0.00048502 | 0.00012156 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5428-4_0_6_load_63 | 25 | 0.0022822 | 0.00057197 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5428-4_0_6_load_68 | 26 | 0.00025888 | 6.4881e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5428-4_0_6_load_25 | 27 | 0.034619 | 0.0086762 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5428-4_0_6_load_61 | 29 | 0.0089862 | 0.0022522 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5428-4_0_6_load_66 | 30 | 0.00066104 | 0.00016567 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5428-4_0_6_load_27 | 31 | 0.0016021 | 0.00040152 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5428-4_0_6_load_26 | 32 | 0.0044055 | 0.0011041 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5428-4_0_6_load_52 | 33 | 0.0077662 | 0.0019464 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5428-4_0_6_load_28 | 34 | 0.00030652 | 7.6822e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5428-4_0_6_load_48 | 35 | 0.0043299 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5428-4_0_6_load_29 | 36 | 0.00043809 | 0.0001098 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5428-4_0_6_load_30 | 37 | 0.0019305 | 0.00048382 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5428-4_0_6_load_87 | 38 | 0.0026141 | 0.00065517 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5428-4_0_6_load_88 | 39 | 0.0016257 | 0.00040743 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5428-4_0_6_load_31 | 40 | 0.003704 | 0.00092832 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5428-4_0_6_load_32 | 41 | 0.0044186 | 0.0011074 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5428-4_0_6_load_33 | 42 | 0.0028668 | 0.00071848 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5428-4_0_6_load_34 | 43 | 0.0045205 | 0.0011329 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5428-4_0_6_load_36 | 45 | 0.0021727 | 0.00054453 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5428-4_0_6_load_77 | 47 | 0.0011903 | 0.00029832 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5428-4_0_6_load_78 | 48 | 0.0010511 | 0.00026344 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5428-4_0_6_load_37 | 49 | 0.0036117 | 0.00090519 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5428-4_0_6_load_91 | 50 | 0.0042424 | 0.0010632 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5428-4_0_6_load_73 | 51 | 0.0020209 | 0.00050649 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5428-4_0_6_load_90 | 52 | 0.0011028 | 0.00027639 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5428-4_0_6_load_38 | 53 | 0.0020433 | 0.0005121 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5428-4_0_6_load_74 | 54 | 0.0034744 | 0.00087076 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5428-4_0_6_load_75 | 55 | 0.0073444 | 0.0018407 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5428-4_0_6_load_39 | 56 | 0.020673 | 0.0051811 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5428-4_0_6_load_40 | 57 | 0.0033347 | 0.00083576 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5428-4_0_6_load_43 | 60 | 0.0029203 | 0.00073189 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5428-4_0_6_load_70 | 61 | 0.0042641 | 0.0010687 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5428-4_0_6_load_71 | 62 | 0.0021233 | 0.00053215 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5428-4_0_6_load_44 | 64 | 0.0055366 | 0.0013876 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5428-4_0_6_load_50 | 65 | 0.0043978 | 0.0011022 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5428-4_0_6_load_93 | 66 | 0.0093691 | 0.0023481 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5428-4_0_6_load_72 | 67 | 0.0017313 | 0.0004339 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5428-4_0_6_load_45 | 68 | 0.019469 | 0.0048795 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5428-4_0_6_load_46 | 69 | 0.0026161 | 0.00065566 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5428-4_0_6_load_53 | 70 | 0.0048215 | 0.0012084 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5428-4_0_6_load_85 | 74 | 0.0069988 | 0.0017541 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5428-4_0_6_load_94 | 75 | 0.002921 | 0.00073206 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5428-4_0_6_load_56 | 77 | 0.0016265 | 0.00040764 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5428-4_0_6_load_57 | 78 | 0.0073719 | 0.0018476 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5428-4_0_6_load_58 | 79 | 0.0063619 | 0.0015945 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5428-4_0_6_load_59 | 80 | 0.0020051 | 0.00050253 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5428-4_0_6_load_79 | 81 | 0.002281 | 0.00057167 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5428-4_0_6_load_64 | 83 | 0.0020943 | 0.00052487 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5428-4_0_6_load_65 | 84 | 0.0019907 | 0.00049893 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5428-4_0_6_load_67 | 85 | 0.0021679 | 0.00054332 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5428-4_0_6_load_89 | 86 | 0.0019155 | 0.00048006 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5428-4_0_6_load_84 | 88 | 0.0061204 | 0.0015339 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5428-4_0_6_load_82 | 89 | 0.0023237 | 0.00058238 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5428-4_0_6_line_0 |  | 0 | 1 | 0.0055185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5428-4_0_6_line_1 |  | 0 | 2 | 0.022962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5428-4_0_6_line_2 |  | 1 | 3 | 0.034989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5428-4_0_6_line_3 |  | 2 | 4 | 0.0091611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5428-4_0_6_line_4 |  | 2 | 5 | 0.033034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5428-4_0_6_line_5 |  | 3 | 6 | 0.012657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5428-4_0_6_line_6 |  | 4 | 7 | 0.0040909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5428-4_0_6_line_7 |  | 5 | 8 | 0.010604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5428-4_0_6_line_8 |  | 6 | 9 | 0.019656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5428-4_0_6_line_9 |  | 7 | 10 | 0.03831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5428-4_0_6_line_10 |  | 8 | 11 | 0.031962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5428-4_0_6_line_11 |  | 9 | 12 | 0.028925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5428-4_0_6_line_12 |  | 10 | 20 | 0.023192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5428-4_0_6_line_13 |  | 10 | 18 | 0.032147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5428-4_0_6_line_14 |  | 11 | 15 | 0.029478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5428-4_0_6_line_15 |  | 13 | 14 | 0.012998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5428-4_0_6_line_16 |  | 14 | 15 | 0.013845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5428-4_0_6_line_17 |  | 16 | 17 | 0.011045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5428-4_0_6_line_18 |  | 17 | 63 | 0.032622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5428-4_0_6_line_19 |  | 18 | 19 | 0.01614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5428-4_0_6_line_20 |  | 19 | 21 | 0.034021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5428-4_0_6_line_21 |  | 19 | 22 | 0.0081321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5428-4_0_6_line_22 |  | 20 | 23 | 0.011653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5428-4_0_6_line_23 |  | 21 | 24 | 0.034346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5428-4_0_6_line_24 |  | 21 | 25 | 0.023893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5428-4_0_6_line_25 |  | 22 | 26 | 0.012126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5428-4_0_6_line_26 |  | 23 | 27 | 0.012841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5428-4_0_6_line_27 |  | 24 | 28 | 0.017212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5428-4_0_6_line_28 |  | 24 | 29 | 0.02362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5428-4_0_6_line_29 |  | 26 | 30 | 0.002865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5428-4_0_6_line_30 |  | 27 | 31 | 0.002775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5428-4_0_6_line_31 |  | 28 | 81 | 0.038496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5428-4_0_6_line_32 |  | 28 | 79 | 0.01476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5428-4_0_6_line_33 |  | 30 | 83 | 0.0088043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5428-4_0_6_line_34 |  | 31 | 34 | 0.015023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5428-4_0_6_line_35 |  | 32 | 33 | 0.023574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5428-4_0_6_line_36 |  | 33 | 35 | 0.0040908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5428-4_0_6_line_37 |  | 34 | 36 | 0.0041859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5428-4_0_6_line_38 |  | 35 | 69 | 0.0222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5428-4_0_6_line_39 |  | 36 | 37 | 0.0057229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5428-4_0_6_line_40 |  | 37 | 38 | 0.0012672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5428-4_0_6_line_41 |  | 38 | 39 | 0.0034715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5428-4_0_6_line_42 |  | 39 | 86 | 0.0034527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5428-4_0_6_line_43 |  | 40 | 41 | 0.009963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5428-4_0_6_line_44 |  | 40 | 42 | 0.0069979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5428-4_0_6_line_45 |  | 41 | 43 | 0.0021634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5428-4_0_6_line_46 |  | 42 | 44 | 0.01142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5428-4_0_6_line_47 |  | 43 | 45 | 0.0052287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5428-4_0_6_line_48 |  | 44 | 46 | 0.024276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5428-4_0_6_line_49 |  | 44 | 47 | 0.011301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5428-4_0_6_line_50 |  | 44 | 48 | 0.017729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5428-4_0_6_line_51 |  | 45 | 49 | 0.0082862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5428-4_0_6_line_52 |  | 46 | 50 | 0.042539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5428-4_0_6_line_53 |  | 47 | 51 | 0.011249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5428-4_0_6_line_54 |  | 48 | 52 | 0.0018499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5428-4_0_6_line_55 |  | 49 | 53 | 0.0017559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5428-4_0_6_line_56 |  | 51 | 67 | 9.5589e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5428-4_0_6_line_57 |  | 53 | 54 | 0.011506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_5428-4_0_6_line_58 |  | 54 | 55 | 0.0031571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5428-4_0_6_line_59 |  | 55 | 86 | 0.021656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5428-4_0_6_line_60 |  | 56 | 57 | 0.0075667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5428-4_0_6_line_61 |  | 56 | 58 | 0.027104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5428-4_0_6_line_62 |  | 57 | 59 | 0.011799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5428-4_0_6_line_63 |  | 58 | 60 | 0.0013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5428-4_0_6_line_64 |  | 59 | 61 | 0.0015541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5428-4_0_6_line_65 |  | 59 | 62 | 0.01033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5428-4_0_6_line_66 |  | 60 | 63 | 0.02384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5428-4_0_6_line_67 |  | 61 | 67 | 0.01189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5428-4_0_6_line_68 |  | 63 | 65 | 0.012247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5428-4_0_6_line_69 |  | 63 | 68 | 0.02063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5428-4_0_6_line_70 |  | 64 | 65 | 0.012265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5428-4_0_6_line_71 |  | 64 | 66 | 0.055128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5428-4_0_6_line_72 |  | 68 | 69 | 0.012234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5428-4_0_6_line_73 |  | 70 | 71 | 0.023364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5428-4_0_6_line_74 |  | 71 | 72 | 0.058283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5428-4_0_6_line_75 |  | 72 | 73 | 0.028409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5428-4_0_6_line_76 |  | 72 | 74 | 0.024201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5428-4_0_6_line_77 |  | 73 | 75 | 0.021998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5428-4_0_6_line_78 |  | 74 | 76 | 0.02759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5428-4_0_6_line_79 |  | 76 | 87 | 0.057613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5428-4_0_6_line_80 |  | 77 | 78 | 0.0029458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5428-4_0_6_line_81 |  | 77 | 79 | 0.031646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5428-4_0_6_line_82 |  | 78 | 80 | 0.035982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5428-4_0_6_line_83 |  | 81 | 82 | 0.0012661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5428-4_0_6_line_84 |  | 82 | 87 | 0.036504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5428-4_0_6_line_85 |  | 83 | 84 | 0.015671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5428-4_0_6_line_86 |  | 84 | 85 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5428-4_0_6_line_87 |  | 87 | 88 | 0.061327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5428-4_0_6_line_88 |  | 87 | 89 | 0.0061571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5428-4_0_6_trafo_16 | 0.63 MVA 20/0.4 kV | 90 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2513256.6783 | 1151622.5113 | 2513253.74 | 1151627.1825
1 | 2513265.8389 | 1151601.4556 | 2513256.6783 | 1151622.5113 | 2513256.6783 | 1151622.5113
2 | 2513253.74 | 1151627.1825 | 2513240.7779 | 1151647.7889 | 2513234.974 | 1151656.7127
3 | 2513265.8389 | 1151601.4556 | 2513268.1495 | 1151592.5907
4 | 2513265.8389 | 1151601.4556 | 2513240.998 | 1151579.6799
5 | 2513228.073 | 1151667.3232 | 2513234.974 | 1151656.7127
6 | 2513269.1813 | 1151588.6321 | 2513268.1495 | 1151592.5907
7 | 2513233.0237 | 1151572.6896 | 2513240.998 | 1151579.6799
8 | 2513217.4109 | 1151683.8362 | 2513219.6244 | 1151680.3133 | 2513228.073 | 1151667.3232
9 | 2513278.8437 | 1151551.5608 | 2513269.1813 | 1151588.6321
10 | 2513233.0237 | 1151572.6896 | 2513208.9843 | 1151551.6259
11 | 2513217.4109 | 1151683.8362 | 2513195.9234 | 1151664.4731
12 | 2513278.8437 | 1151551.5608 | 2513288.7285 | 1151530.5805
13 | 2513278.8437 | 1151551.5608 | 2513309.4714 | 1151561.328
14 | 2513186.8131 | 1151532.199 | 2513208.9843 | 1151551.6259
15 | 2513173.4741 | 1151508.9054 | 2513179.9332 | 1151520.1848
16 | 2513186.8131 | 1151532.199 | 2513179.9332 | 1151520.1848
17 | 2513196.3557 | 1151447.6943 | 2513205.4471 | 1151441.422
18 | 2513232.5325 | 1151423.2415 | 2513213.2505 | 1151436.0384 | 2513205.4471 | 1151441.422
19 | 2513323.2789 | 1151568.5193 | 2513320.2696 | 1151564.7716 | 2513309.4714 | 1151561.328
20 | 2513340.3343 | 1151597.7687 | 2513339.6477 | 1151594.8658 | 2513326.1396 | 1151572.0802 | 2513323.2789 | 1151568.5193
21 | 2513323.2789 | 1151568.5193 | 2513328.0904 | 1151564.7033 | 2513330.057 | 1151564.3928
22 | 2513293.695 | 1151520.0392 | 2513288.7285 | 1151530.5805
23 | 2513345.3751 | 1151631.6939 | 2513342.2709 | 1151605.9123 | 2513340.3343 | 1151597.7687
24 | 2513340.3343 | 1151597.7687 | 2513363.9129 | 1151593.9067
25 | 2513330.057 | 1151564.3928 | 2513342.0348 | 1151562.5018
26 | 2513293.695 | 1151520.0392 | 2513301.0323 | 1151509.5009
27 | 2513348.0533 | 1151648.6876 | 2513346.0204 | 1151637.0545 | 2513345.3751 | 1151631.6939
28 | 2513345.3751 | 1151631.6939 | 2513368.639 | 1151627.61
29 | 2513342.0348 | 1151562.5018 | 2513344.8648 | 1151562.055
30 | 2513302.6179 | 1151507.2235 | 2513301.0323 | 1151509.5009
31 | 2513348.0533 | 1151648.6876 | 2513354.6788 | 1151686.6095
32 | 2513348.0533 | 1151648.6876 | 2513339.5148 | 1151650.0781 | 2513334.9788 | 1151654.1695
33 | 2513353.5614 | 1151560.6819 | 2513344.8648 | 1151562.055
34 | 2513302.6179 | 1151507.2235 | 2513311.2022 | 1151494.8942
35 | 2513266.4611 | 1151471.6998 | 2513273.9309 | 1151482.3685 | 2513276.5376 | 1151492.5922
36 | 2513266.4611 | 1151471.6998 | 2513264.1148 | 1151468.3488
37 | 2513311.2022 | 1151494.8942 | 2513311.2022 | 1151494.8942 | 2513312.943 | 1151491.0875
38 | 2513264.1148 | 1151468.3488 | 2513251.3819 | 1151450.163
39 | 2513315.3228 | 1151485.8829 | 2513312.943 | 1151491.0875
40 | 2513315.8498 | 1151484.7304 | 2513315.3228 | 1151485.8829
41 | 2513315.8498 | 1151484.7304 | 2513317.2935 | 1151481.5733
42 | 2513317.2935 | 1151481.5733 | 2513318.7293 | 1151478.4333
43 | 2513335.286 | 1151417.7829 | 2513335.4899 | 1151423.0462 | 2513335.2473 | 1151427.7357
44 | 2513335.286 | 1151417.7829 | 2513335.0151 | 1151410.7902
45 | 2513335.2473 | 1151427.7357 | 2513335.1356 | 1151429.8962
46 | 2513334.573 | 1151399.3787 | 2513335.0151 | 1151410.7902
47 | 2513334.8656 | 1151435.1179 | 2513334.8656 | 1151435.1179 | 2513335.1356 | 1151429.8962
48 | 2513334.573 | 1151399.3787 | 2513358.7 | 1151402.6331
49 | 2513334.573 | 1151399.3787 | 2513323.3619 | 1151397.9545
50 | 2513334.573 | 1151399.3787 | 2513336.5719 | 1151381.7623
51 | 2513334.8656 | 1151435.1179 | 2513332.8391 | 1151443.1524
52 | 2513353.1053 | 1151444.7942 | 2513358.7 | 1151402.6331
53 | 2513312.152 | 1151397.385 | 2513318.5388 | 1151397.3418 | 2513323.3619 | 1151397.9545
54 | 2513336.5719 | 1151381.7623 | 2513336.7729 | 1151379.9911 | 2513336.8041 | 1151379.9315
55 | 2513332.8391 | 1151443.1524 | 2513332.4096 | 1151444.8549
56 | 2513312.152 | 1151397.385 | 2513312.0564 | 1151397.3857
57 | 2513332.4096 | 1151444.8549 | 2513331.235 | 1151449.512 | 2513328.704 | 1151455.719
58 | 2513327.5119 | 1151458.6424 | 2513328.704 | 1151455.719
59 | 2513318.7293 | 1151478.4333 | 2513325.3112 | 1151464.0393 | 2513327.5119 | 1151458.6424
60 | 2513279.6374 | 1151400.8885 | 2513280.5495 | 1151400.5468 | 2513286.9721 | 1151399.0592
61 | 2513254.6269 | 1151411.1713 | 2513258.79 | 1151408.6987 | 2513279.6374 | 1151400.8885
62 | 2513298.6143 | 1151397.5402 | 2513292.7829 | 1151397.7132 | 2513286.9721 | 1151399.0592
63 | 2513254.6269 | 1151411.1713 | 2513253.4536 | 1151411.8122
64 | 2513298.6143 | 1151397.5402 | 2513300.1676 | 1151397.4903
65 | 2513298.6143 | 1151397.5402 | 2513295.8149 | 1151387.5969
66 | 2513232.5325 | 1151423.2415 | 2513253.4536 | 1151411.8122
67 | 2513300.1676 | 1151397.4903 | 2513301.1232 | 1151397.4596 | 2513312.0564 | 1151397.3857
68 | 2513232.5325 | 1151423.2415 | 2513225.3883 | 1151413.2942
69 | 2513232.5325 | 1151423.2415 | 2513244.365 | 1151440.1413
70 | 2513235.8694 | 1151406.9252 | 2513225.3883 | 1151413.2942
71 | 2513235.8694 | 1151406.9252 | 2513241.2694 | 1151352.0623
72 | 2513244.365 | 1151440.1413 | 2513251.3819 | 1151450.163
73 | 2513465.4009 | 1151671.5564 | 2513448.0285 | 1151655.9335
74 | 2513438.1769 | 1151722.8784 | 2513447.5043 | 1151708.5802 | 2513458.9731 | 1151688.4033 | 2513465.4009 | 1151671.5564
75 | 2513438.1769 | 1151722.8784 | 2513460.8002 | 1151740.1409
76 | 2513438.1769 | 1151722.8784 | 2513423.3814 | 1151742.0304
77 | 2513460.8002 | 1151740.1409 | 2513446.6045 | 1151756.9774
78 | 2513404.9207 | 1151762.5139 | 2513420.6498 | 1151745.5663 | 2513423.3814 | 1151742.0304
79 | 2513404.9207 | 1151762.5139 | 2513392.948 | 1151750.8905 | 2513376.7046 | 1151737.9945 | 2513365.0183 | 1151727.0786 | 2513363.1209 | 1151723.2481
80 | 2513311.4797 | 1151675.3649 | 2513309.2922 | 1151677.338
81 | 2513311.4797 | 1151675.3649 | 2513334.9788 | 1151654.1695
82 | 2513282.5728 | 1151701.438 | 2513309.2922 | 1151677.338
83 | 2513354.8967 | 1151687.8567 | 2513354.6788 | 1151686.6095
84 | 2513354.8967 | 1151687.8567 | 2513355.8923 | 1151693.5569 | 2513360.7808 | 1151718.5234 | 2513363.1209 | 1151723.2481
85 | 2513353.5614 | 1151560.6819 | 2513362.73 | 1151559.2344 | 2513367.5203 | 1151555.0074 | 2513367.5203 | 1151555.0074
86 | 2513387.1327 | 1151552.0447 | 2513367.5203 | 1151555.0074
87 | 2513363.1209 | 1151723.2481 | 2513367.203 | 1151721.0213 | 2513377.2179 | 1151711.8272 | 2513383.8588 | 1151703.3932 | 2513389.8191 | 1151697.2705 | 2513391.7525 | 1151689.2156 | 2513400.115 | 1151676.1431
88 | 2513363.1209 | 1151723.2481 | 2513358.5515 | 1151725.7487 | 2513358.1798 | 1151726.6211

## bus_geodata
| x | y | coords
0 | 2513256.6783 | 1151622.5113
1 | 2513253.74 | 1151627.1825
2 | 2513265.8389 | 1151601.4556
3 | 2513234.974 | 1151656.7127
4 | 2513268.1495 | 1151592.5907
5 | 2513240.998 | 1151579.6799
6 | 2513228.073 | 1151667.3232
7 | 2513269.1813 | 1151588.6321
8 | 2513233.0237 | 1151572.6896
9 | 2513217.4109 | 1151683.8362
10 | 2513278.8437 | 1151551.5608
11 | 2513208.9843 | 1151551.6259
12 | 2513195.9234 | 1151664.4731
13 | 2513173.4741 | 1151508.9054
14 | 2513179.9332 | 1151520.1848
15 | 2513186.8131 | 1151532.199
16 | 2513196.3557 | 1151447.6943
17 | 2513205.4471 | 1151441.422
18 | 2513309.4714 | 1151561.328
19 | 2513323.2789 | 1151568.5193
20 | 2513288.7285 | 1151530.5805
21 | 2513340.3343 | 1151597.7687
22 | 2513330.057 | 1151564.3928
23 | 2513293.695 | 1151520.0392
24 | 2513345.3751 | 1151631.6939
25 | 2513363.9129 | 1151593.9067
26 | 2513342.0348 | 1151562.5018
27 | 2513301.0323 | 1151509.5009
28 | 2513348.0533 | 1151648.6876
29 | 2513368.639 | 1151627.61
30 | 2513344.8648 | 1151562.055
31 | 2513302.6179 | 1151507.2235
32 | 2513276.5376 | 1151492.5922
33 | 2513266.4611 | 1151471.6998
34 | 2513311.2022 | 1151494.8942
35 | 2513264.1148 | 1151468.3488
36 | 2513312.943 | 1151491.0875
37 | 2513315.3228 | 1151485.8829
38 | 2513315.8498 | 1151484.7304
39 | 2513317.2935 | 1151481.5733
40 | 2513335.286 | 1151417.7829
41 | 2513335.2473 | 1151427.7357
42 | 2513335.0151 | 1151410.7902
43 | 2513335.1356 | 1151429.8962
44 | 2513334.573 | 1151399.3787
45 | 2513334.8656 | 1151435.1179
46 | 2513358.7 | 1151402.6331
47 | 2513323.3619 | 1151397.9545
48 | 2513336.5719 | 1151381.7623
49 | 2513332.8391 | 1151443.1524
50 | 2513353.1053 | 1151444.7942
51 | 2513312.152 | 1151397.385
52 | 2513336.8041 | 1151379.9315
53 | 2513332.4096 | 1151444.8549
54 | 2513328.704 | 1151455.719
55 | 2513327.5119 | 1151458.6424
56 | 2513279.6374 | 1151400.8885
57 | 2513286.9721 | 1151399.0592
58 | 2513254.6269 | 1151411.1713
59 | 2513298.6143 | 1151397.5402
60 | 2513253.4536 | 1151411.8122
61 | 2513300.1676 | 1151397.4903
62 | 2513295.8149 | 1151387.5969
63 | 2513232.5325 | 1151423.2415
64 | 2513235.8694 | 1151406.9252
65 | 2513225.3883 | 1151413.2942
66 | 2513241.2694 | 1151352.0623
67 | 2513312.0564 | 1151397.3857
68 | 2513244.365 | 1151440.1413
69 | 2513251.3819 | 1151450.163
70 | 2513448.0285 | 1151655.9335
71 | 2513465.4009 | 1151671.5564
72 | 2513438.1769 | 1151722.8784
73 | 2513460.8002 | 1151740.1409
74 | 2513423.3814 | 1151742.0304
75 | 2513446.6045 | 1151756.9774
76 | 2513404.9207 | 1151762.5139
77 | 2513311.4797 | 1151675.3649
78 | 2513309.2922 | 1151677.338
79 | 2513334.9788 | 1151654.1695
80 | 2513282.5728 | 1151701.438
81 | 2513354.6788 | 1151686.6095
82 | 2513354.8967 | 1151687.8567
83 | 2513353.5614 | 1151560.6819
84 | 2513367.5203 | 1151555.0074
85 | 2513387.1327 | 1151552.0447
86 | 2513318.7293 | 1151478.4333
87 | 2513363.1209 | 1151723.2481
88 | 2513400.115 | 1151676.1431
89 | 2513358.1798 | 1151726.6211
90 | 2513293.695 | 1151520.0392

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1