## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5434-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5434-2_0_2_node_30 | 0.4 | n |  | TRUE
2 | bus_LV_5434-2_0_2_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_5434-2_0_2_node_81 | 0.4 | n |  | TRUE
4 | bus_LV_5434-2_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5434-2_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5434-2_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5434-2_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5434-2_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5434-2_0_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_5434-2_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5434-2_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5434-2_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5434-2_0_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5434-2_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5434-2_0_2_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_5434-2_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_5434-2_0_2_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_5434-2_0_2_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_5434-2_0_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_5434-2_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_5434-2_0_2_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_5434-2_0_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5434-2_0_2_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_5434-2_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_5434-2_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_5434-2_0_2_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_5434-2_0_2_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_5434-2_0_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_5434-2_0_2_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_5434-2_0_2_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_5434-2_0_2_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_5434-2_0_2_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_5434-2_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_5434-2_0_2_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_5434-2_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_5434-2_0_2_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_5434-2_0_2_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_5434-2_0_2_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_5434-2_0_2_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_5434-2_0_2_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_5434-2_0_2_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_5434-2_0_2_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_5434-2_0_2_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_5434-2_0_2_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_5434-2_0_2_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_5434-2_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_5434-2_0_2_node_114 | 0.4 | n |  | TRUE
48 | bus_LV_5434-2_0_2_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_5434-2_0_2_node_110 | 0.4 | n |  | TRUE
50 | bus_LV_5434-2_0_2_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_5434-2_0_2_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_5434-2_0_2_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5434-2_0_2_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_5434-2_0_2_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_5434-2_0_2_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_5434-2_0_2_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_5434-2_0_2_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_5434-2_0_2_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_5434-2_0_2_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_5434-2_0_2_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_5434-2_0_2_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_5434-2_0_2_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_5434-2_0_2_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_5434-2_0_2_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_5434-2_0_2_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_5434-2_0_2_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_5434-2_0_2_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_5434-2_0_2_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_5434-2_0_2_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_5434-2_0_2_node_108 | 0.4 | n |  | TRUE
71 | bus_LV_5434-2_0_2_node_109 | 0.4 | n |  | TRUE
72 | bus_LV_5434-2_0_2_node_111 | 0.4 | n |  | TRUE
73 | bus_MV_313_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5434-2_0_2_load_0 | 0 | 0.0078026 | 0.0019555 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5434-2_0_2_load_30 | 1 | 0.00048763 | 0.00012221 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5434-2_0_2_load_1 | 2 | 0.0087062 | 0.002182 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5434-2_0_2_load_81 | 3 | 0.0056393 | 0.0014133 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5434-2_0_2_load_5 | 4 | 0.0012658 | 0.00031725 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5434-2_0_2_load_6 | 5 | 0.000499 | 0.00012506 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5434-2_0_2_load_7 | 6 | 0.00053235 | 0.00013342 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5434-2_0_2_load_8 | 7 | 0.0011802 | 0.00029579 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5434-2_0_2_load_9 | 8 | 0.0012357 | 0.00030969 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5434-2_0_2_load_18 | 9 | 0.0013327 | 0.000334 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5434-2_0_2_load_10 | 10 | 0.001467 | 0.00036766 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5434-2_0_2_load_11 | 11 | 0.0013808 | 0.00034606 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5434-2_0_2_load_12 | 12 | 0.00085892 | 0.00021527 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5434-2_0_2_load_14 | 13 | 0.0022645 | 0.00056753 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5434-2_0_2_load_16 | 15 | 0.001963 | 0.00049197 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5434-2_0_2_load_17 | 16 | 0.0029916 | 0.00074976 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5434-2_0_2_load_19 | 18 | 0.00051516 | 0.00012911 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5434-2_0_2_load_21 | 20 | 0.0014815 | 0.0003713 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5434-2_0_2_load_23 | 21 | 0.0016721 | 0.00041906 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5434-2_0_2_load_24 | 24 | 0.0013561 | 0.00033987 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5434-2_0_2_load_27 | 26 | 0.001632 | 0.00040902 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5434-2_0_2_load_33 | 27 | 0.00069826 | 0.000175 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5434-2_0_2_load_56 | 31 | 0.0016854 | 0.00042239 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5434-2_0_2_load_53 | 32 | 0.0010265 | 0.00025726 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5434-2_0_2_load_40 | 34 | 0.00042723 | 0.00010707 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5434-2_0_2_load_35 | 35 | 0.0016965 | 0.00042518 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5434-2_0_2_load_34 | 36 | 0.0014362 | 0.00035995 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5434-2_0_2_load_37 | 37 | 0.00075179 | 0.00018842 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5434-2_0_2_load_36 | 38 | 0.0011643 | 0.0002918 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5434-2_0_2_load_48 | 41 | 0.0013342 | 0.00033439 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5434-2_0_2_load_41 | 42 | 0.0010579 | 0.00026513 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5434-2_0_2_load_42 | 43 | 0.0014297 | 0.00035831 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5434-2_0_2_load_43 | 44 | 0.00065917 | 0.0001652 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5434-2_0_2_load_44 | 45 | 0.0034169 | 0.00085636 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5434-2_0_2_load_45 | 46 | 0.0027289 | 0.00068394 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5434-2_0_2_load_114 | 47 | 0.00083599 | 0.00020952 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5434-2_0_2_load_46 | 48 | 0.0011895 | 0.00029813 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5434-2_0_2_load_47 | 50 | 0.0024804 | 0.00062165 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5434-2_0_2_load_49 | 51 | 0.0020188 | 0.00050596 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5434-2_0_2_load_51 | 53 | 0.0027846 | 0.0006979 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5434-2_0_2_load_58 | 55 | 0.0014983 | 0.0003755 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5434-2_0_2_load_54 | 56 | 0.0017747 | 0.00044479 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5434-2_0_2_load_55 | 57 | 0.001794 | 0.00044962 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5434-2_0_2_load_68 | 59 | 0.0035838 | 0.00089818 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5434-2_0_2_load_65 | 60 | 0.004431 | 0.0011105 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5434-2_0_2_load_59 | 61 | 0.0015802 | 0.00039604 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5434-2_0_2_load_62 | 62 | 0.0033295 | 0.00083445 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5434-2_0_2_load_63 | 63 | 0.0045629 | 0.0011436 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5434-2_0_2_load_66 | 64 | 0.0040077 | 0.0010044 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5434-2_0_2_load_70 | 66 | 0.0019453 | 0.00048753 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5434-2_0_2_load_69 | 67 | 0.0017851 | 0.0004474 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5434-2_0_2_load_71 | 68 | 0.0026285 | 0.00065878 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5434-2_0_2_load_72 | 69 | 0.0027957 | 0.00070066 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5434-2_0_2_load_108 | 70 | 0.0017225 | 0.00043169 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5434-2_0_2_line_0 |  | 0 | 1 | 0.14381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5434-2_0_2_line_1 |  | 1 | 19 | 0.027601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5434-2_0_2_line_2 |  | 2 | 3 | 0.043712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5434-2_0_2_line_3 |  | 3 | 65 | 0.011526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5434-2_0_2_line_4 |  | 4 | 5 | 0.0033261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5434-2_0_2_line_5 |  | 4 | 6 | 0.011171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5434-2_0_2_line_6 |  | 5 | 7 | 0.030674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5434-2_0_2_line_7 |  | 6 | 8 | 0.0013147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5434-2_0_2_line_8 |  | 7 | 9 | 0.024256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5434-2_0_2_line_9 |  | 9 | 18 | 0.00043195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5434-2_0_2_line_10 |  | 10 | 11 | 0.028946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5434-2_0_2_line_11 |  | 10 | 12 | 0.014049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5434-2_0_2_line_12 |  | 12 | 13 | 0.028458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5434-2_0_2_line_13 |  | 13 | 14 | 0.028251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5434-2_0_2_line_14 |  | 14 | 15 | 0.038918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5434-2_0_2_line_15 |  | 14 | 16 | 0.012185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5434-2_0_2_line_16 |  | 16 | 17 | 0.0010603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5434-2_0_2_line_17 |  | 17 | 20 | 0.025691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5434-2_0_2_line_18 |  | 18 | 19 | 0.016136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5434-2_0_2_line_19 |  | 19 | 24 | 0.026559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5434-2_0_2_line_20 |  | 20 | 21 | 0.040531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5434-2_0_2_line_21 |  | 21 | 22 | 0.021384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5434-2_0_2_line_22 |  | 22 | 23 | 0.052079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5434-2_0_2_line_23 |  | 23 | 35 | 0.020331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5434-2_0_2_line_24 |  | 23 | 36 | 0.034472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5434-2_0_2_line_25 |  | 23 | 33 | 0.042134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5434-2_0_2_line_26 |  | 24 | 25 | 0.058713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5434-2_0_2_line_27 |  | 25 | 26 | 0.045459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5434-2_0_2_line_28 |  | 26 | 27 | 0.025939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5434-2_0_2_line_29 |  | 27 | 36 | 0.038908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5434-2_0_2_line_30 |  | 28 | 29 | 0.035991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5434-2_0_2_line_31 |  | 28 | 30 | 0.023739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5434-2_0_2_line_32 |  | 29 | 31 | 0.020832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5434-2_0_2_line_33 |  | 29 | 32 | 0.028202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5434-2_0_2_line_34 |  | 30 | 39 | 0.008717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5434-2_0_2_line_35 |  | 30 | 38 | 0.055425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5434-2_0_2_line_36 |  | 32 | 56 | 0.0080897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5434-2_0_2_line_37 |  | 33 | 34 | 0.01217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5434-2_0_2_line_38 |  | 34 | 42 | 0.011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5434-2_0_2_line_39 |  | 35 | 37 | 0.02592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5434-2_0_2_line_40 |  | 37 | 38 | 0.0028094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5434-2_0_2_line_41 |  | 39 | 40 | 0.021053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5434-2_0_2_line_42 |  | 39 | 41 | 0.015128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5434-2_0_2_line_43 |  | 40 | 52 | 0.033094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5434-2_0_2_line_44 |  | 40 | 53 | 0.007765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5434-2_0_2_line_45 |  | 41 | 50 | 0.03291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5434-2_0_2_line_46 |  | 42 | 43 | 0.018145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5434-2_0_2_line_47 |  | 43 | 44 | 0.0044487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5434-2_0_2_line_48 |  | 44 | 45 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5434-2_0_2_line_49 |  | 45 | 46 | 0.024267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5434-2_0_2_line_50 |  | 46 | 47 | 0.045369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5434-2_0_2_line_51 |  | 47 | 72 | 0.018441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5434-2_0_2_line_52 |  | 48 | 49 | 0.06926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5434-2_0_2_line_53 |  | 49 | 70 | 0.027581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5434-2_0_2_line_54 |  | 50 | 51 | 0.00069829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5434-2_0_2_line_55 |  | 52 | 54 | 0.011649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5434-2_0_2_line_56 |  | 52 | 55 | 0.019218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5434-2_0_2_line_57 |  | 54 | 62 | 0.028537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5434-2_0_2_line_58 |  | 55 | 61 | 0.089508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5434-2_0_2_line_59 |  | 56 | 57 | 0.026986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5434-2_0_2_line_60 |  | 57 | 58 | 0.022579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5434-2_0_2_line_61 |  | 58 | 59 | 0.016265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5434-2_0_2_line_62 |  | 58 | 60 | 0.078484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5434-2_0_2_line_63 |  | 60 | 64 | 0.029684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5434-2_0_2_line_64 |  | 62 | 63 | 0.043266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5434-2_0_2_line_65 |  | 64 | 65 | 0.059217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5434-2_0_2_line_66 |  | 65 | 66 | 0.026598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5434-2_0_2_line_67 |  | 66 | 67 | 0.013242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5434-2_0_2_line_68 |  | 67 | 68 | 0.025144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5434-2_0_2_line_69 |  | 68 | 69 | 0.011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5434-2_0_2_line_70 |  | 70 | 71 | 0.053338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5434-2_0_2_line_71 |  | 71 | 72 | 0.039511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5434-2_0_2_trafo_55 | 0.63 MVA 20/0.4 kV | 73 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2509924.5691 | 1152540.8988 | 2509974.0662 | 1152405.8784
1 | 2509896.9683 | 1152540.9029 | 2509924.5691 | 1152540.8988
2 | 2509817.4987 | 1152239.2904 | 2509839.3068 | 1152201.407
3 | 2509815.4815 | 1152250.6386 | 2509817.4987 | 1152239.2904
4 | 2509914.1761 | 1152594.5844 | 2509917.4988 | 1152594.7342
5 | 2509928.6583 | 1152595.2376 | 2509917.4988 | 1152594.7342
6 | 2509914.1761 | 1152594.5844 | 2509895.5577 | 1152593.7446 | 2509895.8789 | 1152581.7123
7 | 2509929.9717 | 1152595.2968 | 2509928.6583 | 1152595.2376
8 | 2509896.5262 | 1152557.4647 | 2509895.8789 | 1152581.7123
9 | 2509896.5262 | 1152557.4647 | 2509896.5377 | 1152557.0329
10 | 2509905.2588 | 1152650.5634 | 2509914.8492 | 1152660.6403 | 2509922.0377 | 1152667.6257 | 2509925.974 | 1152670.7268
11 | 2509894.9471 | 1152641.0741 | 2509895.4353 | 1152641.3862 | 2509900.3693 | 1152645.4258 | 2509905.2588 | 1152650.5634
12 | 2509894.9471 | 1152641.0741 | 2509890.6774 | 1152638.3446 | 2509880.8876 | 1152632.4099 | 2509869.6286 | 1152628.4271
13 | 2509842.955 | 1152619.3483 | 2509848.6966 | 1152620.4295 | 2509868.7971 | 1152628.1329 | 2509869.6286 | 1152628.4271
14 | 2509842.955 | 1152619.3483 | 2509849.2227 | 1152603.3114 | 2509850.1017 | 1152593.3478 | 2509850.0337 | 1152581.6529
15 | 2509842.955 | 1152619.3483 | 2509830.9819 | 1152617.0834
16 | 2509829.9401 | 1152616.8863 | 2509830.9819 | 1152617.0834
17 | 2509829.9401 | 1152616.8863 | 2509818.9982 | 1152613.9709 | 2509807.6451 | 1152612.2956 | 2509804.7587 | 1152612.1345
18 | 2509896.9683 | 1152540.9029 | 2509896.5377 | 1152557.0329
19 | 2509896.9683 | 1152540.9029 | 2509870.4406 | 1152539.6159
20 | 2509764.4999 | 1152608.0687 | 2509770.3481 | 1152609.3866 | 2509783.4724 | 1152610.9462 | 2509804.7587 | 1152612.1345
21 | 2509745.2395 | 1152599.3795 | 2509749.2007 | 1152602.5109 | 2509753.995 | 1152604.907 | 2509762.9477 | 1152607.7189 | 2509764.4999 | 1152608.0687
22 | 2509741.8185 | 1152557.5946 | 2509735.7291 | 1152556.3519 | 2509733.679 | 1152569.5796 | 2509734.3024 | 1152575.3181 | 2509735.965 | 1152581.7748 | 2509740.0276 | 1152591.1528 | 2509742.5294 | 1152596.2517 | 2509745.2395 | 1152599.3795
23 | 2509741.8185 | 1152557.5946 | 2509748.0089 | 1152538.2291
24 | 2509741.8185 | 1152557.5946 | 2509764.7611 | 1152562.3644 | 2509775.6042 | 1152564.4319
25 | 2509700.3003 | 1152552.6593 | 2509711.4086 | 1152551.8254 | 2509722.1803 | 1152553.1089 | 2509735.7291 | 1152556.3519 | 2509741.8185 | 1152557.5946
26 | 2509831.756 | 1152505.6589 | 2509838.0603 | 1152506.3871 | 2509840.9396 | 1152506.9776 | 2509843.0744 | 1152508.0796 | 2509844.2542 | 1152509.4739 | 2509845.7952 | 1152512.9418 | 2509848.9662 | 1152524.2899 | 2509850.959 | 1152530.764 | 2509852.9472 | 1152533.8583 | 2509855.1482 | 1152536.3045 | 2509856.9667 | 1152537.3001 | 2509858.9442 | 1152538.1487 | 2509863.0054 | 1152539.2552 | 2509870.4406 | 1152539.6159
27 | 2509831.756 | 1152505.6589 | 2509837.4391 | 1152516.1356 | 2509839.0904 | 1152523.8933 | 2509838.921 | 1152533.5794 | 2509836.2372 | 1152542.9475 | 2509833.0825 | 1152548.2575
28 | 2509833.0825 | 1152548.2575 | 2509831.4388 | 1152551.0243 | 2509825.5428 | 1152557.5611 | 2509818.4144 | 1152562.7822 | 2509813.7496 | 1152564.7989
29 | 2509813.7496 | 1152564.7989 | 2509809.8893 | 1152566.4678 | 2509805.2097 | 1152567.1161 | 2509798.5548 | 1152568.0832 | 2509788.5444 | 1152566.8992 | 2509775.6042 | 1152564.4319
30 | 2509776.2502 | 1152454.9719 | 2509788.8023 | 1152465.9458 | 2509797.4165 | 1152467.6732 | 2509807.9098 | 1152466.7598
31 | 2509776.2502 | 1152454.9719 | 2509771.6986 | 1152458.5312 | 2509766.1751 | 1152460.2262 | 2509762.4944 | 1152460.4482 | 2509759.6962 | 1152459.6342 | 2509757.1907 | 1152457.3593 | 2509755.9803 | 1152455.4652
32 | 2509807.9098 | 1152466.7598 | 2509822.8216 | 1152470.305 | 2509827.9352 | 1152472.4852
33 | 2509807.9098 | 1152466.7598 | 2509813.4275 | 1152462.6301 | 2509817.297 | 1152458.1138 | 2509819.1124 | 1152452.2497 | 2509818.2747 | 1152448.082 | 2509816.5025 | 1152443.4359
34 | 2509752.0341 | 1152447.7086 | 2509754.6837 | 1152453.4501 | 2509755.9803 | 1152455.4652
35 | 2509755.9803 | 1152455.4652 | 2509757.9361 | 1152499.8514 | 2509756.4729 | 1152509.746 | 2509756.2182 | 1152510.7064
36 | 2509816.5025 | 1152443.4359 | 2509815.5424 | 1152440.9187 | 2509812.7828 | 1152436.2822
37 | 2509700.3003 | 1152552.6593 | 2509693.811 | 1152542.3638
38 | 2509693.811 | 1152542.3638 | 2509691.8798 | 1152539.2999 | 2509687.6541 | 1152532.2718
39 | 2509755.4979 | 1152513.4219 | 2509753.3495 | 1152521.5222 | 2509748.0089 | 1152538.2291
40 | 2509755.4979 | 1152513.4219 | 2509756.2182 | 1152510.7064
41 | 2509752.834 | 1152426.8619 | 2509751.0744 | 1152436.9499 | 2509751.4457 | 1152443.2815 | 2509752.0341 | 1152447.7086
42 | 2509752.0341 | 1152447.7086 | 2509738.2302 | 1152453.897
43 | 2509735.4341 | 1152398.7061 | 2509739.4099 | 1152405.8729 | 2509749.561 | 1152422.0303 | 2509752.834 | 1152426.8619
44 | 2509752.834 | 1152426.8619 | 2509757.1883 | 1152433.2911
45 | 2509709.2057 | 1152469.1467 | 2509714.2166 | 1152466.9322 | 2509723.758 | 1152460.385 | 2509738.2302 | 1152453.897
46 | 2509678.3039 | 1152516.7211 | 2509687.6541 | 1152532.2718
47 | 2509678.3039 | 1152516.7211 | 2509676.0115 | 1152512.9085
48 | 2509676.0115 | 1152512.9085 | 2509666.8611 | 1152497.6898
49 | 2509652.9641 | 1152477.8018 | 2509665.9035 | 1152496.0973 | 2509666.8611 | 1152497.6898
50 | 2509652.9641 | 1152477.8018 | 2509609.4735 | 1152490.7201
51 | 2509609.1521 | 1152509.1578 | 2509609.4751 | 1152490.8308 | 2509609.4735 | 1152490.7201
52 | 2509607.9719 | 1152425.0583 | 2509565.3682 | 1152479.6648
53 | 2509565.3682 | 1152479.6648 | 2509583.6913 | 1152500.2796
54 | 2509708.567 | 1152469.429 | 2509709.2057 | 1152469.1467
55 | 2509729.5726 | 1152388.6324 | 2509735.4341 | 1152398.7061
56 | 2509735.4341 | 1152398.7061 | 2509731.5881 | 1152400.1869 | 2509728.4973 | 1152401.3562 | 2509724.5195 | 1152401.2158 | 2509721.2762 | 1152400.9199 | 2509717.5887 | 1152399.1519 | 2509717.2806 | 1152398.8023
57 | 2509729.5726 | 1152388.6324 | 2509734.3747 | 1152379.2658 | 2509731.6636 | 1152372.5024 | 2509727.1376 | 1152362.7799
58 | 2509656.4778 | 1152364.6297 | 2509685.28 | 1152397.3247 | 2509704.9191 | 1152381.9095 | 2509713.1693 | 1152394.1375 | 2509717.2806 | 1152398.8023
59 | 2509795.9165 | 1152415.3652 | 2509808.6295 | 1152429.3042 | 2509812.7828 | 1152436.2822
60 | 2509780.7011 | 1152398.6825 | 2509795.9165 | 1152415.3652
61 | 2509766.4244 | 1152394.5163 | 2509776.6267 | 1152394.152 | 2509780.7011 | 1152398.6825
62 | 2509780.7011 | 1152398.6825 | 2509788.6845 | 1152384.4542 | 2509825.0128 | 1152351.3451 | 2509824.5066 | 1152338.3379
63 | 2509824.5066 | 1152338.3379 | 2509823.3522 | 1152308.6762
64 | 2509727.1376 | 1152362.7799 | 2509724.5813 | 1152357.2885 | 2509715.6264 | 1152337.4888 | 2509708.6445 | 1152323.6746
65 | 2509815.4815 | 1152250.6386 | 2509816.3227 | 1152251.9712 | 2509818.3078 | 1152255.8771 | 2509820.1526 | 1152261.1749 | 2509821.036 | 1152266.8539 | 2509822.1402 | 1152277.5327 | 2509823.3522 | 1152308.6762
66 | 2509815.4815 | 1152250.6386 | 2509810.2837 | 1152253.0847 | 2509794.4304 | 1152266.6325
67 | 2509784.3639 | 1152275.2351 | 2509794.4304 | 1152266.6325
68 | 2509761.8921 | 1152284.8295 | 2509766.4609 | 1152281.3922 | 2509777.9316 | 1152279.608 | 2509781.6539 | 1152277.5509 | 2509784.3639 | 1152275.2351
69 | 2509763.4338 | 1152296.0131 | 2509760.8407 | 1152289.9484 | 2509761.8921 | 1152284.8295
70 | 2509606.7562 | 1152548.3729 | 2509583.6913 | 1152500.2796
71 | 2509609.1521 | 1152509.1578 | 2509607.6791 | 1152513.7938 | 2509606.7827 | 1152529.7169 | 2509606.4217 | 1152546.5435 | 2509606.7562 | 1152548.3729

## bus_geodata
| x | y | coords
0 | 2509974.0662 | 1152405.8784
1 | 2509924.5691 | 1152540.8988
2 | 2509839.3068 | 1152201.407
3 | 2509817.4987 | 1152239.2904
4 | 2509917.4988 | 1152594.7342
5 | 2509914.1761 | 1152594.5844
6 | 2509928.6583 | 1152595.2376
7 | 2509895.8789 | 1152581.7123
8 | 2509929.9717 | 1152595.2968
9 | 2509896.5262 | 1152557.4647
10 | 2509905.2588 | 1152650.5634
11 | 2509925.974 | 1152670.7268
12 | 2509894.9471 | 1152641.0741
13 | 2509869.6286 | 1152628.4271
14 | 2509842.955 | 1152619.3483
15 | 2509850.0337 | 1152581.6529
16 | 2509830.9819 | 1152617.0834
17 | 2509829.9401 | 1152616.8863
18 | 2509896.5377 | 1152557.0329
19 | 2509896.9683 | 1152540.9029
20 | 2509804.7587 | 1152612.1345
21 | 2509764.4999 | 1152608.0687
22 | 2509745.2395 | 1152599.3795
23 | 2509741.8185 | 1152557.5946
24 | 2509870.4406 | 1152539.6159
25 | 2509831.756 | 1152505.6589
26 | 2509833.0825 | 1152548.2575
27 | 2509813.7496 | 1152564.7989
28 | 2509776.2502 | 1152454.9719
29 | 2509807.9098 | 1152466.7598
30 | 2509755.9803 | 1152455.4652
31 | 2509827.9352 | 1152472.4852
32 | 2509816.5025 | 1152443.4359
33 | 2509700.3003 | 1152552.6593
34 | 2509693.811 | 1152542.3638
35 | 2509748.0089 | 1152538.2291
36 | 2509775.6042 | 1152564.4319
37 | 2509755.4979 | 1152513.4219
38 | 2509756.2182 | 1152510.7064
39 | 2509752.0341 | 1152447.7086
40 | 2509752.834 | 1152426.8619
41 | 2509738.2302 | 1152453.897
42 | 2509687.6541 | 1152532.2718
43 | 2509678.3039 | 1152516.7211
44 | 2509676.0115 | 1152512.9085
45 | 2509666.8611 | 1152497.6898
46 | 2509652.9641 | 1152477.8018
47 | 2509609.4735 | 1152490.7201
48 | 2509607.9719 | 1152425.0583
49 | 2509565.3682 | 1152479.6648
50 | 2509709.2057 | 1152469.1467
51 | 2509708.567 | 1152469.429
52 | 2509735.4341 | 1152398.7061
53 | 2509757.1883 | 1152433.2911
54 | 2509729.5726 | 1152388.6324
55 | 2509717.2806 | 1152398.8023
56 | 2509812.7828 | 1152436.2822
57 | 2509795.9165 | 1152415.3652
58 | 2509780.7011 | 1152398.6825
59 | 2509766.4244 | 1152394.5163
60 | 2509824.5066 | 1152338.3379
61 | 2509656.4778 | 1152364.6297
62 | 2509727.1376 | 1152362.7799
63 | 2509708.6445 | 1152323.6746
64 | 2509823.3522 | 1152308.6762
65 | 2509815.4815 | 1152250.6386
66 | 2509794.4304 | 1152266.6325
67 | 2509784.3639 | 1152275.235
68 | 2509761.8921 | 1152284.8295
69 | 2509763.4338 | 1152296.0131
70 | 2509583.6913 | 1152500.2796
71 | 2509606.7562 | 1152548.3729
72 | 2509609.1521 | 1152509.1578
73 | 2509780.7011 | 1152398.6825

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1