## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5483-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5483-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5483-1_0_4_node_12 | 0.4 | n |  | TRUE
3 | bus_LV_5483-1_0_4_node_80 | 0.4 | n |  | TRUE
4 | bus_LV_5483-1_0_4_node_79 | 0.4 | n |  | TRUE
5 | bus_LV_5483-1_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5483-1_0_4_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_5483-1_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_5483-1_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5483-1_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5483-1_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5483-1_0_4_node_81 | 0.4 | n |  | TRUE
12 | bus_LV_5483-1_0_4_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_5483-1_0_4_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_5483-1_0_4_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_5483-1_0_4_node_84 | 0.4 | n |  | TRUE
16 | bus_LV_5483-1_0_4_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_5483-1_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_5483-1_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5483-1_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5483-1_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5483-1_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5483-1_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5483-1_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5483-1_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5483-1_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5483-1_0_4_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_5483-1_0_4_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_5483-1_0_4_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_5483-1_0_4_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_5483-1_0_4_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_5483-1_0_4_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_5483-1_0_4_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_5483-1_0_4_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_5483-1_0_4_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_5483-1_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_5483-1_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5483-1_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_5483-1_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5483-1_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5483-1_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5483-1_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5483-1_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_5483-1_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_5483-1_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_5483-1_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_5483-1_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_5483-1_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_5483-1_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5483-1_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5483-1_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_5483-1_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_5483-1_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5483-1_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_5483-1_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_5483-1_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_5483-1_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5483-1_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5483-1_0_4_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_5483-1_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_5483-1_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_5483-1_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5483-1_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5483-1_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_5483-1_0_4_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_5483-1_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_5483-1_0_4_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_5483-1_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5483-1_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_5483-1_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_5483-1_0_4_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_5483-1_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_5483-1_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_5483-1_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_5483-1_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_5483-1_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_5483-1_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_5483-1_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_5483-1_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_5483-1_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_5483-1_0_4_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_5483-1_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_MV_315_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5483-1_0_4_load_0 | 0 | 0.0096441 | 0.002417 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5483-1_0_4_load_79 | 4 | 0.001026 | 0.00025714 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5483-1_0_4_load_5 | 5 | 0.010213 | 0.0025595 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5483-1_0_4_load_2 | 6 | 0.001371 | 0.0003436 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5483-1_0_4_load_3 | 7 | 0.0010043 | 0.00025171 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5483-1_0_4_load_7 | 10 | 0.0045242 | 0.0011339 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5483-1_0_4_load_81 | 11 | 0.0051093 | 0.0012805 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5483-1_0_4_load_83 | 14 | 0.0012214 | 0.00030612 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5483-1_0_4_load_84 | 15 | 0.0013362 | 0.0003349 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5483-1_0_4_load_32 | 17 | 0.0050538 | 0.0012666 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5483-1_0_4_load_8 | 18 | 0.00051275 | 0.00012851 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5483-1_0_4_load_11 | 21 | 0.00067505 | 0.00016918 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5483-1_0_4_load_13 | 22 | 0.0005717 | 0.00014328 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5483-1_0_4_load_18 | 23 | 0.0032226 | 0.00080767 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5483-1_0_4_load_14 | 24 | 0.0032249 | 0.00080825 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5483-1_0_4_load_71 | 26 | 0.0021787 | 0.00054603 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5483-1_0_4_load_73 | 28 | 0.0005858 | 0.00014682 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5483-1_0_4_load_77 | 30 | 0.0028576 | 0.00071617 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5483-1_0_4_load_75 | 31 | 0.00046238 | 0.00011588 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5483-1_0_4_load_76 | 32 | 0.0028561 | 0.00071581 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5483-1_0_4_load_78 | 33 | 0.0022814 | 0.00057178 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5483-1_0_4_load_15 | 34 | 0.0016297 | 0.00040843 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5483-1_0_4_load_17 | 35 | 0.0044963 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5483-1_0_4_load_19 | 36 | 0.0017017 | 0.00042649 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5483-1_0_4_load_20 | 37 | 0.0038203 | 0.00095746 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5483-1_0_4_load_21 | 38 | 0.0070712 | 0.0017722 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5483-1_0_4_load_22 | 39 | 0.0017623 | 0.00044168 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5483-1_0_4_load_23 | 40 | 0.0027837 | 0.00069765 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5483-1_0_4_load_24 | 41 | 0.0018331 | 0.00045943 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5483-1_0_4_load_29 | 42 | 0.0050293 | 0.0012605 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5483-1_0_4_load_30 | 43 | 0.0046254 | 0.0011592 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5483-1_0_4_load_25 | 44 | 0.0031871 | 0.00079875 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5483-1_0_4_load_26 | 45 | 0.00052078 | 0.00013052 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5483-1_0_4_load_27 | 46 | 0.0011199 | 0.00028067 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5483-1_0_4_load_28 | 47 | 0.0039342 | 0.000986 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5483-1_0_4_load_41 | 48 | 0.00067542 | 0.00016928 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5483-1_0_4_load_42 | 49 | 0.014088 | 0.0035307 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5483-1_0_4_load_38 | 50 | 0.0020521 | 0.0005143 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5483-1_0_4_load_43 | 52 | 0.0024267 | 0.0006082 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5483-1_0_4_load_44 | 53 | 0.0061914 | 0.0015517 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5483-1_0_4_load_33 | 54 | 0.0021636 | 0.00054224 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5483-1_0_4_load_35 | 55 | 0.0057522 | 0.0014416 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5483-1_0_4_load_40 | 57 | 0.0013119 | 0.0003288 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5483-1_0_4_load_39 | 58 | 0.0079732 | 0.0019983 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5483-1_0_4_load_45 | 59 | 0.0028188 | 0.00070647 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5483-1_0_4_load_47 | 61 | 0.0025596 | 0.0006415 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5483-1_0_4_load_48 | 62 | 0.0018548 | 0.00046486 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5483-1_0_4_load_49 | 63 | 0.0075417 | 0.0018901 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5483-1_0_4_load_66 | 64 | 0.00093378 | 0.00023403 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5483-1_0_4_load_50 | 65 | 0.0085591 | 0.0021451 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5483-1_0_4_load_67 | 66 | 0.0046298 | 0.0011603 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5483-1_0_4_load_51 | 67 | 0.0063635 | 0.0015948 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5483-1_0_4_load_52 | 68 | 0.00077966 | 0.0001954 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5483-1_0_4_load_53 | 69 | 0.0016833 | 0.00042186 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5483-1_0_4_load_55 | 71 | 0.00085417 | 0.00021408 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5483-1_0_4_load_56 | 72 | 0.0022357 | 0.00056033 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5483-1_0_4_load_57 | 73 | 0.0023864 | 0.00059809 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5483-1_0_4_load_58 | 74 | 0.0036996 | 0.00092721 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5483-1_0_4_load_59 | 75 | 0.0022829 | 0.00057216 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5483-1_0_4_load_60 | 76 | 0.0035734 | 0.00089559 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5483-1_0_4_load_61 | 77 | 0.0025556 | 0.0006405 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5483-1_0_4_load_62 | 78 | 0.0018985 | 0.0004758 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5483-1_0_4_load_63 | 79 | 0.0026846 | 0.00067284 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5483-1_0_4_load_68 | 80 | 0.0077817 | 0.0019503 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5483-1_0_4_load_69 | 81 | 0.0023174 | 0.00058079 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5483-1_0_4_line_0 |  | 0 | 1 | 0.059623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5483-1_0_4_line_1 |  | 0 | 2 | 0.43482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5483-1_0_4_line_2 |  | 1 | 3 | 0.33564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5483-1_0_4_line_3 |  | 2 | 5 | 0.00040089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5483-1_0_4_line_4 |  | 3 | 4 | 0.042063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5483-1_0_4_line_5 |  | 4 | 29 | 0.037234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5483-1_0_4_line_6 |  | 5 | 7 | 0.05275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5483-1_0_4_line_7 |  | 6 | 7 | 0.025212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5483-1_0_4_line_8 |  | 6 | 8 | 0.088141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5483-1_0_4_line_9 |  | 8 | 9 | 0.030471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5483-1_0_4_line_10 |  | 8 | 10 | 0.032034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5483-1_0_4_line_11 |  | 9 | 11 | 0.033831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5483-1_0_4_line_12 |  | 9 | 12 | 0.035754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5483-1_0_4_line_13 |  | 10 | 13 | 0.001077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5483-1_0_4_line_14 |  | 12 | 14 | 0.016429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5483-1_0_4_line_15 |  | 12 | 15 | 0.029608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5483-1_0_4_line_16 |  | 13 | 16 | 0.017131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5483-1_0_4_line_17 |  | 13 | 17 | 0.05317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5483-1_0_4_line_18 |  | 16 | 50 | 0.012033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5483-1_0_4_line_19 |  | 16 | 43 | 0.013915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5483-1_0_4_line_20 |  | 17 | 54 | 0.018146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5483-1_0_4_line_21 |  | 18 | 19 | 0.017052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5483-1_0_4_line_22 |  | 19 | 20 | 0.040913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5483-1_0_4_line_23 |  | 19 | 21 | 0.0012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5483-1_0_4_line_24 |  | 20 | 22 | 0.015945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5483-1_0_4_line_25 |  | 21 | 23 | 0.0099957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5483-1_0_4_line_26 |  | 22 | 24 | 0.010384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5483-1_0_4_line_27 |  | 23 | 25 | 0.012952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5483-1_0_4_line_28 |  | 25 | 35 | 0.026766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5483-1_0_4_line_29 |  | 25 | 34 | 0.036067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5483-1_0_4_line_30 |  | 26 | 27 | 0.021748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5483-1_0_4_line_31 |  | 27 | 28 | 0.026316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5483-1_0_4_line_32 |  | 27 | 29 | 0.037151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5483-1_0_4_line_33 |  | 29 | 30 | 0.0212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5483-1_0_4_line_34 |  | 30 | 31 | 0.01927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5483-1_0_4_line_35 |  | 31 | 32 | 0.014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5483-1_0_4_line_36 |  | 32 | 33 | 9.2525e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5483-1_0_4_line_37 |  | 35 | 36 | 0.0070154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5483-1_0_4_line_38 |  | 36 | 37 | 0.0038815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5483-1_0_4_line_39 |  | 37 | 38 | 0.019929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5483-1_0_4_line_40 |  | 38 | 39 | 0.0025115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5483-1_0_4_line_41 |  | 39 | 40 | 0.021781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5483-1_0_4_line_42 |  | 40 | 41 | 0.012078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5483-1_0_4_line_43 |  | 41 | 42 | 0.0014858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5483-1_0_4_line_44 |  | 42 | 43 | 0.043044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5483-1_0_4_line_45 |  | 44 | 45 | 0.0092257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5483-1_0_4_line_46 |  | 44 | 46 | 0.012431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5483-1_0_4_line_47 |  | 45 | 47 | 0.051797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5483-1_0_4_line_48 |  | 47 | 48 | 0.00026162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5483-1_0_4_line_49 |  | 48 | 49 | 0.032114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5483-1_0_4_line_50 |  | 49 | 50 | 0.018332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5483-1_0_4_line_51 |  | 49 | 52 | 0.019915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5483-1_0_4_line_52 |  | 51 | 52 | 0.012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5483-1_0_4_line_53 |  | 51 | 53 | 0.0058002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5483-1_0_4_line_54 |  | 53 | 59 | 0.0059441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5483-1_0_4_line_55 |  | 54 | 55 | 0.034443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5483-1_0_4_line_56 |  | 55 | 56 | 0.046259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5483-1_0_4_line_57 |  | 56 | 57 | 0.061676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5483-1_0_4_line_58 |  | 56 | 58 | 0.032963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5483-1_0_4_line_59 |  | 59 | 60 | 0.022359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5483-1_0_4_line_60 |  | 60 | 61 | 0.014207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5483-1_0_4_line_61 |  | 60 | 62 | 0.0077973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5483-1_0_4_line_62 |  | 61 | 63 | 0.0044746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5483-1_0_4_line_63 |  | 62 | 64 | 0.025059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5483-1_0_4_line_64 |  | 63 | 65 | 0.02682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5483-1_0_4_line_65 |  | 64 | 66 | 0.010831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5483-1_0_4_line_66 |  | 65 | 67 | 0.0065846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5483-1_0_4_line_67 |  | 66 | 80 | 0.0064569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5483-1_0_4_line_68 |  | 67 | 68 | 0.025178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5483-1_0_4_line_69 |  | 68 | 69 | 0.015596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5483-1_0_4_line_70 |  | 69 | 70 | 0.03388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5483-1_0_4_line_71 |  | 70 | 71 | 0.015871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5483-1_0_4_line_72 |  | 70 | 72 | 0.013115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5483-1_0_4_line_73 |  | 71 | 73 | 0.019328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5483-1_0_4_line_74 |  | 73 | 74 | 0.0021385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5483-1_0_4_line_75 |  | 74 | 75 | 0.029604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5483-1_0_4_line_76 |  | 75 | 76 | 0.0067956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5483-1_0_4_line_77 |  | 76 | 77 | 0.027398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5483-1_0_4_line_78 |  | 77 | 78 | 0.016692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5483-1_0_4_line_79 |  | 78 | 79 | 0.023617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5483-1_0_4_line_80 |  | 80 | 81 | 0.0041591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5483-1_0_4_trafo_6 | 0.63 MVA 20/0.4 kV | 82 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2527719.4845 | 1167687.0915 | 2527691.12 | 1167681.7636 | 2527660.3952 | 1167680.2522
1 | 2527263.9414 | 1167858.8407 | 2527660.3952 | 1167680.2522
2 | 2528051.6719 | 1167735.114 | 2527719.4845 | 1167687.0915
3 | 2527263.6156 | 1167859.0744 | 2527263.9414 | 1167858.8407
4 | 2528051.6719 | 1167735.114 | 2528068.2133 | 1167726.1216 | 2528078.9921 | 1167720.4447 | 2528088.743 | 1167715.2394
5 | 2528121.4849 | 1167697.5111 | 2528105.8571 | 1167706.1033 | 2528088.743 | 1167715.2394
6 | 2527215.2794 | 1167879.3139 | 2527217.6047 | 1167878.792 | 2527234.1452 | 1167873.6439 | 2527242.0913 | 1167871.1683 | 2527260.0939 | 1167861.6001 | 2527263.6156 | 1167859.0744
7 | 2527190.6795 | 1167884.8355 | 2527215.2794 | 1167879.3139
8 | 2527104.3157 | 1167902.1255 | 2527108.5452 | 1167901.8406 | 2527134.5024 | 1167897.4449 | 2527190.6795 | 1167884.8355
9 | 2527104.3157 | 1167902.1255 | 2527105.7081 | 1167907.1003 | 2527108.5312 | 1167908.867 | 2527115.6071 | 1167909.1145 | 2527130.5681 | 1167908.7992
10 | 2527104.3157 | 1167902.1255 | 2527088.3764 | 1167903.1976 | 2527072.4282 | 1167901.3183
11 | 2527130.5681 | 1167908.7992 | 2527121.2805 | 1167941.3307
12 | 2527165.8284 | 1167910.3052 | 2527163.4629 | 1167909.022 | 2527149.2913 | 1167906.904 | 2527134.6776 | 1167908.7159 | 2527130.5681 | 1167908.7992
13 | 2527071.3586 | 1167901.1923 | 2527072.4282 | 1167901.3183
14 | 2527165.8284 | 1167910.3052 | 2527167.1567 | 1167915.0473 | 2527164.3759 | 1167926.2097
15 | 2527165.8284 | 1167910.3052 | 2527170.2514 | 1167912.7084 | 2527174.5955 | 1167918.0698 | 2527175.155 | 1167923.7996 | 2527172.1339 | 1167935.3429
16 | 2527054.5372 | 1167897.7059 | 2527071.3586 | 1167901.1923
17 | 2527071.3586 | 1167901.1923 | 2527090.3245 | 1167926.7986 | 2527094.4767 | 1167939.0329 | 2527093.1339 | 1167947.31
18 | 2527054.5372 | 1167897.7059 | 2527045.4992 | 1167896.0038 | 2527042.8217 | 1167895.0697
19 | 2527054.5372 | 1167897.7059 | 2527052.8531 | 1167904.6193 | 2527049.1387 | 1167910.3145
20 | 2527093.1339 | 1167947.31 | 2527091.8491 | 1167955.2296 | 2527094.8078 | 1167964.9108
21 | 2526957.3672 | 1168040.8148 | 2526974.1313 | 1168043.936
22 | 2526957.3672 | 1168040.8148 | 2526953.4344 | 1168052.2581 | 2526948.2378 | 1168067.3967 | 2526943.2455 | 1168079.1976
23 | 2526957.3672 | 1168040.8148 | 2526957.9117 | 1168039.6502
24 | 2526943.2455 | 1168079.1976 | 2526959.1903 | 1168079.0639
25 | 2526962.0653 | 1168030.5615 | 2526961.6642 | 1168031.6238 | 2526957.9117 | 1168039.6502
26 | 2526969.5741 | 1168078.9769 | 2526959.1903 | 1168079.0639
27 | 2526966.6398 | 1168018.4446 | 2526962.0653 | 1168030.5615
28 | 2526966.6398 | 1168018.4446 | 2526968.5604 | 1168013.3628 | 2526975.0104 | 1167993.0281 | 2526975.0104 | 1167993.0281
29 | 2526966.6398 | 1168018.4446 | 2526985.2296 | 1168024.4773 | 2527001.4769 | 1168027.4814
30 | 2528156.0016 | 1167684.1567 | 2528175.484 | 1167681.0216 | 2528177.4667 | 1167680.6651
31 | 2528156.0016 | 1167684.1567 | 2528155.9465 | 1167678.921 | 2528155.1435 | 1167677.074 | 2528153.4237 | 1167676.0051 | 2528148.5962 | 1167675.5961 | 2528143.1448 | 1167675.5058 | 2528136.6307 | 1167677.4405
32 | 2528121.4849 | 1167697.5111 | 2528134.8409 | 1167690.3359 | 2528152.1508 | 1167684.7698 | 2528156.0016 | 1167684.1567
33 | 2528121.4849 | 1167697.5111 | 2528112.7259 | 1167678.2051
34 | 2528111.8856 | 1167659.0473 | 2528112.2983 | 1167659.7886 | 2528112.7259 | 1167678.2051 | 2528112.7259 | 1167678.2051
35 | 2528111.8856 | 1167659.0473 | 2528104.6078 | 1167645.9738
36 | 2528104.5628 | 1167645.893 | 2528104.6078 | 1167645.9738
37 | 2526978.7791 | 1167987.111 | 2526975.0104 | 1167993.0281
38 | 2526980.8643 | 1167983.8372 | 2526978.7791 | 1167987.111
39 | 2526995.0398 | 1167970.2658 | 2526984.5944 | 1167977.9806 | 2526980.8643 | 1167983.8372
40 | 2526995.0398 | 1167970.2658 | 2526997.06 | 1167968.7737
41 | 2526997.06 | 1167968.7737 | 2526998.6443 | 1167967.6037 | 2527009.3893 | 1167955.4993 | 2527011.6239 | 1167952.6437
42 | 2527019.0667 | 1167943.1321 | 2527011.6239 | 1167952.6437
43 | 2527019.9823 | 1167941.9619 | 2527019.0667 | 1167943.1321
44 | 2527019.9823 | 1167941.9619 | 2527020.9215 | 1167940.7617 | 2527048.8479 | 1167910.7604 | 2527049.1387 | 1167910.3145
45 | 2526946.9214 | 1167838.0848 | 2526948.4401 | 1167839.0191 | 2526954.7802 | 1167842.9172
46 | 2526946.9214 | 1167838.0848 | 2526938.8534 | 1167833.1214 | 2526936.3254 | 1167831.5837
47 | 2526998.8904 | 1167870.069 | 2526985.3755 | 1167861.7491 | 2526956.1834 | 1167843.772 | 2526955.4971 | 1167843.3579 | 2526954.7802 | 1167842.9172
48 | 2526999.1131 | 1167870.2061 | 2526998.8904 | 1167870.069
49 | 2527026.4601 | 1167887.0413 | 2526999.1131 | 1167870.2061
50 | 2527026.4601 | 1167887.0413 | 2527035.1214 | 1167892.3835 | 2527042.8217 | 1167895.0697
51 | 2527026.4601 | 1167887.0413 | 2527042.9865 | 1167878.8578 | 2527043.9543 | 1167877.7464
52 | 2527052.1739 | 1167868.3067 | 2527043.9543 | 1167877.7464
53 | 2527052.1739 | 1167868.3067 | 2527052.229 | 1167862.5068
54 | 2527052.229 | 1167862.5068 | 2527052.2854 | 1167856.563
55 | 2527094.8078 | 1167964.9108 | 2527096.1379 | 1167969.2633 | 2527106.8955 | 1167982.718 | 2527118.1541 | 1167988.5191
56 | 2527152.6416 | 1168017.56 | 2527150.787 | 1168014.8587 | 2527142.0517 | 1168002.1464 | 2527134.3406 | 1167996.8593 | 2527118.1541 | 1167988.5191
57 | 2527152.6416 | 1168017.56 | 2527162.3687 | 1168037.5755 | 2527178.2535 | 1168066.6993 | 2527180.5544 | 1168072.5081
58 | 2527152.6416 | 1168017.56 | 2527183.8595 | 1168028.1426
59 | 2527060.5189 | 1167836.3314 | 2527052.3383 | 1167850.9948 | 2527052.2854 | 1167856.563
60 | 2527060.5189 | 1167836.3314 | 2527049.5087 | 1167827.3527
61 | 2527060.5189 | 1167836.3314 | 2527066.5186 | 1167831.3513
62 | 2527049.5087 | 1167827.3527 | 2527046.041 | 1167824.5248
63 | 2527066.5186 | 1167831.3513 | 2527076.8575 | 1167822.7694 | 2527086.4896 | 1167816.2646
64 | 2527046.041 | 1167824.5248 | 2527030.4975 | 1167811.8492 | 2527024.1914 | 1167809.4056
65 | 2527096.2693 | 1167811.7386 | 2527089.0282 | 1167814.5501 | 2527086.4896 | 1167816.2646
66 | 2527018.0516 | 1167807.0265 | 2527024.1914 | 1167809.4056
67 | 2527102.6188 | 1167810.9191 | 2527097.6298 | 1167811.2103 | 2527096.2693 | 1167811.7386
68 | 2527018.0516 | 1167807.0265 | 2526994.5748 | 1167797.9292
69 | 2526979.8732 | 1167792.7791 | 2526982.0471 | 1167793.3616 | 2526984.4894 | 1167794.0211 | 2526994.5748 | 1167797.9292
70 | 2526946.5913 | 1167786.5561 | 2526964.7634 | 1167789.6588 | 2526974.229 | 1167791.2667 | 2526979.8732 | 1167792.7791
71 | 2526946.5913 | 1167786.5561 | 2526944.2901 | 1167786.1616 | 2526930.9172 | 1167784.0657
72 | 2526946.5913 | 1167786.5561 | 2526948.8433 | 1167773.6358
73 | 2526930.9172 | 1167784.0657 | 2526911.8226 | 1167781.0729
74 | 2526909.7098 | 1167780.7418 | 2526911.8226 | 1167781.0729
75 | 2526909.7098 | 1167780.7418 | 2526894.4691 | 1167778.3531 | 2526880.851 | 1167774.4109
76 | 2526874.3233 | 1167772.5213 | 2526880.851 | 1167774.4109
77 | 2526874.3233 | 1167772.5213 | 2526859.3856 | 1167768.1972 | 2526847.7007 | 1167766.2448
78 | 2526847.7007 | 1167766.2448 | 2526835.8219 | 1167764.2601 | 2526831.1889 | 1167763.8763
79 | 2526807.6056 | 1167762.9262 | 2526821.784 | 1167763.0973 | 2526831.1889 | 1167763.8763
80 | 2527102.6188 | 1167810.9191 | 2527106.7708 | 1167810.6767

## bus_geodata
| x | y | coords
0 | 2527660.3952 | 1167680.2522
1 | 2527719.4845 | 1167687.0915
2 | 2527263.9414 | 1167858.8407
3 | 2528051.6719 | 1167735.114
4 | 2528088.743 | 1167715.2394
5 | 2527263.6156 | 1167859.0744
6 | 2527190.6795 | 1167884.8355
7 | 2527215.2794 | 1167879.3139
8 | 2527104.3157 | 1167902.1255
9 | 2527130.5681 | 1167908.7992
10 | 2527072.4282 | 1167901.3183
11 | 2527121.2805 | 1167941.3307
12 | 2527165.8284 | 1167910.3052
13 | 2527071.3586 | 1167901.1923
14 | 2527164.3759 | 1167926.2097
15 | 2527172.1339 | 1167935.3429
16 | 2527054.5372 | 1167897.7059
17 | 2527093.1339 | 1167947.31
18 | 2526974.1313 | 1168043.936
19 | 2526957.3672 | 1168040.8148
20 | 2526943.2455 | 1168079.1976
21 | 2526957.9117 | 1168039.6502
22 | 2526959.1903 | 1168079.0639
23 | 2526962.0653 | 1168030.5615
24 | 2526969.5741 | 1168078.9769
25 | 2526966.6398 | 1168018.4446
26 | 2528177.4667 | 1167680.6651
27 | 2528156.0016 | 1167684.1567
28 | 2528136.6307 | 1167677.4405
29 | 2528121.4849 | 1167697.5111
30 | 2528112.7259 | 1167678.2051
31 | 2528111.8856 | 1167659.0473
32 | 2528104.6078 | 1167645.9738
33 | 2528104.5628 | 1167645.893
34 | 2527001.4769 | 1168027.4814
35 | 2526975.0104 | 1167993.0281
36 | 2526978.7791 | 1167987.111
37 | 2526980.8643 | 1167983.8372
38 | 2526995.0398 | 1167970.2658
39 | 2526997.06 | 1167968.7737
40 | 2527011.6239 | 1167952.6437
41 | 2527019.0667 | 1167943.1321
42 | 2527019.9823 | 1167941.9619
43 | 2527049.1387 | 1167910.3145
44 | 2526946.9214 | 1167838.0848
45 | 2526954.7802 | 1167842.9172
46 | 2526936.3254 | 1167831.5837
47 | 2526998.8904 | 1167870.069
48 | 2526999.1131 | 1167870.2061
49 | 2527026.4601 | 1167887.0413
50 | 2527042.8217 | 1167895.0697
51 | 2527052.1739 | 1167868.3067
52 | 2527043.9543 | 1167877.7464
53 | 2527052.229 | 1167862.5068
54 | 2527094.8078 | 1167964.9108
55 | 2527118.1541 | 1167988.5191
56 | 2527152.6416 | 1168017.56
57 | 2527180.5544 | 1168072.5081
58 | 2527183.8595 | 1168028.1426
59 | 2527052.2854 | 1167856.563
60 | 2527060.5189 | 1167836.3314
61 | 2527049.5087 | 1167827.3527
62 | 2527066.5186 | 1167831.3513
63 | 2527046.041 | 1167824.5248
64 | 2527086.4896 | 1167816.2646
65 | 2527024.1914 | 1167809.4056
66 | 2527096.2693 | 1167811.7386
67 | 2527018.0516 | 1167807.0265
68 | 2526994.5748 | 1167797.9292
69 | 2526979.8732 | 1167792.7791
70 | 2526946.5913 | 1167786.5561
71 | 2526930.9172 | 1167784.0657
72 | 2526948.8433 | 1167773.6358
73 | 2526911.8226 | 1167781.0729
74 | 2526909.7098 | 1167780.7418
75 | 2526880.851 | 1167774.4109
76 | 2526874.3233 | 1167772.5213
77 | 2526847.7007 | 1167766.2448
78 | 2526831.1889 | 1167763.8763
79 | 2526807.6056 | 1167762.9262
80 | 2527102.6188 | 1167810.9191
81 | 2527106.7708 | 1167810.6767
82 | 2527104.3157 | 1167902.1255

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1