## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5557-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5557-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5557-1_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5557-1_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5557-1_0_2_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_5557-1_0_2_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_5557-1_0_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_5557-1_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5557-1_0_2_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_5557-1_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5557-1_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5557-1_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5557-1_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5557-1_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5557-1_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5557-1_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_5557-1_0_2_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_5557-1_0_2_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_5557-1_0_2_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_5557-1_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5557-1_0_2_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_5557-1_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5557-1_0_2_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_5557-1_0_2_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_5557-1_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_5557-1_0_2_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_5557-1_0_2_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_5557-1_0_2_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_5557-1_0_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_5557-1_0_2_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_5557-1_0_2_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_5557-1_0_2_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5557-1_0_2_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5557-1_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5557-1_0_2_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5557-1_0_2_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5557-1_0_2_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5557-1_0_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5557-1_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5557-1_0_2_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_5557-1_0_2_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5557-1_0_2_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_5557-1_0_2_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_5557-1_0_2_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_5557-1_0_2_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_5557-1_0_2_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_5557-1_0_2_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_5557-1_0_2_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_5557-1_0_2_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_5557-1_0_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_5557-1_0_2_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_5557-1_0_2_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5557-1_0_2_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_5557-1_0_2_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_5557-1_0_2_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_5557-1_0_2_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_5557-1_0_2_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_5557-1_0_2_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_5557-1_0_2_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_5557-1_0_2_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_5557-1_0_2_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_5557-1_0_2_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_5557-1_0_2_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_5557-1_0_2_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_5557-1_0_2_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5557-1_0_2_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_5557-1_0_2_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_5557-1_0_2_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_5557-1_0_2_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_5557-1_0_2_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_5557-1_0_2_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_5557-1_0_2_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_5557-1_0_2_node_70 | 0.4 | n |  | TRUE
73 | bus_MV_316_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5557-1_0_2_load_0 | 0 | 0.0035384 | 0.00088682 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5557-1_0_2_load_3 | 2 | 0.002326 | 0.00058295 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5557-1_0_2_load_30 | 5 | 0.0014509 | 0.00036363 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5557-1_0_2_load_16 | 6 | 0.0060944 | 0.0015274 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5557-1_0_2_load_12 | 7 | 0.0014098 | 0.00035332 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5557-1_0_2_load_5 | 9 | 0.0010192 | 0.00025544 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5557-1_0_2_load_6 | 10 | 0.0016847 | 0.00042221 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5557-1_0_2_load_8 | 12 | 0.0067556 | 0.0016931 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5557-1_0_2_load_10 | 14 | 0.0035226 | 0.00088285 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5557-1_0_2_load_54 | 16 | 0.00111 | 0.0002782 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5557-1_0_2_load_36 | 17 | 0.0083284 | 0.0020873 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5557-1_0_2_load_22 | 18 | 0.0023357 | 0.00058539 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5557-1_0_2_load_11 | 19 | 0.0073325 | 0.0018377 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5557-1_0_2_load_13 | 21 | 0.0023269 | 0.00058317 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5557-1_0_2_load_61 | 22 | 0.001808 | 0.00045313 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5557-1_0_2_load_34 | 23 | 0.0025295 | 0.00063396 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5557-1_0_2_load_23 | 24 | 0.0030699 | 0.00076939 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5557-1_0_2_load_67 | 25 | 0.0041435 | 0.0010385 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5557-1_0_2_load_60 | 26 | 0.0045941 | 0.0011514 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5557-1_0_2_load_63 | 27 | 0.0019436 | 0.00048712 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5557-1_0_2_load_29 | 28 | 0.0041609 | 0.0010428 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5557-1_0_2_load_64 | 30 | 0.00035594 | 8.9207e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5557-1_0_2_load_17 | 31 | 0.0048997 | 0.001228 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5557-1_0_2_load_18 | 32 | 0.001128 | 0.00028269 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5557-1_0_2_load_19 | 33 | 0.002709 | 0.00067894 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5557-1_0_2_load_20 | 34 | 0.0014224 | 0.00035648 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5557-1_0_2_load_21 | 35 | 0.00072582 | 0.00018191 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5557-1_0_2_load_25 | 36 | 0.00083291 | 0.00020875 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5557-1_0_2_load_26 | 38 | 0.0041689 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5557-1_0_2_load_24 | 39 | 0.00061236 | 0.00015347 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5557-1_0_2_load_27 | 40 | 0.00079875 | 0.00020019 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5557-1_0_2_load_53 | 42 | 0.0011045 | 0.00027681 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5557-1_0_2_load_32 | 43 | 0.0010816 | 0.00027107 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5557-1_0_2_load_48 | 45 | 0.0011684 | 0.00029283 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5557-1_0_2_load_44 | 46 | 0.0025194 | 0.00063142 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5557-1_0_2_load_49 | 47 | 0.0025372 | 0.00063588 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5557-1_0_2_load_47 | 49 | 0.0036976 | 0.0009267 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5557-1_0_2_load_33 | 50 | 0.0019934 | 0.0004996 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5557-1_0_2_load_35 | 51 | 0.0033355 | 0.00083595 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5557-1_0_2_load_72 | 53 | 0.0021974 | 0.00055073 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5557-1_0_2_load_66 | 54 | 0.00053551 | 0.00013421 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5557-1_0_2_load_71 | 55 | 0.0018887 | 0.00047335 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5557-1_0_2_load_38 | 56 | 0.0040219 | 0.001008 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5557-1_0_2_load_39 | 57 | 0.00046286 | 0.000116 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5557-1_0_2_load_41 | 59 | 0.00027275 | 6.8359e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5557-1_0_2_load_42 | 60 | 0.0025846 | 0.00064776 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5557-1_0_2_load_43 | 61 | 0.0052656 | 0.0013197 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5557-1_0_2_load_69 | 63 | 0.00092235 | 0.00023116 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5557-1_0_2_load_50 | 64 | 0.00029665 | 7.4347e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5557-1_0_2_load_51 | 65 | 0.0026447 | 0.00066281 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5557-1_0_2_load_52 | 66 | 0.001107 | 0.00027745 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5557-1_0_2_load_74 | 67 | 0.0012496 | 0.00031319 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5557-1_0_2_load_62 | 68 | 0.007789 | 0.0019521 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5557-1_0_2_load_57 | 69 | 0.00099482 | 0.00024933 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5557-1_0_2_load_58 | 70 | 0.0038807 | 0.0009726 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5557-1_0_2_load_73 | 71 | 0.00094702 | 0.00023735 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5557-1_0_2_load_70 | 72 | 0.0054616 | 0.0013688 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5557-1_0_2_line_0 |  | 0 | 1 | 0.025424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5557-1_0_2_line_1 |  | 1 | 2 | 0.05144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5557-1_0_2_line_2 |  | 1 | 3 | 0.059333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5557-1_0_2_line_3 |  | 2 | 4 | 0.013131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5557-1_0_2_line_4 |  | 3 | 5 | 0.037211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5557-1_0_2_line_5 |  | 4 | 6 | 0.030876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5557-1_0_2_line_6 |  | 4 | 7 | 0.016734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5557-1_0_2_line_7 |  | 5 | 8 | 0.0091852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5557-1_0_2_line_8 |  | 6 | 27 | 0.0071001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5557-1_0_2_line_9 |  | 7 | 21 | 0.016147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5557-1_0_2_line_10 |  | 8 | 43 | 0.036924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5557-1_0_2_line_11 |  | 8 | 44 | 0.065908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5557-1_0_2_line_12 |  | 9 | 10 | 0.013632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5557-1_0_2_line_13 |  | 9 | 11 | 0.022471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5557-1_0_2_line_14 |  | 10 | 12 | 0.0043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5557-1_0_2_line_15 |  | 11 | 13 | 0.021839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5557-1_0_2_line_16 |  | 11 | 14 | 0.01194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5557-1_0_2_line_17 |  | 12 | 15 | 0.0060449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5557-1_0_2_line_18 |  | 13 | 16 | 0.021941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5557-1_0_2_line_19 |  | 13 | 17 | 0.019156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5557-1_0_2_line_20 |  | 14 | 18 | 0.0044677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5557-1_0_2_line_21 |  | 15 | 21 | 0.021196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5557-1_0_2_line_22 |  | 16 | 22 | 0.011443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5557-1_0_2_line_23 |  | 17 | 23 | 0.006605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5557-1_0_2_line_24 |  | 18 | 24 | 0.011962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5557-1_0_2_line_25 |  | 19 | 20 | 0.0058419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5557-1_0_2_line_26 |  | 20 | 25 | 0.030468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5557-1_0_2_line_27 |  | 20 | 26 | 0.013532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5557-1_0_2_line_28 |  | 22 | 68 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5557-1_0_2_line_29 |  | 23 | 50 | 0.0079522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5557-1_0_2_line_30 |  | 24 | 39 | 0.01001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5557-1_0_2_line_31 |  | 26 | 68 | 0.021059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5557-1_0_2_line_32 |  | 26 | 70 | 0.033266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5557-1_0_2_line_33 |  | 27 | 30 | 0.0080524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5557-1_0_2_line_34 |  | 28 | 29 | 0.014863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5557-1_0_2_line_35 |  | 29 | 41 | 0.021197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5557-1_0_2_line_36 |  | 29 | 42 | 0.026083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5557-1_0_2_line_37 |  | 31 | 32 | 0.0027325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5557-1_0_2_line_38 |  | 31 | 33 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5557-1_0_2_line_39 |  | 32 | 34 | 0.030492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5557-1_0_2_line_40 |  | 33 | 35 | 0.012931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5557-1_0_2_line_41 |  | 34 | 36 | 0.026224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5557-1_0_2_line_42 |  | 35 | 37 | 0.0064549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5557-1_0_2_line_43 |  | 37 | 38 | 0.013187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5557-1_0_2_line_44 |  | 38 | 40 | 0.0023953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5557-1_0_2_line_45 |  | 39 | 40 | 0.0076512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5557-1_0_2_line_46 |  | 41 | 54 | 0.015538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5557-1_0_2_line_47 |  | 41 | 52 | 0.0138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5557-1_0_2_line_48 |  | 42 | 65 | 0.012947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5557-1_0_2_line_49 |  | 43 | 45 | 0.024711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5557-1_0_2_line_50 |  | 44 | 46 | 0.054354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5557-1_0_2_line_51 |  | 45 | 47 | 0.021141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5557-1_0_2_line_52 |  | 46 | 48 | 0.01936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5557-1_0_2_line_53 |  | 48 | 49 | 0.021648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5557-1_0_2_line_54 |  | 50 | 51 | 0.010035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5557-1_0_2_line_55 |  | 51 | 52 | 0.01118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5557-1_0_2_line_56 |  | 52 | 53 | 0.0092155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5557-1_0_2_line_57 |  | 53 | 55 | 0.010607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5557-1_0_2_line_58 |  | 54 | 60 | 0.019581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5557-1_0_2_line_59 |  | 55 | 72 | 0.028169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5557-1_0_2_line_60 |  | 56 | 57 | 0.0097269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5557-1_0_2_line_61 |  | 56 | 58 | 0.022869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5557-1_0_2_line_62 |  | 57 | 59 | 0.013411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5557-1_0_2_line_63 |  | 58 | 60 | 0.0093471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5557-1_0_2_line_64 |  | 58 | 61 | 0.023636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5557-1_0_2_line_65 |  | 61 | 62 | 0.012468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5557-1_0_2_line_66 |  | 62 | 63 | 0.028619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5557-1_0_2_line_67 |  | 63 | 71 | 0.029481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5557-1_0_2_line_68 |  | 64 | 65 | 0.0067978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5557-1_0_2_line_69 |  | 64 | 66 | 0.0045769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5557-1_0_2_line_70 |  | 66 | 67 | 0.028096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5557-1_0_2_line_71 |  | 69 | 70 | 0.019946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5557-1_0_2_trafo_29 | 0.63 MVA 20/0.4 kV | 73 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2537640.274 | 1187464.8355 | 2537647.9971 | 1187440.6133
1 | 2537640.274 | 1187464.8355 | 2537606.744 | 1187458.3817 | 2537589.452 | 1187458.7013
2 | 2537640.274 | 1187464.8355 | 2537680.9372 | 1187475.6509 | 2537690.9746 | 1187477.5696 | 2537689.9333 | 1187484.5289
3 | 2537576.3237 | 1187458.944 | 2537589.452 | 1187458.7013
4 | 2537689.9333 | 1187484.5289 | 2537688.8709 | 1187491.6663 | 2537678.1005 | 1187519.6612
5 | 2537576.3237 | 1187458.944 | 2537567.5025 | 1187488.5328
6 | 2537576.3237 | 1187458.944 | 2537559.7163 | 1187460.995
7 | 2537674.8024 | 1187528.2339 | 2537678.1005 | 1187519.6612
8 | 2537572.4075 | 1187492.7133 | 2537567.2205 | 1187489.4788 | 2537567.5025 | 1187488.5328
9 | 2537559.7163 | 1187460.995 | 2537554.1964 | 1187461.6767 | 2537543.6294 | 1187461.0579
10 | 2537674.8024 | 1187528.2339 | 2537670.359 | 1187530.1258 | 2537663.1171 | 1187529.2341 | 2537640.2914 | 1187519.5418
11 | 2537674.8024 | 1187528.2339 | 2537679.6232 | 1187593.9657
12 | 2537509.1564 | 1187437.2667 | 2537509.1564 | 1187437.2667 | 2537516.5284 | 1187445.4833 | 2537517.8288 | 1187447.727
13 | 2537489.4019 | 1187426.8896 | 2537496.5289 | 1187432.0958 | 2537509.1564 | 1187437.2667
14 | 2537519.985 | 1187451.4474 | 2537517.8288 | 1187447.727
15 | 2537489.4019 | 1187426.8896 | 2537489.8398 | 1187435.2009 | 2537487.5683 | 1187448.5211
16 | 2537489.4019 | 1187426.8896 | 2537489.1701 | 1187416.3971 | 2537489.5168 | 1187414.9942
17 | 2537523.0161 | 1187456.6774 | 2537519.985 | 1187451.4474
18 | 2537487.5683 | 1187448.5211 | 2537466.3858 | 1187442.8028
19 | 2537487.5683 | 1187448.5211 | 2537485.2024 | 1187458.6517 | 2537482.5981 | 1187467.0076
20 | 2537489.5168 | 1187414.9942 | 2537490.5886 | 1187410.6569
21 | 2537523.0161 | 1187456.6774 | 2537536.4777 | 1187460.639 | 2537543.6294 | 1187461.0579
22 | 2537455.3382 | 1187439.8205 | 2537466.3858 | 1187442.8028
23 | 2537482.5981 | 1187467.0076 | 2537480.6327 | 1187473.3135
24 | 2537493.4584 | 1187399.044 | 2537490.5886 | 1187410.6569
25 | 2537462.7366 | 1187415.9289 | 2537468.3553 | 1187417.5283
26 | 2537470.3243 | 1187386.4215 | 2537462.7366 | 1187415.9289
27 | 2537449.6894 | 1187412.2077 | 2537462.7366 | 1187415.9289
28 | 2537455.3382 | 1187439.8205 | 2537442.4117 | 1187436.331 | 2537443.6069 | 1187432.3692
29 | 2537478.2665 | 1187480.9054 | 2537480.6327 | 1187473.3135
30 | 2537495.8597 | 1187389.3268 | 2537493.4584 | 1187399.044
31 | 2537449.6894 | 1187412.2077 | 2537443.6069 | 1187432.3692
32 | 2537449.6894 | 1187412.2077 | 2537445.1745 | 1187410.9209 | 2537417.9746 | 1187402.1768
33 | 2537572.4075 | 1187492.7133 | 2537579.2403 | 1187496.9741
34 | 2537496.3206 | 1187494.5893 | 2537503.0978 | 1187481.3612
35 | 2537485.064 | 1187512.5062 | 2537492.5448 | 1187501.9553 | 2537496.3206 | 1187494.5893
36 | 2537496.3206 | 1187494.5893 | 2537515.1631 | 1187512.6249 | 2537515.1631 | 1187512.6249
37 | 2537533.6653 | 1187375.7622 | 2537536.2988 | 1187376.4912
38 | 2537520.9328 | 1187372.2374 | 2537533.6653 | 1187375.7622
39 | 2537565.2148 | 1187385.9408 | 2537558.9204 | 1187382.9712 | 2537544.7013 | 1187378.8173 | 2537536.2988 | 1187376.4912
40 | 2537508.4707 | 1187368.7875 | 2537520.9328 | 1187372.2374
41 | 2537565.2148 | 1187385.9408 | 2537579.3231 | 1187392.5969 | 2537589.59 | 1187395.3297
42 | 2537502.2497 | 1187367.0654 | 2537508.4707 | 1187368.7875
43 | 2537502.2497 | 1187367.0654 | 2537500.4276 | 1187370.8422 | 2537498.2699 | 1187379.5737
44 | 2537497.6953 | 1187381.899 | 2537498.2699 | 1187379.5737
45 | 2537495.8597 | 1187389.3268 | 2537497.6953 | 1187381.899
46 | 2537485.064 | 1187512.5062 | 2537482.787 | 1187525.2929 | 2537481.9042 | 1187527.6849
47 | 2537485.064 | 1187512.5062 | 2537483.8119 | 1187507.3163 | 2537479.7829 | 1187502.8781 | 2537478.4337 | 1187500.8022
48 | 2537515.1631 | 1187512.6249 | 2537510.9424 | 1187524.8649 | 2537510.9424 | 1187524.8649
49 | 2537640.2914 | 1187519.5418 | 2537628.8238 | 1187514.6724 | 2537616.9449 | 1187511.6724
50 | 2537679.6232 | 1187593.9657 | 2537673.2533 | 1187602.7928 | 2537643.9959 | 1187607.2449 | 2537630.1365 | 1187607.8918
51 | 2537596.4478 | 1187506.4959 | 2537616.9449 | 1187511.6724
52 | 2537611.753 | 1187603.4236 | 2537623.1324 | 1187608.2187 | 2537630.1365 | 1187607.8918
53 | 2537611.753 | 1187603.4236 | 2537591.8063 | 1187595.0119
54 | 2537478.2665 | 1187480.9054 | 2537475.2806 | 1187490.4857
55 | 2537478.4337 | 1187500.8022 | 2537475.9754 | 1187497.0035 | 2537474.9715 | 1187491.4775 | 2537475.2806 | 1187490.4857
56 | 2537478.4337 | 1187500.8022 | 2537469.248 | 1187501.5431
57 | 2537458.6796 | 1187500.6396 | 2537469.248 | 1187501.5431 | 2537469.248 | 1187501.5431
58 | 2537481.9042 | 1187527.6849 | 2537475.1247 | 1187546.0549
59 | 2537438.4914 | 1187508.3685 | 2537450.4073 | 1187512.8356 | 2537452.332 | 1187507.2122 | 2537457.7785 | 1187500.5626 | 2537458.6796 | 1187500.6396
60 | 2537493.5998 | 1187562.0073 | 2537502.8343 | 1187565.0626
61 | 2537471.8885 | 1187554.8238 | 2537493.5998 | 1187562.0073
62 | 2537515.5664 | 1187569.2752 | 2537502.8343 | 1187565.0626
63 | 2537471.8885 | 1187554.8238 | 2537475.1247 | 1187546.0549
64 | 2537471.8885 | 1187554.8238 | 2537462.9075 | 1187576.6866
65 | 2537458.1697 | 1187588.2198 | 2537462.9075 | 1187576.6866
66 | 2537458.1697 | 1187588.2198 | 2537445.482 | 1187582.3714 | 2537432.1814 | 1187576.2353
67 | 2537405.4119 | 1187563.8853 | 2537432.1814 | 1187576.2353
68 | 2537516.7472 | 1187528.4024 | 2537510.9424 | 1187524.8649
69 | 2537516.7472 | 1187528.4024 | 2537520.6556 | 1187530.7842
70 | 2537520.6556 | 1187530.7842 | 2537546.9965 | 1187521.0081
71 | 2537398.9861 | 1187396.0724 | 2537417.9746 | 1187402.1768

## bus_geodata
| x | y | coords
0 | 2537647.9971 | 1187440.6133
1 | 2537640.274 | 1187464.8355
2 | 2537589.452 | 1187458.7013
3 | 2537689.9333 | 1187484.5289
4 | 2537576.3237 | 1187458.944
5 | 2537678.1005 | 1187519.6612
6 | 2537567.5025 | 1187488.5328
7 | 2537559.7163 | 1187460.995
8 | 2537674.8024 | 1187528.2339
9 | 2537509.1564 | 1187437.2667
10 | 2537517.8288 | 1187447.727
11 | 2537489.4019 | 1187426.8896
12 | 2537519.985 | 1187451.4474
13 | 2537487.5683 | 1187448.5211
14 | 2537489.5168 | 1187414.9942
15 | 2537523.0161 | 1187456.6774
16 | 2537466.3858 | 1187442.8028
17 | 2537482.5981 | 1187467.0076
18 | 2537490.5886 | 1187410.6569
19 | 2537468.3553 | 1187417.5283
20 | 2537462.7366 | 1187415.9289
21 | 2537543.6294 | 1187461.0579
22 | 2537455.3382 | 1187439.8205
23 | 2537480.6327 | 1187473.3135
24 | 2537493.4584 | 1187399.044
25 | 2537470.3243 | 1187386.4215
26 | 2537449.6894 | 1187412.2077
27 | 2537572.4075 | 1187492.7133
28 | 2537503.0978 | 1187481.3612
29 | 2537496.3206 | 1187494.5893
30 | 2537579.2403 | 1187496.9741
31 | 2537533.6653 | 1187375.7622
32 | 2537536.2988 | 1187376.4912
33 | 2537520.9328 | 1187372.2375
34 | 2537565.2148 | 1187385.9408
35 | 2537508.4707 | 1187368.7875
36 | 2537589.59 | 1187395.3297
37 | 2537502.2497 | 1187367.0654
38 | 2537498.2699 | 1187379.5737
39 | 2537495.8597 | 1187389.3268
40 | 2537497.6953 | 1187381.899
41 | 2537485.064 | 1187512.5062
42 | 2537515.1631 | 1187512.6249
43 | 2537640.2914 | 1187519.5418
44 | 2537679.6232 | 1187593.9657
45 | 2537616.9449 | 1187511.6724
46 | 2537630.1365 | 1187607.8918
47 | 2537596.4478 | 1187506.4959
48 | 2537611.753 | 1187603.4236
49 | 2537591.8063 | 1187595.0119
50 | 2537478.2665 | 1187480.9054
51 | 2537475.2806 | 1187490.4857
52 | 2537478.4337 | 1187500.8022
53 | 2537469.248 | 1187501.5431
54 | 2537481.9042 | 1187527.6849
55 | 2537458.6796 | 1187500.6396
56 | 2537493.5998 | 1187562.0073
57 | 2537502.8343 | 1187565.0626
58 | 2537471.8885 | 1187554.8238
59 | 2537515.5664 | 1187569.2752
60 | 2537475.1247 | 1187546.0549
61 | 2537462.9075 | 1187576.6866
62 | 2537458.1697 | 1187588.2198
63 | 2537432.1814 | 1187576.2353
64 | 2537516.7472 | 1187528.4024
65 | 2537510.9424 | 1187524.8649
66 | 2537520.6556 | 1187530.7842
67 | 2537546.9965 | 1187521.0081
68 | 2537443.6069 | 1187432.3692
69 | 2537398.9861 | 1187396.0724
70 | 2537417.9746 | 1187402.1768
71 | 2537405.4119 | 1187563.8853
72 | 2537438.4914 | 1187508.3685
73 | 2537496.3206 | 1187494.5893

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1