## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5727-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5727-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5727-1_0_3_node_158 | 0.4 | n |  | TRUE
3 | bus_LV_5727-1_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5727-1_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5727-1_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5727-1_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5727-1_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_5727-1_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_5727-1_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_5727-1_0_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_5727-1_0_3_node_181 | 0.4 | n |  | TRUE
12 | bus_LV_5727-1_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_5727-1_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5727-1_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5727-1_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5727-1_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5727-1_0_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_5727-1_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_5727-1_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5727-1_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5727-1_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5727-1_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5727-1_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5727-1_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_5727-1_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_5727-1_0_3_node_191 | 0.4 | n |  | TRUE
27 | bus_LV_5727-1_0_3_node_188 | 0.4 | n |  | TRUE
28 | bus_LV_5727-1_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_5727-1_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_5727-1_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5727-1_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_5727-1_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_5727-1_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_5727-1_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_5727-1_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_5727-1_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_5727-1_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_5727-1_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_5727-1_0_3_node_193 | 0.4 | n |  | TRUE
40 | bus_LV_5727-1_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_5727-1_0_3_node_175 | 0.4 | n |  | TRUE
42 | bus_LV_5727-1_0_3_node_154 | 0.4 | n |  | TRUE
43 | bus_LV_5727-1_0_3_node_159 | 0.4 | n |  | TRUE
44 | bus_LV_5727-1_0_3_node_184 | 0.4 | n |  | TRUE
45 | bus_LV_5727-1_0_3_node_160 | 0.4 | n |  | TRUE
46 | bus_LV_5727-1_0_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_5727-1_0_3_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_5727-1_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_5727-1_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_5727-1_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_5727-1_0_3_node_183 | 0.4 | n |  | TRUE
52 | bus_LV_5727-1_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5727-1_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_5727-1_0_3_node_192 | 0.4 | n |  | TRUE
55 | bus_LV_5727-1_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_5727-1_0_3_node_182 | 0.4 | n |  | TRUE
57 | bus_LV_5727-1_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_5727-1_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_5727-1_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_5727-1_0_3_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_5727-1_0_3_node_185 | 0.4 | n |  | TRUE
62 | bus_LV_5727-1_0_3_node_179 | 0.4 | n |  | TRUE
63 | bus_LV_5727-1_0_3_node_190 | 0.4 | n |  | TRUE
64 | bus_LV_5727-1_0_3_node_189 | 0.4 | n |  | TRUE
65 | bus_MV_314_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5727-1_0_3_load_0 | 0 | 0.014982 | 0.0037548 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5727-1_0_3_load_2 | 3 | 0.0035726 | 0.00089539 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5727-1_0_3_load_6 | 4 | 0.00047854 | 0.00011993 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5727-1_0_3_load_7 | 5 | 0.00038567 | 9.6657e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5727-1_0_3_load_9 | 7 | 0.0008428 | 0.00021123 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5727-1_0_3_load_10 | 8 | 0.00049497 | 0.00012405 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5727-1_0_3_load_25 | 10 | 0.0010195 | 0.00025552 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5727-1_0_3_load_27 | 12 | 0.00053304 | 0.00013359 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5727-1_0_3_load_12 | 13 | 0.00039057 | 9.7886e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5727-1_0_3_load_13 | 14 | 0.00070086 | 0.00017565 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5727-1_0_3_load_14 | 15 | 0.001196 | 0.00029974 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5727-1_0_3_load_20 | 18 | 0.00046353 | 0.00011617 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5727-1_0_3_load_16 | 19 | 0.00072679 | 0.00018215 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5727-1_0_3_load_17 | 20 | 0.00083487 | 0.00020924 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5727-1_0_3_load_19 | 22 | 0.00087311 | 0.00021882 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5727-1_0_3_load_21 | 23 | 0.00055522 | 0.00013915 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5727-1_0_3_load_22 | 24 | 0.00038974 | 9.7678e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5727-1_0_3_load_23 | 25 | 0.00046425 | 0.00011635 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5727-1_0_3_load_191 | 26 | 0.00059546 | 0.00014924 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5727-1_0_3_load_26 | 28 | 0.0021739 | 0.00054484 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5727-1_0_3_load_29 | 30 | 0.0045704 | 0.0011455 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5727-1_0_3_load_30 | 31 | 0.0056308 | 0.0014112 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5727-1_0_3_load_31 | 33 | 0.00065195 | 0.00016339 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5727-1_0_3_load_32 | 34 | 0.0012229 | 0.00030648 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5727-1_0_3_load_37 | 38 | 0.0018224 | 0.00045675 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5727-1_0_3_load_193 | 39 | 0.035065 | 0.0087881 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5727-1_0_3_load_175 | 41 | 0.0014188 | 0.00035558 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5727-1_0_3_load_154 | 42 | 0.00061592 | 0.00015436 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5727-1_0_3_load_159 | 43 | 0.00073229 | 0.00018353 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5727-1_0_3_load_160 | 45 | 0.00073863 | 0.00018512 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5727-1_0_3_load_47 | 46 | 0.0074612 | 0.0018699 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5727-1_0_3_load_48 | 47 | 0.0068901 | 0.0017268 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5727-1_0_3_load_49 | 48 | 0.007029 | 0.0017616 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5727-1_0_3_load_50 | 49 | 0.0072808 | 0.0018247 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5727-1_0_3_load_51 | 50 | 0.0067527 | 0.0016924 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5727-1_0_3_load_52 | 52 | 0.015363 | 0.0038503 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5727-1_0_3_load_53 | 53 | 0.029377 | 0.0073627 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5727-1_0_3_load_192 | 54 | 0.0018584 | 0.00046576 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5727-1_0_3_load_182 | 56 | 0.029425 | 0.0073746 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5727-1_0_3_load_56 | 57 | 0.03284 | 0.0082306 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5727-1_0_3_load_59 | 60 | 0.016925 | 0.0042417 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5727-1_0_3_load_185 | 61 | 0.030775 | 0.0077129 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5727-1_0_3_load_179 | 62 | 0.0018718 | 0.00046912 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5727-1_0_3_load_190 | 63 | 0.0021282 | 0.00053337 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5727-1_0_3_load_189 | 64 | 0.00085953 | 0.00021542 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5727-1_0_3_line_0 |  | 0 | 1 | 0.020832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5727-1_0_3_line_1 |  | 0 | 2 | 0.12518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5727-1_0_3_line_2 |  | 1 | 3 | 0.021511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5727-1_0_3_line_3 |  | 2 | 44 | 0.19023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5727-1_0_3_line_4 |  | 2 | 42 | 0.10131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5727-1_0_3_line_5 |  | 4 | 5 | 0.0098253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5727-1_0_3_line_6 |  | 4 | 6 | 0.025227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5727-1_0_3_line_7 |  | 5 | 7 | 0.0077551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5727-1_0_3_line_8 |  | 6 | 8 | 0.014286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5727-1_0_3_line_9 |  | 6 | 9 | 0.042579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5727-1_0_3_line_10 |  | 8 | 10 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5727-1_0_3_line_11 |  | 9 | 11 | 0.10431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5727-1_0_3_line_12 |  | 9 | 12 | 0.019382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5727-1_0_3_line_13 |  | 11 | 63 | 0.018128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5727-1_0_3_line_14 |  | 11 | 27 | 0.041353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5727-1_0_3_line_15 |  | 12 | 28 | 0.022719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5727-1_0_3_line_16 |  | 13 | 14 | 0.030117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5727-1_0_3_line_17 |  | 13 | 15 | 0.020665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5727-1_0_3_line_18 |  | 14 | 16 | 0.017204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5727-1_0_3_line_19 |  | 16 | 17 | 0.072728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5727-1_0_3_line_20 |  | 16 | 18 | 0.04916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5727-1_0_3_line_21 |  | 17 | 26 | 0.016731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5727-1_0_3_line_22 |  | 17 | 27 | 0.031027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5727-1_0_3_line_23 |  | 18 | 21 | 0.071051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5727-1_0_3_line_24 |  | 19 | 20 | 0.025403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5727-1_0_3_line_25 |  | 19 | 21 | 0.078828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5727-1_0_3_line_26 |  | 20 | 22 | 0.019663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5727-1_0_3_line_27 |  | 22 | 23 | 0.0051546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5727-1_0_3_line_28 |  | 23 | 24 | 0.016027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5727-1_0_3_line_29 |  | 24 | 25 | 0.0015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5727-1_0_3_line_30 |  | 27 | 64 | 0.013722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5727-1_0_3_line_31 |  | 28 | 29 | 0.21212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5727-1_0_3_line_32 |  | 29 | 30 | 0.083981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5727-1_0_3_line_33 |  | 29 | 31 | 0.024853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5727-1_0_3_line_34 |  | 31 | 32 | 0.035345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5727-1_0_3_line_35 |  | 32 | 36 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5727-1_0_3_line_36 |  | 33 | 34 | 0.02945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5727-1_0_3_line_37 |  | 33 | 35 | 0.0058418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5727-1_0_3_line_38 |  | 34 | 36 | 0.0397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5727-1_0_3_line_39 |  | 35 | 37 | 0.1644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5727-1_0_3_line_40 |  | 36 | 38 | 0.25837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5727-1_0_3_line_41 |  | 37 | 39 | 0.010744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5727-1_0_3_line_42 |  | 37 | 40 | 0.06739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5727-1_0_3_line_43 |  | 38 | 41 | 0.048227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5727-1_0_3_line_44 |  | 40 | 55 | 0.026263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5727-1_0_3_line_45 |  | 40 | 53 | 0.040694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5727-1_0_3_line_46 |  | 41 | 62 | 0.052939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5727-1_0_3_line_47 |  | 42 | 43 | 0.02683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5727-1_0_3_line_48 |  | 43 | 45 | 0.0091279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5727-1_0_3_line_49 |  | 44 | 50 | 0.026234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5727-1_0_3_line_50 |  | 44 | 59 | 0.027851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5727-1_0_3_line_51 |  | 46 | 47 | 0.014032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5727-1_0_3_line_52 |  | 46 | 48 | 0.023345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5727-1_0_3_line_53 |  | 47 | 49 | 0.012174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5727-1_0_3_line_54 |  | 48 | 50 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5727-1_0_3_line_55 |  | 49 | 51 | 0.080142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5727-1_0_3_line_56 |  | 51 | 56 | 0.043656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_5727-1_0_3_line_57 |  | 52 | 53 | 0.079556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5727-1_0_3_line_58 |  | 52 | 54 | 0.10671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5727-1_0_3_line_59 |  | 55 | 56 | 0.037286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5727-1_0_3_line_60 |  | 57 | 58 | 0.066193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5727-1_0_3_line_61 |  | 58 | 59 | 0.077431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5727-1_0_3_line_62 |  | 58 | 60 | 0.042745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5727-1_0_3_line_63 |  | 59 | 61 | 0.093726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5727-1_0_3_trafo_182 | 0.63 MVA 20/0.4 kV | 65 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2501165.8037 | 1145217.0621 | 2501155.5639 | 1145198.9206
1 | 2501223.4816 | 1145093.7726 | 2501155.5639 | 1145198.9206
2 | 2501165.8037 | 1145217.0621 | 2501170.5289 | 1145225.4342 | 2501177.7566 | 1145234.8842
3 | 2501223.4816 | 1145093.7726 | 2501203.2852 | 1145082.0077 | 2501189.1407 | 1145076.1028 | 2501180.8402 | 1145073.7041 | 2501173.939 | 1145074.151 | 2501166.8916 | 1145075.99 | 2501157.3133 | 1145080.4833 | 2501144.1948 | 1145087.4585 | 2501133.6968 | 1145090.2214 | 2501121.8235 | 1145089.7271 | 2501110.9773 | 1145087.2036 | 2501100.4676 | 1145082.7067 | 2501088.3615 | 1145074.5894 | 2501073.3367 | 1145060.961 | 2501059.0211 | 1145042.3291
4 | 2501223.4816 | 1145093.7726 | 2501304.6074 | 1145154.4485
5 | 2500431.3766 | 1144765.9725 | 2500421.6782 | 1144767.5466
6 | 2500456.278 | 1144761.9308 | 2500431.3766 | 1144765.9725
7 | 2500414.0233 | 1144768.7891 | 2500421.6782 | 1144767.5466
8 | 2500456.278 | 1144761.9308 | 2500458.5285 | 1144776.0384
9 | 2500450.7844 | 1144719.7175 | 2500453.7978 | 1144743.4714 | 2500456.278 | 1144761.9308
10 | 2500460.9851 | 1144791.438 | 2500458.5285 | 1144776.0384
11 | 2500450.7844 | 1144719.7175 | 2500378.1034 | 1144731.6711 | 2500347.6461 | 1144737.1894
12 | 2500450.7844 | 1144719.7175 | 2500469.9301 | 1144716.7025
13 | 2500347.6461 | 1144737.1894 | 2500348.6604 | 1144755.2839
14 | 2500306.9262 | 1144744.3789 | 2500323.8487 | 1144741.119 | 2500347.6461 | 1144737.1894
15 | 2500469.9301 | 1144716.7025 | 2500481.3917 | 1144714.8976 | 2500492.3717 | 1144713.1628
16 | 2500251.6228 | 1144784.3995 | 2500244.0712 | 1144782.5322 | 2500224.0462 | 1144779.8956 | 2500222.1322 | 1144778.9392
17 | 2500270.1843 | 1144793.1397 | 2500264.3242 | 1144789.1899 | 2500254.2264 | 1144785.0434 | 2500251.6228 | 1144784.3995
18 | 2500207.1001 | 1144770.6039 | 2500214.592 | 1144775.1715 | 2500222.1322 | 1144778.9392
19 | 2500207.1001 | 1144770.6039 | 2500215.7675 | 1144765.8796 | 2500228.4444 | 1144760.0993 | 2500240.099 | 1144756.1593 | 2500254.4928 | 1144752.4186 | 2500276.1788 | 1144749.0797
20 | 2500207.1001 | 1144770.6039 | 2500165.238 | 1144796.3778
21 | 2500276.1788 | 1144749.0797 | 2500277.4213 | 1144759.132 | 2500278.1447 | 1144765.6908
22 | 2500306.9262 | 1144744.3789 | 2500288.3068 | 1144746.8108 | 2500276.1788 | 1144749.0797
23 | 2500104.7347 | 1144833.6289 | 2500165.238 | 1144796.3778
24 | 2500207.9169 | 1144831.6627 | 2500196.1608 | 1144832.0456 | 2500182.5628 | 1144833.1267
25 | 2500104.7347 | 1144833.6289 | 2500110.9145 | 1144836.0057 | 2500114.6517 | 1144837.0666 | 2500119.0606 | 1144838.3165 | 2500122.9968 | 1144838.4068 | 2500148.2157 | 1144836.343 | 2500172.8366 | 1144833.9 | 2500182.5628 | 1144833.1267
26 | 2500207.9169 | 1144831.6627 | 2500219.7873 | 1144831.2759 | 2500227.569 | 1144831.5472
27 | 2500227.569 | 1144831.5472 | 2500227.569 | 1144831.5472 | 2500232.4116 | 1144833.3133
28 | 2500248.2712 | 1144835.3531 | 2500233.6926 | 1144833.7805 | 2500232.4116 | 1144833.3133
29 | 2500249.8281 | 1144835.5211 | 2500248.2712 | 1144835.3531
30 | 2500308.5121 | 1144758.0056 | 2500306.9262 | 1144744.3789
31 | 2500701.8971 | 1144680.0589 | 2500492.3717 | 1144713.1628
32 | 2500701.8971 | 1144680.0589 | 2500701.3682 | 1144687.1275 | 2500698.7519 | 1144706.9608 | 2500695.7057 | 1144734.2724 | 2500693.7509 | 1144747.613 | 2500689.5544 | 1144762.9584
33 | 2500701.8971 | 1144680.0589 | 2500726.3225 | 1144675.4699
34 | 2500761.0593 | 1144668.9436 | 2500726.3225 | 1144675.4699
35 | 2500761.0593 | 1144668.9436 | 2500774.0269 | 1144677.9578
36 | 2500737.9639 | 1144736.7898 | 2500741.4033 | 1144729.7052 | 2500748.2017 | 1144717.4078 | 2500752.0753 | 1144710.9589
37 | 2500735.4125 | 1144742.045 | 2500737.9639 | 1144736.7898
38 | 2500774.0269 | 1144677.9578 | 2500766.3173 | 1144687.6686 | 2500759.3916 | 1144698.7785 | 2500752.0753 | 1144710.9589
39 | 2500735.4125 | 1144742.045 | 2500736.6536 | 1144751.1302 | 2500738.8939 | 1144765.8135 | 2500740.2182 | 1144772.0177 | 2500741.859 | 1144776.449 | 2500743.3189 | 1144779.2267 | 2500745.2955 | 1144782.1181 | 2500748.5909 | 1144785.755 | 2500751.4959 | 1144788.5533 | 2500755.1242 | 1144790.9394 | 2500760.7305 | 1144793.9712 | 2500766.5804 | 1144796.3985 | 2500796.3927 | 1144804.4346 | 2500823.4453 | 1144828.2928 | 2500840.1065 | 1144838.5582 | 2500845.2368 | 1144839.2853 | 2500850.1842 | 1144838.7146
40 | 2500774.0269 | 1144677.9578 | 2500787.8466 | 1144664.0659 | 2500797.0711 | 1144656.2758 | 2500804.0132 | 1144651.2806 | 2500813.4447 | 1144645.7885 | 2500822.2606 | 1144641.6408 | 2500832.6529 | 1144638.4899 | 2500842.8024 | 1144635.988 | 2500857.1125 | 1144633.1951 | 2500885.9776 | 1144627.5388 | 2501004.518 | 1144604.7863 | 2501015.8373 | 1144602.8849
41 | 2500850.1842 | 1144838.7146 | 2500853.6062 | 1144836.0455 | 2500857.0133 | 1144830.6083
42 | 2500850.1842 | 1144838.7146 | 2500845.5534 | 1144848.2412 | 2500862.2965 | 1144864.8871 | 2500880.0353 | 1144893.0015
43 | 2501015.8373 | 1144602.8849 | 2501022.5671 | 1144601.7545 | 2501034.1306 | 1144600.1746 | 2501045.9176 | 1144599.1025 | 2501055.8446 | 1144598.9504 | 2501063.8007 | 1144599.3827
44 | 2500880.0353 | 1144893.0015 | 2500878.4306 | 1144901.9557 | 2500878.8739 | 1144910.676 | 2500881.1288 | 1144918.7995
45 | 2500880.0353 | 1144893.0015 | 2500883.1108 | 1144886.091 | 2500889.0851 | 1144879.7443 | 2500898.0889 | 1144871.6245 | 2500907.0484 | 1144865.4843 | 2500908.3854 | 1144864.983
46 | 2501063.8007 | 1144599.3827 | 2501087.3033 | 1144646.819
47 | 2501304.6074 | 1145154.4485 | 2501311.3436 | 1145180.419
48 | 2501303.2637 | 1145184.6655 | 2501311.3436 | 1145180.419
49 | 2501059.0211 | 1145042.3291 | 2501039.3765 | 1145053.8701 | 2501036.286 | 1145055.4038
50 | 2501059.0211 | 1145042.3291 | 2501046.0611 | 1145026.6878 | 2501042.0214 | 1145020.2947
51 | 2500983.887 | 1145044.9202 | 2500986.1956 | 1145046.7175 | 2500995.6563 | 1145052.5361
52 | 2501017.3229 | 1145060.1513 | 2501016.6099 | 1145060.1481 | 2501012.3012 | 1145059.8298 | 2501008.3988 | 1145058.9823 | 2501003.8277 | 1145057.1897 | 2500999.4476 | 1145054.8714 | 2500995.7911 | 1145052.619 | 2500995.6563 | 1145052.5361
53 | 2500974.2919 | 1145037.4282 | 2500981.1747 | 1145042.8087 | 2500983.887 | 1145044.9202
54 | 2501017.3229 | 1145060.1513 | 2501020.8522 | 1145060.1673 | 2501025.092 | 1145059.5639 | 2501032.4019 | 1145057.3313 | 2501036.286 | 1145055.4038
55 | 2500939.3331 | 1144971.0188 | 2500939.7147 | 1144984.3986 | 2500940.4487 | 1144994.9153 | 2500942.0998 | 1145004.1828 | 2500946.9333 | 1145013.0422 | 2500954.5343 | 1145021.0221 | 2500966.7261 | 1145031.5281 | 2500970.5327 | 1145034.4896 | 2500974.2919 | 1145037.4282
56 | 2500939.3331 | 1144971.0188 | 2500920.0721 | 1144961.0517 | 2500904.7228 | 1144952.4878 | 2500901.6264 | 1144949.3722
57 | 2500984.8232 | 1144852.4663 | 2500975.6837 | 1144859.4518 | 2500961.7048 | 1144861.3272 | 2500950.2573 | 1144861.0486 | 2500940.3593 | 1144860.6 | 2500926.1415 | 1144861.0341 | 2500916.8783 | 1144861.7981 | 2500908.3854 | 1144864.983
58 | 2500984.8232 | 1144852.4663 | 2501075.8339 | 1144796.7449
59 | 2500881.1288 | 1144918.7995 | 2500885.376 | 1144929.3806 | 2500892.7747 | 1144940.4658 | 2500901.6264 | 1144949.3722
60 | 2501028.1645 | 1144944.9756 | 2501025.5919 | 1144930.1309 | 2501018.9768 | 1144918.0765 | 2501015.5314 | 1144914.1863 | 2501006.0567 | 1144903.4909 | 2501000.7924 | 1144901.1427 | 2500996.0654 | 1144900.6312 | 2500988.7837 | 1144901.7849
61 | 2501028.1645 | 1144944.9756 | 2501031.309 | 1144975.4428 | 2501033.4288 | 1144999.2005 | 2501034.3281 | 1145003.8887 | 2501035.6135 | 1145007.7477 | 2501038.2443 | 1145013.5192 | 2501042.0214 | 1145020.2947
62 | 2501028.1645 | 1144944.9756 | 2501052.1315 | 1144926.6149 | 2501056.1938 | 1144923.1571 | 2501058.1458 | 1144916.1429
63 | 2501042.0214 | 1145020.2947 | 2501046.8718 | 1145017.5689 | 2501051.8305 | 1145015.3527 | 2501055.3656 | 1145014.4274 | 2501059.303 | 1145014.1292 | 2501067.9664 | 1145012.8861 | 2501076.172 | 1145010.4387 | 2501089.6904 | 1145005.3468 | 2501093.9301 | 1145002.8645 | 2501097.492 | 1144999.8264 | 2501098.5104 | 1144998.1975 | 2501099.1201 | 1144996.4865 | 2501099.1979 | 1144993.2721 | 2501098.2955 | 1144990.7298 | 2501096.6653 | 1144989.7337 | 2501094.4375 | 1144989.7814 | 2501085.4815 | 1144994.2646 | 2501076.5312 | 1144998.6529

## bus_geodata
| x | y | coords
0 | 2501155.5639 | 1145198.9206
1 | 2501165.8037 | 1145217.0621
2 | 2501223.4816 | 1145093.7726
3 | 2501177.7566 | 1145234.8842
4 | 2500431.3766 | 1144765.9725
5 | 2500421.6782 | 1144767.5466
6 | 2500456.278 | 1144761.9308
7 | 2500414.0233 | 1144768.7891
8 | 2500458.5285 | 1144776.0384
9 | 2500450.7844 | 1144719.7175
10 | 2500460.9851 | 1144791.438
11 | 2500347.6461 | 1144737.1894
12 | 2500469.9301 | 1144716.7025
13 | 2500251.6228 | 1144784.3995
14 | 2500222.1322 | 1144778.9392
15 | 2500270.1843 | 1144793.1397
16 | 2500207.1001 | 1144770.6039
17 | 2500276.1788 | 1144749.0797
18 | 2500165.238 | 1144796.3778
19 | 2500182.5628 | 1144833.1267
20 | 2500207.9169 | 1144831.6627
21 | 2500104.7347 | 1144833.6289
22 | 2500227.569 | 1144831.5472
23 | 2500232.4116 | 1144833.3133
24 | 2500248.2712 | 1144835.3531
25 | 2500249.8281 | 1144835.5211
26 | 2500278.1447 | 1144765.6908
27 | 2500306.9262 | 1144744.3789
28 | 2500492.3717 | 1144713.1628
29 | 2500701.8971 | 1144680.0589
30 | 2500689.5544 | 1144762.9584
31 | 2500726.3225 | 1144675.4699
32 | 2500761.0593 | 1144668.9436
33 | 2500737.9639 | 1144736.7898
34 | 2500752.0753 | 1144710.9589
35 | 2500735.4125 | 1144742.045
36 | 2500774.0269 | 1144677.9578
37 | 2500850.1842 | 1144838.7146
38 | 2501015.8373 | 1144602.8849
39 | 2500857.0133 | 1144830.6083
40 | 2500880.0353 | 1144893.0015
41 | 2501063.8007 | 1144599.3827
42 | 2501304.6074 | 1145154.4485
43 | 2501311.3436 | 1145180.419
44 | 2501059.0211 | 1145042.3291
45 | 2501303.2637 | 1145184.6655
46 | 2500995.6563 | 1145052.5361
47 | 2500983.887 | 1145044.9202
48 | 2501017.3229 | 1145060.1513
49 | 2500974.2919 | 1145037.4282
50 | 2501036.286 | 1145055.4038
51 | 2500939.3331 | 1144971.0188
52 | 2500984.8232 | 1144852.4663
53 | 2500908.3854 | 1144864.983
54 | 2501075.8339 | 1144796.7449
55 | 2500881.1288 | 1144918.7995
56 | 2500901.6264 | 1144949.3722
57 | 2500988.7837 | 1144901.7849
58 | 2501028.1645 | 1144944.9756
59 | 2501042.0214 | 1145020.2947
60 | 2501058.1458 | 1144916.1429
61 | 2501076.5312 | 1144998.6529
62 | 2501087.3033 | 1144646.819
63 | 2500348.6604 | 1144755.2839
64 | 2500308.5121 | 1144758.0056
65 | 2500881.1288 | 1144918.7995

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1