## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5727-2_1_3_node_256 | 0.4 | n |  | TRUE
1 | bus_LV_5727-2_1_3_node_258 | 0.4 | n |  | TRUE
2 | bus_LV_5727-2_1_3_node_259 | 0.4 | n |  | TRUE
3 | bus_LV_5727-2_1_3_node_257 | 0.4 | n |  | TRUE
4 | bus_LV_5727-2_1_3_node_253 | 0.4 | n |  | TRUE
5 | bus_LV_5727-2_1_3_node_272 | 0.4 | n |  | TRUE
6 | bus_LV_5727-2_1_3_node_268 | 0.4 | n |  | TRUE
7 | bus_LV_5727-2_1_3_node_260 | 0.4 | n |  | TRUE
8 | bus_LV_5727-2_1_3_node_239 | 0.4 | n |  | TRUE
9 | bus_LV_5727-2_1_3_node_274 | 0.4 | n |  | TRUE
10 | bus_LV_5727-2_1_3_node_261 | 0.4 | n |  | TRUE
11 | bus_LV_5727-2_1_3_node_240 | 0.4 | n |  | TRUE
12 | bus_LV_5727-2_1_3_node_276 | 0.4 | n |  | TRUE
13 | bus_LV_5727-2_1_3_node_262 | 0.4 | n |  | TRUE
14 | bus_LV_5727-2_1_3_node_263 | 0.4 | n |  | TRUE
15 | bus_LV_5727-2_1_3_node_264 | 0.4 | n |  | TRUE
16 | bus_LV_5727-2_1_3_node_265 | 0.4 | n |  | TRUE
17 | bus_LV_5727-2_1_3_node_246 | 0.4 | n |  | TRUE
18 | bus_LV_5727-2_1_3_node_266 | 0.4 | n |  | TRUE
19 | bus_LV_5727-2_1_3_node_242 | 0.4 | n |  | TRUE
20 | bus_LV_5727-2_1_3_node_267 | 0.4 | n |  | TRUE
21 | bus_LV_5727-2_1_3_node_229 | 0.4 | n |  | TRUE
22 | bus_LV_5727-2_1_3_node_269 | 0.4 | n |  | TRUE
23 | bus_LV_5727-2_1_3_node_280 | 0.4 | n |  | TRUE
24 | bus_LV_5727-2_1_3_node_270 | 0.4 | n |  | TRUE
25 | bus_LV_5727-2_1_3_node_271 | 0.4 | n |  | TRUE
26 | bus_LV_5727-2_1_3_node_282 | 0.4 | n |  | TRUE
27 | bus_LV_5727-2_1_3_node_277 | 0.4 | n |  | TRUE
28 | bus_LV_5727-2_1_3_node_273 | 0.4 | n |  | TRUE
29 | bus_LV_5727-2_1_3_node_241 | 0.4 | n |  | TRUE
30 | bus_LV_5727-2_1_3_node_252 | 0.4 | n |  | TRUE
31 | bus_LV_5727-2_1_3_node_275 | 0.4 | n |  | TRUE
32 | bus_LV_5727-2_1_3_node_281 | 0.4 | n |  | TRUE
33 | bus_LV_5727-2_1_3_node_174 | 0.4 | n |  | TRUE
34 | bus_LV_5727-2_1_3_node_283 | 0.4 | n |  | TRUE
35 | bus_LV_5727-2_1_3_node_173 | 0.4 | n |  | TRUE
36 | bus_LV_5727-2_1_3_node_225 | 0.4 | n |  | TRUE
37 | bus_LV_5727-2_1_3_node_228 | 0.4 | n |  | TRUE
38 | bus_LV_5727-2_1_3_node_233 | 0.4 | n |  | TRUE
39 | bus_LV_5727-2_1_3_node_234 | 0.4 | n |  | TRUE
40 | bus_LV_5727-2_1_3_node_235 | 0.4 | n |  | TRUE
41 | bus_LV_5727-2_1_3_node_236 | 0.4 | n |  | TRUE
42 | bus_LV_5727-2_1_3_node_237 | 0.4 | n |  | TRUE
43 | bus_LV_5727-2_1_3_node_238 | 0.4 | n |  | TRUE
44 | bus_LV_5727-2_1_3_node_243 | 0.4 | n |  | TRUE
45 | bus_LV_5727-2_1_3_node_244 | 0.4 | n |  | TRUE
46 | bus_LV_5727-2_1_3_node_245 | 0.4 | n |  | TRUE
47 | bus_LV_5727-2_1_3_node_247 | 0.4 | n |  | TRUE
48 | bus_LV_5727-2_1_3_node_248 | 0.4 | n |  | TRUE
49 | bus_LV_5727-2_1_3_node_249 | 0.4 | n |  | TRUE
50 | bus_LV_5727-2_1_3_node_250 | 0.4 | n |  | TRUE
51 | bus_LV_5727-2_1_3_node_251 | 0.4 | n |  | TRUE
52 | bus_LV_5727-2_1_3_node_254 | 0.4 | n |  | TRUE
53 | bus_LV_5727-2_1_3_node_255 | 0.4 | n |  | TRUE
54 | bus_MV_0_node_268 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5727-2_1_3_load_258 | 1 | 0.00084678 | 0.00021222 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5727-2_1_3_load_259 | 2 | 0.0015797 | 0.00039592 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5727-2_1_3_load_257 | 3 | 0.0042256 | 0.001059 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5727-2_1_3_load_272 | 5 | 0.00080866 | 0.00020267 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5727-2_1_3_load_268 | 6 | 0.0019026 | 0.00047685 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5727-2_1_3_load_260 | 7 | 0.00084793 | 0.00021251 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5727-2_1_3_load_274 | 9 | 0.00062358 | 0.00015628 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5727-2_1_3_load_240 | 11 | 0.00084561 | 0.00021193 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5727-2_1_3_load_276 | 12 | 0.0011885 | 0.00029786 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5727-2_1_3_load_262 | 13 | 0.00084581 | 0.00021198 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5727-2_1_3_load_263 | 14 | 0.00069887 | 0.00017515 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5727-2_1_3_load_265 | 16 | 0.00077059 | 0.00019313 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5727-2_1_3_load_246 | 17 | 0.00073138 | 0.0001833 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5727-2_1_3_load_242 | 19 | 0.0008557 | 0.00021446 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5727-2_1_3_load_267 | 20 | 0.0011668 | 0.00029243 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5727-2_1_3_load_229 | 21 | 0.0013387 | 0.00033551 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5727-2_1_3_load_280 | 23 | 0.013661 | 0.0034237 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5727-2_1_3_load_270 | 24 | 0.0022383 | 0.00056096 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5727-2_1_3_load_271 | 25 | 0.0014252 | 0.00035719 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5727-2_1_3_load_282 | 26 | 0.012924 | 0.0032391 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5727-2_1_3_load_277 | 27 | 0.001286 | 0.00032231 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5727-2_1_3_load_273 | 28 | 0.00068422 | 0.00017148 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5727-2_1_3_load_241 | 29 | 0.00068704 | 0.00017219 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5727-2_1_3_load_252 | 30 | 0.00044046 | 0.00011039 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5727-2_1_3_load_281 | 32 | 0.00082973 | 0.00020795 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5727-2_1_3_load_174 | 33 | 0.00076187 | 0.00019094 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5727-2_1_3_load_283 | 34 | 0.00091224 | 0.00022863 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5727-2_1_3_load_173 | 35 | 0.0032762 | 0.00082109 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5727-2_1_3_load_225 | 36 | 0.00025345 | 6.3522e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5727-2_1_3_load_228 | 37 | 0.00072592 | 0.00018193 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5727-2_1_3_load_233 | 38 | 0.00070012 | 0.00017547 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5727-2_1_3_load_234 | 39 | 0.00097269 | 0.00024378 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5727-2_1_3_load_236 | 41 | 0.0010194 | 0.00025548 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5727-2_1_3_load_237 | 42 | 0.00087758 | 0.00021994 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5727-2_1_3_load_238 | 43 | 0.00050797 | 0.00012731 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5727-2_1_3_load_243 | 44 | 0.00073913 | 0.00018524 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5727-2_1_3_load_245 | 46 | 0.00088757 | 0.00022245 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5727-2_1_3_load_247 | 47 | 0.001106 | 0.0002772 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5727-2_1_3_load_248 | 48 | 0.00044078 | 0.00011047 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5727-2_1_3_load_249 | 49 | 0.00081329 | 0.00020383 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5727-2_1_3_load_250 | 50 | 0.00050329 | 0.00012614 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5727-2_1_3_load_251 | 51 | 0.0018284 | 0.00045824 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5727-2_1_3_load_254 | 52 | 0.0012948 | 0.00032451 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5727-2_1_3_load_255 | 53 | 0.00089041 | 0.00022316 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5727-2_1_3_line_0 |  | 0 | 1 | 0.055578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5727-2_1_3_line_1 |  | 0 | 2 | 0.052533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5727-2_1_3_line_2 |  | 1 | 5 | 0.0020787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5727-2_1_3_line_3 |  | 2 | 6 | 0.3048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5727-2_1_3_line_4 |  | 3 | 4 | 0.029689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5727-2_1_3_line_5 |  | 4 | 52 | 0.024946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5727-2_1_3_line_6 |  | 4 | 51 | 0.014336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5727-2_1_3_line_7 |  | 5 | 27 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5727-2_1_3_line_8 |  | 6 | 22 | 0.028591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5727-2_1_3_line_9 |  | 6 | 23 | 0.26959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5727-2_1_3_line_10 |  | 7 | 8 | 0.025596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5727-2_1_3_line_11 |  | 7 | 9 | 0.013266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5727-2_1_3_line_12 |  | 8 | 10 | 0.020486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5727-2_1_3_line_13 |  | 8 | 41 | 0.0208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5727-2_1_3_line_14 |  | 9 | 31 | 0.0076585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5727-2_1_3_line_15 |  | 10 | 11 | 0.0022516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5727-2_1_3_line_16 |  | 10 | 12 | 0.022176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5727-2_1_3_line_17 |  | 12 | 27 | 0.023431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5727-2_1_3_line_18 |  | 13 | 14 | 0.016788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5727-2_1_3_line_19 |  | 13 | 15 | 0.020547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5727-2_1_3_line_20 |  | 14 | 16 | 0.044971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5727-2_1_3_line_21 |  | 15 | 17 | 0.036857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5727-2_1_3_line_22 |  | 15 | 18 | 0.026174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5727-2_1_3_line_23 |  | 17 | 46 | 0.036387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5727-2_1_3_line_24 |  | 18 | 19 | 0.0057989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5727-2_1_3_line_25 |  | 18 | 20 | 0.070669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5727-2_1_3_line_26 |  | 19 | 43 | 0.021733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5727-2_1_3_line_27 |  | 20 | 21 | 0.024746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5727-2_1_3_line_28 |  | 21 | 37 | 0.077328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5727-2_1_3_line_29 |  | 22 | 24 | 0.006372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5727-2_1_3_line_30 |  | 22 | 25 | 0.050161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5727-2_1_3_line_31 |  | 25 | 26 | 0.47248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5727-2_1_3_line_32 |  | 26 | 33 | 0.50832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5727-2_1_3_line_33 |  | 28 | 29 | 0.008979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5727-2_1_3_line_34 |  | 28 | 30 | 0.023924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5727-2_1_3_line_35 |  | 29 | 34 | 0.52927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5727-2_1_3_line_36 |  | 29 | 42 | 0.017322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5727-2_1_3_line_37 |  | 30 | 50 | 0.014985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5727-2_1_3_line_38 |  | 31 | 32 | 0.30788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5727-2_1_3_line_39 |  | 33 | 35 | 0.01869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5727-2_1_3_line_40 |  | 36 | 37 | 0.050763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5727-2_1_3_line_41 |  | 38 | 39 | 0.022894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5727-2_1_3_line_42 |  | 38 | 40 | 0.058476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5727-2_1_3_line_43 |  | 39 | 41 | 0.0077655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5727-2_1_3_line_44 |  | 40 | 42 | 0.024777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5727-2_1_3_line_45 |  | 40 | 43 | 0.07525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5727-2_1_3_line_46 |  | 44 | 45 | 0.006651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5727-2_1_3_line_47 |  | 45 | 46 | 0.0049974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5727-2_1_3_line_48 |  | 47 | 48 | 0.046567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5727-2_1_3_line_49 |  | 47 | 49 | 0.025953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5727-2_1_3_line_50 |  | 48 | 50 | 0.011285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5727-2_1_3_line_51 |  | 49 | 51 | 0.048068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5727-2_1_3_line_52 |  | 52 | 53 | 0.020835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5727-2_1_3_trafo_268 | 0.63 MVA 20/0.4 kV | 54 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2498483.1852 | 1145607.2824 | 2498504.6222 | 1145597.6039 | 2498532.1473 | 1145581.1707
1 | 2498483.1852 | 1145607.2824 | 2498475.9532 | 1145609.9393 | 2498466.9314 | 1145613.0934 | 2498454.9854 | 1145616.4525 | 2498445.2875 | 1145618.6952 | 2498434.1187 | 1145620.7515 | 2498432.5774 | 1145620.9257
2 | 2498532.1473 | 1145581.1707 | 2498533.9321 | 1145580.1052
3 | 2498432.5774 | 1145620.9257 | 2498129.0915 | 1145649.2219
4 | 2498468.8822 | 1145521.0249 | 2498461.5925 | 1145520.2695 | 2498455.9272 | 1145518.3305 | 2498443.6706 | 1145507.3858
5 | 2498468.8822 | 1145521.0249 | 2498460.9361 | 1145532.3771 | 2498452.9201 | 1145540.0393
6 | 2498468.8822 | 1145521.0249 | 2498482.9343 | 1145518.1859
7 | 2498533.9321 | 1145580.1052 | 2498535.3416 | 1145579.2636 | 2498547.3931 | 1145571.8764
8 | 2498100.6014 | 1145651.4713 | 2498113.6763 | 1145650.8164 | 2498124.9925 | 1145649.7576 | 2498129.0915 | 1145649.2219
9 | 2498129.0915 | 1145649.2219 | 2498193.5891 | 1145910.9842
10 | 2498605.2654 | 1145555.8602 | 2498611.6838 | 1145567.3927 | 2498614.6747 | 1145572.5122 | 2498618.4212 | 1145577.7858
11 | 2498628.9275 | 1145585.6812 | 2498628.0766 | 1145585.328 | 2498624.9979 | 1145583.6566 | 2498622.1422 | 1145581.5477 | 2498618.4212 | 1145577.7858
12 | 2498605.2654 | 1145555.8602 | 2498586.2766 | 1145548.0417
13 | 2498607.4853 | 1145535.2877 | 2498605.1212 | 1145547.7575 | 2498605.2654 | 1145555.8602
14 | 2498636.3344 | 1145587.4459 | 2498632.8769 | 1145587.0149 | 2498630.3672 | 1145586.2789 | 2498628.9275 | 1145585.6812
15 | 2498586.2766 | 1145548.0417 | 2498588.2061 | 1145546.8813
16 | 2498586.2766 | 1145548.0417 | 2498567.3695 | 1145559.6313
17 | 2498567.3695 | 1145559.6313 | 2498547.3931 | 1145571.8764
18 | 2498787.0538 | 1145478.8207 | 2498787.0538 | 1145478.8207 | 2498782.9881 | 1145482.4357 | 2498779.6295 | 1145484.2266 | 2498772.9072 | 1145487.6442
19 | 2498797.313 | 1145461.0371 | 2498791.5501 | 1145470.1953 | 2498787.0538 | 1145478.8207
20 | 2498733.0874 | 1145508.5354 | 2498753.8234 | 1145497.3464 | 2498772.9072 | 1145487.6442
21 | 2498797.313 | 1145461.0371 | 2498822.0816 | 1145461.1544 | 2498832.5573 | 1145462.1901 | 2498834.1076 | 1145462.3743
22 | 2498777.1131 | 1145445.6336 | 2498779.8169 | 1145450.5913 | 2498781.6714 | 1145452.5724 | 2498783.9456 | 1145454.3798 | 2498792.9024 | 1145459.2212 | 2498797.313 | 1145461.0371
23 | 2498834.1076 | 1145462.3743 | 2498842.3129 | 1145463.3492 | 2498849.4308 | 1145464.8528 | 2498862.1402 | 1145468.942 | 2498868.4779 | 1145472.9491 | 2498868.4779 | 1145472.9491
24 | 2498777.1131 | 1145445.6336 | 2498771.8982 | 1145448.1698
25 | 2498777.1131 | 1145445.6336 | 2498801.324 | 1145434.9756 | 2498827.6072 | 1145424.6164 | 2498842.4094 | 1145418.6359
26 | 2498752.3543 | 1145457.675 | 2498771.8982 | 1145448.1698
27 | 2498865.0466 | 1145408.6518 | 2498849.3141 | 1145415.8463 | 2498842.4094 | 1145418.6359
28 | 2498865.0466 | 1145408.6518 | 2498930.2317 | 1145378.8424 | 2498935.3718 | 1145376.4971
29 | 2498100.6014 | 1145651.4713 | 2498100.7322 | 1145657.8398
30 | 2498100.6014 | 1145651.4713 | 2498074.5039 | 1145652.2468 | 2498050.452 | 1145652.215
31 | 2498050.452 | 1145652.215 | 2497596.0813 | 1145781.7778
32 | 2497596.0813 | 1145781.7778 | 2497506.2117 | 1145281.4688
33 | 2498655.1991 | 1145471.4681 | 2498647.2395 | 1145475.6233
34 | 2498626.0317 | 1145486.6943 | 2498647.2395 | 1145475.6233
35 | 2498655.1991 | 1145471.4681 | 2498590.46 | 1144946.1712
36 | 2498670.8498 | 1145471.8592 | 2498665.8505 | 1145468.3967 | 2498659.2732 | 1145469.3413 | 2498655.1991 | 1145471.4681
37 | 2498626.0317 | 1145486.6943 | 2498617.9644 | 1145490.9056 | 2498612.1963 | 1145492.071
38 | 2498636.3344 | 1145587.4459 | 2498767.28 | 1145866.096
39 | 2497522.5403 | 1145272.3743 | 2497506.2117 | 1145281.4688
40 | 2498981.7966 | 1145355.9745 | 2498960.9188 | 1145364.8409 | 2498935.3718 | 1145376.4971
41 | 2498634.1747 | 1145520.1979 | 2498614.2452 | 1145531.4657
42 | 2498685.3654 | 1145491.9387 | 2498661.3386 | 1145504.8399 | 2498634.1747 | 1145520.1979
43 | 2498607.4853 | 1145535.2877 | 2498614.2452 | 1145531.4657
44 | 2498685.3654 | 1145491.9387 | 2498670.8498 | 1145471.8592
45 | 2498685.3654 | 1145491.9387 | 2498730.9621 | 1145468.0791 | 2498752.3543 | 1145457.675
46 | 2498870.8113 | 1145477.3683 | 2498876.9965 | 1145479.8138
47 | 2498870.8113 | 1145477.3683 | 2498868.4779 | 1145472.9491
48 | 2498555.4895 | 1145503.5275 | 2498601.1344 | 1145494.3058
49 | 2498555.4895 | 1145503.5275 | 2498530.0504 | 1145508.667
50 | 2498601.1344 | 1145494.3058 | 2498612.1963 | 1145492.071
51 | 2498482.9343 | 1145518.1859 | 2498530.0504 | 1145508.667
52 | 2498452.9201 | 1145540.0393 | 2498452.9201 | 1145540.0393 | 2498449.9594 | 1145545.3703 | 2498447.9489 | 1145552.3642 | 2498446.9225 | 1145559.7534

## bus_geodata
| x | y | coords
0 | 2498483.1852 | 1145607.2824
1 | 2498532.1473 | 1145581.1707
2 | 2498432.5774 | 1145620.9257
3 | 2498443.6706 | 1145507.3858
4 | 2498468.8823 | 1145521.0249
5 | 2498533.9321 | 1145580.1052
6 | 2498129.0915 | 1145649.2219
7 | 2498618.4212 | 1145577.7858
8 | 2498605.2654 | 1145555.8602
9 | 2498628.9275 | 1145585.6812
10 | 2498586.2766 | 1145548.0417
11 | 2498588.2061 | 1145546.8813
12 | 2498567.3695 | 1145559.6313
13 | 2498787.0538 | 1145478.8207
14 | 2498772.9072 | 1145487.6442
15 | 2498797.313 | 1145461.0371
16 | 2498733.0874 | 1145508.5354
17 | 2498834.1076 | 1145462.3743
18 | 2498777.1131 | 1145445.6336
19 | 2498771.8982 | 1145448.1698
20 | 2498842.4094 | 1145418.6359
21 | 2498865.0466 | 1145408.6518
22 | 2498100.6014 | 1145651.4713
23 | 2498193.5891 | 1145910.9842
24 | 2498100.7322 | 1145657.8398
25 | 2498050.452 | 1145652.215
26 | 2497596.0813 | 1145781.7778
27 | 2498547.3931 | 1145571.8763
28 | 2498647.2395 | 1145475.6233
29 | 2498655.1991 | 1145471.4681
30 | 2498626.0317 | 1145486.6943
31 | 2498636.3344 | 1145587.4459
32 | 2498767.28 | 1145866.096
33 | 2497506.2117 | 1145281.4688
34 | 2498590.46 | 1144946.1712
35 | 2497522.5403 | 1145272.3743
36 | 2498981.7966 | 1145355.9745
37 | 2498935.3718 | 1145376.4971
38 | 2498634.1747 | 1145520.1979
39 | 2498614.2452 | 1145531.4657
40 | 2498685.3654 | 1145491.9387
41 | 2498607.4853 | 1145535.2877
42 | 2498670.8498 | 1145471.8592
43 | 2498752.3543 | 1145457.675
44 | 2498876.9965 | 1145479.8138
45 | 2498870.8113 | 1145477.3683
46 | 2498868.4779 | 1145472.9491
47 | 2498555.4895 | 1145503.5275
48 | 2498601.1344 | 1145494.3058
49 | 2498530.0504 | 1145508.667
50 | 2498612.1963 | 1145492.071
51 | 2498482.9343 | 1145518.1859
52 | 2498452.9201 | 1145540.0393
53 | 2498446.9225 | 1145559.7534
54 | 2498129.0915 | 1145649.2219

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1