## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5727-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5727-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5727-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5727-4_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5727-4_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5727-4_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5727-4_0_6_node_81 | 0.4 | n |  | TRUE
7 | bus_LV_5727-4_0_6_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_5727-4_0_6_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_5727-4_0_6_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_5727-4_0_6_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_5727-4_0_6_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_5727-4_0_6_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_5727-4_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5727-4_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5727-4_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5727-4_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5727-4_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5727-4_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5727-4_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5727-4_0_6_node_106 | 0.4 | n |  | TRUE
21 | bus_LV_5727-4_0_6_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_5727-4_0_6_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5727-4_0_6_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_5727-4_0_6_node_102 | 0.4 | n |  | TRUE
25 | bus_LV_5727-4_0_6_node_128 | 0.4 | n |  | TRUE
26 | bus_LV_5727-4_0_6_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_5727-4_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5727-4_0_6_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_5727-4_0_6_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5727-4_0_6_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_5727-4_0_6_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_5727-4_0_6_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_5727-4_0_6_node_148 | 0.4 | n |  | TRUE
34 | bus_LV_5727-4_0_6_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_5727-4_0_6_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_5727-4_0_6_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_5727-4_0_6_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_5727-4_0_6_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_5727-4_0_6_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_5727-4_0_6_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_5727-4_0_6_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5727-4_0_6_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5727-4_0_6_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_5727-4_0_6_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5727-4_0_6_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5727-4_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5727-4_0_6_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_5727-4_0_6_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_5727-4_0_6_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_5727-4_0_6_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_5727-4_0_6_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_5727-4_0_6_node_79 | 0.4 | n |  | TRUE
53 | bus_LV_5727-4_0_6_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_5727-4_0_6_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_5727-4_0_6_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_5727-4_0_6_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_5727-4_0_6_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_5727-4_0_6_node_87 | 0.4 | n |  | TRUE
59 | bus_LV_5727-4_0_6_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_5727-4_0_6_node_29 | 0.4 | n |  | TRUE
61 | bus_LV_5727-4_0_6_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_5727-4_0_6_node_31 | 0.4 | n |  | TRUE
63 | bus_LV_5727-4_0_6_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_5727-4_0_6_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_5727-4_0_6_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_5727-4_0_6_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_5727-4_0_6_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_5727-4_0_6_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_5727-4_0_6_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_5727-4_0_6_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_5727-4_0_6_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_5727-4_0_6_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_5727-4_0_6_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_5727-4_0_6_node_95 | 0.4 | n |  | TRUE
75 | bus_LV_5727-4_0_6_node_143 | 0.4 | n |  | TRUE
76 | bus_LV_5727-4_0_6_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_5727-4_0_6_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_5727-4_0_6_node_144 | 0.4 | n |  | TRUE
79 | bus_LV_5727-4_0_6_node_141 | 0.4 | n |  | TRUE
80 | bus_LV_5727-4_0_6_node_45 | 0.4 | n |  | TRUE
81 | bus_LV_5727-4_0_6_node_48 | 0.4 | n |  | TRUE
82 | bus_LV_5727-4_0_6_node_147 | 0.4 | n |  | TRUE
83 | bus_LV_5727-4_0_6_node_57 | 0.4 | n |  | TRUE
84 | bus_LV_5727-4_0_6_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_5727-4_0_6_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_5727-4_0_6_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_5727-4_0_6_node_58 | 0.4 | n |  | TRUE
88 | bus_LV_5727-4_0_6_node_59 | 0.4 | n |  | TRUE
89 | bus_LV_5727-4_0_6_node_60 | 0.4 | n |  | TRUE
90 | bus_LV_5727-4_0_6_node_110 | 0.4 | n |  | TRUE
91 | bus_LV_5727-4_0_6_node_104 | 0.4 | n |  | TRUE
92 | bus_LV_5727-4_0_6_node_134 | 0.4 | n |  | TRUE
93 | bus_LV_5727-4_0_6_node_103 | 0.4 | n |  | TRUE
94 | bus_LV_5727-4_0_6_node_135 | 0.4 | n |  | TRUE
95 | bus_LV_5727-4_0_6_node_61 | 0.4 | n |  | TRUE
96 | bus_LV_5727-4_0_6_node_62 | 0.4 | n |  | TRUE
97 | bus_LV_5727-4_0_6_node_63 | 0.4 | n |  | TRUE
98 | bus_LV_5727-4_0_6_node_68 | 0.4 | n |  | TRUE
99 | bus_LV_5727-4_0_6_node_66 | 0.4 | n |  | TRUE
100 | bus_LV_5727-4_0_6_node_64 | 0.4 | n |  | TRUE
101 | bus_LV_5727-4_0_6_node_65 | 0.4 | n |  | TRUE
102 | bus_LV_5727-4_0_6_node_90 | 0.4 | n |  | TRUE
103 | bus_LV_5727-4_0_6_node_75 | 0.4 | n |  | TRUE
104 | bus_LV_5727-4_0_6_node_89 | 0.4 | n |  | TRUE
105 | bus_LV_5727-4_0_6_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_5727-4_0_6_node_93 | 0.4 | n |  | TRUE
107 | bus_LV_5727-4_0_6_node_117 | 0.4 | n |  | TRUE
108 | bus_LV_5727-4_0_6_node_115 | 0.4 | n |  | TRUE
109 | bus_LV_5727-4_0_6_node_139 | 0.4 | n |  | TRUE
110 | bus_LV_5727-4_0_6_node_116 | 0.4 | n |  | TRUE
111 | bus_LV_5727-4_0_6_node_97 | 0.4 | n |  | TRUE
112 | bus_LV_5727-4_0_6_node_98 | 0.4 | n |  | TRUE
113 | bus_LV_5727-4_0_6_node_99 | 0.4 | n |  | TRUE
114 | bus_LV_5727-4_0_6_node_100 | 0.4 | n |  | TRUE
115 | bus_LV_5727-4_0_6_node_101 | 0.4 | n |  | TRUE
116 | bus_LV_5727-4_0_6_node_121 | 0.4 | n |  | TRUE
117 | bus_LV_5727-4_0_6_node_136 | 0.4 | n |  | TRUE
118 | bus_LV_5727-4_0_6_node_120 | 0.4 | n |  | TRUE
119 | bus_LV_5727-4_0_6_node_105 | 0.4 | n |  | TRUE
120 | bus_LV_5727-4_0_6_node_107 | 0.4 | n |  | TRUE
121 | bus_LV_5727-4_0_6_node_108 | 0.4 | n |  | TRUE
122 | bus_LV_5727-4_0_6_node_109 | 0.4 | n |  | TRUE
123 | bus_LV_5727-4_0_6_node_111 | 0.4 | n |  | TRUE
124 | bus_LV_5727-4_0_6_node_112 | 0.4 | n |  | TRUE
125 | bus_LV_5727-4_0_6_node_113 | 0.4 | n |  | TRUE
126 | bus_LV_5727-4_0_6_node_114 | 0.4 | n |  | TRUE
127 | bus_LV_5727-4_0_6_node_133 | 0.4 | n |  | TRUE
128 | bus_LV_5727-4_0_6_node_126 | 0.4 | n |  | TRUE
129 | bus_LV_5727-4_0_6_node_132 | 0.4 | n |  | TRUE
130 | bus_LV_5727-4_0_6_node_124 | 0.4 | n |  | TRUE
131 | bus_LV_5727-4_0_6_node_138 | 0.4 | n |  | TRUE
132 | bus_LV_5727-4_0_6_node_118 | 0.4 | n |  | TRUE
133 | bus_LV_5727-4_0_6_node_119 | 0.4 | n |  | TRUE
134 | bus_LV_5727-4_0_6_node_142 | 0.4 | n |  | TRUE
135 | bus_LV_5727-4_0_6_node_127 | 0.4 | n |  | TRUE
136 | bus_LV_5727-4_0_6_node_131 | 0.4 | n |  | TRUE
137 | bus_LV_5727-4_0_6_node_129 | 0.4 | n |  | TRUE
138 | bus_LV_5727-4_0_6_node_137 | 0.4 | n |  | TRUE
139 | bus_LV_5727-4_0_6_node_123 | 0.4 | n |  | TRUE
140 | bus_LV_5727-4_0_6_node_125 | 0.4 | n |  | TRUE
141 | bus_LV_5727-4_0_6_node_130 | 0.4 | n |  | TRUE
142 | bus_LV_5727-4_0_6_node_140 | 0.4 | n |  | TRUE
143 | bus_LV_5727-4_0_6_node_145 | 0.4 | n |  | TRUE
144 | bus_LV_5727-4_0_6_node_146 | 0.4 | n |  | TRUE
145 | bus_MV_314_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5727-4_0_6_load_0 | 0 | 0.0027995 | 0.00070163 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5727-4_0_6_load_1 | 1 | 0.0020432 | 0.00051207 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5727-4_0_6_load_3 | 3 | 0.0044263 | 0.0011093 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5727-4_0_6_load_4 | 4 | 0.0047468 | 0.0011897 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5727-4_0_6_load_5 | 5 | 0.0017678 | 0.00044306 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5727-4_0_6_load_43 | 7 | 0.0050519 | 0.0012661 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5727-4_0_6_load_44 | 10 | 0.0053678 | 0.0013453 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5727-4_0_6_load_16 | 12 | 0.0042273 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5727-4_0_6_load_6 | 13 | 0.012138 | 0.0030421 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5727-4_0_6_load_9 | 15 | 0.0014755 | 0.0003698 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5727-4_0_6_load_10 | 16 | 0.0016447 | 0.0004122 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5727-4_0_6_load_11 | 18 | 0.0024408 | 0.00061173 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5727-4_0_6_load_12 | 19 | 0.010451 | 0.0026192 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5727-4_0_6_load_106 | 20 | 0.0023554 | 0.00059031 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5727-4_0_6_load_19 | 22 | 0.0053411 | 0.0013386 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5727-4_0_6_load_76 | 23 | 0.0052323 | 0.0013113 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5727-4_0_6_load_128 | 25 | 0.0056733 | 0.0014219 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5727-4_0_6_load_17 | 27 | 0.013463 | 0.0033742 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5727-4_0_6_load_13 | 29 | 0.0025706 | 0.00064425 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5727-4_0_6_load_71 | 30 | 0.0028496 | 0.00071418 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5727-4_0_6_load_70 | 32 | 0.0022444 | 0.00056249 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5727-4_0_6_load_148 | 33 | 0.0014549 | 0.00036462 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5727-4_0_6_load_46 | 36 | 0.0063119 | 0.0015819 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5727-4_0_6_load_53 | 38 | 0.007339 | 0.0018393 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5727-4_0_6_load_51 | 39 | 0.0090458 | 0.0022671 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5727-4_0_6_load_50 | 40 | 0.016576 | 0.0041543 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5727-4_0_6_load_21 | 41 | 0.0092653 | 0.0023221 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5727-4_0_6_load_22 | 42 | 0.0080066 | 0.0020067 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5727-4_0_6_load_23 | 43 | 0.0078614 | 0.0019703 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5727-4_0_6_load_24 | 44 | 0.0042979 | 0.0010771 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5727-4_0_6_load_25 | 45 | 0.0044839 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5727-4_0_6_load_32 | 46 | 0.018401 | 0.0046117 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5727-4_0_6_load_82 | 47 | 0.0099251 | 0.0024875 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5727-4_0_6_load_85 | 48 | 0.007769 | 0.0019471 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5727-4_0_6_load_83 | 49 | 0.012283 | 0.0030783 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5727-4_0_6_load_86 | 50 | 0.0059964 | 0.0015028 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5727-4_0_6_load_26 | 51 | 0.028493 | 0.0071411 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5727-4_0_6_load_79 | 52 | 0.0083631 | 0.002096 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5727-4_0_6_load_27 | 53 | 0.024191 | 0.0060629 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5727-4_0_6_load_28 | 54 | 0.01649 | 0.0041327 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5727-4_0_6_load_77 | 55 | 0.0081851 | 0.0020514 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5727-4_0_6_load_78 | 56 | 0.0089295 | 0.002238 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5727-4_0_6_load_80 | 57 | 0.0049493 | 0.0012404 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5727-4_0_6_load_87 | 58 | 0.0016544 | 0.00041463 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5727-4_0_6_load_88 | 59 | 0.0018004 | 0.00045121 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5727-4_0_6_load_84 | 61 | 0.0054781 | 0.0013729 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5727-4_0_6_load_37 | 63 | 0.0019829 | 0.00049697 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5727-4_0_6_load_35 | 64 | 0.015278 | 0.003829 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5727-4_0_6_load_36 | 66 | 0.011422 | 0.0028625 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5727-4_0_6_load_52 | 67 | 0.0059052 | 0.00148 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5727-4_0_6_load_39 | 69 | 0.0031256 | 0.00078335 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5727-4_0_6_load_73 | 70 | 0.003489 | 0.00087443 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5727-4_0_6_load_41 | 71 | 0.00067029 | 0.00016799 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5727-4_0_6_load_42 | 72 | 0.00043522 | 0.00010908 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5727-4_0_6_load_74 | 73 | 0.011839 | 0.0029672 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5727-4_0_6_load_94 | 77 | 0.00038007 | 9.5253e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5727-4_0_6_load_144 | 78 | 0.0011963 | 0.00029983 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5727-4_0_6_load_141 | 79 | 0.0012944 | 0.0003244 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5727-4_0_6_load_45 | 80 | 0.015704 | 0.0039358 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5727-4_0_6_load_48 | 81 | 0.0059088 | 0.0014809 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5727-4_0_6_load_147 | 82 | 0.0097385 | 0.0024407 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5727-4_0_6_load_57 | 83 | 0.00047605 | 0.00011931 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5727-4_0_6_load_69 | 84 | 0.0022483 | 0.00056348 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5727-4_0_6_load_92 | 85 | 0.00093022 | 0.00023313 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5727-4_0_6_load_59 | 88 | 0.0018733 | 0.00046949 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5727-4_0_6_load_60 | 89 | 0.00045635 | 0.00011437 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5727-4_0_6_load_110 | 90 | 0.0033762 | 0.00084615 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5727-4_0_6_load_104 | 91 | 0.0079738 | 0.0019984 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5727-4_0_6_load_134 | 92 | 0.00066075 | 0.0001656 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5727-4_0_6_load_103 | 93 | 0.00067575 | 0.00016936 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5727-4_0_6_load_135 | 94 | 0.00097501 | 0.00024436 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5727-4_0_6_load_61 | 95 | 0.00077095 | 0.00019322 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5727-4_0_6_load_62 | 96 | 0.00078096 | 0.00019573 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5727-4_0_6_load_63 | 97 | 0.00089789 | 0.00022503 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5727-4_0_6_load_68 | 98 | 0.0010294 | 0.000258 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5727-4_0_6_load_66 | 99 | 0.00081888 | 0.00020523 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5727-4_0_6_load_64 | 100 | 0.00085959 | 0.00021543 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5727-4_0_6_load_65 | 101 | 0.00098467 | 0.00024678 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5727-4_0_6_load_90 | 102 | 0.0025833 | 0.00064744 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5727-4_0_6_load_75 | 103 | 0.006458 | 0.0016185 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5727-4_0_6_load_89 | 104 | 0.0014216 | 0.00035629 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5727-4_0_6_load_91 | 105 | 0.0017891 | 0.0004484 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5727-4_0_6_load_93 | 106 | 0.0030413 | 0.00076223 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5727-4_0_6_load_117 | 107 | 0.0014274 | 0.00035775 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5727-4_0_6_load_115 | 108 | 0.00057555 | 0.00014425 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5727-4_0_6_load_139 | 109 | 0.0011121 | 0.00027872 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5727-4_0_6_load_116 | 110 | 0.001587 | 0.00039774 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5727-4_0_6_load_97 | 111 | 0.002169 | 0.00054359 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5727-4_0_6_load_98 | 112 | 0.0034242 | 0.00085818 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5727-4_0_6_load_99 | 113 | 0.010291 | 0.0025791 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5727-4_0_6_load_100 | 114 | 0.0048965 | 0.0012272 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5727-4_0_6_load_101 | 115 | 0.0015184 | 0.00038054 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5727-4_0_6_load_121 | 116 | 0.018983 | 0.0047577 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5727-4_0_6_load_136 | 117 | 0.0028833 | 0.00072262 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5727-4_0_6_load_120 | 118 | 0.00061852 | 0.00015502 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5727-4_0_6_load_105 | 119 | 0.0029154 | 0.00073068 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5727-4_0_6_load_107 | 120 | 0.0037718 | 0.0009453 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5727-4_0_6_load_108 | 121 | 0.0019877 | 0.00049817 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5727-4_0_6_load_109 | 122 | 0.00081055 | 0.00020314 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5727-4_0_6_load_111 | 123 | 0.00058645 | 0.00014698 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5727-4_0_6_load_112 | 124 | 0.0006224 | 0.00015599 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5727-4_0_6_load_113 | 125 | 0.00051516 | 0.00012911 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5727-4_0_6_load_132 | 129 | 0.00096901 | 0.00024286 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5727-4_0_6_load_124 | 130 | 0.0018263 | 0.0004577 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5727-4_0_6_load_138 | 131 | 0.003023 | 0.00075762 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5727-4_0_6_load_118 | 132 | 0.0018152 | 0.00045493 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5727-4_0_6_load_119 | 133 | 0.0021377 | 0.00053576 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5727-4_0_6_load_142 | 134 | 0.0077681 | 0.0019469 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5727-4_0_6_load_127 | 135 | 0.00062362 | 0.00015629 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5727-4_0_6_load_131 | 136 | 0.00096916 | 0.0002429 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5727-4_0_6_load_129 | 137 | 0.00061588 | 0.00015435 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5727-4_0_6_load_137 | 138 | 0.0019755 | 0.00049511 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5727-4_0_6_load_123 | 139 | 0.00070342 | 0.00017629 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5727-4_0_6_load_125 | 140 | 0.0037661 | 0.00094386 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5727-4_0_6_load_130 | 141 | 0.00080556 | 0.00020189 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5727-4_0_6_load_140 | 142 | 0.0020285 | 0.0005084 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5727-4_0_6_load_145 | 143 | 0.0019785 | 0.00049587 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_5727-4_0_6_load_146 | 144 | 0.0020294 | 0.00050861 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5727-4_0_6_line_0 |  | 0 | 1 | 0.00076177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5727-4_0_6_line_1 |  | 0 | 2 | 0.019908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5727-4_0_6_line_2 |  | 1 | 3 | 0.033518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5727-4_0_6_line_3 |  | 2 | 4 | 0.034671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5727-4_0_6_line_4 |  | 2 | 5 | 0.0019701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5727-4_0_6_line_5 |  | 3 | 6 | 0.0025902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5727-4_0_6_line_6 |  | 4 | 7 | 0.015965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5727-4_0_6_line_7 |  | 5 | 8 | 0.044463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5727-4_0_6_line_8 |  | 6 | 9 | 0.031819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5727-4_0_6_line_9 |  | 7 | 10 | 0.0020657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5727-4_0_6_line_10 |  | 8 | 11 | 0.009761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5727-4_0_6_line_11 |  | 8 | 12 | 0.024378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5727-4_0_6_line_12 |  | 9 | 61 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5727-4_0_6_line_13 |  | 9 | 60 | 0.026026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5727-4_0_6_line_14 |  | 10 | 80 | 0.0082338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5727-4_0_6_line_15 |  | 11 | 38 | 0.0060599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5727-4_0_6_line_16 |  | 11 | 39 | 0.012394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5727-4_0_6_line_17 |  | 12 | 27 | 0.031999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5727-4_0_6_line_18 |  | 13 | 14 | 0.036293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5727-4_0_6_line_19 |  | 14 | 15 | 0.042432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5727-4_0_6_line_20 |  | 14 | 16 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5727-4_0_6_line_21 |  | 15 | 20 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5727-4_0_6_line_22 |  | 16 | 21 | 0.0093047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5727-4_0_6_line_23 |  | 17 | 18 | 0.0017922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5727-4_0_6_line_24 |  | 17 | 19 | 0.015908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5727-4_0_6_line_25 |  | 18 | 22 | 0.015012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5727-4_0_6_line_26 |  | 19 | 23 | 0.028248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5727-4_0_6_line_27 |  | 20 | 24 | 0.019702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5727-4_0_6_line_28 |  | 21 | 25 | 0.023002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5727-4_0_6_line_29 |  | 21 | 26 | 0.018134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5727-4_0_6_line_30 |  | 22 | 27 | 0.0056641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5727-4_0_6_line_31 |  | 23 | 28 | 0.013496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5727-4_0_6_line_32 |  | 24 | 119 | 0.024474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5727-4_0_6_line_33 |  | 24 | 115 | 0.021712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5727-4_0_6_line_34 |  | 26 | 34 | 0.023552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5727-4_0_6_line_35 |  | 26 | 38 | 0.053317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5727-4_0_6_line_36 |  | 28 | 70 | 0.023528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5727-4_0_6_line_37 |  | 28 | 66 | 0.02655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5727-4_0_6_line_38 |  | 29 | 30 | 0.071554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5727-4_0_6_line_39 |  | 30 | 31 | 0.085933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5727-4_0_6_line_40 |  | 30 | 32 | 0.012386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5727-4_0_6_line_41 |  | 31 | 35 | 0.047243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5727-4_0_6_line_42 |  | 33 | 34 | 0.033279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5727-4_0_6_line_43 |  | 34 | 82 | 0.033324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5727-4_0_6_line_44 |  | 35 | 36 | 0.04895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5727-4_0_6_line_45 |  | 36 | 37 | 0.0098584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5727-4_0_6_line_46 |  | 37 | 81 | 0.025756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5727-4_0_6_line_47 |  | 37 | 68 | 0.041204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5727-4_0_6_line_48 |  | 39 | 40 | 0.022444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5727-4_0_6_line_49 |  | 40 | 68 | 0.013069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5727-4_0_6_line_50 |  | 41 | 42 | 0.0016744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5727-4_0_6_line_51 |  | 41 | 43 | 0.0020267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5727-4_0_6_line_52 |  | 42 | 44 | 0.028198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5727-4_0_6_line_53 |  | 43 | 45 | 0.03084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5727-4_0_6_line_54 |  | 44 | 46 | 0.01535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5727-4_0_6_line_55 |  | 45 | 47 | 0.0010518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5727-4_0_6_line_56 |  | 45 | 48 | 0.091566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5727-4_0_6_line_57 |  | 47 | 49 | 0.0039429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5727-4_0_6_line_58 |  | 48 | 50 | 0.004375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5727-4_0_6_line_59 |  | 49 | 61 | 0.010302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5727-4_0_6_line_60 |  | 50 | 59 | 0.053906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5727-4_0_6_line_61 |  | 51 | 52 | 0.070183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5727-4_0_6_line_62 |  | 52 | 55 | 0.015848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5727-4_0_6_line_63 |  | 53 | 54 | 0.022119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5727-4_0_6_line_64 |  | 54 | 60 | 0.011927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5727-4_0_6_line_65 |  | 55 | 56 | 0.0082318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5727-4_0_6_line_66 |  | 56 | 57 | 0.0028607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5727-4_0_6_line_67 |  | 57 | 58 | 0.010293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5727-4_0_6_line_68 |  | 58 | 59 | 0.0071633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5727-4_0_6_line_69 |  | 62 | 63 | 0.0013939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5727-4_0_6_line_70 |  | 62 | 64 | 0.03434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5727-4_0_6_line_71 |  | 63 | 65 | 0.029611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5727-4_0_6_line_72 |  | 64 | 66 | 0.034327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5727-4_0_6_line_73 |  | 65 | 71 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5727-4_0_6_line_74 |  | 65 | 72 | 0.010217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5727-4_0_6_line_75 |  | 66 | 69 | 0.025195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5727-4_0_6_line_76 |  | 67 | 68 | 0.030056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5727-4_0_6_line_77 |  | 70 | 73 | 0.017032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5727-4_0_6_line_78 |  | 71 | 74 | 0.011351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_5727-4_0_6_line_79 |  | 72 | 75 | 0.0028906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5727-4_0_6_line_80 |  | 73 | 103 | 0.07184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5727-4_0_6_line_81 |  | 74 | 76 | 0.082083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_5727-4_0_6_line_82 |  | 74 | 77 | 0.0084191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5727-4_0_6_line_83 |  | 75 | 78 | 0.030785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5727-4_0_6_line_84 |  | 75 | 79 | 0.017986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5727-4_0_6_line_85 |  | 76 | 107 | 0.047706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_5727-4_0_6_line_86 |  | 76 | 108 | 0.006252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5727-4_0_6_line_87 |  | 78 | 143 | 0.0094487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5727-4_0_6_line_88 |  | 79 | 142 | 0.026061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5727-4_0_6_line_89 |  | 83 | 84 | 0.11428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5727-4_0_6_line_90 |  | 84 | 85 | 0.0028026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_5727-4_0_6_line_91 |  | 84 | 86 | 0.033042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_5727-4_0_6_line_92 |  | 85 | 102 | 0.047197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_5727-4_0_6_line_93 |  | 86 | 101 | 0.025748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_5727-4_0_6_line_94 |  | 87 | 88 | 0.039745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_5727-4_0_6_line_95 |  | 87 | 89 | 0.071999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_5727-4_0_6_line_96 |  | 88 | 90 | 0.0031893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5727-4_0_6_line_97 |  | 88 | 91 | 0.10862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_5727-4_0_6_line_98 |  | 89 | 92 | 0.024234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_5727-4_0_6_line_99 |  | 91 | 93 | 0.0020096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_5727-4_0_6_line_100 |  | 92 | 94 | 0.001318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_5727-4_0_6_line_101 |  | 93 | 106 | 0.020598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_5727-4_0_6_line_102 |  | 94 | 117 | 0.020105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_5727-4_0_6_line_103 |  | 95 | 96 | 0.018875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5727-4_0_6_line_104 |  | 96 | 97 | 0.0081155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5727-4_0_6_line_105 |  | 97 | 98 | 0.017182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5727-4_0_6_line_106 |  | 98 | 99 | 0.0069622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5727-4_0_6_line_107 |  | 99 | 100 | 0.009146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5727-4_0_6_line_108 |  | 100 | 101 | 0.034591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_5727-4_0_6_line_109 |  | 102 | 104 | 0.0044626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_5727-4_0_6_line_110 |  | 104 | 105 | 0.020033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
111 | LV_5727-4_0_6_line_111 |  | 105 | 106 | 0.0017826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_5727-4_0_6_line_112 |  | 107 | 109 | 0.061784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
113 | LV_5727-4_0_6_line_113 |  | 108 | 110 | 0.029493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5727-4_0_6_line_114 |  | 109 | 131 | 0.074599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_5727-4_0_6_line_115 |  | 111 | 112 | 0.0047279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5727-4_0_6_line_116 |  | 111 | 113 | 0.010494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5727-4_0_6_line_117 |  | 112 | 114 | 0.016807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5727-4_0_6_line_118 |  | 114 | 115 | 0.0065371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5727-4_0_6_line_119 |  | 116 | 117 | 0.19459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
120 | LV_5727-4_0_6_line_120 |  | 116 | 118 | 0.085857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
121 | LV_5727-4_0_6_line_121 |  | 117 | 138 | 0.006464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5727-4_0_6_line_122 |  | 118 | 136 | 0.069951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_5727-4_0_6_line_123 |  | 119 | 120 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5727-4_0_6_line_124 |  | 120 | 121 | 0.044082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5727-4_0_6_line_125 |  | 121 | 122 | 0.023246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5727-4_0_6_line_126 |  | 123 | 124 | 0.0004743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5727-4_0_6_line_127 |  | 123 | 125 | 0.029581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5727-4_0_6_line_128 |  | 125 | 126 | 0.00046235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5727-4_0_6_line_129 |  | 126 | 127 | 0.013501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5727-4_0_6_line_130 |  | 127 | 128 | 0.040887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
131 | LV_5727-4_0_6_line_131 |  | 127 | 129 | 0.014937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
132 | LV_5727-4_0_6_line_132 |  | 128 | 130 | 0.010423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
133 | LV_5727-4_0_6_line_133 |  | 129 | 141 | 0.0060789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
134 | LV_5727-4_0_6_line_134 |  | 130 | 139 | 0.035635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
135 | LV_5727-4_0_6_line_135 |  | 131 | 134 | 0.066392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
136 | LV_5727-4_0_6_line_136 |  | 132 | 133 | 0.040468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5727-4_0_6_line_137 |  | 132 | 134 | 0.073699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5727-4_0_6_line_138 |  | 134 | 135 | 0.060345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
139 | LV_5727-4_0_6_line_139 |  | 135 | 140 | 0.0019381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
140 | LV_5727-4_0_6_line_140 |  | 136 | 137 | 0.0027262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
141 | LV_5727-4_0_6_line_141 |  | 137 | 141 | 0.019206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
142 | LV_5727-4_0_6_line_142 |  | 139 | 140 | 0.02899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
143 | LV_5727-4_0_6_line_143 |  | 143 | 144 | 0.0025409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5727-4_0_6_trafo_8 | 0.63 MVA 20/0.4 kV | 145 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2501776.783 | 1144918.8453 | 2501776.072 | 1144919.1188
1 | 2501757.4918 | 1144926.2679 | 2501776.072 | 1144919.1188
2 | 2501776.783 | 1144918.8453 | 2501779.7611 | 1144917.6994 | 2501784.1465 | 1144916.5939 | 2501786.5228 | 1144916.2215 | 2501789.752 | 1144916.7915 | 2501792.8823 | 1144917.8855 | 2501795.3016 | 1144919.2136 | 2501798.4423 | 1144921.4193 | 2501801.2483 | 1144921.9516 | 2501805.9896 | 1144920.996 | 2501808.3091 | 1144920.0273
3 | 2501757.4918 | 1144926.2679 | 2501755.2828 | 1144922.2903 | 2501736.9065 | 1144898.4235
4 | 2501757.4918 | 1144926.2679 | 2501755.7556 | 1144927.1989
5 | 2501810.6991 | 1144919.0291 | 2501808.3091 | 1144920.0273
6 | 2501726.1098 | 1144893.9573 | 2501730.7237 | 1144890.3935 | 2501736.9065 | 1144898.4235
7 | 2501714.6868 | 1144943.6659 | 2501724.2651 | 1144941.4972 | 2501730.2937 | 1144939.3641 | 2501737.6844 | 1144936.4084 | 2501746.5216 | 1144932.1505 | 2501755.7556 | 1144927.1989
8 | 2501835.2059 | 1144899.2174 | 2501827.7583 | 1144908.1109 | 2501818.2977 | 1144914.6803 | 2501810.6991 | 1144919.0291
9 | 2501726.1098 | 1144893.9573 | 2501724.475 | 1144895.22
10 | 2501714.6868 | 1144943.6659 | 2501712.5501 | 1144943.1783 | 2501704.9599 | 1144942.8575
11 | 2501714.6868 | 1144943.6659 | 2501730.5199 | 1144954.6366 | 2501732.4736 | 1144955.6831 | 2501735.1181 | 1144956.8711
12 | 2501835.2059 | 1144899.2174 | 2501820.5356 | 1144890.1466
13 | 2501835.2059 | 1144899.2174 | 2501857.2955 | 1144913.0771
14 | 2501717.9587 | 1144900.2533 | 2501724.475 | 1144895.22
15 | 2501704.9599 | 1144942.8575 | 2501705.1814 | 1144945.6 | 2501704.3707 | 1144948.8076
16 | 2501704.9599 | 1144942.8575 | 2501703.7698 | 1144940.0974 | 2501699.709 | 1144933.3151 | 2501698.9066 | 1144932.0676
17 | 2501735.1181 | 1144956.8711 | 2501764.3071 | 1144969.9838
18 | 2501708.1529 | 1145040.4992 | 2501739.3978 | 1145031.4837 | 2501742.8068 | 1145029.8652
19 | 2501708.1529 | 1145040.4992 | 2501695.524 | 1145081.0087
20 | 2501708.1529 | 1145040.4992 | 2501709.7508 | 1145028.1349
21 | 2501695.524 | 1145081.0087 | 2501689.1529 | 1145101.445
22 | 2501710.9433 | 1145018.9069 | 2501709.7508 | 1145028.1349
23 | 2501783.5285 | 1144981.3885 | 2501781.8668 | 1144980.7172
24 | 2501783.5285 | 1144981.3885 | 2501789.6835 | 1144982.2998 | 2501797.5369 | 1144987.9687
25 | 2501781.8668 | 1144980.7172 | 2501776.9685 | 1144978.7383 | 2501770.5409 | 1144974.307 | 2501768.9614 | 1144973.2116
26 | 2501822.5243 | 1145000.3609 | 2501821.2598 | 1145000.1627 | 2501808.2846 | 1144995.727 | 2501797.5369 | 1144987.9687
27 | 2501683.2891 | 1145120.2544 | 2501689.1529 | 1145101.445
28 | 2501688.0996 | 1145017.212 | 2501701.54 | 1145019.5497 | 2501710.9433 | 1145018.9069
29 | 2501707.5555 | 1145001.0956 | 2501710.9433 | 1145018.9069
30 | 2501768.9614 | 1144973.2116 | 2501764.3071 | 1144969.9838 | 2501764.3071 | 1144969.9838
31 | 2501835.943 | 1145000.4902 | 2501827.1691 | 1145001.0892 | 2501822.5243 | 1145000.3609
32 | 2501683.2891 | 1145120.2544 | 2501668.8226 | 1145139.995
33 | 2501683.2891 | 1145120.2544 | 2501690.7368 | 1145125.9808 | 2501696.1408 | 1145128.9055 | 2501702.2003 | 1145130.0839
34 | 2501707.5555 | 1145001.0956 | 2501684.0921 | 1145003.8136
35 | 2501707.5555 | 1145001.0956 | 2501703.5039 | 1144984.0512 | 2501701.4096 | 1144965.9186 | 2501701.3224 | 1144962.4623 | 2501701.4771 | 1144959.7025 | 2501701.8638 | 1144956.5609 | 2501703.6944 | 1144951.4835 | 2501704.3707 | 1144948.8076
36 | 2501835.943 | 1145000.4902 | 2501838.7922 | 1145008.382 | 2501836.97 | 1145023.4099
37 | 2501835.943 | 1145000.4902 | 2501845.4751 | 1144994.5423 | 2501856.7789 | 1144984.1406
38 | 2501508.5884 | 1144940.565 | 2501534.2616 | 1145007.3542
39 | 2501572.3384 | 1144882.9418 | 2501508.5884 | 1144940.565
40 | 2501508.5884 | 1144940.565 | 2501502.8724 | 1144936.8442 | 2501498.9155 | 1144932.9295
41 | 2501598.9527 | 1144850.1199 | 2501597.4551 | 1144851.5898 | 2501585.8487 | 1144879.6634 | 2501585.3618 | 1144880.9055 | 2501584.6372 | 1144881.7067 | 2501582.7786 | 1144882.2485 | 2501572.3384 | 1144882.9418
42 | 2501684.0921 | 1145003.8136 | 2501681.9861 | 1145005.6714 | 2501670.2628 | 1145008.7202 | 2501668.9221 | 1145006.1516 | 2501653.3789 | 1145006.3388
43 | 2501652.808 | 1144992.0949 | 2501684.0921 | 1145003.8136
44 | 2501598.9527 | 1144850.1199 | 2501602.6617 | 1144853.706 | 2501608.6191 | 1144858.9675 | 2501612.8493 | 1144862.0003 | 2501623.6739 | 1144868.3718 | 2501639.6655 | 1144876.8015
45 | 2501648.3864 | 1144881.3985 | 2501639.6655 | 1144876.8015
46 | 2501648.3864 | 1144881.3985 | 2501647.1926 | 1144884.998 | 2501646.202 | 1144890.2175 | 2501646.3545 | 1144892.0272 | 2501646.8338 | 1144893.6092 | 2501647.7761 | 1144894.8391 | 2501657.0517 | 1144901.892
47 | 2501648.3864 | 1144881.3985 | 2501651.5698 | 1144883.3922 | 2501672.4389 | 1144901.5405 | 2501673.6565 | 1144902.2211 | 2501675.0193 | 1144902.3767 | 2501681.9655 | 1144900.9068
48 | 2501687.5556 | 1144912.7192 | 2501694.1816 | 1144924.7222 | 2501698.9066 | 1144932.0676
49 | 2501681.9655 | 1144900.9068 | 2501687.2839 | 1144912.227 | 2501687.5556 | 1144912.7192
50 | 2501777.9398 | 1144864.2749 | 2501779.3774 | 1144865.1333
51 | 2501781.1175 | 1144866.1724 | 2501779.3774 | 1144865.1333
52 | 2501777.9398 | 1144864.2749 | 2501757.8752 | 1144852.2936 | 2501753.8569 | 1144849.6166
53 | 2501807.5246 | 1144882.1019 | 2501799.9221 | 1144877.4013 | 2501781.1175 | 1144866.1724
54 | 2501753.8569 | 1144849.6166 | 2501741.0825 | 1144841.1063
55 | 2501807.5246 | 1144882.1019 | 2501808.4193 | 1144882.6551
56 | 2501807.5246 | 1144882.1019 | 2501854.1539 | 1144803.2984
57 | 2501811.7729 | 1144884.7287 | 2501808.4193 | 1144882.6551
58 | 2501857.954 | 1144805.4664 | 2501854.1539 | 1144803.2984
59 | 2501811.7729 | 1144884.7287 | 2501820.5356 | 1144890.1466
60 | 2501906.5878 | 1144782.2149 | 2501857.954 | 1144805.4664
61 | 2501959.5232 | 1144877.8904 | 2501940.4095 | 1144810.3598
62 | 2501940.4095 | 1144810.3598 | 2501934.3211 | 1144804.1106 | 2501928.4411 | 1144800.0894
63 | 2501890.1897 | 1144907.4159 | 2501884.0274 | 1144908.1273 | 2501868.1812 | 1144909.615
64 | 2501857.2955 | 1144913.0771 | 2501860.5245 | 1144910.3339 | 2501868.1812 | 1144909.615
65 | 2501921.6463 | 1144795.4425 | 2501928.4411 | 1144800.0894
66 | 2501921.6463 | 1144795.4425 | 2501919.285 | 1144793.8277
67 | 2501919.285 | 1144793.8277 | 2501910.7886 | 1144788.0172
68 | 2501910.7886 | 1144788.0172 | 2501910.7886 | 1144788.0172 | 2501906.5878 | 1144782.2149
69 | 2501911.0948 | 1144942.152 | 2501912.4203 | 1144942.5831
70 | 2501911.0948 | 1144942.152 | 2501883.5169 | 1144962.6138
71 | 2501940.8096 | 1144950.9624 | 2501926.33 | 1144947.1069 | 2501912.4203 | 1144942.5831
72 | 2501856.7789 | 1144984.1406 | 2501883.5169 | 1144962.6138
73 | 2501940.8096 | 1144950.9624 | 2501953.7609 | 1144954.1511
74 | 2501940.8096 | 1144950.9624 | 2501940.8383 | 1144961.1794
75 | 2501870.2153 | 1145002.7331 | 2501871.2013 | 1144996.7467 | 2501856.7789 | 1144984.1406
76 | 2501681.9655 | 1144900.9068 | 2501679.3644 | 1144894.5676 | 2501672.166 | 1144872.5083
77 | 2501822.3224 | 1145032.1015 | 2501836.97 | 1145023.4099
78 | 2501964.7826 | 1144956.8647 | 2501953.7609 | 1144954.1511
79 | 2501940.8464 | 1144964.0699 | 2501940.8383 | 1144961.1794
80 | 2501791.6002 | 1145085.1655 | 2501784.9444 | 1145068.6305 | 2501788.6773 | 1145057.6851 | 2501807.7815 | 1145040.7297 | 2501822.3224 | 1145032.1015
81 | 2501964.7826 | 1144956.8647 | 2501965.9109 | 1144959.6147 | 2501966.869 | 1144960.8777 | 2501969.2769 | 1144962.4506 | 2501978.6485 | 1144967.4011 | 2501989.2517 | 1144971.5311 | 2502018.9456 | 1144980.4868 | 2502028.1406 | 1144984.0394 | 2502038.9083 | 1144989.312
82 | 2501964.7826 | 1144956.8647 | 2501973.0638 | 1144958.3823
83 | 2501940.8464 | 1144964.0699 | 2501952.1557 | 1144968.1439 | 2501954.7269 | 1144969.8364 | 2501956.7865 | 1144971.7263 | 2501958.2715 | 1144973.7256 | 2501959.166 | 1144975.8012 | 2501959.7127 | 1144978.2271 | 2501959.6954 | 1144980.9402 | 2501959.2663 | 1144983.849
84 | 2501940.8464 | 1144964.0699 | 2501940.3134 | 1144967.2028 | 2501939.5382 | 1144969.1499 | 2501938.1874 | 1144971.1398 | 2501935.6607 | 1144974.0717 | 2501932.2154 | 1144977.2186 | 2501930.8145 | 1144978.301
85 | 2502038.9083 | 1144989.312 | 2502038.7037 | 1144995.6303 | 2502038.5364 | 1144997.1562 | 2502036.5147 | 1145001.8365 | 2502035.6511 | 1145003.0735 | 2502034.5168 | 1145003.7368 | 2502033.3002 | 1145004.0568 | 2502029.6306 | 1145003.8163 | 2502018.2679 | 1145004.9463 | 2502002.7579 | 1145007.1778
86 | 2502038.9083 | 1144989.312 | 2502044.532 | 1144992.0436
87 | 2501954.6177 | 1144991.9074 | 2501956.4924 | 1144989.9979 | 2501957.659 | 1144988.0222 | 2501958.4752 | 1144986.23 | 2501959.2663 | 1144983.849
88 | 2501909.105 | 1144992.6842 | 2501910.4336 | 1144991.6489 | 2501917.8882 | 1144986.9579 | 2501927.7909 | 1144980.6372 | 2501930.8145 | 1144978.301
89 | 2501471.7222 | 1145207.0434 | 2501399.5262 | 1145295.6317
90 | 2501471.7222 | 1145207.0434 | 2501471.7222 | 1145207.0434 | 2501474.1233 | 1145208.4889
91 | 2501453.6563 | 1145179.3773 | 2501471.7222 | 1145207.0434
92 | 2501514.5589 | 1145232.8316 | 2501474.1233 | 1145208.4889
93 | 2501453.6563 | 1145179.3773 | 2501436.0916 | 1145171.5377 | 2501430.0517 | 1145169.0993
94 | 2501568.6125 | 1145378.7766 | 2501575.1502 | 1145363.6381 | 2501582.4977 | 1145359.0152 | 2501597.0703 | 1145358.7769
95 | 2501568.6125 | 1145378.7766 | 2501635.8497 | 1145404.5269
96 | 2501600.2591 | 1145358.7248 | 2501597.0703 | 1145358.7769
97 | 2501556.4408 | 1145258.0451 | 2501597.0703 | 1145358.7769
98 | 2501658.4806 | 1145413.1941 | 2501635.8497 | 1145404.5269
99 | 2501556.4408 | 1145258.0451 | 2501554.7191 | 1145257.0086
100 | 2501658.4806 | 1145413.1941 | 2501659.7115 | 1145413.6655
101 | 2501554.7191 | 1145257.0086 | 2501537.0718 | 1145246.3847
102 | 2501677.5631 | 1145422.9147 | 2501659.7115 | 1145413.6655 | 2501659.7115 | 1145413.6655
103 | 2501356.5208 | 1145173.0618 | 2501347.9474 | 1145173.76 | 2501337.6774 | 1145174.03
104 | 2501356.5208 | 1145173.0618 | 2501364.6095 | 1145172.403
105 | 2501364.6095 | 1145172.403 | 2501372.0449 | 1145171.7975 | 2501381.6123 | 1145170.0731
106 | 2501388.3462 | 1145168.3796 | 2501385.2771 | 1145169.4126 | 2501381.6123 | 1145170.0731
107 | 2501388.3462 | 1145168.3796 | 2501395.3116 | 1145166.0351 | 2501397.0184 | 1145165.474
108 | 2501397.0184 | 1145165.474 | 2501404.9576 | 1145162.8641 | 2501411.4391 | 1145162.6023 | 2501419.1272 | 1145164.6889 | 2501430.0517 | 1145169.0993
109 | 2501518.3821 | 1145235.1333 | 2501514.5589 | 1145232.8316
110 | 2501518.3821 | 1145235.1333 | 2501535.5446 | 1145245.4654
111 | 2501535.5446 | 1145245.4654 | 2501537.0718 | 1145246.3847
112 | 2502002.7579 | 1145007.1778 | 2501963.7867 | 1145055.1207
113 | 2502044.532 | 1144992.0436 | 2502071.061 | 1145004.9296
114 | 2501895.2566 | 1145084.1382 | 2501901.2287 | 1145080.3871 | 2501916.992 | 1145072.4921 | 2501929.3174 | 1145067.7218 | 2501944.5506 | 1145062.1925 | 2501963.7867 | 1145055.1207
115 | 2501730.2146 | 1145131.1301 | 2501725.4867 | 1145131.1579
116 | 2501740.7085 | 1145131.0685 | 2501730.2146 | 1145131.1301
117 | 2501708.6987 | 1145130.7272 | 2501715.1826 | 1145131.2184 | 2501725.4867 | 1145131.1579
118 | 2501708.6987 | 1145130.7272 | 2501703.4721 | 1145130.3312 | 2501702.2003 | 1145130.0839
119 | 2501762.1459 | 1145247.6687 | 2501677.5631 | 1145422.9147
120 | 2501762.1459 | 1145247.6687 | 2501800.7885 | 1145244.2142 | 2501838.7095 | 1145239.3819 | 2501846.539 | 1145243.4699
121 | 2501683.3025 | 1145425.8884 | 2501677.5631 | 1145422.9147
122 | 2501916.4881 | 1145242.928 | 2501846.539 | 1145243.4699
123 | 2501668.8226 | 1145139.995 | 2501664.2484 | 1145146.2369 | 2501657.3906 | 1145150.9463
124 | 2501657.3906 | 1145150.9463 | 2501621.0521 | 1145175.9006
125 | 2501621.0521 | 1145175.9006 | 2501601.8895 | 1145189.0599
126 | 2501983.0737 | 1145298.7326 | 2501982.7205 | 1145298.4161
127 | 2501982.7205 | 1145298.4161 | 2501960.6887 | 1145278.6777
128 | 2501960.6887 | 1145278.6777 | 2501960.3443 | 1145278.3691
129 | 2501949.9017 | 1145269.9117 | 2501955.3509 | 1145275.1596 | 2501960.3443 | 1145278.3691
130 | 2501981.1172 | 1145243.565 | 2501957.1487 | 1145264.7572 | 2501949.9017 | 1145269.9117
131 | 2501949.9017 | 1145269.9117 | 2501938.2806 | 1145260.5269
132 | 2501981.1172 | 1145243.565 | 2501973.1295 | 1145236.8691
133 | 2501933.5512 | 1145256.7076 | 2501938.2806 | 1145260.5269
134 | 2501945.8208 | 1145213.9763 | 2501973.1295 | 1145236.8691
135 | 2501937.0192 | 1145135.7496 | 2501895.2566 | 1145084.1382
136 | 2502016.0973 | 1145135.3232 | 2502018.2543 | 1145135.3494 | 2502022.2182 | 1145146.1249 | 2502004.2156 | 1145166.0182
137 | 2501937.0192 | 1145135.7496 | 2502004.2156 | 1145166.0182
138 | 2501922.0375 | 1145194.205 | 2501937.0192 | 1145135.7496
139 | 2501922.0375 | 1145194.205 | 2501923.5285 | 1145195.4433
140 | 2501916.4881 | 1145242.928 | 2501918.609 | 1145244.6408
141 | 2501918.609 | 1145244.6408 | 2501933.5512 | 1145256.7076
142 | 2501945.8208 | 1145213.9763 | 2501943.3626 | 1145211.9156 | 2501923.5285 | 1145195.4433
143 | 2501952.7084 | 1144993.584 | 2501954.6177 | 1144991.9074 | 2501954.6177 | 1144991.9074

## bus_geodata
| x | y | coords
0 | 2501776.072 | 1144919.1188
1 | 2501776.783 | 1144918.8453
2 | 2501757.4918 | 1144926.2679
3 | 2501808.3091 | 1144920.0273
4 | 2501736.9065 | 1144898.4235
5 | 2501755.7556 | 1144927.1989
6 | 2501810.6991 | 1144919.0291
7 | 2501726.1098 | 1144893.9573
8 | 2501714.6868 | 1144943.6659
9 | 2501835.2059 | 1144899.2174
10 | 2501724.475 | 1144895.2201
11 | 2501704.9599 | 1144942.8575
12 | 2501735.1181 | 1144956.8711
13 | 2501742.8068 | 1145029.8652
14 | 2501708.1529 | 1145040.4992
15 | 2501695.524 | 1145081.0087
16 | 2501709.7508 | 1145028.1349
17 | 2501783.5285 | 1144981.3885
18 | 2501781.8668 | 1144980.7172
19 | 2501797.5369 | 1144987.9687
20 | 2501689.1529 | 1145101.445
21 | 2501710.9433 | 1145018.9069
22 | 2501768.9614 | 1144973.2116
23 | 2501822.5243 | 1145000.361
24 | 2501683.2891 | 1145120.2544
25 | 2501688.0996 | 1145017.2121
26 | 2501707.5555 | 1145001.0956
27 | 2501764.3071 | 1144969.9838
28 | 2501835.943 | 1145000.4902
29 | 2501534.2616 | 1145007.3542
30 | 2501508.5884 | 1144940.565
31 | 2501572.3384 | 1144882.9418
32 | 2501498.9155 | 1144932.9295
33 | 2501653.3789 | 1145006.3388
34 | 2501684.0921 | 1145003.8136
35 | 2501598.9527 | 1144850.1199
36 | 2501639.6655 | 1144876.8015
37 | 2501648.3864 | 1144881.3985
38 | 2501704.3707 | 1144948.8076
39 | 2501698.9066 | 1144932.0676
40 | 2501687.5556 | 1144912.7192
41 | 2501779.3774 | 1144865.1333
42 | 2501777.9398 | 1144864.2749
43 | 2501781.1175 | 1144866.1724
44 | 2501753.8569 | 1144849.6166
45 | 2501807.5246 | 1144882.1019
46 | 2501741.0825 | 1144841.1063
47 | 2501808.4193 | 1144882.6551
48 | 2501854.1539 | 1144803.2984
49 | 2501811.7729 | 1144884.7287
50 | 2501857.954 | 1144805.4664
51 | 2501959.5232 | 1144877.8904
52 | 2501940.4095 | 1144810.3598
53 | 2501890.1897 | 1144907.4159
54 | 2501868.1812 | 1144909.615
55 | 2501928.4411 | 1144800.0894
56 | 2501921.6463 | 1144795.4425
57 | 2501919.285 | 1144793.8277
58 | 2501910.7886 | 1144788.0172
59 | 2501906.5878 | 1144782.2149
60 | 2501857.2955 | 1144913.0771
61 | 2501820.5355 | 1144890.1466
62 | 2501911.0948 | 1144942.152
63 | 2501912.4203 | 1144942.5831
64 | 2501883.5169 | 1144962.6138
65 | 2501940.8096 | 1144950.9624
66 | 2501856.7789 | 1144984.1406
67 | 2501672.166 | 1144872.5083
68 | 2501681.9655 | 1144900.9068
69 | 2501870.2153 | 1145002.7331
70 | 2501836.97 | 1145023.4099
71 | 2501953.7609 | 1144954.1511
72 | 2501940.8383 | 1144961.1794
73 | 2501822.3224 | 1145032.1015
74 | 2501964.7826 | 1144956.8647
75 | 2501940.8464 | 1144964.0699
76 | 2502038.9083 | 1144989.312
77 | 2501973.0638 | 1144958.3823
78 | 2501959.2663 | 1144983.849
79 | 2501930.8145 | 1144978.301
80 | 2501717.9587 | 1144900.2533
81 | 2501657.0517 | 1144901.892
82 | 2501652.808 | 1144992.0949
83 | 2501399.5262 | 1145295.6317
84 | 2501471.7222 | 1145207.0434
85 | 2501474.1233 | 1145208.4889
86 | 2501453.6563 | 1145179.3773
87 | 2501568.6125 | 1145378.7766
88 | 2501597.0703 | 1145358.7769
89 | 2501635.8497 | 1145404.5269
90 | 2501600.2591 | 1145358.7248
91 | 2501556.4408 | 1145258.0451
92 | 2501658.4806 | 1145413.1941
93 | 2501554.7191 | 1145257.0086
94 | 2501659.7115 | 1145413.6655
95 | 2501337.6774 | 1145174.03
96 | 2501356.5208 | 1145173.0618
97 | 2501364.6095 | 1145172.403
98 | 2501381.6123 | 1145170.0731
99 | 2501388.3462 | 1145168.3796
100 | 2501397.0184 | 1145165.474
101 | 2501430.0517 | 1145169.0993
102 | 2501514.5589 | 1145232.8316
103 | 2501791.6002 | 1145085.1655
104 | 2501518.3821 | 1145235.1333
105 | 2501535.5446 | 1145245.4654
106 | 2501537.0718 | 1145246.3847
107 | 2502002.7579 | 1145007.1778
108 | 2502044.532 | 1144992.0436
109 | 2501963.7867 | 1145055.1207
110 | 2502071.061 | 1145004.9296
111 | 2501730.2146 | 1145131.1301
112 | 2501725.4867 | 1145131.1579
113 | 2501740.7085 | 1145131.0685
114 | 2501708.6987 | 1145130.7272
115 | 2501702.2003 | 1145130.0839
116 | 2501762.1459 | 1145247.6687
117 | 2501677.5631 | 1145422.9147
118 | 2501846.539 | 1145243.4699
119 | 2501668.8226 | 1145139.995
120 | 2501657.3906 | 1145150.9463
121 | 2501621.0521 | 1145175.9006
122 | 2501601.8895 | 1145189.0599
123 | 2501982.7205 | 1145298.4161
124 | 2501983.0737 | 1145298.7326
125 | 2501960.6887 | 1145278.6777
126 | 2501960.3443 | 1145278.3691
127 | 2501949.9017 | 1145269.9117
128 | 2501981.1172 | 1145243.565
129 | 2501938.2806 | 1145260.5269
130 | 2501973.1295 | 1145236.8691
131 | 2501895.2566 | 1145084.1382
132 | 2502004.2156 | 1145166.0182
133 | 2502016.0973 | 1145135.3232
134 | 2501937.0192 | 1145135.7496
135 | 2501922.0375 | 1145194.205
136 | 2501916.4881 | 1145242.928
137 | 2501918.609 | 1145244.6408
138 | 2501683.3025 | 1145425.8884
139 | 2501945.8208 | 1145213.9763
140 | 2501923.5285 | 1145195.4433
141 | 2501933.5512 | 1145256.7076
142 | 2501909.105 | 1144992.6842
143 | 2501954.6177 | 1144991.9074
144 | 2501952.7084 | 1144993.584
145 | 2501835.943 | 1145000.4902

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1