## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6413-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6413-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6413-2_0_4_node_59 | 0.4 | n |  | TRUE
3 | bus_LV_6413-2_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6413-2_0_4_node_57 | 0.4 | n |  | TRUE
5 | bus_LV_6413-2_0_4_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_6413-2_0_4_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_6413-2_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_6413-2_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6413-2_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6413-2_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6413-2_0_4_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_6413-2_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6413-2_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6413-2_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6413-2_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6413-2_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6413-2_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_6413-2_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6413-2_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6413-2_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6413-2_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_6413-2_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_6413-2_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6413-2_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_6413-2_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_6413-2_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6413-2_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6413-2_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6413-2_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6413-2_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6413-2_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6413-2_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6413-2_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_6413-2_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6413-2_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6413-2_0_4_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_6413-2_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_6413-2_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_6413-2_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6413-2_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6413-2_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6413-2_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6413-2_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_6413-2_0_4_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_6413-2_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_6413-2_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_6413-2_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_6413-2_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_6413-2_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6413-2_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6413-2_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6413-2_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6413-2_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_6413-2_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_6413-2_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_6413-2_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6413-2_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_6413-2_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_6413-2_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_6413-2_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_6413-2_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_6413-2_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_MV_320_1_node_4 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6413-2_0_4_load_0 | 0 | 0.011895 | 0.0029813 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6413-2_0_4_load_2 | 3 | 0.0077393 | 0.0019397 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6413-2_0_4_load_57 | 4 | 0.0023053 | 0.00057775 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6413-2_0_4_load_58 | 5 | 0.005878 | 0.0014732 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6413-2_0_4_load_3 | 7 | 0.0050651 | 0.0012694 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6413-2_0_4_load_6 | 10 | 0.0016975 | 0.00042543 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6413-2_0_4_load_63 | 11 | 0.001152 | 0.00028873 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6413-2_0_4_load_9 | 14 | 0.0019913 | 0.00049906 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6413-2_0_4_load_7 | 15 | 0.0013023 | 0.00032638 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6413-2_0_4_load_14 | 16 | 0.0010431 | 0.00026143 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6413-2_0_4_load_10 | 18 | 0.0013926 | 0.00034903 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6413-2_0_4_load_12 | 19 | 0.00026866 | 6.7333e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6413-2_0_4_load_13 | 20 | 0.00073438 | 0.00018405 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6413-2_0_4_load_22 | 21 | 0.0011028 | 0.00027638 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6413-2_0_4_load_23 | 22 | 0.0015947 | 0.00039967 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6413-2_0_4_load_26 | 24 | 0.00072373 | 0.00018138 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6413-2_0_4_load_17 | 26 | 0.0017883 | 0.00044819 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6413-2_0_4_load_18 | 27 | 0.00039582 | 9.9201e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6413-2_0_4_load_20 | 29 | 0.00037173 | 9.3165e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6413-2_0_4_load_21 | 30 | 0.00036431 | 9.1304e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6413-2_0_4_load_24 | 32 | 0.00084136 | 0.00021086 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6413-2_0_4_load_29 | 34 | 0.00059633 | 0.00014946 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6413-2_0_4_load_62 | 36 | 0.00054619 | 0.00013689 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6413-2_0_4_load_60 | 37 | 0.00030346 | 7.6054e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6413-2_0_4_load_31 | 39 | 0.0033593 | 0.00084191 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6413-2_0_4_load_35 | 42 | 0.0029774 | 0.00074622 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6413-2_0_4_load_51 | 43 | 0.0011044 | 0.00027678 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6413-2_0_4_load_50 | 44 | 0.0013649 | 0.00034206 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6413-2_0_4_load_38 | 45 | 0.0017111 | 0.00042884 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6413-2_0_4_load_49 | 47 | 0.0022712 | 0.00056921 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6413-2_0_4_load_36 | 48 | 0.0027169 | 0.00068093 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6413-2_0_4_load_37 | 49 | 0.0013704 | 0.00034345 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6413-2_0_4_load_39 | 50 | 0.0022334 | 0.00055974 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6413-2_0_4_load_40 | 51 | 0.0023698 | 0.00059394 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6413-2_0_4_load_41 | 52 | 0.002394 | 0.0006 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6413-2_0_4_load_43 | 56 | 0.00082898 | 0.00020776 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6413-2_0_4_load_47 | 57 | 0.0016877 | 0.00042298 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6413-2_0_4_load_48 | 58 | 0.0015109 | 0.00037868 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6413-2_0_4_load_54 | 59 | 0.0039147 | 0.00098112 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6413-2_0_4_load_52 | 60 | 0.0025119 | 0.00062955 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6413-2_0_4_load_55 | 61 | 0.0012111 | 0.00030353 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6413-2_0_4_load_56 | 62 | 0.0021826 | 0.00054702 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6413-2_0_4_line_0 |  | 0 | 1 | 0.033591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6413-2_0_4_line_1 |  | 0 | 2 | 0.44499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6413-2_0_4_line_2 |  | 1 | 3 | 0.13387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6413-2_0_4_line_3 |  | 2 | 4 | 0.27362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6413-2_0_4_line_4 |  | 3 | 7 | 0.0021552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6413-2_0_4_line_5 |  | 4 | 5 | 0.0096968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6413-2_0_4_line_6 |  | 5 | 6 | 0.92647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6413-2_0_4_line_7 |  | 6 | 55 | 0.068603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6413-2_0_4_line_8 |  | 7 | 8 | 0.19437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6413-2_0_4_line_9 |  | 8 | 9 | 0.08488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6413-2_0_4_line_10 |  | 8 | 10 | 0.04996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6413-2_0_4_line_11 |  | 9 | 11 | 0.04295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6413-2_0_4_line_12 |  | 9 | 12 | 0.046768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6413-2_0_4_line_13 |  | 12 | 13 | 0.086774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6413-2_0_4_line_14 |  | 12 | 14 | 0.01294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6413-2_0_4_line_15 |  | 13 | 16 | 0.022521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6413-2_0_4_line_16 |  | 13 | 15 | 0.0018039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6413-2_0_4_line_17 |  | 14 | 18 | 0.0096954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6413-2_0_4_line_18 |  | 16 | 17 | 0.19993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6413-2_0_4_line_19 |  | 17 | 23 | 0.12602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6413-2_0_4_line_20 |  | 18 | 19 | 0.14745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6413-2_0_4_line_21 |  | 19 | 20 | 0.032387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6413-2_0_4_line_22 |  | 20 | 21 | 0.0043378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6413-2_0_4_line_23 |  | 21 | 22 | 0.0063658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6413-2_0_4_line_24 |  | 22 | 32 | 0.039445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6413-2_0_4_line_25 |  | 23 | 24 | 0.010954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6413-2_0_4_line_26 |  | 24 | 25 | 0.077875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6413-2_0_4_line_27 |  | 25 | 35 | 0.080182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6413-2_0_4_line_28 |  | 26 | 27 | 0.10733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6413-2_0_4_line_29 |  | 26 | 28 | 0.008728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6413-2_0_4_line_30 |  | 27 | 29 | 0.034325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6413-2_0_4_line_31 |  | 28 | 30 | 0.010713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6413-2_0_4_line_32 |  | 29 | 31 | 0.038076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6413-2_0_4_line_33 |  | 30 | 32 | 0.021655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6413-2_0_4_line_34 |  | 31 | 33 | 0.041331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6413-2_0_4_line_35 |  | 33 | 34 | 0.015701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6413-2_0_4_line_36 |  | 34 | 38 | 0.9961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6413-2_0_4_line_37 |  | 35 | 36 | 0.062907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6413-2_0_4_line_38 |  | 37 | 38 | 0.14151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6413-2_0_4_line_39 |  | 39 | 40 | 0.018946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6413-2_0_4_line_40 |  | 40 | 41 | 0.016873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6413-2_0_4_line_41 |  | 40 | 42 | 0.0052738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6413-2_0_4_line_42 |  | 41 | 43 | 0.0020552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6413-2_0_4_line_43 |  | 41 | 44 | 0.011319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6413-2_0_4_line_44 |  | 42 | 45 | 0.016392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6413-2_0_4_line_45 |  | 43 | 46 | 0.020203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6413-2_0_4_line_46 |  | 44 | 47 | 0.0067917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6413-2_0_4_line_47 |  | 45 | 48 | 0.023056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6413-2_0_4_line_48 |  | 46 | 59 | 0.0094134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6413-2_0_4_line_49 |  | 46 | 60 | 0.0090624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6413-2_0_4_line_50 |  | 47 | 58 | 0.014304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6413-2_0_4_line_51 |  | 48 | 49 | 0.019189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6413-2_0_4_line_52 |  | 49 | 50 | 0.013088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6413-2_0_4_line_53 |  | 50 | 51 | 0.022256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6413-2_0_4_line_54 |  | 51 | 52 | 0.0077372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6413-2_0_4_line_55 |  | 52 | 53 | 0.022486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6413-2_0_4_line_56 |  | 53 | 54 | 0.008311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6413-2_0_4_line_57 |  | 53 | 55 | 0.01292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6413-2_0_4_line_58 |  | 54 | 56 | 0.018553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6413-2_0_4_line_59 |  | 55 | 57 | 0.028916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6413-2_0_4_line_60 |  | 59 | 61 | 0.037612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6413-2_0_4_line_61 |  | 61 | 62 | 0.016466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6413-2_0_4_trafo_58 | 0.63 MVA 20/0.4 kV | 63 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2549042.6339 | 1200985.4065 | 2549035.9327 | 1200982.4176 | 2549028.3767 | 1200978.2687 | 2549021.6926 | 1200972.8338 | 2549015.4711 | 1200966.3055
1 | 2549015.4711 | 1200966.3055 | 2548709.1826 | 1201289.1068
2 | 2549042.6339 | 1200985.4065 | 2549042.2487 | 1200994.6595 | 2549043.5969 | 1201002.7749 | 2549048.9741 | 1201009.3772 | 2549060.0387 | 1201016.1421 | 2549094.2246 | 1201033.2043 | 2549127.263 | 1201054.0677 | 2549141.1766 | 1201064.8761
3 | 2548709.1826 | 1201289.1068 | 2548704.6516 | 1201286.2108 | 2548674.2725 | 1201267.4726 | 2548636.9883 | 1201246.8374 | 2548622.7339 | 1201240.0118 | 2548606.1731 | 1201230.538 | 2548568.4447 | 1201205.2265 | 2548478.869 | 1201142.0369
4 | 2549142.8786 | 1201066.1983 | 2549141.1766 | 1201064.8761
5 | 2548478.869 | 1201142.0369 | 2548470.9454 | 1201136.4473
6 | 2548470.9454 | 1201136.4473 | 2547592.2168 | 1200842.885
7 | 2547542.0659 | 1200795.9323 | 2547569.5888 | 1200821.5716 | 2547582.9202 | 1200833.9838 | 2547592.2168 | 1200842.885
8 | 2549311.085 | 1201153.0145 | 2549272.4992 | 1201146.5056 | 2549212.1626 | 1201120.7489 | 2549174.9659 | 1201100.4319 | 2549162.9698 | 1201088.8386 | 2549151.7527 | 1201073.0919 | 2549142.8786 | 1201066.1983
9 | 2549311.085 | 1201153.0145 | 2549314.1051 | 1201157.2912 | 2549333.1458 | 1201170.2813 | 2549335.8302 | 1201174.4609 | 2549336.2805 | 1201181.7724 | 2549335.9415 | 1201200.9863 | 2549337.2984 | 1201205.6997 | 2549339.1023 | 1201206.5849 | 2549342.4547 | 1201206.0783 | 2549355.9114 | 1201199.7381
10 | 2549311.085 | 1201153.0145 | 2549360.4653 | 1201160.6005
11 | 2549355.9114 | 1201199.7381 | 2549334.1211 | 1201199.0451 | 2549312.8606 | 1201199.7929
12 | 2549402.2755 | 1201205.3144 | 2549394.7386 | 1201203.3661 | 2549374.5921 | 1201199.9463 | 2549355.9114 | 1201199.7381
13 | 2549402.2755 | 1201205.3144 | 2549407.8726 | 1201202.9322 | 2549420.2376 | 1201198.8916 | 2549440.812 | 1201197.1161 | 2549460.7291 | 1201198.6148 | 2549463.8974 | 1201197.9431 | 2549466.6944 | 1201196.563 | 2549468.2153 | 1201194.5934 | 2549469.1934 | 1201192.3505 | 2549469.2625 | 1201191.5272 | 2549469.3999 | 1201188.8801 | 2549469.524 | 1201187.356 | 2549469.6497 | 1201186.0208 | 2549469.7777 | 1201184.063 | 2549469.7894 | 1201182.7511 | 2549469.5303 | 1201176.4274
14 | 2549402.2755 | 1201205.3144 | 2549399.575 | 1201209.095 | 2549399.735 | 1201214.4856 | 2549401.2854 | 1201216.937
15 | 2549469.5303 | 1201176.4274 | 2549491.9914 | 1201178.0726
16 | 2549469.5303 | 1201176.4274 | 2549467.7351 | 1201176.2506
17 | 2549401.2854 | 1201216.937 | 2549402.5047 | 1201218.8647 | 2549409.255 | 1201221.932
18 | 2549677.1624 | 1201246.934 | 2549667.132 | 1201239.9147 | 2549661.6728 | 1201236.1141 | 2549649.5502 | 1201229.2125 | 2549627.507 | 1201217.5031 | 2549604.2612 | 1201206.7045 | 2549580.4253 | 1201197.2339 | 2549558.0564 | 1201190.2413 | 2549533.129 | 1201183.1259 | 2549509.798 | 1201179.3769 | 2549491.9914 | 1201178.0726
19 | 2549774.4378 | 1201327.2821 | 2549735.5619 | 1201296.1029 | 2549683.0563 | 1201250.8421 | 2549677.1624 | 1201246.934
20 | 2549492.4528 | 1201290.9367 | 2549499.3972 | 1201288.561 | 2549510.5749 | 1201280.0503 | 2549511.622 | 1201273.3709 | 2549509.7419 | 1201264.3817 | 2549496.9702 | 1201253.6615 | 2549439.2276 | 1201235.5516 | 2549409.255 | 1201221.932
21 | 2549462.3147 | 1201302.5802 | 2549465.5896 | 1201300.5432 | 2549483.5352 | 1201293.9873 | 2549492.4528 | 1201290.9367
22 | 2549462.3147 | 1201302.5802 | 2549458.6314 | 1201304.8713
23 | 2549458.6314 | 1201304.8713 | 2549458.6314 | 1201304.8713 | 2549456.2992 | 1201310.7945
24 | 2549456.2992 | 1201310.7945 | 2549456.2992 | 1201310.7945 | 2549457.493 | 1201316.0318 | 2549463.7051 | 1201320.6596 | 2549479.9692 | 1201325.8581 | 2549488.9971 | 1201327.8838
25 | 2549774.4378 | 1201327.2821 | 2549782.7293 | 1201334.4397
26 | 2549812.3456 | 1201391.7665 | 2549818.9243 | 1201386.6416 | 2549821.9699 | 1201379.5341 | 2549821.1789 | 1201371.4694 | 2549816.8031 | 1201364.3355 | 2549794.3342 | 1201344.4577 | 2549782.7293 | 1201334.4397
27 | 2549812.3456 | 1201391.7665 | 2549805.0044 | 1201393.118 | 2549797.3637 | 1201391.4481 | 2549786.8251 | 1201384.5995 | 2549781.0546 | 1201379.9566 | 2549772.707 | 1201374.7795 | 2549759.2091 | 1201367.2111 | 2549749.7827 | 1201362.2877 | 2549743.1273 | 1201360.1203 | 2549741.0221 | 1201359.5933
28 | 2549527.4526 | 1201341.3274 | 2549538.1864 | 1201347.9889 | 2549557.7153 | 1201361.2424 | 2549573.8697 | 1201368.7878 | 2549592.7063 | 1201373.9982 | 2549599.843 | 1201378.1736 | 2549605.6366 | 1201385.5288 | 2549611.6891 | 1201400.4425
29 | 2549520.0366 | 1201336.725 | 2549527.4526 | 1201341.3274
30 | 2549611.6891 | 1201400.4425 | 2549613.1457 | 1201404.0315 | 2549623.1359 | 1201418.0218 | 2549632.7338 | 1201427.1716
31 | 2549520.0366 | 1201336.725 | 2549510.086 | 1201332.7559
32 | 2549659.6019 | 1201454.079 | 2549655.2019 | 1201448.5907 | 2549632.7338 | 1201427.1716
33 | 2549488.9971 | 1201327.8838 | 2549509.2834 | 1201332.4358 | 2549510.086 | 1201332.7559
34 | 2549659.6019 | 1201454.079 | 2549666.4551 | 1201460.7471 | 2549671.8544 | 1201463.7922 | 2549677.6145 | 1201465.4001 | 2549683.4315 | 1201465.6289 | 2549689.2008 | 1201464.7241 | 2549696.6576 | 1201461.7595
35 | 2549696.6576 | 1201461.7595 | 2549703.5002 | 1201475.8908
36 | 2549703.5002 | 1201475.8908 | 2550303.3069 | 1202271.1586
37 | 2549741.0221 | 1201359.5933 | 2549739.1651 | 1201354.2059 | 2549715.1342 | 1201347.6937 | 2549685.1245 | 1201335.3287
38 | 2550303.3069 | 1202271.1586 | 2550321.1888 | 1202270.8983 | 2550343.4542 | 1202268.8227 | 2550371.0347 | 1202268.9375 | 2550401.0751 | 1202272.0226 | 2550413.1082 | 1202270.3548 | 2550427.7599 | 1202269.677 | 2550438.9146 | 1202270.3624 | 2550444.1889 | 1202271.8982
39 | 2547408.1231 | 1200760.6807 | 2547414.8507 | 1200745.835 | 2547415.7405 | 1200743.3421
40 | 2547408.1231 | 1200760.6807 | 2547404.8144 | 1200760.9767 | 2547399.8323 | 1200761.4209 | 2547391.3655 | 1200762.9187
41 | 2547408.1231 | 1200760.6807 | 2547413.3968 | 1200760.7161
42 | 2547391.3655 | 1200762.9187 | 2547389.3356 | 1200763.2395
43 | 2547391.3655 | 1200762.9187 | 2547391.4235 | 1200774.2373
44 | 2547429.786 | 1200760.9051 | 2547428.1521 | 1200760.8152 | 2547413.3968 | 1200760.7161
45 | 2547369.5493 | 1200767.2692 | 2547382.35 | 1200764.3435 | 2547389.3356 | 1200763.2395
46 | 2547391.4235 | 1200774.2373 | 2547391.4583 | 1200781.029
47 | 2547452.7956 | 1200762.3329 | 2547448.1971 | 1200761.917 | 2547429.786 | 1200760.9051
48 | 2547369.5493 | 1200767.2692 | 2547360.3342 | 1200765.3471
49 | 2547369.5493 | 1200767.2692 | 2547360.7147 | 1200769.2883
50 | 2547391.5316 | 1200795.333 | 2547391.4583 | 1200781.029
51 | 2547452.7956 | 1200762.3329 | 2547463.8756 | 1200763.3352 | 2547471.9014 | 1200764.1189
52 | 2547471.9014 | 1200764.1189 | 2547477.0332 | 1200764.62 | 2547484.7991 | 1200766.2344
53 | 2547484.7991 | 1200766.2344 | 2547489.0902 | 1200767.1264 | 2547498.65 | 1200769.5881 | 2547506.1665 | 1200772.3321
54 | 2547506.1665 | 1200772.3321 | 2547506.7679 | 1200772.5517 | 2547513.0975 | 1200775.7615
55 | 2547532.2481 | 1200787.5027 | 2547522.921 | 1200781.2033 | 2547513.879 | 1200776.1578 | 2547513.0975 | 1200775.7615
56 | 2547537.8498 | 1200781.3498 | 2547532.2481 | 1200787.5027
57 | 2547542.0659 | 1200795.9323 | 2547532.2481 | 1200787.5027
58 | 2547537.8498 | 1200781.3498 | 2547555.6777 | 1200785.6844 | 2547555.8268 | 1200785.826
59 | 2547542.0659 | 1200795.9323 | 2547539.1819 | 1200802.0945 | 2547551.2746 | 1200820.6076
60 | 2547360.3342 | 1200765.3471 | 2547323.5148 | 1200757.6671
61 | 2547323.5148 | 1200757.6671 | 2547307.3956 | 1200754.3049

## bus_geodata
| x | y | coords
0 | 2549015.4711 | 1200966.3055
1 | 2549042.6339 | 1200985.4065
2 | 2548709.1826 | 1201289.1068
3 | 2549141.1766 | 1201064.8761
4 | 2548478.869 | 1201142.0369
5 | 2548470.9454 | 1201136.4473
6 | 2547592.2168 | 1200842.885
7 | 2549142.8786 | 1201066.1983
8 | 2549311.085 | 1201153.0145
9 | 2549355.9114 | 1201199.7381
10 | 2549360.4653 | 1201160.6005
11 | 2549312.8606 | 1201199.7929
12 | 2549402.2755 | 1201205.3144
13 | 2549469.5303 | 1201176.4274
14 | 2549401.2854 | 1201216.937
15 | 2549467.7351 | 1201176.2506
16 | 2549491.9914 | 1201178.0726
17 | 2549677.1624 | 1201246.934
18 | 2549409.255 | 1201221.932
19 | 2549492.4528 | 1201290.9367
20 | 2549462.3147 | 1201302.5802
21 | 2549458.6314 | 1201304.8713
22 | 2549456.2992 | 1201310.7945
23 | 2549774.4378 | 1201327.2821
24 | 2549782.7293 | 1201334.4397
25 | 2549812.3456 | 1201391.7665
26 | 2549527.4526 | 1201341.3274
27 | 2549611.6891 | 1201400.4425
28 | 2549520.0366 | 1201336.725
29 | 2549632.7338 | 1201427.1716
30 | 2549510.086 | 1201332.7559
31 | 2549659.6019 | 1201454.079
32 | 2549488.9971 | 1201327.8838
33 | 2549696.6576 | 1201461.7595
34 | 2549703.5002 | 1201475.8908
35 | 2549741.0221 | 1201359.5933
36 | 2549685.1245 | 1201335.3287
37 | 2550444.1889 | 1202271.8982
38 | 2550303.3069 | 1202271.1586
39 | 2547415.7405 | 1200743.3421
40 | 2547408.1231 | 1200760.6807
41 | 2547391.3655 | 1200762.9187
42 | 2547413.3968 | 1200760.7161
43 | 2547389.3356 | 1200763.2395
44 | 2547391.4235 | 1200774.2373
45 | 2547429.786 | 1200760.9051
46 | 2547369.5493 | 1200767.2692
47 | 2547391.4583 | 1200781.029
48 | 2547452.7956 | 1200762.3329
49 | 2547471.9014 | 1200764.1189
50 | 2547484.7991 | 1200766.2344
51 | 2547506.1665 | 1200772.3321
52 | 2547513.0975 | 1200775.7615
53 | 2547532.2481 | 1200787.5027
54 | 2547537.8498 | 1200781.3498
55 | 2547542.0659 | 1200795.9323
56 | 2547555.8268 | 1200785.826
57 | 2547551.2746 | 1200820.6076
58 | 2547391.5316 | 1200795.333
59 | 2547360.3342 | 1200765.3471
60 | 2547360.7147 | 1200769.2883
61 | 2547323.5148 | 1200757.6671
62 | 2547307.3956 | 1200754.3049
63 | 2548709.1826 | 1201289.1068

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1