## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6487-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6487-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6487-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6487-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6487-14_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6487-14_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6487-14_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6487-14_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6487-14_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6487-14_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6487-14_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6487-14_0_3_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_6487-14_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_6487-14_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6487-14_0_3_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_6487-14_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6487-14_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_6487-14_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6487-14_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_6487-14_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6487-14_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6487-14_0_3_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_6487-14_0_3_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_6487-14_0_3_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_6487-14_0_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_6487-14_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6487-14_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_6487-14_0_3_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_6487-14_0_3_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_6487-14_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6487-14_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6487-14_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_6487-14_0_3_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_6487-14_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_6487-14_0_3_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_6487-14_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_6487-14_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_6487-14_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6487-14_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6487-14_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_6487-14_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6487-14_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_6487-14_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_6487-14_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_6487-14_0_3_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_6487-14_0_3_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_6487-14_0_3_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_6487-14_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6487-14_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_6487-14_0_3_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_6487-14_0_3_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_6487-14_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6487-14_0_3_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_6487-14_0_3_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_6487-14_0_3_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_6487-14_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_6487-14_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_6487-14_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_6487-14_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_6487-14_0_3_node_93 | 0.4 | n |  | TRUE
60 | bus_LV_6487-14_0_3_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_6487-14_0_3_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_6487-14_0_3_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_6487-14_0_3_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_6487-14_0_3_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_6487-14_0_3_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_6487-14_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_6487-14_0_3_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_6487-14_0_3_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_6487-14_0_3_node_91 | 0.4 | n |  | TRUE
70 | bus_MV_326_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6487-14_0_3_load_0 | 0 | 0.00022254 | 5.5773e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6487-14_0_3_load_1 | 1 | 0.00084552 | 0.00021191 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6487-14_0_3_load_4 | 4 | 0.0018521 | 0.00046418 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6487-14_0_3_load_5 | 5 | 0.0026364 | 0.00066073 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6487-14_0_3_load_6 | 6 | 0.0064779 | 0.0016235 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6487-14_0_3_load_7 | 7 | 0.00022254 | 5.5773e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6487-14_0_3_load_8 | 8 | 0.0057475 | 0.0014405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6487-14_0_3_load_12 | 9 | 0.0044119 | 0.0011057 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6487-14_0_3_load_9 | 10 | 0.020807 | 0.0052148 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6487-14_0_3_load_76 | 11 | 0.00062119 | 0.00015568 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6487-14_0_3_load_17 | 12 | 0.014929 | 0.0037417 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6487-14_0_3_load_10 | 13 | 0.00022269 | 5.5811e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6487-14_0_3_load_74 | 14 | 0.0039825 | 0.0009981 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6487-14_0_3_load_11 | 15 | 0.020775 | 0.0052068 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6487-14_0_3_load_16 | 16 | 0.020775 | 0.0052068 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6487-14_0_3_load_14 | 17 | 0.02079 | 0.0052104 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6487-14_0_3_load_13 | 19 | 0.02079 | 0.0052103 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6487-14_0_3_load_15 | 20 | 0.04233 | 0.010609 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6487-14_0_3_load_29 | 21 | 0.0044912 | 0.0011256 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6487-14_0_3_load_25 | 22 | 0.0095796 | 0.0024009 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6487-14_0_3_load_19 | 25 | 0.00090307 | 0.00022633 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6487-14_0_3_load_20 | 26 | 0.00074907 | 0.00018773 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6487-14_0_3_load_71 | 27 | 0.00075286 | 0.00018868 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6487-14_0_3_load_47 | 32 | 0.065616 | 0.016445 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6487-14_0_3_load_39 | 33 | 0.0040356 | 0.0010114 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6487-14_0_3_load_61 | 34 | 0.0013468 | 0.00033755 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6487-14_0_3_load_40 | 35 | 0.0016275 | 0.0004079 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6487-14_0_3_load_28 | 36 | 0.038441 | 0.0096341 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6487-14_0_3_load_31 | 38 | 0.0035406 | 0.00088737 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6487-14_0_3_load_32 | 39 | 0.02524 | 0.0063258 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6487-14_0_3_load_30 | 40 | 0.0040389 | 0.0010122 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6487-14_0_3_load_37 | 41 | 0.0081647 | 0.0020463 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6487-14_0_3_load_38 | 42 | 0.0037089 | 0.00092955 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6487-14_0_3_load_34 | 43 | 0.0078246 | 0.001961 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6487-14_0_3_load_64 | 44 | 0.00091705 | 0.00022983 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6487-14_0_3_load_79 | 46 | 0.0022028 | 0.00055208 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6487-14_0_3_load_35 | 47 | 0.0019909 | 0.00049896 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6487-14_0_3_load_36 | 48 | 0.0043695 | 0.0010951 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6487-14_0_3_load_81 | 50 | 0.010965 | 0.0027481 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6487-14_0_3_load_77 | 52 | 0.002308 | 0.00057843 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6487-14_0_3_load_75 | 53 | 0.00051851 | 0.00012995 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6487-14_0_3_load_62 | 54 | 0.0013027 | 0.00032649 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6487-14_0_3_load_55 | 55 | 0.00074198 | 0.00018596 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6487-14_0_3_load_57 | 56 | 0.003586 | 0.00089873 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6487-14_0_3_load_60 | 58 | 0.0026513 | 0.00066447 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6487-14_0_3_load_93 | 59 | 0.00048443 | 0.00012141 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6487-14_0_3_load_92 | 60 | 0.0024692 | 0.00061883 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6487-14_0_3_load_63 | 61 | 0.0012078 | 0.00030269 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6487-14_0_3_load_73 | 62 | 0.0012909 | 0.00032353 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6487-14_0_3_load_72 | 63 | 0.001311 | 0.00032856 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6487-14_0_3_load_67 | 64 | 0.0011579 | 0.00029019 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6487-14_0_3_load_68 | 65 | 0.0034758 | 0.00087113 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6487-14_0_3_load_69 | 66 | 0.0010523 | 0.00026372 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6487-14_0_3_load_89 | 67 | 0.0025349 | 0.00063531 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6487-14_0_3_load_90 | 68 | 0.0023694 | 0.00059382 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6487-14_0_3_load_91 | 69 | 0.0024014 | 0.00060185 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6487-14_0_3_line_0 |  | 0 | 1 | 0.016991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6487-14_0_3_line_1 |  | 0 | 2 | 0.040784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6487-14_0_3_line_2 |  | 1 | 3 | 0.014317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6487-14_0_3_line_3 |  | 2 | 4 | 0.054259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6487-14_0_3_line_4 |  | 2 | 5 | 0.080879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6487-14_0_3_line_5 |  | 3 | 6 | 0.020705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6487-14_0_3_line_6 |  | 3 | 7 | 0.024033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6487-14_0_3_line_7 |  | 4 | 8 | 0.02629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6487-14_0_3_line_8 |  | 6 | 9 | 0.032706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6487-14_0_3_line_9 |  | 7 | 10 | 0.018251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6487-14_0_3_line_10 |  | 8 | 11 | 0.031684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6487-14_0_3_line_11 |  | 9 | 12 | 0.0077181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6487-14_0_3_line_12 |  | 10 | 13 | 0.01411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6487-14_0_3_line_13 |  | 11 | 14 | 0.068413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6487-14_0_3_line_14 |  | 12 | 18 | 0.029674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6487-14_0_3_line_15 |  | 13 | 15 | 0.00036793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6487-14_0_3_line_16 |  | 14 | 53 | 0.031673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6487-14_0_3_line_17 |  | 15 | 16 | 0.011682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6487-14_0_3_line_18 |  | 16 | 17 | 0.02001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6487-14_0_3_line_19 |  | 17 | 19 | 0.00071968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6487-14_0_3_line_20 |  | 18 | 21 | 0.020274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6487-14_0_3_line_21 |  | 18 | 22 | 0.04161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6487-14_0_3_line_22 |  | 19 | 20 | 0.0020939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6487-14_0_3_line_23 |  | 21 | 23 | 0.015961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6487-14_0_3_line_24 |  | 22 | 24 | 0.02107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6487-14_0_3_line_25 |  | 23 | 44 | 0.028166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6487-14_0_3_line_26 |  | 23 | 45 | 0.039658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6487-14_0_3_line_27 |  | 24 | 37 | 0.006096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6487-14_0_3_line_28 |  | 24 | 36 | 0.015603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6487-14_0_3_line_29 |  | 25 | 26 | 0.0084395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6487-14_0_3_line_30 |  | 26 | 27 | 0.019456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6487-14_0_3_line_31 |  | 27 | 28 | 0.060872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6487-14_0_3_line_32 |  | 28 | 63 | 0.038976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6487-14_0_3_line_33 |  | 28 | 65 | 0.021828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6487-14_0_3_line_34 |  | 29 | 30 | 0.014791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6487-14_0_3_line_35 |  | 29 | 31 | 0.017417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6487-14_0_3_line_36 |  | 30 | 32 | 0.015454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6487-14_0_3_line_37 |  | 31 | 33 | 0.0083363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6487-14_0_3_line_38 |  | 32 | 34 | 0.042702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6487-14_0_3_line_39 |  | 33 | 35 | 0.039323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6487-14_0_3_line_40 |  | 34 | 54 | 0.019643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6487-14_0_3_line_41 |  | 35 | 42 | 0.00031631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6487-14_0_3_line_42 |  | 37 | 38 | 0.044283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6487-14_0_3_line_43 |  | 37 | 39 | 0.043731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6487-14_0_3_line_44 |  | 38 | 42 | 0.0028227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6487-14_0_3_line_45 |  | 39 | 43 | 0.017878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6487-14_0_3_line_46 |  | 40 | 41 | 0.0016632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6487-14_0_3_line_47 |  | 41 | 46 | 0.036481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6487-14_0_3_line_48 |  | 43 | 47 | 0.041898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6487-14_0_3_line_49 |  | 45 | 46 | 0.016234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6487-14_0_3_line_50 |  | 47 | 48 | 0.010509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6487-14_0_3_line_51 |  | 48 | 49 | 0.041275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6487-14_0_3_line_52 |  | 49 | 50 | 0.031247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6487-14_0_3_line_53 |  | 49 | 51 | 0.094382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6487-14_0_3_line_54 |  | 51 | 57 | 0.078085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6487-14_0_3_line_55 |  | 51 | 55 | 0.051879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6487-14_0_3_line_56 |  | 52 | 53 | 0.0065479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6487-14_0_3_line_57 |  | 54 | 61 | 0.010714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6487-14_0_3_line_58 |  | 55 | 56 | 0.11706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6487-14_0_3_line_59 |  | 57 | 58 | 0.044044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6487-14_0_3_line_60 |  | 58 | 59 | 0.00026262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6487-14_0_3_line_61 |  | 59 | 60 | 0.012381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6487-14_0_3_line_62 |  | 60 | 69 | 3.5599e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6487-14_0_3_line_63 |  | 61 | 62 | 0.01104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6487-14_0_3_line_64 |  | 62 | 63 | 0.0018228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6487-14_0_3_line_65 |  | 64 | 65 | 0.0033683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6487-14_0_3_line_66 |  | 64 | 66 | 0.052886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6487-14_0_3_line_67 |  | 67 | 68 | 0.00049524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6487-14_0_3_line_68 |  | 68 | 69 | 0.012312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6487-14_0_3_trafo_28 | 0.63 MVA 20/0.4 kV | 70 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2559239.4889 | 1210289.0977 | 2559226.4851 | 1210300.0343
1 | 2559275.3892 | 1210269.9946 | 2559243.1162 | 1210286.047 | 2559239.4889 | 1210289.0977
2 | 2559215.5283 | 1210309.2494 | 2559226.4851 | 1210300.0343
3 | 2559275.3892 | 1210269.9946 | 2559288.0379 | 1210263.7044 | 2559325.956 | 1210250.5575
4 | 2559227.6245 | 1210204.6394 | 2559275.3892 | 1210269.9946
5 | 2559215.5283 | 1210309.2494 | 2559200.5783 | 1210323.5733
6 | 2559215.5283 | 1210309.2494 | 2559200.3152 | 1210290.6438
7 | 2559325.956 | 1210250.5575 | 2559350.795 | 1210241.9453
8 | 2559176.9627 | 1210346.1999 | 2559200.5783 | 1210323.5733
9 | 2559200.3152 | 1210290.6438 | 2559188.7623 | 1210276.5146
10 | 2559350.795 | 1210241.9453 | 2559364.5469 | 1210237.1773 | 2559380.2411 | 1210230.3138
11 | 2559176.9627 | 1210346.1999 | 2559171.3897 | 1210351.5395
12 | 2559188.7623 | 1210276.5146 | 2559179.8305 | 1210265.591
13 | 2559436.373 | 1210192.3386 | 2559426.7663 | 1210202.4994 | 2559397.1898 | 1210222.9018 | 2559380.2411 | 1210230.3138
14 | 2559149.9631 | 1210372.0687 | 2559171.3897 | 1210351.5395
15 | 2559179.5976 | 1210265.3062 | 2559179.8305 | 1210265.591
16 | 2559436.373 | 1210192.3386 | 2559458.1328 | 1210169.3237
17 | 2559172.203 | 1210256.2626 | 2559179.5976 | 1210265.3062
18 | 2559159.5368 | 1210240.7718 | 2559172.203 | 1210256.2626
19 | 2559159.0812 | 1210240.2147 | 2559159.5368 | 1210240.7718
20 | 2559149.9631 | 1210372.0687 | 2559147.4031 | 1210381.0804 | 2559143.474 | 1210391.2541
21 | 2559149.9631 | 1210372.0687 | 2559150.5231 | 1210366.1948 | 2559150.1211 | 1210357.4592 | 2559148.1031 | 1210350.2244 | 2559141.1704 | 1210335.5969 | 2559139.3588 | 1210332.8791
22 | 2559157.7558 | 1210238.5937 | 2559159.0812 | 1210240.2147
23 | 2559136.1785 | 1210405.4493 | 2559138.9673 | 1210399.8713 | 2559141.8403 | 1210394.3929 | 2559143.4381 | 1210391.3468 | 2559143.474 | 1210391.2541
24 | 2559127.4969 | 1210315.468 | 2559132.1707 | 1210322.0953 | 2559139.3588 | 1210332.8791
25 | 2559136.1785 | 1210405.4493 | 2559144.1398 | 1210413.8439 | 2559152.2283 | 1210428.3366
26 | 2559110.6933 | 1210434.7968 | 2559116.0069 | 1210432.7925 | 2559136.1785 | 1210405.4493
27 | 2559127.4969 | 1210315.468 | 2559122.1902 | 1210318.4951
28 | 2559127.4969 | 1210315.468 | 2559118.7499 | 1210302.5475
29 | 2559202.2876 | 1210102.1419 | 2559208.1766 | 1210096.0965
30 | 2559223.8218 | 1210084.5304 | 2559208.1766 | 1210096.0965
31 | 2559181.6071 | 1210128.2664 | 2559202.8186 | 1210108.2872 | 2559214.8686 | 1210095.5528 | 2559223.8218 | 1210084.5304
32 | 2559181.6071 | 1210128.2664 | 2559174.0427 | 1210134.5663 | 2559152.31 | 1210153.9664
33 | 2559181.6071 | 1210128.2664 | 2559197.9089 | 1210142.7818
34 | 2559074.6907 | 1210224.5006 | 2559074.737 | 1210227.9134 | 2559078.8074 | 1210228.5636 | 2559081.7029 | 1210228.5436 | 2559086.0393 | 1210228.0913
35 | 2559068.6209 | 1210240.3293 | 2559071.3927 | 1210235.5964 | 2559073.7924 | 1210232.0112 | 2559074.737 | 1210227.9134 | 2559074.6907 | 1210224.5006
36 | 2559086.0393 | 1210228.0913 | 2559087.902 | 1210221.5637 | 2559089.9147 | 1210215.8576 | 2559091.111 | 1210213.5324
37 | 2559068.6209 | 1210240.3293 | 2559074.2914 | 1210246.4399
38 | 2559091.111 | 1210213.5324 | 2559093.0946 | 1210209.6767 | 2559096.9803 | 1210203.3574 | 2559120.0678 | 1210182.748
39 | 2559074.2914 | 1210246.4399 | 2559084.0185 | 1210256.9219 | 2559097.201 | 1210278.1916
40 | 2559120.0678 | 1210182.748 | 2559134.7214 | 1210169.6672
41 | 2559097.201 | 1210278.1916 | 2559097.3676 | 1210278.4604
42 | 2559122.1902 | 1210318.4951 | 2559107.12 | 1210294.1957 | 2559098.8546 | 1210280.8597
43 | 2559122.1902 | 1210318.4951 | 2559121.3424 | 1210318.979 | 2559086.4271 | 1210343.6547
44 | 2559097.3676 | 1210278.4604 | 2559098.8546 | 1210280.8597
45 | 2559086.4271 | 1210343.6547 | 2559071.8273 | 1210353.9729
46 | 2559138.7514 | 1210391.3721 | 2559139.3925 | 1210389.8373
47 | 2559138.7514 | 1210391.3721 | 2559136.5736 | 1210396.5859 | 2559131.3585 | 1210405.1822 | 2559122.6201 | 1210417.5271 | 2559118.3737 | 1210421.2561
48 | 2559071.8273 | 1210353.9729 | 2559071.8273 | 1210353.9729 | 2559063.0253 | 1210355.9568 | 2559043.2516 | 1210368.2222 | 2559036.5879 | 1210375.142
49 | 2559110.6933 | 1210434.7968 | 2559110.6371 | 1210432.1401 | 2559114.4919 | 1210424.6649 | 2559118.3737 | 1210421.2561
50 | 2559036.5879 | 1210375.142 | 2559032.431 | 1210379.4587 | 2559028.4813 | 1210381.648
51 | 2558992.3815 | 1210401.6585 | 2559028.4813 | 1210381.648
52 | 2558992.3815 | 1210401.6585 | 2559000.8452 | 1210405.7247 | 2559008.7666 | 1210413.8081 | 2559014.607 | 1210422.5814
53 | 2558992.3815 | 1210401.6585 | 2558985.2824 | 1210399.3171 | 2558933.7991 | 1210362.5621 | 2558917.4018 | 1210351.9802 | 2558920.338 | 1210349.0694
54 | 2558975.8391 | 1210293.988 | 2558920.338 | 1210349.0694
55 | 2558920.338 | 1210349.0694 | 2558962.7169 | 1210378.9927
56 | 2559458.1328 | 1210169.3237 | 2559462.6313 | 1210164.5657
57 | 2559134.7214 | 1210169.6672 | 2559142.7142 | 1210162.5322
58 | 2559057.4061 | 1210350.0031 | 2559049.7364 | 1210355.3034 | 2559046.6194 | 1210358.46 | 2559027.8807 | 1210373.1197 | 2559027.5607 | 1210377.4244 | 2559001.8951 | 1210392.6655 | 2558998.5901 | 1210394.9896 | 2558995.4621 | 1210396.5454 | 2558991.0765 | 1210396.4644 | 2558984.8952 | 1210393.85 | 2558975.9732 | 1210388.3527 | 2558962.7169 | 1210378.9927
59 | 2558975.8391 | 1210293.988 | 2559006.8078 | 1210325.3056
60 | 2559006.8078 | 1210325.3056 | 2559006.9925 | 1210325.4924
61 | 2559006.9925 | 1210325.4924 | 2559015.6979 | 1210334.2958
62 | 2559015.6979 | 1210334.2958 | 2559015.7229 | 1210334.3211
63 | 2559142.7142 | 1210162.5322 | 2559150.9502 | 1210155.1803
64 | 2559152.31 | 1210153.9664 | 2559150.9502 | 1210155.1803
65 | 2559200.4245 | 1210145.0217 | 2559197.9089 | 1210142.7818
66 | 2559241.881 | 1210142.3836 | 2559219.1922 | 1210159.7269 | 2559216.8203 | 1210159.6208 | 2559200.4245 | 1210145.0217
67 | 2559024.38 | 1210343.0757 | 2559024.7283 | 1210343.4279
68 | 2559015.7229 | 1210334.3211 | 2559024.38 | 1210343.0757

## bus_geodata
| x | y | coords
0 | 2559239.4889 | 1210289.0977
1 | 2559226.4851 | 1210300.0343
2 | 2559275.3892 | 1210269.9946
3 | 2559215.5283 | 1210309.2494
4 | 2559325.956 | 1210250.5575
5 | 2559227.6245 | 1210204.6394
6 | 2559200.5783 | 1210323.5733
7 | 2559200.3152 | 1210290.6438
8 | 2559350.795 | 1210241.9453
9 | 2559176.9627 | 1210346.1999
10 | 2559188.7623 | 1210276.5146
11 | 2559380.2411 | 1210230.3138
12 | 2559171.3897 | 1210351.5395
13 | 2559179.8305 | 1210265.591
14 | 2559436.373 | 1210192.3386
15 | 2559179.5976 | 1210265.3062
16 | 2559172.203 | 1210256.2626
17 | 2559159.5368 | 1210240.7718
18 | 2559149.9631 | 1210372.0687
19 | 2559159.0812 | 1210240.2147
20 | 2559157.7558 | 1210238.5937
21 | 2559143.474 | 1210391.2541
22 | 2559139.3588 | 1210332.8791
23 | 2559136.1785 | 1210405.4493
24 | 2559127.4969 | 1210315.468
25 | 2559202.2876 | 1210102.1419
26 | 2559208.1766 | 1210096.0965
27 | 2559223.8218 | 1210084.5304
28 | 2559181.6071 | 1210128.2664
29 | 2559074.6907 | 1210224.5006
30 | 2559086.0393 | 1210228.0913
31 | 2559068.6209 | 1210240.3293
32 | 2559091.111 | 1210213.5324
33 | 2559074.2914 | 1210246.4399
34 | 2559120.0678 | 1210182.748
35 | 2559097.201 | 1210278.1916
36 | 2559118.7499 | 1210302.5475
37 | 2559122.1902 | 1210318.4951
38 | 2559098.8546 | 1210280.8597
39 | 2559086.4271 | 1210343.6547
40 | 2559139.3925 | 1210389.8373
41 | 2559138.7514 | 1210391.3721
42 | 2559097.3676 | 1210278.4604
43 | 2559071.8273 | 1210353.9729
44 | 2559152.2283 | 1210428.3366
45 | 2559110.6933 | 1210434.7968
46 | 2559118.3737 | 1210421.2561
47 | 2559036.5879 | 1210375.142
48 | 2559028.4813 | 1210381.648
49 | 2558992.3815 | 1210401.6585
50 | 2559014.607 | 1210422.5814
51 | 2558920.338 | 1210349.0694
52 | 2559462.6313 | 1210164.5657
53 | 2559458.1328 | 1210169.3237
54 | 2559134.7214 | 1210169.6672
55 | 2558962.7169 | 1210378.9927
56 | 2559057.4061 | 1210350.0031
57 | 2558975.8391 | 1210293.988
58 | 2559006.8078 | 1210325.3056
59 | 2559006.9925 | 1210325.4924
60 | 2559015.6979 | 1210334.2958
61 | 2559142.7142 | 1210162.5322
62 | 2559150.9502 | 1210155.1803
63 | 2559152.31 | 1210153.9664
64 | 2559200.4245 | 1210145.0217
65 | 2559197.9089 | 1210142.7818
66 | 2559241.881 | 1210142.3836
67 | 2559024.7283 | 1210343.4279
68 | 2559024.38 | 1210343.0757
69 | 2559015.7229 | 1210334.3211
70 | 2559127.4969 | 1210315.468

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1