## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6487-23_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6487-23_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6487-23_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6487-23_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6487-23_0_6_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_6487-23_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_6487-23_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6487-23_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6487-23_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6487-23_0_6_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_6487-23_0_6_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_6487-23_0_6_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_6487-23_0_6_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_6487-23_0_6_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_6487-23_0_6_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_6487-23_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6487-23_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6487-23_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6487-23_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6487-23_0_6_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_6487-23_0_6_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_6487-23_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6487-23_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6487-23_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6487-23_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6487-23_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6487-23_0_6_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6487-23_0_6_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_6487-23_0_6_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_6487-23_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6487-23_0_6_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_6487-23_0_6_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_6487-23_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6487-23_0_6_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6487-23_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6487-23_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6487-23_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6487-23_0_6_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6487-23_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_6487-23_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_6487-23_0_6_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_6487-23_0_6_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_6487-23_0_6_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_6487-23_0_6_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_6487-23_0_6_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_6487-23_0_6_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_6487-23_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_6487-23_0_6_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_6487-23_0_6_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_6487-23_0_6_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_6487-23_0_6_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_6487-23_0_6_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_6487-23_0_6_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_6487-23_0_6_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_6487-23_0_6_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_6487-23_0_6_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_6487-23_0_6_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6487-23_0_6_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_6487-23_0_6_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_6487-23_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6487-23_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_6487-23_0_6_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_6487-23_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_6487-23_0_6_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_6487-23_0_6_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_6487-23_0_6_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_6487-23_0_6_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_6487-23_0_6_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_6487-23_0_6_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_6487-23_0_6_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_6487-23_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_6487-23_0_6_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_6487-23_0_6_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_6487-23_0_6_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_6487-23_0_6_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_6487-23_0_6_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_6487-23_0_6_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_6487-23_0_6_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_6487-23_0_6_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_6487-23_0_6_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_6487-23_0_6_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_6487-23_0_6_node_80 | 0.4 | n |  | TRUE
82 | bus_MV_326_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6487-23_0_6_load_0 | 0 | 0.0020947 | 0.00052498 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6487-23_0_6_load_1 | 1 | 0.0034126 | 0.00085527 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6487-23_0_6_load_3 | 3 | 0.0017488 | 0.00043828 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6487-23_0_6_load_13 | 5 | 0.0058771 | 0.0014729 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6487-23_0_6_load_21 | 9 | 0.0039902 | 0.001 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6487-23_0_6_load_24 | 10 | 0.00062501 | 0.00015664 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6487-23_0_6_load_34 | 11 | 0.0062917 | 0.0015768 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6487-23_0_6_load_72 | 12 | 0.0063655 | 0.0015953 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6487-23_0_6_load_33 | 14 | 0.0041979 | 0.0010521 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6487-23_0_6_load_35 | 19 | 0.025384 | 0.0063618 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6487-23_0_6_load_36 | 20 | 0.0088356 | 0.0022144 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6487-23_0_6_load_14 | 21 | 0.0020174 | 0.0005056 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6487-23_0_6_load_17 | 22 | 0.0027678 | 0.00069368 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6487-23_0_6_load_16 | 24 | 0.004332 | 0.0010857 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6487-23_0_6_load_20 | 25 | 0.0027029 | 0.00067741 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6487-23_0_6_load_25 | 26 | 0.0032589 | 0.00081675 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6487-23_0_6_load_56 | 27 | 0.040577 | 0.01017 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6487-23_0_6_load_77 | 28 | 0.0014346 | 0.00035954 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6487-23_0_6_load_23 | 29 | 0.0042169 | 0.0010569 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6487-23_0_6_load_37 | 30 | 0.0069209 | 0.0017345 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6487-23_0_6_load_15 | 31 | 0.0042371 | 0.0010619 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6487-23_0_6_load_22 | 32 | 0.0018442 | 0.0004622 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6487-23_0_6_load_26 | 33 | 0.0067074 | 0.001681 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6487-23_0_6_load_27 | 34 | 0.016567 | 0.004152 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6487-23_0_6_load_28 | 35 | 0.0019176 | 0.0004806 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6487-23_0_6_load_29 | 36 | 0.0019115 | 0.00047907 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6487-23_0_6_load_30 | 37 | 0.0055609 | 0.0013937 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6487-23_0_6_load_32 | 38 | 0.0055321 | 0.0013865 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6487-23_0_6_load_38 | 39 | 0.0031175 | 0.00078133 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6487-23_0_6_load_39 | 40 | 0.0018091 | 0.0004534 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6487-23_0_6_load_42 | 43 | 0.004578 | 0.0011474 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6487-23_0_6_load_45 | 45 | 0.0016573 | 0.00041536 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6487-23_0_6_load_43 | 46 | 0.0018069 | 0.00045285 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6487-23_0_6_load_87 | 47 | 0.0058325 | 0.0014618 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6487-23_0_6_load_46 | 49 | 0.00083405 | 0.00020903 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6487-23_0_6_load_71 | 51 | 0.0006364 | 0.0001595 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6487-23_0_6_load_57 | 54 | 0.00053549 | 0.00013421 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6487-23_0_6_load_67 | 55 | 0.032937 | 0.0082549 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6487-23_0_6_load_52 | 56 | 0.00076884 | 0.00019269 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6487-23_0_6_load_58 | 57 | 0.000552 | 0.00013834 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6487-23_0_6_load_73 | 58 | 0.00033072 | 8.2887e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6487-23_0_6_load_49 | 59 | 0.049405 | 0.012382 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6487-23_0_6_load_50 | 60 | 0.031389 | 0.007867 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6487-23_0_6_load_51 | 61 | 0.026847 | 0.0067285 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6487-23_0_6_load_53 | 62 | 0.002702 | 0.00067717 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6487-23_0_6_load_64 | 65 | 0.0044761 | 0.0011218 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6487-23_0_6_load_54 | 66 | 0.0028002 | 0.0007018 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6487-23_0_6_load_55 | 67 | 0.017863 | 0.0044769 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6487-23_0_6_load_59 | 68 | 0.001062 | 0.00026617 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6487-23_0_6_load_66 | 69 | 0.00060081 | 0.00015058 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6487-23_0_6_load_61 | 70 | 0.0014877 | 0.00037286 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6487-23_0_6_load_62 | 71 | 0.0025493 | 0.00063892 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6487-23_0_6_load_83 | 72 | 0.0016002 | 0.00040104 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6487-23_0_6_load_84 | 73 | 0.0017573 | 0.00044042 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6487-23_0_6_load_68 | 74 | 0.030658 | 0.0076837 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6487-23_0_6_load_85 | 75 | 0.0017596 | 0.00044099 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6487-23_0_6_load_82 | 76 | 0.00067765 | 0.00016983 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6487-23_0_6_load_76 | 78 | 0.0070265 | 0.001761 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6487-23_0_6_load_86 | 79 | 0.0053861 | 0.0013499 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6487-23_0_6_load_79 | 80 | 0.0035336 | 0.00088561 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6487-23_0_6_line_0 |  | 0 | 1 | 0.0078954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6487-23_0_6_line_1 |  | 0 | 2 | 0.048957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6487-23_0_6_line_2 |  | 1 | 3 | 0.0002401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6487-23_0_6_line_3 |  | 2 | 4 | 0.085305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6487-23_0_6_line_4 |  | 3 | 5 | 0.018141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6487-23_0_6_line_5 |  | 4 | 14 | 0.074223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6487-23_0_6_line_6 |  | 5 | 21 | 0.019202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6487-23_0_6_line_7 |  | 6 | 7 | 0.031122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6487-23_0_6_line_8 |  | 6 | 8 | 0.22839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6487-23_0_6_line_9 |  | 6 | 9 | 0.025017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6487-23_0_6_line_10 |  | 6 | 10 | 0.021437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6487-23_0_6_line_11 |  | 7 | 11 | 0.011572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6487-23_0_6_line_12 |  | 8 | 12 | 0.048456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_6487-23_0_6_line_13 |  | 8 | 13 | 0.00607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6487-23_0_6_line_14 |  | 9 | 25 | 0.00018528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_6487-23_0_6_line_15 |  | 10 | 26 | 0.052189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6487-23_0_6_line_16 |  | 11 | 15 | 0.029493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6487-23_0_6_line_17 |  | 12 | 27 | 0.17586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6487-23_0_6_line_18 |  | 13 | 28 | 0.044648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6487-23_0_6_line_19 |  | 14 | 29 | 0.019878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6487-23_0_6_line_20 |  | 15 | 16 | 0.092771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6487-23_0_6_line_21 |  | 16 | 19 | 0.0065401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6487-23_0_6_line_22 |  | 17 | 18 | 0.13004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6487-23_0_6_line_23 |  | 17 | 19 | 0.082122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6487-23_0_6_line_24 |  | 18 | 20 | 0.0050354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6487-23_0_6_line_25 |  | 20 | 30 | 0.02492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6487-23_0_6_line_26 |  | 21 | 31 | 0.0067239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6487-23_0_6_line_27 |  | 22 | 23 | 0.068471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6487-23_0_6_line_28 |  | 23 | 24 | 0.022739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6487-23_0_6_line_29 |  | 24 | 31 | 0.01676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6487-23_0_6_line_30 |  | 25 | 32 | 0.024393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_6487-23_0_6_line_31 |  | 26 | 33 | 0.011795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6487-23_0_6_line_32 |  | 27 | 67 | 0.022386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6487-23_0_6_line_33 |  | 28 | 51 | 0.0034306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6487-23_0_6_line_34 |  | 29 | 32 | 0.019205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6487-23_0_6_line_35 |  | 30 | 38 | 0.018878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6487-23_0_6_line_36 |  | 33 | 34 | 0.0048057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6487-23_0_6_line_37 |  | 34 | 35 | 0.014443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6487-23_0_6_line_38 |  | 36 | 37 | 0.01182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6487-23_0_6_line_39 |  | 37 | 38 | 0.0094081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6487-23_0_6_line_40 |  | 39 | 40 | 0.020547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6487-23_0_6_line_41 |  | 39 | 41 | 0.016609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6487-23_0_6_line_42 |  | 41 | 42 | 0.018096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6487-23_0_6_line_43 |  | 41 | 43 | 0.0227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6487-23_0_6_line_44 |  | 42 | 44 | 0.011267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6487-23_0_6_line_45 |  | 42 | 45 | 0.03586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6487-23_0_6_line_46 |  | 43 | 46 | 0.018026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6487-23_0_6_line_47 |  | 44 | 47 | 0.091014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6487-23_0_6_line_48 |  | 44 | 48 | 0.10848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6487-23_0_6_line_49 |  | 45 | 49 | 0.036867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6487-23_0_6_line_50 |  | 46 | 50 | 0.0084674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6487-23_0_6_line_51 |  | 48 | 58 | 0.040685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6487-23_0_6_line_52 |  | 49 | 52 | 0.034051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6487-23_0_6_line_53 |  | 50 | 51 | 0.0094037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_6487-23_0_6_line_54 |  | 52 | 53 | 0.044768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_6487-23_0_6_line_55 |  | 52 | 54 | 0.015387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6487-23_0_6_line_56 |  | 53 | 55 | 0.017392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6487-23_0_6_line_57 |  | 53 | 56 | 0.010168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_6487-23_0_6_line_58 |  | 54 | 57 | 8.1187e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6487-23_0_6_line_59 |  | 55 | 69 | 0.0022676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6487-23_0_6_line_60 |  | 56 | 60 | 0.023734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_6487-23_0_6_line_61 |  | 57 | 68 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6487-23_0_6_line_62 |  | 58 | 77 | 0.024361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6487-23_0_6_line_63 |  | 59 | 60 | 0.0079782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_6487-23_0_6_line_64 |  | 59 | 61 | 0.01148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_6487-23_0_6_line_65 |  | 61 | 62 | 0.042872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6487-23_0_6_line_66 |  | 62 | 63 | 0.01377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_6487-23_0_6_line_67 |  | 63 | 64 | 0.047616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_6487-23_0_6_line_68 |  | 63 | 65 | 0.022061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6487-23_0_6_line_69 |  | 64 | 73 | 0.032939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6487-23_0_6_line_70 |  | 64 | 75 | 0.0097628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_6487-23_0_6_line_71 |  | 65 | 71 | 0.014698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6487-23_0_6_line_72 |  | 66 | 67 | 0.031488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6487-23_0_6_line_73 |  | 69 | 74 | 0.019749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6487-23_0_6_line_74 |  | 70 | 71 | 0.02011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6487-23_0_6_line_75 |  | 72 | 73 | 0.003744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6487-23_0_6_line_76 |  | 75 | 76 | 0.031761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_6487-23_0_6_line_77 |  | 76 | 81 | 0.010804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6487-23_0_6_line_78 |  | 77 | 78 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6487-23_0_6_line_79 |  | 78 | 79 | 0.0030756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6487-23_0_6_line_80 |  | 80 | 81 | 0.022329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6487-23_0_6_trafo_56 | 0.63 MVA 20/0.4 kV | 82 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2558355.375 | 1211989.3386 | 2558360.899 | 1211994.9798
1 | 2558321.2065 | 1211954.2773 | 2558336.635 | 1211970.2007 | 2558355.375 | 1211989.3386
2 | 2558360.899 | 1211994.9798 | 2558361.067 | 1211995.1514
3 | 2558321.2065 | 1211954.2773 | 2558296.4865 | 1211930.8702 | 2558289.1166 | 1211929.7879 | 2558294.3026 | 1211917.3999 | 2558296.3473 | 1211904.5336 | 2558296.4156 | 1211887.1786
4 | 2558361.067 | 1211995.1514 | 2558369.6017 | 1212003.8673 | 2558372.7938 | 1212008.8796
5 | 2558296.4156 | 1211887.1786 | 2558360.4632 | 1211924.6871
6 | 2558383.1086 | 1212025.076 | 2558372.7938 | 1212008.8796
7 | 2558439.4616 | 1211964.6561 | 2558439.3092 | 1211961.333 | 2558454.2955 | 1211950.9778 | 2558461.8675 | 1211945.1105
8 | 2558372.9498 | 1211777.7791 | 2558359.6202 | 1211799.0736 | 2558353.2086 | 1211811.1589 | 2558349.8945 | 1211819.6314 | 2558351.263 | 1211843.6247 | 2558352.7889 | 1211852.1189 | 2558363.9164 | 1211860.3236 | 2558372.4475 | 1211866.6454 | 2558400.0903 | 1211896.247 | 2558434.0705 | 1211932.5195 | 2558436.4336 | 1211935.8049 | 2558437.6054 | 1211939.321 | 2558438.6885 | 1211947.5293 | 2558439.3092 | 1211961.333 | 2558439.4616 | 1211964.6561
9 | 2558439.4616 | 1211964.6561 | 2558419.5853 | 1211956.946 | 2558416.3261 | 1211955.2001
10 | 2558439.4616 | 1211964.6561 | 2558439.6804 | 1211972.0477 | 2558440.1023 | 1211980.2273 | 2558441.6503 | 1211984.3078 | 2558442.4016 | 1211985.5916
11 | 2558461.8675 | 1211945.1105 | 2558463.8247 | 1211943.5959 | 2558469.9188 | 1211936.841
12 | 2558372.9498 | 1211777.7791 | 2558380.7048 | 1211786.0963 | 2558391.045 | 1211792.5278 | 2558413.853 | 1211802.5368
13 | 2558376.1733 | 1211772.6313 | 2558372.9498 | 1211777.7791
14 | 2558416.3261 | 1211955.2001 | 2558416.1627 | 1211955.1126
15 | 2558466.1529 | 1212026.728 | 2558466.1529 | 1212026.728 | 2558463.9549 | 1212023.1412 | 2558462.1939 | 1212020.1184 | 2558461.881 | 1212016.652 | 2558462.7148 | 1212012.0212 | 2558463.855 | 1212008.8447 | 2558463.9812 | 1212006.2423 | 2558462.6573 | 1212003.7946 | 2558460.393 | 1212000.5085 | 2558449.5417 | 1211992.6241 | 2558443.6265 | 1211987.6848 | 2558442.4016 | 1211985.5916
16 | 2558488.9282 | 1211914.2926 | 2558471.2133 | 1211935.4062 | 2558469.9188 | 1211936.841
17 | 2558564.2748 | 1211881.2867 | 2558522.1576 | 1211859.3622 | 2558502.5876 | 1211849.8598 | 2558500.377 | 1211848.8302 | 2558498.8726 | 1211847.729 | 2558497.4531 | 1211846.8272 | 2558495.8263 | 1211845.6156 | 2558494.5175 | 1211844.2573 | 2558493.2855 | 1211841.909 | 2558492.5392 | 1211839.4906 | 2558491.7893 | 1211837.6392 | 2558491.0447 | 1211835.4542 | 2558489.7241 | 1211832.395 | 2558488.5779 | 1211830.3796 | 2558487.5117 | 1211828.9306 | 2558486.2006 | 1211827.2388 | 2558484.5641 | 1211825.716 | 2558482.2833 | 1211824.4312 | 2558479.7629 | 1211823.6372 | 2558477.4049 | 1211823.2534 | 2558474.4846 | 1211822.8736 | 2558470.7483 | 1211823.1331 | 2558468.2335 | 1211823.1507 | 2558465.6363 | 1211823.3356 | 2558462.7931 | 1211823.1109 | 2558459.8531 | 1211822.0752 | 2558441.841 | 1211814.819 | 2558413.853 | 1211802.5368
18 | 2558376.1733 | 1211772.6313 | 2558380.306 | 1211766.0319 | 2558398.6022 | 1211736.7536 | 2558400.0441 | 1211734.9146
19 | 2558360.4632 | 1211924.6871 | 2558372.2411 | 1211931.5846 | 2558377.7317 | 1211934.5258
20 | 2558488.9282 | 1211914.2926 | 2558501.183 | 1211918.5874 | 2558526.5399 | 1211927.7603 | 2558563.8014 | 1211941.1418 | 2558570.3749 | 1211943.5307 | 2558568.4103 | 1211949.4479
21 | 2558568.4103 | 1211949.4479 | 2558574.5766 | 1211951.6273
22 | 2558597.0089 | 1212034.665 | 2558626.3931 | 1212051.6482 | 2558627.4156 | 1212049.0062 | 2558631.543 | 1212039.4609 | 2558660.316 | 1211974.0117 | 2558653.7045 | 1211971.6007 | 2558652.2056 | 1211975.6691
23 | 2558652.2056 | 1211975.6691 | 2558644.133 | 1211972.9347 | 2558642.0455 | 1211973.2049 | 2558639.4543 | 1211974.2346 | 2558621.3752 | 1211968.1679 | 2558574.5766 | 1211951.6273
24 | 2558597.0089 | 1212034.665 | 2558591.989 | 1212034.2703
25 | 2558591.989 | 1212034.2703 | 2558567.1459 | 1212032.3171
26 | 2558383.1086 | 1212025.076 | 2558386.7205 | 1212030.7474
27 | 2558406.5202 | 1212064.9112 | 2558407.4223 | 1212071.1419 | 2558404.8986 | 1212076.3848 | 2558398.191 | 1212078.6997 | 2558387.2779 | 1212078.2758 | 2558375.5238 | 1212074.9227 | 2558352.8653 | 1212061.9358
28 | 2558406.5202 | 1212064.9112 | 2558395.3986 | 1212045.0779
29 | 2558395.3986 | 1212045.0779 | 2558392.0948 | 1212039.186 | 2558386.7205 | 1212030.7474
30 | 2558394.6607 | 1211943.5943 | 2558416.1627 | 1211955.1126
31 | 2558466.1529 | 1212026.728 | 2558470.3784 | 1212030.1672 | 2558475.043 | 1212034.4704 | 2558475.043 | 1212034.4704
32 | 2558564.2748 | 1211881.2867 | 2558566.6676 | 1211882.5322 | 2558584.0068 | 1211891.8596
33 | 2558400.0441 | 1211734.9146 | 2558402.1608 | 1211732.2149
34 | 2558377.7317 | 1211934.5258 | 2558394.6607 | 1211943.5943
35 | 2558548.3256 | 1212030.8374 | 2558567.1459 | 1212032.3171
36 | 2558479.204 | 1212036.8746 | 2558475.043 | 1212034.4704
37 | 2558481.2262 | 1212048.4354 | 2558482.7873 | 1212043.5105 | 2558483.9189 | 1212040.1896 | 2558479.9862 | 1212037.3265 | 2558479.204 | 1212036.8746
38 | 2558534.1534 | 1212020.45 | 2558534.192 | 1212025.9752 | 2558538.9465 | 1212030.1 | 2558538.9465 | 1212030.1
39 | 2558548.3256 | 1212030.8374 | 2558538.9465 | 1212030.1
40 | 2558430.0636 | 1211679.1481 | 2558414.5077 | 1211665.7253
41 | 2558442.6402 | 1211689.9965 | 2558436.7313 | 1211684.9015 | 2558430.0636 | 1211679.1481
42 | 2558442.6402 | 1211689.9965 | 2558448.2512 | 1211685.0767 | 2558456.0492 | 1211677.8069
43 | 2558442.6402 | 1211689.9965 | 2558426.0879 | 1211705.5309
44 | 2558464.3231 | 1211670.1335 | 2558456.0492 | 1211677.8069
45 | 2558456.0492 | 1211677.8069 | 2558463.0721 | 1211702.0719 | 2558471.1683 | 1211708.912
46 | 2558426.0879 | 1211705.5309 | 2558420.4173 | 1211710.8528 | 2558413.5009 | 1211718.4167
47 | 2558464.3231 | 1211670.1335 | 2558532.1578 | 1211731.018
48 | 2558464.3231 | 1211670.1335 | 2558505.0889 | 1211632.3272 | 2558544.2392 | 1211667.8749
49 | 2558471.1683 | 1211708.912 | 2558499.3299 | 1211732.7043
50 | 2558407.963 | 1211724.8146 | 2558409.8382 | 1211722.4223 | 2558413.5009 | 1211718.4167
51 | 2558544.2392 | 1211667.8749 | 2558556.5896 | 1211667.2996 | 2558566.7132 | 1211668.8078 | 2558578.4411 | 1211674.8518 | 2558582.2518 | 1211677.9189
52 | 2558525.3403 | 1211754.6792 | 2558499.3299 | 1211732.7043
53 | 2558407.963 | 1211724.8146 | 2558402.1608 | 1211732.2149
54 | 2558525.3403 | 1211754.6792 | 2558559.5961 | 1211783.6129
55 | 2558525.3403 | 1211754.6792 | 2558515.2634 | 1211766.3074
56 | 2558559.5961 | 1211783.6129 | 2558547.805 | 1211796.3979
57 | 2558559.5961 | 1211783.6129 | 2558567.3604 | 1211790.1786
58 | 2558515.2102 | 1211766.3687 | 2558515.2634 | 1211766.3074
59 | 2558546.2677 | 1211798.0648 | 2558547.805 | 1211796.3979
60 | 2558586.0407 | 1211804.8132 | 2558570.7319 | 1211793.0297 | 2558567.3604 | 1211790.1786
61 | 2558508.461 | 1211774.7641 | 2558511.5471 | 1211770.5958 | 2558515.2102 | 1211766.3687
62 | 2558599.4445 | 1211694.8284 | 2558594.9837 | 1211688.1667 | 2558582.2518 | 1211677.9189
63 | 2558592.363 | 1211809.6795 | 2558586.0407 | 1211804.8132
64 | 2558592.363 | 1211809.6795 | 2558594.336 | 1211811.1982 | 2558601.35 | 1211816.8212
65 | 2558632.8926 | 1211816.2663 | 2558631.7586 | 1211815.9851 | 2558622.4231 | 1211807.5896 | 2558608.1119 | 1211822.2421 | 2558601.35 | 1211816.8212
66 | 2558644.4062 | 1211809.0153 | 2558641.0177 | 1211811.2291 | 2558635.1215 | 1211815.5615 | 2558633.6906 | 1211816.2941 | 2558632.8926 | 1211816.2663 | 2558632.8926 | 1211816.2663
67 | 2558644.4062 | 1211809.0153 | 2558654.1008 | 1211796.9521 | 2558674.4341 | 1211771.9963
68 | 2558644.4062 | 1211809.0153 | 2558647.6912 | 1211812.6835 | 2558660.6299 | 1211823.9206
69 | 2558674.4341 | 1211771.9963 | 2558699.2204 | 1211793.6908
70 | 2558674.4341 | 1211771.9963 | 2558680.7713 | 1211764.5698
71 | 2558671.727 | 1211833.5583 | 2558660.6299 | 1211823.9206
72 | 2558611.7375 | 1211906.7769 | 2558584.0068 | 1211891.8596
73 | 2558532.8786 | 1211812.5825 | 2558546.2677 | 1211798.0648
74 | 2558686.9103 | 1211846.7447 | 2558671.727 | 1211833.5583
75 | 2558702.0377 | 1211796.1567 | 2558699.2204 | 1211793.6908
76 | 2558680.7713 | 1211764.5698 | 2558690.7056 | 1211752.9278 | 2558701.9055 | 1211740.8699
77 | 2558709.258 | 1211732.9541 | 2558701.9055 | 1211740.8699
78 | 2558599.4445 | 1211694.8284 | 2558595.4751 | 1211701.9935 | 2558593.8171 | 1211705.0395
79 | 2558592.3467 | 1211707.7408 | 2558593.8171 | 1211705.0395
80 | 2558709.258 | 1211732.9541 | 2558725.9909 | 1211747.7383

## bus_geodata
| x | y | coords
0 | 2558355.375 | 1211989.3386
1 | 2558360.899 | 1211994.9798
2 | 2558321.2065 | 1211954.2773
3 | 2558361.067 | 1211995.1514
4 | 2558296.4156 | 1211887.1786
5 | 2558372.7938 | 1212008.8796
6 | 2558439.4616 | 1211964.6561
7 | 2558461.8675 | 1211945.1105
8 | 2558372.9498 | 1211777.7791
9 | 2558416.3261 | 1211955.2001
10 | 2558442.4016 | 1211985.5916
11 | 2558469.9188 | 1211936.841
12 | 2558413.853 | 1211802.5368
13 | 2558376.1733 | 1211772.6313
14 | 2558360.4632 | 1211924.6871
15 | 2558488.9282 | 1211914.2926
16 | 2558568.4103 | 1211949.4479
17 | 2558652.2056 | 1211975.6691
18 | 2558597.0089 | 1212034.665
19 | 2558574.5766 | 1211951.6273
20 | 2558591.989 | 1212034.2703
21 | 2558383.1086 | 1212025.076
22 | 2558352.8653 | 1212061.9358
23 | 2558406.5202 | 1212064.9112
24 | 2558395.3986 | 1212045.0779
25 | 2558416.1627 | 1211955.1126
26 | 2558466.1529 | 1212026.728
27 | 2558564.2748 | 1211881.2867
28 | 2558400.0441 | 1211734.9146
29 | 2558377.7317 | 1211934.5258
30 | 2558567.1459 | 1212032.3171
31 | 2558386.7205 | 1212030.7474
32 | 2558394.6607 | 1211943.5943
33 | 2558475.043 | 1212034.4704
34 | 2558479.204 | 1212036.8746
35 | 2558481.2262 | 1212048.4354
36 | 2558534.1534 | 1212020.45
37 | 2558538.9465 | 1212030.1
38 | 2558548.3256 | 1212030.8374
39 | 2558430.0636 | 1211679.1481
40 | 2558414.5077 | 1211665.7253
41 | 2558442.6402 | 1211689.9965
42 | 2558456.0492 | 1211677.8069
43 | 2558426.0879 | 1211705.5309
44 | 2558464.3231 | 1211670.1335
45 | 2558471.1683 | 1211708.912
46 | 2558413.5009 | 1211718.4167
47 | 2558532.1578 | 1211731.018
48 | 2558544.2392 | 1211667.8749
49 | 2558499.3299 | 1211732.7043
50 | 2558407.963 | 1211724.8146
51 | 2558402.1608 | 1211732.2149
52 | 2558525.3403 | 1211754.6792
53 | 2558559.5961 | 1211783.6129
54 | 2558515.2634 | 1211766.3074
55 | 2558547.805 | 1211796.3979
56 | 2558567.3604 | 1211790.1786
57 | 2558515.2102 | 1211766.3687
58 | 2558582.2518 | 1211677.9189
59 | 2558592.363 | 1211809.6795
60 | 2558586.0407 | 1211804.8132
61 | 2558601.35 | 1211816.8212
62 | 2558632.8926 | 1211816.2663
63 | 2558644.4062 | 1211809.0153
64 | 2558674.4341 | 1211771.9963
65 | 2558660.6299 | 1211823.9206
66 | 2558611.7375 | 1211906.7769
67 | 2558584.0068 | 1211891.8596
68 | 2558508.461 | 1211774.7641
69 | 2558546.2677 | 1211798.0648
70 | 2558686.9103 | 1211846.7447
71 | 2558671.727 | 1211833.5583
72 | 2558702.0377 | 1211796.1567
73 | 2558699.2204 | 1211793.6908
74 | 2558532.8786 | 1211812.5825
75 | 2558680.7713 | 1211764.5698
76 | 2558701.9055 | 1211740.8699
77 | 2558599.4445 | 1211694.8284
78 | 2558593.8171 | 1211705.0395
79 | 2558592.3467 | 1211707.7408
80 | 2558725.9909 | 1211747.7383
81 | 2558709.258 | 1211732.9541
82 | 2558564.2748 | 1211881.2867

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1