## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6487-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6487-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6487-4_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6487-4_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6487-4_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6487-4_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6487-4_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_6487-4_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6487-4_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6487-4_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6487-4_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6487-4_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_6487-4_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_6487-4_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_6487-4_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_6487-4_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_6487-4_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_6487-4_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_6487-4_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_6487-4_0_3_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_6487-4_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_6487-4_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_6487-4_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_6487-4_0_3_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_6487-4_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_6487-4_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_6487-4_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6487-4_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6487-4_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_6487-4_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6487-4_0_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_6487-4_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_6487-4_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_6487-4_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_6487-4_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6487-4_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_6487-4_0_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_6487-4_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_6487-4_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_6487-4_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_6487-4_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_6487-4_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_6487-4_0_3_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_6487-4_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_6487-4_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_6487-4_0_3_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_6487-4_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_6487-4_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_6487-4_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_6487-4_0_3_node_136 | 0.4 | n |  | TRUE
50 | bus_LV_6487-4_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_6487-4_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_6487-4_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_6487-4_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_6487-4_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6487-4_0_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_6487-4_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6487-4_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6487-4_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_6487-4_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_6487-4_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6487-4_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6487-4_0_3_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_6487-4_0_3_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6487-4_0_3_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_6487-4_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_6487-4_0_3_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_6487-4_0_3_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_6487-4_0_3_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_6487-4_0_3_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_6487-4_0_3_node_100 | 0.4 | n |  | TRUE
71 | bus_LV_6487-4_0_3_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_6487-4_0_3_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_6487-4_0_3_node_118 | 0.4 | n |  | TRUE
74 | bus_LV_6487-4_0_3_node_130 | 0.4 | n |  | TRUE
75 | bus_LV_6487-4_0_3_node_132 | 0.4 | n |  | TRUE
76 | bus_LV_6487-4_0_3_node_135 | 0.4 | n |  | TRUE
77 | bus_MV_326_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6487-4_0_3_load_0 | 0 | 0.0029852 | 0.00074817 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6487-4_0_3_load_1 | 1 | 0.004349 | 0.00109 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6487-4_0_3_load_3 | 2 | 0.0065942 | 0.0016527 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6487-4_0_3_load_4 | 3 | 0.0033178 | 0.00083152 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6487-4_0_3_load_5 | 4 | 0.0086245 | 0.0021615 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6487-4_0_3_load_6 | 5 | 0.0021934 | 0.00054971 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6487-4_0_3_load_12 | 6 | 0.0011722 | 0.00029378 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6487-4_0_3_load_7 | 7 | 0.0024386 | 0.00061117 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6487-4_0_3_load_8 | 8 | 0.0018972 | 0.00047548 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6487-4_0_3_load_9 | 9 | 0.0021244 | 0.00053242 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6487-4_0_3_load_10 | 10 | 0.0013651 | 0.00034213 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6487-4_0_3_load_11 | 11 | 0.0011982 | 0.0003003 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6487-4_0_3_load_13 | 13 | 0.0076711 | 0.0019225 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6487-4_0_3_load_14 | 14 | 0.005359 | 0.0013431 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6487-4_0_3_load_17 | 16 | 0.0057221 | 0.0014341 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6487-4_0_3_load_18 | 17 | 0.00047924 | 0.00012011 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6487-4_0_3_load_49 | 19 | 0.0029074 | 0.00072865 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6487-4_0_3_load_20 | 20 | 0.0096368 | 0.0024152 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6487-4_0_3_load_21 | 21 | 0.00055407 | 0.00013886 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6487-4_0_3_load_29 | 22 | 0.0024437 | 0.00061244 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6487-4_0_3_load_54 | 23 | 0.00035527 | 8.904e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6487-4_0_3_load_22 | 24 | 0.0018758 | 0.00047013 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6487-4_0_3_load_23 | 25 | 0.0049421 | 0.0012386 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6487-4_0_3_load_25 | 26 | 0.0038535 | 0.00096577 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6487-4_0_3_load_26 | 27 | 0.0038896 | 0.00097482 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6487-4_0_3_load_27 | 28 | 0.0043306 | 0.0010854 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6487-4_0_3_load_28 | 29 | 0.001972 | 0.00049423 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6487-4_0_3_load_34 | 30 | 0.0038578 | 0.00096685 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6487-4_0_3_load_30 | 31 | 0.0031193 | 0.00078177 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6487-4_0_3_load_31 | 32 | 0.0084236 | 0.0021112 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6487-4_0_3_load_32 | 33 | 0.010643 | 0.0026673 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6487-4_0_3_load_38 | 35 | 0.002143 | 0.00053708 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6487-4_0_3_load_39 | 36 | 0.0040943 | 0.0010261 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6487-4_0_3_load_35 | 37 | 0.004689 | 0.0011752 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6487-4_0_3_load_36 | 39 | 0.0028763 | 0.00072086 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6487-4_0_3_load_37 | 40 | 0.0046486 | 0.001165 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6487-4_0_3_load_40 | 41 | 0.0023509 | 0.00058919 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6487-4_0_3_load_79 | 42 | 0.0041733 | 0.0010459 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6487-4_0_3_load_41 | 43 | 0.001733 | 0.00043434 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6487-4_0_3_load_42 | 44 | 0.0019086 | 0.00047834 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6487-4_0_3_load_68 | 45 | 0.0069748 | 0.0017481 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6487-4_0_3_load_44 | 46 | 0.0058682 | 0.0014707 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6487-4_0_3_load_48 | 48 | 0.0028731 | 0.00072007 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6487-4_0_3_load_136 | 49 | 0.0032413 | 0.00081235 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6487-4_0_3_load_46 | 50 | 0.0032962 | 0.0008261 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6487-4_0_3_load_47 | 51 | 0.0026756 | 0.00067057 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6487-4_0_3_load_53 | 53 | 0.0004168 | 0.00010446 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6487-4_0_3_load_51 | 54 | 0.0020097 | 0.00050367 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6487-4_0_3_load_52 | 55 | 0.00037608 | 9.4254e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6487-4_0_3_load_56 | 57 | 0.00049367 | 0.00012372 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6487-4_0_3_load_62 | 59 | 0.0092007 | 0.0023059 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6487-4_0_3_load_58 | 60 | 0.0037326 | 0.00093547 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6487-4_0_3_load_59 | 61 | 0.0033487 | 0.00083927 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6487-4_0_3_load_63 | 65 | 0.0010438 | 0.0002616 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6487-4_0_3_load_66 | 67 | 0.0010905 | 0.00027332 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6487-4_0_3_load_67 | 68 | 0.0012683 | 0.00031787 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6487-4_0_3_load_78 | 69 | 0.0017407 | 0.00043626 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6487-4_0_3_load_100 | 70 | 0.00076994 | 0.00019296 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6487-4_0_3_load_98 | 71 | 0.00092261 | 0.00023123 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6487-4_0_3_load_101 | 72 | 0.00093712 | 0.00023486 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6487-4_0_3_load_118 | 73 | 0.00055485 | 0.00013906 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6487-4_0_3_load_130 | 74 | 0.0024821 | 0.00062207 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6487-4_0_3_load_132 | 75 | 0.0020414 | 0.00051163 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6487-4_0_3_load_135 | 76 | 0.0023939 | 0.00059998 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6487-4_0_3_line_0 |  | 0 | 1 | 0.009642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6487-4_0_3_line_1 |  | 1 | 2 | 0.027581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6487-4_0_3_line_2 |  | 2 | 3 | 0.020397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6487-4_0_3_line_3 |  | 3 | 4 | 0.0082059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6487-4_0_3_line_4 |  | 4 | 5 | 0.018284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6487-4_0_3_line_5 |  | 5 | 6 | 0.018039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6487-4_0_3_line_6 |  | 6 | 12 | 0.008294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6487-4_0_3_line_7 |  | 7 | 8 | 0.023066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6487-4_0_3_line_8 |  | 7 | 9 | 0.024985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6487-4_0_3_line_9 |  | 9 | 10 | 0.0004397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6487-4_0_3_line_10 |  | 10 | 11 | 0.01705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6487-4_0_3_line_11 |  | 11 | 12 | 0.010888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6487-4_0_3_line_12 |  | 12 | 24 | 0.0045062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6487-4_0_3_line_13 |  | 13 | 14 | 0.043943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6487-4_0_3_line_14 |  | 14 | 15 | 0.006207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6487-4_0_3_line_15 |  | 15 | 16 | 0.018984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6487-4_0_3_line_16 |  | 15 | 17 | 0.016001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6487-4_0_3_line_17 |  | 16 | 18 | 0.013158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6487-4_0_3_line_18 |  | 17 | 19 | 0.013429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6487-4_0_3_line_19 |  | 18 | 20 | 0.032589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6487-4_0_3_line_20 |  | 18 | 21 | 0.034693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6487-4_0_3_line_21 |  | 19 | 52 | 0.0079889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6487-4_0_3_line_22 |  | 20 | 22 | 0.017235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6487-4_0_3_line_23 |  | 21 | 23 | 0.018244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6487-4_0_3_line_24 |  | 22 | 31 | 0.0068389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6487-4_0_3_line_25 |  | 23 | 56 | 0.0053542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6487-4_0_3_line_26 |  | 24 | 25 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6487-4_0_3_line_27 |  | 25 | 26 | 0.0027324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6487-4_0_3_line_28 |  | 26 | 27 | 0.013162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6487-4_0_3_line_29 |  | 27 | 28 | 0.01329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6487-4_0_3_line_30 |  | 28 | 29 | 0.024287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6487-4_0_3_line_31 |  | 29 | 30 | 0.010141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6487-4_0_3_line_32 |  | 30 | 38 | 0.012574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6487-4_0_3_line_33 |  | 31 | 32 | 0.011549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6487-4_0_3_line_34 |  | 32 | 33 | 0.0028415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6487-4_0_3_line_35 |  | 34 | 35 | 0.03592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6487-4_0_3_line_36 |  | 34 | 36 | 0.021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6487-4_0_3_line_37 |  | 34 | 37 | 0.01956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6487-4_0_3_line_38 |  | 36 | 42 | 0.013788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_6487-4_0_3_line_39 |  | 37 | 39 | 0.00084493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6487-4_0_3_line_40 |  | 38 | 46 | 0.024942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_6487-4_0_3_line_41 |  | 38 | 47 | 0.005504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6487-4_0_3_line_42 |  | 39 | 40 | 7.8641e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_6487-4_0_3_line_43 |  | 40 | 41 | 0.012634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6487-4_0_3_line_44 |  | 41 | 43 | 0.010304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6487-4_0_3_line_45 |  | 42 | 69 | 0.01094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6487-4_0_3_line_46 |  | 43 | 44 | 0.0041718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6487-4_0_3_line_47 |  | 44 | 45 | 0.011649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_6487-4_0_3_line_48 |  | 45 | 46 | 0.00045686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6487-4_0_3_line_49 |  | 47 | 48 | 0.014356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6487-4_0_3_line_50 |  | 47 | 49 | 0.022894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6487-4_0_3_line_51 |  | 48 | 50 | 0.031321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6487-4_0_3_line_52 |  | 49 | 76 | 0.01244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6487-4_0_3_line_53 |  | 50 | 51 | 0.0065328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6487-4_0_3_line_54 |  | 52 | 53 | 0.022516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6487-4_0_3_line_55 |  | 52 | 54 | 0.026435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6487-4_0_3_line_56 |  | 54 | 55 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6487-4_0_3_line_57 |  | 56 | 57 | 0.090658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6487-4_0_3_line_58 |  | 56 | 58 | 0.003677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6487-4_0_3_line_59 |  | 58 | 59 | 0.019282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_6487-4_0_3_line_60 |  | 59 | 62 | 0.03369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_6487-4_0_3_line_61 |  | 60 | 61 | 0.034843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_6487-4_0_3_line_62 |  | 60 | 62 | 0.016771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_6487-4_0_3_line_63 |  | 61 | 63 | 0.0034129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6487-4_0_3_line_64 |  | 63 | 64 | 0.001511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_6487-4_0_3_line_65 |  | 64 | 65 | 0.0063303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_6487-4_0_3_line_66 |  | 65 | 66 | 0.009703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_6487-4_0_3_line_67 |  | 66 | 67 | 0.0091636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_6487-4_0_3_line_68 |  | 66 | 68 | 0.0027692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6487-4_0_3_line_69 |  | 67 | 69 | 0.0032803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_6487-4_0_3_line_70 |  | 68 | 70 | 0.023684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6487-4_0_3_line_71 |  | 70 | 72 | 0.018427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6487-4_0_3_line_72 |  | 70 | 71 | 0.014495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6487-4_0_3_line_73 |  | 72 | 73 | 0.097416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6487-4_0_3_line_74 |  | 74 | 75 | 0.0082684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6487-4_0_3_line_75 |  | 75 | 76 | 0.0011658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6487-4_0_3_trafo_29 | 0.63 MVA 20/0.4 kV | 77 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2563911.8948 | 1213497.7282 | 2563902.2744 | 1213498.373
1 | 2563902.2744 | 1213498.373 | 2563880.3838 | 1213499.8404 | 2563874.7582 | 1213499.424
2 | 2563874.7582 | 1213499.424 | 2563854.417 | 1213497.9187
3 | 2563854.417 | 1213497.9187 | 2563846.2335 | 1213497.3131
4 | 2563828.1407 | 1213494.6737 | 2563846.2335 | 1213497.3131 | 2563846.2335 | 1213497.3131
5 | 2563828.1407 | 1213494.6737 | 2563823.9204 | 1213494.058 | 2563810.2333 | 1213492.5106
6 | 2563801.9918 | 1213491.5789 | 2563810.2333 | 1213492.5106
7 | 2563833.5668 | 1213449.2568 | 2563848.6178 | 1213431.7783
8 | 2563833.5668 | 1213449.2568 | 2563817.2634 | 1213468.1898
9 | 2563817.2634 | 1213468.1898 | 2563816.9764 | 1213468.523
10 | 2563816.9764 | 1213468.523 | 2563805.8507 | 1213481.4431
11 | 2563801.9918 | 1213491.5789 | 2563805.412 | 1213481.9525 | 2563805.8507 | 1213481.4431
12 | 2563801.9918 | 1213491.5789 | 2563797.5848 | 1213492.5193
13 | 2563869.4752 | 1213572.467 | 2563866.5747 | 1213572.2773 | 2563850.7565 | 1213572.8293 | 2563826.6799 | 1213578.0343 | 2563826.1151 | 1213578.1462
14 | 2563820.0266 | 1213579.3533 | 2563826.1151 | 1213578.1462
15 | 2563820.0266 | 1213579.3533 | 2563801.4301 | 1213583.1703
16 | 2563820.0266 | 1213579.3533 | 2563822.7287 | 1213586.5188 | 2563826.723 | 1213593.8433
17 | 2563788.4423 | 1213585.2712 | 2563799.9311 | 1213583.478 | 2563801.4301 | 1213583.1703
18 | 2563833.1526 | 1213605.6334 | 2563826.723 | 1213593.8433
19 | 2563788.4423 | 1213585.2712 | 2563781.0656 | 1213586.2833 | 2563775.3901 | 1213586.0178 | 2563767.5695 | 1213585.2205 | 2563756.3309 | 1213582.3453
20 | 2563788.4423 | 1213585.2712 | 2563788.5365 | 1213599.4788 | 2563781.7894 | 1213618.8208
21 | 2563836.9774 | 1213612.6472 | 2563833.1526 | 1213605.6334
22 | 2563756.3309 | 1213582.3453 | 2563739.6333 | 1213578.0735
23 | 2563781.7894 | 1213618.8208 | 2563775.7804 | 1213636.047
24 | 2563733.0077 | 1213576.3784 | 2563739.6333 | 1213578.0735
25 | 2563774.0169 | 1213641.1024 | 2563775.7804 | 1213636.047
26 | 2563797.5848 | 1213492.5193 | 2563783.286 | 1213495.5702
27 | 2563780.6026 | 1213496.0834 | 2563782.2004 | 1213495.8019 | 2563783.286 | 1213495.5702
28 | 2563767.6404 | 1213498.3672 | 2563780.6026 | 1213496.0834
29 | 2563767.6404 | 1213498.3672 | 2563764.7492 | 1213498.8766 | 2563754.5113 | 1213499.0614 | 2563754.3972 | 1213499.0493
30 | 2563754.3972 | 1213499.0493 | 2563745.3375 | 1213498.0945 | 2563730.7456 | 1213493.9218
31 | 2563720.995 | 1213491.1336 | 2563730.7456 | 1213493.9218
32 | 2563709.8946 | 1213485.4145 | 2563717.8159 | 1213490.2245 | 2563720.995 | 1213491.1336
33 | 2563721.7709 | 1213573.7194 | 2563727.4174 | 1213574.9482 | 2563733.0077 | 1213576.3784
34 | 2563721.7709 | 1213573.7194 | 2563718.9944 | 1213573.1152
35 | 2563675.09 | 1213562.2603 | 2563663.6499 | 1213559.5953 | 2563640.149 | 1213553.9306
36 | 2563675.09 | 1213562.2603 | 2563672.4705 | 1213566.1563 | 2563667.8404 | 1213580.3373 | 2563667.1489 | 1213582.1143
37 | 2563675.09 | 1213562.2603 | 2563676.422 | 1213558.9947 | 2563682.4937 | 1213544.1559
38 | 2563661.7768 | 1213594.7957 | 2563663.5255 | 1213591.4256 | 2563667.1489 | 1213582.1143
39 | 2563682.8137 | 1213543.3739 | 2563682.4937 | 1213544.1559
40 | 2563709.8946 | 1213485.4145 | 2563701.6502 | 1213497.3383 | 2563697.6945 | 1213507.0058
41 | 2563705.3862 | 1213482.2401 | 2563709.8946 | 1213485.4145
42 | 2563682.8435 | 1213543.3011 | 2563682.8137 | 1213543.3739
43 | 2563682.8435 | 1213543.3011 | 2563687.628 | 1213531.6079
44 | 2563691.53 | 1213522.0714 | 2563687.628 | 1213531.6079
45 | 2563656.4877 | 1213604.3654 | 2563658.751 | 1213600.6268 | 2563661.7768 | 1213594.7957
46 | 2563691.53 | 1213522.0714 | 2563693.1099 | 1213518.2104
47 | 2563693.1099 | 1213518.2104 | 2563697.5215 | 1213507.4286
48 | 2563697.6945 | 1213507.0058 | 2563697.5215 | 1213507.4286
49 | 2563705.3862 | 1213482.2401 | 2563709.8537 | 1213472.4961 | 2563711.2158 | 1213469.1238
50 | 2563705.3862 | 1213482.2401 | 2563684.4955 | 1213472.8754
51 | 2563717.0559 | 1213438.5483 | 2563716.3194 | 1213446.6528 | 2563715.4968 | 1213453.7508 | 2563714.8141 | 1213458.8802 | 2563712.6447 | 1213465.5862 | 2563711.2158 | 1213469.1238
52 | 2563673.1465 | 1213467.7815 | 2563678.0656 | 1213469.9888 | 2563684.0751 | 1213472.6869 | 2563684.4955 | 1213472.8754
53 | 2563717.0559 | 1213438.5483 | 2563717.3586 | 1213435.2177 | 2563717.7327 | 1213432.0513
54 | 2563836.9774 | 1213612.6472 | 2563858.7694 | 1213618.3096
55 | 2563836.9774 | 1213612.6472 | 2563837.6144 | 1213618.7246 | 2563834.2796 | 1213638.7733
56 | 2563848.3037 | 1213646.164 | 2563833.7455 | 1213641.9838 | 2563834.2796 | 1213638.7733
57 | 2563774.0169 | 1213641.1024 | 2563770.0369 | 1213654.8124 | 2563769.5626 | 1213660.4852 | 2563770.4659 | 1213664.1374 | 2563772.5115 | 1213667.0266 | 2563776.6187 | 1213670.4369 | 2563783.4192 | 1213673.3527 | 2563804.064 | 1213677.1626 | 2563824.6328 | 1213682.2181 | 2563832.6087 | 1213685.0841
58 | 2563770.3825 | 1213640.4798 | 2563774.0169 | 1213641.1024
59 | 2563770.3825 | 1213640.4798 | 2563761.6182 | 1213639.377 | 2563756.4268 | 1213638.7861 | 2563751.2203 | 1213638.3593
60 | 2563717.8719 | 1213637.4982 | 2563721.3575 | 1213636.1428 | 2563726.0069 | 1213636.2923 | 2563751.2203 | 1213638.3593
61 | 2563701.5635 | 1213636.0446 | 2563687.3488 | 1213631.8035 | 2563681.5243 | 1213629.5266 | 2563672.3818 | 1213626.1916 | 2563668.7424 | 1213624.4755
62 | 2563717.8719 | 1213637.4982 | 2563714.4829 | 1213638.5084 | 2563710.548 | 1213638.4435 | 2563702.5751 | 1213636.3465 | 2563701.5635 | 1213636.0446
63 | 2563665.6555 | 1213623.0198 | 2563668.7424 | 1213624.4755
64 | 2563664.3144 | 1213622.3165 | 2563665.6555 | 1213623.0198
65 | 2563664.3144 | 1213622.3165 | 2563660.1842 | 1213620.1182 | 2563658.7092 | 1213619.3753
66 | 2563650.0434 | 1213615.0106 | 2563658.7092 | 1213619.3753
67 | 2563650.0434 | 1213615.0106 | 2563654.7889 | 1213607.1715
68 | 2563650.0434 | 1213615.0106 | 2563648.5857 | 1213617.3651
69 | 2563656.4877 | 1213604.3654 | 2563654.7889 | 1213607.1715
70 | 2563632.7168 | 1213634.6723 | 2563636.4974 | 1213631.8809 | 2563645.2072 | 1213622.8224 | 2563648.5857 | 1213617.3651
71 | 2563632.7168 | 1213634.6723 | 2563631.0656 | 1213641.642 | 2563630.7403 | 1213646.8137 | 2563631.309 | 1213652.8692
72 | 2563632.7168 | 1213634.6723 | 2563627.2423 | 1213638.7081 | 2563620.595 | 1213642.5814
73 | 2563631.309 | 1213652.8692 | 2563647.3724 | 1213748.952
74 | 2563664.5391 | 1213463.9193 | 2563672.0829 | 1213467.3042
75 | 2563673.1465 | 1213467.7815 | 2563672.0829 | 1213467.3042

## bus_geodata
| x | y | coords
0 | 2563911.8948 | 1213497.7282
1 | 2563902.2744 | 1213498.373
2 | 2563874.7582 | 1213499.424
3 | 2563854.417 | 1213497.9187
4 | 2563846.2335 | 1213497.3131
5 | 2563828.1407 | 1213494.6737
6 | 2563810.2333 | 1213492.5106
7 | 2563833.5668 | 1213449.2568
8 | 2563848.6178 | 1213431.7783
9 | 2563817.2633 | 1213468.1898
10 | 2563816.9764 | 1213468.523
11 | 2563805.8507 | 1213481.4431
12 | 2563801.9918 | 1213491.5789
13 | 2563869.4752 | 1213572.467
14 | 2563826.1151 | 1213578.1462
15 | 2563820.0266 | 1213579.3533
16 | 2563801.4301 | 1213583.1703
17 | 2563826.723 | 1213593.8433
18 | 2563788.4423 | 1213585.2712
19 | 2563833.1526 | 1213605.6334
20 | 2563756.3309 | 1213582.3453
21 | 2563781.7894 | 1213618.8208
22 | 2563739.6333 | 1213578.0735
23 | 2563775.7804 | 1213636.047
24 | 2563797.5848 | 1213492.5193
25 | 2563783.286 | 1213495.5702
26 | 2563780.6026 | 1213496.0834
27 | 2563767.6404 | 1213498.3672
28 | 2563754.3972 | 1213499.0493
29 | 2563730.7456 | 1213493.9218
30 | 2563720.995 | 1213491.1336
31 | 2563733.0077 | 1213576.3784
32 | 2563721.7709 | 1213573.7194
33 | 2563718.9944 | 1213573.1152
34 | 2563675.09 | 1213562.2603
35 | 2563640.149 | 1213553.9306
36 | 2563667.1489 | 1213582.1143
37 | 2563682.4937 | 1213544.1559
38 | 2563709.8946 | 1213485.4145
39 | 2563682.8137 | 1213543.3739
40 | 2563682.8435 | 1213543.3011
41 | 2563687.628 | 1213531.6079
42 | 2563661.7768 | 1213594.7957
43 | 2563691.53 | 1213522.0714
44 | 2563693.1099 | 1213518.2104
45 | 2563697.5215 | 1213507.4286
46 | 2563697.6945 | 1213507.0058
47 | 2563705.3862 | 1213482.2401
48 | 2563711.2158 | 1213469.1238
49 | 2563684.4955 | 1213472.8754
50 | 2563717.0559 | 1213438.5483
51 | 2563717.7327 | 1213432.0513
52 | 2563836.9774 | 1213612.6472
53 | 2563858.7694 | 1213618.3096
54 | 2563834.2796 | 1213638.7733
55 | 2563848.3037 | 1213646.164
56 | 2563774.0169 | 1213641.1024
57 | 2563832.6087 | 1213685.0841
58 | 2563770.3825 | 1213640.4798
59 | 2563751.2203 | 1213638.3593
60 | 2563701.5635 | 1213636.0446
61 | 2563668.7424 | 1213624.4755
62 | 2563717.8719 | 1213637.4982
63 | 2563665.6555 | 1213623.0198
64 | 2563664.3144 | 1213622.3165
65 | 2563658.7092 | 1213619.3753
66 | 2563650.0434 | 1213615.0106
67 | 2563654.7889 | 1213607.1715
68 | 2563648.5857 | 1213617.3651
69 | 2563656.4877 | 1213604.3654
70 | 2563632.7168 | 1213634.6723
71 | 2563620.595 | 1213642.5814
72 | 2563631.309 | 1213652.8692
73 | 2563647.3724 | 1213748.952
74 | 2563664.5391 | 1213463.9193
75 | 2563672.0829 | 1213467.3042
76 | 2563673.1465 | 1213467.7815
77 | 2563788.4423 | 1213585.2712

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1