## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6487-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6487-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6487-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6487-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6487-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6487-6_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6487-6_0_3_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_6487-6_0_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_6487-6_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6487-6_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6487-6_0_3_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_6487-6_0_3_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_6487-6_0_3_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_6487-6_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6487-6_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6487-6_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6487-6_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6487-6_0_3_node_98 | 0.4 | n |  | TRUE
18 | bus_LV_6487-6_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6487-6_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6487-6_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_6487-6_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6487-6_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6487-6_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6487-6_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6487-6_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6487-6_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_6487-6_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_6487-6_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_6487-6_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_6487-6_0_3_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_6487-6_0_3_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_6487-6_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_6487-6_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_6487-6_0_3_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_6487-6_0_3_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_6487-6_0_3_node_97 | 0.4 | n |  | TRUE
37 | bus_MV_326_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6487-6_0_3_load_0 | 0 | 0.0014813 | 0.00037124 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6487-6_0_3_load_7 | 5 | 0.0022259 | 0.00055785 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6487-6_0_3_load_30 | 6 | 0.00035371 | 8.8647e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6487-6_0_3_load_28 | 7 | 0.00057163 | 0.00014326 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6487-6_0_3_load_42 | 10 | 0.0044717 | 0.0011207 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6487-6_0_3_load_47 | 11 | 0.013302 | 0.0033337 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6487-6_0_3_load_45 | 12 | 0.02461 | 0.0061678 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6487-6_0_3_load_8 | 13 | 0.0001953 | 4.8947e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6487-6_0_3_load_9 | 14 | 0.00043212 | 0.0001083 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6487-6_0_3_load_98 | 17 | 0.00028137 | 7.0518e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6487-6_0_3_load_17 | 19 | 0.0002368 | 5.9349e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6487-6_0_3_load_13 | 21 | 0.00032154 | 8.0584e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6487-6_0_3_load_14 | 22 | 0.00035319 | 8.8519e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6487-6_0_3_load_15 | 23 | 0.00046916 | 0.00011758 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6487-6_0_3_load_16 | 24 | 0.00024748 | 6.2025e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6487-6_0_3_load_18 | 25 | 0.00029676 | 7.4374e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6487-6_0_3_load_29 | 26 | 0.00065825 | 0.00016497 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6487-6_0_3_load_32 | 28 | 0.00057765 | 0.00014477 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6487-6_0_3_load_51 | 30 | 0.019165 | 0.0048033 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6487-6_0_3_load_44 | 33 | 0.0076277 | 0.0019117 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6487-6_0_3_load_43 | 34 | 0.005673 | 0.0014218 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6487-6_0_3_load_46 | 35 | 0.013242 | 0.0033186 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6487-6_0_3_load_97 | 36 | 0.021275 | 0.0053321 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6487-6_0_3_line_0 |  | 0 | 1 | 0.067166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6487-6_0_3_line_1 |  | 0 | 2 | 0.037755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6487-6_0_3_line_2 |  | 1 | 3 | 0.008338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6487-6_0_3_line_3 |  | 2 | 4 | 0.19585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6487-6_0_3_line_4 |  | 3 | 5 | 0.0184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6487-6_0_3_line_5 |  | 4 | 6 | 0.042547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6487-6_0_3_line_6 |  | 4 | 7 | 0.056044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6487-6_0_3_line_7 |  | 5 | 13 | 0.06461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6487-6_0_3_line_8 |  | 6 | 27 | 0.046154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6487-6_0_3_line_9 |  | 7 | 26 | 0.053144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6487-6_0_3_line_10 |  | 8 | 9 | 0.075853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6487-6_0_3_line_11 |  | 8 | 10 | 0.036027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6487-6_0_3_line_12 |  | 9 | 11 | 0.14178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6487-6_0_3_line_13 |  | 9 | 12 | 0.095525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6487-6_0_3_line_14 |  | 10 | 34 | 0.13333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6487-6_0_3_line_15 |  | 12 | 35 | 0.008771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6487-6_0_3_line_16 |  | 13 | 14 | 0.21413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6487-6_0_3_line_17 |  | 14 | 15 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6487-6_0_3_line_18 |  | 15 | 21 | 0.041662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6487-6_0_3_line_19 |  | 15 | 22 | 0.044913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6487-6_0_3_line_20 |  | 16 | 17 | 0.13894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6487-6_0_3_line_21 |  | 16 | 18 | 0.11839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6487-6_0_3_line_22 |  | 18 | 19 | 0.021595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6487-6_0_3_line_23 |  | 18 | 20 | 0.009828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6487-6_0_3_line_24 |  | 19 | 24 | 0.011799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6487-6_0_3_line_25 |  | 20 | 25 | 0.045696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6487-6_0_3_line_26 |  | 21 | 23 | 0.0074292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6487-6_0_3_line_27 |  | 22 | 24 | 0.019027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6487-6_0_3_line_28 |  | 27 | 28 | 0.2157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6487-6_0_3_line_29 |  | 27 | 29 | 1.0297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6487-6_0_3_line_30 |  | 29 | 30 | 0.11355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6487-6_0_3_line_31 |  | 29 | 31 | 0.45985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6487-6_0_3_line_32 |  | 31 | 32 | 0.2088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6487-6_0_3_line_33 |  | 31 | 33 | 0.060561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6487-6_0_3_line_34 |  | 32 | 36 | 0.24452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6487-6_0_3_line_35 |  | 33 | 34 | 0.092372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6487-6_0_3_trafo_42 | 0.63 MVA 20/0.4 kV | 37 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72
0 | 2555739.2012 | 1211773.3516 | 2555745.145 | 1211768.5379 | 2555756.5068 | 1211762.7834 | 2555767.1262 | 1211758.3463 | 2555774.0334 | 1211757.4055 | 2555782.9343 | 1211758.9069 | 2555793.0496 | 1211761.2776 | 2555801.1601 | 1211757.6486
1 | 2555824.2069 | 1211728.2491 | 2555813.9679 | 1211742.9893 | 2555808.4885 | 1211752.0353 | 2555801.1601 | 1211757.6486
2 | 2555735.6864 | 1211780.9155 | 2555737.0844 | 1211777.8477 | 2555739.2012 | 1211773.3516
3 | 2555824.2069 | 1211728.2491 | 2555834.5027 | 1211745.7051 | 2555845.1887 | 1211763.5251 | 2555858.2453 | 1211774.19 | 2555877.5024 | 1211769.5778 | 2555894.5463 | 1211761.5913 | 2555906.581 | 1211748.1943 | 2555918.2135 | 1211729.7306 | 2555930.2021 | 1211711.131 | 2555938.9956 | 1211702.2384 | 2555954.6974 | 1211694.5844 | 2555961.6454 | 1211697.09
4 | 2555735.6864 | 1211780.9155 | 2555742.2094 | 1211798.1208
5 | 2555961.6454 | 1211697.09 | 2555966.6399 | 1211695.3854 | 2555972.5361 | 1211679.9994 | 2555973.5796 | 1211669.052 | 2555975.3297 | 1211659.4137
6 | 2555961.6454 | 1211697.09 | 2555966.6537 | 1211700.3215 | 2555981.7681 | 1211706.7245 | 2555994.0447 | 1211712.6371 | 2555995.914 | 1211729.0885 | 2555996.6162 | 1211732.5027
7 | 2555742.2094 | 1211798.1208 | 2555761.7499 | 1211849.6618 | 2555758.6482 | 1211858.6295
8 | 2555997.3701 | 1211620.8923 | 2555992.7796 | 1211623.8169 | 2555985.3848 | 1211630.7645 | 2555981.3347 | 1211637.9097 | 2555976.1347 | 1211654.9804 | 2555975.3297 | 1211659.4137
9 | 2556031.0913 | 1211748.3842 | 2556021.3093 | 1211751.0135 | 2556014.4183 | 1211755.178 | 2556005.6149 | 1211756.5772 | 2555999.3819 | 1211745.9505 | 2555996.6162 | 1211732.5027
10 | 2555551.8163 | 1210824.3279 | 2555582.6431 | 1210814.7477 | 2555594.8724 | 1210810.9542 | 2555602.3438 | 1210804.0167 | 2555612.5455 | 1210786.1524
11 | 2555612.5455 | 1210786.1524 | 2555613.4148 | 1210770.2589 | 2555615.8085 | 1210750.2919
12 | 2555446.4057 | 1210779.4454 | 2555449.8595 | 1210792.1159 | 2555456.1463 | 1210804.5872 | 2555485.0389 | 1210836.1116 | 2555492.5065 | 1210841.8702 | 2555497.2834 | 1210841.4787 | 2555519.8319 | 1210829.5032 | 2555551.8163 | 1210824.3279
13 | 2555551.8163 | 1210824.3279 | 2555541.8679 | 1210819.1102 | 2555527.7645 | 1210801.9278 | 2555511.0453 | 1210766.2653 | 2555499.0434 | 1210747.027
14 | 2555615.8085 | 1210750.2919 | 2555617.4568 | 1210736.5424 | 2555620.4278 | 1210712.0504 | 2555622.7848 | 1210702.027 | 2555626.7393 | 1210692.2252 | 2555631.9963 | 1210683.8366 | 2555638.4279 | 1210670.9145 | 2555642.521 | 1210658.2989 | 2555644.7079 | 1210646.8537 | 2555647.8006 | 1210622.3497
15 | 2555494.4008 | 1210739.5853 | 2555499.0434 | 1210747.027
16 | 2555758.6482 | 1211858.6295 | 2555756.0673 | 1211866.0915 | 2555755.3197 | 1211871.8115 | 2555755.904 | 1211877.844 | 2555757.6126 | 1211888.96 | 2555762.4704 | 1211900.564 | 2555767.5202 | 1211905.2959 | 2555774.8761 | 1211909.5437 | 2555818.1077 | 1211927.9444 | 2555874.5754 | 1211943.4233 | 2555885.6348 | 1211946.0873 | 2555895.1081 | 1211950.0305 | 2555909.5652 | 1211973.996
17 | 2555914.2064 | 1211985.5653 | 2555909.6235 | 1211974.0926 | 2555909.5652 | 1211973.996
18 | 2555914.2064 | 1211985.5653 | 2555892.1989 | 1211994.1779 | 2555876.5216 | 1212000.9203 | 2555875.5576 | 1212000.9166
19 | 2555914.2064 | 1211985.5653 | 2555921.3889 | 1211990.0258 | 2555940.5587 | 1212021.0369
20 | 2555990.1249 | 1212171.6565 | 2556005.7315 | 1212153.3526 | 2556017.962 | 1212140.8216 | 2556024.2781 | 1212137.0504 | 2556029.545 | 1212135.2438 | 2556036.6082 | 1212134.9136 | 2556042.5206 | 1212135.1145 | 2556048.8635 | 1212137.0243 | 2556053.2108 | 1212140.3164 | 2556054.6362 | 1212144.0302 | 2556055.2809 | 1212163.4146 | 2556056.5553 | 1212170.3425 | 2556059.1098 | 1212178.8064 | 2556060.0911 | 1212183.0906 | 2556059.9812 | 1212187.7496 | 2556058.0851 | 1212192.2996 | 2556053.6584 | 1212196.7683
21 | 2555990.1249 | 1212171.6565 | 2555977.0163 | 1212145.6049 | 2555976.4217 | 1212070.4098 | 2555976.1279 | 1212056.3816
22 | 2555976.1279 | 1212056.3816 | 2555966.4109 | 1212054.3856 | 2555958.0721 | 1212046.2135
23 | 2555985.9707 | 1212056.9091 | 2555976.1279 | 1212056.3816
24 | 2555958.0721 | 1212046.2135 | 2555953.125 | 1212041.3653 | 2555950.5632 | 1212037.2211
25 | 2555985.9707 | 1212056.9091 | 2556017.0498 | 1212067.819 | 2556029.017 | 1212072.2393
26 | 2555868.1285 | 1212000.8885 | 2555875.5576 | 1212000.9166
27 | 2555940.5587 | 1212021.0369 | 2555950.5632 | 1212037.2211
28 | 2555997.3701 | 1211620.8923 | 2556008.3244 | 1211620.5889 | 2556020.5899 | 1211623.9447 | 2556037.3527 | 1211630.2689 | 2556053.3043 | 1211639.9345 | 2556092.7024 | 1211665.8811 | 2556115.2892 | 1211683.0467 | 2556125.7386 | 1211694.6542 | 2556138.8734 | 1211713.9019 | 2556153.2928 | 1211733.2514 | 2556164.8779 | 1211745.5074
29 | 2555968.8174 | 1210625.4346 | 2555963.3286 | 1210632.3459 | 2555956.3479 | 1210644.071 | 2555943.1381 | 1210676.6322 | 2555940.0417 | 1210691.5638 | 2555937.0924 | 1210710.9525 | 2555936.4774 | 1210729.49 | 2555936.4834 | 1210742.6087 | 2555937.06 | 1210779.4037 | 2555938.3742 | 1210803.9638 | 2555939.249 | 1210838.9666 | 2555931.6981 | 1210845.4818 | 2555931.497 | 1210860.392 | 2555931.9462 | 1210868.7157 | 2555932.9168 | 1210878.681 | 2555935.5036 | 1210907.8233 | 2555942.2669 | 1210959.1364 | 2555943.8317 | 1210975.4677 | 2555943.6812 | 1210985.9305 | 2555944.1525 | 1210998.2564 | 2555944.6636 | 1211005.7014 | 2555946.259 | 1211015.9177 | 2555949.9884 | 1211037.2359 | 2555952.3007 | 1211051.894 | 2555954.0248 | 1211069.2246 | 2555955.5915 | 1211106.3458 | 2555953.6193 | 1211129.3849 | 2555950.8532 | 1211143.736 | 2555950.9125 | 1211151.7402 | 2555952.3626 | 1211162.8582 | 2555951.1161 | 1211168.971 | 2555950.4792 | 1211175.3127 | 2555952.3876 | 1211186.7497 | 2555954.4869 | 1211193.1823 | 2555959.9434 | 1211201.4801 | 2555965.9955 | 1211208.117 | 2555968.6242 | 1211214.2011 | 2555972.5989 | 1211227.6239 | 2555976.0411 | 1211261.5071 | 2555982.8227 | 1211315.3773 | 2555983.459 | 1211329.4919 | 2555982.8789 | 1211343.5044 | 2555980.6111 | 1211359.4638 | 2555980.8002 | 1211370.6467 | 2555982.6624 | 1211375.8582 | 2555984.1744 | 1211385.0857 | 2555987.9739 | 1211395.3858 | 2555987.9415 | 1211401.2784 | 2555985.4545 | 1211414.3044 | 2555984.3186 | 1211425.0968 | 2555982.8778 | 1211436.781 | 2555977.8754 | 1211447.7244 | 2555978.4183 | 1211460.5056 | 2555978.2216 | 1211462.675 | 2555977.5123 | 1211470.5181 | 2555977.0956 | 1211486.0858 | 2555977.3825 | 1211495.0779 | 2555978.3563 | 1211502.4194 | 2555981.2252 | 1211509.1688 | 2555983.9276 | 1211514.9744 | 2555989.3167 | 1211524.4734 | 2555992.2662 | 1211533.8904 | 2555993.6773 | 1211539.7612 | 2555995.2232 | 1211545.3641 | 2555996.4882 | 1211549.9686 | 2555999.1275 | 1211557.5201 | 2556003.1441 | 1211566.3734 | 2556012.5401 | 1211583.425 | 2556014.5665 | 1211590.3029 | 2556013.6762 | 1211595.2568 | 2556011.3735 | 1211600.3435 | 2556006.201 | 1211609.8317 | 2555997.3701 | 1211620.8923
30 | 2555968.8174 | 1210625.4346 | 2555961.7522 | 1210623.6969 | 2555953.9935 | 1210623.7433 | 2555918.4488 | 1210627.5642 | 2555881.7343 | 1210629.4151 | 2555867.9259 | 1210629.3953 | 2555855.8121 | 1210627.9522
31 | 2555968.8174 | 1210625.4346 | 2555963.3286 | 1210632.3459 | 2555956.3479 | 1210644.071 | 2555943.1381 | 1210676.6322 | 2555937.2438 | 1210681.1229 | 2555929.8317 | 1210684.8577 | 2555879.6409 | 1210701.6727 | 2555851.8205 | 1210709.9949 | 2555829.7429 | 1210716.9517 | 2555822.9956 | 1210718.1025 | 2555817.6555 | 1210716.3633 | 2555812.7509 | 1210711.8638 | 2555803.8397 | 1210696.899 | 2555799.3887 | 1210691.062 | 2555790.1937 | 1210681.8916 | 2555784.713 | 1210674.5392 | 2555779.7028 | 1210660.9574 | 2555764.6295 | 1210625.7155 | 2555753.2918 | 1210603.3312 | 2555738.6253 | 1210582.984 | 2555732.4896 | 1210576.4703 | 2555726.6757 | 1210570.2988 | 2555722.8389 | 1210565.3245 | 2555719.5083 | 1210556.8888 | 2555714.2695 | 1210537.1385 | 2555711.6564 | 1210525.0509 | 2555699.8171 | 1210494.5546 | 2555695.7324 | 1210486.9139 | 2555694.3157 | 1210484.4452 | 2555692.207 | 1210482.9378
32 | 2555692.207 | 1210482.9378 | 2555685.1623 | 1210473.7849 | 2555672.517 | 1210462.6393 | 2555658.5426 | 1210452.6264 | 2555650.7331 | 1210445.8918 | 2555641.4895 | 1210437.4224 | 2555611.4416 | 1210413.1657 | 2555595.4657 | 1210398.7431 | 2555585.4915 | 1210389.1342 | 2555570.1903 | 1210373.4948 | 2555560.4918 | 1210363.1723 | 2555537.2393 | 1210343.2233
33 | 2555692.207 | 1210482.9378 | 2555687.2741 | 1210483.864 | 2555683.4179 | 1210486.4942 | 2555680.4736 | 1210490.1405 | 2555676.2532 | 1210504.0689 | 2555674.9406 | 1210512.5169 | 2555670.7978 | 1210528.7016 | 2555669.9482 | 1210535.0228
34 | 2555537.2393 | 1210343.2233 | 2555530.0641 | 1210348.1687 | 2555528.4758 | 1210353.2613 | 2555528.5274 | 1210360.1649 | 2555532.099 | 1210374.3576 | 2555533.8241 | 1210387.5635 | 2555531.26 | 1210399.3673 | 2555517.189 | 1210425.2764 | 2555510.1171 | 1210433.8676 | 2555504.2216 | 1210436.1463 | 2555491.7998 | 1210437.6623 | 2555483.056 | 1210440.1625 | 2555471.911 | 1210448.7842 | 2555454.6562 | 1210458.4634 | 2555440.4243 | 1210463.8509 | 2555412.3847 | 1210475.4342 | 2555402.4436 | 1210482.4239 | 2555395.9965 | 1210492.2224 | 2555391.7471 | 1210496.112 | 2555385.6404 | 1210497.5809
35 | 2555669.9482 | 1210535.0228 | 2555669.7707 | 1210541.8058 | 2555670.9572 | 1210558.251 | 2555670.708 | 1210565.5905 | 2555670.1306 | 1210570.72 | 2555667.0062 | 1210578.7368 | 2555661.9811 | 1210587.6794 | 2555656.0482 | 1210597.1625 | 2555650.384 | 1210612.1023 | 2555647.8006 | 1210622.3497 | 2555647.8006 | 1210622.3497

## bus_geodata
| x | y | coords
0 | 2555801.1601 | 1211757.6486
1 | 2555739.2012 | 1211773.3516
2 | 2555824.2069 | 1211728.2491
3 | 2555735.6864 | 1211780.9155
4 | 2555961.6454 | 1211697.09
5 | 2555742.2094 | 1211798.1208
6 | 2555975.3297 | 1211659.4137
7 | 2555996.6162 | 1211732.5027
8 | 2555612.5455 | 1210786.1524
9 | 2555551.8163 | 1210824.3279
10 | 2555615.8085 | 1210750.2919
11 | 2555446.4057 | 1210779.4454
12 | 2555499.0434 | 1210747.027
13 | 2555758.6482 | 1211858.6295
14 | 2555909.5652 | 1211973.996
15 | 2555914.2064 | 1211985.5653
16 | 2555990.1249 | 1212171.6565
17 | 2556053.6584 | 1212196.7683
18 | 2555976.1279 | 1212056.3816
19 | 2555958.0721 | 1212046.2135
20 | 2555985.9707 | 1212056.9091
21 | 2555875.5576 | 1212000.9166
22 | 2555940.5587 | 1212021.0369
23 | 2555868.1285 | 1212000.8885
24 | 2555950.5632 | 1212037.2211
25 | 2556029.017 | 1212072.2393
26 | 2556031.0913 | 1211748.3842
27 | 2555997.3701 | 1211620.8923
28 | 2556164.8779 | 1211745.5074
29 | 2555968.8174 | 1210625.4346
30 | 2555855.8121 | 1210627.9522
31 | 2555692.207 | 1210482.9378
32 | 2555537.2393 | 1210343.2233
33 | 2555669.9482 | 1210535.0228
34 | 2555647.8006 | 1210622.3497
35 | 2555494.4008 | 1210739.5853
36 | 2555385.6404 | 1210497.5809
37 | 2555612.5455 | 1210786.1524

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1