## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6487-7_1_3_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_6487-7_1_3_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_6487-7_1_3_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_6487-7_1_3_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_6487-7_1_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_6487-7_1_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_6487-7_1_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_6487-7_1_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_6487-7_1_3_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_6487-7_1_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_6487-7_1_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6487-7_1_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_6487-7_1_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_6487-7_1_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_6487-7_1_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_6487-7_1_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_6487-7_1_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_6487-7_1_3_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_6487-7_1_3_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_6487-7_1_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6487-7_1_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_6487-7_1_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_6487-7_1_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_6487-7_1_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_6487-7_1_3_node_185 | 0.4 | n |  | TRUE
25 | bus_LV_6487-7_1_3_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_6487-7_1_3_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_6487-7_1_3_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_6487-7_1_3_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_6487-7_1_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_6487-7_1_3_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_6487-7_1_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_6487-7_1_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_6487-7_1_3_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_6487-7_1_3_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_6487-7_1_3_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_6487-7_1_3_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_6487-7_1_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_6487-7_1_3_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_6487-7_1_3_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_6487-7_1_3_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_6487-7_1_3_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_6487-7_1_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_6487-7_1_3_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_6487-7_1_3_node_90 | 0.4 | n |  | TRUE
45 | bus_LV_6487-7_1_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_6487-7_1_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_6487-7_1_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_6487-7_1_3_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_6487-7_1_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_6487-7_1_3_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_6487-7_1_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_6487-7_1_3_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_6487-7_1_3_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_6487-7_1_3_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_6487-7_1_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_6487-7_1_3_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_6487-7_1_3_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_6487-7_1_3_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_6487-7_1_3_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_6487-7_1_3_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_6487-7_1_3_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_6487-7_1_3_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_6487-7_1_3_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_6487-7_1_3_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_6487-7_1_3_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_6487-7_1_3_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_6487-7_1_3_node_84 | 0.4 | n |  | TRUE
68 | bus_MV_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6487-7_1_3_load_7 | 0 | 0.00018773 | 4.7051e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6487-7_1_3_load_8 | 1 | 0.00027556 | 6.9061e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6487-7_1_3_load_9 | 2 | 0.00033689 | 8.4433e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6487-7_1_3_load_46 | 8 | 7.2853e-05 | 1.8259e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6487-7_1_3_load_28 | 9 | 0.0012765 | 0.00031993 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6487-7_1_3_load_26 | 14 | 0.0026781 | 0.0006712 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6487-7_1_3_load_20 | 15 | 0.0043207 | 0.0010829 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6487-7_1_3_load_27 | 16 | 0.0021343 | 0.0005349 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6487-7_1_3_load_41 | 17 | 0.0037792 | 0.00094715 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6487-7_1_3_load_39 | 18 | 0.0040759 | 0.0010215 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6487-7_1_3_load_19 | 19 | 0.022628 | 0.0056712 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6487-7_1_3_load_25 | 23 | 0.00025085 | 6.2869e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6487-7_1_3_load_185 | 24 | 0.00019499 | 4.8868e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6487-7_1_3_load_40 | 25 | 0.0041901 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6487-7_1_3_load_43 | 27 | 0.001328 | 0.00033284 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6487-7_1_3_load_44 | 28 | 0.00011443 | 2.8678e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6487-7_1_3_load_66 | 30 | 0.00010076 | 2.5253e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6487-7_1_3_load_48 | 32 | 0.0001102 | 2.7619e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6487-7_1_3_load_52 | 34 | 8.5239e-05 | 2.1363e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6487-7_1_3_load_70 | 36 | 5.1634e-05 | 1.2941e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6487-7_1_3_load_58 | 38 | 0.00014854 | 3.7228e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6487-7_1_3_load_53 | 40 | 9.1641e-05 | 2.2967e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6487-7_1_3_load_55 | 41 | 0.00013 | 3.2581e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6487-7_1_3_load_90 | 44 | 0.00012006 | 3.0091e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6487-7_1_3_load_62 | 46 | 0.00010026 | 2.5129e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6487-7_1_3_load_59 | 47 | 0.00014449 | 3.6214e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6487-7_1_3_load_64 | 48 | 0.00014972 | 3.7523e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6487-7_1_3_load_60 | 49 | 0.00014235 | 3.5677e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6487-7_1_3_load_61 | 50 | 0.00011066 | 2.7734e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6487-7_1_3_load_63 | 51 | 0.00012835 | 3.2167e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6487-7_1_3_load_65 | 52 | 6.9087e-05 | 1.7315e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6487-7_1_3_load_67 | 53 | 0.00015273 | 3.8278e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6487-7_1_3_load_68 | 54 | 7.5228e-05 | 1.8854e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6487-7_1_3_load_69 | 55 | 0.00024182 | 6.0606e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6487-7_1_3_load_71 | 56 | 9.255e-05 | 2.3195e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6487-7_1_3_load_74 | 58 | 0.00013598 | 3.4079e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6487-7_1_3_load_75 | 59 | 0.00040449 | 0.00010138 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6487-7_1_3_load_76 | 60 | 0.00016569 | 4.1526e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6487-7_1_3_load_79 | 62 | 0.00017235 | 4.3194e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6487-7_1_3_load_80 | 63 | 0.00010481 | 2.6267e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6487-7_1_3_load_81 | 64 | 0.00033921 | 8.5013e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6487-7_1_3_load_82 | 65 | 0.00030201 | 7.569e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6487-7_1_3_load_83 | 66 | 0.00075588 | 0.00018944 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6487-7_1_3_load_84 | 67 | 0.00060928 | 0.0001527 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6487-7_1_3_line_0 |  | 0 | 1 | 0.047101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6487-7_1_3_line_1 |  | 1 | 2 | 0.18228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6487-7_1_3_line_2 |  | 2 | 3 | 0.17118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6487-7_1_3_line_3 |  | 3 | 4 | 0.045545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6487-7_1_3_line_4 |  | 4 | 9 | 0.0066448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6487-7_1_3_line_5 |  | 5 | 6 | 0.066993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6487-7_1_3_line_6 |  | 5 | 7 | 0.083063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6487-7_1_3_line_7 |  | 5 | 8 | 0.16713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6487-7_1_3_line_8 |  | 6 | 15 | 0.029288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6487-7_1_3_line_9 |  | 6 | 12 | 0.024062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6487-7_1_3_line_10 |  | 7 | 17 | 0.0851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6487-7_1_3_line_11 |  | 7 | 18 | 0.14191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6487-7_1_3_line_12 |  | 8 | 31 | 0.037538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6487-7_1_3_line_13 |  | 9 | 10 | 0.011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6487-7_1_3_line_14 |  | 10 | 11 | 0.017074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6487-7_1_3_line_15 |  | 11 | 16 | 0.0066908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6487-7_1_3_line_16 |  | 12 | 13 | 0.013672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6487-7_1_3_line_17 |  | 12 | 14 | 0.023472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6487-7_1_3_line_18 |  | 13 | 16 | 0.0070714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6487-7_1_3_line_19 |  | 15 | 19 | 0.021876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6487-7_1_3_line_20 |  | 17 | 26 | 0.089343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6487-7_1_3_line_21 |  | 18 | 25 | 0.009427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6487-7_1_3_line_22 |  | 19 | 20 | 0.3305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6487-7_1_3_line_23 |  | 20 | 21 | 0.23669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6487-7_1_3_line_24 |  | 20 | 22 | 0.17094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6487-7_1_3_line_25 |  | 21 | 23 | 0.34727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6487-7_1_3_line_26 |  | 22 | 24 | 0.064825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6487-7_1_3_line_27 |  | 26 | 27 | 0.071666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6487-7_1_3_line_28 |  | 26 | 28 | 0.13657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6487-7_1_3_line_29 |  | 28 | 29 | 0.022812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6487-7_1_3_line_30 |  | 29 | 30 | 0.033059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6487-7_1_3_line_31 |  | 30 | 53 | 0.038707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6487-7_1_3_line_32 |  | 31 | 32 | 0.11893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6487-7_1_3_line_33 |  | 31 | 33 | 0.056391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6487-7_1_3_line_34 |  | 32 | 34 | 0.0010512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6487-7_1_3_line_35 |  | 33 | 35 | 0.023753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6487-7_1_3_line_36 |  | 33 | 36 | 0.090552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6487-7_1_3_line_37 |  | 35 | 37 | 0.0082252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6487-7_1_3_line_38 |  | 36 | 56 | 0.25471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6487-7_1_3_line_39 |  | 37 | 38 | 0.059612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6487-7_1_3_line_40 |  | 37 | 39 | 0.030224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6487-7_1_3_line_41 |  | 38 | 48 | 0.029896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6487-7_1_3_line_42 |  | 39 | 42 | 0.04998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6487-7_1_3_line_43 |  | 39 | 40 | 0.014238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6487-7_1_3_line_44 |  | 40 | 41 | 0.019299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6487-7_1_3_line_45 |  | 42 | 46 | 0.025432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6487-7_1_3_line_46 |  | 42 | 47 | 0.039918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6487-7_1_3_line_47 |  | 42 | 43 | 0.017507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6487-7_1_3_line_48 |  | 43 | 44 | 0.022585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6487-7_1_3_line_49 |  | 43 | 45 | 0.042154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6487-7_1_3_line_50 |  | 45 | 64 | 0.021125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6487-7_1_3_line_51 |  | 45 | 60 | 0.03806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6487-7_1_3_line_52 |  | 47 | 49 | 0.023355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6487-7_1_3_line_53 |  | 48 | 52 | 0.019447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6487-7_1_3_line_54 |  | 49 | 50 | 0.025572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6487-7_1_3_line_55 |  | 50 | 51 | 0.016711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6487-7_1_3_line_56 |  | 53 | 54 | 0.024128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6487-7_1_3_line_57 |  | 54 | 55 | 0.031312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6487-7_1_3_line_58 |  | 56 | 57 | 0.031808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6487-7_1_3_line_59 |  | 57 | 58 | 0.12228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6487-7_1_3_line_60 |  | 59 | 60 | 0.090162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6487-7_1_3_line_61 |  | 59 | 61 | 0.016505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6487-7_1_3_line_62 |  | 61 | 62 | 0.010644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6487-7_1_3_line_63 |  | 61 | 63 | 0.047261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6487-7_1_3_line_64 |  | 62 | 65 | 0.046198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6487-7_1_3_line_65 |  | 65 | 66 | 0.13423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6487-7_1_3_line_66 |  | 66 | 67 | 0.012304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6487-7_1_3_trafo_18 | 0.63 MVA 20/0.4 kV | 68 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2556641.7156 | 1213461.3145 | 2556631.7073 | 1213426.3352 | 2556626.0228 | 1213417.2491
1 | 2556710.2684 | 1213602.2105 | 2556704.9999 | 1213600.5256 | 2556689.8431 | 1213611.5202 | 2556676.1899 | 1213581.8022 | 2556641.7156 | 1213461.3145
2 | 2556815.416 | 1213579.3439 | 2556812.901 | 1213578.1837 | 2556809.4442 | 1213575.9853 | 2556803.252 | 1213568.437 | 2556794.9178 | 1213566.1072 | 2556786.5345 | 1213568.5251 | 2556773.9544 | 1213580.8348 | 2556758.0181 | 1213601.6406 | 2556749.2856 | 1213609.2864 | 2556743.3675 | 1213608.0954 | 2556739.1336 | 1213601.4111 | 2556736.7119 | 1213590.0999 | 2556736.6648 | 1213577.3706 | 2556734.2506 | 1213574.4086 | 2556730.3533 | 1213573.2696 | 2556726.8638 | 1213575.9744 | 2556720.0427 | 1213584.2955 | 2556714.1407 | 1213593.6662 | 2556710.2684 | 1213602.2105
3 | 2556790.2107 | 1213607.1766 | 2556799.0034 | 1213596.2953 | 2556809.0081 | 1213584.9604 | 2556815.8286 | 1213588.046 | 2556814.5973 | 1213583.7524 | 2556815.416 | 1213579.3439
4 | 2556790.2107 | 1213607.1766 | 2556786.1015 | 1213612.3984
5 | 2556801.7575 | 1213676.3555 | 2556810.542 | 1213670.6328 | 2556829.5917 | 1213663.3236 | 2556839.273 | 1213661.8525 | 2556850.8928 | 1213661.657 | 2556859.8103 | 1213661.7034 | 2556865.4917 | 1213662.7295
6 | 2556865.4917 | 1213662.7295 | 2556859.8103 | 1213661.7034 | 2556850.8928 | 1213661.657 | 2556857.7787 | 1213672.7135 | 2556871.9753 | 1213683.2501 | 2556892.5977 | 1213699.0321 | 2556902.1562 | 1213705.7779
7 | 2556865.4917 | 1213662.7295 | 2556889.9918 | 1213667.5213 | 2556935.7937 | 1213678.1069 | 2557001.8101 | 1213693.2827 | 2557028.5397 | 1213699.3968
8 | 2556801.7575 | 1213676.3555 | 2556807.0003 | 1213683.933 | 2556808.2395 | 1213698.7216 | 2556812.4367 | 1213701.8469
9 | 2556782.96 | 1213665.0632 | 2556792.1155 | 1213672.779 | 2556797.4755 | 1213671.3948 | 2556801.7575 | 1213676.3555
10 | 2556902.1562 | 1213705.7779 | 2556944.1842 | 1213735.4242 | 2556973.5956 | 1213751.8103
11 | 2556902.1562 | 1213705.7779 | 2556903.5789 | 1213711.3486 | 2556906.0223 | 1213718.3572 | 2556916.3633 | 1213736.6597 | 2556925.4123 | 1213747.5228 | 2556971.064 | 1213789.9061 | 2556981.3667 | 1213799.8152 | 2556981.5755 | 1213803.4825 | 2556977.9024 | 1213805.9994 | 2556969.05 | 1213806.4352
12 | 2557065.1323 | 1213707.7671 | 2557028.5397 | 1213699.3968
13 | 2556786.5705 | 1213623.6349 | 2556786.1015 | 1213612.3984
14 | 2556786.2541 | 1213640.7028 | 2556786.5705 | 1213623.6349
15 | 2556786.2541 | 1213640.7028 | 2556784.1621 | 1213647.0581
16 | 2556782.96 | 1213665.0632 | 2556778.9705 | 1213661.6902 | 2556781.9512 | 1213653.7751
17 | 2556782.96 | 1213665.0632 | 2556782.7716 | 1213685.1319 | 2556782.195 | 1213688.4847
18 | 2556781.9512 | 1213653.7751 | 2556784.1621 | 1213647.0581
19 | 2556829.9827 | 1213714.912 | 2556812.4367 | 1213701.8469
20 | 2557035.1063 | 1213814.8245 | 2557026.0635 | 1213797.424 | 2557003.6234 | 1213775.9625 | 2556980.7062 | 1213755.7719 | 2556973.5956 | 1213751.8103
21 | 2556959.6344 | 1213806.8988 | 2556969.05 | 1213806.4352
22 | 2557017.4022 | 1213974.5905 | 2557009.0619 | 1213966.0903 | 2556997.3795 | 1213954.4012 | 2556971.2874 | 1213939.3477 | 2556960.0796 | 1213934.4815 | 2556947.4201 | 1213927.3801 | 2556940.8669 | 1213922.3468 | 2556934.3929 | 1213916.7014 | 2556917.1883 | 1213890.3105 | 2556907.4085 | 1213872.9045 | 2556905.2374 | 1213865.7383 | 2556886.7157 | 1213832.6642 | 2556862.9419 | 1213787.6212 | 2556850.487 | 1213750.1674 | 2556845.4858 | 1213738.1855 | 2556836.3687 | 1213722.1423 | 2556830.2565 | 1213715.1158 | 2556829.9827 | 1213714.912
23 | 2557203.6278 | 1214114.8522 | 2557183.7586 | 1214106.3236 | 2557172.6115 | 1214098.2213 | 2557158.1524 | 1214087.9194 | 2557154.003 | 1214087.5713 | 2557151.9561 | 1214085.9851 | 2557140.7919 | 1214075.526 | 2557112.6417 | 1214056.162 | 2557086.5597 | 1214043.4649 | 2557066.3291 | 1214031.2148 | 2557061.2169 | 1214026.9159 | 2557048.8132 | 1214008.9171 | 2557017.4022 | 1213974.5905
24 | 2557017.4022 | 1213974.5905 | 2557029.331 | 1213969.9461 | 2557061.5691 | 1213976.8395 | 2557109.9392 | 1213988.9754 | 2557184.6806 | 1213998.1312
25 | 2557203.6278 | 1214114.8522 | 2557231.246 | 1214130.018 | 2557266.7604 | 1214149.0851 | 2557276.2467 | 1214152.2855 | 2557301.0931 | 1214158.0326 | 2557385.0177 | 1214167.6586 | 2557438.3116 | 1214169.8338 | 2557478.1316 | 1214180.4219 | 2557519.1982 | 1214182.6853 | 2557538.7751 | 1214179.7611
26 | 2557184.6806 | 1213998.1312 | 2557192.075 | 1214006.1049 | 2557204.4699 | 1214015.5546 | 2557218.6674 | 1214021.1446 | 2557241.7149 | 1214022.7901
27 | 2557035.1063 | 1213814.8245 | 2557031.8881 | 1213823.5417 | 2557033.1676 | 1213844 | 2557031.8004 | 1213848.1901 | 2557028.8408 | 1213849.6012 | 2557016.0436 | 1213843.4234 | 2557013.8689 | 1213845.1846 | 2557014.7542 | 1213846.8236 | 2557019.2679 | 1213854.4621 | 2557015.8138 | 1213859.9681
28 | 2557035.1063 | 1213814.8245 | 2557047.2907 | 1213835.0038 | 2557063.233 | 1213853.8776 | 2557076.5278 | 1213874.2825 | 2557088.7072 | 1213885.3789 | 2557108.1132 | 1213899.0692 | 2557125.1035 | 1213915.6043
29 | 2557141.5378 | 1213931.425 | 2557127.5492 | 1213917.9846 | 2557125.1035 | 1213915.6043
30 | 2557141.5378 | 1213931.425 | 2557147.54 | 1213930.648 | 2557156.3644 | 1213931.5294 | 2557164.1771 | 1213934.2969 | 2557173.8806 | 1213935.9883
31 | 2557173.8806 | 1213935.9883 | 2557195.6 | 1213939.7739 | 2557211.9611 | 1213942.9174
32 | 2557065.1323 | 1213707.7671 | 2557061.9766 | 1213729.3581 | 2557062.8394 | 1213735.2442 | 2557065.7419 | 1213742.7388 | 2557084.9071 | 1213772.4512 | 2557091.3549 | 1213791.2935 | 2557104.1005 | 1213816.0563
33 | 2557065.1323 | 1213707.7671 | 2557094.7505 | 1213714.5351 | 2557120.1227 | 1213720.2555
34 | 2557104.5816 | 1213816.991 | 2557104.1005 | 1213816.0563
35 | 2557115.519 | 1213696.9751 | 2557116.751 | 1213705.6046 | 2557120.1227 | 1213720.2555
36 | 2557120.1227 | 1213720.2555 | 2557163.6768 | 1213731.0036 | 2557208.1832 | 1213741.3397
37 | 2557114.3438 | 1213688.8343 | 2557114.616 | 1213690.7668 | 2557115.519 | 1213696.9751
38 | 2557208.1832 | 1213741.3397 | 2557218.7449 | 1213743.7925 | 2557229.7042 | 1213745.7704 | 2557240.5401 | 1213747.4935 | 2557259.5669 | 1213749.6247 | 2557278.2376 | 1213750.8357 | 2557300.6774 | 1213751.2304 | 2557326.7146 | 1213750.1651 | 2557347.4884 | 1213748.0927 | 2557364.7186 | 1213745.4231 | 2557383.6109 | 1213741.5188 | 2557409.8878 | 1213734.6933 | 2557450.0976 | 1213723.9881 | 2557458.7738 | 1213721.4719
39 | 2557114.3438 | 1213688.8343 | 2557126.3383 | 1213685.8461 | 2557172.5535 | 1213695.6862
40 | 2557114.3438 | 1213688.8343 | 2557114.1666 | 1213684.2774 | 2557113.0989 | 1213673.1563 | 2557110.793 | 1213658.8535
41 | 2557172.5535 | 1213695.6862 | 2557201.7941 | 1213701.9121
42 | 2557110.793 | 1213658.8535 | 2557106.7223 | 1213642.0841 | 2557101.4389 | 1213625.6681 | 2557098.7229 | 1213617.6942 | 2557104.8347 | 1213614.1702
43 | 2557110.793 | 1213658.8535 | 2557096.6929 | 1213660.829
44 | 2557077.5808 | 1213663.5069 | 2557096.6929 | 1213660.829
45 | 2557104.8347 | 1213614.1702 | 2557124.9951 | 1213598.5935
46 | 2557104.8347 | 1213614.1702 | 2557118.8591 | 1213637.7385 | 2557120.9035 | 1213638.9467 | 2557123.7644 | 1213639.6376 | 2557130.9183 | 1213639.0953
47 | 2557093.727 | 1213608.5137 | 2557098.7229 | 1213617.6942 | 2557104.8347 | 1213614.1702
48 | 2557075.2193 | 1213621.5326 | 2557093.727 | 1213608.5137
49 | 2557064.5031 | 1213578.5737 | 2557069.2914 | 1213582.1523 | 2557082.9878 | 1213593.9159 | 2557088.8014 | 1213600.6335 | 2557093.727 | 1213608.5137
50 | 2557064.5031 | 1213578.5737 | 2557049.503 | 1213593.4907
51 | 2557064.5031 | 1213578.5737 | 2557044.0056 | 1213563.2571 | 2557037.1345 | 1213558.415 | 2557033.9893 | 1213555.8386
52 | 2557130.9183 | 1213639.0953 | 2557154.2061 | 1213637.3299
53 | 2557201.7941 | 1213701.9121 | 2557201.7941 | 1213701.9121 | 2557207.0661 | 1213704.1199 | 2557205.6894 | 1213717.7819
54 | 2557154.2061 | 1213637.3299 | 2557179.7054 | 1213635.3969
55 | 2557196.369 | 1213634.1337 | 2557179.7054 | 1213635.3969
56 | 2557211.9611 | 1213942.9174 | 2557223.0414 | 1213945.0463 | 2557235.007 | 1213949.7171
57 | 2557235.007 | 1213949.7171 | 2557241.7783 | 1213952.3603 | 2557265.6118 | 1213955.5257
58 | 2557489.3229 | 1213712.6121 | 2557458.7738 | 1213721.4719
59 | 2557489.3229 | 1213712.6121 | 2557501.9111 | 1213707.6526 | 2557516.3606 | 1213700.6119 | 2557529.6368 | 1213692.0009 | 2557542.332 | 1213681.7932 | 2557559.9079 | 1213662.6232 | 2557569.451 | 1213648.1578 | 2557576.8391 | 1213635.0418 | 2557577.6237 | 1213633.0221
60 | 2556988.0662 | 1213482.8128 | 2556988.101 | 1213487.6279 | 2556989.1426 | 1213496.1698 | 2556991.7947 | 1213504.7223 | 2556994.7428 | 1213513.2616 | 2556998.2153 | 1213520.7742 | 2557002.5095 | 1213527.436 | 2557009.031 | 1213535.3935 | 2557033.9893 | 1213555.8386
61 | 2556993.2722 | 1213467.4676 | 2556989.7466 | 1213473.6078 | 2556988.0463 | 1213480.0683 | 2556988.0662 | 1213482.8128
62 | 2556993.2722 | 1213467.4676 | 2556998.5439 | 1213464.3388 | 2557003.009 | 1213463.6809
63 | 2556993.2722 | 1213467.4676 | 2556989.1794 | 1213462.4053 | 2556969.745 | 1213451.3172 | 2556959.4335 | 1213436.1066
64 | 2557048.9091 | 1213467.7841 | 2557029.3405 | 1213466.8844 | 2557005.13 | 1213463.3684 | 2557003.009 | 1213463.6809
65 | 2557048.9091 | 1213467.7841 | 2557050.236 | 1213467.8451 | 2557078.1932 | 1213467.432 | 2557095.4266 | 1213466.1736 | 2557105.8027 | 1213464.0975 | 2557110.6541 | 1213460.6161 | 2557116.6184 | 1213455.5701 | 2557118.3925 | 1213448.7867 | 2557118.4187 | 1213441.8825 | 2557116.1502 | 1213432.7824 | 2557107.8516 | 1213409.0728 | 2557103.8666 | 1213394.7376
66 | 2557103.8666 | 1213394.7376 | 2557103.8666 | 1213394.7376 | 2557103.9031 | 1213382.4338

## bus_geodata
| x | y | coords
0 | 2556626.0228 | 1213417.2491
1 | 2556641.7156 | 1213461.3145
2 | 2556710.2684 | 1213602.2105
3 | 2556815.416 | 1213579.3439
4 | 2556790.2107 | 1213607.1766
5 | 2556865.4917 | 1213662.7295
6 | 2556801.7575 | 1213676.3555
7 | 2556902.1562 | 1213705.7779
8 | 2557028.5396 | 1213699.3968
9 | 2556786.1015 | 1213612.3984
10 | 2556786.5705 | 1213623.6349
11 | 2556786.2541 | 1213640.7028
12 | 2556782.96 | 1213665.0632
13 | 2556781.9512 | 1213653.7751
14 | 2556782.195 | 1213688.4847
15 | 2556812.4367 | 1213701.8469
16 | 2556784.1621 | 1213647.0581
17 | 2556973.5956 | 1213751.8103
18 | 2556969.05 | 1213806.4352
19 | 2556829.9827 | 1213714.912
20 | 2557017.4022 | 1213974.5905
21 | 2557203.6278 | 1214114.8522
22 | 2557184.6806 | 1213998.1312
23 | 2557538.7751 | 1214179.7611
24 | 2557241.7149 | 1214022.7901
25 | 2556959.6344 | 1213806.8988
26 | 2557035.1063 | 1213814.8245
27 | 2557015.8138 | 1213859.9681
28 | 2557125.1035 | 1213915.6043
29 | 2557141.5378 | 1213931.425
30 | 2557173.8806 | 1213935.9883
31 | 2557065.1323 | 1213707.7671
32 | 2557104.1005 | 1213816.0563
33 | 2557120.1227 | 1213720.2555
34 | 2557104.5816 | 1213816.991
35 | 2557115.519 | 1213696.9751
36 | 2557208.1832 | 1213741.3397
37 | 2557114.3438 | 1213688.8343
38 | 2557172.5535 | 1213695.6862
39 | 2557110.793 | 1213658.8535
40 | 2557096.6929 | 1213660.829
41 | 2557077.5808 | 1213663.5069
42 | 2557104.8347 | 1213614.1702
43 | 2557093.727 | 1213608.5137
44 | 2557075.2193 | 1213621.5326
45 | 2557064.5031 | 1213578.5737
46 | 2557124.9951 | 1213598.5935
47 | 2557130.9183 | 1213639.0953
48 | 2557201.7941 | 1213701.9121
49 | 2557154.2061 | 1213637.3299
50 | 2557179.7054 | 1213635.3969
51 | 2557196.369 | 1213634.1337
52 | 2557205.6894 | 1213717.7819
53 | 2557211.9611 | 1213942.9174
54 | 2557235.007 | 1213949.7171
55 | 2557265.6118 | 1213955.5257
56 | 2557458.7738 | 1213721.4719
57 | 2557489.3229 | 1213712.6121
58 | 2557577.6237 | 1213633.0221
59 | 2556988.0662 | 1213482.8128
60 | 2557033.9893 | 1213555.8386
61 | 2556993.2722 | 1213467.4676
62 | 2557003.009 | 1213463.6809
63 | 2556959.4335 | 1213436.1066
64 | 2557049.503 | 1213593.4907
65 | 2557048.9091 | 1213467.7841
66 | 2557103.8666 | 1213394.7376
67 | 2557103.9031 | 1213382.4338
68 | 2556902.1562 | 1213705.7779

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1