## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6708-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6708-3_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6708-3_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_6708-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6708-3_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6708-3_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6708-3_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6708-3_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6708-3_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_6708-3_0_6_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6708-3_0_6_node_199 | 0.4 | n |  | TRUE
11 | bus_LV_6708-3_0_6_node_200 | 0.4 | n |  | TRUE
12 | bus_LV_6708-3_0_6_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_6708-3_0_6_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_6708-3_0_6_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_6708-3_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6708-3_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6708-3_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6708-3_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6708-3_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6708-3_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6708-3_0_6_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_6708-3_0_6_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_6708-3_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6708-3_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6708-3_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6708-3_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6708-3_0_6_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_6708-3_0_6_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_6708-3_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_6708-3_0_6_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_6708-3_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6708-3_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_6708-3_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6708-3_0_6_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_6708-3_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_6708-3_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_6708-3_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_6708-3_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_6708-3_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_6708-3_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_6708-3_0_6_node_228 | 0.4 | n |  | TRUE
42 | bus_LV_6708-3_0_6_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_6708-3_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_6708-3_0_6_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_6708-3_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_6708-3_0_6_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_6708-3_0_6_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_6708-3_0_6_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_6708-3_0_6_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_6708-3_0_6_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6708-3_0_6_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_6708-3_0_6_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_6708-3_0_6_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_6708-3_0_6_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_6708-3_0_6_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_6708-3_0_6_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_6708-3_0_6_node_90 | 0.4 | n |  | TRUE
58 | bus_LV_6708-3_0_6_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_6708-3_0_6_node_105 | 0.4 | n |  | TRUE
60 | bus_LV_6708-3_0_6_node_104 | 0.4 | n |  | TRUE
61 | bus_LV_6708-3_0_6_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_6708-3_0_6_node_92 | 0.4 | n |  | TRUE
63 | bus_LV_6708-3_0_6_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_6708-3_0_6_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_6708-3_0_6_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_6708-3_0_6_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_6708-3_0_6_node_98 | 0.4 | n |  | TRUE
68 | bus_LV_6708-3_0_6_node_106 | 0.4 | n |  | TRUE
69 | bus_LV_6708-3_0_6_node_126 | 0.4 | n |  | TRUE
70 | bus_LV_6708-3_0_6_node_107 | 0.4 | n |  | TRUE
71 | bus_LV_6708-3_0_6_node_108 | 0.4 | n |  | TRUE
72 | bus_LV_6708-3_0_6_node_109 | 0.4 | n |  | TRUE
73 | bus_LV_6708-3_0_6_node_110 | 0.4 | n |  | TRUE
74 | bus_LV_6708-3_0_6_node_123 | 0.4 | n |  | TRUE
75 | bus_LV_6708-3_0_6_node_124 | 0.4 | n |  | TRUE
76 | bus_LV_6708-3_0_6_node_125 | 0.4 | n |  | TRUE
77 | bus_LV_6708-3_0_6_node_127 | 0.4 | n |  | TRUE
78 | bus_LV_6708-3_0_6_node_128 | 0.4 | n |  | TRUE
79 | bus_LV_6708-3_0_6_node_137 | 0.4 | n |  | TRUE
80 | bus_LV_6708-3_0_6_node_160 | 0.4 | n |  | TRUE
81 | bus_LV_6708-3_0_6_node_138 | 0.4 | n |  | TRUE
82 | bus_LV_6708-3_0_6_node_129 | 0.4 | n |  | TRUE
83 | bus_MV_293_1_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6708-3_0_6_load_0 | 0 | 0.0027125 | 0.00067983 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6708-3_0_6_load_2 | 1 | 0.0028171 | 0.00070602 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6708-3_0_6_load_4 | 2 | 0.0028799 | 0.00072177 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6708-3_0_6_load_5 | 4 | 0.0014844 | 0.00037203 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6708-3_0_6_load_6 | 5 | 0.0016708 | 0.00041873 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6708-3_0_6_load_7 | 6 | 0.0031823 | 0.00079757 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6708-3_0_6_load_199 | 10 | 0.0030407 | 0.00076208 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6708-3_0_6_load_200 | 11 | 0.001331 | 0.00033359 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6708-3_0_6_load_37 | 14 | 0.0017818 | 0.00044657 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6708-3_0_6_load_11 | 15 | 0.00095351 | 0.00023897 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6708-3_0_6_load_12 | 16 | 0.0023109 | 0.00057917 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6708-3_0_6_load_13 | 17 | 0.0018828 | 0.00047187 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6708-3_0_6_load_15 | 19 | 0.0037636 | 0.00094324 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6708-3_0_6_load_16 | 20 | 0.0043515 | 0.0010906 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6708-3_0_6_load_22 | 21 | 0.0013196 | 0.00033071 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6708-3_0_6_load_23 | 22 | 0.0023677 | 0.0005934 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6708-3_0_6_load_17 | 23 | 0.0029768 | 0.00074605 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6708-3_0_6_load_18 | 24 | 0.0033392 | 0.00083688 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6708-3_0_6_load_19 | 25 | 0.0006512 | 0.00016321 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6708-3_0_6_load_34 | 27 | 0.0053224 | 0.0013339 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6708-3_0_6_load_39 | 28 | 0.00038437 | 9.6332e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6708-3_0_6_load_24 | 29 | 0.0012991 | 0.0003256 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6708-3_0_6_load_40 | 30 | 0.0020019 | 0.00050171 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6708-3_0_6_load_26 | 32 | 0.0027701 | 0.00069424 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6708-3_0_6_load_27 | 33 | 0.001939 | 0.00048596 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6708-3_0_6_load_28 | 34 | 0.0024023 | 0.00060208 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6708-3_0_6_load_29 | 35 | 0.00083537 | 0.00020936 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6708-3_0_6_load_30 | 36 | 0.0025013 | 0.00062688 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6708-3_0_6_load_31 | 37 | 0.0052661 | 0.0013198 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6708-3_0_6_load_33 | 39 | 0.0011105 | 0.00027833 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6708-3_0_6_load_35 | 40 | 0.0032867 | 0.00082372 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6708-3_0_6_load_228 | 41 | 0.00066112 | 0.00016569 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6708-3_0_6_load_47 | 42 | 0.00086646 | 0.00021715 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6708-3_0_6_load_41 | 43 | 0.00032031 | 8.0278e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6708-3_0_6_load_42 | 44 | 0.0016829 | 0.00042177 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6708-3_0_6_load_43 | 45 | 0.0014997 | 0.00037586 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6708-3_0_6_load_44 | 46 | 0.0095864 | 0.0024026 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6708-3_0_6_load_45 | 47 | 0.00089778 | 0.000225 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6708-3_0_6_load_48 | 50 | 0.0007766 | 0.00019463 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6708-3_0_6_load_83 | 51 | 0.0076403 | 0.0019148 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6708-3_0_6_load_84 | 52 | 0.0052892 | 0.0013256 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6708-3_0_6_load_87 | 55 | 0.0032175 | 0.00080637 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6708-3_0_6_load_89 | 56 | 0.0047292 | 0.0011853 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6708-3_0_6_load_90 | 57 | 0.0022585 | 0.00056603 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6708-3_0_6_load_105 | 59 | 0.00027846 | 6.9788e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6708-3_0_6_load_104 | 60 | 0.00018647 | 4.6734e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6708-3_0_6_load_91 | 61 | 0.00028564 | 7.1589e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6708-3_0_6_load_92 | 62 | 7.5316e-05 | 1.8876e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6708-3_0_6_load_93 | 63 | 0.00012818 | 3.2125e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6708-3_0_6_load_94 | 64 | 0.00016106 | 4.0366e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6708-3_0_6_load_96 | 66 | 7.5237e-05 | 1.8856e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6708-3_0_6_load_98 | 67 | 0.00032551 | 8.1581e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6708-3_0_6_load_106 | 68 | 0.00020184 | 5.0586e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6708-3_0_6_load_107 | 70 | 0.0033727 | 0.00084528 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6708-3_0_6_load_108 | 71 | 0.0003388 | 8.4911e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6708-3_0_6_load_109 | 72 | 0.0068944 | 0.0017279 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6708-3_0_6_load_123 | 74 | 0.00010518 | 2.6361e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6708-3_0_6_load_124 | 75 | 0.0001089 | 2.7292e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6708-3_0_6_load_128 | 78 | 0.059376 | 0.014881 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6708-3_0_6_load_137 | 79 | 0.052357 | 0.013122 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6708-3_0_6_load_160 | 80 | 0.036486 | 0.0091442 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6708-3_0_6_load_129 | 82 | 0.060514 | 0.015166 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6708-3_0_6_line_0 |  | 0 | 1 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6708-3_0_6_line_1 |  | 1 | 2 | 0.099993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6708-3_0_6_line_2 |  | 2 | 3 | 0.1078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6708-3_0_6_line_3 |  | 3 | 4 | 0.16628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6708-3_0_6_line_4 |  | 4 | 5 | 0.0041827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6708-3_0_6_line_5 |  | 5 | 6 | 0.020114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6708-3_0_6_line_6 |  | 6 | 7 | 0.040155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6708-3_0_6_line_7 |  | 7 | 8 | 0.03825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6708-3_0_6_line_8 |  | 7 | 9 | 0.042836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6708-3_0_6_line_9 |  | 8 | 10 | 0.012246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6708-3_0_6_line_10 |  | 8 | 11 | 0.017857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6708-3_0_6_line_11 |  | 9 | 12 | 0.084847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6708-3_0_6_line_12 |  | 9 | 13 | 0.018568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6708-3_0_6_line_13 |  | 9 | 14 | 0.013124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6708-3_0_6_line_14 |  | 12 | 41 | 0.039568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6708-3_0_6_line_15 |  | 13 | 26 | 0.027644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6708-3_0_6_line_16 |  | 13 | 25 | 0.019659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6708-3_0_6_line_17 |  | 14 | 40 | 0.0098902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6708-3_0_6_line_18 |  | 15 | 16 | 0.01642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6708-3_0_6_line_19 |  | 15 | 17 | 0.022697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6708-3_0_6_line_20 |  | 16 | 18 | 0.02187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6708-3_0_6_line_21 |  | 18 | 19 | 0.02307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6708-3_0_6_line_22 |  | 18 | 20 | 0.043615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6708-3_0_6_line_23 |  | 19 | 21 | 0.045597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6708-3_0_6_line_24 |  | 20 | 22 | 0.012194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6708-3_0_6_line_25 |  | 21 | 29 | 0.0087662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6708-3_0_6_line_26 |  | 22 | 30 | 0.014548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6708-3_0_6_line_27 |  | 23 | 24 | 0.0083462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6708-3_0_6_line_28 |  | 23 | 25 | 0.042547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6708-3_0_6_line_29 |  | 26 | 27 | 0.014933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6708-3_0_6_line_30 |  | 26 | 28 | 0.0039222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6708-3_0_6_line_31 |  | 28 | 34 | 0.01441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6708-3_0_6_line_32 |  | 29 | 31 | 0.014883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6708-3_0_6_line_33 |  | 30 | 42 | 0.5215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6708-3_0_6_line_34 |  | 31 | 32 | 0.058231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6708-3_0_6_line_35 |  | 31 | 33 | 0.011362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6708-3_0_6_line_36 |  | 33 | 34 | 0.0035635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6708-3_0_6_line_37 |  | 35 | 36 | 0.00029514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6708-3_0_6_line_38 |  | 35 | 37 | 0.015873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6708-3_0_6_line_39 |  | 37 | 38 | 0.01148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6708-3_0_6_line_40 |  | 37 | 39 | 0.024015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6708-3_0_6_line_41 |  | 38 | 40 | 0.027573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6708-3_0_6_line_42 |  | 42 | 49 | 0.003238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6708-3_0_6_line_43 |  | 42 | 48 | 0.068674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6708-3_0_6_line_44 |  | 43 | 44 | 0.0068511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6708-3_0_6_line_45 |  | 43 | 45 | 0.033499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6708-3_0_6_line_46 |  | 44 | 46 | 0.010555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6708-3_0_6_line_47 |  | 46 | 47 | 0.0029552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6708-3_0_6_line_48 |  | 47 | 48 | 0.083648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6708-3_0_6_line_49 |  | 49 | 51 | 0.059907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6708-3_0_6_line_50 |  | 49 | 50 | 0.046419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6708-3_0_6_line_51 |  | 51 | 52 | 0.0098993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6708-3_0_6_line_52 |  | 52 | 53 | 0.043331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6708-3_0_6_line_53 |  | 53 | 54 | 0.023367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6708-3_0_6_line_54 |  | 53 | 55 | 0.028417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6708-3_0_6_line_55 |  | 54 | 56 | 0.012092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6708-3_0_6_line_56 |  | 55 | 57 | 0.0013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6708-3_0_6_line_57 |  | 57 | 60 | 0.0096234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6708-3_0_6_line_58 |  | 58 | 59 | 0.013696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6708-3_0_6_line_59 |  | 58 | 60 | 0.011655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6708-3_0_6_line_60 |  | 59 | 67 | 0.0060237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6708-3_0_6_line_61 |  | 61 | 62 | 0.0014727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6708-3_0_6_line_62 |  | 61 | 63 | 6.325e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6708-3_0_6_line_63 |  | 62 | 64 | 0.023028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6708-3_0_6_line_64 |  | 63 | 65 | 0.022489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_6708-3_0_6_line_65 |  | 64 | 66 | 0.039221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6708-3_0_6_line_66 |  | 65 | 67 | 0.0086849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6708-3_0_6_line_67 |  | 66 | 68 | 0.0072742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6708-3_0_6_line_68 |  | 68 | 69 | 0.035128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_6708-3_0_6_line_69 |  | 69 | 73 | 0.054244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_6708-3_0_6_line_70 |  | 70 | 71 | 0.00069882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6708-3_0_6_line_71 |  | 71 | 72 | 0.029438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6708-3_0_6_line_72 |  | 72 | 73 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6708-3_0_6_line_73 |  | 73 | 74 | 0.0079891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6708-3_0_6_line_74 |  | 74 | 75 | 0.0014339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6708-3_0_6_line_75 |  | 75 | 76 | 0.083602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_6708-3_0_6_line_76 |  | 76 | 77 | 0.033821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6708-3_0_6_line_77 |  | 76 | 78 | 0.027018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6708-3_0_6_line_78 |  | 77 | 79 | 0.030498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6708-3_0_6_line_79 |  | 77 | 80 | 0.15584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6708-3_0_6_line_80 |  | 78 | 81 | 0.041594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6708-3_0_6_line_81 |  | 81 | 82 | 0.020328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6708-3_0_6_trafo_124 | 0.63 MVA 20/0.4 kV | 83 | 75 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2594623.1433 | 1241299.9172 | 2594631.8251 | 1241303.2335 | 2594635.2431 | 1241303.9885
1 | 2594623.1433 | 1241299.9172 | 2594656.0088 | 1241205.4799
2 | 2594746.9466 | 1241184.2883 | 2594741.814 | 1241185.0378 | 2594732.7239 | 1241190.2604 | 2594724.0901 | 1241198.4288 | 2594711.3639 | 1241212.2711 | 2594700.2245 | 1241216.8062 | 2594690.4523 | 1241219.9949 | 2594676.3518 | 1241218.8736 | 2594664.7433 | 1241214.5704 | 2594656.0088 | 1241205.4799
3 | 2594799.0473 | 1241026.3769 | 2594746.9466 | 1241184.2883
4 | 2594800.3882 | 1241022.415 | 2594799.0473 | 1241026.3769
5 | 2594808.0454 | 1241003.8302 | 2594802.0096 | 1241017.6243 | 2594800.3882 | 1241022.415
6 | 2594827.747 | 1240968.8823 | 2594810.4826 | 1240998.2603 | 2594808.0454 | 1241003.8302
7 | 2594795.1062 | 1240948.7876 | 2594827.747 | 1240968.8823
8 | 2594827.747 | 1240968.8823 | 2594836.3303 | 1240954.2878 | 2594848.4494 | 1240936.933 | 2594849.5642 | 1240932.3292
9 | 2594795.1062 | 1240948.7876 | 2594786.8054 | 1240957.8117
10 | 2594795.1062 | 1240948.7876 | 2594803.1036 | 1240932.8217
11 | 2594831.227 | 1241014.074 | 2594832.5 | 1241000.2754 | 2594836.1896 | 1240983.3393 | 2594842.3694 | 1240961.0978 | 2594847.0378 | 1240948.0745 | 2594849.9722 | 1240940.5895 | 2594848.4494 | 1240936.933 | 2594849.5642 | 1240932.3292
12 | 2594849.5642 | 1240932.3292 | 2594858.6749 | 1240932.7214 | 2594867.7979 | 1240930.0673
13 | 2594849.5642 | 1240932.3292 | 2594851.6735 | 1240923.633 | 2594851.5295 | 1240919.4601
14 | 2594831.227 | 1241014.074 | 2594841.7818 | 1241014.8207 | 2594855.7769 | 1241016.0202 | 2594866.5293 | 1241026.5284
15 | 2594881.5822 | 1240906.0847 | 2594873.9201 | 1240919.4998 | 2594867.7979 | 1240930.0673
16 | 2594867.7979 | 1240930.0673 | 2594885.8287 | 1240937.9013
17 | 2594851.5295 | 1240919.4601 | 2594851.3166 | 1240913.2936 | 2594850.587 | 1240909.6459
18 | 2594994.5095 | 1240986.6827 | 2594980.7068 | 1240977.7881
19 | 2595013.5871 | 1240998.9782 | 2595010.8073 | 1240997.1852 | 2594994.5095 | 1240986.6827
20 | 2594984.9093 | 1240957.3938 | 2594979.2191 | 1240969.4284 | 2594980.5341 | 1240977.6768 | 2594980.7068 | 1240977.7881
21 | 2594984.9093 | 1240957.3938 | 2594966.5672 | 1240943.4014
22 | 2594984.9093 | 1240957.3938 | 2595010.5685 | 1240974.3935 | 2595021.6329 | 1240980.8987
23 | 2594933.0621 | 1240912.501 | 2594943.4246 | 1240921.3182 | 2594966.2607 | 1240943.1676 | 2594966.5672 | 1240943.4014
24 | 2595032.1444 | 1240987.0789 | 2595021.6329 | 1240980.8987
25 | 2594926.3857 | 1240906.8201 | 2594933.0621 | 1240912.501
26 | 2595032.1444 | 1240987.0789 | 2595036.3622 | 1240989.5587 | 2595043.6602 | 1240995.8803
27 | 2594924.852 | 1240954.8561 | 2594932.5069 | 1240958.182
28 | 2594885.8287 | 1240937.9013 | 2594924.852 | 1240954.8561
29 | 2594881.5822 | 1240906.0847 | 2594870.8331 | 1240895.7195
30 | 2594881.5822 | 1240906.0847 | 2594885.3669 | 1240905.0554
31 | 2594899.272 | 1240901.2735 | 2594885.3669 | 1240905.0554
32 | 2594913.9723 | 1240898.763 | 2594921.8085 | 1240902.9255 | 2594926.3857 | 1240906.8201
33 | 2595043.6602 | 1240995.8803 | 2595405.5261 | 1241371.4031
34 | 2594913.9723 | 1240898.763 | 2594913.3404 | 1240885.0773 | 2594907.175 | 1240872.2858 | 2594897.589 | 1240864.3448 | 2594892.0741 | 1240860.5361 | 2594885.7695 | 1240851.3021
35 | 2594913.9723 | 1240898.763 | 2594902.7418 | 1240900.4853
36 | 2594899.272 | 1240901.2735 | 2594901.4312 | 1240900.6863 | 2594902.7418 | 1240900.4853
37 | 2594822.3043 | 1240875.616 | 2594822.0125 | 1240875.6603
38 | 2594837.9976 | 1240873.2359 | 2594822.3043 | 1240875.616
39 | 2594837.9976 | 1240873.2359 | 2594842.7358 | 1240879.28 | 2594843.7597 | 1240882.948
40 | 2594837.9976 | 1240873.2359 | 2594826.4194 | 1240861.2498 | 2594821.7048 | 1240855.6108
41 | 2594843.7597 | 1240882.948 | 2594849.0308 | 1240901.8662 | 2594850.587 | 1240909.6459
42 | 2595407.8803 | 1241369.1801 | 2595405.5261 | 1241371.4031
43 | 2595359.1991 | 1241421.818 | 2595367.4825 | 1241409.6372 | 2595384.3348 | 1241392.4798 | 2595397.3573 | 1241379.1168 | 2595405.5261 | 1241371.4031
44 | 2595308.727 | 1241512.7436 | 2595311.8922 | 1241506.6675
45 | 2595308.727 | 1241512.7436 | 2595304.0025 | 1241521.8133 | 2595296.1467 | 1241538.9637 | 2595294.7212 | 1241543.1355
46 | 2595316.7686 | 1241497.3063 | 2595311.8922 | 1241506.6675
47 | 2595318.1339 | 1241494.6854 | 2595316.7686 | 1241497.3063
48 | 2595359.1991 | 1241421.818 | 2595342.4472 | 1241450.994 | 2595322.5027 | 1241486.2986 | 2595318.1339 | 1241494.6854
49 | 2595407.8803 | 1241369.1801 | 2595434.4562 | 1241344.088 | 2595443.5969 | 1241335.4644 | 2595451.4422 | 1241328.0558
50 | 2595407.8803 | 1241369.1801 | 2595438.3739 | 1241404.178
51 | 2595451.4422 | 1241328.0558 | 2595458.6395 | 1241321.2591
52 | 2595490.1469 | 1241291.512 | 2595485.4858 | 1241295.9072 | 2595458.6395 | 1241321.2591
53 | 2595490.1469 | 1241291.512 | 2595507.0763 | 1241275.3555
54 | 2595490.1469 | 1241291.512 | 2595509.7657 | 1241312.0694
55 | 2595507.0763 | 1241275.3555 | 2595515.8264 | 1241267.0097
56 | 2595510.7265 | 1241313.0762 | 2595510.7265 | 1241313.0762 | 2595509.7657 | 1241312.0694
57 | 2595510.7265 | 1241313.0762 | 2595518.5074 | 1241307.4134
58 | 2595527.9309 | 1241300.5552 | 2595538.388 | 1241292.9314 | 2595538.9678 | 1241292.4487
59 | 2595527.9309 | 1241300.5552 | 2595518.5074 | 1241307.4134
60 | 2595543.5973 | 1241288.5948 | 2595538.9678 | 1241292.4487
61 | 2595567.6012 | 1241268.6047 | 2595568.7328 | 1241267.6621
62 | 2595567.5526 | 1241268.6452 | 2595567.6012 | 1241268.6047
63 | 2595568.7328 | 1241267.6621 | 2595574.6149 | 1241262.7628 | 2595583.6326 | 1241250.313
64 | 2595550.2722 | 1241283.0383 | 2595567.5526 | 1241268.6452
65 | 2595583.6326 | 1241250.313 | 2595602.5502 | 1241224.1954 | 2595606.0449 | 1241218.1629
66 | 2595550.2722 | 1241283.0383 | 2595543.5973 | 1241288.5948
67 | 2595606.0449 | 1241218.1629 | 2595609.6912 | 1241211.8686
68 | 2595627.2999 | 1241181.4724 | 2595609.6912 | 1241211.8686
69 | 2595577.2135 | 1241160.297 | 2595627.2999 | 1241181.4724
70 | 2595557.7735 | 1241209.914 | 2595558.0664 | 1241209.2795
71 | 2595569.2582 | 1241182.079 | 2595564.0862 | 1241196.2405 | 2595558.0664 | 1241209.2795
72 | 2595577.2135 | 1241160.297 | 2595569.2582 | 1241182.079
73 | 2595577.2135 | 1241160.297 | 2595580.413 | 1241152.9766
74 | 2595580.413 | 1241152.9766 | 2595580.9872 | 1241151.6627
75 | 2595610.3369 | 1241073.4513 | 2595605.6238 | 1241089.4315 | 2595601.195 | 1241101.32 | 2595585.968 | 1241140.2668 | 2595580.9872 | 1241151.6627
76 | 2595616.3753 | 1241040.2594 | 2595612.4641 | 1241067.0679 | 2595610.3369 | 1241073.4513
77 | 2595610.3369 | 1241073.4513 | 2595635.7172 | 1241082.7138
78 | 2595616.3753 | 1241040.2594 | 2595646.009 | 1241047.4699
79 | 2595616.3753 | 1241040.2594 | 2595606.5789 | 1240884.723
80 | 2595674.7901 | 1241096.9733 | 2595635.7172 | 1241082.7138
81 | 2595674.7901 | 1241096.9733 | 2595668.7131 | 1241116.3712

## bus_geodata
| x | y | coords
0 | 2594635.2431 | 1241303.9885
1 | 2594623.1433 | 1241299.9172
2 | 2594656.0088 | 1241205.4799
3 | 2594746.9466 | 1241184.2883
4 | 2594799.0473 | 1241026.3769
5 | 2594800.3882 | 1241022.415
6 | 2594808.0454 | 1241003.8302
7 | 2594827.747 | 1240968.8823
8 | 2594795.1062 | 1240948.7876
9 | 2594849.5642 | 1240932.3292
10 | 2594786.8054 | 1240957.8117
11 | 2594803.1036 | 1240932.8217
12 | 2594831.227 | 1241014.074
13 | 2594867.7979 | 1240930.0673
14 | 2594851.5295 | 1240919.4601
15 | 2594994.5095 | 1240986.6827
16 | 2594980.7068 | 1240977.7881
17 | 2595013.5871 | 1240998.9782
18 | 2594984.9093 | 1240957.3938
19 | 2594966.5672 | 1240943.4014
20 | 2595021.6329 | 1240980.8987
21 | 2594933.0621 | 1240912.501
22 | 2595032.1444 | 1240987.0789
23 | 2594924.852 | 1240954.8561
24 | 2594932.5069 | 1240958.182
25 | 2594885.8287 | 1240937.9013
26 | 2594881.5822 | 1240906.0847
27 | 2594870.8331 | 1240895.7195
28 | 2594885.3669 | 1240905.0554
29 | 2594926.3857 | 1240906.8201
30 | 2595043.6602 | 1240995.8803
31 | 2594913.9723 | 1240898.763
32 | 2594885.7695 | 1240851.3021
33 | 2594902.7418 | 1240900.4853
34 | 2594899.272 | 1240901.2735
35 | 2594822.3043 | 1240875.616
36 | 2594822.0125 | 1240875.6603
37 | 2594837.9976 | 1240873.2359
38 | 2594843.7597 | 1240882.948
39 | 2594821.7048 | 1240855.6108
40 | 2594850.587 | 1240909.6459
41 | 2594866.5293 | 1241026.5284
42 | 2595405.5261 | 1241371.4031
43 | 2595308.727 | 1241512.7436
44 | 2595311.8922 | 1241506.6675
45 | 2595294.7212 | 1241543.1355
46 | 2595316.7686 | 1241497.3063
47 | 2595318.1339 | 1241494.6854
48 | 2595359.1991 | 1241421.818
49 | 2595407.8803 | 1241369.1801
50 | 2595438.3739 | 1241404.178
51 | 2595451.4422 | 1241328.0558
52 | 2595458.6395 | 1241321.2591
53 | 2595490.1469 | 1241291.512
54 | 2595507.0763 | 1241275.3555
55 | 2595509.7657 | 1241312.0694
56 | 2595515.8264 | 1241267.0097
57 | 2595510.7265 | 1241313.0762
58 | 2595527.9309 | 1241300.5552
59 | 2595538.9678 | 1241292.4487
60 | 2595518.5074 | 1241307.4134
61 | 2595567.6012 | 1241268.6047
62 | 2595568.7328 | 1241267.6621
63 | 2595567.5526 | 1241268.6452
64 | 2595583.6326 | 1241250.313
65 | 2595550.2722 | 1241283.0383
66 | 2595606.0449 | 1241218.1629
67 | 2595543.5973 | 1241288.5948
68 | 2595609.6912 | 1241211.8686
69 | 2595627.2999 | 1241181.4724
70 | 2595557.7735 | 1241209.914
71 | 2595558.0664 | 1241209.2795
72 | 2595569.2582 | 1241182.079
73 | 2595577.2135 | 1241160.297
74 | 2595580.413 | 1241152.9766
75 | 2595580.9872 | 1241151.6627
76 | 2595610.3369 | 1241073.4513
77 | 2595616.3753 | 1241040.2594
78 | 2595635.7172 | 1241082.7138
79 | 2595646.009 | 1241047.4699
80 | 2595606.5789 | 1240884.723
81 | 2595674.7901 | 1241096.9733
82 | 2595668.7131 | 1241116.3712
83 | 2595577.2135 | 1241160.297

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1