## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6710-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6710-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6710-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6710-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6710-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6710-2_0_6_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_6710-2_0_6_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_6710-2_0_6_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_6710-2_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6710-2_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6710-2_0_6_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_6710-2_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6710-2_0_6_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_6710-2_0_6_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_6710-2_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6710-2_0_6_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_6710-2_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6710-2_0_6_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_6710-2_0_6_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_6710-2_0_6_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_6710-2_0_6_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_6710-2_0_6_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_6710-2_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6710-2_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6710-2_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6710-2_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6710-2_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6710-2_0_6_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_6710-2_0_6_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_6710-2_0_6_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_6710-2_0_6_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_6710-2_0_6_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_6710-2_0_6_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_6710-2_0_6_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_6710-2_0_6_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_6710-2_0_6_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_6710-2_0_6_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_6710-2_0_6_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_6710-2_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6710-2_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_6710-2_0_6_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_6710-2_0_6_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_6710-2_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_6710-2_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_6710-2_0_6_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_6710-2_0_6_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_6710-2_0_6_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_6710-2_0_6_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_6710-2_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_6710-2_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_6710-2_0_6_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_6710-2_0_6_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_6710-2_0_6_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_6710-2_0_6_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_6710-2_0_6_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_6710-2_0_6_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_6710-2_0_6_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_6710-2_0_6_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_6710-2_0_6_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_6710-2_0_6_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_6710-2_0_6_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_6710-2_0_6_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_6710-2_0_6_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_6710-2_0_6_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_6710-2_0_6_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_6710-2_0_6_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_6710-2_0_6_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_6710-2_0_6_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_6710-2_0_6_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_6710-2_0_6_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_6710-2_0_6_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_6710-2_0_6_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_6710-2_0_6_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_6710-2_0_6_node_43 | 0.4 | n |  | TRUE
74 | bus_LV_6710-2_0_6_node_44 | 0.4 | n |  | TRUE
75 | bus_LV_6710-2_0_6_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_6710-2_0_6_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_6710-2_0_6_node_47 | 0.4 | n |  | TRUE
78 | bus_LV_6710-2_0_6_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_6710-2_0_6_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_6710-2_0_6_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_6710-2_0_6_node_65 | 0.4 | n |  | TRUE
82 | bus_MV_331_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6710-2_0_6_load_0 | 0 | 0.00046746 | 0.00011716 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6710-2_0_6_load_1 | 1 | 0.00065506 | 0.00016417 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6710-2_0_6_load_2 | 2 | 0.0029257 | 0.00073324 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6710-2_0_6_load_3 | 3 | 0.0085835 | 0.0021512 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6710-2_0_6_load_4 | 4 | 0.004459 | 0.0011175 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6710-2_0_6_load_56 | 5 | 0.0099789 | 0.002501 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6710-2_0_6_load_57 | 6 | 0.054861 | 0.013749 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6710-2_0_6_load_53 | 7 | 0.016664 | 0.0041763 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6710-2_0_6_load_6 | 9 | 0.00078837 | 0.00019758 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6710-2_0_6_load_8 | 11 | 0.001226 | 0.00030726 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6710-2_0_6_load_62 | 12 | 0.0053775 | 0.0013477 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6710-2_0_6_load_54 | 13 | 0.012491 | 0.0031305 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6710-2_0_6_load_7 | 14 | 0.0057503 | 0.0014412 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6710-2_0_6_load_83 | 15 | 0.00065899 | 0.00016516 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6710-2_0_6_load_9 | 16 | 0.0025552 | 0.00064039 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6710-2_0_6_load_64 | 17 | 0.0037314 | 0.00093518 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6710-2_0_6_load_66 | 18 | 0.0035644 | 0.00089331 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6710-2_0_6_load_63 | 19 | 0.003565 | 0.00089347 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6710-2_0_6_load_68 | 20 | 0.0040985 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6710-2_0_6_load_67 | 21 | 0.0033964 | 0.00085123 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6710-2_0_6_load_11 | 22 | 0.0019224 | 0.00048179 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6710-2_0_6_load_12 | 23 | 0.0028416 | 0.00071218 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6710-2_0_6_load_13 | 24 | 0.0015661 | 0.00039249 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6710-2_0_6_load_14 | 25 | 0.0074967 | 0.0018788 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6710-2_0_6_load_15 | 26 | 0.0048546 | 0.0012167 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6710-2_0_6_load_34 | 27 | 0.0046684 | 0.00117 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6710-2_0_6_load_33 | 28 | 0.0025273 | 0.00063339 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6710-2_0_6_load_29 | 29 | 0.0023437 | 0.00058738 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6710-2_0_6_load_51 | 30 | 0.0052885 | 0.0013254 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6710-2_0_6_load_27 | 31 | 0.0023495 | 0.00058884 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6710-2_0_6_load_52 | 32 | 0.0044952 | 0.0011266 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6710-2_0_6_load_50 | 33 | 0.0021661 | 0.00054287 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6710-2_0_6_load_48 | 34 | 0.0028221 | 0.00070729 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6710-2_0_6_load_16 | 35 | 0.0060089 | 0.001506 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6710-2_0_6_load_25 | 38 | 0.0047536 | 0.0011914 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6710-2_0_6_load_28 | 39 | 0.0089348 | 0.0022393 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6710-2_0_6_load_22 | 40 | 0.0043319 | 0.0010857 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6710-2_0_6_load_23 | 41 | 0.0034557 | 0.00086609 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6710-2_0_6_load_24 | 42 | 0.010487 | 0.0026283 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6710-2_0_6_load_40 | 44 | 0.0031483 | 0.00078904 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6710-2_0_6_load_19 | 45 | 0.0016779 | 0.00042052 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6710-2_0_6_load_39 | 48 | 0.0032338 | 0.00081047 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6710-2_0_6_load_41 | 49 | 0.0056979 | 0.001428 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6710-2_0_6_load_81 | 52 | 0.0018657 | 0.0004676 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6710-2_0_6_load_73 | 54 | 0.0014242 | 0.00035694 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6710-2_0_6_load_80 | 55 | 0.0026074 | 0.00065347 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6710-2_0_6_load_30 | 56 | 0.068429 | 0.01715 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6710-2_0_6_load_31 | 57 | 0.04776 | 0.01197 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6710-2_0_6_load_70 | 58 | 0.00013665 | 3.4247e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6710-2_0_6_load_71 | 59 | 0.0015719 | 0.00039396 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6710-2_0_6_load_82 | 60 | 0.0015444 | 0.00038705 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6710-2_0_6_load_75 | 61 | 0.0018806 | 0.00047132 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6710-2_0_6_load_76 | 62 | 0.0017555 | 0.00043996 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6710-2_0_6_load_77 | 63 | 0.0015308 | 0.00038366 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6710-2_0_6_load_78 | 64 | 0.00064129 | 0.00016072 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6710-2_0_6_load_79 | 65 | 0.0018378 | 0.0004606 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6710-2_0_6_load_36 | 66 | 0.0018515 | 0.00046404 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6710-2_0_6_load_35 | 67 | 0.037999 | 0.0095234 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6710-2_0_6_load_37 | 68 | 0.0019579 | 0.00049068 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6710-2_0_6_load_45 | 70 | 0.0020685 | 0.00051841 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6710-2_0_6_load_42 | 71 | 0.0048124 | 0.0012061 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6710-2_0_6_load_58 | 72 | 0.0031815 | 0.00079736 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6710-2_0_6_load_43 | 73 | 0.0028671 | 0.00071855 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6710-2_0_6_load_44 | 74 | 0.0029321 | 0.00073486 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6710-2_0_6_load_49 | 75 | 0.0033845 | 0.00084824 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6710-2_0_6_load_46 | 76 | 0.0027451 | 0.00068798 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6710-2_0_6_load_47 | 77 | 0.0033189 | 0.0008318 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6710-2_0_6_load_61 | 78 | 0.034218 | 0.0085759 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6710-2_0_6_load_59 | 79 | 0.0069232 | 0.0017351 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6710-2_0_6_load_60 | 80 | 0.017734 | 0.0044446 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6710-2_0_6_load_65 | 81 | 0.0019437 | 0.00048714 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6710-2_0_6_line_0 |  | 0 | 1 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_6710-2_0_6_line_1 |  | 0 | 2 | 0.0012881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_6710-2_0_6_line_2 |  | 1 | 3 | 0.04479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6710-2_0_6_line_3 |  | 2 | 4 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_6710-2_0_6_line_4 |  | 3 | 8 | 0.025431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6710-2_0_6_line_5 |  | 4 | 9 | 0.032435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6710-2_0_6_line_6 |  | 5 | 6 | 0.0089146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6710-2_0_6_line_7 |  | 5 | 7 | 0.063399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6710-2_0_6_line_8 |  | 6 | 74 | 0.038568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6710-2_0_6_line_9 |  | 8 | 10 | 0.012608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6710-2_0_6_line_10 |  | 9 | 11 | 0.053127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6710-2_0_6_line_11 |  | 10 | 12 | 0.029957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6710-2_0_6_line_12 |  | 10 | 13 | 0.055551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6710-2_0_6_line_13 |  | 11 | 16 | 0.010591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6710-2_0_6_line_14 |  | 11 | 14 | 0.012581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6710-2_0_6_line_15 |  | 12 | 80 | 0.011155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6710-2_0_6_line_16 |  | 14 | 15 | 0.23173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6710-2_0_6_line_17 |  | 16 | 17 | 0.059526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6710-2_0_6_line_18 |  | 17 | 18 | 0.017607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6710-2_0_6_line_19 |  | 17 | 19 | 0.0020574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6710-2_0_6_line_20 |  | 18 | 21 | 0.0001922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6710-2_0_6_line_21 |  | 19 | 81 | 0.009433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6710-2_0_6_line_22 |  | 20 | 21 | 0.021296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6710-2_0_6_line_23 |  | 22 | 23 | 0.014371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6710-2_0_6_line_24 |  | 22 | 24 | 0.0058823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6710-2_0_6_line_25 |  | 23 | 25 | 0.0046884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6710-2_0_6_line_26 |  | 24 | 26 | 0.028922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_6710-2_0_6_line_27 |  | 25 | 29 | 0.026596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6710-2_0_6_line_28 |  | 25 | 27 | 0.057063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_6710-2_0_6_line_29 |  | 26 | 30 | 0.0011091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_6710-2_0_6_line_30 |  | 27 | 28 | 0.0051216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_6710-2_0_6_line_31 |  | 28 | 38 | 0.010104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6710-2_0_6_line_32 |  | 29 | 31 | 0.042647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6710-2_0_6_line_33 |  | 30 | 32 | 0.014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6710-2_0_6_line_34 |  | 31 | 39 | 0.0008254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6710-2_0_6_line_35 |  | 32 | 78 | 0.018694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6710-2_0_6_line_36 |  | 33 | 34 | 0.0053395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6710-2_0_6_line_37 |  | 34 | 76 | 0.02721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6710-2_0_6_line_38 |  | 35 | 36 | 0.052885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6710-2_0_6_line_39 |  | 36 | 37 | 0.076143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6710-2_0_6_line_40 |  | 37 | 39 | 0.074839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6710-2_0_6_line_41 |  | 38 | 41 | 0.024053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_6710-2_0_6_line_42 |  | 40 | 41 | 0.0083705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6710-2_0_6_line_43 |  | 40 | 42 | 0.029128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6710-2_0_6_line_44 |  | 42 | 43 | 0.020442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6710-2_0_6_line_45 |  | 43 | 44 | 0.042178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6710-2_0_6_line_46 |  | 44 | 49 | 0.019571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6710-2_0_6_line_47 |  | 45 | 46 | 0.022303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6710-2_0_6_line_48 |  | 46 | 47 | 0.055754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6710-2_0_6_line_49 |  | 46 | 48 | 0.053222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6710-2_0_6_line_50 |  | 47 | 51 | 0.02341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6710-2_0_6_line_51 |  | 47 | 52 | 0.011418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6710-2_0_6_line_52 |  | 48 | 49 | 0.035278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6710-2_0_6_line_53 |  | 48 | 50 | 0.017784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_6710-2_0_6_line_54 |  | 50 | 66 | 0.034216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_6710-2_0_6_line_55 |  | 50 | 57 | 0.011384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6710-2_0_6_line_56 |  | 51 | 53 | 0.040928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6710-2_0_6_line_57 |  | 51 | 54 | 0.028684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6710-2_0_6_line_58 |  | 52 | 55 | 0.044506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6710-2_0_6_line_59 |  | 53 | 60 | 0.020098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6710-2_0_6_line_60 |  | 53 | 59 | 0.019763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6710-2_0_6_line_61 |  | 56 | 57 | 0.042211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6710-2_0_6_line_62 |  | 58 | 59 | 0.04246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6710-2_0_6_line_63 |  | 60 | 65 | 0.02105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6710-2_0_6_line_64 |  | 61 | 62 | 0.022422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6710-2_0_6_line_65 |  | 61 | 63 | 0.0067566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6710-2_0_6_line_66 |  | 62 | 64 | 0.00051931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6710-2_0_6_line_67 |  | 63 | 65 | 0.020215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6710-2_0_6_line_68 |  | 66 | 67 | 0.0068819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_6710-2_0_6_line_69 |  | 67 | 68 | 0.014836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_6710-2_0_6_line_70 |  | 68 | 69 | 0.019179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_6710-2_0_6_line_71 |  | 69 | 70 | 0.015307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_6710-2_0_6_line_72 |  | 69 | 71 | 0.0098281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6710-2_0_6_line_73 |  | 70 | 72 | 0.025552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_6710-2_0_6_line_74 |  | 71 | 73 | 0.032796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6710-2_0_6_line_75 |  | 72 | 75 | 0.012261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_6710-2_0_6_line_76 |  | 73 | 74 | 0.0013232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6710-2_0_6_line_77 |  | 75 | 77 | 0.022652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_6710-2_0_6_line_78 |  | 76 | 77 | 0.0023807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_6710-2_0_6_line_79 |  | 78 | 79 | 0.042329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_6710-2_0_6_line_80 |  | 79 | 80 | 0.011157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6710-2_0_6_trafo_46 | 0.63 MVA 20/0.4 kV | 82 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2590769.2556 | 1243924.3026 | 2590774.1976 | 1243918.6894 | 2590778.8184 | 1243915.7722
1 | 2590769.2556 | 1243924.3026 | 2590768.4045 | 1243925.2693 | 2590768.4045 | 1243925.2693
2 | 2590778.8184 | 1243915.7722 | 2590784.2078 | 1243912.3698 | 2590796.5948 | 1243908.6703 | 2590822.0519 | 1243907.3983
3 | 2590768.4045 | 1243925.2693 | 2590766.6795 | 1243938.6614
4 | 2590847.3007 | 1243904.4996 | 2590828.0656 | 1243907.0979 | 2590822.0519 | 1243907.3983
5 | 2590761.7924 | 1243970.7203 | 2590763.9153 | 1243958.5863 | 2590765.6945 | 1243946.3091 | 2590766.6795 | 1243938.6614
6 | 2590942.3413 | 1243836.1432 | 2590945.6082 | 1243827.8488
7 | 2590942.3413 | 1243836.1432 | 2590986.6638 | 1243881.4751
8 | 2590959.7422 | 1243791.9641 | 2590945.6082 | 1243827.8488
9 | 2590843.7983 | 1243892.3863 | 2590847.3007 | 1243904.4996
10 | 2590761.7924 | 1243970.7203 | 2590786.9569 | 1244017.5095
11 | 2590843.7983 | 1243892.3863 | 2590840.3949 | 1243880.8732 | 2590837.9862 | 1243867.5241 | 2590837.4779 | 1243863.1671
12 | 2590843.7983 | 1243892.3863 | 2590856.6262 | 1243895.1903 | 2590898.5165 | 1243888.5087
13 | 2590797.1538 | 1244020.3706 | 2590786.9569 | 1244017.5095 | 2590786.9569 | 1244017.5095
14 | 2590784.031 | 1244029.7454 | 2590786.9569 | 1244017.5095
15 | 2590837.4779 | 1243863.1671 | 2590836.185 | 1243852.0872
16 | 2590784.031 | 1244029.7454 | 2590564.6261 | 1244104.3279
17 | 2590810.8356 | 1243962.4384 | 2590797.1538 | 1244020.3706
18 | 2590810.8356 | 1243962.4384 | 2590828.0072 | 1243966.3314
19 | 2590808.8292 | 1243961.9835 | 2590810.8356 | 1243962.4384
20 | 2590828.0072 | 1243966.3314 | 2590828.1946 | 1243966.3739
21 | 2590799.6296 | 1243959.8978 | 2590808.8292 | 1243961.9835
22 | 2590828.1946 | 1243966.3739 | 2590844.5843 | 1243970.0896 | 2590849.0663 | 1243969.8166
23 | 2590827.0508 | 1243730.3256 | 2590826.7552 | 1243715.958
24 | 2590827.0508 | 1243730.3256 | 2590827.0736 | 1243731.4332 | 2590827.2571 | 1243736.2042
25 | 2590826.6588 | 1243711.2706 | 2590826.7552 | 1243715.958
26 | 2590828.3685 | 1243765.1047 | 2590827.2571 | 1243736.2042
27 | 2590826.6588 | 1243711.2706 | 2590826.1116 | 1243684.68
28 | 2590883.3304 | 1243704.5955 | 2590826.6588 | 1243711.2706
29 | 2590828.3685 | 1243765.1047 | 2590828.4111 | 1243766.213
30 | 2590883.3304 | 1243704.5955 | 2590884.9994 | 1243699.7534
31 | 2590888.2918 | 1243690.201 | 2590884.9994 | 1243699.7534
32 | 2590825.2129 | 1243642.0429 | 2590825.4709 | 1243653.5422 | 2590826.1116 | 1243684.68
33 | 2590828.4111 | 1243766.213 | 2590828.9531 | 1243780.3063
34 | 2590825.1944 | 1243641.2177 | 2590825.2129 | 1243642.0429
35 | 2590829.9864 | 1243798.9622 | 2590829.5153 | 1243794.9249 | 2590828.9531 | 1243780.3063
36 | 2590903.9692 | 1243783.3131 | 2590906.1823 | 1243778.4538
37 | 2590917.4602 | 1243753.6911 | 2590906.1823 | 1243778.4538
38 | 2590787.2684 | 1243608.7737 | 2590785.6664 | 1243613.6459 | 2590775.8154 | 1243660.375
39 | 2590787.2684 | 1243608.7737 | 2590793.2779 | 1243590.4972 | 2590801.7737 | 1243562.6553 | 2590816.4576 | 1243558.1628 | 2590817.2482 | 1243561.1635 | 2590819.0206 | 1243563.7179 | 2590821.5475 | 1243565.5373 | 2590824.5414 | 1243566.3887
40 | 2590824.5414 | 1243566.3887 | 2590824.3897 | 1243585.4009 | 2590824.3582 | 1243603.946 | 2590824.5125 | 1243610.8279 | 2590825.1944 | 1243641.2177
41 | 2590888.2918 | 1243690.201 | 2590896.1298 | 1243667.4604
42 | 2590898.8574 | 1243659.5468 | 2590896.1298 | 1243667.4604
43 | 2590898.8574 | 1243659.5468 | 2590905.3806 | 1243640.621 | 2590908.6265 | 1243632.1095
44 | 2590915.9101 | 1243613.0096 | 2590908.6265 | 1243632.1095
45 | 2590915.9101 | 1243613.0096 | 2590919.6543 | 1243615.2497 | 2590950.752 | 1243636.7647
46 | 2590950.752 | 1243636.7647 | 2590952.2521 | 1243637.8025 | 2590966.0548 | 1243648.9581
47 | 2591030.8533 | 1243633.6795 | 2591037.0957 | 1243612.268
48 | 2591030.8533 | 1243633.6795 | 2591063.3445 | 1243656.1108 | 2591065.3568 | 1243657.4975 | 2591072.8837 | 1243662.6338 | 2591076.6743 | 1243665.6188
49 | 2590993.2888 | 1243671.3818 | 2591030.8533 | 1243633.6795
50 | 2591096.2361 | 1243678.564 | 2591076.6743 | 1243665.6188
51 | 2591076.6743 | 1243665.6188 | 2591080.1761 | 1243654.7512
52 | 2590966.0548 | 1243648.9581 | 2590970.9939 | 1243652.9499 | 2590993.2888 | 1243671.3818
53 | 2591006.9954 | 1243682.7135 | 2590993.2888 | 1243671.3818
54 | 2591006.9954 | 1243682.7135 | 2590994.2666 | 1243710.3504 | 2590992.7334 | 1243713.8155
55 | 2591006.9954 | 1243682.7135 | 2591015.4951 | 1243690.2864
56 | 2591128.8288 | 1243703.4415 | 2591096.2361 | 1243678.564
57 | 2591096.2361 | 1243678.564 | 2591104.7789 | 1243651.1812
58 | 2591093.826 | 1243612.3901 | 2591080.1761 | 1243654.7512
59 | 2591128.8288 | 1243703.4415 | 2591132.5736 | 1243691.1837 | 2591134.6789 | 1243684.2141
60 | 2591128.8288 | 1243703.4415 | 2591144.5716 | 1243715.389
61 | 2591046.1065 | 1243719.2734 | 2591043.5541 | 1243716.3789 | 2591035.2508 | 1243707.6194 | 2591027.7371 | 1243701.1935 | 2591015.4951 | 1243690.2864
62 | 2591178.0118 | 1243741.5442 | 2591169.5091 | 1243734.7222 | 2591164.6213 | 1243730.6492 | 2591160.2786 | 1243727.3092 | 2591144.5716 | 1243715.389
63 | 2591140.7659 | 1243664.0636 | 2591134.6789 | 1243684.2141
64 | 2591147.3935 | 1243637.9221 | 2591152.8135 | 1243616.1649
65 | 2591147.3935 | 1243637.9221 | 2591145.7602 | 1243644.4783
66 | 2591152.9391 | 1243615.661 | 2591152.8135 | 1243616.1649
67 | 2591145.7602 | 1243644.4783 | 2591141.4239 | 1243661.8852 | 2591140.7659 | 1243664.0636
68 | 2590989.9488 | 1243720.1088 | 2590992.7334 | 1243713.8155
69 | 2590989.9488 | 1243720.1088 | 2590983.9456 | 1243733.6763
70 | 2590976.1853 | 1243751.215 | 2590983.9456 | 1243733.6763
71 | 2590976.1853 | 1243751.215 | 2590962.393 | 1243744.5765
72 | 2590976.1853 | 1243751.215 | 2590972.5932 | 1243759.3367 | 2590972.2459 | 1243760.2183
73 | 2590939.3695 | 1243733.4949 | 2590962.393 | 1243744.5765
74 | 2590972.2459 | 1243760.2183 | 2590960.2271 | 1243790.733
75 | 2590927.8357 | 1243730.9099 | 2590932.966 | 1243730.4128 | 2590939.3695 | 1243733.4949
76 | 2590960.2271 | 1243790.733 | 2590959.7422 | 1243791.9641
77 | 2590918.447 | 1243751.5245 | 2590927.8357 | 1243730.9099 | 2590927.8357 | 1243730.9099
78 | 2590917.4602 | 1243753.6911 | 2590918.447 | 1243751.5245
79 | 2590834.892 | 1243841.0055 | 2590829.9864 | 1243798.9622
80 | 2590834.892 | 1243841.0055 | 2590836.185 | 1243852.0872

## bus_geodata
| x | y | coords
0 | 2590769.2556 | 1243924.3026
1 | 2590778.8184 | 1243915.7722
2 | 2590768.4045 | 1243925.2693
3 | 2590822.0519 | 1243907.3983
4 | 2590766.6795 | 1243938.6614
5 | 2590942.3413 | 1243836.1432
6 | 2590945.6082 | 1243827.8488
7 | 2590986.6638 | 1243881.4751
8 | 2590847.3007 | 1243904.4996
9 | 2590761.7924 | 1243970.7203
10 | 2590843.7983 | 1243892.3863
11 | 2590786.9569 | 1244017.5095
12 | 2590837.4779 | 1243863.1671
13 | 2590898.5165 | 1243888.5087
14 | 2590784.031 | 1244029.7454
15 | 2590564.6261 | 1244104.3279
16 | 2590797.1538 | 1244020.3706
17 | 2590810.8356 | 1243962.4384
18 | 2590828.0072 | 1243966.3314
19 | 2590808.8292 | 1243961.9835
20 | 2590849.0663 | 1243969.8166
21 | 2590828.1946 | 1243966.3739
22 | 2590827.0508 | 1243730.3256
23 | 2590826.7552 | 1243715.958
24 | 2590827.2571 | 1243736.2042
25 | 2590826.6588 | 1243711.2706
26 | 2590828.3685 | 1243765.1047
27 | 2590883.3304 | 1243704.5955
28 | 2590884.9994 | 1243699.7534
29 | 2590826.1116 | 1243684.68
30 | 2590828.4111 | 1243766.213
31 | 2590825.2129 | 1243642.0429
32 | 2590828.9531 | 1243780.3063
33 | 2590903.9692 | 1243783.3131
34 | 2590906.1823 | 1243778.4538
35 | 2590775.8154 | 1243660.375
36 | 2590787.2684 | 1243608.7737
37 | 2590824.5414 | 1243566.3887
38 | 2590888.2918 | 1243690.201
39 | 2590825.1944 | 1243641.2177
40 | 2590898.8574 | 1243659.5468
41 | 2590896.1298 | 1243667.4604
42 | 2590908.6265 | 1243632.1095
43 | 2590915.9101 | 1243613.0096
44 | 2590950.752 | 1243636.7647
45 | 2591037.0957 | 1243612.268
46 | 2591030.8533 | 1243633.6795
47 | 2591076.6743 | 1243665.6188
48 | 2590993.2888 | 1243671.3818
49 | 2590966.0548 | 1243648.9581
50 | 2591006.9954 | 1243682.7135
51 | 2591096.2361 | 1243678.564
52 | 2591080.1761 | 1243654.7512
53 | 2591128.8288 | 1243703.4415
54 | 2591104.7789 | 1243651.1812
55 | 2591093.826 | 1243612.3901
56 | 2591046.1065 | 1243719.2734
57 | 2591015.4951 | 1243690.2864
58 | 2591178.0118 | 1243741.5442
59 | 2591144.5716 | 1243715.3889
60 | 2591134.6789 | 1243684.2141
61 | 2591147.3935 | 1243637.9221
62 | 2591152.8135 | 1243616.1649
63 | 2591145.7602 | 1243644.4783
64 | 2591152.9391 | 1243615.661
65 | 2591140.7659 | 1243664.0636
66 | 2590992.7334 | 1243713.8155
67 | 2590989.9488 | 1243720.1088
68 | 2590983.9456 | 1243733.6763
69 | 2590976.1853 | 1243751.215
70 | 2590962.393 | 1243744.5765
71 | 2590972.2459 | 1243760.2183
72 | 2590939.3695 | 1243733.4949
73 | 2590960.2271 | 1243790.733
74 | 2590959.7422 | 1243791.9641
75 | 2590927.8357 | 1243730.9099
76 | 2590917.4602 | 1243753.6911
77 | 2590918.447 | 1243751.5245
78 | 2590829.9864 | 1243798.9622
79 | 2590834.892 | 1243841.0055
80 | 2590836.185 | 1243852.0872
81 | 2590799.6296 | 1243959.8978
82 | 2590903.9692 | 1243783.3131

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1