## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6710-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6710-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6710-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6710-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6710-3_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6710-3_0_6_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_6710-3_0_6_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_6710-3_0_6_node_82 | 0.4 | n |  | TRUE
8 | bus_LV_6710-3_0_6_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_6710-3_0_6_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_6710-3_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6710-3_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6710-3_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6710-3_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6710-3_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6710-3_0_6_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_6710-3_0_6_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_6710-3_0_6_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_6710-3_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6710-3_0_6_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_6710-3_0_6_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_6710-3_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_6710-3_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6710-3_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6710-3_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6710-3_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6710-3_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6710-3_0_6_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6710-3_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6710-3_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6710-3_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6710-3_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_6710-3_0_6_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_6710-3_0_6_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_6710-3_0_6_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_6710-3_0_6_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_6710-3_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6710-3_0_6_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_6710-3_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_6710-3_0_6_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_6710-3_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6710-3_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_6710-3_0_6_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_6710-3_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6710-3_0_6_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_6710-3_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_6710-3_0_6_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_6710-3_0_6_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_6710-3_0_6_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_6710-3_0_6_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_6710-3_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_6710-3_0_6_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6710-3_0_6_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_6710-3_0_6_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_6710-3_0_6_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_6710-3_0_6_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_6710-3_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_6710-3_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_6710-3_0_6_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_6710-3_0_6_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_6710-3_0_6_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_6710-3_0_6_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_6710-3_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_6710-3_0_6_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_6710-3_0_6_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_6710-3_0_6_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_6710-3_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_6710-3_0_6_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_6710-3_0_6_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_6710-3_0_6_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_6710-3_0_6_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_6710-3_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_6710-3_0_6_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_6710-3_0_6_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_6710-3_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_6710-3_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6710-3_0_6_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_6710-3_0_6_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_6710-3_0_6_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_6710-3_0_6_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6710-3_0_6_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_6710-3_0_6_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_6710-3_0_6_node_79 | 0.4 | n |  | TRUE
83 | bus_MV_331_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6710-3_0_6_load_0 | 0 | 0.0014971 | 0.00037522 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6710-3_0_6_load_1 | 1 | 0.002644 | 0.00066265 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6710-3_0_6_load_2 | 2 | 0.0027115 | 0.00067956 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6710-3_0_6_load_4 | 4 | 0.0019077 | 0.00047812 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6710-3_0_6_load_28 | 5 | 0.0034947 | 0.00087585 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6710-3_0_6_load_25 | 6 | 0.0055966 | 0.0014026 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6710-3_0_6_load_82 | 7 | 0.00066926 | 0.00016773 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6710-3_0_6_load_52 | 8 | 0.0062108 | 0.0015566 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6710-3_0_6_load_26 | 9 | 0.003111 | 0.0007797 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6710-3_0_6_load_5 | 10 | 0.010734 | 0.0026903 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6710-3_0_6_load_6 | 11 | 0.00093098 | 0.00023333 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6710-3_0_6_load_9 | 14 | 0.0044624 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6710-3_0_6_load_41 | 16 | 0.0035648 | 0.00089342 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6710-3_0_6_load_72 | 17 | 0.00046278 | 0.00011598 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6710-3_0_6_load_13 | 18 | 0.00044448 | 0.0001114 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6710-3_0_6_load_57 | 20 | 0.0067513 | 0.001692 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6710-3_0_6_load_10 | 21 | 0.00045925 | 0.0001151 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6710-3_0_6_load_11 | 22 | 0.0013014 | 0.00032616 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6710-3_0_6_load_12 | 23 | 0.0010069 | 0.00025235 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6710-3_0_6_load_14 | 24 | 0.001073 | 0.00026893 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6710-3_0_6_load_19 | 27 | 0.0061199 | 0.0015338 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6710-3_0_6_load_15 | 28 | 0.0065401 | 0.0016391 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6710-3_0_6_load_16 | 29 | 0.00033804 | 8.472e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6710-3_0_6_load_17 | 30 | 0.0010942 | 0.00027422 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6710-3_0_6_load_44 | 33 | 0.0016859 | 0.00042251 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6710-3_0_6_load_39 | 34 | 0.00085965 | 0.00021545 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6710-3_0_6_load_35 | 35 | 0.0003866 | 9.689e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6710-3_0_6_load_24 | 36 | 0.0019678 | 0.00049319 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6710-3_0_6_load_37 | 37 | 0.0056968 | 0.0014277 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6710-3_0_6_load_32 | 38 | 0.0020056 | 0.00050266 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6710-3_0_6_load_81 | 39 | 0.0057 | 0.0014286 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6710-3_0_6_load_30 | 40 | 0.0019845 | 0.00049736 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6710-3_0_6_load_22 | 41 | 0.0018741 | 0.00046971 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6710-3_0_6_load_23 | 42 | 0.0012086 | 0.00030289 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6710-3_0_6_load_29 | 43 | 0.0010853 | 0.00027201 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6710-3_0_6_load_31 | 44 | 0.0021654 | 0.00054269 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6710-3_0_6_load_33 | 45 | 0.0009761 | 0.00024463 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6710-3_0_6_load_78 | 47 | 0.0053392 | 0.0013381 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6710-3_0_6_load_46 | 48 | 0.0017638 | 0.00044204 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6710-3_0_6_load_34 | 49 | 0.00015533 | 3.8929e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6710-3_0_6_load_38 | 50 | 0.00034761 | 8.712e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6710-3_0_6_load_40 | 51 | 0.00025765 | 6.4574e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6710-3_0_6_load_50 | 52 | 0.0012339 | 0.00030923 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6710-3_0_6_load_61 | 54 | 0.0074067 | 0.0018563 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6710-3_0_6_load_43 | 55 | 0.003565 | 0.00089346 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6710-3_0_6_load_45 | 56 | 0.00070958 | 0.00017784 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6710-3_0_6_load_49 | 58 | 0.00094924 | 0.0002379 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6710-3_0_6_load_80 | 59 | 0.00066991 | 0.0001679 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6710-3_0_6_load_76 | 60 | 0.0019418 | 0.00048666 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6710-3_0_6_load_53 | 61 | 0.0016575 | 0.00041541 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6710-3_0_6_load_54 | 62 | 0.00097937 | 0.00024545 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6710-3_0_6_load_55 | 63 | 0.00074672 | 0.00018715 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6710-3_0_6_load_56 | 64 | 0.0010781 | 0.0002702 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6710-3_0_6_load_65 | 65 | 0.001611 | 0.00040376 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6710-3_0_6_load_58 | 66 | 0.00052069 | 0.0001305 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6710-3_0_6_load_59 | 67 | 0.00036651 | 9.1855e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6710-3_0_6_load_60 | 68 | 0.065267 | 0.016358 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6710-3_0_6_load_62 | 69 | 0.007189 | 0.0018017 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6710-3_0_6_load_63 | 70 | 0.023987 | 0.0060118 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6710-3_0_6_load_67 | 72 | 0.022719 | 0.005694 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6710-3_0_6_load_66 | 73 | 0.0075518 | 0.0018927 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6710-3_0_6_load_70 | 74 | 0.030415 | 0.0076226 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6710-3_0_6_load_71 | 75 | 0.030194 | 0.0075672 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6710-3_0_6_load_69 | 76 | 0.025799 | 0.0064658 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6710-3_0_6_load_68 | 77 | 0.029428 | 0.0073754 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6710-3_0_6_load_73 | 78 | 0.0023721 | 0.00059451 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6710-3_0_6_load_74 | 79 | 0.0027238 | 0.00068264 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6710-3_0_6_load_77 | 81 | 0.0011072 | 0.00027749 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6710-3_0_6_load_79 | 82 | 0.00068983 | 0.00017289 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6710-3_0_6_line_0 |  | 0 | 1 | 0.065278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6710-3_0_6_line_1 |  | 0 | 2 | 0.02793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6710-3_0_6_line_2 |  | 1 | 3 | 0.022626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6710-3_0_6_line_3 |  | 2 | 4 | 0.0024417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6710-3_0_6_line_4 |  | 3 | 5 | 0.018642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6710-3_0_6_line_5 |  | 3 | 6 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6710-3_0_6_line_6 |  | 4 | 7 | 0.21479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6710-3_0_6_line_7 |  | 5 | 8 | 0.016211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6710-3_0_6_line_8 |  | 6 | 9 | 0.013042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6710-3_0_6_line_9 |  | 9 | 15 | 0.020205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6710-3_0_6_line_10 |  | 10 | 11 | 0.011417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6710-3_0_6_line_11 |  | 10 | 12 | 0.051388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6710-3_0_6_line_12 |  | 12 | 13 | 0.010404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6710-3_0_6_line_13 |  | 12 | 14 | 0.023482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6710-3_0_6_line_14 |  | 13 | 15 | 0.008855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6710-3_0_6_line_15 |  | 13 | 16 | 0.03843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6710-3_0_6_line_16 |  | 14 | 17 | 0.14218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6710-3_0_6_line_17 |  | 15 | 18 | 0.028246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6710-3_0_6_line_18 |  | 16 | 19 | 0.020093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6710-3_0_6_line_19 |  | 17 | 20 | 0.14355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6710-3_0_6_line_20 |  | 18 | 22 | 0.026143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6710-3_0_6_line_21 |  | 19 | 55 | 0.026249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6710-3_0_6_line_22 |  | 20 | 63 | 0.010975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6710-3_0_6_line_23 |  | 21 | 22 | 0.0081499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6710-3_0_6_line_24 |  | 21 | 23 | 0.010491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6710-3_0_6_line_25 |  | 23 | 24 | 0.0016448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6710-3_0_6_line_26 |  | 24 | 25 | 0.044013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6710-3_0_6_line_27 |  | 25 | 26 | 0.014692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6710-3_0_6_line_28 |  | 25 | 27 | 0.0020531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6710-3_0_6_line_29 |  | 26 | 37 | 0.02449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6710-3_0_6_line_30 |  | 26 | 38 | 0.033454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6710-3_0_6_line_31 |  | 27 | 30 | 0.047827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6710-3_0_6_line_32 |  | 28 | 29 | 0.030108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6710-3_0_6_line_33 |  | 28 | 30 | 0.00037207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6710-3_0_6_line_34 |  | 29 | 31 | 0.026558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6710-3_0_6_line_35 |  | 31 | 32 | 0.008533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6710-3_0_6_line_36 |  | 31 | 33 | 0.024183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6710-3_0_6_line_37 |  | 32 | 34 | 0.03736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6710-3_0_6_line_38 |  | 32 | 35 | 0.02066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6710-3_0_6_line_39 |  | 33 | 36 | 0.012162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6710-3_0_6_line_40 |  | 34 | 50 | 0.0065758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6710-3_0_6_line_41 |  | 35 | 49 | 0.0094672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6710-3_0_6_line_42 |  | 36 | 42 | 0.0035275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6710-3_0_6_line_43 |  | 37 | 39 | 0.020453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6710-3_0_6_line_44 |  | 38 | 40 | 0.0097386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6710-3_0_6_line_45 |  | 40 | 43 | 0.0074179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6710-3_0_6_line_46 |  | 41 | 42 | 0.028552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6710-3_0_6_line_47 |  | 43 | 44 | 0.038137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6710-3_0_6_line_48 |  | 44 | 45 | 0.012151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6710-3_0_6_line_49 |  | 45 | 46 | 0.0017958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6710-3_0_6_line_50 |  | 46 | 47 | 0.028126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6710-3_0_6_line_51 |  | 46 | 48 | 0.034545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6710-3_0_6_line_52 |  | 47 | 60 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6710-3_0_6_line_53 |  | 48 | 56 | 0.0099465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6710-3_0_6_line_54 |  | 50 | 51 | 0.0062869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6710-3_0_6_line_55 |  | 51 | 52 | 0.1161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6710-3_0_6_line_56 |  | 52 | 53 | 0.029664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6710-3_0_6_line_57 |  | 53 | 54 | 0.079424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6710-3_0_6_line_58 |  | 56 | 57 | 0.035977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6710-3_0_6_line_59 |  | 57 | 58 | 0.020782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6710-3_0_6_line_60 |  | 58 | 59 | 0.0085895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6710-3_0_6_line_61 |  | 60 | 80 | 0.014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6710-3_0_6_line_62 |  | 61 | 62 | 0.027204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6710-3_0_6_line_63 |  | 61 | 63 | 0.052991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6710-3_0_6_line_64 |  | 62 | 64 | 0.036709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6710-3_0_6_line_65 |  | 63 | 65 | 0.080938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6710-3_0_6_line_66 |  | 64 | 66 | 0.0065923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6710-3_0_6_line_67 |  | 66 | 67 | 0.041869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6710-3_0_6_line_68 |  | 67 | 68 | 0.023054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_6710-3_0_6_line_69 |  | 68 | 69 | 0.02749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_6710-3_0_6_line_70 |  | 69 | 72 | 0.037244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6710-3_0_6_line_71 |  | 69 | 73 | 0.080233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6710-3_0_6_line_72 |  | 70 | 71 | 0.018361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6710-3_0_6_line_73 |  | 71 | 73 | 0.023087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6710-3_0_6_line_74 |  | 72 | 77 | 0.004071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6710-3_0_6_line_75 |  | 74 | 75 | 0.044651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6710-3_0_6_line_76 |  | 74 | 76 | 0.0027011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6710-3_0_6_line_77 |  | 76 | 77 | 0.047921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6710-3_0_6_line_78 |  | 78 | 79 | 0.022969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6710-3_0_6_line_79 |  | 78 | 80 | 0.0029748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6710-3_0_6_line_80 |  | 80 | 81 | 0.017242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6710-3_0_6_line_81 |  | 81 | 82 | 8.5244e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6710-3_0_6_trafo_59 | 0.63 MVA 20/0.4 kV | 83 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2590782.766 | 1244035.0354 | 2590786.9569 | 1244017.5095 | 2590798.2664 | 1244020.6827 | 2590833.0671 | 1244027.7526
1 | 2590782.766 | 1244035.0354 | 2590776.2703 | 1244062.1995
2 | 2590854.9597 | 1244033.4468 | 2590835.849 | 1244028.3177 | 2590833.0671 | 1244027.7526
3 | 2590776.2703 | 1244062.1995 | 2590775.7024 | 1244064.5742
4 | 2590854.9597 | 1244033.4468 | 2590851.2172 | 1244051.7096
5 | 2590854.9597 | 1244033.4468 | 2590859.9566 | 1244034.7843 | 2590870.0165 | 1244034.9194
6 | 2590775.7024 | 1244064.5742 | 2590564.6261 | 1244104.3279
7 | 2590847.9627 | 1244067.5903 | 2590851.2172 | 1244051.7096
8 | 2590882.7751 | 1244033.0648 | 2590876.2789 | 1244035.0036 | 2590870.0165 | 1244034.9194
9 | 2590901.1543 | 1244024.9364 | 2590890.5842 | 1244030.7342 | 2590882.7751 | 1244033.0648
10 | 2590952.7346 | 1244039.6106 | 2590953.6198 | 1244028.2279
11 | 2590906.1827 | 1244012.443 | 2590913.4157 | 1244018.2688 | 2590933.3668 | 1244024.5198 | 2590940.8999 | 1244024.0634 | 2590953.646 | 1244027.8907 | 2590953.6198 | 1244028.2279
12 | 2590896.888 | 1244017.1715 | 2590906.1827 | 1244012.443
13 | 2590906.1827 | 1244012.443 | 2590926.7122 | 1244001.0441
14 | 2590901.1543 | 1244024.9364 | 2590896.888 | 1244017.1715
15 | 2590896.888 | 1244017.1715 | 2590890.3133 | 1244007.0531 | 2590883.8237 | 1243993.3878 | 2590878.9273 | 1243983.2755
16 | 2590926.7122 | 1244001.0441 | 2591036.267 | 1243910.419
17 | 2590901.1543 | 1244024.9364 | 2590914.9944 | 1244049.5597
18 | 2590870.1707 | 1243965.1912 | 2590878.9273 | 1243983.2755
19 | 2591036.267 | 1243910.419 | 2591140.1921 | 1243811.3988
20 | 2590914.9944 | 1244049.5597 | 2590927.8041 | 1244072.3496
21 | 2590870.1707 | 1243965.1912 | 2590857.1345 | 1243969.3252 | 2590844.5843 | 1243970.0896
22 | 2591148.6927 | 1243818.3413 | 2591140.1921 | 1243811.3988
23 | 2590927.8041 | 1244072.3496 | 2590931.7974 | 1244079.4541
24 | 2590936.9377 | 1244088.5992 | 2590931.7974 | 1244079.4541
25 | 2590936.9377 | 1244088.5992 | 2590937.7436 | 1244090.0331
26 | 2590959.3093 | 1244128.4009 | 2590937.7436 | 1244090.0331
27 | 2590959.3093 | 1244128.4009 | 2590953.1248 | 1244136.0041 | 2590949.9872 | 1244139.778
28 | 2590959.3093 | 1244128.4009 | 2590960.3312 | 1244130.1816
29 | 2590949.9872 | 1244139.778 | 2590925.6442 | 1244142.457
30 | 2590949.9872 | 1244139.778 | 2590941.3361 | 1244150.1756 | 2590928.819 | 1244165.6818
31 | 2590984.1368 | 1244171.6627 | 2590960.3312 | 1244130.1816
32 | 2590984.322 | 1244171.9854 | 2590989.4565 | 1244180.9322 | 2591000.4232 | 1244197.4087
33 | 2590984.1368 | 1244171.6627 | 2590984.322 | 1244171.9854
34 | 2591015.1388 | 1244219.5173 | 2591000.4232 | 1244197.4087
35 | 2591019.8723 | 1244226.6257 | 2591015.1388 | 1244219.5173
36 | 2591015.1388 | 1244219.5173 | 2590992.9125 | 1244229.0464
37 | 2591019.8723 | 1244226.6257 | 2591042.761 | 1244256.1537
38 | 2591019.8723 | 1244226.6257 | 2591038.8975 | 1244218.5723
39 | 2590992.9125 | 1244229.0464 | 2590981.7349 | 1244233.8386
40 | 2591046.7896 | 1244261.3509 | 2591042.761 | 1244256.1537
41 | 2591047.6159 | 1244214.8818 | 2591038.8975 | 1244218.5723
42 | 2590978.4928 | 1244235.2286 | 2590981.7349 | 1244233.8386
43 | 2590905.3143 | 1244144.6945 | 2590925.6442 | 1244142.457
44 | 2590928.819 | 1244165.6818 | 2590922.702 | 1244173.2596
45 | 2590918.0427 | 1244179.0316 | 2590922.702 | 1244173.2596
46 | 2590978.4928 | 1244235.2286 | 2590952.2509 | 1244246.4793
47 | 2590918.0427 | 1244179.0316 | 2590899.6675 | 1244201.7948 | 2590893.63 | 1244208.3103
48 | 2590885.3709 | 1244217.2233 | 2590893.63 | 1244208.3103
49 | 2590884.1503 | 1244218.5405 | 2590885.3709 | 1244217.2233
50 | 2590884.1503 | 1244218.5405 | 2590905.5845 | 1244236.7514
51 | 2590884.1503 | 1244218.5405 | 2590874.9924 | 1244228.4276 | 2590861.2892 | 1244240.5677 | 2590859.7578 | 1244242.8648
52 | 2590915.2707 | 1244249.4108 | 2590915.5649 | 1244245.231 | 2590905.5845 | 1244236.7514
53 | 2590854.2406 | 1244251.1408 | 2590859.7578 | 1244242.8648
54 | 2591046.7896 | 1244261.3509 | 2591050.6413 | 1244266.3198
55 | 2591050.6413 | 1244266.3198 | 2591121.5694 | 1244358.232
56 | 2591140.0152 | 1244381.4634 | 2591121.5694 | 1244358.232
57 | 2591140.0152 | 1244381.4634 | 2591198.2143 | 1244327.4164
58 | 2590839.6704 | 1244283.8731 | 2590842.0671 | 1244275.0749 | 2590851.0834 | 1244256.7938 | 2590854.2406 | 1244251.1408
59 | 2590839.6704 | 1244283.8731 | 2590845.6211 | 1244286.421 | 2590859.8639 | 1244287.7953
60 | 2590868.4138 | 1244288.6203 | 2590859.8639 | 1244287.7953
61 | 2590914.2562 | 1244263.8225 | 2590915.2707 | 1244249.4108
62 | 2591189.7289 | 1243851.8692 | 2591210.7946 | 1243869.0822
63 | 2591189.7289 | 1243851.8692 | 2591156.6394 | 1243824.8316 | 2591148.6927 | 1243818.3413
64 | 2591210.7946 | 1243869.0822 | 2591239.221 | 1243892.3096
65 | 2591148.6927 | 1243818.3413 | 2591213.8014 | 1243770.2597
66 | 2591244.1777 | 1243896.6543 | 2591240.2354 | 1243893.1384 | 2591239.221 | 1243892.3096
67 | 2591244.1777 | 1243896.6543 | 2591275.4251 | 1243924.5218
68 | 2591275.4251 | 1243924.5218 | 2591292.6305 | 1243939.8662
69 | 2591313.1469 | 1243958.1634 | 2591292.6305 | 1243939.8662
70 | 2591313.1469 | 1243958.1634 | 2591315.1221 | 1243959.925 | 2591341.3124 | 1243982.5319
71 | 2591313.1469 | 1243958.1634 | 2591366.7417 | 1243898.4565
72 | 2591349.5197 | 1243883.0814 | 2591335.7384 | 1243870.9487
73 | 2591349.5197 | 1243883.0814 | 2591366.7417 | 1243898.4565
74 | 2591344.3941 | 1243985.192 | 2591341.3124 | 1243982.5319
75 | 2591382.715 | 1244018.2698 | 2591384.6094 | 1244019.905 | 2591405.6595 | 1244039.0529 | 2591415.6107 | 1244048.4578
76 | 2591380.6703 | 1244016.5049 | 2591382.715 | 1244018.2698
77 | 2591380.6703 | 1244016.5049 | 2591344.3941 | 1243985.192
78 | 2590917.2143 | 1244264.1377 | 2590940.0545 | 1244266.5711
79 | 2590914.2562 | 1244263.8225 | 2590917.2143 | 1244264.1377
80 | 2590914.2562 | 1244263.8225 | 2590897.0513 | 1244262.699
81 | 2590896.9662 | 1244262.6935 | 2590897.0513 | 1244262.699

## bus_geodata
| x | y | coords
0 | 2590782.766 | 1244035.0354
1 | 2590833.0671 | 1244027.7526
2 | 2590776.2703 | 1244062.1995
3 | 2590854.9597 | 1244033.4468
4 | 2590775.7024 | 1244064.5742
5 | 2590851.2172 | 1244051.7096
6 | 2590870.0165 | 1244034.9194
7 | 2590564.6261 | 1244104.3279
8 | 2590847.9627 | 1244067.5903
9 | 2590882.7751 | 1244033.0648
10 | 2590953.6198 | 1244028.2279
11 | 2590952.7346 | 1244039.6106
12 | 2590906.1827 | 1244012.443
13 | 2590896.888 | 1244017.1715
14 | 2590926.7122 | 1244001.0441
15 | 2590901.1543 | 1244024.9364
16 | 2590878.9273 | 1243983.2755
17 | 2591036.267 | 1243910.419
18 | 2590914.9944 | 1244049.5597
19 | 2590870.1707 | 1243965.1912
20 | 2591140.1921 | 1243811.3988
21 | 2590931.7974 | 1244079.4541
22 | 2590927.8041 | 1244072.3496
23 | 2590936.9377 | 1244088.5992
24 | 2590937.7436 | 1244090.0331
25 | 2590959.3093 | 1244128.4009
26 | 2590949.9872 | 1244139.778
27 | 2590960.3312 | 1244130.1816
28 | 2590984.322 | 1244171.9854
29 | 2591000.4232 | 1244197.4087
30 | 2590984.1368 | 1244171.6627
31 | 2591015.1388 | 1244219.5173
32 | 2591019.8723 | 1244226.6257
33 | 2590992.9125 | 1244229.0464
34 | 2591042.761 | 1244256.1537
35 | 2591038.8975 | 1244218.5723
36 | 2590981.7349 | 1244233.8386
37 | 2590925.6442 | 1244142.457
38 | 2590928.819 | 1244165.6818
39 | 2590905.3143 | 1244144.6944
40 | 2590922.702 | 1244173.2596
41 | 2590952.2509 | 1244246.4793
42 | 2590978.4928 | 1244235.2286
43 | 2590918.0427 | 1244179.0316
44 | 2590893.63 | 1244208.3103
45 | 2590885.3709 | 1244217.2233
46 | 2590884.1503 | 1244218.5405
47 | 2590905.5845 | 1244236.7514
48 | 2590859.7578 | 1244242.8648
49 | 2591047.6159 | 1244214.8818
50 | 2591046.7896 | 1244261.3509
51 | 2591050.6413 | 1244266.3198
52 | 2591121.5694 | 1244358.232
53 | 2591140.0152 | 1244381.4634
54 | 2591198.2143 | 1244327.4164
55 | 2590844.5843 | 1243970.0896
56 | 2590854.2406 | 1244251.1408
57 | 2590839.6704 | 1244283.8731
58 | 2590859.8639 | 1244287.7953
59 | 2590868.4138 | 1244288.6203
60 | 2590915.2707 | 1244249.4108
61 | 2591189.7289 | 1243851.8692
62 | 2591210.7946 | 1243869.0822
63 | 2591148.6927 | 1243818.3413
64 | 2591239.221 | 1243892.3096
65 | 2591213.8014 | 1243770.2597
66 | 2591244.1777 | 1243896.6543
67 | 2591275.4251 | 1243924.5218
68 | 2591292.6305 | 1243939.8662
69 | 2591313.1469 | 1243958.1634
70 | 2591335.7384 | 1243870.9487
71 | 2591349.5197 | 1243883.0814
72 | 2591341.3124 | 1243982.5319
73 | 2591366.7417 | 1243898.4565
74 | 2591382.715 | 1244018.2698
75 | 2591415.6107 | 1244048.4578
76 | 2591380.6703 | 1244016.5049
77 | 2591344.3941 | 1243985.192
78 | 2590917.2143 | 1244264.1377
79 | 2590940.0545 | 1244266.5711
80 | 2590914.2562 | 1244263.8225
81 | 2590897.0513 | 1244262.699
82 | 2590896.9662 | 1244262.6935
83 | 2591450.7049 | 1244081.6252

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1