## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2422-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2422-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2422-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2422-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2422-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2422-13_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2422-13_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2422-13_0_4_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_2422-13_0_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_2422-13_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2422-13_0_4_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_2422-13_0_4_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_2422-13_0_4_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_2422-13_0_4_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_2422-13_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2422-13_0_4_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_2422-13_0_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_2422-13_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_2422-13_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2422-13_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_2422-13_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2422-13_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2422-13_0_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_2422-13_0_4_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_2422-13_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_2422-13_0_4_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_2422-13_0_4_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_2422-13_0_4_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_2422-13_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2422-13_0_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_2422-13_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_2422-13_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_2422-13_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_2422-13_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_2422-13_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_2422-13_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_2422-13_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_2422-13_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2422-13_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_2422-13_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_2422-13_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_2422-13_0_4_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_2422-13_0_4_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_2422-13_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_2422-13_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_2422-13_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2422-13_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2422-13_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2422-13_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2422-13_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_2422-13_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_2422-13_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_2422-13_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_2422-13_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2422-13_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_MV_333_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2422-13_0_4_load_0 | 0 | 0.00027401 | 6.8672e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2422-13_0_4_load_1 | 1 | 0.00031749 | 7.9572e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2422-13_0_4_load_5 | 5 | 0.013216 | 0.0033122 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2422-13_0_4_load_36 | 7 | 0.014285 | 0.0035801 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2422-13_0_4_load_49 | 8 | 0.00035453 | 8.8853e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2422-13_0_4_load_59 | 10 | 0.0034737 | 0.00087058 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2422-13_0_4_load_34 | 11 | 0.0015327 | 0.00038414 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2422-13_0_4_load_48 | 12 | 0.00037081 | 9.2934e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2422-13_0_4_load_22 | 13 | 0.001847 | 0.0004629 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2422-13_0_4_load_7 | 14 | 0.00060657 | 0.00015202 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2422-13_0_4_load_58 | 15 | 0.0061713 | 0.0015467 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2422-13_0_4_load_6 | 17 | 0.00099705 | 0.00024988 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2422-13_0_4_load_40 | 19 | 0.0016358 | 0.00040997 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2422-13_0_4_load_10 | 20 | 0.0015847 | 0.00039716 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2422-13_0_4_load_11 | 21 | 0.0036286 | 0.00090942 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2422-13_0_4_load_38 | 22 | 0.0015698 | 0.00039342 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2422-13_0_4_load_39 | 23 | 0.0015783 | 0.00039555 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2422-13_0_4_load_41 | 24 | 0.001632 | 0.00040901 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2422-13_0_4_load_54 | 25 | 0.0055518 | 0.0013914 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2422-13_0_4_load_47 | 27 | 0.00071818 | 0.00017999 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2422-13_0_4_load_21 | 28 | 0.0020941 | 0.00052483 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2422-13_0_4_load_45 | 29 | 0.0010197 | 0.00025557 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2422-13_0_4_load_32 | 30 | 0.0061068 | 0.0015305 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2422-13_0_4_load_15 | 32 | 0.0011368 | 0.0002849 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2422-13_0_4_load_16 | 33 | 0.0011415 | 0.00028609 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2422-13_0_4_load_18 | 35 | 0.0011378 | 0.00028516 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2422-13_0_4_load_19 | 36 | 0.044307 | 0.011104 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2422-13_0_4_load_25 | 37 | 0.0011736 | 0.00029413 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2422-13_0_4_load_42 | 38 | 0.0080828 | 0.0020257 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2422-13_0_4_load_26 | 39 | 0.0017988 | 0.00045083 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2422-13_0_4_load_43 | 40 | 0.026585 | 0.0066628 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2422-13_0_4_load_53 | 41 | 0.0015813 | 0.00039631 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2422-13_0_4_load_23 | 43 | 0.00061735 | 0.00015472 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2422-13_0_4_load_24 | 44 | 0.0022509 | 0.00056412 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2422-13_0_4_load_31 | 46 | 0.0080753 | 0.0020239 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2422-13_0_4_load_33 | 48 | 0.0020385 | 0.00051089 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2422-13_0_4_load_27 | 49 | 0.0044839 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2422-13_0_4_load_28 | 50 | 0.0027491 | 0.00068899 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2422-13_0_4_load_30 | 51 | 0.0016296 | 0.00040843 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2422-13_0_4_load_44 | 52 | 0.0060959 | 0.0015278 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2422-13_0_4_load_50 | 53 | 0.00039419 | 9.8793e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2422-13_0_4_load_51 | 54 | 0.00027462 | 6.8827e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2422-13_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2422-13_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2422-13_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.085721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2422-13_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.023218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_2422-13_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.029846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_2422-13_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.052097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2422-13_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.017686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_2422-13_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.016704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2422-13_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.040746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_2422-13_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.092072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2422-13_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.014561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_2422-13_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.028286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2422-13_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.014785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_2422-13_0_4_line_13 | NAYY 4x150 SE | 9 | 14 | 0.020649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2422-13_0_4_line_14 | NAYY 4x150 SE | 11 | 48 | 0.021794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_2422-13_0_4_line_15 | NAYY 4x150 SE | 12 | 53 | 0.012645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2422-13_0_4_line_16 | NAYY 4x150 SE | 13 | 28 | 0.0073071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_2422-13_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.015663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2422-13_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.029948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2422-13_0_4_line_19 | NAYY 4x150 SE | 16 | 26 | 0.037752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2422-13_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.012007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2422-13_0_4_line_21 | NAYY 4x150 SE | 17 | 19 | 0.026417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2422-13_0_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.033553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2422-13_0_4_line_23 | NAYY 4x150 SE | 18 | 21 | 0.012984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2422-13_0_4_line_24 | NAYY 4x150 SE | 19 | 22 | 0.0080399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2422-13_0_4_line_25 | NAYY 4x150 SE | 21 | 27 | 0.024624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2422-13_0_4_line_26 | NAYY 4x150 SE | 22 | 23 | 0.0078991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2422-13_0_4_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0080159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2422-13_0_4_line_28 | NAYY 4x150 SE | 24 | 25 | 0.027979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2422-13_0_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.024733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2422-13_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.00032456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2422-13_0_4_line_31 | NAYY 4x150 SE | 28 | 43 | 0.026649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_2422-13_0_4_line_32 | NAYY 4x150 SE | 29 | 51 | 0.002564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2422-13_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0072494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2422-13_0_4_line_34 | NAYY 4x150 SE | 31 | 49 | 0.02034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2422-13_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0060318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_2422-13_0_4_line_36 | NAYY 4x150 SE | 32 | 34 | 0.027032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_2422-13_0_4_line_37 | NAYY 4x150 SE | 33 | 35 | 0.0059058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_2422-13_0_4_line_38 | NAYY 4x150 SE | 34 | 36 | 0.030028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2422-13_0_4_line_39 | NAYY 4x150 SE | 35 | 37 | 0.0061136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_2422-13_0_4_line_40 | NAYY 4x150 SE | 36 | 38 | 0.053299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2422-13_0_4_line_41 | NAYY 4x150 SE | 37 | 39 | 0.0096413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_2422-13_0_4_line_42 | NAYY 4x150 SE | 38 | 40 | 0.009845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2422-13_0_4_line_43 | NAYY 4x150 SE | 39 | 47 | 0.016218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_2422-13_0_4_line_44 | NAYY 4x150 SE | 40 | 52 | 0.025511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2422-13_0_4_line_45 | NAYY 4x150 SE | 41 | 42 | 0.014327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2422-13_0_4_line_46 | NAYY 4x150 SE | 42 | 54 | 0.0089166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2422-13_0_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.020892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_2422-13_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.01933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_2422-13_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.015588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2422-13_0_4_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0074373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_2422-13_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.00076548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2422-13_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.026911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2422-13_0_4_line_53 | NAYY 4x150 SE | 53 | 54 | 0.026063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2422-13_0_4_trafo_37 | 0.25 MVA 20/0.4 kV | 55 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2619189.2886 | 1240129.219 | 2619205.1424 | 1240142.5406
1 | 2619177.5028 | 1240119.4006 | 2619184.1392 | 1240124.8921 | 2619189.2886 | 1240129.219
2 | 2619270.6789 | 1240197.7949 | 2619230.3355 | 1240163.7098 | 2619205.1424 | 1240142.5406
3 | 2619193.0747 | 1240102.14 | 2619177.5028 | 1240119.4006
4 | 2619177.5028 | 1240119.4006 | 2619154.5427 | 1240100.3314
5 | 2619270.6789 | 1240197.7949 | 2619269.5753 | 1240204.6845 | 2619268.568 | 1240209.8734 | 2619268.6493 | 1240215.1102 | 2619270.4989 | 1240220.6752 | 2619276.4591 | 1240229.4667 | 2619287.7021 | 1240243.7009
6 | 2619193.0747 | 1240102.14 | 2619204.5321 | 1240088.6667
7 | 2619193.0747 | 1240102.14 | 2619206.036 | 1240112.6766
8 | 2619123.1974 | 1240074.2978 | 2619154.5427 | 1240100.3314
9 | 2619210.7698 | 1240197.8346 | 2619246.1196 | 1240223.4648 | 2619269.3163 | 1240240.2948 | 2619279.0987 | 1240245.5964 | 2619287.7021 | 1240243.7009
10 | 2619213.9646 | 1240077.5746 | 2619204.5321 | 1240088.6667
11 | 2619227.9849 | 1240130.5194 | 2619206.036 | 1240112.6766
12 | 2619123.1974 | 1240074.2978 | 2619132.5712 | 1240062.8648
13 | 2619123.1974 | 1240074.2978 | 2619107.2141 | 1240061.2241
14 | 2619213.9646 | 1240077.5746 | 2619228.0834 | 1240060.9717
15 | 2619227.9849 | 1240130.5194 | 2619237.797 | 1240138.4959 | 2619237.797 | 1240138.4959
16 | 2619132.5712 | 1240062.8648 | 2619137.2041 | 1240057.2141
17 | 2619095.0905 | 1240051.3064 | 2619100.2176 | 1240055.5012 | 2619107.2141 | 1240061.2241
18 | 2619047.3677 | 1240160.075 | 2619063.1432 | 1240185.5314
19 | 2619026.758 | 1240128.4449 | 2619037.0595 | 1240144.1432 | 2619039.4597 | 1240147.8643 | 2619047.3677 | 1240160.075
20 | 2619085.7977 | 1240043.7032 | 2619095.0905 | 1240051.3064
21 | 2619095.0905 | 1240051.3064 | 2619078.4354 | 1240071.8122
22 | 2619085.7977 | 1240043.7032 | 2619059.7836 | 1240022.5111
23 | 2619085.7977 | 1240043.7032 | 2619093.7051 | 1240033.4049
24 | 2619073.0161 | 1240077.7511 | 2619078.4354 | 1240071.8122
25 | 2619093.7051 | 1240033.4049 | 2619108.7015 | 1240013.8743
26 | 2619073.0161 | 1240077.7511 | 2619067.6917 | 1240083.5861
27 | 2619062.2886 | 1240089.5073 | 2619067.6917 | 1240083.5861
28 | 2619062.2886 | 1240089.5073 | 2619043.429 | 1240110.1753
29 | 2619026.758 | 1240128.4449 | 2619043.429 | 1240110.1753
30 | 2619108.7015 | 1240013.8743 | 2619108.8991 | 1240013.6169
31 | 2619154.1 | 1240036.6065 | 2619137.2041 | 1240057.2141
32 | 2619108.8991 | 1240013.6169 | 2619110.4607 | 1240011.5832
33 | 2619139.7033 | 1239973.499 | 2619133.2311 | 1239970.2335
34 | 2619139.7033 | 1239973.499 | 2619127.3159 | 1239989.6318
35 | 2619257.8359 | 1240026.7913 | 2619261.8065 | 1240022.2506
36 | 2619279.6009 | 1240001.9014 | 2619261.8065 | 1240022.2506
37 | 2619257.8359 | 1240026.7913 | 2619253.9483 | 1240031.2371
38 | 2619279.6009 | 1240001.9014 | 2619259.0905 | 1239979.9702
39 | 2619249.9239 | 1240035.8393 | 2619253.9483 | 1240031.2371
40 | 2619222.6843 | 1239941.0422 | 2619259.0905 | 1239979.9702
41 | 2619243.5774 | 1240043.0971 | 2619249.9239 | 1240035.8393
42 | 2619222.6843 | 1239941.0422 | 2619215.9597 | 1239933.8518
43 | 2619232.9014 | 1240055.306 | 2619243.5774 | 1240043.0971
44 | 2619215.9597 | 1239933.8518 | 2619198.5344 | 1239915.2195
45 | 2619263.2921 | 1240115.8309 | 2619273.4366 | 1240105.7136
46 | 2619263.2921 | 1240115.8309 | 2619260.2371 | 1240115.8766 | 2619255.8025 | 1240119.7093
47 | 2619154.1 | 1240036.6065 | 2619167.3459 | 1240020.4508
48 | 2619179.6015 | 1240005.5029 | 2619167.3459 | 1240020.4508
49 | 2619179.6015 | 1240005.5029 | 2619167.442 | 1239995.7493
50 | 2619232.9014 | 1240055.306 | 2619228.0834 | 1240060.9717
51 | 2619126.8497 | 1239990.239 | 2619127.3159 | 1239989.6318
52 | 2619126.8497 | 1239990.239 | 2619110.4607 | 1240011.5832
53 | 2619255.8025 | 1240119.7093 | 2619250.5995 | 1240124.2062 | 2619237.797 | 1240138.4959

## bus_geodata
| x | y | coords
0 | 2619189.2886 | 1240129.219
1 | 2619205.1424 | 1240142.5406
2 | 2619177.5028 | 1240119.4006
3 | 2619270.6789 | 1240197.7949
4 | 2619193.0747 | 1240102.14
5 | 2619154.5427 | 1240100.3314
6 | 2619287.7021 | 1240243.7009
7 | 2619204.5321 | 1240088.6667
8 | 2619206.036 | 1240112.6766
9 | 2619123.1973 | 1240074.2978
10 | 2619210.7698 | 1240197.8346
11 | 2619213.9646 | 1240077.5746
12 | 2619227.9849 | 1240130.5194
13 | 2619132.5712 | 1240062.8648
14 | 2619107.2141 | 1240061.2241
15 | 2619063.1432 | 1240185.5314
16 | 2619047.3677 | 1240160.075
17 | 2619095.0905 | 1240051.3064
18 | 2619085.7977 | 1240043.7032
19 | 2619078.4354 | 1240071.8122
20 | 2619059.7836 | 1240022.5111
21 | 2619093.7051 | 1240033.4049
22 | 2619073.0161 | 1240077.7511
23 | 2619067.6917 | 1240083.5861
24 | 2619062.2886 | 1240089.5073
25 | 2619043.429 | 1240110.1753
26 | 2619026.758 | 1240128.4449
27 | 2619108.7015 | 1240013.8743
28 | 2619137.2041 | 1240057.2141
29 | 2619108.8991 | 1240013.6169
30 | 2619133.2311 | 1239970.2335
31 | 2619139.7033 | 1239973.499
32 | 2619261.8065 | 1240022.2506
33 | 2619257.8359 | 1240026.7913
34 | 2619279.6009 | 1240001.9014
35 | 2619253.9483 | 1240031.2371
36 | 2619259.0905 | 1239979.9702
37 | 2619249.9239 | 1240035.8393
38 | 2619222.6843 | 1239941.0422
39 | 2619243.5774 | 1240043.0971
40 | 2619215.9597 | 1239933.8518
41 | 2619273.4366 | 1240105.7136
42 | 2619263.2921 | 1240115.8309
43 | 2619154.1 | 1240036.6065
44 | 2619167.3459 | 1240020.4508
45 | 2619179.6015 | 1240005.5029
46 | 2619167.442 | 1239995.7493
47 | 2619232.9014 | 1240055.306
48 | 2619228.0834 | 1240060.9717
49 | 2619127.3159 | 1239989.6318
50 | 2619126.8497 | 1239990.239
51 | 2619110.4607 | 1240011.5832
52 | 2619198.5344 | 1239915.2195
53 | 2619237.797 | 1240138.4959
54 | 2619255.8025 | 1240119.7093
55 | 2619139.7033 | 1239973.499

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98812 | -0.08262 | 0.00027401 | 6.8672e-05
1 | 0.988 | -0.083427 | 0.00031749 | 7.9572e-05
2 | 0.98821 | -0.081979 | 0 | 0
3 | 0.98757 | -0.086489 | 0 | 0
4 | 0.98694 | -0.090877 | 0 | 0
5 | 0.9899 | -0.070159 | 0.013216 | 0.0033122
6 | 0.98731 | -0.088347 | 0 | 0
7 | 0.986 | -0.097489 | 0.014285 | 0.0035801
8 | 0.98687 | -0.091387 | 0.00035453 | 8.8853e-05
9 | 0.99246 | -0.052267 | 0 | 0
10 | 0.98685 | -0.091627 | 0.0034737 | 0.00087058
11 | 0.98533 | -0.10223 | 0.0015327 | 0.00038414
12 | 0.98676 | -0.092149 | 0.00037081 | 9.2934e-05
13 | 0.99368 | -0.043719 | 0.001847 | 0.0004629
14 | 0.99122 | -0.061002 | 0.00060657 | 0.00015202
15 | 0.98779 | -0.085264 | 0.0061713 | 0.0015467
16 | 0.98806 | -0.083374 | 0 | 0
17 | 0.99029 | -0.067545 | 0.00099705 | 0.00024988
18 | 0.98991 | -0.070226 | 0 | 0
19 | 0.9896 | -0.072429 | 0.0016358 | 0.00040997
20 | 0.98984 | -0.070768 | 0.0015847 | 0.00039716
21 | 0.98953 | -0.072918 | 0.0036286 | 0.00090942
22 | 0.98941 | -0.073783 | 0.0015698 | 0.00039342
23 | 0.98924 | -0.074987 | 0.0015783 | 0.00039555
24 | 0.98908 | -0.076079 | 0.001632 | 0.00040901
25 | 0.98861 | -0.07943 | 0.0055518 | 0.0013914
26 | 0.98839 | -0.080991 | 0 | 0
27 | 0.98894 | -0.077115 | 0.00071818 | 0.00017999
28 | 0.9943 | -0.039457 | 0.0020941 | 0.00052483
29 | 0.98893 | -0.077168 | 0.0010197 | 0.00025557
30 | 0.9881 | -0.083032 | 0.0061068 | 0.0015305
31 | 0.98817 | -0.082579 | 0 | 0
32 | 0.98209 | -0.12507 | 0.0011368 | 0.0002849
33 | 0.98234 | -0.12328 | 0.0011415 | 0.00028609
34 | 0.98041 | -0.13699 | 0 | 0
35 | 0.9826 | -0.1215 | 0.0011378 | 0.00028516
36 | 0.97668 | -0.16362 | 0.044307 | 0.011104
37 | 0.98286 | -0.11964 | 0.0011736 | 0.00029413
38 | 0.97349 | -0.18643 | 0.0080828 | 0.0020257
39 | 0.98328 | -0.11666 | 0.0017988 | 0.00045083
40 | 0.97302 | -0.18982 | 0.026585 | 0.0066628
41 | 0.9866 | -0.093316 | 0.0015813 | 0.00039631
42 | 0.98663 | -0.093083 | 0 | 0
43 | 0.99656 | -0.023771 | 0.00061735 | 0.00015472
44 | 0.99833 | -0.011479 | 0.0022509 | 0.00056412
45 | 1 | 0 | -0.19011 | -0.04785
46 | 0.99982 | -0.0012566 | 0.0080753 | 0.0020239
47 | 0.984 | -0.11156 | 0 | 0
48 | 0.98433 | -0.10922 | 0.0020385 | 0.00051089
49 | 0.98835 | -0.08131 | 0.0044839 | 0.0011238
50 | 0.98836 | -0.081227 | 0.0027491 | 0.00068899
51 | 0.98887 | -0.07756 | 0.0016296 | 0.00040843
52 | 0.97279 | -0.19146 | 0.0060959 | 0.0015278
53 | 0.98672 | -0.092442 | 0.00039419 | 9.8793e-05
54 | 0.98665 | -0.092938 | 0.00027462 | 6.8827e-05
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0037955 | 0.00094862 | -0.0037951 | -0.00094873 | 4.2201e-07 | -1.0291e-07 | 0.0057148 | 0.0057149 | 0.0057149 | 0.98812 | -0.08262 | 0.988 | -0.083427 | 2.1166
1 | -0.0040695 | -0.0010173 | 0.0040699 | 0.0010172 | 3.5938e-07 | -5.8289e-08 | 0.0061274 | 0.0061273 | 0.0061274 | 0.98812 | -0.08262 | 0.98821 | -0.081979 | 2.2694
2 | 0.0034776 | 0.00086916 | -0.0034761 | -0.00086969 | 1.467e-06 | -5.3309e-07 | 0.0052367 | 0.0052371 | 0.0052371 | 0.988 | -0.083427 | 0.98757 | -0.086489 | 1.9397
3 | 0.11349 | 0.028597 | -0.11335 | -0.028544 | 0.00014113 | 5.3391e-05 | 0.17095 | 0.17095 | 0.17095 | 0.98821 | -0.081979 | 0.98694 | -0.090877 | 21.1051
4 | -0.11756 | -0.029614 | 0.11776 | 0.029688 | 0.00019466 | 7.3721e-05 | 0.17708 | 0.17708 | 0.17708 | 0.98821 | -0.081979 | 0.9899 | -0.070159 | 21.8615
5 | 0.0034761 | 0.00086969 | -0.0034752 | -0.00087001 | 8.9165e-07 | -3.2348e-07 | 0.0052371 | 0.0052373 | 0.0052373 | 0.98757 | -0.086489 | 0.98731 | -0.088347 | 1.9397
6 | 0.11038 | 0.027799 | -0.11027 | -0.027761 | 0.00010194 | 3.853e-05 | 0.16646 | 0.16646 | 0.16646 | 0.98694 | -0.090877 | 0.986 | -0.097489 | 20.5512
7 | 0.0029762 | 0.00074465 | -0.002976 | -0.00074478 | 2.0984e-07 | -1.3273e-07 | 0.0044868 | 0.0044869 | 0.0044869 | 0.98694 | -0.090877 | 0.98687 | -0.091387 | 1.6618
8 | -0.13097 | -0.033 | 0.1313 | 0.033125 | 0.00032873 | 0.00012486 | 0.19694 | 0.19694 | 0.19694 | 0.9899 | -0.070159 | 0.99246 | -0.052267 | 24.314
9 | 0.0034752 | 0.00087001 | -0.0034737 | -0.00087058 | 1.576e-06 | -5.7075e-07 | 0.0052373 | 0.0052377 | 0.0052377 | 0.98731 | -0.088347 | 0.98685 | -0.091627 | 1.9399
10 | 0.09599 | 0.02418 | -0.095926 | -0.024157 | 6.3594e-05 | 2.3902e-05 | 0.14491 | 0.14491 | 0.14491 | 0.986 | -0.097489 | 0.98533 | -0.10223 | 17.8897
11 | 0.0026215 | 0.00065593 | -0.0026212 | -0.00065619 | 2.7573e-07 | -2.5533e-07 | 0.0039523 | 0.0039525 | 0.0039525 | 0.98687 | -0.091387 | 0.98676 | -0.092149 | 1.4639
12 | -0.17312 | -0.043621 | 0.17333 | 0.043701 | 0.00020732 | 7.9163e-05 | 0.25965 | 0.25964 | 0.25965 | 0.99246 | -0.052267 | 0.99368 | -0.043719 | 32.055
13 | 0.041816 | 0.010496 | -0.041766 | -0.010477 | 5.0658e-05 | 1.9217e-05 | 0.062702 | 0.062702 | 0.062702 | 0.99246 | -0.052267 | 0.99122 | -0.061002 | 23.223
14 | 0.094394 | 0.023772 | -0.094301 | -0.023738 | 9.2172e-05 | 3.4619e-05 | 0.14259 | 0.14259 | 0.14259 | 0.98533 | -0.10223 | 0.98433 | -0.10922 | 17.604
15 | 0.0022504 | 0.00056325 | -0.0022503 | -0.00056338 | 9.0857e-08 | -1.2658e-07 | 0.0033933 | 0.0033933 | 0.0033933 | 0.98676 | -0.092149 | 0.98672 | -0.092442 | 1.2568
16 | -0.17517 | -0.044163 | 0.17528 | 0.044203 | 0.00010466 | 3.9969e-05 | 0.26241 | 0.26241 | 0.26241 | 0.99368 | -0.043719 | 0.9943 | -0.039457 | 32.3964
17 | 0.041159 | 0.010325 | -0.041122 | -0.010311 | 3.7319e-05 | 1.4152e-05 | 0.061792 | 0.061792 | 0.061792 | 0.99122 | -0.061002 | 0.99029 | -0.067545 | 22.8858
18 | -0.0061713 | -0.0015467 | 0.0061729 | 0.0015469 | 1.6151e-06 | 2.3772e-07 | 0.0092966 | 0.0092964 | 0.0092966 | 0.98779 | -0.085264 | 0.98806 | -0.083374 | 3.4432
19 | -0.0061729 | -0.0015469 | 0.006175 | 0.0015472 | 2.0359e-06 | 2.9934e-07 | 0.0092964 | 0.0092962 | 0.0092964 | 0.98806 | -0.083374 | 0.98839 | -0.080991 | 3.4431
20 | 0.021956 | 0.0055055 | -0.021947 | -0.0055025 | 8.155e-06 | 2.9821e-06 | 0.032992 | 0.032992 | 0.032992 | 0.99029 | -0.067545 | 0.98991 | -0.070226 | 12.2191
21 | 0.018169 | 0.0045555 | -0.018157 | -0.0045511 | 1.2288e-05 | 4.3863e-06 | 0.027302 | 0.027302 | 0.027302 | 0.99029 | -0.067545 | 0.9896 | -0.072429 | 10.1119
22 | 0.0015848 | 0.00039677 | -0.0015847 | -0.00039716 | 1.1881e-07 | -3.8563e-07 | 0.0023821 | 0.0023822 | 0.0023822 | 0.98991 | -0.070226 | 0.98984 | -0.070768 | 0.88231
23 | 0.020363 | 0.0051057 | -0.020355 | -0.0051029 | 7.5911e-06 | 2.7528e-06 | 0.03061 | 0.03061 | 0.03061 | 0.98991 | -0.070226 | 0.98953 | -0.072918 | 11.3369
24 | 0.016521 | 0.0041412 | -0.016518 | -0.0041401 | 3.0961e-06 | 1.0875e-06 | 0.024842 | 0.024842 | 0.024842 | 0.9896 | -0.072429 | 0.98941 | -0.073783 | 9.2009
25 | 0.016726 | 0.0041935 | -0.016717 | -0.0041901 | 9.7213e-06 | 3.4228e-06 | 0.025153 | 0.025153 | 0.025153 | 0.98953 | -0.072918 | 0.98894 | -0.077115 | 9.316
26 | 0.014948 | 0.0037467 | -0.014946 | -0.0037458 | 2.4912e-06 | 8.5674e-07 | 0.022482 | 0.022482 | 0.022482 | 0.98941 | -0.073783 | 0.98924 | -0.074987 | 8.3265
27 | 0.013368 | 0.0033503 | -0.013366 | -0.0033496 | 2.0224e-06 | 6.7493e-07 | 0.020108 | 0.020108 | 0.020108 | 0.98924 | -0.074987 | 0.98908 | -0.076079 | 7.4473
28 | 0.011734 | 0.0029406 | -0.011728 | -0.0029388 | 5.4405e-06 | 1.7336e-06 | 0.017652 | 0.017653 | 0.017653 | 0.98908 | -0.076079 | 0.98861 | -0.07943 | 6.538
29 | 0.0061763 | 0.0015474 | -0.006175 | -0.0015472 | 1.3337e-06 | 1.9591e-07 | 0.0092961 | 0.0092962 | 0.0092962 | 0.98861 | -0.07943 | 0.98839 | -0.080991 | 3.4431
30 | 0.015999 | 0.0040101 | -0.015998 | -0.0040101 | 1.1736e-07 | 4.0974e-08 | 0.024073 | 0.024073 | 0.024073 | 0.98894 | -0.077115 | 0.98893 | -0.077168 | 8.9158
31 | -0.17737 | -0.044728 | 0.17776 | 0.044878 | 0.00039085 | 0.00014929 | 0.26554 | 0.26554 | 0.26554 | 0.9943 | -0.039457 | 0.99656 | -0.023771 | 32.7833
32 | 0.014979 | 0.0037545 | -0.014978 | -0.0037542 | 8.1273e-07 | 2.7969e-07 | 0.022538 | 0.022538 | 0.022538 | 0.98893 | -0.077168 | 0.98887 | -0.07756 | 8.3475
33 | -0.0061068 | -0.0015305 | 0.0061072 | 0.0015306 | 3.8259e-07 | 5.4285e-08 | 0.0091965 | 0.0091965 | 0.0091965 | 0.9881 | -0.083032 | 0.98817 | -0.082579 | 3.4061
34 | -0.0061072 | -0.0015306 | 0.0061083 | 0.0015307 | 1.0734e-06 | 1.5224e-07 | 0.0091965 | 0.0091964 | 0.0091965 | 0.98817 | -0.082579 | 0.98835 | -0.08131 | 3.4061
35 | -0.086811 | -0.021836 | 0.086833 | 0.021844 | 2.1715e-05 | 8.1229e-06 | 0.13156 | 0.13156 | 0.13156 | 0.98209 | -0.12507 | 0.98234 | -0.12328 | 16.242
36 | 0.085674 | 0.021551 | -0.085532 | -0.021497 | 0.00014218 | 5.4001e-05 | 0.12984 | 0.12984 | 0.12984 | 0.98209 | -0.12507 | 0.98041 | -0.13699 | 24.0441
37 | -0.087974 | -0.02213 | 0.087996 | 0.022138 | 2.1824e-05 | 8.1695e-06 | 0.13329 | 0.13329 | 0.13329 | 0.98234 | -0.12328 | 0.9826 | -0.1215 | 16.4555
38 | 0.085532 | 0.021497 | -0.085216 | -0.021376 | 0.00031587 | 0.00012111 | 0.12984 | 0.12984 | 0.12984 | 0.98041 | -0.13699 | 0.97668 | -0.16362 | 48.0882
39 | -0.089134 | -0.022423 | 0.089157 | 0.022432 | 2.3179e-05 | 8.6828e-06 | 0.13501 | 0.13501 | 0.13501 | 0.9826 | -0.1215 | 0.98286 | -0.11964 | 16.6682
40 | 0.04091 | 0.010271 | -0.04078 | -0.010222 | 0.00012923 | 4.9039e-05 | 0.062334 | 0.062335 | 0.062335 | 0.97668 | -0.16362 | 0.97349 | -0.18643 | 23.0869
41 | -0.090331 | -0.022726 | 0.090368 | 0.02274 | 3.7523e-05 | 1.4065e-05 | 0.13679 | 0.13679 | 0.13679 | 0.98286 | -0.11964 | 0.98328 | -0.11666 | 16.8875
42 | 0.032698 | 0.0081966 | -0.032682 | -0.0081908 | 1.5346e-05 | 5.7799e-06 | 0.04998 | 0.04998 | 0.04998 | 0.97349 | -0.18643 | 0.97302 | -0.18982 | 18.5111
43 | -0.092167 | -0.023191 | 0.092233 | 0.023216 | 6.5658e-05 | 2.4635e-05 | 0.13951 | 0.13951 | 0.13951 | 0.98328 | -0.11666 | 0.984 | -0.11156 | 17.2236
44 | 0.0060973 | 0.001528 | -0.0060959 | -0.0015278 | 1.3841e-06 | 2.1554e-07 | 0.0093244 | 0.0093245 | 0.0093245 | 0.97302 | -0.18982 | 0.97279 | -0.19146 | 3.4535
45 | -0.0015813 | -0.00039631 | 0.0015813 | 0.00039614 | 5.085e-08 | -1.6341e-07 | 0.0023849 | 0.0023849 | 0.0023849 | 0.9866 | -0.093316 | 0.98663 | -0.093083 | 0.88331
46 | -0.0015813 | -0.00039614 | 0.0015814 | 0.00039604 | 3.1645e-08 | -1.017e-07 | 0.0023849 | 0.0023848 | 0.0023849 | 0.98663 | -0.093083 | 0.98665 | -0.092938 | 0.88329
47 | -0.17838 | -0.045032 | 0.17869 | 0.04515 | 0.00030855 | 0.00011785 | 0.26647 | 0.26647 | 0.26647 | 0.99656 | -0.023771 | 0.99833 | -0.011479 | 32.897
48 | -0.18094 | -0.045714 | 0.18123 | 0.045826 | 0.00029271 | 0.00011182 | 0.26982 | 0.26982 | 0.26982 | 0.99833 | -0.011479 | 1 | 0 | 33.3112
49 | 0.0080767 | 0.0020242 | -0.0080753 | -0.0020239 | 1.4049e-06 | 3.359e-07 | 0.012018 | 0.012018 | 0.012018 | 1 | 0 | 0.99982 | -0.0012566 | 4.4512
50 | -0.092233 | -0.023216 | 0.092263 | 0.023227 | 3.0109e-05 | 1.1297e-05 | 0.13951 | 0.13951 | 0.13951 | 0.984 | -0.11156 | 0.98433 | -0.10922 | 17.2236
51 | -0.010592 | -0.0026545 | 0.010592 | 0.0026545 | 1.2148e-07 | 3.6912e-08 | 0.015947 | 0.015947 | 0.015947 | 0.98835 | -0.08131 | 0.98836 | -0.081227 | 5.9064
52 | -0.013341 | -0.0033435 | 0.013348 | 0.0033458 | 6.7748e-06 | 2.2606e-06 | 0.020086 | 0.020086 | 0.020086 | 0.98836 | -0.081227 | 0.98887 | -0.07756 | 7.4393
53 | 0.0018561 | 0.00046459 | -0.001856 | -0.00046487 | 1.2741e-07 | -2.8388e-07 | 0.0027989 | 0.002799 | 0.002799 | 0.98672 | -0.092442 | 0.98665 | -0.092938 | 1.0367

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19011 | 0.04785

## res_load
| p_mw | q_mvar
0 | 0.00027401 | 6.8672e-05
1 | 0.00031749 | 7.9572e-05
2 | 0.013216 | 0.0033122
3 | 0.014285 | 0.0035801
4 | 0.00035453 | 8.8853e-05
5 | 0.0034737 | 0.00087058
6 | 0.0015327 | 0.00038414
7 | 0.00037081 | 9.2934e-05
8 | 0.001847 | 0.0004629
9 | 0.00060657 | 0.00015202
10 | 0.0061713 | 0.0015467
11 | 0.00099705 | 0.00024988
12 | 0.0016358 | 0.00040997
13 | 0.0015847 | 0.00039716
14 | 0.0036286 | 0.00090942
15 | 0.0015698 | 0.00039342
16 | 0.0015783 | 0.00039555
17 | 0.001632 | 0.00040901
18 | 0.0055518 | 0.0013914
19 | 0.00071818 | 0.00017999
20 | 0.0020941 | 0.00052483
21 | 0.0010197 | 0.00025557
22 | 0.0061068 | 0.0015305
23 | 0.0011368 | 0.0002849
24 | 0.0011415 | 0.00028609
25 | 0.0011378 | 0.00028516
26 | 0.044307 | 0.011104
27 | 0.0011736 | 0.00029413
28 | 0.0080828 | 0.0020257
29 | 0.0017988 | 0.00045083
30 | 0.026585 | 0.0066628
31 | 0.0015813 | 0.00039631
32 | 0.00061735 | 0.00015472
33 | 0.0022509 | 0.00056412
34 | 0.0080753 | 0.0020239
35 | 0.0020385 | 0.00051089
36 | 0.0044839 | 0.0011238
37 | 0.0027491 | 0.00068899
38 | 0.0016296 | 0.00040843
39 | 0.0060959 | 0.0015278
40 | 0.00039419 | 9.8793e-05
41 | 0.00027462 | 6.8827e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1