## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2422-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2422-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2422-19_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2422-19_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2422-19_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2422-19_0_4_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_2422-19_0_4_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_2422-19_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2422-19_0_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_2422-19_0_4_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_2422-19_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_2422-19_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2422-19_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2422-19_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2422-19_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2422-19_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2422-19_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2422-19_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2422-19_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_2422-19_0_4_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_2422-19_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2422-19_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2422-19_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2422-19_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2422-19_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2422-19_0_4_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_2422-19_0_4_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_2422-19_0_4_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_2422-19_0_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_2422-19_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2422-19_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2422-19_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2422-19_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2422-19_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2422-19_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_2422-19_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2422-19_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2422-19_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_2422-19_0_4_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_2422-19_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_2422-19_0_4_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_2422-19_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_2422-19_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_2422-19_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_2422-19_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2422-19_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_2422-19_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_MV_333_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2422-19_0_4_load_0 | 0 | 3.8824e-05 | 9.7302e-06 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2422-19_0_4_load_1 | 1 | 0.00013158 | 3.2978e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2422-19_0_4_load_3 | 3 | 3.5164e-05 | 8.813e-06 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2422-19_0_4_load_20 | 5 | 0.0030232 | 0.00075767 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2422-19_0_4_load_48 | 6 | 0.00036173 | 9.0658e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2422-19_0_4_load_5 | 7 | 0.00031636 | 7.9288e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2422-19_0_4_load_27 | 9 | 4.6999e-05 | 1.1779e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2422-19_0_4_load_19 | 10 | 0.00236 | 0.00059147 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2422-19_0_4_load_6 | 11 | 0.0021742 | 0.00054491 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2422-19_0_4_load_8 | 12 | 0.00035552 | 8.9101e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2422-19_0_4_load_12 | 13 | 0.058341 | 0.014622 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2422-19_0_4_load_9 | 14 | 0.038599 | 0.0096738 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2422-19_0_4_load_10 | 15 | 0.004202 | 0.0010531 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2422-19_0_4_load_11 | 16 | 0.0037419 | 0.00093781 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2422-19_0_4_load_13 | 17 | 0.003873 | 0.00097068 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2422-19_0_4_load_28 | 18 | 0.0029551 | 0.00074063 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2422-19_0_4_load_14 | 20 | 0.0069856 | 0.0017508 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2422-19_0_4_load_15 | 21 | 0.00057324 | 0.00014367 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2422-19_0_4_load_16 | 22 | 0.00048132 | 0.00012063 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2422-19_0_4_load_17 | 23 | 0.00097186 | 0.00024357 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2422-19_0_4_load_40 | 25 | 0.0011655 | 0.0002921 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2422-19_0_4_load_41 | 27 | 0.00073052 | 0.00018308 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2422-19_0_4_load_51 | 28 | 0.0015409 | 0.00038618 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2422-19_0_4_load_21 | 32 | 0.021043 | 0.005274 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2422-19_0_4_load_33 | 33 | 0.0020523 | 0.00051435 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2422-19_0_4_load_30 | 34 | 4.4086e-05 | 1.1049e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2422-19_0_4_load_31 | 35 | 4.4253e-05 | 1.1091e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2422-19_0_4_load_34 | 36 | 0.0094461 | 0.0023674 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2422-19_0_4_load_42 | 37 | 0.0054524 | 0.0013665 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2422-19_0_4_load_37 | 41 | 0.0014486 | 0.00036304 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2422-19_0_4_load_44 | 42 | 0.0050955 | 0.0012771 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2422-19_0_4_load_47 | 43 | 0.0055179 | 0.0013829 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2422-19_0_4_load_35 | 44 | 0.0037783 | 0.00094692 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2422-19_0_4_load_45 | 45 | 0.0033022 | 0.00082761 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2422-19_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2422-19_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.041735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2422-19_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2422-19_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.096281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2422-19_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.053346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2422-19_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.057481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2422-19_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.071787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2422-19_0_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.11369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2422-19_0_4_line_8 | NAYY 4x150 SE | 7 | 11 | 0.053213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2422-19_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.1481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2422-19_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.09884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2422-19_0_4_line_11 | NAYY 4x150 SE | 9 | 34 | 0.023423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2422-19_0_4_line_12 | NAYY 4x150 SE | 10 | 13 | 0.081636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2422-19_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.056331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2422-19_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.097265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_2422-19_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.061814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_2422-19_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0082332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_2422-19_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.00034423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_2422-19_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.055419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_2422-19_0_4_line_19 | NAYY 4x150 SE | 18 | 19 | 0.070687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_2422-19_0_4_line_20 | NAYY 4x150 SE | 19 | 39 | 0.060433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2422-19_0_4_line_21 | NAYY 4x150 SE | 19 | 40 | 0.021748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_2422-19_0_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.027944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2422-19_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.061599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2422-19_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.025012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2422-19_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.011912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2422-19_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.010878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2422-19_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.029545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2422-19_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.00042751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2422-19_0_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.038109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2422-19_0_4_line_30 | NAYY 4x150 SE | 26 | 29 | 0.040146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2422-19_0_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.026094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2422-19_0_4_line_32 | NAYY 4x150 SE | 30 | 33 | 0.031194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2422-19_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.033494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2422-19_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.031811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2422-19_0_4_line_35 | NAYY 4x150 SE | 33 | 36 | 0.02306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2422-19_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0087049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2422-19_0_4_line_37 | NAYY 4x150 SE | 36 | 44 | 0.073538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2422-19_0_4_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0011761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2422-19_0_4_line_39 | NAYY 4x150 SE | 38 | 42 | 0.0066308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2422-19_0_4_line_40 | NAYY 4x150 SE | 39 | 41 | 0.0249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2422-19_0_4_line_41 | NAYY 4x150 SE | 40 | 42 | 0.023163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2422-19_0_4_line_42 | NAYY 4x150 SE | 40 | 43 | 0.036826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_2422-19_0_4_line_43 | NAYY 4x150 SE | 43 | 46 | 0.10393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_2422-19_0_4_line_44 | NAYY 4x150 SE | 44 | 45 | 0.0035987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2422-19_0_4_line_45 | NAYY 4x150 SE | 45 | 46 | 0.027914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2422-19_0_4_trafo_46 | 0.25 MVA 20/0.4 kV | 47 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2619838.6516 | 1238913.177 | 2619837.7448 | 1238916.703 | 2619833.7523 | 1238927.8188 | 2619830.7932 | 1238932.9566 | 2619829.1749 | 1238934.8708
1 | 2619849.0469 | 1238872.7578 | 2619838.6516 | 1238913.177
2 | 2619829.1749 | 1238934.8708 | 2619827.6345 | 1238936.6929 | 2619821.5374 | 1238941.6312 | 2619810.0004 | 1238947.1963 | 2619809.4266 | 1238947.3906
3 | 2619828.5521 | 1238806.5595 | 2619835.6745 | 1238816.267 | 2619822.9324 | 1238829.3438 | 2619815.7108 | 1238838.0585 | 2619814.1921 | 1238839.888 | 2619822.042 | 1238846.8962 | 2619822.6787 | 1238855.5593 | 2619824.8837 | 1238861.1367 | 2619829.871 | 1238864.7 | 2619839.6017 | 1238870.1469 | 2619849.0469 | 1238872.7578
4 | 2619758.9002 | 1238964.5039 | 2619809.4266 | 1238947.3906
5 | 2619828.5521 | 1238806.5595 | 2619816.7697 | 1238819.873 | 2619801.0751 | 1238840.6448 | 2619792.9016 | 1238851.5992
6 | 2619722.3164 | 1238864.6809 | 2619792.9016 | 1238851.5992
7 | 2619722.3164 | 1238864.6809 | 2619632.1293 | 1238795.4541
8 | 2619632.1293 | 1238795.4541 | 2619619.3568 | 1238815.0274 | 2619603.4529 | 1238840.2775
9 | 2619758.9002 | 1238964.5039 | 2619774.0033 | 1238971.4028 | 2619827.1003 | 1238956.3033 | 2619902.4199 | 1238944.132
10 | 2619660.0922 | 1238961.9781 | 2619758.9002 | 1238964.5039
11 | 2619902.4199 | 1238944.132 | 2619905.6996 | 1238943.6021 | 2619925.5222 | 1238946.9342
12 | 2619615.6659 | 1239030.4672 | 2619660.0922 | 1238961.9781
13 | 2619603.4529 | 1238840.2775 | 2619573.4315 | 1238887.9414
14 | 2619615.6659 | 1239030.4672 | 2619589.799 | 1239070.3444 | 2619564.1094 | 1239058.4192 | 2619551.1664 | 1239075.4746
15 | 2619509.8033 | 1239121.18 | 2619535.2837 | 1239096.4038 | 2619551.1664 | 1239075.4746
16 | 2619509.8033 | 1239121.18 | 2619503.9005 | 1239126.9196
17 | 2619503.9005 | 1239126.9196 | 2619503.6537 | 1239127.1596
18 | 2619457.5786 | 1239153.6291 | 2619481.0748 | 1239149.1145 | 2619503.6537 | 1239127.1596
19 | 2619388.1613 | 1239166.9669 | 2619457.5786 | 1239153.6291
20 | 2619388.1613 | 1239166.9669 | 2619388.9236 | 1239172.0614 | 2619390.3776 | 1239187.7092 | 2619391.3547 | 1239205.8237 | 2619391.3415 | 1239209.8928 | 2619391.3105 | 1239219.3875 | 2619391.4052 | 1239222.8233 | 2619390.1889 | 1239227.0776
21 | 2619376.5405 | 1239149.7517 | 2619378.9226 | 1239152.1165 | 2619383.7478 | 1239156.7017 | 2619387.1176 | 1239160.0147 | 2619388.1613 | 1239166.9669
22 | 2619412.3479 | 1238929.1095 | 2619426.124 | 1238904.7967
23 | 2619412.3479 | 1238929.1095 | 2619399.6023 | 1238951.6035 | 2619389.236 | 1238981.0103 | 2619387.5502 | 1238985.2522
24 | 2619441.5006 | 1238885.2945 | 2619440.9001 | 1238885.5972 | 2619429.9611 | 1238898.0248 | 2619426.124 | 1238904.7967
25 | 2619383.1509 | 1238996.3222 | 2619387.5502 | 1238985.2522
26 | 2619451.215 | 1238880.3989 | 2619441.5006 | 1238885.2945
27 | 2619383.1509 | 1238996.3222 | 2619397.7542 | 1239005.8201 | 2619402.306 | 1239001.5212 | 2619406.1925 | 1238997.1311
28 | 2619451.5968 | 1238880.2065 | 2619451.215 | 1238880.3989
29 | 2619406.1925 | 1238997.1311 | 2619422.0118 | 1239004.8097 | 2619424.3107 | 1239007.1964 | 2619425.2223 | 1239010.6015 | 2619424.9337 | 1239013.2689 | 2619423.731 | 1239015.6553 | 2619418.0252 | 1239021.7251
30 | 2619376.8878 | 1239024.4971 | 2619384.7438 | 1239018.0965 | 2619392.6486 | 1239010.6398 | 2619397.7542 | 1239005.8201 | 2619402.306 | 1239001.5212 | 2619406.1925 | 1238997.1311
31 | 2619376.8878 | 1239024.4971 | 2619364.0527 | 1239031.7154 | 2619359.7169 | 1239034.7365 | 2619355.4522 | 1239039.1476
32 | 2619355.4522 | 1239039.1476 | 2619378.0849 | 1239060.6141
33 | 2619330.6958 | 1239051.7529 | 2619350.2425 | 1239034.1721 | 2619355.4522 | 1239039.1476
34 | 2619330.6958 | 1239051.7529 | 2619324.5976 | 1239059.5045 | 2619309.5248 | 1239075.4586
35 | 2619378.0849 | 1239060.6141 | 2619379.4357 | 1239061.8953 | 2619382.6623 | 1239062.7397 | 2619386.8986 | 1239062.3866 | 2619390.0967 | 1239060.3735 | 2619396.7368 | 1239053.1209
36 | 2619934.1066 | 1238948.3773 | 2619925.5222 | 1238946.9342
37 | 2619396.7368 | 1239053.1209 | 2619433.9893 | 1239012.4312 | 2619447.6945 | 1239024.6654
38 | 2619358.268 | 1239173.2847 | 2619357.4271 | 1239174.1069
39 | 2619358.268 | 1239173.2847 | 2619362.3346 | 1239168.0473
40 | 2619390.1889 | 1239227.0776 | 2619393.9857 | 1239236.2512 | 2619401.7628 | 1239249.045
41 | 2619376.5405 | 1239149.7517 | 2619362.3346 | 1239168.0473
42 | 2619376.5405 | 1239149.7517 | 2619400.9283 | 1239122.1586
43 | 2619471.2036 | 1239045.6512 | 2619455.6581 | 1239060.6876 | 2619448.0303 | 1239068.99 | 2619438.8303 | 1239079.3553 | 2619427.8996 | 1239091.6606 | 2619422.328 | 1239097.9464 | 2619400.9283 | 1239122.1586
44 | 2619450.3792 | 1239027.062 | 2619447.6945 | 1239024.6654
45 | 2619471.2036 | 1239045.6512 | 2619450.3792 | 1239027.062

## bus_geodata
| x | y | coords
0 | 2619838.6516 | 1238913.177
1 | 2619829.1749 | 1238934.8708
2 | 2619849.0469 | 1238872.7578
3 | 2619809.4266 | 1238947.3906
4 | 2619828.5521 | 1238806.5595
5 | 2619722.3164 | 1238864.6809
6 | 2619792.9016 | 1238851.5992
7 | 2619632.1293 | 1238795.4541
8 | 2619758.9002 | 1238964.5039
9 | 2619902.4199 | 1238944.132
10 | 2619660.0922 | 1238961.9781
11 | 2619603.4529 | 1238840.2775
12 | 2619573.4315 | 1238887.9414
13 | 2619615.6659 | 1239030.4672
14 | 2619509.8033 | 1239121.18
15 | 2619551.1664 | 1239075.4746
16 | 2619503.9005 | 1239126.9196
17 | 2619503.6537 | 1239127.1596
18 | 2619457.5786 | 1239153.6291
19 | 2619388.1613 | 1239166.9669
20 | 2619412.3479 | 1238929.1095
21 | 2619426.124 | 1238904.7967
22 | 2619387.5502 | 1238985.2522
23 | 2619441.5006 | 1238885.2945
24 | 2619383.1509 | 1238996.3222
25 | 2619451.215 | 1238880.3989
26 | 2619406.1925 | 1238997.1311
27 | 2619451.5968 | 1238880.2065
28 | 2619418.0252 | 1239021.7251
29 | 2619376.8878 | 1239024.4971
30 | 2619355.4522 | 1239039.1476
31 | 2619330.6958 | 1239051.7529
32 | 2619309.5248 | 1239075.4586
33 | 2619378.0849 | 1239060.6141
34 | 2619925.5222 | 1238946.9342
35 | 2619934.1066 | 1238948.3773
36 | 2619396.7368 | 1239053.1209
37 | 2619357.4271 | 1239174.1069
38 | 2619358.268 | 1239173.2847
39 | 2619390.1889 | 1239227.0775
40 | 2619376.5405 | 1239149.7517
41 | 2619401.7628 | 1239249.045
42 | 2619362.3346 | 1239168.0473
43 | 2619400.9283 | 1239122.1586
44 | 2619447.6945 | 1239024.6654
45 | 2619450.3792 | 1239027.062
46 | 2619471.2036 | 1239045.6512
47 | 2619376.5405 | 1239149.7517

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9733 | -0.18818 | 3.8824e-05 | 9.7302e-06
1 | 0.97352 | -0.18659 | 0.00013158 | 3.2978e-05
2 | 0.97292 | -0.19094 | 0 | 0
3 | 0.97375 | -0.18498 | 3.5164e-05 | 8.813e-06
4 | 0.97204 | -0.19731 | 0 | 0
5 | 0.9709 | -0.20559 | 0.0030232 | 0.00075767
6 | 0.97152 | -0.20111 | 0.00036173 | 9.0658e-05
7 | 0.97042 | -0.20903 | 0.00031636 | 7.9288e-05
8 | 0.97425 | -0.18134 | 0 | 0
9 | 0.97422 | -0.18157 | 4.6999e-05 | 1.1779e-05
10 | 0.9752 | -0.17444 | 0.00236 | 0.00059147
11 | 0.97022 | -0.21046 | 0.0021742 | 0.00054491
12 | 0.97019 | -0.21068 | 0.00035552 | 8.9101e-05
13 | 0.97627 | -0.16672 | 0.058341 | 0.014622
14 | 0.98161 | -0.12861 | 0.038599 | 0.0096738
15 | 0.97946 | -0.14393 | 0.004202 | 0.0010531
16 | 0.98205 | -0.12548 | 0.0037419 | 0.00093781
17 | 0.98207 | -0.12534 | 0.003873 | 0.00097068
18 | 0.98524 | -0.10289 | 0.0029551 | 0.00074063
19 | 0.98938 | -0.073748 | 0 | 0
20 | 0.98743 | -0.088238 | 0.0069856 | 0.0017508
21 | 0.98729 | -0.089224 | 0.00057324 | 0.00014367
22 | 0.98836 | -0.081664 | 0.00048132 | 0.00012063
23 | 0.98719 | -0.089959 | 0.00097186 | 0.00024357
24 | 0.98854 | -0.080335 | 0 | 0
25 | 0.98716 | -0.09017 | 0.0011655 | 0.0002921
26 | 0.98901 | -0.077041 | 0 | 0
27 | 0.98716 | -0.090173 | 0.00073052 | 0.00018308
28 | 0.98892 | -0.077641 | 0.0015409 | 0.00038618
29 | 0.98973 | -0.071936 | 0 | 0
30 | 0.9902 | -0.068622 | 0 | 0
31 | 0.98918 | -0.075805 | 0 | 0
32 | 0.98822 | -0.08264 | 0.021043 | 0.005274
33 | 0.99171 | -0.057993 | 0.0020523 | 0.00051435
34 | 0.97422 | -0.18159 | 4.4086e-05 | 1.1049e-05
35 | 0.97422 | -0.1816 | 4.4253e-05 | 1.1091e-05
36 | 0.99289 | -0.049676 | 0.0094461 | 0.0023674
37 | 0.99025 | -0.067641 | 0.0054524 | 0.0013665
38 | 0.99026 | -0.067576 | 0 | 0
39 | 0.98925 | -0.074644 | 0 | 0
40 | 0.99067 | -0.064722 | 0 | 0
41 | 0.9892 | -0.075012 | 0.0014486 | 0.00036304
42 | 0.99032 | -0.067208 | 0.0050955 | 0.0012771
43 | 0.99304 | -0.04818 | 0.0055179 | 0.0013829
44 | 0.99766 | -0.016311 | 0.0037783 | 0.00094692
45 | 0.99791 | -0.01455 | 0.0033022 | 0.00082761
46 | 1 | 0 | -0.19426 | -0.048883
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0062864 | -0.0015717 | 0.0062878 | 0.0015719 | 1.3764e-06 | 2.3245e-07 | 0.0096095 | 0.0096094 | 0.0096095 | 0.9733 | -0.18818 | 0.97352 | -0.18659 | 3.5591
1 | 0.0062476 | 0.001562 | -0.0062452 | -0.0015616 | 2.3752e-06 | 3.9508e-07 | 0.0095501 | 0.0095503 | 0.0095503 | 0.9733 | -0.18818 | 0.97292 | -0.19094 | 3.5372
2 | -0.0064194 | -0.0016049 | 0.0064208 | 0.0016051 | 1.4202e-06 | 2.5213e-07 | 0.0098105 | 0.0098104 | 0.0098105 | 0.97352 | -0.18659 | 0.97375 | -0.18498 | 3.6335
3 | 0.0062452 | 0.0015616 | -0.0062398 | -0.0015606 | 5.48e-06 | 9.1313e-07 | 0.0095503 | 0.0095508 | 0.0095508 | 0.97292 | -0.19094 | 0.97204 | -0.19731 | 3.5373
4 | -0.006456 | -0.001614 | 0.0064592 | 0.0016145 | 3.2389e-06 | 5.8178e-07 | 0.0098641 | 0.0098639 | 0.0098641 | 0.97375 | -0.18498 | 0.97425 | -0.18134 | 3.6534
5 | 0.0062398 | 0.0015606 | -0.0062365 | -0.0015601 | 3.2718e-06 | 5.4626e-07 | 0.0095508 | 0.009551 | 0.009551 | 0.97204 | -0.19731 | 0.97152 | -0.20111 | 3.5374
6 | -0.0058711 | -0.0014689 | 0.0058747 | 0.0014694 | 3.6261e-06 | 5.0631e-07 | 0.0089973 | 0.008997 | 0.0089973 | 0.9709 | -0.20559 | 0.97152 | -0.20111 | 3.3323
7 | 0.002848 | 0.00071126 | -0.0028466 | -0.00071215 | 1.3512e-06 | -8.8562e-07 | 0.004364 | 0.0043645 | 0.0043645 | 0.9709 | -0.20559 | 0.97042 | -0.20903 | 1.6165
8 | 0.0025303 | 0.00063286 | -0.0025298 | -0.00063332 | 4.9975e-07 | -4.6509e-07 | 0.0038794 | 0.0038796 | 0.0038796 | 0.97042 | -0.20903 | 0.97022 | -0.21046 | 1.4369
9 | 0.00013534 | 3.1677e-05 | -0.00013534 | -3.3519e-05 | 3.9312e-09 | -1.8427e-06 | 0.00020593 | 0.00020657 | 0.00020657 | 0.97425 | -0.18134 | 0.97422 | -0.18157 | 0.076508
10 | -0.0065946 | -0.0016462 | 0.0066008 | 0.0016474 | 6.2538e-06 | 1.1733e-06 | 0.01007 | 0.010069 | 0.01007 | 0.97425 | -0.18134 | 0.9752 | -0.17444 | 3.7296
11 | 8.834e-05 | 2.174e-05 | -8.834e-05 | -2.2032e-05 | 2.6574e-10 | -2.9155e-07 | 0.00013479 | 0.00013489 | 0.00013489 | 0.97422 | -0.18157 | 0.97422 | -0.18159 | 0.049959
12 | -0.0089608 | -0.0022389 | 0.0089703 | 0.0022415 | 9.5195e-06 | 2.6417e-06 | 0.01367 | 0.01367 | 0.01367 | 0.9752 | -0.17444 | 0.97627 | -0.16672 | 5.0631
13 | 0.00035553 | 8.8409e-05 | -0.00035552 | -8.9101e-05 | 1.0446e-08 | -6.9162e-07 | 0.00054502 | 0.00054527 | 0.00054527 | 0.97022 | -0.21046 | 0.97019 | -0.21068 | 0.20195
14 | -0.067311 | -0.016863 | 0.067524 | 0.016941 | 0.00021293 | 7.8237e-05 | 0.10259 | 0.10259 | 0.10259 | 0.97627 | -0.16672 | 0.97946 | -0.14393 | 12.6657
15 | 0.071879 | 0.018051 | -0.071726 | -0.017994 | 0.00015268 | 5.6386e-05 | 0.10897 | 0.10897 | 0.10897 | 0.98161 | -0.12861 | 0.97946 | -0.14393 | 13.4537
16 | -0.11048 | -0.027725 | 0.11053 | 0.027743 | 4.8039e-05 | 1.8164e-05 | 0.16749 | 0.16749 | 0.16749 | 0.98161 | -0.12861 | 0.98205 | -0.12548 | 20.6773
17 | -0.11427 | -0.028681 | 0.11427 | 0.028682 | 2.1468e-06 | 8.1262e-07 | 0.17316 | 0.17316 | 0.17316 | 0.98205 | -0.12548 | 0.98207 | -0.12534 | 21.3773
18 | -0.11814 | -0.029652 | 0.11851 | 0.029792 | 0.00036944 | 0.00013998 | 0.17902 | 0.17902 | 0.17902 | 0.98207 | -0.12534 | 0.98524 | -0.10289 | 22.1018
19 | -0.12147 | -0.030533 | 0.12196 | 0.03072 | 0.000495 | 0.00018767 | 0.18349 | 0.18349 | 0.18349 | 0.98524 | -0.10289 | 0.98938 | -0.073748 | 22.6527
20 | 0.0014488 | 0.00036205 | -0.0014486 | -0.00036275 | 1.7901e-07 | -7.0713e-07 | 0.0021786 | 0.0021789 | 0.0021789 | 0.98938 | -0.073748 | 0.98925 | -0.074644 | 0.807
21 | -0.12341 | -0.031083 | 0.12357 | 0.031142 | 0.00015593 | 5.9135e-05 | 0.18566 | 0.18566 | 0.18566 | 0.98938 | -0.073748 | 0.99067 | -0.064722 | 22.9215
22 | 0.0034419 | 0.00086192 | -0.0034415 | -0.00086209 | 4.6909e-07 | -1.7698e-07 | 0.0051866 | 0.0051867 | 0.0051867 | 0.98743 | -0.088238 | 0.98729 | -0.089224 | 1.921
23 | -0.010428 | -0.0026127 | 0.010437 | 0.0026155 | 9.4908e-06 | 2.8616e-06 | 0.015714 | 0.015713 | 0.015714 | 0.98743 | -0.088238 | 0.98836 | -0.081664 | 5.8199
24 | 0.0028682 | 0.00071843 | -0.0028679 | -0.00071863 | 2.9165e-07 | -2.0764e-07 | 0.0043228 | 0.0043229 | 0.0043229 | 0.98729 | -0.089224 | 0.98719 | -0.089959 | 1.6011
25 | -0.010918 | -0.0027362 | 0.01092 | 0.0027368 | 2.0085e-06 | 6.1981e-07 | 0.016438 | 0.016438 | 0.016438 | 0.98836 | -0.081664 | 0.98854 | -0.080335 | 6.0882
26 | 0.0018961 | 0.00047506 | -0.001896 | -0.00047518 | 5.5445e-08 | -1.1775e-07 | 0.002858 | 0.002858 | 0.002858 | 0.98719 | -0.089959 | 0.98716 | -0.09017 | 1.0585
27 | -0.01092 | -0.0027368 | 0.010925 | 0.0027383 | 4.9814e-06 | 1.537e-06 | 0.016438 | 0.016438 | 0.016438 | 0.98854 | -0.080335 | 0.98901 | -0.077041 | 6.0881
28 | 0.00073052 | 0.00018308 | -0.00073052 | -0.00018308 | 3.2362e-10 | -5.341e-09 | 0.0011012 | 0.0011012 | 0.0011012 | 0.98716 | -0.09017 | 0.98716 | -0.090173 | 0.40784
29 | 0.001541 | 0.00038574 | -0.0015409 | -0.00038618 | 1.2782e-07 | -4.3983e-07 | 0.0023184 | 0.0023185 | 0.0023185 | 0.98901 | -0.077041 | 0.98892 | -0.077641 | 0.85871
30 | -0.012466 | -0.0031241 | 0.012475 | 0.0031269 | 8.8127e-06 | 2.8739e-06 | 0.018756 | 0.018756 | 0.018756 | 0.98901 | -0.077041 | 0.98973 | -0.071936 | 6.9467
31 | -0.012475 | -0.0031269 | 0.012481 | 0.0031288 | 5.728e-06 | 1.8676e-06 | 0.018756 | 0.018756 | 0.018756 | 0.98973 | -0.071936 | 0.9902 | -0.068622 | 6.9467
32 | -0.033565 | -0.0084177 | 0.033615 | 0.0084363 | 4.9526e-05 | 1.8647e-05 | 0.050442 | 0.050442 | 0.050442 | 0.9902 | -0.068622 | 0.99171 | -0.057993 | 18.6822
33 | 0.021084 | 0.0052889 | -0.021063 | -0.0052812 | 2.0984e-05 | 7.6403e-06 | 0.031686 | 0.031686 | 0.031686 | 0.9902 | -0.068622 | 0.98918 | -0.075805 | 11.7356
34 | 0.021063 | 0.0052812 | -0.021043 | -0.005274 | 1.993e-05 | 7.2573e-06 | 0.031686 | 0.031686 | 0.031686 | 0.98918 | -0.075805 | 0.98822 | -0.08264 | 11.7357
35 | -0.035667 | -0.0089507 | 0.035708 | 0.0089662 | 4.1219e-05 | 1.5556e-05 | 0.053521 | 0.053521 | 0.053521 | 0.99171 | -0.057993 | 0.99289 | -0.049676 | 19.8226
36 | 4.4253e-05 | 1.0983e-05 | -4.4253e-05 | -1.1091e-05 | 2.4812e-11 | -1.0838e-07 | 6.7554e-05 | 6.7592e-05 | 6.7592e-05 | 0.97422 | -0.18159 | 0.97422 | -0.1816 | 0.025034
37 | -0.045154 | -0.011334 | 0.045364 | 0.011414 | 0.00021018 | 7.9882e-05 | 0.067678 | 0.067677 | 0.067678 | 0.99289 | -0.049676 | 0.99766 | -0.016311 | 25.0657
38 | -0.0054524 | -0.0013665 | 0.0054525 | 0.0013665 | 4.9265e-08 | 3.8175e-09 | 0.0081932 | 0.0081932 | 0.0081932 | 0.99025 | -0.067641 | 0.99026 | -0.067576 | 3.0345
39 | -0.0054525 | -0.0013665 | 0.0054528 | 0.0013665 | 2.7775e-07 | 2.1516e-08 | 0.0081932 | 0.0081931 | 0.0081932 | 0.99026 | -0.067576 | 0.99032 | -0.067208 | 3.0345
40 | 0.0014486 | 0.00036275 | -0.0014486 | -0.00036304 | 7.3772e-08 | -2.913e-07 | 0.0021789 | 0.002179 | 0.002179 | 0.98925 | -0.074644 | 0.9892 | -0.075012 | 0.80704
41 | 0.010552 | 0.0026447 | -0.010548 | -0.0026436 | 3.6309e-06 | 1.0984e-06 | 0.015849 | 0.01585 | 0.01585 | 0.99067 | -0.064722 | 0.99032 | -0.067208 | 5.8702
42 | -0.13412 | -0.033786 | 0.13443 | 0.033905 | 0.00031104 | 0.00011821 | 0.20151 | 0.20151 | 0.20151 | 0.99067 | -0.064722 | 0.99304 | -0.04818 | 24.8782
43 | -0.13995 | -0.035287 | 0.1409 | 0.035649 | 0.00095137 | 0.00036185 | 0.20978 | 0.20978 | 0.20978 | 0.99304 | -0.04818 | 1 | 0 | 25.8989
44 | -0.049143 | -0.01236 | 0.049155 | 0.012365 | 1.207e-05 | 4.5951e-06 | 0.073313 | 0.073313 | 0.073313 | 0.99766 | -0.016311 | 0.99791 | -0.01455 | 27.1528
45 | -0.052457 | -0.013193 | 0.052564 | 0.013233 | 0.00010662 | 4.0642e-05 | 0.078237 | 0.078236 | 0.078237 | 0.99791 | -0.01455 | 1 | 0 | 28.9765

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19426 | 0.048883

## res_load
| p_mw | q_mvar
0 | 3.8824e-05 | 9.7302e-06
1 | 0.00013158 | 3.2978e-05
2 | 3.5164e-05 | 8.813e-06
3 | 0.0030232 | 0.00075767
4 | 0.00036173 | 9.0658e-05
5 | 0.00031636 | 7.9288e-05
6 | 4.6999e-05 | 1.1779e-05
7 | 0.00236 | 0.00059147
8 | 0.0021742 | 0.00054491
9 | 0.00035552 | 8.9101e-05
10 | 0.058341 | 0.014622
11 | 0.038599 | 0.0096738
12 | 0.004202 | 0.0010531
13 | 0.0037419 | 0.00093781
14 | 0.003873 | 0.00097068
15 | 0.0029551 | 0.00074063
16 | 0.0069856 | 0.0017508
17 | 0.00057324 | 0.00014367
18 | 0.00048132 | 0.00012063
19 | 0.00097186 | 0.00024357
20 | 0.0011655 | 0.0002921
21 | 0.00073052 | 0.00018308
22 | 0.0015409 | 0.00038618
23 | 0.021043 | 0.005274
24 | 0.0020523 | 0.00051435
25 | 4.4086e-05 | 1.1049e-05
26 | 4.4253e-05 | 1.1091e-05
27 | 0.0094461 | 0.0023674
28 | 0.0054524 | 0.0013665
29 | 0.0014486 | 0.00036304
30 | 0.0050955 | 0.0012771
31 | 0.0055179 | 0.0013829
32 | 0.0037783 | 0.00094692
33 | 0.0033022 | 0.00082761

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1