## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2422-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2422-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2422-22_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2422-22_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2422-22_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2422-22_0_4_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_2422-22_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2422-22_0_4_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_2422-22_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_2422-22_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2422-22_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2422-22_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2422-22_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2422-22_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2422-22_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_2422-22_0_4_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_2422-22_0_4_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_2422-22_0_4_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_2422-22_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_2422-22_0_4_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_2422-22_0_4_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_2422-22_0_4_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_2422-22_0_4_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_2422-22_0_4_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_2422-22_0_4_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_2422-22_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2422-22_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2422-22_0_4_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_2422-22_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_2422-22_0_4_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_2422-22_0_4_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_2422-22_0_4_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_2422-22_0_4_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_2422-22_0_4_node_89 | 0.4 | n |  | TRUE
34 | bus_LV_2422-22_0_4_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_2422-22_0_4_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_2422-22_0_4_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_2422-22_0_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_2422-22_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_2422-22_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_2422-22_0_4_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_2422-22_0_4_node_82 | 0.4 | n |  | TRUE
42 | bus_MV_333_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2422-22_0_4_load_0 | 0 | 0.0020087 | 0.00050342 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2422-22_0_4_load_1 | 1 | 0.0018484 | 0.00046324 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2422-22_0_4_load_2 | 2 | 0.0021491 | 0.00053861 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2422-22_0_4_load_3 | 3 | 0.0023614 | 0.00059181 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2422-22_0_4_load_4 | 4 | 0.0001938 | 4.8572e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2422-22_0_4_load_72 | 7 | 0.003217 | 0.00080625 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2422-22_0_4_load_15 | 8 | 0.00021638 | 5.423e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2422-22_0_4_load_9 | 9 | 0.0019958 | 0.0005002 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2422-22_0_4_load_10 | 10 | 0.00086777 | 0.00021748 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2422-22_0_4_load_12 | 12 | 0.00058314 | 0.00014615 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2422-22_0_4_load_14 | 14 | 0.0015363 | 0.00038502 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2422-22_0_4_load_83 | 16 | 0.0012269 | 0.00030749 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2422-22_0_4_load_80 | 17 | 0.0015262 | 0.0003825 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2422-22_0_4_load_55 | 18 | 0.0015262 | 0.0003825 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2422-22_0_4_load_62 | 19 | 0.00099985 | 0.00025059 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2422-22_0_4_load_63 | 20 | 0.0026475 | 0.00066352 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2422-22_0_4_load_58 | 21 | 0.0062433 | 0.0015647 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2422-22_0_4_load_84 | 22 | 0.0008734 | 0.00021889 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2422-22_0_4_load_81 | 23 | 0.0017901 | 0.00044864 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2422-22_0_4_load_54 | 24 | 0.00089991 | 0.00022554 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2422-22_0_4_load_20 | 26 | 0.0012305 | 0.0003084 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2422-22_0_4_load_56 | 27 | 0.00073176 | 0.0001834 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2422-22_0_4_load_43 | 28 | 0.00075296 | 0.00018871 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2422-22_0_4_load_44 | 29 | 0.00057233 | 0.00014344 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2422-22_0_4_load_74 | 30 | 0.0011671 | 0.00029249 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2422-22_0_4_load_73 | 31 | 0.0011406 | 0.00028585 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2422-22_0_4_load_57 | 32 | 0.00088135 | 0.00022089 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2422-22_0_4_load_89 | 33 | 0.00091507 | 0.00022934 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2422-22_0_4_load_45 | 34 | 0.00057311 | 0.00014363 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2422-22_0_4_load_48 | 35 | 0.0021282 | 0.00053338 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2422-22_0_4_load_50 | 37 | 0.0032212 | 0.00080731 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2422-22_0_4_load_61 | 38 | 0.0020035 | 0.00050213 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2422-22_0_4_load_59 | 39 | 0.0086968 | 0.0021796 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2422-22_0_4_load_65 | 40 | 0.01483 | 0.0037168 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2422-22_0_4_load_82 | 41 | 0.0012836 | 0.00032169 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2422-22_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0011469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2422-22_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2422-22_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2422-22_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0044599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2422-22_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.018907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2422-22_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.029154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2422-22_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.021592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2422-22_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.017702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2422-22_0_4_line_8 | NAYY 4x150 SE | 7 | 31 | 0.022735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2422-22_0_4_line_9 | NAYY 4x150 SE | 8 | 25 | 0.044047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2422-22_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.023633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2422-22_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0096451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2422-22_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.013135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2422-22_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.00557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2422-22_0_4_line_14 | NAYY 4x150 SE | 11 | 14 | 0.020318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2422-22_0_4_line_15 | NAYY 4x150 SE | 12 | 15 | 0.018834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2422-22_0_4_line_16 | NAYY 4x150 SE | 13 | 16 | 0.01988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2422-22_0_4_line_17 | NAYY 4x150 SE | 13 | 17 | 0.016006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2422-22_0_4_line_18 | NAYY 4x150 SE | 14 | 18 | 0.0037756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2422-22_0_4_line_19 | NAYY 4x150 SE | 15 | 19 | 0.016547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2422-22_0_4_line_20 | NAYY 4x150 SE | 15 | 20 | 0.018665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2422-22_0_4_line_21 | NAYY 4x150 SE | 15 | 21 | 0.026466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2422-22_0_4_line_22 | NAYY 4x150 SE | 16 | 22 | 0.022654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2422-22_0_4_line_23 | NAYY 4x150 SE | 17 | 23 | 0.022007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2422-22_0_4_line_24 | NAYY 4x150 SE | 18 | 24 | 0.014704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2422-22_0_4_line_25 | NAYY 4x150 SE | 19 | 40 | 0.01993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2422-22_0_4_line_26 | NAYY 4x150 SE | 21 | 39 | 0.0072739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2422-22_0_4_line_27 | NAYY 4x150 SE | 22 | 33 | 0.035521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2422-22_0_4_line_28 | NAYY 4x150 SE | 23 | 41 | 0.0015999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2422-22_0_4_line_29 | NAYY 4x150 SE | 24 | 34 | 0.0076462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2422-22_0_4_line_30 | NAYY 4x150 SE | 25 | 26 | 0.012501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2422-22_0_4_line_31 | NAYY 4x150 SE | 26 | 27 | 0.0099728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2422-22_0_4_line_32 | NAYY 4x150 SE | 27 | 32 | 0.021157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2422-22_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.0015178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2422-22_0_4_line_34 | NAYY 4x150 SE | 29 | 34 | 0.0056746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2422-22_0_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.00015553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2422-22_0_4_line_36 | NAYY 4x150 SE | 32 | 40 | 0.013606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2422-22_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.019986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2422-22_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.053608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2422-22_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.015853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2422-22_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.010655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2422-22_0_4_trafo_60 | 0.25 MVA 20/0.4 kV | 42 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2619299.0275 | 1240080.1913 | 2619299.8396 | 1240079.3814
1 | 2619299.0275 | 1240080.1913 | 2619287.0926 | 1240092.0943
2 | 2619299.8396 | 1240079.3814 | 2619315.0316 | 1240064.2302
3 | 2619283.9347 | 1240095.2437 | 2619287.0926 | 1240092.0943
4 | 2619328.4186 | 1240050.8791 | 2619315.0316 | 1240064.2302
5 | 2619263.2921 | 1240115.8309 | 2619283.9347 | 1240095.2437
6 | 2619328.4186 | 1240050.8791 | 2619313.1041 | 1240035.6583
7 | 2619263.2921 | 1240115.8309 | 2619275.2059 | 1240128.9238
8 | 2619313.1041 | 1240035.6583 | 2619296.9786 | 1240019.6315
9 | 2619305.6041 | 1240160.796 | 2619281.5561 | 1240135.9025 | 2619275.2059 | 1240128.9238
10 | 2619412.2092 | 1240134.6034 | 2619395.2212 | 1240118.1741
11 | 2619419.1424 | 1240141.3086 | 2619412.2092 | 1240134.6034
12 | 2619385.7791 | 1240109.0425 | 2619395.2212 | 1240118.1741
13 | 2619419.1424 | 1240141.3086 | 2619423.2435 | 1240145.091
14 | 2619419.1424 | 1240141.3086 | 2619403.5127 | 1240154.2902
15 | 2619372.766 | 1240095.44 | 2619380.3155 | 1240103.7586 | 2619385.7791 | 1240109.0425
16 | 2619423.2435 | 1240145.091 | 2619434.6199 | 1240143.894 | 2619440.8763 | 1240138.2281
17 | 2619423.2435 | 1240145.091 | 2619435.014 | 1240155.938
18 | 2619403.5127 | 1240154.2902 | 2619400.6083 | 1240156.7025
19 | 2619372.766 | 1240095.44 | 2619366.8798 | 1240101.091 | 2619360.8724 | 1240106.9439
20 | 2619372.766 | 1240095.44 | 2619359.9151 | 1240081.9028
21 | 2619372.766 | 1240095.44 | 2619393.3311 | 1240078.7807
22 | 2619457.6678 | 1240123.0215 | 2619440.8763 | 1240138.2281
23 | 2619435.014 | 1240155.938 | 2619444.0807 | 1240164.2932 | 2619451.1976 | 1240170.8511
24 | 2619389.2972 | 1240166.0972 | 2619400.6083 | 1240156.7025
25 | 2619346.5975 | 1240120.8517 | 2619360.8724 | 1240106.9439
26 | 2619393.3311 | 1240078.7807 | 2619398.9831 | 1240074.2021
27 | 2619457.6678 | 1240123.0215 | 2619491.7369 | 1240133.074
28 | 2619451.1976 | 1240170.8511 | 2619452.3741 | 1240171.9352
29 | 2619383.4153 | 1240170.9826 | 2619389.2972 | 1240166.0972
30 | 2619305.6041 | 1240160.796 | 2619314.5574 | 1240152.0711
31 | 2619314.5574 | 1240152.0711 | 2619321.6998 | 1240145.111
32 | 2619336.8525 | 1240130.3462 | 2619330.6437 | 1240136.3953 | 2619321.6998 | 1240145.111
33 | 2619379.05 | 1240174.6082 | 2619377.8824 | 1240175.578
34 | 2619383.4153 | 1240170.9826 | 2619379.05 | 1240174.6082
35 | 2619296.8683 | 1240019.5218 | 2619296.9786 | 1240019.6315
36 | 2619336.8525 | 1240130.3462 | 2619346.5975 | 1240120.8517
37 | 2619461.2359 | 1240023.7726 | 2619473.9747 | 1240039.1726
38 | 2619461.2359 | 1240023.7726 | 2619419.5808 | 1240057.5164
39 | 2619407.2628 | 1240067.4949 | 2619419.5808 | 1240057.5164
40 | 2619398.9831 | 1240074.2021 | 2619407.2628 | 1240067.4949

## bus_geodata
| x | y | coords
0 | 2619299.0275 | 1240080.1913
1 | 2619299.8396 | 1240079.3814
2 | 2619287.0926 | 1240092.0943
3 | 2619315.0316 | 1240064.2302
4 | 2619283.9347 | 1240095.2437
5 | 2619328.4186 | 1240050.8791
6 | 2619263.2921 | 1240115.8309
7 | 2619313.1041 | 1240035.6583
8 | 2619275.2059 | 1240128.9238
9 | 2619412.2092 | 1240134.6034
10 | 2619395.2212 | 1240118.1741
11 | 2619419.1424 | 1240141.3086
12 | 2619385.7791 | 1240109.0425
13 | 2619423.2435 | 1240145.091
14 | 2619403.5127 | 1240154.2902
15 | 2619372.766 | 1240095.44
16 | 2619440.8763 | 1240138.2281
17 | 2619435.014 | 1240155.938
18 | 2619400.6083 | 1240156.7025
19 | 2619360.8724 | 1240106.9439
20 | 2619359.9151 | 1240081.9028
21 | 2619393.3311 | 1240078.7807
22 | 2619457.6678 | 1240123.0215
23 | 2619451.1976 | 1240170.8511
24 | 2619389.2972 | 1240166.0972
25 | 2619305.6041 | 1240160.796
26 | 2619314.5574 | 1240152.0711
27 | 2619321.6998 | 1240145.111
28 | 2619377.8824 | 1240175.578
29 | 2619379.05 | 1240174.6082
30 | 2619296.8683 | 1240019.5218
31 | 2619296.9786 | 1240019.6315
32 | 2619336.8525 | 1240130.3462
33 | 2619491.7369 | 1240133.074
34 | 2619383.4153 | 1240170.9826
35 | 2619473.9747 | 1240039.1726
36 | 2619461.2359 | 1240023.7726
37 | 2619419.5808 | 1240057.5164
38 | 2619407.2628 | 1240067.4949
39 | 2619398.9831 | 1240074.2021
40 | 2619346.5975 | 1240120.8517
41 | 2619452.3741 | 1240171.9352
42 | 2619328.4186 | 1240050.8791

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99478 | -0.036596 | 0.0020087 | 0.00050342
1 | 0.99477 | -0.036708 | 0.0018484 | 0.00046324
2 | 0.99507 | -0.034598 | 0.0021491 | 0.00053861
3 | 0.99452 | -0.038417 | 0.0023614 | 0.00059181
4 | 0.99515 | -0.033974 | 0.0001938 | 4.8572e-05
5 | 0.99437 | -0.039472 | 0 | 0
6 | 0.99574 | -0.029834 | 0 | 0
7 | 0.9942 | -0.040677 | 0.003217 | 0.00080625
8 | 0.9961 | -0.027323 | 0.00021638 | 5.423e-05
9 | 0.99872 | -0.0089954 | 0.0019958 | 0.0005002
10 | 0.99924 | -0.0053342 | 0.00086777 | 0.00021748
11 | 0.99853 | -0.010298 | 0 | 0
12 | 0.99955 | -0.0031867 | 0.00058314 | 0.00014615
13 | 0.99847 | -0.010723 | 0 | 0
14 | 0.99836 | -0.011491 | 0.0015363 | 0.00038502
15 | 1 | 0 | -0.075795 | -0.018808
16 | 0.99838 | -0.011325 | 0.0012269 | 0.00030749
17 | 0.99837 | -0.011461 | 0.0015262 | 0.0003825
18 | 0.99834 | -0.011655 | 0.0015262 | 0.0003825
19 | 0.99922 | -0.0054546 | 0.00099985 | 0.00025059
20 | 0.99993 | -0.0004934 | 0.0026475 | 0.00066352
21 | 0.99916 | -0.0058966 | 0.0062433 | 0.0015647
22 | 0.99833 | -0.011731 | 0.0008734 | 0.00021889
23 | 0.99827 | -0.012138 | 0.0017901 | 0.00044864
24 | 0.99828 | -0.012067 | 0.00089991 | 0.00022554
25 | 0.997 | -0.020984 | 0 | 0
26 | 0.99726 | -0.019187 | 0.0012305 | 0.0003084
27 | 0.99748 | -0.01763 | 0.00073176 | 0.0001834
28 | 0.99825 | -0.012299 | 0.00075296 | 0.00018871
29 | 0.99825 | -0.012288 | 0.00057233 | 0.00014344
30 | 0.99413 | -0.041209 | 0.0011671 | 0.00029249
31 | 0.99413 | -0.041207 | 0.0011406 | 0.00028585
32 | 0.99797 | -0.014176 | 0.00088135 | 0.00022089
33 | 0.99828 | -0.012058 | 0.00091507 | 0.00022934
34 | 0.99826 | -0.012212 | 0.00057311 | 0.00014363
35 | 0.99854 | -0.010269 | 0.0021282 | 0.00053338
36 | 0.9986 | -0.0098429 | 0 | 0
37 | 0.99876 | -0.0086988 | 0.0032212 | 0.00080731
38 | 0.99888 | -0.0078492 | 0.0020035 | 0.00050213
39 | 0.99899 | -0.0070646 | 0.0086968 | 0.0021796
40 | 0.99831 | -0.011836 | 0.01483 | 0.0037168
41 | 0.99827 | -0.012159 | 0.0012836 | 0.00032169
42 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0097382 | 0.00244 | -0.0097381 | -0.00244 | 1.5185e-07 | 4.3515e-08 | 0.014566 | 0.014566 | 0.014566 | 0.99478 | -0.036596 | 0.99477 | -0.036708 | 5.395
1 | -0.011747 | -0.0029435 | 0.01175 | 0.0029445 | 3.2474e-06 | 1.0301e-06 | 0.017571 | 0.017571 | 0.017571 | 0.99478 | -0.036596 | 0.99507 | -0.034598 | 6.5078
2 | 0.0078897 | 0.0019768 | -0.0078879 | -0.0019763 | 1.8647e-06 | 4.3872e-07 | 0.011802 | 0.011802 | 0.011802 | 0.99477 | -0.036708 | 0.99452 | -0.038417 | 4.371
3 | -0.013899 | -0.0034831 | 0.0139 | 0.0034835 | 1.2023e-06 | 4.0447e-07 | 0.020785 | 0.020785 | 0.020785 | 0.99507 | -0.034598 | 0.99515 | -0.033974 | 7.698
4 | 0.0055265 | 0.0013845 | -0.0055257 | -0.0013844 | 8.0662e-07 | 6.4942e-08 | 0.0082686 | 0.0082687 | 0.0082687 | 0.99452 | -0.038417 | 0.99437 | -0.039472 | 3.0625
5 | -0.014094 | -0.0035321 | 0.014102 | 0.0035348 | 8.0796e-06 | 2.7285e-06 | 0.021074 | 0.021074 | 0.021074 | 0.99515 | -0.033974 | 0.99574 | -0.029834 | 7.8053
6 | 0.0055257 | 0.0013844 | -0.0055248 | -0.0013844 | 9.212e-07 | 7.4263e-08 | 0.0082687 | 0.0082688 | 0.0082688 | 0.99437 | -0.039472 | 0.9942 | -0.040677 | 3.0625
7 | -0.014102 | -0.0035348 | 0.014107 | 0.0035365 | 4.9058e-06 | 1.6565e-06 | 0.021074 | 0.021074 | 0.021074 | 0.99574 | -0.029834 | 0.9961 | -0.027323 | 7.8053
8 | 0.0023078 | 0.00057811 | -0.0023076 | -0.00057834 | 1.6925e-07 | -2.297e-07 | 0.003454 | 0.0034541 | 0.0034541 | 0.9942 | -0.040677 | 0.99413 | -0.041207 | 1.2793
9 | -0.014324 | -0.0035907 | 0.014336 | 0.003595 | 1.2584e-05 | 4.2662e-06 | 0.021397 | 0.021397 | 0.021397 | 0.9961 | -0.027323 | 0.997 | -0.020984 | 7.925
10 | -0.015477 | -0.0038772 | 0.015485 | 0.0038799 | 7.8413e-06 | 2.7065e-06 | 0.023059 | 0.023059 | 0.023059 | 0.99872 | -0.0089954 | 0.99924 | -0.0053342 | 8.5404
11 | 0.013481 | 0.003377 | -0.013479 | -0.0033762 | 2.428e-06 | 8.0768e-07 | 0.020085 | 0.020086 | 0.020086 | 0.99872 | -0.0089954 | 0.99853 | -0.010298 | 7.4391
12 | -0.016353 | -0.0040974 | 0.016358 | 0.0040991 | 4.8604e-06 | 1.6973e-06 | 0.024351 | 0.024351 | 0.024351 | 0.99924 | -0.0053342 | 0.99955 | -0.0031867 | 9.019
13 | 0.0076168 | 0.0019076 | -0.0076164 | -0.0019075 | 4.4776e-07 | 9.9358e-08 | 0.01135 | 0.01135 | 0.01135 | 0.99853 | -0.010298 | 0.99847 | -0.010723 | 4.2038
14 | 0.005862 | 0.0014686 | -0.005861 | -0.0014685 | 9.6746e-07 | 1.0637e-07 | 0.0087354 | 0.0087355 | 0.0087355 | 0.99853 | -0.010298 | 0.99836 | -0.011491 | 3.2354
15 | -0.016941 | -0.0042452 | 0.016948 | 0.0042479 | 7.4748e-06 | 2.628e-06 | 0.025219 | 0.025219 | 0.025219 | 0.99955 | -0.0031867 | 1 | 0 | 9.3405
16 | 0.0030158 | 0.00075485 | -0.0030155 | -0.00075501 | 2.5054e-07 | -1.6363e-07 | 0.004494 | 0.0044941 | 0.0044941 | 0.99847 | -0.010723 | 0.99838 | -0.011325 | 1.6645
17 | 0.0046006 | 0.0011526 | -0.0046001 | -0.0011526 | 4.695e-07 | -2.875e-08 | 0.0068561 | 0.0068562 | 0.0068562 | 0.99847 | -0.010723 | 0.99837 | -0.011461 | 2.5393
18 | 0.0043248 | 0.0010835 | -0.0043247 | -0.0010835 | 9.7886e-08 | -1.1721e-08 | 0.0064458 | 0.0064458 | 0.0064458 | 0.99836 | -0.011491 | 0.99834 | -0.011655 | 2.3873
19 | 0.033083 | 0.0083021 | -0.033058 | -0.0082927 | 2.5027e-05 | 9.4088e-06 | 0.049232 | 0.049232 | 0.049232 | 1 | 0 | 0.99922 | -0.0054546 | 18.2342
20 | 0.0026477 | 0.00066335 | -0.0026475 | -0.00066352 | 1.8078e-07 | -1.7533e-07 | 0.0039397 | 0.0039398 | 0.0039398 | 1 | 0 | 0.99993 | -0.0004934 | 1.4592
21 | 0.022316 | 0.0055942 | -0.022298 | -0.0055875 | 1.8211e-05 | 6.6572e-06 | 0.033207 | 0.033207 | 0.033207 | 1 | 0 | 0.99916 | -0.0058966 | 12.2988
22 | 0.0017886 | 0.00044753 | -0.0017885 | -0.00044779 | 1.0044e-07 | -2.5759e-07 | 0.0026655 | 0.0026656 | 0.0026656 | 0.99838 | -0.011325 | 0.99833 | -0.011731 | 0.98727
23 | 0.003074 | 0.00077014 | -0.0030737 | -0.00077031 | 2.8825e-07 | -1.7688e-07 | 0.0045815 | 0.0045816 | 0.0045816 | 0.99837 | -0.011461 | 0.99827 | -0.012138 | 1.6969
24 | 0.0027985 | 0.00070102 | -0.0027984 | -0.00070115 | 1.5963e-07 | -1.3085e-07 | 0.0041711 | 0.0041711 | 0.0041711 | 0.99834 | -0.011655 | 0.99828 | -0.012067 | 1.5449
25 | 0.032059 | 0.0080421 | -0.03203 | -0.0080315 | 2.8348e-05 | 1.0642e-05 | 0.047743 | 0.047744 | 0.047744 | 0.99922 | -0.0054546 | 0.99831 | -0.011836 | 17.6828
26 | 0.016054 | 0.0040228 | -0.016052 | -0.0040219 | 2.5946e-06 | 9.0266e-07 | 0.023909 | 0.023909 | 0.023909 | 0.99916 | -0.0058966 | 0.99899 | -0.0070646 | 8.8551
27 | 0.00091511 | 0.00022889 | -0.00091507 | -0.00022934 | 4.1233e-08 | -4.4857e-07 | 0.0013638 | 0.001364 | 0.001364 | 0.99833 | -0.011731 | 0.99828 | -0.012058 | 0.50518
28 | 0.0012836 | 0.00032167 | -0.0012836 | -0.00032169 | 3.6545e-09 | -1.9511e-08 | 0.0019133 | 0.0019133 | 0.0019133 | 0.99827 | -0.012138 | 0.99827 | -0.012159 | 0.70862
29 | 0.0018985 | 0.00047561 | -0.0018984 | -0.0004757 | 3.8205e-08 | -8.5271e-08 | 0.0028297 | 0.0028298 | 0.0028298 | 0.99828 | -0.012067 | 0.99826 | -0.012212 | 1.0481
30 | -0.014336 | -0.003595 | 0.01434 | 0.0035962 | 3.5716e-06 | 1.2106e-06 | 0.021397 | 0.021397 | 0.021397 | 0.997 | -0.020984 | 0.99726 | -0.019187 | 7.9249
31 | -0.01557 | -0.0039046 | 0.015574 | 0.0039057 | 3.3591e-06 | 1.1618e-06 | 0.023233 | 0.023233 | 0.023233 | 0.99726 | -0.019187 | 0.99748 | -0.01763 | 8.6049
32 | -0.016305 | -0.0040891 | 0.016313 | 0.0040918 | 7.8114e-06 | 2.7281e-06 | 0.024325 | 0.024325 | 0.024325 | 0.99748 | -0.01763 | 0.99797 | -0.014176 | 9.0092
33 | -0.00075296 | -0.00018871 | 0.00075296 | 0.00018869 | 1.1931e-09 | -1.9384e-08 | 0.0011224 | 0.0011224 | 0.0011224 | 0.99825 | -0.012299 | 0.99825 | -0.012288 | 0.4157
34 | -0.0013253 | -0.00033213 | 0.0013253 | 0.00033206 | 1.3819e-08 | -6.8872e-08 | 0.0019755 | 0.0019755 | 0.0019755 | 0.99825 | -0.012288 | 0.99826 | -0.012212 | 0.73167
35 | -0.0011671 | -0.00029249 | 0.0011671 | 0.00029249 | 2.9651e-10 | -1.9028e-09 | 0.0017469 | 0.0017469 | 0.0017469 | 0.99413 | -0.041209 | 0.99413 | -0.041207 | 0.64699
36 | -0.017195 | -0.0043127 | 0.0172 | 0.0043147 | 5.5808e-06 | 1.9686e-06 | 0.025639 | 0.025639 | 0.025639 | 0.99797 | -0.014176 | 0.99831 | -0.011836 | 9.4959
37 | -0.0021282 | -0.00053338 | 0.0021283 | 0.00053317 | 1.2543e-07 | -2.1321e-07 | 0.0031715 | 0.0031714 | 0.0031715 | 0.99854 | -0.010269 | 0.9986 | -0.0098429 | 1.1746
38 | -0.0021283 | -0.00053317 | 0.0021287 | 0.0005326 | 3.3641e-07 | -5.7205e-07 | 0.0031714 | 0.0031711 | 0.0031714 | 0.9986 | -0.0098429 | 0.99876 | -0.0086988 | 1.1746
39 | -0.0053499 | -0.0013399 | 0.0053505 | 0.0013399 | 6.2839e-07 | 3.4203e-08 | 0.0079703 | 0.0079702 | 0.0079703 | 0.99876 | -0.0086988 | 0.99888 | -0.0078492 | 2.952
40 | -0.007354 | -0.0018421 | 0.0073548 | 0.0018422 | 7.9793e-07 | 1.674e-07 | 0.010955 | 0.010955 | 0.010955 | 0.99888 | -0.0078492 | 0.99899 | -0.0070646 | 4.0573

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.075795 | 0.018808

## res_load
| p_mw | q_mvar
0 | 0.0020087 | 0.00050342
1 | 0.0018484 | 0.00046324
2 | 0.0021491 | 0.00053861
3 | 0.0023614 | 0.00059181
4 | 0.0001938 | 4.8572e-05
5 | 0.003217 | 0.00080625
6 | 0.00021638 | 5.423e-05
7 | 0.0019958 | 0.0005002
8 | 0.00086777 | 0.00021748
9 | 0.00058314 | 0.00014615
10 | 0.0015363 | 0.00038502
11 | 0.0012269 | 0.00030749
12 | 0.0015262 | 0.0003825
13 | 0.0015262 | 0.0003825
14 | 0.00099985 | 0.00025059
15 | 0.0026475 | 0.00066352
16 | 0.0062433 | 0.0015647
17 | 0.0008734 | 0.00021889
18 | 0.0017901 | 0.00044864
19 | 0.00089991 | 0.00022554
20 | 0.0012305 | 0.0003084
21 | 0.00073176 | 0.0001834
22 | 0.00075296 | 0.00018871
23 | 0.00057233 | 0.00014344
24 | 0.0011671 | 0.00029249
25 | 0.0011406 | 0.00028585
26 | 0.00088135 | 0.00022089
27 | 0.00091507 | 0.00022934
28 | 0.00057311 | 0.00014363
29 | 0.0021282 | 0.00053338
30 | 0.0032212 | 0.00080731
31 | 0.0020035 | 0.00050213
32 | 0.0086968 | 0.0021796
33 | 0.01483 | 0.0037168
34 | 0.0012836 | 0.00032169

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1