## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2422-24_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2422-24_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2422-24_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2422-24_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2422-24_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2422-24_0_2_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_2422-24_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2422-24_0_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_2422-24_0_2_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_2422-24_0_2_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_2422-24_0_2_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_2422-24_0_2_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_2422-24_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2422-24_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2422-24_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2422-24_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2422-24_0_2_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_2422-24_0_2_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_2422-24_0_2_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_2422-24_0_2_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_2422-24_0_2_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_2422-24_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_2422-24_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2422-24_0_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2422-24_0_2_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2422-24_0_2_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2422-24_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2422-24_0_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_2422-24_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_2422-24_0_2_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_2422-24_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2422-24_0_2_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_2422-24_0_2_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_2422-24_0_2_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_2422-24_0_2_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2422-24_0_2_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2422-24_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2422-24_0_2_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2422-24_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2422-24_0_2_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_2422-24_0_2_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_2422-24_0_2_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_2422-24_0_2_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_2422-24_0_2_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_2422-24_0_2_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2422-24_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_2422-24_0_2_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2422-24_0_2_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2422-24_0_2_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2422-24_0_2_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_2422-24_0_2_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_2422-24_0_2_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_2422-24_0_2_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_2422-24_0_2_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_2422-24_0_2_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_2422-24_0_2_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_2422-24_0_2_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_2422-24_0_2_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_2422-24_0_2_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_2422-24_0_2_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_2422-24_0_2_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_2422-24_0_2_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_2422-24_0_2_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2422-24_0_2_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_2422-24_0_2_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_2422-24_0_2_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_2422-24_0_2_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_2422-24_0_2_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_2422-24_0_2_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_2422-24_0_2_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_2422-24_0_2_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_2422-24_0_2_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_2422-24_0_2_node_74 | 0.4 | n |  | TRUE
73 | bus_MV_333_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2422-24_0_2_load_0 | 0 | 0.0021492 | 0.00053863 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2422-24_0_2_load_1 | 1 | 0.00096488 | 0.00024182 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2422-24_0_2_load_3 | 3 | 0.0015166 | 0.0003801 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2422-24_0_2_load_5 | 4 | 0.00096611 | 0.00024213 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2422-24_0_2_load_60 | 5 | 0.00096421 | 0.00024165 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2422-24_0_2_load_19 | 7 | 0.0019287 | 0.00048337 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2422-24_0_2_load_16 | 8 | 0.00060742 | 0.00015223 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2422-24_0_2_load_61 | 9 | 0.00099458 | 0.00024927 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2422-24_0_2_load_51 | 10 | 0.0021217 | 0.00053175 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2422-24_0_2_load_17 | 11 | 0.001424 | 0.00035688 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2422-24_0_2_load_6 | 12 | 0.0010849 | 0.00027191 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2422-24_0_2_load_7 | 13 | 0.0019549 | 0.00048995 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2422-24_0_2_load_8 | 14 | 0.0010845 | 0.00027181 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2422-24_0_2_load_34 | 17 | 0.0019608 | 0.00049142 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2422-24_0_2_load_78 | 18 | 0.012304 | 0.0030836 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2422-24_0_2_load_30 | 19 | 0.0024982 | 0.0006261 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2422-24_0_2_load_35 | 20 | 0.0099191 | 0.002486 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2422-24_0_2_load_10 | 21 | 0.0032846 | 0.0008232 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2422-24_0_2_load_11 | 22 | 0.0019298 | 0.00048365 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2422-24_0_2_load_13 | 24 | 0.0032849 | 0.00082327 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2422-24_0_2_load_14 | 25 | 0.0022253 | 0.00055772 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2422-24_0_2_load_15 | 26 | 0.0015494 | 0.00038832 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2422-24_0_2_load_27 | 27 | 0.0048389 | 0.0012127 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2422-24_0_2_load_20 | 28 | 0.0020271 | 0.00050803 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2422-24_0_2_load_28 | 29 | 0.0026763 | 0.00067074 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2422-24_0_2_load_49 | 31 | 0.0011795 | 0.0002956 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2422-24_0_2_load_40 | 32 | 0.0058103 | 0.0014562 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2422-24_0_2_load_41 | 33 | 0.0014501 | 0.00036342 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2422-24_0_2_load_22 | 34 | 0.0012702 | 0.00031835 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2422-24_0_2_load_23 | 35 | 0.0026738 | 0.00067011 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2422-24_0_2_load_24 | 36 | 0.0036457 | 0.00091371 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2422-24_0_2_load_25 | 37 | 0.00089582 | 0.00022451 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2422-24_0_2_load_53 | 39 | 0.00085276 | 0.00021372 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2422-24_0_2_load_47 | 40 | 0.0031867 | 0.00079866 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2422-24_0_2_load_44 | 41 | 0.0032682 | 0.00081909 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2422-24_0_2_load_57 | 42 | 0.001384 | 0.00034687 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2422-24_0_2_load_45 | 43 | 0.0019283 | 0.00048327 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2422-24_0_2_load_37 | 44 | 0.0017079 | 0.00042805 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2422-24_0_2_load_38 | 45 | 0.003086 | 0.00077343 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2422-24_0_2_load_29 | 46 | 0.002113 | 0.00052956 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2422-24_0_2_load_31 | 47 | 0.0017879 | 0.00044809 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2422-24_0_2_load_33 | 48 | 0.0021078 | 0.00052825 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2422-24_0_2_load_62 | 49 | 0.0024228 | 0.00060721 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2422-24_0_2_load_76 | 51 | 0.00229 | 0.00057392 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2422-24_0_2_load_52 | 52 | 0.001108 | 0.00027769 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2422-24_0_2_load_68 | 53 | 0.0017034 | 0.00042691 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2422-24_0_2_load_50 | 54 | 0.0014851 | 0.00037221 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2422-24_0_2_load_39 | 55 | 0.002284 | 0.00057241 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2422-24_0_2_load_55 | 56 | 0.0020556 | 0.00051519 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2422-24_0_2_load_73 | 57 | 0.0029735 | 0.00074524 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2422-24_0_2_load_42 | 58 | 0.0029235 | 0.0007327 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2422-24_0_2_load_69 | 59 | 0.0059828 | 0.0014994 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2422-24_0_2_load_67 | 60 | 0.001755 | 0.00043985 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2422-24_0_2_load_46 | 61 | 0.0016112 | 0.00040381 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2422-24_0_2_load_54 | 62 | 0.0007236 | 0.00018135 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2422-24_0_2_load_70 | 63 | 0.0019488 | 0.00048841 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2422-24_0_2_load_48 | 64 | 0.001108 | 0.00027768 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2422-24_0_2_load_56 | 65 | 0.00089698 | 0.0002248 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2422-24_0_2_load_71 | 66 | 0.00049584 | 0.00012427 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2422-24_0_2_load_72 | 67 | 0.0017125 | 0.00042919 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2422-24_0_2_load_77 | 68 | 0.0011084 | 0.00027778 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2422-24_0_2_load_75 | 69 | 0.0011147 | 0.00027936 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2422-24_0_2_load_65 | 70 | 0.0071618 | 0.0017949 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2422-24_0_2_load_66 | 71 | 0.0021627 | 0.00054203 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2422-24_0_2_load_74 | 72 | 0.003654 | 0.00091578 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2422-24_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0062714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2422-24_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2422-24_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2422-24_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.012257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2422-24_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0078112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2422-24_0_2_line_5 | NAYY 4x150 SE | 5 | 9 | 0.0020731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2422-24_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0083782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2422-24_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.018476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2422-24_0_2_line_8 | NAYY 4x150 SE | 7 | 10 | 0.015901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2422-24_0_2_line_9 | NAYY 4x150 SE | 8 | 11 | 0.022474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2422-24_0_2_line_10 | NAYY 4x150 SE | 9 | 68 | 0.010745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2422-24_0_2_line_11 | NAYY 4x150 SE | 10 | 31 | 0.0084297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2422-24_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.025433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2422-24_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 5.5902e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2422-24_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.015667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2422-24_0_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.015291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2422-24_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.018214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2422-24_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0086806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2422-24_0_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.04214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2422-24_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.010561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2422-24_0_2_line_20 | NAYY 4x150 SE | 18 | 40 | 0.0080478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2422-24_0_2_line_21 | NAYY 4x150 SE | 19 | 46 | 0.029728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2422-24_0_2_line_22 | NAYY 4x150 SE | 20 | 50 | 0.018768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2422-24_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0030076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2422-24_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.02092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2422-24_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.019779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2422-24_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.037597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2422-24_0_2_line_27 | NAYY 4x150 SE | 23 | 26 | 0.0063742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2422-24_0_2_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0017988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2422-24_0_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.0052761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2422-24_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.015259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2422-24_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.02093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2422-24_0_2_line_32 | NAYY 4x150 SE | 29 | 44 | 0.02404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2422-24_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.025208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2422-24_0_2_line_34 | NAYY 4x150 SE | 31 | 64 | 0.01198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2422-24_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.019534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2422-24_0_2_line_36 | NAYY 4x150 SE | 33 | 58 | 0.017378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2422-24_0_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2422-24_0_2_line_38 | NAYY 4x150 SE | 34 | 36 | 0.031192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2422-24_0_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.014667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2422-24_0_2_line_40 | NAYY 4x150 SE | 36 | 38 | 0.022224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2422-24_0_2_line_41 | NAYY 4x150 SE | 37 | 39 | 0.018979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2422-24_0_2_line_42 | NAYY 4x150 SE | 38 | 40 | 0.019711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2422-24_0_2_line_43 | NAYY 4x150 SE | 38 | 41 | 0.011957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2422-24_0_2_line_44 | NAYY 4x150 SE | 39 | 42 | 0.0061175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2422-24_0_2_line_45 | NAYY 4x150 SE | 41 | 43 | 0.026363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2422-24_0_2_line_46 | NAYY 4x150 SE | 42 | 65 | 0.012857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2422-24_0_2_line_47 | NAYY 4x150 SE | 43 | 61 | 0.016027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2422-24_0_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.011366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2422-24_0_2_line_49 | NAYY 4x150 SE | 45 | 55 | 0.0081201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2422-24_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.00077986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2422-24_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.024593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2422-24_0_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.021983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2422-24_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.015431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2422-24_0_2_line_54 | NAYY 4x150 SE | 50 | 52 | 0.0069113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2422-24_0_2_line_55 | NAYY 4x150 SE | 51 | 53 | 0.019006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2422-24_0_2_line_56 | NAYY 4x150 SE | 52 | 54 | 0.011344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2422-24_0_2_line_57 | NAYY 4x150 SE | 53 | 71 | 0.019246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2422-24_0_2_line_58 | NAYY 4x150 SE | 54 | 64 | 0.011465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2422-24_0_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.011999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2422-24_0_2_line_60 | NAYY 4x150 SE | 56 | 57 | 0.010137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2422-24_0_2_line_61 | NAYY 4x150 SE | 57 | 67 | 0.010631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2422-24_0_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.00098396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2422-24_0_2_line_63 | NAYY 4x150 SE | 59 | 60 | 0.018222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2422-24_0_2_line_64 | NAYY 4x150 SE | 60 | 70 | 0.019176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2422-24_0_2_line_65 | NAYY 4x150 SE | 61 | 62 | 0.012786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2422-24_0_2_line_66 | NAYY 4x150 SE | 62 | 63 | 0.0074198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2422-24_0_2_line_67 | NAYY 4x150 SE | 63 | 66 | 0.023634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2422-24_0_2_line_68 | NAYY 4x150 SE | 67 | 72 | 0.0054944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2422-24_0_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0067957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2422-24_0_2_line_70 | NAYY 4x150 SE | 69 | 72 | 0.015739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2422-24_0_2_line_71 | NAYY 4x150 SE | 70 | 71 | 1.6149e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2422-24_0_2_trafo_68 | 0.25 MVA 20/0.4 kV | 73 | 53 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1
0 | 2620048.3975 | 1240983.8207 | 2620042.53 | 1240981.6065
1 | 2620069.8041 | 1240991.8989 | 2620048.3975 | 1240983.8207
2 | 2620033.1538 | 1240978.0683 | 2620042.53 | 1240981.6065
3 | 2620069.8041 | 1240991.8989 | 2620064.8762 | 1241003.122
4 | 2620033.1538 | 1240978.0683 | 2620025.8456 | 1240975.3104
5 | 2620023.9061 | 1240974.5785 | 2620025.8456 | 1240975.3104
6 | 2620090.202 | 1240944.9049 | 2620082.5451 | 1240941.5041
7 | 2620090.202 | 1240944.9049 | 2620107.1383 | 1240952.2888
8 | 2620082.5451 | 1240941.5041 | 2620068.0129 | 1240935.0495
9 | 2620107.1383 | 1240952.2888 | 2620127.7391 | 1240961.2703
10 | 2620023.9061 | 1240974.5785 | 2620013.8528 | 1240970.7848
11 | 2620060.3089 | 1240931.6278 | 2620068.0129 | 1240935.0495
12 | 2620080.5605 | 1240888.9187 | 2620057.3819 | 1240878.4494
13 | 2620080.6114 | 1240888.9417 | 2620080.5605 | 1240888.9187
14 | 2620043.1041 | 1240872.0004 | 2620057.3819 | 1240878.4494
15 | 2620050.4981 | 1240858.6058 | 2620043.1041 | 1240872.0004
16 | 2620043.1041 | 1240872.0004 | 2620035.0952 | 1240888.3595
17 | 2620050.4981 | 1240858.6058 | 2620054.6914 | 1240851.0053
18 | 2620050.4981 | 1240858.6058 | 2620011.5609 | 1240842.4925
19 | 2620030.4516 | 1240897.8445 | 2620035.0952 | 1240888.3595
20 | 2620054.6914 | 1240851.0053 | 2620058.5791 | 1240843.9588
21 | 2620011.5609 | 1240842.4925 | 2619984.092 | 1240831.1251
22 | 2620022.1991 | 1240914.7013 | 2620030.4516 | 1240897.8445
23 | 2619878.9714 | 1240919.8851 | 2619881.7853 | 1240920.947
24 | 2619859.3987 | 1240912.499 | 2619878.9714 | 1240919.8851
25 | 2619881.7853 | 1240920.947 | 2619900.2903 | 1240927.9301
26 | 2619859.3987 | 1240912.499 | 2619872.1874 | 1240877.1436
27 | 2619859.3987 | 1240912.499 | 2619857.1241 | 1240918.4535
28 | 2619901.9732 | 1240928.5652 | 2619900.2903 | 1240927.9301
29 | 2619873.982 | 1240872.1821 | 2619872.1874 | 1240877.1436
30 | 2619901.9732 | 1240928.5652 | 2619916.2492 | 1240933.9524
31 | 2619881.1012 | 1240852.5005 | 2619873.982 | 1240872.1821
32 | 2619916.2492 | 1240933.9524 | 2619938.7407 | 1240942.44
33 | 2619881.1012 | 1240852.5005 | 2619904.167 | 1240862.6687
34 | 2620049.36 | 1240926.7649 | 2620060.3089 | 1240931.6278
35 | 2619904.167 | 1240862.6687 | 2619922.041 | 1240870.5482
36 | 2619922.041 | 1240870.5482 | 2619937.9422 | 1240877.5579
37 | 2620121.4473 | 1240854.198 | 2620115.5808 | 1240851.1742
38 | 2620087.8551 | 1240836.883 | 2620115.5808 | 1240851.1742
39 | 2620121.4473 | 1240854.198 | 2620134.4842 | 1240860.9179
40 | 2620068.1008 | 1240826.7007 | 2620087.8551 | 1240836.883
41 | 2620134.4842 | 1240860.9179 | 2620151.3537 | 1240869.6133
42 | 2620068.1008 | 1240826.7007 | 2620058.5791 | 1240843.9588
43 | 2620068.1008 | 1240826.7007 | 2620057.5638 | 1240821.0498
44 | 2620151.3537 | 1240869.6133 | 2620156.7914 | 1240872.4161
45 | 2620057.5638 | 1240821.0498 | 2620034.331 | 1240808.5903
46 | 2620168.2196 | 1240878.3068 | 2620156.7914 | 1240872.4161
47 | 2620034.331 | 1240808.5903 | 2620020.2072 | 1240801.0159
48 | 2619949.3746 | 1240946.4529 | 2619938.7407 | 1240942.44
49 | 2619949.3746 | 1240946.4529 | 2619956.9717 | 1240949.3198
50 | 2619984.092 | 1240831.1251 | 2619983.3714 | 1240830.8269
51 | 2619960.6475 | 1240821.4231 | 2619983.3714 | 1240830.8269
52 | 2619940.3354 | 1240813.0174 | 2619960.6475 | 1240821.4231
53 | 2620022.1991 | 1240914.7013 | 2620008.0791 | 1240908.4767
54 | 2620022.1991 | 1240914.7013 | 2620028.5154 | 1240917.5067
55 | 2620008.0791 | 1240908.4767 | 2619990.6883 | 1240900.8102
56 | 2620028.5154 | 1240917.5067 | 2620038.8825 | 1240922.1112
57 | 2619973.0778 | 1240893.0469 | 2619990.6883 | 1240900.8102
58 | 2620049.36 | 1240926.7649 | 2620038.8825 | 1240922.1112
59 | 2619968.198 | 1240953.5562 | 2619956.9717 | 1240949.3198
60 | 2619968.198 | 1240953.5562 | 2619977.6824 | 1240957.1353
61 | 2619987.6284 | 1240960.8886 | 2619977.6824 | 1240957.1353
62 | 2619937.9422 | 1240877.5579 | 2619938.8425 | 1240877.9548
63 | 2619938.8425 | 1240877.9548 | 2619955.5159 | 1240885.305
64 | 2619973.063 | 1240893.0404 | 2619955.5159 | 1240885.305
65 | 2620008.9394 | 1240794.9731 | 2620020.2072 | 1240801.0159
66 | 2620008.9394 | 1240794.9731 | 2620002.4006 | 1240791.4664
67 | 2619981.5723 | 1240780.2964 | 2620002.4006 | 1240791.4664
68 | 2619987.6284 | 1240960.8886 | 2619992.769 | 1240962.8284
69 | 2620013.8528 | 1240970.7848 | 2620007.4948 | 1240968.3854
70 | 2619992.769 | 1240962.8284 | 2620007.4948 | 1240968.3854
71 | 2619973.063 | 1240893.0404 | 2619973.0778 | 1240893.0469

## bus_geodata
| x | y | coords
0 | 2620048.3975 | 1240983.8207
1 | 2620042.53 | 1240981.6065
2 | 2620069.8041 | 1240991.8989
3 | 2620033.1538 | 1240978.0683
4 | 2620064.8762 | 1241003.122
5 | 2620025.8456 | 1240975.3104
6 | 2620090.202 | 1240944.9049
7 | 2620082.5451 | 1240941.5041
8 | 2620107.1383 | 1240952.2888
9 | 2620023.9061 | 1240974.5785
10 | 2620068.0129 | 1240935.0495
11 | 2620127.7391 | 1240961.2703
12 | 2620080.5605 | 1240888.9187
13 | 2620057.3819 | 1240878.4494
14 | 2620080.6114 | 1240888.9417
15 | 2620043.1041 | 1240872.0004
16 | 2620050.4981 | 1240858.6058
17 | 2620035.0952 | 1240888.3595
18 | 2620054.6914 | 1240851.0053
19 | 2620011.5609 | 1240842.4925
20 | 2620030.4516 | 1240897.8445
21 | 2619878.9714 | 1240919.8851
22 | 2619881.7853 | 1240920.947
23 | 2619859.3987 | 1240912.499
24 | 2619900.2903 | 1240927.9301
25 | 2619872.1874 | 1240877.1436
26 | 2619857.1241 | 1240918.4535
27 | 2619901.9732 | 1240928.5652
28 | 2619873.982 | 1240872.1821
29 | 2619916.2492 | 1240933.9524
30 | 2619881.1012 | 1240852.5005
31 | 2620060.3089 | 1240931.6278
32 | 2619904.167 | 1240862.6687
33 | 2619922.041 | 1240870.5482
34 | 2620115.5808 | 1240851.1742
35 | 2620121.4473 | 1240854.198
36 | 2620087.8551 | 1240836.883
37 | 2620134.4842 | 1240860.9179
38 | 2620068.1008 | 1240826.7007
39 | 2620151.3537 | 1240869.6133
40 | 2620058.5791 | 1240843.9588
41 | 2620057.5638 | 1240821.0498
42 | 2620156.7914 | 1240872.4161
43 | 2620034.331 | 1240808.5903
44 | 2619938.7408 | 1240942.44
45 | 2619949.3746 | 1240946.4529
46 | 2619984.092 | 1240831.1251
47 | 2619983.3714 | 1240830.8269
48 | 2619960.6475 | 1240821.4231
49 | 2619940.3354 | 1240813.0174
50 | 2620022.1991 | 1240914.7013
51 | 2620008.0791 | 1240908.4767
52 | 2620028.5154 | 1240917.5067
53 | 2619990.6883 | 1240900.8102
54 | 2620038.8825 | 1240922.1112
55 | 2619956.9717 | 1240949.3198
56 | 2619968.198 | 1240953.5562
57 | 2619977.6824 | 1240957.1353
58 | 2619937.9422 | 1240877.5579
59 | 2619938.8425 | 1240877.9548
60 | 2619955.5159 | 1240885.305
61 | 2620020.2072 | 1240801.0159
62 | 2620008.9394 | 1240794.9731
63 | 2620002.4006 | 1240791.4664
64 | 2620049.36 | 1240926.7649
65 | 2620168.2196 | 1240878.3068
66 | 2619981.5723 | 1240780.2964
67 | 2619987.6284 | 1240960.8886
68 | 2620013.8528 | 1240970.7848
69 | 2620007.4948 | 1240968.3854
70 | 2619973.063 | 1240893.0404
71 | 2619973.0778 | 1240893.0469
72 | 2619992.769 | 1240962.8284
73 | 2619990.6883 | 1240900.8102

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97859 | -0.15048 | 0.0021492 | 0.00053863
1 | 0.97862 | -0.15027 | 0.00096488 | 0.00024182
2 | 0.97856 | -0.15071 | 0 | 0
3 | 0.97868 | -0.14985 | 0.0015166 | 0.0003801
4 | 0.97854 | -0.15083 | 0.00096611 | 0.00024213
5 | 0.97875 | -0.14939 | 0.00096421 | 0.00024165
6 | 0.99551 | -0.031379 | 0 | 0
7 | 0.99553 | -0.031207 | 0.0019287 | 0.00048337
8 | 0.99545 | -0.031758 | 0.00060742 | 0.00015223
9 | 0.97877 | -0.14925 | 0.00099458 | 0.00024927
10 | 0.99562 | -0.030572 | 0.0021217 | 0.00053175
11 | 0.99541 | -0.03208 | 0.001424 | 0.00035688
12 | 0.99214 | -0.055047 | 0.0010849 | 0.00027191
13 | 0.99222 | -0.054487 | 0.0019549 | 0.00048995
14 | 0.99214 | -0.055047 | 0.0010845 | 0.00027181
15 | 0.99231 | -0.053831 | 0 | 0
16 | 0.99125 | -0.061286 | 0 | 0
17 | 0.99368 | -0.044211 | 0.0019608 | 0.00049142
18 | 0.99079 | -0.06456 | 0.012304 | 0.0030836
19 | 0.99059 | -0.065972 | 0.0024982 | 0.0006261
20 | 0.9945 | -0.038436 | 0.0099191 | 0.002486
21 | 0.98382 | -0.11322 | 0.0032846 | 0.0008232
22 | 0.98365 | -0.11446 | 0.0019298 | 0.00048365
23 | 0.98514 | -0.10389 | 0 | 0
24 | 0.98255 | -0.12224 | 0.0032849 | 0.00082327
25 | 0.98759 | -0.086599 | 0.0022253 | 0.00055772
26 | 0.98512 | -0.104 | 0.0015494 | 0.00038832
27 | 0.98246 | -0.12288 | 0.0048389 | 0.0012127
28 | 0.98795 | -0.084059 | 0.0020271 | 0.00050803
29 | 0.9818 | -0.12761 | 0.0026763 | 0.00067074
30 | 0.98944 | -0.073568 | 0 | 0
31 | 0.9957 | -0.030056 | 0.0011795 | 0.0002956
32 | 0.99123 | -0.060973 | 0.0058103 | 0.0014562
33 | 0.99279 | -0.050095 | 0.0014501 | 0.00036342
34 | 0.98916 | -0.076099 | 0.0012702 | 0.00031835
35 | 0.98909 | -0.07655 | 0.0026738 | 0.00067011
36 | 0.98952 | -0.07356 | 0.0036457 | 0.00091371
37 | 0.98901 | -0.077154 | 0.00089582 | 0.00022451
38 | 0.98989 | -0.070927 | 0 | 0
39 | 0.98892 | -0.077761 | 0.00085276 | 0.00021372
40 | 0.9905 | -0.06659 | 0.0031867 | 0.00079866
41 | 0.98972 | -0.072143 | 0.0032682 | 0.00081909
42 | 0.9889 | -0.077904 | 0.001384 | 0.00034687
43 | 0.98946 | -0.073947 | 0.0019283 | 0.00048327
44 | 0.98084 | -0.1344 | 0.0017079 | 0.00042805
45 | 0.98042 | -0.13742 | 0.003086 | 0.00077343
46 | 0.99023 | -0.068524 | 0.002113 | 0.00052956
47 | 0.99022 | -0.068574 | 0.0017879 | 0.00044809
48 | 0.99006 | -0.069709 | 0.0021078 | 0.00052825
49 | 0.98998 | -0.070252 | 0.0024228 | 0.00060721
50 | 0.99623 | -0.026324 | 0 | 0
51 | 0.99789 | -0.014699 | 0.00229 | 0.00057392
52 | 0.99612 | -0.027087 | 0.001108 | 0.00027769
53 | 1 | 0 | -0.15604 | -0.039116
54 | 0.99596 | -0.028213 | 0.0014851 | 0.00037221
55 | 0.98015 | -0.13931 | 0.002284 | 0.00057241
56 | 0.9798 | -0.14183 | 0.0020556 | 0.00051519
57 | 0.97954 | -0.14374 | 0.0029735 | 0.00074524
58 | 0.99421 | -0.040191 | 0.0029235 | 0.0007327
59 | 0.99429 | -0.039602 | 0.0059828 | 0.0014994
60 | 0.99602 | -0.027616 | 0.001755 | 0.00043985
61 | 0.98935 | -0.074729 | 0.0016112 | 0.00040381
62 | 0.98929 | -0.075142 | 0.0007236 | 0.00018135
63 | 0.98927 | -0.075328 | 0.0019488 | 0.00048841
64 | 0.99582 | -0.029179 | 0.001108 | 0.00027768
65 | 0.98889 | -0.078022 | 0.00089698 | 0.0002248
66 | 0.98925 | -0.075447 | 0.00049584 | 0.00012427
67 | 0.9793 | -0.14542 | 0.0017125 | 0.00042919
68 | 0.97888 | -0.1484 | 0.0011084 | 0.00027778
69 | 0.97897 | -0.14779 | 0.0011147 | 0.00027936
70 | 0.99788 | -0.014709 | 0.0071618 | 0.0017949
71 | 0.99788 | -0.014697 | 0.0021627 | 0.00054203
72 | 0.97919 | -0.14619 | 0.003654 | 0.00091578
73 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0031153 | -0.00078034 | 0.0031154 | 0.0007803 | 8.7809e-08 | -4.5021e-08 | 0.0047369 | 0.0047369 | 0.0047369 | 0.97859 | -0.15048 | 0.97862 | -0.15027 | 1.7544
1 | 0.00096616 | 0.00024171 | -0.00096613 | -0.00024198 | 3.081e-08 | -2.756e-07 | 0.001469 | 0.0014691 | 0.0014691 | 0.97859 | -0.15048 | 0.97856 | -0.15071 | 0.54409
2 | -0.0040803 | -0.0010221 | 0.0040805 | 0.0010221 | 2.4069e-07 | -3.3349e-08 | 0.006204 | 0.006204 | 0.006204 | 0.97862 | -0.15027 | 0.97868 | -0.14985 | 2.2978
3 | 0.00096613 | 0.00024198 | -0.00096611 | -0.00024213 | 1.6507e-08 | -1.4764e-07 | 0.0014691 | 0.0014691 | 0.0014691 | 0.97856 | -0.15071 | 0.97854 | -0.15083 | 0.54411
4 | -0.0055972 | -0.0014022 | 0.0055975 | 0.0014022 | 3.5298e-07 | 3.76e-08 | 0.0085099 | 0.0085098 | 0.0085099 | 0.97868 | -0.14985 | 0.97875 | -0.14939 | 3.1518
5 | -0.0065617 | -0.0016439 | 0.0065619 | 0.0016439 | 1.2873e-07 | 2.3459e-08 | 0.0099758 | 0.0099757 | 0.0099758 | 0.97875 | -0.14939 | 0.97877 | -0.14925 | 3.6947
6 | -0.0020315 | -0.00050864 | 0.0020316 | 0.00050855 | 4.8201e-08 | -9.0395e-08 | 0.0030364 | 0.0030364 | 0.0030364 | 0.99551 | -0.031379 | 0.99553 | -0.031207 | 1.1246
7 | 0.0020315 | 0.00050864 | -0.0020314 | -0.00050884 | 1.063e-07 | -1.9932e-07 | 0.0030364 | 0.0030365 | 0.0030365 | 0.99551 | -0.031379 | 0.99545 | -0.031758 | 1.1246
8 | -0.0039603 | -0.00099192 | 0.0039606 | 0.00099185 | 3.4764e-07 | -7.3063e-08 | 0.0059192 | 0.0059191 | 0.0059192 | 0.99553 | -0.031207 | 0.99562 | -0.030572 | 2.1923
9 | 0.001424 | 0.00035661 | -0.001424 | -0.00035688 | 6.3539e-08 | -2.6771e-07 | 0.0021285 | 0.0021286 | 0.0021286 | 0.99545 | -0.031758 | 0.99541 | -0.03208 | 0.78838
10 | -0.0075564 | -0.0018932 | 0.0075573 | 0.0018934 | 8.8486e-07 | 2.0527e-07 | 0.011488 | 0.011488 | 0.011488 | 0.97877 | -0.14925 | 0.97888 | -0.1484 | 4.2547
11 | -0.0060823 | -0.0015236 | 0.0060827 | 0.0015237 | 4.3464e-07 | 5.7536e-08 | 0.0090901 | 0.00909 | 0.0090901 | 0.99562 | -0.030572 | 0.9957 | -0.030056 | 3.3667
12 | -0.0021695 | -0.00054372 | 0.0021697 | 0.00054346 | 1.6802e-07 | -2.6384e-07 | 0.0032538 | 0.0032537 | 0.0032538 | 0.99214 | -0.055047 | 0.99222 | -0.054487 | 1.2051
13 | 0.0010845 | 0.00027181 | -0.0010845 | -0.00027181 | 9.3406e-11 | -6.8638e-10 | 0.0016266 | 0.0016266 | 0.0016266 | 0.99214 | -0.055047 | 0.99214 | -0.055047 | 0.60245
14 | -0.0041246 | -0.0010334 | 0.0041249 | 0.0010333 | 3.7403e-07 | -5.8512e-08 | 0.0061855 | 0.0061854 | 0.0061855 | 0.99222 | -0.054487 | 0.99231 | -0.053831 | 2.2909
15 | 0.048125 | 0.012071 | -0.048075 | -0.012052 | 4.9697e-05 | 1.8917e-05 | 0.072169 | 0.07217 | 0.07217 | 0.99231 | -0.053831 | 0.99125 | -0.061286 | 26.7295
16 | -0.05225 | -0.013104 | 0.05232 | 0.013131 | 6.978e-05 | 2.6603e-05 | 0.078355 | 0.078355 | 0.078355 | 0.99231 | -0.053831 | 0.99368 | -0.044211 | 29.0203
17 | 0.037135 | 0.0093103 | -0.037118 | -0.0093039 | 1.6833e-05 | 6.3624e-06 | 0.055746 | 0.055746 | 0.055746 | 0.99125 | -0.061286 | 0.99079 | -0.06456 | 20.6467
18 | 0.010941 | 0.0027419 | -0.010933 | -0.0027397 | 7.0926e-06 | 2.1851e-06 | 0.016423 | 0.016424 | 0.016424 | 0.99125 | -0.061286 | 0.99059 | -0.065972 | 6.0828
19 | -0.054281 | -0.013622 | 0.054324 | 0.013639 | 4.3548e-05 | 1.6612e-05 | 0.081291 | 0.081291 | 0.081291 | 0.99368 | -0.044211 | 0.9945 | -0.038436 | 30.1078
20 | 0.024814 | 0.0062203 | -0.024807 | -0.0062177 | 6.9747e-06 | 2.579e-06 | 0.037268 | 0.037268 | 0.037268 | 0.99079 | -0.06456 | 0.9905 | -0.06659 | 13.8028
21 | 0.0084353 | 0.0021136 | -0.0084323 | -0.0021129 | 2.9784e-06 | 7.6296e-07 | 0.012671 | 0.012671 | 0.012671 | 0.99059 | -0.065972 | 0.99023 | -0.068524 | 4.693
22 | -0.064243 | -0.016125 | 0.064352 | 0.016166 | 0.00010823 | 4.1383e-05 | 0.096132 | 0.096132 | 0.096132 | 0.9945 | -0.038436 | 0.99623 | -0.026324 | 35.6046
23 | 0.040117 | 0.01007 | -0.04011 | -0.010067 | 6.9107e-06 | 2.6198e-06 | 0.060681 | 0.060681 | 0.060681 | 0.98382 | -0.11322 | 0.98365 | -0.11446 | 22.4746
24 | -0.043401 | -0.010893 | 0.043458 | 0.010914 | 5.6261e-05 | 2.1373e-05 | 0.065649 | 0.065649 | 0.065649 | 0.98382 | -0.11322 | 0.98514 | -0.10389 | 24.3146
25 | 0.03818 | 0.0095832 | -0.038139 | -0.0095676 | 4.1178e-05 | 1.5587e-05 | 0.057762 | 0.057762 | 0.057762 | 0.98365 | -0.11446 | 0.98255 | -0.12224 | 21.3934
26 | -0.045007 | -0.011302 | 0.045115 | 0.011344 | 0.00010845 | 4.1231e-05 | 0.06799 | 0.067989 | 0.06799 | 0.98514 | -0.10389 | 0.98759 | -0.086599 | 25.1813
27 | 0.0015494 | 0.00038825 | -0.0015494 | -0.00038832 | 2.1786e-08 | -7.2777e-08 | 0.0023404 | 0.0023404 | 0.0023404 | 0.98514 | -0.10389 | 0.98512 | -0.104 | 0.86681
28 | 0.034854 | 0.0087444 | -0.034851 | -0.0087432 | 3.1277e-06 | 1.1802e-06 | 0.052787 | 0.052787 | 0.052787 | 0.98255 | -0.12224 | 0.98246 | -0.12288 | 19.5509
29 | -0.047341 | -0.011901 | 0.047358 | 0.011908 | 1.6757e-05 | 6.3774e-06 | 0.071342 | 0.071342 | 0.071342 | 0.98759 | -0.086599 | 0.98795 | -0.084059 | 26.4231
30 | 0.030012 | 0.0075304 | -0.029992 | -0.0075231 | 1.9676e-05 | 7.3745e-06 | 0.045459 | 0.045459 | 0.045459 | 0.98246 | -0.12288 | 0.9818 | -0.12761 | 16.8365
31 | -0.049385 | -0.012416 | 0.049457 | 0.012443 | 7.2284e-05 | 2.7533e-05 | 0.074396 | 0.074395 | 0.074396 | 0.98795 | -0.084059 | 0.98944 | -0.073568 | 27.5539
32 | 0.027316 | 0.0068523 | -0.02729 | -0.0068427 | 2.5714e-05 | 9.5862e-06 | 0.041402 | 0.041403 | 0.041403 | 0.9818 | -0.12761 | 0.98084 | -0.1344 | 15.3343
33 | -0.049457 | -0.012443 | 0.049544 | 0.012476 | 8.7058e-05 | 3.3159e-05 | 0.074395 | 0.074395 | 0.074395 | 0.98944 | -0.073568 | 0.99123 | -0.060973 | 27.5539
34 | -0.0072622 | -0.0018193 | 0.0072631 | 0.0018194 | 8.8048e-07 | 1.8281e-07 | 0.010853 | 0.010853 | 0.010853 | 0.9957 | -0.030056 | 0.99582 | -0.029179 | 4.0195
35 | -0.055354 | -0.013933 | 0.055438 | 0.013965 | 8.4208e-05 | 3.2136e-05 | 0.083118 | 0.083117 | 0.083118 | 0.99123 | -0.060973 | 0.99279 | -0.050095 | 30.7843
36 | -0.056889 | -0.014328 | 0.056967 | 0.014358 | 7.8883e-05 | 3.0114e-05 | 0.085291 | 0.085291 | 0.085291 | 0.99279 | -0.050095 | 0.99421 | -0.040191 | 31.5892
37 | 0.0067045 | 0.0016797 | -0.006704 | -0.0016796 | 4.1891e-07 | 7.6405e-08 | 0.010085 | 0.010086 | 0.010086 | 0.98916 | -0.076099 | 0.98909 | -0.07655 | 3.7354
38 | -0.0079747 | -0.001998 | 0.0079775 | 0.0019987 | 2.8011e-06 | 6.7679e-07 | 0.011996 | 0.011996 | 0.011996 | 0.98916 | -0.076099 | 0.98952 | -0.07356 | 4.4431
39 | 0.0040303 | 0.0010095 | -0.0040299 | -0.0010095 | 3.3644e-07 | -5.883e-08 | 0.006063 | 0.0060631 | 0.0060631 | 0.98909 | -0.07655 | 0.98901 | -0.077154 | 2.2456
40 | -0.011623 | -0.0029124 | 0.011627 | 0.0029138 | 4.2366e-06 | 1.3439e-06 | 0.017479 | 0.017478 | 0.017479 | 0.98952 | -0.07356 | 0.98989 | -0.070927 | 6.4735
41 | 0.0031341 | 0.00078504 | -0.0031338 | -0.00078518 | 2.6331e-07 | -1.4225e-07 | 0.0047153 | 0.0047154 | 0.0047154 | 0.98901 | -0.077154 | 0.98892 | -0.077761 | 1.7464
42 | -0.021608 | -0.0054143 | 0.02162 | 0.005419 | 1.2976e-05 | 4.7371e-06 | 0.03248 | 0.03248 | 0.03248 | 0.98989 | -0.070927 | 0.9905 | -0.06659 | 12.0298
43 | 0.0099801 | 0.0025005 | -0.0099784 | -0.0025 | 1.6792e-06 | 4.9215e-07 | 0.015002 | 0.015002 | 0.015002 | 0.98989 | -0.070927 | 0.98972 | -0.072143 | 5.5563
44 | 0.0022811 | 0.00057146 | -0.002281 | -0.00057152 | 4.4969e-08 | -6.1191e-08 | 0.0034322 | 0.0034323 | 0.0034323 | 0.98892 | -0.077761 | 0.9889 | -0.077904 | 1.2712
45 | 0.0067102 | 0.0016809 | -0.0067085 | -0.0016806 | 1.6742e-06 | 3.0524e-07 | 0.010088 | 0.010088 | 0.010088 | 0.98972 | -0.072143 | 0.98946 | -0.073947 | 3.7365
46 | 0.00089699 | 0.00022464 | -0.00089698 | -0.0002248 | 1.4615e-08 | -1.5933e-07 | 0.0013497 | 0.0013497 | 0.0013497 | 0.9889 | -0.077904 | 0.98889 | -0.078022 | 0.4999
47 | 0.0047802 | 0.0011974 | -0.0047797 | -0.0011974 | 5.1679e-07 | -7.0616e-09 | 0.0071885 | 0.0071886 | 0.0071886 | 0.98946 | -0.073947 | 0.98935 | -0.074729 | 2.6625
48 | 0.025582 | 0.0064147 | -0.025572 | -0.0064107 | 1.0683e-05 | 3.9656e-06 | 0.038811 | 0.038812 | 0.038812 | 0.98084 | -0.1344 | 0.98042 | -0.13742 | 14.3746
49 | 0.022486 | 0.0056373 | -0.02248 | -0.0056351 | 5.9015e-06 | 2.1674e-06 | 0.034128 | 0.034128 | 0.034128 | 0.98042 | -0.13742 | 0.98015 | -0.13931 | 12.6399
50 | 0.0063194 | 0.0015833 | -0.0063193 | -0.0015833 | 4.3881e-08 | 6.8453e-09 | 0.009496 | 0.009496 | 0.009496 | 0.99023 | -0.068524 | 0.99022 | -0.068574 | 3.517
51 | 0.0045314 | 0.0011352 | -0.0045307 | -0.0011352 | 7.1154e-07 | -4.2639e-08 | 0.0068093 | 0.0068094 | 0.0068094 | 0.99022 | -0.068574 | 0.99006 | -0.069709 | 2.522
52 | 0.002423 | 0.00060699 | -0.0024228 | -0.00060721 | 1.819e-07 | -2.1271e-07 | 0.0036415 | 0.0036416 | 0.0036416 | 0.99006 | -0.069709 | 0.98998 | -0.070252 | 1.3487
53 | -0.075319 | -0.018915 | 0.075441 | 0.018961 | 0.0001219 | 4.6683e-05 | 0.11251 | 0.11251 | 0.11251 | 0.99623 | -0.026324 | 0.99789 | -0.014699 | 41.672
54 | 0.010968 | 0.0027481 | -0.010967 | -0.0027477 | 1.1574e-06 | 3.5517e-07 | 0.016382 | 0.016382 | 0.016382 | 0.99623 | -0.026324 | 0.99612 | -0.027087 | 6.0675
55 | -0.077731 | -0.019535 | 0.077891 | 0.019596 | 0.00015939 | 6.1054e-05 | 0.11593 | 0.11593 | 0.11593 | 0.99789 | -0.014699 | 1 | 0 | 42.9367
56 | 0.0098588 | 0.0024701 | -0.0098573 | -0.0024696 | 1.5352e-06 | 4.4282e-07 | 0.014727 | 0.014727 | 0.014727 | 0.99612 | -0.027087 | 0.99596 | -0.028213 | 5.4545
57 | 0.077351 | 0.019519 | -0.077192 | -0.019458 | 0.00015923 | 6.099e-05 | 0.11515 | 0.11515 | 0.11515 | 1 | 0 | 0.99788 | -0.014697 | 42.6468
58 | 0.0083722 | 0.0020974 | -0.008371 | -0.0020971 | 1.1193e-06 | 2.8131e-07 | 0.012508 | 0.012508 | 0.012508 | 0.99596 | -0.028213 | 0.99582 | -0.029179 | 4.6327
59 | 0.020196 | 0.0050627 | -0.020189 | -0.0050602 | 7.0386e-06 | 2.556e-06 | 0.03066 | 0.03066 | 0.03066 | 0.98015 | -0.13931 | 0.9798 | -0.14183 | 11.3557
60 | 0.018133 | 0.004545 | -0.018128 | -0.0045433 | 4.7972e-06 | 1.7174e-06 | 0.027539 | 0.027539 | 0.027539 | 0.9798 | -0.14183 | 0.97954 | -0.14374 | 10.1995
61 | 0.015155 | 0.003798 | -0.015151 | -0.0037968 | 3.5157e-06 | 1.2184e-06 | 0.023022 | 0.023022 | 0.023022 | 0.97954 | -0.14374 | 0.9793 | -0.14542 | 8.5265
62 | -0.059891 | -0.015091 | 0.059896 | 0.015093 | 4.9365e-06 | 1.8859e-06 | 0.089666 | 0.089666 | 0.089666 | 0.99421 | -0.040191 | 0.99429 | -0.039602 | 33.2098
63 | -0.065879 | -0.016592 | 0.065989 | 0.016635 | 0.00011059 | 4.2296e-05 | 0.09862 | 0.09862 | 0.09862 | 0.99429 | -0.039602 | 0.99602 | -0.027616 | 36.5259
64 | -0.067744 | -0.017074 | 0.067867 | 0.017121 | 0.00012265 | 4.6924e-05 | 0.10124 | 0.10124 | 0.10124 | 0.99602 | -0.027616 | 0.99788 | -0.014709 | 37.497
65 | 0.0031685 | 0.00079357 | -0.0031683 | -0.00079366 | 1.8118e-07 | -9.4495e-08 | 0.0047653 | 0.0047654 | 0.0047654 | 0.98935 | -0.074729 | 0.98929 | -0.075142 | 1.765
66 | 0.0024447 | 0.00061231 | -0.0024446 | -0.00061238 | 6.2599e-08 | -7.119e-08 | 0.003677 | 0.003677 | 0.003677 | 0.98929 | -0.075142 | 0.98927 | -0.075328 | 1.3619
67 | 0.00049585 | 0.00012397 | -0.00049584 | -0.00012427 | 8.2026e-09 | -3.0029e-07 | 0.00074573 | 0.00074583 | 0.00074583 | 0.98927 | -0.075328 | 0.98925 | -0.075447 | 0.27623
68 | 0.013439 | 0.0033676 | -0.013437 | -0.0033671 | 1.4295e-06 | 4.807e-07 | 0.02042 | 0.02042 | 0.02042 | 0.9793 | -0.14542 | 0.97919 | -0.14619 | 7.5628
69 | -0.0086657 | -0.0021712 | 0.0086664 | 0.0021714 | 7.358e-07 | 1.9756e-07 | 0.013173 | 0.013173 | 0.013173 | 0.97888 | -0.1484 | 0.97897 | -0.14779 | 4.8787
70 | -0.0097811 | -0.0024507 | 0.0097833 | 0.0024514 | 2.1707e-06 | 6.3696e-07 | 0.014867 | 0.014867 | 0.014867 | 0.97897 | -0.14779 | 0.97919 | -0.14619 | 5.5062
71 | -0.075029 | -0.018916 | 0.075029 | 0.018916 | 1.2623e-07 | 4.834e-08 | 0.11192 | 0.11192 | 0.11192 | 0.99788 | -0.014709 | 0.99788 | -0.014697 | 41.4524

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15775 | 0.039543

## res_load
| p_mw | q_mvar
0 | 0.0021492 | 0.00053863
1 | 0.00096488 | 0.00024182
2 | 0.0015166 | 0.0003801
3 | 0.00096611 | 0.00024213
4 | 0.00096421 | 0.00024165
5 | 0.0019287 | 0.00048337
6 | 0.00060742 | 0.00015223
7 | 0.00099458 | 0.00024927
8 | 0.0021217 | 0.00053175
9 | 0.001424 | 0.00035688
10 | 0.0010849 | 0.00027191
11 | 0.0019549 | 0.00048995
12 | 0.0010845 | 0.00027181
13 | 0.0019608 | 0.00049142
14 | 0.012304 | 0.0030836
15 | 0.0024982 | 0.0006261
16 | 0.0099191 | 0.002486
17 | 0.0032846 | 0.0008232
18 | 0.0019298 | 0.00048365
19 | 0.0032849 | 0.00082327
20 | 0.0022253 | 0.00055772
21 | 0.0015494 | 0.00038832
22 | 0.0048389 | 0.0012127
23 | 0.0020271 | 0.00050803
24 | 0.0026763 | 0.00067074
25 | 0.0011795 | 0.0002956
26 | 0.0058103 | 0.0014562
27 | 0.0014501 | 0.00036342
28 | 0.0012702 | 0.00031835
29 | 0.0026738 | 0.00067011
30 | 0.0036457 | 0.00091371
31 | 0.00089582 | 0.00022451
32 | 0.00085276 | 0.00021372
33 | 0.0031867 | 0.00079866
34 | 0.0032682 | 0.00081909
35 | 0.001384 | 0.00034687
36 | 0.0019283 | 0.00048327
37 | 0.0017079 | 0.00042805
38 | 0.003086 | 0.00077343
39 | 0.002113 | 0.00052956
40 | 0.0017879 | 0.00044809
41 | 0.0021078 | 0.00052825
42 | 0.0024228 | 0.00060721
43 | 0.00229 | 0.00057392
44 | 0.001108 | 0.00027769
45 | 0.0017034 | 0.00042691
46 | 0.0014851 | 0.00037221
47 | 0.002284 | 0.00057241
48 | 0.0020556 | 0.00051519
49 | 0.0029735 | 0.00074524
50 | 0.0029235 | 0.0007327
51 | 0.0059828 | 0.0014994
52 | 0.001755 | 0.00043985
53 | 0.0016112 | 0.00040381
54 | 0.0007236 | 0.00018135
55 | 0.0019488 | 0.00048841
56 | 0.001108 | 0.00027768
57 | 0.00089698 | 0.0002248
58 | 0.00049584 | 0.00012427
59 | 0.0017125 | 0.00042919
60 | 0.0011084 | 0.00027778
61 | 0.0011147 | 0.00027936
62 | 0.0071618 | 0.0017949
63 | 0.0021627 | 0.00054203
64 | 0.003654 | 0.00091578

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1