## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2422-27_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2422-27_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2422-27_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2422-27_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2422-27_0_4_node_41 | 0.4 | n |  | TRUE
5 | bus_LV_2422-27_0_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_2422-27_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2422-27_0_4_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_2422-27_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_2422-27_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2422-27_0_4_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_2422-27_0_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_2422-27_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_2422-27_0_4_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_2422-27_0_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_2422-27_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_2422-27_0_4_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_2422-27_0_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_2422-27_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2422-27_0_4_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_2422-27_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2422-27_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2422-27_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_2422-27_0_4_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_2422-27_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2422-27_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_2422-27_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2422-27_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_2422-27_0_4_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_2422-27_0_4_node_7 | 0.4 | n |  | TRUE
30 | bus_LV_2422-27_0_4_node_8 | 0.4 | n |  | TRUE
31 | bus_LV_2422-27_0_4_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_2422-27_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2422-27_0_4_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_2422-27_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2422-27_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2422-27_0_4_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_2422-27_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_2422-27_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2422-27_0_4_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_2422-27_0_4_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_2422-27_0_4_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_2422-27_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_2422-27_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_2422-27_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_2422-27_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_2422-27_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_2422-27_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_2422-27_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_2422-27_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_2422-27_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_MV_333_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2422-27_0_4_load_0 | 0 | 0.0018225 | 0.00045677 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2422-27_0_4_load_3 | 2 | 0.0015897 | 0.00039843 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2422-27_0_4_load_4 | 3 | 0.0037049 | 0.00092855 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2422-27_0_4_load_41 | 4 | 0.0011572 | 0.00029002 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2422-27_0_4_load_35 | 5 | 0.0026963 | 0.00067575 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2422-27_0_4_load_39 | 7 | 0.027263 | 0.0068328 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2422-27_0_4_load_36 | 8 | 0.016239 | 0.0040699 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2422-27_0_4_load_33 | 11 | 0.004769 | 0.0011952 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2422-27_0_4_load_42 | 14 | 0.0022772 | 0.00057071 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2422-27_0_4_load_51 | 16 | 0.010766 | 0.0026981 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2422-27_0_4_load_47 | 19 | 0.000954 | 0.00023909 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2422-27_0_4_load_48 | 23 | 0.0124 | 0.0031078 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2422-27_0_4_load_53 | 25 | 0.0024888 | 0.00062376 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2422-27_0_4_load_31 | 27 | 0.011268 | 0.0028241 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2422-27_0_4_load_38 | 28 | 0.0050079 | 0.0012551 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2422-27_0_4_load_7 | 29 | 0.0076192 | 0.0019096 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2422-27_0_4_load_8 | 30 | 0.0074173 | 0.0018589 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2422-27_0_4_load_10 | 31 | 0.0061127 | 0.001532 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2422-27_0_4_load_21 | 32 | 0.002135 | 0.00053508 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2422-27_0_4_load_19 | 34 | 0.002657 | 0.0006659 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2422-27_0_4_load_30 | 35 | 0.0040289 | 0.0010097 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2422-27_0_4_load_52 | 36 | 0.00074559 | 0.00018686 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2422-27_0_4_load_44 | 37 | 0.0033585 | 0.00084173 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2422-27_0_4_load_23 | 38 | 0.0029959 | 0.00075084 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2422-27_0_4_load_50 | 39 | 0.011437 | 0.0028663 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2422-27_0_4_load_18 | 41 | 0.0019658 | 0.00049268 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2422-27_0_4_load_46 | 42 | 0.0062454 | 0.0015653 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2422-27_0_4_load_25 | 43 | 0.0036365 | 0.00091138 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2422-27_0_4_load_26 | 44 | 0.0027458 | 0.00068817 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2422-27_0_4_load_27 | 45 | 0.0057882 | 0.0014507 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2422-27_0_4_load_28 | 46 | 0.0044384 | 0.0011124 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2422-27_0_4_load_29 | 47 | 0.0052345 | 0.0013119 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2422-27_0_4_load_32 | 48 | 0.00084514 | 0.00021181 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2422-27_0_4_load_37 | 49 | 0.037706 | 0.0094499 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2422-27_0_4_load_43 | 50 | 0.0097909 | 0.0024538 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2422-27_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2422-27_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0086054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_2422-27_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0031624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_2422-27_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0069341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_2422-27_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.029489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_2422-27_0_4_line_5 | NAYY 4x150 SE | 4 | 9 | 0.031397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_2422-27_0_4_line_6 | NAYY 4x150 SE | 5 | 11 | 0.0027806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_2422-27_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.03446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_2422-27_0_4_line_8 | NAYY 4x150 SE | 6 | 8 | 0.037466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_2422-27_0_4_line_9 | NAYY 4x150 SE | 7 | 12 | 0.029608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_2422-27_0_4_line_10 | NAYY 4x150 SE | 8 | 13 | 0.013173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_2422-27_0_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.062843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2422-27_0_4_line_12 | NAYY 4x150 SE | 10 | 14 | 0.0081109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2422-27_0_4_line_13 | NAYY 4x150 SE | 11 | 48 | 0.063961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_2422-27_0_4_line_14 | NAYY 4x150 SE | 12 | 33 | 0.021814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_2422-27_0_4_line_15 | NAYY 4x150 SE | 13 | 49 | 0.044987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_2422-27_0_4_line_16 | NAYY 4x150 SE | 13 | 48 | 0.013245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_2422-27_0_4_line_17 | NAYY 4x150 SE | 14 | 50 | 0.0045467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2422-27_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0019855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2422-27_0_4_line_19 | NAYY 4x150 SE | 15 | 17 | 0.005593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2422-27_0_4_line_20 | NAYY 4x150 SE | 16 | 42 | 0.023956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2422-27_0_4_line_21 | NAYY 4x150 SE | 17 | 38 | 0.0093422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2422-27_0_4_line_22 | NAYY 4x150 SE | 17 | 22 | 0.027342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_2422-27_0_4_line_23 | NAYY 4x150 SE | 17 | 41 | 0.0092736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_2422-27_0_4_line_24 | NAYY 4x150 SE | 18 | 19 | 0.035268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_2422-27_0_4_line_25 | NAYY 4x150 SE | 18 | 20 | 0.026821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_2422-27_0_4_line_26 | NAYY 4x150 SE | 19 | 23 | 0.0047528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_2422-27_0_4_line_27 | NAYY 4x150 SE | 20 | 27 | 0.017294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_2422-27_0_4_line_28 | NAYY 4x150 SE | 21 | 22 | 0.003785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_2422-27_0_4_line_29 | NAYY 4x150 SE | 21 | 23 | 0.030468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_2422-27_0_4_line_30 | NAYY 4x150 SE | 22 | 36 | 0.017451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2422-27_0_4_line_31 | NAYY 4x150 SE | 24 | 25 | 0.004551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2422-27_0_4_line_32 | NAYY 4x150 SE | 24 | 26 | 0.014951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2422-27_0_4_line_33 | NAYY 4x150 SE | 26 | 28 | 0.0085634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2422-27_0_4_line_34 | NAYY 4x150 SE | 27 | 35 | 0.0020545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_2422-27_0_4_line_35 | NAYY 4x150 SE | 28 | 38 | 0.012379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2422-27_0_4_line_36 | NAYY 4x150 SE | 29 | 30 | 0.034474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2422-27_0_4_line_37 | NAYY 4x150 SE | 30 | 31 | 0.00074826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2422-27_0_4_line_38 | NAYY 4x150 SE | 31 | 32 | 0.020529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2422-27_0_4_line_39 | NAYY 4x150 SE | 32 | 34 | 0.010611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_2422-27_0_4_line_40 | NAYY 4x150 SE | 33 | 37 | 0.014964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_2422-27_0_4_line_41 | NAYY 4x150 SE | 34 | 41 | 0.019085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_2422-27_0_4_line_42 | NAYY 4x150 SE | 35 | 47 | 0.0096099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_2422-27_0_4_line_43 | NAYY 4x150 SE | 37 | 46 | 0.014693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_2422-27_0_4_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0032438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2422-27_0_4_line_45 | NAYY 4x150 SE | 40 | 49 | 0.017407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2422-27_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0067654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_2422-27_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.0073106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_2422-27_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.0014688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_2422-27_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0032445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2422-27_0_4_trafo_21 | 0.25 MVA 20/0.4 kV | 51 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2619312.4106 | 1240488.9343 | 2619319.8472 | 1240478.6684
1 | 2619312.4106 | 1240488.9343 | 2619305.3583 | 1240484.0028
2 | 2619312.4106 | 1240488.9343 | 2619314.9279 | 1240490.8484
3 | 2619299.6758 | 1240480.0291 | 2619305.3583 | 1240484.0028
4 | 2619338.4016 | 1240508.6977 | 2619338.4016 | 1240508.6977 | 2619314.9279 | 1240490.8484
5 | 2619273.4255 | 1240465.7045 | 2619277.301 | 1240464.3829 | 2619299.6758 | 1240480.0291
6 | 2619341.0024 | 1240509.6815 | 2619338.4016 | 1240508.6977
7 | 2619466.3086 | 1240523.3904 | 2619460.6643 | 1240540.7161 | 2619458.7446 | 1240547.4251 | 2619456.7336 | 1240556.4641
8 | 2619466.3086 | 1240523.3904 | 2619429.8067 | 1240514.9465
9 | 2619450.3035 | 1240585.3657 | 2619456.7336 | 1240556.4641
10 | 2619416.9725 | 1240511.9777 | 2619429.8067 | 1240514.9465
11 | 2619302.0894 | 1240521.6657 | 2619273.4255 | 1240465.7045
12 | 2619302.0894 | 1240521.6657 | 2619306.627 | 1240521.3469 | 2619310.1849 | 1240521.1729
13 | 2619341.0024 | 1240509.6815 | 2619355.5969 | 1240515.2021 | 2619403.8398 | 1240511.8732
14 | 2619450.3035 | 1240585.3657 | 2619439.8834 | 1240585.7319 | 2619436.2462 | 1240585.8534 | 2619428.5078 | 1240586.9289
15 | 2619416.9725 | 1240511.9777 | 2619413.5952 | 1240529.7667 | 2619412.0336 | 1240537.9556 | 2619409.9488 | 1240548.9223 | 2619402.5687 | 1240549.0241
16 | 2619416.9725 | 1240511.9777 | 2619413.6029 | 1240511.1995 | 2619403.8398 | 1240511.8732
17 | 2619314.7262 | 1240520.9507 | 2619310.1849 | 1240521.1729
18 | 2619356.3877 | 1240595.1991 | 2619358.2728 | 1240595.8224
19 | 2619356.3877 | 1240595.1991 | 2619354.3444 | 1240600.4069
20 | 2619381.8639 | 1240595.6918 | 2619374.4064 | 1240597.1812 | 2619366.4513 | 1240597.4888 | 2619361.6519 | 1240596.9396 | 2619358.2728 | 1240595.8224
21 | 2619354.3444 | 1240600.4069 | 2619346.46 | 1240595.3955
22 | 2619351.4317 | 1240626.5026 | 2619349.0237 | 1240613.6868 | 2619353.0102 | 1240603.7935 | 2619354.3444 | 1240600.4069
23 | 2619354.3444 | 1240600.4069 | 2619363.5651 | 1240601.3951
24 | 2619404.401 | 1240668.9016 | 2619396.7627 | 1240662.5171 | 2619377.3465 | 1240646.2771 | 2619377.3465 | 1240646.2771
25 | 2619430.9015 | 1240664.2962 | 2619417.7382 | 1240666.588 | 2619404.401 | 1240668.9016
26 | 2619377.3465 | 1240646.2771 | 2619373.3472 | 1240643.7091
27 | 2619430.9015 | 1240664.2962 | 2619430.3663 | 1240647.0105
28 | 2619347.7094 | 1240627.2465 | 2619351.4317 | 1240626.5026
29 | 2619347.7094 | 1240627.2465 | 2619373.3472 | 1240643.7091
30 | 2619368.5984 | 1240623.1008 | 2619351.4317 | 1240626.5026
31 | 2619316.8997 | 1240599.04 | 2619319.5656 | 1240595.3463
32 | 2619329.0392 | 1240583.7809 | 2619325.5704 | 1240587.9056 | 2619319.5656 | 1240595.3463
33 | 2619329.0392 | 1240583.7809 | 2619336.0549 | 1240588.6913
34 | 2619430.3663 | 1240647.0105 | 2619430.3027 | 1240644.957
35 | 2619346.46 | 1240595.3955 | 2619337.4655 | 1240589.6786 | 2619336.0549 | 1240588.6913
36 | 2619448.0153 | 1240592.4809 | 2619438.0502 | 1240591.4184 | 2619422.7373 | 1240594.348 | 2619413.9269 | 1240595.3015
37 | 2619413.9269 | 1240595.3015 | 2619413.1829 | 1240595.382
38 | 2619392.7789 | 1240597.63 | 2619393.2167 | 1240597.5427 | 2619413.1829 | 1240595.382
39 | 2619382.3732 | 1240599.7049 | 2619392.7789 | 1240597.63
40 | 2619428.5078 | 1240586.9289 | 2619428.6514 | 1240591.5878 | 2619428.9696 | 1240601.8853
41 | 2619382.3732 | 1240599.7049 | 2619370.2848 | 1240602.1153 | 2619363.5651 | 1240601.3951
42 | 2619430.3027 | 1240644.957 | 2619430.0053 | 1240635.3516
43 | 2619428.9696 | 1240601.8853 | 2619429.219 | 1240609.9567 | 2619429.4238 | 1240616.5713
44 | 2619385.1629 | 1240549.264 | 2619381.9412 | 1240549.6422
45 | 2619385.1629 | 1240549.264 | 2619402.5687 | 1240549.0241
46 | 2619429.6786 | 1240624.8016 | 2619429.4692 | 1240618.0394
47 | 2619429.6786 | 1240624.8016 | 2619429.9049 | 1240632.1088
48 | 2619429.4692 | 1240618.0394 | 2619429.4238 | 1240616.5713
49 | 2619429.9049 | 1240632.1088 | 2619430.0053 | 1240635.3516

## bus_geodata
| x | y | coords
0 | 2619319.8472 | 1240478.6684
1 | 2619312.4106 | 1240488.9343
2 | 2619305.3583 | 1240484.0028
3 | 2619314.9279 | 1240490.8484
4 | 2619299.6758 | 1240480.0291
5 | 2619338.4016 | 1240508.6977
6 | 2619466.3086 | 1240523.3904
7 | 2619456.7336 | 1240556.4641
8 | 2619429.8067 | 1240514.9465
9 | 2619273.4255 | 1240465.7045
10 | 2619302.0894 | 1240521.6657
11 | 2619341.0024 | 1240509.6815
12 | 2619450.3035 | 1240585.3657
13 | 2619416.9725 | 1240511.9777
14 | 2619310.1849 | 1240521.1729
15 | 2619356.3877 | 1240595.1991
16 | 2619358.2728 | 1240595.8224
17 | 2619354.3444 | 1240600.4069
18 | 2619404.401 | 1240668.9016
19 | 2619377.3465 | 1240646.2771
20 | 2619430.9015 | 1240664.2962
21 | 2619347.7094 | 1240627.2465
22 | 2619351.4317 | 1240626.5026
23 | 2619373.3472 | 1240643.7091
24 | 2619319.5656 | 1240595.3463
25 | 2619316.8997 | 1240599.04
26 | 2619329.0392 | 1240583.7809
27 | 2619430.3663 | 1240647.0105
28 | 2619336.0549 | 1240588.6913
29 | 2619448.0153 | 1240592.4809
30 | 2619413.9269 | 1240595.3015
31 | 2619413.1829 | 1240595.382
32 | 2619392.7789 | 1240597.63
33 | 2619428.5078 | 1240586.9289
34 | 2619382.3732 | 1240599.7049
35 | 2619430.3027 | 1240644.957
36 | 2619368.5984 | 1240623.1008
37 | 2619428.9696 | 1240601.8853
38 | 2619346.46 | 1240595.3955
39 | 2619381.9412 | 1240549.6422
40 | 2619385.1629 | 1240549.264
41 | 2619363.5651 | 1240601.3951
42 | 2619381.8639 | 1240595.6918
43 | 2619429.6786 | 1240624.8016
44 | 2619429.4692 | 1240618.0394
45 | 2619429.9049 | 1240632.1088
46 | 2619429.4238 | 1240616.5713
47 | 2619430.0053 | 1240635.3516
48 | 2619403.8398 | 1240511.8732
49 | 2619402.5687 | 1240549.0241
50 | 2619314.7262 | 1240520.9507
51 | 2619392.7789 | 1240597.63

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97208 | -0.19627 | 0.0018225 | 0.00045677
1 | 0.97212 | -0.19602 | 0 | 0
2 | 0.97205 | -0.19647 | 0.0015897 | 0.00039843
3 | 0.97214 | -0.19584 | 0.0037049 | 0.00092855
4 | 0.97201 | -0.1968 | 0.0011572 | 0.00029002
5 | 0.97243 | -0.19372 | 0.0026963 | 0.00067575
6 | 0.97574 | -0.16996 | 0 | 0
7 | 0.97733 | -0.15865 | 0.027263 | 0.0068328
8 | 0.97402 | -0.18231 | 0.016239 | 0.0040699
9 | 0.97182 | -0.19813 | 0 | 0
10 | 0.97071 | -0.20616 | 0 | 0
11 | 0.97247 | -0.1935 | 0.004769 | 0.0011952
12 | 0.97908 | -0.14615 | 0 | 0
13 | 0.97352 | -0.1859 | 0 | 0
14 | 0.97057 | -0.2072 | 0.0022772 | 0.00057071
15 | 0.99598 | -0.027741 | 0 | 0
16 | 0.99593 | -0.028081 | 0.010766 | 0.0026981
17 | 0.99611 | -0.026783 | 0 | 0
18 | 0.9877 | -0.085292 | 0 | 0
19 | 0.99048 | -0.065871 | 0.000954 | 0.00023909
20 | 0.98559 | -0.10013 | 0 | 0
21 | 0.99345 | -0.045197 | 0 | 0
22 | 0.99377 | -0.042961 | 0 | 0
23 | 0.99086 | -0.063247 | 0.0124 | 0.0031078
24 | 0.99576 | -0.029294 | 0 | 0
25 | 0.99574 | -0.029408 | 0.0024888 | 0.00062376
26 | 0.99581 | -0.028919 | 0 | 0
27 | 0.98422 | -0.10974 | 0.011268 | 0.0028241
28 | 0.99584 | -0.028704 | 0.0050079 | 0.0012551
29 | 0.99899 | -0.0070757 | 0.0076192 | 0.0019096
30 | 0.99936 | -0.0044493 | 0.0074173 | 0.0018589
31 | 0.99938 | -0.0043368 | 0.0061127 | 0.001532
32 | 1 | 0 | -0.23413 | -0.05901
33 | 0.98037 | -0.13698 | 0 | 0
34 | 0.99893 | -0.0073571 | 0.002657 | 0.0006659
35 | 0.98407 | -0.1108 | 0.0040289 | 0.0010097
36 | 0.99376 | -0.043092 | 0.00074559 | 0.00018686
37 | 0.98126 | -0.13069 | 0.0033585 | 0.00084173
38 | 0.99597 | -0.02777 | 0.0029959 | 0.00075084
39 | 0.97155 | -0.20006 | 0.011437 | 0.0028663
40 | 0.97161 | -0.19967 | 0 | 0
41 | 0.99703 | -0.02046 | 0.0019658 | 0.00049268
42 | 0.99571 | -0.029587 | 0.0062454 | 0.0015653
43 | 0.98268 | -0.12064 | 0.0036365 | 0.00091138
44 | 0.98225 | -0.12371 | 0.0027458 | 0.00068817
45 | 0.98316 | -0.11722 | 0.0057882 | 0.0014507
46 | 0.98215 | -0.12437 | 0.0044384 | 0.0011124
47 | 0.98339 | -0.11564 | 0.0052345 | 0.0013119
48 | 0.97334 | -0.18724 | 0.00084514 | 0.00021181
49 | 0.9719 | -0.19757 | 0.037706 | 0.0094499
50 | 0.9705 | -0.20767 | 0.0097909 | 0.0024538
51 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0018225 | -0.00045677 | 0.0018226 | 0.00045664 | 6.1566e-08 | -1.3348e-07 | 0.0027899 | 0.0027898 | 0.0027899 | 0.97208 | -0.19627 | 0.97212 | -0.19602 | 1.0333
1 | 0.014835 | 0.0037178 | -0.014834 | -0.0037178 | 9.2292e-07 | 3.4925e-08 | 0.022707 | 0.022707 | 0.022707 | 0.97212 | -0.19602 | 0.97205 | -0.19647 | 2.8034
2 | -0.016657 | -0.0041745 | 0.016658 | 0.0041745 | 4.2762e-07 | 4.6845e-08 | 0.025497 | 0.025497 | 0.025497 | 0.97212 | -0.19602 | 0.97214 | -0.19584 | 3.1478
3 | 0.013244 | 0.0033194 | -0.013243 | -0.0033194 | 5.9282e-07 | -2.985e-08 | 0.020274 | 0.020274 | 0.020274 | 0.97205 | -0.19647 | 0.97201 | -0.1968 | 2.5029
4 | -0.020363 | -0.0051031 | 0.020368 | 0.0051043 | 5.9585e-06 | 1.1945e-06 | 0.031168 | 0.031168 | 0.031168 | 0.97214 | -0.19584 | 0.97243 | -0.19372 | 3.8479
5 | 0.012086 | 0.0030294 | -0.012084 | -0.0030297 | 2.2357e-06 | -3.074e-07 | 0.018502 | 0.018503 | 0.018503 | 0.97201 | -0.1968 | 0.97182 | -0.19813 | 2.2843
6 | -0.023065 | -0.00578 | 0.023065 | 0.0057802 | 7.2042e-07 | 1.7359e-07 | 0.035293 | 0.035293 | 0.035293 | 0.97243 | -0.19372 | 0.97247 | -0.1935 | 4.3572
7 | -0.094374 | -0.023688 | 0.094522 | 0.023743 | 0.00014849 | 5.5819e-05 | 0.14393 | 0.14393 | 0.14393 | 0.97574 | -0.16996 | 0.97733 | -0.15865 | 17.7696
8 | 0.094374 | 0.023688 | -0.094213 | -0.023627 | 0.00016144 | 6.0693e-05 | 0.14393 | 0.14393 | 0.14393 | 0.97574 | -0.16996 | 0.97402 | -0.18231 | 17.7696
9 | -0.12179 | -0.030576 | 0.122 | 0.030657 | 0.00021178 | 8.034e-05 | 0.18544 | 0.18544 | 0.18544 | 0.97733 | -0.15865 | 0.97908 | -0.14615 | 22.8941
10 | 0.077974 | 0.019557 | -0.077935 | -0.019543 | 3.8883e-05 | 1.4463e-05 | 0.11913 | 0.11913 | 0.11913 | 0.97402 | -0.18231 | 0.97352 | -0.1859 | 14.7069
11 | 0.012084 | 0.0030297 | -0.01207 | -0.0030253 | 1.3425e-05 | 4.3858e-06 | 0.018503 | 0.018503 | 0.018503 | 0.97182 | -0.19813 | 0.97071 | -0.20616 | 6.853
12 | 0.01207 | 0.0030253 | -0.012069 | -0.0030247 | 1.7328e-06 | 5.662e-07 | 0.018503 | 0.018503 | 0.018503 | 0.97071 | -0.20616 | 0.97057 | -0.2072 | 6.853
13 | -0.027834 | -0.0069754 | 0.027859 | 0.0069823 | 2.4132e-05 | 6.8989e-06 | 0.042591 | 0.04259 | 0.042591 | 0.97247 | -0.1935 | 0.97334 | -0.18724 | 5.2581
14 | -0.122 | -0.030657 | 0.12215 | 0.030716 | 0.00015603 | 5.9188e-05 | 0.18544 | 0.18544 | 0.18544 | 0.97908 | -0.14615 | 0.98037 | -0.13698 | 22.8941
15 | 0.049226 | 0.012347 | -0.049146 | -0.012317 | 7.9469e-05 | 2.9448e-05 | 0.075245 | 0.075245 | 0.075245 | 0.97352 | -0.1859 | 0.9719 | -0.19757 | 13.9342
16 | 0.028709 | 0.0071957 | -0.028704 | -0.0071941 | 5.3048e-06 | 1.5464e-06 | 0.043882 | 0.043882 | 0.043882 | 0.97352 | -0.1859 | 0.97334 | -0.18724 | 5.4175
17 | 0.0097915 | 0.002454 | -0.0097909 | -0.0024538 | 6.3936e-07 | 1.8972e-07 | 0.015012 | 0.015012 | 0.015012 | 0.97057 | -0.2072 | 0.9705 | -0.20767 | 5.5599
18 | 0.017013 | 0.0042638 | -0.017012 | -0.0042635 | 8.0044e-07 | 2.8202e-07 | 0.025418 | 0.025418 | 0.025418 | 0.99598 | -0.027741 | 0.99593 | -0.028081 | 9.4141
19 | -0.017013 | -0.0042638 | 0.017015 | 0.0042646 | 2.2548e-06 | 7.9444e-07 | 0.025418 | 0.025418 | 0.025418 | 0.99598 | -0.027741 | 0.99611 | -0.026783 | 9.4141
20 | 0.0062467 | 0.0015654 | -0.0062454 | -0.0015653 | 1.3021e-06 | 1.8916e-07 | 0.0093332 | 0.0093333 | 0.0093333 | 0.99593 | -0.028081 | 0.99571 | -0.029587 | 3.4568
21 | 0.010495 | 0.0026301 | -0.010494 | -0.0026296 | 1.4329e-06 | 4.2952e-07 | 0.015678 | 0.015678 | 0.015678 | 0.99611 | -0.026783 | 0.99597 | -0.02777 | 5.8067
22 | 0.17924 | 0.045348 | -0.17883 | -0.045192 | 0.00040818 | 0.00015593 | 0.2679 | 0.2679 | 0.2679 | 0.99611 | -0.026783 | 0.99377 | -0.042961 | 33.0745
23 | -0.20675 | -0.052243 | 0.20693 | 0.052313 | 0.00018417 | 7.0473e-05 | 0.309 | 0.309 | 0.309 | 0.99611 | -0.026783 | 0.99703 | -0.02046 | 38.148
24 | -0.16372 | -0.041271 | 0.16416 | 0.041442 | 0.00044658 | 0.0001704 | 0.24673 | 0.24673 | 0.24673 | 0.9877 | -0.085292 | 0.99048 | -0.065871 | 30.4609
25 | 0.16372 | 0.041271 | -0.16338 | -0.041142 | 0.00033962 | 0.0001296 | 0.24673 | 0.24673 | 0.24673 | 0.9877 | -0.085292 | 0.98559 | -0.10013 | 30.4609
26 | -0.16512 | -0.041681 | 0.16518 | 0.041704 | 6.0883e-05 | 2.3233e-05 | 0.24817 | 0.24817 | 0.24817 | 0.99048 | -0.065871 | 0.99086 | -0.063247 | 30.6378
27 | 0.16338 | 0.041142 | -0.16316 | -0.041058 | 0.00021899 | 8.3565e-05 | 0.24673 | 0.24673 | 0.24673 | 0.98559 | -0.10013 | 0.98422 | -0.10974 | 30.461
28 | -0.17803 | -0.044984 | 0.17809 | 0.045006 | 5.6035e-05 | 2.1405e-05 | 0.26679 | 0.26679 | 0.26679 | 0.99345 | -0.045197 | 0.99377 | -0.042961 | 32.9367
29 | 0.17803 | 0.044984 | -0.17758 | -0.044812 | 0.00045107 | 0.00017231 | 0.26679 | 0.26679 | 0.26679 | 0.99345 | -0.045197 | 0.99086 | -0.063247 | 32.9368
30 | 0.0007456 | 0.00018664 | -0.00074559 | -0.00018686 | 1.3572e-08 | -2.2088e-07 | 0.0011163 | 0.0011164 | 0.0011164 | 0.99377 | -0.042961 | 0.99376 | -0.043092 | 0.41349
31 | 0.0024889 | 0.00062371 | -0.0024888 | -0.00062376 | 3.9283e-08 | -4.4091e-08 | 0.0037192 | 0.0037192 | 0.0037192 | 0.99576 | -0.029294 | 0.99574 | -0.029408 | 1.3775
32 | -0.0024889 | -0.00062371 | 0.002489 | 0.00062357 | 1.2905e-07 | -1.4486e-07 | 0.0037192 | 0.0037192 | 0.0037192 | 0.99576 | -0.029294 | 0.99581 | -0.028919 | 1.3775
33 | -0.002489 | -0.00062357 | 0.0024891 | 0.00062349 | 7.3913e-08 | -8.2982e-08 | 0.0037192 | 0.0037191 | 0.0037192 | 0.99581 | -0.028919 | 0.99584 | -0.028704 | 1.3775
34 | 0.15189 | 0.038234 | -0.15187 | -0.038225 | 2.2546e-05 | 8.5934e-06 | 0.2297 | 0.2297 | 0.2297 | 0.98422 | -0.10974 | 0.98407 | -0.1108 | 28.3577
35 | -0.007497 | -0.0018786 | 0.0074979 | 0.0018788 | 9.6934e-07 | 2.1174e-07 | 0.011202 | 0.011202 | 0.011202 | 0.99584 | -0.028704 | 0.99597 | -0.02777 | 4.1489
36 | -0.0076192 | -0.0019096 | 0.007622 | 0.0019102 | 2.7707e-06 | 6.1412e-07 | 0.011349 | 0.011349 | 0.011349 | 0.99899 | -0.0070757 | 0.99936 | -0.0044493 | 4.2033
37 | -0.015039 | -0.0037691 | 0.01504 | 0.0037692 | 2.3413e-07 | 8.0246e-08 | 0.022393 | 0.022393 | 0.022393 | 0.99936 | -0.0044493 | 0.99938 | -0.0043368 | 8.2937
38 | -0.021152 | -0.0053012 | 0.021165 | 0.0053058 | 1.2706e-05 | 4.6179e-06 | 0.031494 | 0.031494 | 0.031494 | 0.99938 | -0.0043368 | 1 | 0 | 11.6646
39 | 0.21216 | 0.053704 | -0.21194 | -0.05362 | 0.00022023 | 8.4286e-05 | 0.31589 | 0.31589 | 0.31589 | 1 | 0 | 0.99893 | -0.0073571 | 38.9988
40 | -0.12215 | -0.030716 | 0.12226 | 0.030756 | 0.00010703 | 4.06e-05 | 0.18544 | 0.18544 | 0.18544 | 0.98037 | -0.13698 | 0.98126 | -0.13069 | 22.894
41 | 0.20929 | 0.052954 | -0.2089 | -0.052806 | 0.00038625 | 0.00014781 | 0.31193 | 0.31193 | 0.31193 | 0.99893 | -0.0073571 | 0.99703 | -0.02046 | 38.5102
42 | 0.14784 | 0.037216 | -0.14774 | -0.037178 | 9.9942e-05 | 3.8073e-05 | 0.22361 | 0.22361 | 0.22361 | 0.98407 | -0.1108 | 0.98339 | -0.11564 | 27.6056
43 | -0.12562 | -0.031598 | 0.12573 | 0.03164 | 0.00011095 | 4.2115e-05 | 0.19053 | 0.19053 | 0.19053 | 0.98126 | -0.13069 | 0.98215 | -0.12437 | 23.5228
44 | -0.011437 | -0.0028663 | 0.011437 | 0.0028665 | 6.2105e-07 | 1.9869e-07 | 0.017516 | 0.017516 | 0.017516 | 0.97155 | -0.20006 | 0.97161 | -0.19967 | 6.4876
45 | -0.011437 | -0.0028665 | 0.011441 | 0.0028676 | 3.3328e-06 | 1.0662e-06 | 0.017516 | 0.017516 | 0.017516 | 0.97161 | -0.19967 | 0.9719 | -0.19757 | 6.4875
46 | 0.13298 | 0.033467 | -0.13293 | -0.033445 | 5.7089e-05 | 2.17e-05 | 0.20142 | 0.20142 | 0.20142 | 0.98268 | -0.12064 | 0.98225 | -0.12371 | 24.8665
47 | -0.13662 | -0.034378 | 0.13668 | 0.034403 | 6.511e-05 | 2.4764e-05 | 0.20692 | 0.20692 | 0.20692 | 0.98268 | -0.12064 | 0.98316 | -0.11722 | 25.5463
48 | 0.13018 | 0.032757 | -0.13017 | -0.032753 | 1.1888e-05 | 4.5166e-06 | 0.19726 | 0.19726 | 0.19726 | 0.98225 | -0.12371 | 0.98215 | -0.12437 | 24.3529
49 | -0.14247 | -0.035854 | 0.1425 | 0.035866 | 3.1394e-05 | 1.1951e-05 | 0.21569 | 0.21569 | 0.21569 | 0.98316 | -0.11722 | 0.98339 | -0.11564 | 26.6278

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23626 | 0.059545

## res_load
| p_mw | q_mvar
0 | 0.0018225 | 0.00045677
1 | 0.0015897 | 0.00039843
2 | 0.0037049 | 0.00092855
3 | 0.0011572 | 0.00029002
4 | 0.0026963 | 0.00067575
5 | 0.027263 | 0.0068328
6 | 0.016239 | 0.0040699
7 | 0.004769 | 0.0011952
8 | 0.0022772 | 0.00057071
9 | 0.010766 | 0.0026981
10 | 0.000954 | 0.00023909
11 | 0.0124 | 0.0031078
12 | 0.0024888 | 0.00062376
13 | 0.011268 | 0.0028241
14 | 0.0050079 | 0.0012551
15 | 0.0076192 | 0.0019096
16 | 0.0074173 | 0.0018589
17 | 0.0061127 | 0.001532
18 | 0.002135 | 0.00053508
19 | 0.002657 | 0.0006659
20 | 0.0040289 | 0.0010097
21 | 0.00074559 | 0.00018686
22 | 0.0033585 | 0.00084173
23 | 0.0029959 | 0.00075084
24 | 0.011437 | 0.0028663
25 | 0.0019658 | 0.00049268
26 | 0.0062454 | 0.0015653
27 | 0.0036365 | 0.00091138
28 | 0.0027458 | 0.00068817
29 | 0.0057882 | 0.0014507
30 | 0.0044384 | 0.0011124
31 | 0.0052345 | 0.0013119
32 | 0.00084514 | 0.00021181
33 | 0.037706 | 0.0094499
34 | 0.0097909 | 0.0024538

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1