## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2422-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2422-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2422-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2422-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2422-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2422-6_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_2422-6_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_2422-6_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2422-6_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_2422-6_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2422-6_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2422-6_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2422-6_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2422-6_0_3_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_2422-6_0_3_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_2422-6_0_3_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_2422-6_0_3_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_2422-6_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2422-6_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2422-6_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2422-6_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2422-6_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2422-6_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2422-6_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2422-6_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2422-6_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_2422-6_0_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_2422-6_0_3_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_2422-6_0_3_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_2422-6_0_3_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_2422-6_0_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_2422-6_0_3_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_2422-6_0_3_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_2422-6_0_3_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_2422-6_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2422-6_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2422-6_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2422-6_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2422-6_0_3_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_2422-6_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_2422-6_0_3_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_2422-6_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_2422-6_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2422-6_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2422-6_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2422-6_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_2422-6_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2422-6_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2422-6_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_2422-6_0_3_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_2422-6_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_2422-6_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_2422-6_0_3_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_2422-6_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_2422-6_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_2422-6_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_2422-6_0_3_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_2422-6_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_2422-6_0_3_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_2422-6_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_2422-6_0_3_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_2422-6_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_2422-6_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_2422-6_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_2422-6_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_2422-6_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_2422-6_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_2422-6_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_2422-6_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_2422-6_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_2422-6_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_MV_333_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2422-6_0_3_load_0 | 0 | 0.0045647 | 0.001144 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2422-6_0_3_load_1 | 1 | 0.0045032 | 0.0011286 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2422-6_0_3_load_2 | 2 | 0.0045181 | 0.0011323 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2422-6_0_3_load_3 | 3 | 0.0045097 | 0.0011302 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2422-6_0_3_load_4 | 4 | 0.0045764 | 0.001147 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2422-6_0_3_load_11 | 5 | 0.0045721 | 0.0011459 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2422-6_0_3_load_24 | 6 | 0.0045 | 0.0011278 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2422-6_0_3_load_9 | 7 | 0.011921 | 0.0029876 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2422-6_0_3_load_5 | 9 | 0.0015813 | 0.0003963 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2422-6_0_3_load_6 | 10 | 0.0026772 | 0.00067096 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2422-6_0_3_load_7 | 11 | 0.0034365 | 0.00086127 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2422-6_0_3_load_52 | 13 | 0.0019617 | 0.00049165 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2422-6_0_3_load_47 | 14 | 0.0069192 | 0.0017341 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2422-6_0_3_load_10 | 17 | 0.011922 | 0.0029879 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2422-6_0_3_load_12 | 18 | 0.0052672 | 0.0013201 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2422-6_0_3_load_13 | 22 | 0.0014285 | 0.00035801 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2422-6_0_3_load_14 | 23 | 0.0032876 | 0.00082395 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2422-6_0_3_load_17 | 24 | 0.0011238 | 0.00028164 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2422-6_0_3_load_42 | 25 | 0.002588 | 0.00064862 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2422-6_0_3_load_68 | 30 | 0.016661 | 0.0041756 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2422-6_0_3_load_72 | 31 | 0.0022348 | 0.00056009 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2422-6_0_3_load_54 | 33 | 0.0016983 | 0.00042564 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2422-6_0_3_load_19 | 34 | 0.0045861 | 0.0011494 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2422-6_0_3_load_23 | 37 | 0.0029794 | 0.0007467 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2422-6_0_3_load_74 | 38 | 0.030914 | 0.0077478 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2422-6_0_3_load_50 | 40 | 0.003046 | 0.00076341 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2422-6_0_3_load_51 | 41 | 0.0019128 | 0.00047939 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2422-6_0_3_load_25 | 42 | 0.0024711 | 0.00061932 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2422-6_0_3_load_26 | 43 | 0.0024737 | 0.00061997 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2422-6_0_3_load_28 | 45 | 0.003221 | 0.00080727 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2422-6_0_3_load_29 | 46 | 0.0015536 | 0.00038938 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2422-6_0_3_load_30 | 47 | 0.0015511 | 0.00038874 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2422-6_0_3_load_64 | 49 | 0.0022337 | 0.00055982 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2422-6_0_3_load_36 | 50 | 0.002709 | 0.00067893 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2422-6_0_3_load_48 | 51 | 0.003221 | 0.00080726 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2422-6_0_3_load_63 | 52 | 0.0028738 | 0.00072025 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2422-6_0_3_load_31 | 53 | 0.005186 | 0.0012997 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2422-6_0_3_load_34 | 55 | 0.00085666 | 0.0002147 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2422-6_0_3_load_73 | 56 | 0.0017962 | 0.00045017 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2422-6_0_3_load_41 | 57 | 0.0026515 | 0.00066454 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2422-6_0_3_load_58 | 59 | 0.0030944 | 0.00077553 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2422-6_0_3_load_43 | 61 | 0.0060094 | 0.0015061 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2422-6_0_3_load_45 | 62 | 0.0054504 | 0.001366 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2422-6_0_3_load_44 | 63 | 0.0077162 | 0.0019339 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2422-6_0_3_load_53 | 64 | 0.0026524 | 0.00066476 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2422-6_0_3_load_62 | 65 | 0.0032281 | 0.00080903 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2422-6_0_3_load_60 | 66 | 0.0021731 | 0.00054464 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2422-6_0_3_load_59 | 68 | 0.0028441 | 0.00071279 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2422-6_0_3_load_57 | 69 | 0.0031681 | 0.00079399 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2422-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0053556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_2422-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_2422-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0052459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_2422-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2422-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0053579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_2422-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 3.5602e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_2422-6_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.026342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2422-6_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.017846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_2422-6_0_3_line_8 | NAYY 4x150 SE | 7 | 17 | 0.01289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2422-6_0_3_line_9 | NAYY 4x150 SE | 8 | 37 | 0.018418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2422-6_0_3_line_10 | NAYY 4x150 SE | 8 | 34 | 0.022191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2422-6_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.014516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2422-6_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0071293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2422-6_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0086991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2422-6_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.021026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2422-6_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.010829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2422-6_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.025233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2422-6_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.019537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2422-6_0_3_line_18 | NAYY 4x150 SE | 15 | 67 | 0.00214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2422-6_0_3_line_19 | NAYY 4x150 SE | 16 | 51 | 0.019416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2422-6_0_3_line_20 | NAYY 4x150 SE | 16 | 46 | 0.020066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2422-6_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.015044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2422-6_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.03099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2422-6_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.018934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2422-6_0_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.027492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2422-6_0_3_line_25 | NAYY 4x150 SE | 20 | 24 | 0.021442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2422-6_0_3_line_26 | NAYY 4x150 SE | 20 | 22 | 0.01493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2422-6_0_3_line_27 | NAYY 4x150 SE | 21 | 27 | 0.020604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2422-6_0_3_line_28 | NAYY 4x150 SE | 22 | 23 | 0.014527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2422-6_0_3_line_29 | NAYY 4x150 SE | 24 | 28 | 0.0036812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2422-6_0_3_line_30 | NAYY 4x150 SE | 25 | 26 | 0.031165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2422-6_0_3_line_31 | NAYY 4x150 SE | 26 | 57 | 0.017813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2422-6_0_3_line_32 | NAYY 4x150 SE | 26 | 55 | 0.022315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2422-6_0_3_line_33 | NAYY 4x150 SE | 27 | 29 | 0.01335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2422-6_0_3_line_34 | NAYY 4x150 SE | 27 | 30 | 0.029176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2422-6_0_3_line_35 | NAYY 4x150 SE | 28 | 31 | 0.012274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2422-6_0_3_line_36 | NAYY 4x150 SE | 28 | 32 | 0.008658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2422-6_0_3_line_37 | NAYY 4x150 SE | 29 | 56 | 0.0035787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2422-6_0_3_line_38 | NAYY 4x150 SE | 31 | 62 | 0.014668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2422-6_0_3_line_39 | NAYY 4x150 SE | 32 | 33 | 0.034935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2422-6_0_3_line_40 | NAYY 4x150 SE | 34 | 35 | 0.035026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2422-6_0_3_line_41 | NAYY 4x150 SE | 35 | 36 | 0.071592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2422-6_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.013806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2422-6_0_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.018214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2422-6_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.031213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2422-6_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.031225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2422-6_0_3_line_46 | NAYY 4x150 SE | 40 | 66 | 0.023503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2422-6_0_3_line_47 | NAYY 4x150 SE | 41 | 67 | 0.020344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2422-6_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.0059393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2422-6_0_3_line_49 | NAYY 4x150 SE | 42 | 44 | 0.016526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2422-6_0_3_line_50 | NAYY 4x150 SE | 43 | 45 | 0.021562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2422-6_0_3_line_51 | NAYY 4x150 SE | 44 | 46 | 0.012949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2422-6_0_3_line_52 | NAYY 4x150 SE | 44 | 47 | 0.029642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2422-6_0_3_line_53 | NAYY 4x150 SE | 45 | 48 | 0.041781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2422-6_0_3_line_54 | NAYY 4x150 SE | 47 | 49 | 0.002957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2422-6_0_3_line_55 | NAYY 4x150 SE | 48 | 50 | 0.054416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2422-6_0_3_line_56 | NAYY 4x150 SE | 49 | 52 | 0.018576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2422-6_0_3_line_57 | NAYY 4x150 SE | 51 | 65 | 0.00029983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2422-6_0_3_line_58 | NAYY 4x150 SE | 52 | 59 | 0.0052389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2422-6_0_3_line_59 | NAYY 4x150 SE | 53 | 54 | 0.022696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2422-6_0_3_line_60 | NAYY 4x150 SE | 54 | 55 | 0.011822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2422-6_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.02284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2422-6_0_3_line_62 | NAYY 4x150 SE | 57 | 64 | 0.019948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2422-6_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.02907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2422-6_0_3_line_64 | NAYY 4x150 SE | 58 | 60 | 0.029124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2422-6_0_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.02229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2422-6_0_3_line_66 | NAYY 4x150 SE | 61 | 63 | 6.7385e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2422-6_0_3_line_67 | NAYY 4x150 SE | 66 | 68 | 0.0086255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2422-6_0_3_line_68 | NAYY 4x150 SE | 68 | 70 | 0.019777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2422-6_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.017161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2422-6_0_3_trafo_10 | 0.25 MVA 20/0.4 kV | 71 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2618820.7215 | 1239999.762 | 2618825.9702 | 1239998.6976
1 | 2618820.7215 | 1239999.762 | 2618806.0584 | 1240002.7355
2 | 2618831.1115 | 1239997.655 | 2618825.9702 | 1239998.6976
3 | 2618805.0293 | 1240002.9442 | 2618806.0584 | 1240002.7355
4 | 2618831.1115 | 1239997.655 | 2618836.3625 | 1239996.5902
5 | 2618804.9944 | 1240002.9512 | 2618805.0293 | 1240002.9442
6 | 2618862.1794 | 1239991.3549 | 2618836.3625 | 1239996.5902
7 | 2618787.5042 | 1240006.4981 | 2618804.9944 | 1240002.9512
8 | 2618862.1794 | 1239991.3549 | 2618874.8121 | 1239988.7931
9 | 2618787.5042 | 1240006.4981 | 2618793.6883 | 1240023.8467
10 | 2618787.5042 | 1240006.4981 | 2618781.4246 | 1239985.1561
11 | 2618872.0783 | 1240105.2672 | 2618867.9663 | 1240091.3462
12 | 2618874.0979 | 1240112.1045 | 2618872.0783 | 1240105.2672
13 | 2618865.502 | 1240083.0035 | 2618867.9663 | 1240091.3462
14 | 2618865.502 | 1240083.0035 | 2618844.7765 | 1240086.546
15 | 2618865.502 | 1240083.0035 | 2618875.7008 | 1240079.3645
16 | 2618819.9039 | 1240090.7974 | 2618844.7765 | 1240086.546
17 | 2618894.1019 | 1240072.7989 | 2618875.7008 | 1240079.3645
18 | 2618818.9042 | 1240088.9042 | 2618819.9039 | 1240090.7974
19 | 2618894.1019 | 1240072.7989 | 2618889.1571 | 1240054.0227
20 | 2618894.1019 | 1240072.7989 | 2618899.2658 | 1240092.1888
21 | 2618889.5562 | 1239985.8032 | 2618874.8121 | 1239988.7931
22 | 2618919.829 | 1239979.2 | 2618914.9704 | 1239980.4742 | 2618899.8972 | 1239983.7061 | 2618889.5562 | 1239985.8032
23 | 2618919.829 | 1239979.2 | 2618927.8026 | 1239975.7009 | 2618933.2118 | 1239984.3791
24 | 2618917.4703 | 1239960.0138 | 2618927.8026 | 1239975.7009 | 2618919.829 | 1239979.2
25 | 2618933.2118 | 1239984.3791 | 2618944.5511 | 1240002.577
26 | 2618933.2118 | 1239984.3791 | 2618946.7296 | 1239978.0403
27 | 2618917.4703 | 1239960.0138 | 2618909.8157 | 1239944.0129 | 2618908.6747 | 1239941.3743
28 | 2618946.7296 | 1239978.0403 | 2618946.7296 | 1239978.0403 | 2618939.0725 | 1239965.6948
29 | 2618946.4979 | 1240005.7013 | 2618944.5511 | 1240002.577
30 | 2618955.1092 | 1239934.9067 | 2618978.7488 | 1239955.2148
31 | 2618955.1092 | 1239934.9067 | 2618970.7931 | 1239926.4626
32 | 2618955.1092 | 1239934.9067 | 2618940.6553 | 1239917.9048
33 | 2618919.031 | 1239932.913 | 2618908.6747 | 1239941.3743
34 | 2618908.6747 | 1239941.3743 | 2618899.9221 | 1239921.1116 | 2618897.8676 | 1239914.3113
35 | 2618946.4979 | 1240005.7013 | 2618953.3241 | 1240015.9014
36 | 2618946.4979 | 1240005.7013 | 2618938.0676 | 1240007.7758
37 | 2618919.031 | 1239932.913 | 2618921.4637 | 1239930.2884
38 | 2618953.3241 | 1240015.9014 | 2618961.4819 | 1240028.0913
39 | 2618938.0676 | 1240007.7758 | 2618948.4235 | 1240023.1405 | 2618957.3748 | 1240036.8896
40 | 2618771.8285 | 1239951.4698 | 2618781.4246 | 1239985.1561
41 | 2618804.2658 | 1239901.9858 | 2618794.937 | 1239906.0144 | 2618775.5449 | 1239919.1725 | 2618765.1647 | 1239928.0898 | 2618771.8285 | 1239951.4698
42 | 2618804.2658 | 1239901.9858 | 2618807.0379 | 1239907.7537 | 2618809.2311 | 1239914.8317
43 | 2618799.8038 | 1240041.0029 | 2618793.6883 | 1240023.8467
44 | 2618799.8038 | 1240041.0029 | 2618830.1813 | 1240033.8302
45 | 2618799.8038 | 1240041.0029 | 2618811.369 | 1240070.0068
46 | 2618853.0554 | 1240028.4293 | 2618830.1813 | 1240033.8302
47 | 2618818.9042 | 1240088.9042 | 2618811.369 | 1240070.0068
48 | 2618908.2007 | 1240126.4572 | 2618906.7195 | 1240120.7055
49 | 2618902.5981 | 1240104.7013 | 2618906.7195 | 1240120.7055
50 | 2618908.2007 | 1240126.4572 | 2618913.578 | 1240147.338
51 | 2618902.5981 | 1240104.7013 | 2618899.2658 | 1240092.1888
52 | 2618902.5981 | 1240104.7013 | 2618930.5965 | 1240094.9683
53 | 2618923.9976 | 1240187.799 | 2618913.578 | 1240147.338
54 | 2618930.5965 | 1240094.9683 | 2618933.3895 | 1240093.9973
55 | 2618923.9976 | 1240187.799 | 2618969.0027 | 1240173.7 | 2618975.6936 | 1240170.8974
56 | 2618950.9359 | 1240087.8977 | 2618933.3895 | 1240093.9973
57 | 2618889.1571 | 1240054.0227 | 2618889.0807 | 1240053.7327
58 | 2618950.9359 | 1240087.8977 | 2618955.8843 | 1240086.1774
59 | 2618932.9983 | 1239908.898 | 2618951.3558 | 1239895.5516
60 | 2618932.9983 | 1239908.898 | 2618940.6553 | 1239917.9048
61 | 2618921.4637 | 1239930.2884 | 2618940.6553 | 1239917.9048
62 | 2618988.3571 | 1239917.0061 | 2618970.7931 | 1239926.4626
63 | 2618983.4287 | 1240076.9078 | 2618979.8035 | 1240077.8969 | 2618965.6024 | 1240082.7991 | 2618955.8843 | 1240086.1774
64 | 2618981.2971 | 1240057.7001 | 2618992.2002 | 1240074.5009 | 2618983.4287 | 1240076.9078
65 | 2618981.2971 | 1240057.7001 | 2618998.7875 | 1240043.8817
66 | 2618998.7928 | 1240043.8775 | 2618998.7875 | 1240043.8817
67 | 2618861.45 | 1240026.4472 | 2618853.0554 | 1240028.4293
68 | 2618880.698 | 1240021.9024 | 2618861.45 | 1240026.4472
69 | 2618880.698 | 1240021.9024 | 2618897.3613 | 1240017.7984

## bus_geodata
| x | y | coords
0 | 2618820.7215 | 1239999.762
1 | 2618825.9702 | 1239998.6976
2 | 2618806.0584 | 1240002.7355
3 | 2618831.1115 | 1239997.655
4 | 2618805.0293 | 1240002.9442
5 | 2618836.3625 | 1239996.5902
6 | 2618804.9944 | 1240002.9512
7 | 2618862.1794 | 1239991.3549
8 | 2618787.5042 | 1240006.4981
9 | 2618872.0783 | 1240105.2672
10 | 2618867.9663 | 1240091.3462
11 | 2618874.0979 | 1240112.1045
12 | 2618865.502 | 1240083.0035
13 | 2618844.7765 | 1240086.546
14 | 2618875.7008 | 1240079.3645
15 | 2618819.9039 | 1240090.7974
16 | 2618894.1019 | 1240072.7989
17 | 2618874.8121 | 1239988.7931
18 | 2618889.5562 | 1239985.8032
19 | 2618919.829 | 1239979.2
20 | 2618933.2118 | 1239984.3791
21 | 2618917.4703 | 1239960.0138
22 | 2618946.7296 | 1239978.0403
23 | 2618939.0725 | 1239965.6948
24 | 2618944.5511 | 1240002.577
25 | 2618978.7488 | 1239955.2148
26 | 2618955.1092 | 1239934.9067
27 | 2618908.6747 | 1239941.3743
28 | 2618946.4979 | 1240005.7013
29 | 2618919.031 | 1239932.913
30 | 2618897.8676 | 1239914.3113
31 | 2618953.3241 | 1240015.9014
32 | 2618938.0676 | 1240007.7758
33 | 2618957.3748 | 1240036.8896
34 | 2618781.4246 | 1239985.1561
35 | 2618771.8285 | 1239951.4698
36 | 2618804.2658 | 1239901.9858
37 | 2618793.6883 | 1240023.8467
38 | 2618809.2311 | 1239914.8317
39 | 2618799.8038 | 1240041.0028
40 | 2618830.1813 | 1240033.8302
41 | 2618811.369 | 1240070.0068
42 | 2618906.7195 | 1240120.7055
43 | 2618908.2007 | 1240126.4572
44 | 2618902.5981 | 1240104.7013
45 | 2618913.578 | 1240147.338
46 | 2618899.2658 | 1240092.1888
47 | 2618930.5965 | 1240094.9683
48 | 2618923.9976 | 1240187.799
49 | 2618933.3895 | 1240093.9973
50 | 2618975.6936 | 1240170.8974
51 | 2618889.1571 | 1240054.0227
52 | 2618950.9359 | 1240087.8977
53 | 2618951.3558 | 1239895.5516
54 | 2618932.9983 | 1239908.898
55 | 2618940.6553 | 1239917.9048
56 | 2618921.4637 | 1239930.2884
57 | 2618970.7931 | 1239926.4626
58 | 2618983.4287 | 1240076.9078
59 | 2618955.8843 | 1240086.1774
60 | 2618981.2971 | 1240057.7001
61 | 2618998.7875 | 1240043.8817
62 | 2618961.4819 | 1240028.0913
63 | 2618998.7928 | 1240043.8775
64 | 2618988.3571 | 1239917.0061
65 | 2618889.0807 | 1240053.7327
66 | 2618853.0554 | 1240028.4293
67 | 2618818.9042 | 1240088.9042
68 | 2618861.45 | 1240026.4472
69 | 2618897.3613 | 1240017.7984
70 | 2618880.698 | 1240021.9024
71 | 2618919.829 | 1239979.2

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9943 | -0.039483 | 0.0045647 | 0.001144
1 | 0.9948 | -0.036003 | 0.0045032 | 0.0011286
2 | 0.99295 | -0.048877 | 0.0045181 | 0.0011323
3 | 0.99531 | -0.032479 | 0.0045097 | 0.0011302
4 | 0.99286 | -0.049514 | 0.0045764 | 0.001147
5 | 0.99584 | -0.028762 | 0.0045721 | 0.0011459
6 | 0.99286 | -0.049534 | 0.0045 | 0.0011278
7 | 0.99856 | -0.0099398 | 0.011921 | 0.0029876
8 | 0.99142 | -0.059543 | 0 | 0
9 | 0.97865 | -0.14956 | 0.0015813 | 0.0003963
10 | 0.97876 | -0.1488 | 0.0026772 | 0.00067096
11 | 0.97862 | -0.14981 | 0.0034365 | 0.00086127
12 | 0.97885 | -0.1481 | 0 | 0
13 | 0.98061 | -0.13564 | 0.0019617 | 0.00049165
14 | 0.97807 | -0.15367 | 0.0069192 | 0.0017341
15 | 0.98278 | -0.12023 | 0 | 0
16 | 0.97686 | -0.16232 | 0 | 0
17 | 1 | 0 | -0.21053 | -0.052898
18 | 0.99886 | -0.0079554 | 0.0052672 | 0.0013201
19 | 0.99674 | -0.022759 | 0 | 0
20 | 0.99633 | -0.025659 | 0 | 0
21 | 0.99547 | -0.031723 | 0 | 0
22 | 0.99623 | -0.026367 | 0.0014285 | 0.00035801
23 | 0.99616 | -0.026847 | 0.0032876 | 0.00082395
24 | 0.99601 | -0.027926 | 0.0011238 | 0.00028164
25 | 0.9933 | -0.046963 | 0.002588 | 0.00064862
26 | 0.99342 | -0.046147 | 0 | 0
27 | 0.99451 | -0.038455 | 0 | 0
28 | 0.99596 | -0.028274 | 0 | 0
29 | 0.99421 | -0.040577 | 0 | 0
30 | 0.99381 | -0.043364 | 0.016661 | 0.0041756
31 | 0.99583 | -0.029223 | 0.0022348 | 0.00056009
32 | 0.99594 | -0.028422 | 0 | 0
33 | 0.99585 | -0.02902 | 0.0016983 | 0.00042564
34 | 0.99028 | -0.067554 | 0.0045861 | 0.0011494
35 | 0.98872 | -0.078595 | 0 | 0
36 | 0.98551 | -0.10127 | 0 | 0
37 | 0.98941 | -0.073619 | 0.0029794 | 0.0007467
38 | 0.9849 | -0.10566 | 0.030914 | 0.0077478
39 | 0.98749 | -0.087039 | 0 | 0
40 | 0.98699 | -0.090631 | 0.003046 | 0.00076341
41 | 0.98472 | -0.10655 | 0.0019128 | 0.00047939
42 | 0.97489 | -0.17642 | 0.0024711 | 0.00061932
43 | 0.97482 | -0.17695 | 0.0024737 | 0.00061997
44 | 0.97516 | -0.17454 | 0 | 0
45 | 0.97463 | -0.17829 | 0.003221 | 0.00080727
46 | 0.97581 | -0.16987 | 0.0015536 | 0.00038938
47 | 0.97414 | -0.18185 | 0.0015511 | 0.00038874
48 | 0.97447 | -0.17949 | 0 | 0
49 | 0.97404 | -0.18253 | 0.0022337 | 0.00055982
50 | 0.97425 | -0.18104 | 0.002709 | 0.00067893
51 | 0.97668 | -0.16363 | 0.003221 | 0.00080726
52 | 0.97351 | -0.18639 | 0.0028738 | 0.00072025
53 | 0.99341 | -0.046175 | 0.005186 | 0.0012997
54 | 0.99358 | -0.044984 | 0 | 0
55 | 0.99367 | -0.044364 | 0.00085666 | 0.0002147
56 | 0.99413 | -0.041146 | 0.0017962 | 0.00045017
57 | 0.99328 | -0.047103 | 0.0026515 | 0.00066454
58 | 0.97279 | -0.19152 | 0 | 0
59 | 0.97338 | -0.18731 | 0.0030944 | 0.00077553
60 | 0.9722 | -0.19574 | 0 | 0
61 | 0.97176 | -0.19897 | 0.0060094 | 0.0015061
62 | 0.99571 | -0.030028 | 0.0054504 | 0.001366
63 | 0.97176 | -0.19897 | 0.0077162 | 0.0019339
64 | 0.99321 | -0.047638 | 0.0026524 | 0.00066476
65 | 0.97668 | -0.16364 | 0.0032281 | 0.00080903
66 | 0.98671 | -0.092604 | 0.0021731 | 0.00054464
67 | 0.98296 | -0.11892 | 0 | 0
68 | 0.98663 | -0.093136 | 0.0028441 | 0.00071279
69 | 0.98646 | -0.094337 | 0.0031681 | 0.00079399
70 | 0.98654 | -0.093779 | 0 | 0
71 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.13027 | -0.032848 | 0.13034 | 0.032872 | 6.3558e-05 | 2.4306e-05 | 0.19503 | 0.19503 | 0.19503 | 0.9943 | -0.039483 | 0.9948 | -0.036003 | 36.1166
1 | 0.12571 | 0.031704 | -0.12554 | -0.031641 | 0.00016533 | 6.3203e-05 | 0.1882 | 0.1882 | 0.1882 | 0.9943 | -0.039483 | 0.99295 | -0.048877 | 34.8516
2 | -0.13484 | -0.034001 | 0.13491 | 0.034026 | 6.6629e-05 | 2.549e-05 | 0.20177 | 0.20177 | 0.20177 | 0.9948 | -0.036003 | 0.99531 | -0.032479 | 37.364
3 | 0.12103 | 0.030508 | -0.12101 | -0.030504 | 1.0783e-05 | 4.1203e-06 | 0.18143 | 0.18143 | 0.18143 | 0.99295 | -0.048877 | 0.99286 | -0.049514 | 33.5978
4 | -0.13942 | -0.035156 | 0.13949 | 0.035184 | 7.2677e-05 | 2.7813e-05 | 0.20851 | 0.20851 | 0.20851 | 0.99531 | -0.032479 | 0.99584 | -0.028762 | 38.6125
5 | 0.11644 | 0.029357 | -0.11644 | -0.029357 | 3.3851e-07 | 1.2927e-07 | 0.17457 | 0.17457 | 0.17457 | 0.99286 | -0.049514 | 0.99286 | -0.049534 | 32.3276
6 | -0.14406 | -0.03633 | 0.14444 | 0.036476 | 0.00038111 | 0.0001459 | 0.21534 | 0.21534 | 0.21534 | 0.99584 | -0.028762 | 0.99856 | -0.0099398 | 39.8777
7 | 0.11194 | 0.028229 | -0.11178 | -0.028169 | 0.00015683 | 5.9857e-05 | 0.16783 | 0.16783 | 0.16783 | 0.99286 | -0.049534 | 0.99142 | -0.059543 | 31.0788
8 | -0.15636 | -0.039464 | 0.15658 | 0.039547 | 0.00021852 | 8.371e-05 | 0.2331 | 0.2331 | 0.2331 | 0.99856 | -0.0099398 | 1 | 0 | 43.1672
9 | 0.076077 | 0.019196 | -0.075927 | -0.019138 | 0.00014996 | 5.744e-05 | 0.11423 | 0.11423 | 0.11423 | 0.99142 | -0.059543 | 0.98941 | -0.073619 | 42.3071
10 | 0.035704 | 0.0089736 | -0.035664 | -0.0089586 | 3.9777e-05 | 1.5013e-05 | 0.053596 | 0.053596 | 0.053596 | 0.99142 | -0.059543 | 0.99028 | -0.067554 | 19.8505
11 | -0.0050179 | -0.0012575 | 0.0050184 | 0.0012575 | 5.2724e-07 | 2.0376e-08 | 0.0076295 | 0.0076295 | 0.0076295 | 0.97865 | -0.14956 | 0.97876 | -0.1488 | 2.8258
12 | 0.0034366 | 0.00086123 | -0.0034365 | -0.00086127 | 1.2147e-07 | -4.286e-08 | 0.0052253 | 0.0052253 | 0.0052253 | 0.97865 | -0.14956 | 0.97862 | -0.14981 | 1.9353
13 | -0.0076956 | -0.0019285 | 0.0076963 | 0.0019287 | 7.4302e-07 | 1.7644e-07 | 0.0117 | 0.0117 | 0.0117 | 0.97876 | -0.1488 | 0.97885 | -0.1481 | 4.3332
14 | -0.057188 | -0.014357 | 0.057288 | 0.014395 | 9.918e-05 | 3.7882e-05 | 0.086944 | 0.086944 | 0.086944 | 0.97885 | -0.1481 | 0.98061 | -0.13564 | 32.2016
15 | 0.049492 | 0.012428 | -0.049454 | -0.012414 | 3.8257e-05 | 1.4578e-05 | 0.075245 | 0.075245 | 0.075245 | 0.97885 | -0.1481 | 0.97807 | -0.15367 | 27.8685
16 | -0.059249 | -0.014887 | 0.059377 | 0.014935 | 0.00012732 | 4.8648e-05 | 0.089921 | 0.089921 | 0.089921 | 0.98061 | -0.13564 | 0.98278 | -0.12023 | 33.3041
17 | 0.042535 | 0.01068 | -0.042484 | -0.01066 | 5.1063e-05 | 1.9395e-05 | 0.064718 | 0.064718 | 0.064718 | 0.97807 | -0.15367 | 0.97686 | -0.16232 | 23.9698
18 | -0.059377 | -0.014935 | 0.059387 | 0.014939 | 1.0797e-05 | 4.1257e-06 | 0.089921 | 0.089921 | 0.089921 | 0.98278 | -0.12023 | 0.98296 | -0.11892 | 33.3041
19 | 0.0064502 | 0.0016165 | -0.0064491 | -0.0016163 | 1.1696e-06 | 2.0683e-07 | 0.0098253 | 0.0098254 | 0.0098254 | 0.97686 | -0.16232 | 0.97668 | -0.16363 | 3.6391
20 | 0.036033 | 0.0090439 | -0.035996 | -0.0090297 | 3.7729e-05 | 1.426e-05 | 0.054893 | 0.054893 | 0.054893 | 0.97686 | -0.16232 | 0.97581 | -0.16987 | 20.3308
21 | 0.05315 | 0.013351 | -0.053091 | -0.013329 | 5.8735e-05 | 2.2393e-05 | 0.079099 | 0.079099 | 0.079099 | 1 | 0 | 0.99886 | -0.0079554 | 29.2959
22 | 0.047824 | 0.012008 | -0.047726 | -0.011971 | 9.8177e-05 | 3.7355e-05 | 0.071252 | 0.071252 | 0.071252 | 0.99886 | -0.0079554 | 0.99674 | -0.022759 | 26.3898
23 | 0.015236 | 0.0038182 | -0.01523 | -0.0038161 | 6.1121e-06 | 2.1041e-06 | 0.022745 | 0.022745 | 0.022745 | 0.99674 | -0.022759 | 0.99633 | -0.025659 | 8.4241
24 | 0.03249 | 0.0081529 | -0.03245 | -0.0081377 | 4.0365e-05 | 1.5167e-05 | 0.048507 | 0.048508 | 0.048508 | 0.99674 | -0.022759 | 0.99547 | -0.031723 | 17.9658
25 | 0.010513 | 0.0026343 | -0.01051 | -0.0026333 | 3.2982e-06 | 9.8941e-07 | 0.015701 | 0.015701 | 0.015701 | 0.99633 | -0.025659 | 0.99601 | -0.027926 | 5.8151
26 | 0.0047168 | 0.0011818 | -0.0047163 | -0.0011819 | 4.6231e-07 | -1.6608e-08 | 0.0070443 | 0.0070444 | 0.0070444 | 0.99633 | -0.025659 | 0.99623 | -0.026367 | 2.609
27 | 0.03245 | 0.0081377 | -0.03242 | -0.0081263 | 3.0252e-05 | 1.1368e-05 | 0.048508 | 0.048508 | 0.048508 | 0.99547 | -0.031723 | 0.99451 | -0.038455 | 17.9658
28 | 0.0032878 | 0.00082385 | -0.0032876 | -0.00082395 | 2.1862e-07 | -1.0506e-07 | 0.0049108 | 0.0049109 | 0.0049109 | 0.99623 | -0.026367 | 0.99616 | -0.026847 | 1.8188
29 | 0.0093858 | 0.0023516 | -0.0093853 | -0.0023515 | 4.5163e-07 | 1.258e-07 | 0.014022 | 0.014022 | 0.014022 | 0.99601 | -0.027926 | 0.99596 | -0.028274 | 5.1933
30 | -0.002588 | -0.00064862 | 0.0025883 | 0.00064833 | 2.923e-07 | -2.9103e-07 | 0.003877 | 0.0038768 | 0.003877 | 0.9933 | -0.046963 | 0.99342 | -0.046147 | 1.4359
31 | 0.0053049 | 0.0013292 | -0.0053042 | -0.0013291 | 7.0178e-07 | 3.9325e-08 | 0.0079459 | 0.007946 | 0.007946 | 0.99342 | -0.046147 | 0.99328 | -0.047103 | 2.943
32 | -0.0078932 | -0.0019775 | 0.0078951 | 0.0019779 | 1.9464e-06 | 4.5961e-07 | 0.011823 | 0.011823 | 0.011823 | 0.99342 | -0.046147 | 0.99367 | -0.044364 | 4.3788
33 | 0.015747 | 0.0039467 | -0.015743 | -0.0039451 | 4.6247e-06 | 1.6055e-06 | 0.023562 | 0.023562 | 0.023562 | 0.99451 | -0.038455 | 0.99421 | -0.040577 | 8.7266
34 | 0.016672 | 0.0041796 | -0.016661 | -0.0041756 | 1.133e-05 | 3.9793e-06 | 0.024946 | 0.024946 | 0.024946 | 0.99451 | -0.038455 | 0.99381 | -0.043364 | 9.2393
35 | 0.0076868 | 0.0019264 | -0.0076858 | -0.0019261 | 1.0101e-06 | 2.2881e-07 | 0.011484 | 0.011484 | 0.011484 | 0.99596 | -0.028274 | 0.99583 | -0.029223 | 4.2535
36 | 0.0016985 | 0.00042515 | -0.0016985 | -0.00042524 | 3.4787e-08 | -9.9289e-08 | 0.0025375 | 0.0025375 | 0.0025375 | 0.99596 | -0.028274 | 0.99594 | -0.028422 | 0.93982
37 | 0.015743 | 0.0039451 | -0.015741 | -0.0039447 | 1.2397e-06 | 4.3041e-07 | 0.023562 | 0.023562 | 0.023562 | 0.99421 | -0.040577 | 0.99413 | -0.041146 | 8.7266
38 | 0.005451 | 0.001366 | -0.0054504 | -0.001366 | 6.0722e-07 | 4.2741e-08 | 0.0081451 | 0.0081452 | 0.0081452 | 0.99583 | -0.029223 | 0.99571 | -0.030028 | 3.0167
39 | 0.0016985 | 0.00042524 | -0.0016983 | -0.00042564 | 1.4038e-07 | -4.0058e-07 | 0.0025375 | 0.0025377 | 0.0025377 | 0.99594 | -0.028422 | 0.99585 | -0.02902 | 0.93988
40 | 0.031078 | 0.0078093 | -0.03103 | -0.0077914 | 4.7678e-05 | 1.7888e-05 | 0.046705 | 0.046705 | 0.046705 | 0.99028 | -0.067554 | 0.98872 | -0.078595 | 17.2983
41 | 0.03103 | 0.0077914 | -0.030933 | -0.0077548 | 9.7451e-05 | 3.6566e-05 | 0.046705 | 0.046706 | 0.046706 | 0.98872 | -0.078595 | 0.98551 | -0.10127 | 17.2984
42 | 0.030933 | 0.0077548 | -0.030914 | -0.0077478 | 1.8793e-05 | 7.0522e-06 | 0.046706 | 0.046706 | 0.046706 | 0.98551 | -0.10127 | 0.9849 | -0.10566 | 17.2985
43 | 0.072948 | 0.018392 | -0.072811 | -0.018339 | 0.00013689 | 5.2417e-05 | 0.10975 | 0.10975 | 0.10975 | 0.98941 | -0.073619 | 0.98749 | -0.087039 | 40.6476
44 | 0.01124 | 0.0028169 | -0.011235 | -0.0028152 | 5.5873e-06 | 1.7499e-06 | 0.016937 | 0.016937 | 0.016937 | 0.98749 | -0.087039 | 0.98699 | -0.090631 | 6.2731
45 | 0.061571 | 0.015522 | -0.061403 | -0.015458 | 0.00016784 | 6.4154e-05 | 0.092811 | 0.092811 | 0.092811 | 0.98749 | -0.087039 | 0.98472 | -0.10655 | 34.3746
46 | 0.0081885 | 0.0020518 | -0.0081862 | -0.0020512 | 2.2351e-06 | 5.5938e-07 | 0.012345 | 0.012345 | 0.012345 | 0.98699 | -0.090631 | 0.98671 | -0.092604 | 4.5723
47 | 0.05949 | 0.014979 | -0.059387 | -0.014939 | 0.00010265 | 3.9222e-05 | 0.089921 | 0.089921 | 0.089921 | 0.98472 | -0.10655 | 0.98296 | -0.11892 | 33.3041
48 | 0.0084064 | 0.0021057 | -0.0084058 | -0.0021055 | 6.1012e-07 | 1.6061e-07 | 0.012831 | 0.012831 | 0.012831 | 0.97489 | -0.17642 | 0.97482 | -0.17695 | 4.7521
49 | -0.010878 | -0.002725 | 0.01088 | 0.0027259 | 2.8425e-06 | 8.8715e-07 | 0.016602 | 0.016602 | 0.016602 | 0.97489 | -0.17642 | 0.97516 | -0.17454 | 6.149
50 | 0.0059321 | 0.0014856 | -0.005931 | -0.0014854 | 1.1031e-06 | 1.5552e-07 | 0.0090547 | 0.0090548 | 0.0090548 | 0.97482 | -0.17695 | 0.97463 | -0.17829 | 3.3536
51 | -0.03442 | -0.0086319 | 0.034442 | 0.0086403 | 2.2291e-05 | 8.4117e-06 | 0.052524 | 0.052524 | 0.052524 | 0.97516 | -0.17454 | 0.97581 | -0.16987 | 19.4533
52 | 0.023539 | 0.005906 | -0.023516 | -0.0058972 | 2.3867e-05 | 8.8104e-06 | 0.035922 | 0.035922 | 0.035922 | 0.97516 | -0.17454 | 0.97414 | -0.18185 | 13.3044
53 | 0.00271 | 0.00067813 | -0.0027095 | -0.00067848 | 4.4624e-07 | -3.4896e-07 | 0.0041371 | 0.0041373 | 0.0041373 | 0.97463 | -0.17829 | 0.97447 | -0.17949 | 1.5323
54 | 0.021964 | 0.0055084 | -0.021962 | -0.0055077 | 2.0772e-06 | 7.6213e-07 | 0.033553 | 0.033553 | 0.033553 | 0.97414 | -0.18185 | 0.97404 | -0.18253 | 12.4269
55 | 0.0027095 | 0.00067848 | -0.002709 | -0.00067893 | 5.8125e-07 | -4.542e-07 | 0.0041373 | 0.0041375 | 0.0041375 | 0.97447 | -0.17949 | 0.97425 | -0.18104 | 1.5324
56 | 0.019729 | 0.0049479 | -0.019718 | -0.004944 | 1.053e-05 | 3.819e-06 | 0.03014 | 0.03014 | 0.03014 | 0.97404 | -0.18253 | 0.97351 | -0.18639 | 11.1631
57 | 0.0032281 | 0.00080902 | -0.0032281 | -0.00080903 | 4.5253e-09 | -2.0116e-09 | 0.0049181 | 0.0049181 | 0.0049181 | 0.97668 | -0.16363 | 0.97668 | -0.16364 | 1.8215
58 | 0.016844 | 0.0042238 | -0.016842 | -0.004223 | 2.1672e-06 | 7.684e-07 | 0.025748 | 0.025748 | 0.025748 | 0.97351 | -0.18639 | 0.97338 | -0.18731 | 9.5361
59 | -0.005186 | -0.0012997 | 0.0051868 | 0.0012998 | 8.5457e-07 | 3.478e-08 | 0.007768 | 0.0077679 | 0.007768 | 0.99341 | -0.046175 | 0.99358 | -0.044984 | 2.877
60 | -0.0051868 | -0.0012998 | 0.0051873 | 0.0012998 | 4.4511e-07 | 1.8073e-08 | 0.0077679 | 0.0077678 | 0.0077679 | 0.99358 | -0.044984 | 0.99367 | -0.044364 | 2.877
61 | -0.013939 | -0.0034924 | 0.013945 | 0.0034945 | 6.2096e-06 | 2.0923e-06 | 0.020873 | 0.020873 | 0.020873 | 0.99367 | -0.044364 | 0.99413 | -0.041146 | 7.7308
62 | 0.0026526 | 0.00066458 | -0.0026524 | -0.00066476 | 1.9656e-07 | -1.8258e-07 | 0.0039738 | 0.0039738 | 0.0039738 | 0.99328 | -0.047103 | 0.99321 | -0.047638 | 1.4718
63 | -0.01374 | -0.0034448 | 0.013748 | 0.0034475 | 8.0126e-06 | 2.7206e-06 | 0.021017 | 0.021017 | 0.021017 | 0.97279 | -0.19152 | 0.97338 | -0.18731 | 7.7842
64 | 0.01374 | 0.0034448 | -0.013732 | -0.003442 | 8.0278e-06 | 2.7262e-06 | 0.021017 | 0.021017 | 0.021017 | 0.97279 | -0.19152 | 0.9722 | -0.19574 | 7.7842
65 | 0.013732 | 0.003442 | -0.013726 | -0.0034399 | 6.1441e-06 | 2.0869e-06 | 0.021017 | 0.021017 | 0.021017 | 0.9722 | -0.19574 | 0.97176 | -0.19897 | 7.7842
66 | 0.0077162 | 0.0019339 | -0.0077162 | -0.0019339 | 5.8677e-10 | 1.5507e-10 | 0.011815 | 0.011815 | 0.011815 | 0.97176 | -0.19897 | 0.97176 | -0.19897 | 4.3761
67 | 0.0060131 | 0.0015066 | -0.0060127 | -0.0015065 | 4.4258e-07 | 6.0059e-08 | 0.009068 | 0.009068 | 0.009068 | 0.98671 | -0.092604 | 0.98663 | -0.093136 | 3.3585
68 | 0.0031686 | 0.00079373 | -0.0031683 | -0.00079387 | 2.8182e-07 | -1.4416e-07 | 0.0047787 | 0.0047788 | 0.0047788 | 0.98663 | -0.093136 | 0.98654 | -0.093779 | 1.7699
69 | -0.0031681 | -0.00079399 | 0.0031683 | 0.00079387 | 2.4455e-07 | -1.2505e-07 | 0.0047788 | 0.0047788 | 0.0047788 | 0.98646 | -0.094337 | 0.98654 | -0.093779 | 1.7699

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22245 | 0.055886

## res_load
| p_mw | q_mvar
0 | 0.0045647 | 0.001144
1 | 0.0045032 | 0.0011286
2 | 0.0045181 | 0.0011323
3 | 0.0045097 | 0.0011302
4 | 0.0045764 | 0.001147
5 | 0.0045721 | 0.0011459
6 | 0.0045 | 0.0011278
7 | 0.011921 | 0.0029876
8 | 0.0015813 | 0.0003963
9 | 0.0026772 | 0.00067096
10 | 0.0034365 | 0.00086127
11 | 0.0019617 | 0.00049165
12 | 0.0069192 | 0.0017341
13 | 0.011922 | 0.0029879
14 | 0.0052672 | 0.0013201
15 | 0.0014285 | 0.00035801
16 | 0.0032876 | 0.00082395
17 | 0.0011238 | 0.00028164
18 | 0.002588 | 0.00064862
19 | 0.016661 | 0.0041756
20 | 0.0022348 | 0.00056009
21 | 0.0016983 | 0.00042564
22 | 0.0045861 | 0.0011494
23 | 0.0029794 | 0.0007467
24 | 0.030914 | 0.0077478
25 | 0.003046 | 0.00076341
26 | 0.0019128 | 0.00047939
27 | 0.0024711 | 0.00061932
28 | 0.0024737 | 0.00061997
29 | 0.003221 | 0.00080727
30 | 0.0015536 | 0.00038938
31 | 0.0015511 | 0.00038874
32 | 0.0022337 | 0.00055982
33 | 0.002709 | 0.00067893
34 | 0.003221 | 0.00080726
35 | 0.0028738 | 0.00072025
36 | 0.005186 | 0.0012997
37 | 0.00085666 | 0.0002147
38 | 0.0017962 | 0.00045017
39 | 0.0026515 | 0.00066454
40 | 0.0030944 | 0.00077553
41 | 0.0060094 | 0.0015061
42 | 0.0054504 | 0.001366
43 | 0.0077162 | 0.0019339
44 | 0.0026524 | 0.00066476
45 | 0.0032281 | 0.00080903
46 | 0.0021731 | 0.00054464
47 | 0.0028441 | 0.00071279
48 | 0.0031681 | 0.00079399

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1