## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2424-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2424-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2424-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2424-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2424-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2424-1_0_4_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_2424-1_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_2424-1_0_4_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_2424-1_0_4_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_2424-1_0_4_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_2424-1_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_2424-1_0_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_2424-1_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_2424-1_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2424-1_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2424-1_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2424-1_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2424-1_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2424-1_0_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_2424-1_0_4_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_2424-1_0_4_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_2424-1_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_2424-1_0_4_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_2424-1_0_4_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_2424-1_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_2424-1_0_4_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_2424-1_0_4_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_2424-1_0_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_2424-1_0_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_2424-1_0_4_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_2424-1_0_4_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_2424-1_0_4_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_2424-1_0_4_node_11 | 0.4 | n |  | TRUE
33 | bus_LV_2424-1_0_4_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_2424-1_0_4_node_12 | 0.4 | n |  | TRUE
35 | bus_LV_2424-1_0_4_node_14 | 0.4 | n |  | TRUE
36 | bus_LV_2424-1_0_4_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_2424-1_0_4_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_2424-1_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2424-1_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_2424-1_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_2424-1_0_4_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_2424-1_0_4_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_2424-1_0_4_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_2424-1_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_2424-1_0_4_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_2424-1_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_2424-1_0_4_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_2424-1_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_2424-1_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_2424-1_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_2424-1_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_2424-1_0_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_2424-1_0_4_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_2424-1_0_4_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_2424-1_0_4_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_2424-1_0_4_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_2424-1_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_2424-1_0_4_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_2424-1_0_4_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_2424-1_0_4_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_2424-1_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_2424-1_0_4_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_2424-1_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_2424-1_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_2424-1_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_2424-1_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_2424-1_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_2424-1_0_4_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_2424-1_0_4_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_2424-1_0_4_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_2424-1_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_2424-1_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_MV_292_0_node_190 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2424-1_0_4_load_0 | 0 | 0.0019106 | 0.00047884 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2424-1_0_4_load_1 | 1 | 0.0013097 | 0.00032825 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2424-1_0_4_load_2 | 2 | 0.0020249 | 0.0005075 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2424-1_0_4_load_17 | 6 | 0.0018754 | 0.00047001 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2424-1_0_4_load_42 | 7 | 0.0018463 | 0.00046274 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2424-1_0_4_load_46 | 8 | 0.0012555 | 0.00031466 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2424-1_0_4_load_38 | 9 | 0.0018576 | 0.00046557 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2424-1_0_4_load_18 | 10 | 0.0016182 | 0.00040555 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2424-1_0_4_load_47 | 11 | 0.00069546 | 0.0001743 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2424-1_0_4_load_5 | 12 | 0.0018206 | 0.00045627 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2424-1_0_4_load_6 | 13 | 0.0016357 | 0.00040993 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2424-1_0_4_load_9 | 16 | 0.0015087 | 0.00037812 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2424-1_0_4_load_62 | 19 | 0.0027962 | 0.00070079 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2424-1_0_4_load_50 | 20 | 0.0014909 | 0.00037366 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2424-1_0_4_load_70 | 22 | 0.00065023 | 0.00016296 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2424-1_0_4_load_44 | 23 | 0.0012363 | 0.00030986 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2424-1_0_4_load_28 | 24 | 0.0030285 | 0.000759 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2424-1_0_4_load_60 | 25 | 0.0013495 | 0.00033822 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2424-1_0_4_load_34 | 26 | 0.0039861 | 0.00099901 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2424-1_0_4_load_49 | 27 | 0.0026932 | 0.00067498 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2424-1_0_4_load_39 | 28 | 0.0010408 | 0.00026084 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2424-1_0_4_load_35 | 29 | 0.0027422 | 0.00068727 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2424-1_0_4_load_71 | 30 | 0.0057729 | 0.0014468 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2424-1_0_4_load_69 | 31 | 0.001954 | 0.00048972 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2424-1_0_4_load_11 | 32 | 0.094309 | 0.023636 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2424-1_0_4_load_12 | 34 | 0.0049152 | 0.0012319 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2424-1_0_4_load_16 | 37 | 0.0097579 | 0.0024456 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2424-1_0_4_load_24 | 39 | 0.00229 | 0.00057393 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2424-1_0_4_load_40 | 40 | 0.0093207 | 0.002336 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2424-1_0_4_load_19 | 43 | 0.0013549 | 0.00033956 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2424-1_0_4_load_21 | 45 | 0.0010382 | 0.00026019 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2424-1_0_4_load_36 | 46 | 0.00197 | 0.00049373 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2424-1_0_4_load_25 | 47 | 0.0016922 | 0.00042409 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2424-1_0_4_load_26 | 48 | 0.0023837 | 0.00059742 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2424-1_0_4_load_29 | 50 | 0.00098375 | 0.00024655 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2424-1_0_4_load_30 | 51 | 0.0013845 | 0.00034698 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2424-1_0_4_load_63 | 52 | 0.00089817 | 0.0002251 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2424-1_0_4_load_76 | 53 | 0.0010108 | 0.00025333 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2424-1_0_4_load_31 | 55 | 0.00066424 | 0.00016647 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2424-1_0_4_load_32 | 56 | 0.0048375 | 0.0012124 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2424-1_0_4_load_33 | 57 | 0.0010548 | 0.00026437 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2424-1_0_4_load_61 | 58 | 0.0047342 | 0.0011865 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2424-1_0_4_load_68 | 59 | 0.0017205 | 0.00043121 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2424-1_0_4_load_67 | 60 | 0.00065572 | 0.00016434 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2424-1_0_4_load_48 | 61 | 0.0010664 | 0.00026727 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2424-1_0_4_load_65 | 62 | 0.0013741 | 0.00034438 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2424-1_0_4_load_51 | 63 | 0.014209 | 0.003561 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2424-1_0_4_load_55 | 64 | 0.0023607 | 0.00059166 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2424-1_0_4_load_57 | 65 | 0.0016203 | 0.00040607 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2424-1_0_4_load_59 | 67 | 0.0022449 | 0.00056264 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2424-1_0_4_load_75 | 68 | 0.00068539 | 0.00017177 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2424-1_0_4_load_72 | 69 | 0.0048193 | 0.0012078 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2424-1_0_4_load_73 | 70 | 0.0011841 | 0.00029676 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2424-1_0_4_load_66 | 71 | 0.0009435 | 0.00023646 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2424-1_0_4_load_74 | 72 | 0.0043651 | 0.001094 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2424-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2424-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2424-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2424-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.034385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2424-1_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2424-1_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.016551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2424-1_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.012829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2424-1_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.01112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2424-1_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.016044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2424-1_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0069554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2424-1_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.016403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2424-1_0_4_line_11 | NAYY 4x150 SE | 9 | 46 | 0.015759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2424-1_0_4_line_12 | NAYY 4x150 SE | 10 | 43 | 0.016087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2424-1_0_4_line_13 | NAYY 4x150 SE | 11 | 61 | 0.010602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2424-1_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0075856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2424-1_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0021779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2424-1_0_4_line_16 | NAYY 4x150 SE | 14 | 18 | 0.012971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2424-1_0_4_line_17 | NAYY 4x150 SE | 14 | 19 | 0.010434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2424-1_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.027658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2424-1_0_4_line_19 | NAYY 4x150 SE | 15 | 17 | 0.007624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2424-1_0_4_line_20 | NAYY 4x150 SE | 16 | 20 | 0.018294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2424-1_0_4_line_21 | NAYY 4x150 SE | 17 | 21 | 0.024718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2424-1_0_4_line_22 | NAYY 4x150 SE | 17 | 22 | 0.034094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2424-1_0_4_line_23 | NAYY 4x150 SE | 18 | 23 | 0.02139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2424-1_0_4_line_24 | NAYY 4x150 SE | 18 | 24 | 0.012873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2424-1_0_4_line_25 | NAYY 4x150 SE | 19 | 25 | 0.0014278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2424-1_0_4_line_26 | NAYY 4x150 SE | 20 | 26 | 0.018576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2424-1_0_4_line_27 | NAYY 4x150 SE | 20 | 27 | 0.027939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2424-1_0_4_line_28 | NAYY 4x150 SE | 21 | 28 | 0.016262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2424-1_0_4_line_29 | NAYY 4x150 SE | 21 | 29 | 0.003082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2424-1_0_4_line_30 | NAYY 4x150 SE | 22 | 30 | 0.011984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2424-1_0_4_line_31 | NAYY 4x150 SE | 22 | 31 | 0.024532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2424-1_0_4_line_32 | NAYY 4x150 SE | 23 | 59 | 0.015985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2424-1_0_4_line_33 | NAYY 4x150 SE | 24 | 49 | 0.013121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2424-1_0_4_line_34 | NAYY 4x150 SE | 25 | 58 | 0.01277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2424-1_0_4_line_35 | NAYY 4x150 SE | 26 | 56 | 0.0051213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2424-1_0_4_line_36 | NAYY 4x150 SE | 28 | 58 | 0.0092072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2424-1_0_4_line_37 | NAYY 4x150 SE | 29 | 46 | 0.019414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2424-1_0_4_line_38 | NAYY 4x150 SE | 30 | 67 | 0.010495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2424-1_0_4_line_39 | NAYY 4x150 SE | 31 | 38 | 0.013677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2424-1_0_4_line_40 | NAYY 4x150 SE | 32 | 33 | 0.040394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2424-1_0_4_line_41 | NAYY 4x150 SE | 33 | 36 | 0.009268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2424-1_0_4_line_42 | NAYY 4x150 SE | 33 | 37 | 0.026946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2424-1_0_4_line_43 | NAYY 4x150 SE | 34 | 35 | 0.040447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2424-1_0_4_line_44 | NAYY 4x150 SE | 35 | 38 | 0.011242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2424-1_0_4_line_45 | NAYY 4x150 SE | 35 | 39 | 0.047988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_2424-1_0_4_line_46 | NAYY 4x150 SE | 36 | 40 | 0.058675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2424-1_0_4_line_47 | NAYY 4x150 SE | 37 | 41 | 0.021588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_2424-1_0_4_line_48 | NAYY 4x150 SE | 39 | 41 | 0.035437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_2424-1_0_4_line_49 | NAYY 4x150 SE | 41 | 42 | 0.016585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2424-1_0_4_line_50 | NAYY 4x150 SE | 42 | 64 | 0.018376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2424-1_0_4_line_51 | NAYY 4x150 SE | 42 | 63 | 0.011614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2424-1_0_4_line_52 | NAYY 4x150 SE | 43 | 44 | 0.0083301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2424-1_0_4_line_53 | NAYY 4x150 SE | 44 | 45 | 0.0092954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2424-1_0_4_line_54 | NAYY 4x150 SE | 47 | 48 | 0.024581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2424-1_0_4_line_55 | NAYY 4x150 SE | 47 | 49 | 0.028038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2424-1_0_4_line_56 | NAYY 4x150 SE | 49 | 50 | 0.026025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2424-1_0_4_line_57 | NAYY 4x150 SE | 49 | 51 | 0.013675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2424-1_0_4_line_58 | NAYY 4x150 SE | 50 | 52 | 0.0081517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2424-1_0_4_line_59 | NAYY 4x150 SE | 51 | 53 | 0.021443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2424-1_0_4_line_60 | NAYY 4x150 SE | 52 | 54 | 0.010986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2424-1_0_4_line_61 | NAYY 4x150 SE | 54 | 68 | 0.026937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2424-1_0_4_line_62 | NAYY 4x150 SE | 54 | 69 | 0.019767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2424-1_0_4_line_63 | NAYY 4x150 SE | 55 | 56 | 0.0010465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2424-1_0_4_line_64 | NAYY 4x150 SE | 55 | 57 | 0.0091931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2424-1_0_4_line_65 | NAYY 4x150 SE | 59 | 60 | 0.020743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2424-1_0_4_line_66 | NAYY 4x150 SE | 60 | 71 | 0.023977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2424-1_0_4_line_67 | NAYY 4x150 SE | 61 | 62 | 0.0034499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2424-1_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.031431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2424-1_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.029832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2424-1_0_4_line_70 | NAYY 4x150 SE | 69 | 70 | 0.02173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2424-1_0_4_line_71 | NAYY 4x150 SE | 70 | 72 | 0.01399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2424-1_0_4_trafo_14 | 0.25 MVA 20/0.4 kV | 73 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2611543.7565 | 1238341.1576 | 2611543.8311 | 1238347.0301 | 2611545.199 | 1238355.4157
1 | 2611543.7565 | 1238341.1576 | 2611543.5242 | 1238322.8631
2 | 2611550.4461 | 1238372.1362 | 2611548.7724 | 1238357.624 | 2611545.199 | 1238355.4157 | 2611545.199 | 1238355.4157
3 | 2611523.5188 | 1238301.9631 | 2611543.3585 | 1238309.8174 | 2611543.5242 | 1238322.8631
4 | 2611550.4461 | 1238372.1362 | 2611560.9227 | 1238367.7649
5 | 2611550.4461 | 1238372.1362 | 2611540.88 | 1238375.0639 | 2611534.4031 | 1238376.018
6 | 2611523.5188 | 1238301.9631 | 2611511.5687 | 1238297.296
7 | 2611523.5188 | 1238301.9631 | 2611528.2453 | 1238291.8971
8 | 2611560.9227 | 1238367.7649 | 2611569.5695 | 1238363.101 | 2611573.7129 | 1238360.0071 | 2611574.4715 | 1238359.2839
9 | 2611527.522 | 1238377.0316 | 2611534.4031 | 1238376.018
10 | 2611528.2453 | 1238291.8971 | 2611535.2171 | 1238277.0494
11 | 2611574.4715 | 1238359.2839 | 2611584.0716 | 1238350.1322 | 2611586.1049 | 1238348.685
12 | 2611527.522 | 1238377.0316 | 2611525.3095 | 1238377.3575 | 2611514.1011 | 1238376.8578 | 2611511.559 | 1238376.1804
13 | 2611539.7233 | 1238267.4526 | 2611535.2171 | 1238277.0494
14 | 2611623.3099 | 1238361.0856 | 2611621.8761 | 1238368.5344
15 | 2611621.4644 | 1238370.6731 | 2611621.8761 | 1238368.5344
16 | 2611619.0117 | 1238383.4095 | 2611621.4644 | 1238370.6731
17 | 2611621.4644 | 1238370.6731 | 2611611.709 | 1238366.9712
18 | 2611630.4579 | 1238323.9507 | 2611640.011 | 1238323.9026 | 2611653.1661 | 1238323.0277 | 2611658.0754 | 1238322.6998
19 | 2611623.2089 | 1238321.6129 | 2611626.8289 | 1238323.1209 | 2611630.4579 | 1238323.9507
20 | 2611676.3219 | 1238321.4053 | 2611674.1885 | 1238321.6235 | 2611658.0754 | 1238322.6998
21 | 2611623.2089 | 1238321.6129 | 2611614.8583 | 1238333.3705 | 2611607.6644 | 1238337.6703 | 2611605.8251 | 1238338.3227
22 | 2611623.2089 | 1238321.6129 | 2611618.305 | 1238319.0573 | 2611614.0703 | 1238314.6352 | 2611607.2925 | 1238303.3262 | 2611602.5883 | 1238295.3121
23 | 2611619.0117 | 1238383.4095 | 2611639.6495 | 1238389.0309 | 2611639.6495 | 1238389.0309
24 | 2611619.0117 | 1238383.4095 | 2611617.3069 | 1238392.6674 | 2611616.6296 | 1238396.0601
25 | 2611610.374 | 1238366.4646 | 2611611.709 | 1238366.9712
26 | 2611676.3219 | 1238321.4053 | 2611671.9229 | 1238339.4525
27 | 2611676.3219 | 1238321.4053 | 2611704.1167 | 1238318.569
28 | 2611605.8251 | 1238338.3227 | 2611599.7873 | 1238353.4218
29 | 2611605.8251 | 1238338.3227 | 2611602.9184 | 1238339.3473
30 | 2611602.5883 | 1238295.3121 | 2611610.5628 | 1238286.3665
31 | 2611602.5883 | 1238295.3121 | 2611598.1509 | 1238286.1979 | 2611594.6176 | 1238278.9199 | 2611592.0896 | 1238273.1444
32 | 2611639.6495 | 1238389.0309 | 2611643.1333 | 1238394.4744 | 2611652.4735 | 1238396.3251
33 | 2611614.0607 | 1238408.9267 | 2611616.6296 | 1238396.0601
34 | 2611610.374 | 1238366.4646 | 2611598.4348 | 1238361.934
35 | 2611671.9229 | 1238339.4525 | 2611670.7101 | 1238344.4282
36 | 2611598.4348 | 1238361.934 | 2611598.4348 | 1238361.934 | 2611597.358 | 1238359.4971 | 2611599.7873 | 1238353.4218
37 | 2611586.1049 | 1238348.685 | 2611595.5995 | 1238341.9273 | 2611602.9184 | 1238339.3473
38 | 2611612.6207 | 1238276.0753 | 2611610.5628 | 1238286.3665 | 2611610.5628 | 1238286.3665
39 | 2611586.6053 | 1238260.6152 | 2611592.0896 | 1238273.1444
40 | 2611562.385 | 1238151.7568 | 2611543.9979 | 1238187.7227
41 | 2611562.385 | 1238151.7568 | 2611555.6976 | 1238148.2972 | 2611553.9724 | 1238148.6497
42 | 2611562.385 | 1238151.7568 | 2611586.3574 | 1238164.0624
43 | 2611582.8288 | 1238250.0236 | 2611568.7577 | 1238243.4256 | 2611546.9756 | 1238231.3491
44 | 2611586.6053 | 1238260.6152 | 2611582.8288 | 1238250.0236
45 | 2611582.8288 | 1238250.0236 | 2611580.7567 | 1238242.0035 | 2611579.7772 | 1238236.1536 | 2611579.3954 | 1238230.2381 | 2611579.634 | 1238224.1904 | 2611580.5004 | 1238218.1995 | 2611583.7796 | 1238208.322 | 2611586.32 | 1238203.6337
46 | 2611553.9724 | 1238148.6497 | 2611533.5596 | 1238186.5447 | 2611526.2333 | 1238200.3539
47 | 2611605.5624 | 1238173.9208 | 2611586.3574 | 1238164.0624
48 | 2611605.5624 | 1238173.9208 | 2611599.3269 | 1238183.1589 | 2611590.604 | 1238195.7274 | 2611586.32 | 1238203.6337
49 | 2611605.5624 | 1238173.9208 | 2611614.8324 | 1238160.1526
50 | 2611630.357 | 1238170.0556 | 2611614.8324 | 1238160.1526
51 | 2611614.8324 | 1238160.1526 | 2611620.7275 | 1238150.146
52 | 2611503.5098 | 1238374.0356 | 2611511.559 | 1238376.1804
53 | 2611503.5098 | 1238374.0356 | 2611498.8983 | 1238372.8038 | 2611494.8462 | 1238370.7962
54 | 2611586.7206 | 1238453.1976 | 2611591.3973 | 1238449.2965 | 2611597.5384 | 1238441.8149 | 2611601.7786 | 1238434.0907
55 | 2611614.0607 | 1238408.9267 | 2611608.9089 | 1238421.102 | 2611601.7786 | 1238434.0907
56 | 2611614.0607 | 1238408.9267 | 2611638.4377 | 1238418.0398
57 | 2611614.0607 | 1238408.9267 | 2611601.6011 | 1238403.2915
58 | 2611638.4377 | 1238418.0398 | 2611646.0733 | 1238420.8942
59 | 2611581.6772 | 1238395.4344 | 2611591.8658 | 1238398.8885 | 2611601.6011 | 1238403.2915
60 | 2611656.3635 | 1238424.7411 | 2611646.0733 | 1238420.8942
61 | 2611656.3635 | 1238424.7411 | 2611682.917 | 1238429.2717
62 | 2611656.3635 | 1238424.7411 | 2611654.2548 | 1238444.3958
63 | 2611670.7101 | 1238344.4282 | 2611670.4623 | 1238345.4449
64 | 2611668.2852 | 1238354.3766 | 2611670.4623 | 1238345.4449
65 | 2611672.8964 | 1238399.884 | 2611666.4808 | 1238399.1006 | 2611652.4735 | 1238396.3251
66 | 2611695.849 | 1238406.6087 | 2611676.6591 | 1238400.3435 | 2611672.8964 | 1238399.884
67 | 2611539.7233 | 1238267.4526 | 2611541.1895 | 1238264.3298
68 | 2611619.4285 | 1238247.0373 | 2611627.034 | 1238216.5409
69 | 2611619.4285 | 1238247.0373 | 2611614.3742 | 1238267.3066 | 2611612.6207 | 1238276.0753
70 | 2611654.2548 | 1238444.3958 | 2611654.2527 | 1238444.4158 | 2611654.1653 | 1238454.2884 | 2611656.0334 | 1238465.977
71 | 2611656.0334 | 1238465.977 | 2611656.0334 | 1238465.977 | 2611660.5553 | 1238479.2166

## bus_geodata
| x | y | coords
0 | 2611543.7565 | 1238341.1576
1 | 2611545.199 | 1238355.4157
2 | 2611543.5242 | 1238322.8631
3 | 2611550.4461 | 1238372.1362
4 | 2611523.5188 | 1238301.9631
5 | 2611560.9227 | 1238367.7649
6 | 2611534.4031 | 1238376.018
7 | 2611511.5687 | 1238297.296
8 | 2611528.2453 | 1238291.8971
9 | 2611574.4715 | 1238359.2839
10 | 2611527.522 | 1238377.0316
11 | 2611535.2171 | 1238277.0494
12 | 2611623.3099 | 1238361.0856
13 | 2611621.8761 | 1238368.5344
14 | 2611621.4644 | 1238370.6731
15 | 2611630.4579 | 1238323.9507
16 | 2611658.0754 | 1238322.6998
17 | 2611623.2089 | 1238321.6129
18 | 2611619.0117 | 1238383.4095
19 | 2611611.709 | 1238366.9712
20 | 2611676.3219 | 1238321.4053
21 | 2611605.8251 | 1238338.3227
22 | 2611602.5883 | 1238295.3121
23 | 2611639.6495 | 1238389.0309
24 | 2611616.6296 | 1238396.0601
25 | 2611610.374 | 1238366.4646
26 | 2611671.9229 | 1238339.4525
27 | 2611704.1167 | 1238318.569
28 | 2611599.7873 | 1238353.4218
29 | 2611602.9184 | 1238339.3473
30 | 2611610.5628 | 1238286.3665
31 | 2611592.0896 | 1238273.1444
32 | 2611543.9979 | 1238187.7227
33 | 2611562.385 | 1238151.7568
34 | 2611546.9756 | 1238231.3491
35 | 2611582.8288 | 1238250.0236
36 | 2611553.9724 | 1238148.6497
37 | 2611586.3574 | 1238164.0624
38 | 2611586.6053 | 1238260.6152
39 | 2611586.32 | 1238203.6337
40 | 2611526.2333 | 1238200.3539
41 | 2611605.5624 | 1238173.9208
42 | 2611614.8324 | 1238160.1526
43 | 2611511.559 | 1238376.1804
44 | 2611503.5098 | 1238374.0356
45 | 2611494.8462 | 1238370.7962
46 | 2611586.1049 | 1238348.685
47 | 2611601.7786 | 1238434.0907
48 | 2611586.7206 | 1238453.1976
49 | 2611614.0607 | 1238408.9267
50 | 2611638.4377 | 1238418.0398
51 | 2611601.6011 | 1238403.2915
52 | 2611646.0733 | 1238420.8942
53 | 2611581.6772 | 1238395.4344
54 | 2611656.3635 | 1238424.7411
55 | 2611670.4623 | 1238345.4449
56 | 2611670.7101 | 1238344.4282
57 | 2611668.2852 | 1238354.3766
58 | 2611598.4348 | 1238361.934
59 | 2611652.4735 | 1238396.3251
60 | 2611672.8964 | 1238399.884
61 | 2611539.7233 | 1238267.4526
62 | 2611541.1896 | 1238264.3298
63 | 2611620.7275 | 1238150.146
64 | 2611630.357 | 1238170.0556
65 | 2611627.034 | 1238216.5409
66 | 2611619.4285 | 1238247.0373
67 | 2611612.6207 | 1238276.0753
68 | 2611682.917 | 1238429.2717
69 | 2611654.2548 | 1238444.3958
70 | 2611656.0334 | 1238465.977
71 | 2611695.849 | 1238406.6087
72 | 2611660.5553 | 1238479.2166
73 | 2611586.6053 | 1238260.6152

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98481 | -0.10653 | 0.0019106 | 0.00047884
1 | 0.98502 | -0.10503 | 0.0013097 | 0.00032825
2 | 0.98459 | -0.10809 | 0.0020249 | 0.0005075
3 | 0.98533 | -0.10281 | 0 | 0
4 | 0.98428 | -0.1103 | 0 | 0
5 | 0.98562 | -0.10078 | 0 | 0
6 | 0.98519 | -0.10381 | 0.0018754 | 0.00047001
7 | 0.98424 | -0.11055 | 0.0018463 | 0.00046274
8 | 0.98421 | -0.11081 | 0.0012555 | 0.00031466
9 | 0.98602 | -0.097917 | 0.0018576 | 0.00046557
10 | 0.98515 | -0.1041 | 0.0016182 | 0.00040555
11 | 0.98413 | -0.11134 | 0.00069546 | 0.0001743
12 | 0.98448 | -0.10881 | 0.0018206 | 0.00045627
13 | 0.9845 | -0.10867 | 0.0016357 | 0.00040993
14 | 0.98451 | -0.10859 | 0 | 0
15 | 0.98928 | -0.07483 | 0 | 0
16 | 0.98864 | -0.079414 | 0.0015087 | 0.00037812
17 | 0.98946 | -0.073567 | 0 | 0
18 | 0.98401 | -0.1122 | 0 | 0
19 | 0.98497 | -0.10532 | 0.0027962 | 0.00070079
20 | 0.98825 | -0.082167 | 0.0014909 | 0.00037366
21 | 0.98716 | -0.089825 | 0 | 0
22 | 0.99344 | -0.045658 | 0.00065023 | 0.00016296
23 | 0.98387 | -0.11321 | 0.0012363 | 0.00030986
24 | 0.98359 | -0.11518 | 0.0030285 | 0.000759
25 | 0.98504 | -0.10483 | 0.0013495 | 0.00033822
26 | 0.98796 | -0.08417 | 0.0039861 | 0.00099901
27 | 0.98814 | -0.082937 | 0.0026932 | 0.00067498
28 | 0.98621 | -0.09656 | 0.0010408 | 0.00026084
29 | 0.98705 | -0.090581 | 0.0027422 | 0.00068727
30 | 0.99327 | -0.046828 | 0.0057729 | 0.0014468
31 | 0.99666 | -0.023176 | 0.001954 | 0.00048972
32 | 0.98069 | -0.13538 | 0.094309 | 0.023636
33 | 0.98623 | -0.096074 | 0 | 0
34 | 0.99972 | -0.0019855 | 0.0049152 | 0.0012319
35 | 1 | 0 | -0.23419 | -0.058937
36 | 0.9861 | -0.096961 | 0 | 0
37 | 0.99028 | -0.067535 | 0.0097579 | 0.0024456
38 | 0.99849 | -0.010436 | 0 | 0
39 | 0.9954 | -0.031823 | 0.00229 | 0.00057393
40 | 0.98531 | -0.10258 | 0.0093207 | 0.002336
41 | 0.99206 | -0.0551 | 0 | 0
42 | 0.99167 | -0.057888 | 0 | 0
43 | 0.98509 | -0.10449 | 0.0013549 | 0.00033956
44 | 0.98508 | -0.10458 | 0 | 0
45 | 0.98507 | -0.10468 | 0.0010382 | 0.00026019
46 | 0.98646 | -0.094804 | 0.00197 | 0.00049373
47 | 0.98305 | -0.11899 | 0.0016922 | 0.00042409
48 | 0.98297 | -0.1196 | 0.0023837 | 0.00059742
49 | 0.98322 | -0.11781 | 0 | 0
50 | 0.98273 | -0.12129 | 0.00098375 | 0.00024655
51 | 0.98317 | -0.11815 | 0.0013845 | 0.00034698
52 | 0.98259 | -0.1223 | 0.00089817 | 0.0002251
53 | 0.98314 | -0.11837 | 0.0010108 | 0.00025333
54 | 0.98241 | -0.12356 | 0 | 0
55 | 0.98791 | -0.084532 | 0.00066424 | 0.00016647
56 | 0.98792 | -0.084513 | 0.0048375 | 0.0012124
57 | 0.9879 | -0.084631 | 0.0010548 | 0.00026437
58 | 0.98568 | -0.10028 | 0.0047342 | 0.0011865
59 | 0.98379 | -0.11375 | 0.0017205 | 0.00043121
60 | 0.98374 | -0.1141 | 0.00065572 | 0.00016434
61 | 0.98409 | -0.1116 | 0.0010664 | 0.00026727
62 | 0.98409 | -0.11165 | 0.0013741 | 0.00034438
63 | 0.99143 | -0.059563 | 0.014209 | 0.003561
64 | 0.9916 | -0.058329 | 0.0023607 | 0.00059166
65 | 0.99307 | -0.048245 | 0.0016203 | 0.00040607
66 | 0.99314 | -0.047729 | 0 | 0
67 | 0.99321 | -0.047239 | 0.0022449 | 0.00056264
68 | 0.98238 | -0.12375 | 0.00068539 | 0.00017177
69 | 0.98211 | -0.12568 | 0.0048193 | 0.0012078
70 | 0.98194 | -0.12693 | 0.0011841 | 0.00029676
71 | 0.98371 | -0.11433 | 0.0009435 | 0.00023646
72 | 0.98185 | -0.12756 | 0.0043651 | 0.001094
73 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010178 | -0.00255 | 0.01018 | 0.0025506 | 2.1204e-06 | 6.3267e-07 | 0.015378 | 0.015378 | 0.015378 | 0.98481 | -0.10653 | 0.98502 | -0.10503 | 5.6955
1 | 0.0082671 | 0.0020712 | -0.0082653 | -0.0020707 | 1.7813e-06 | 4.5239e-07 | 0.012491 | 0.012491 | 0.012491 | 0.98481 | -0.10653 | 0.98459 | -0.10809 | 4.6264
2 | -0.01149 | -0.0028789 | 0.011493 | 0.00288 | 3.5357e-06 | 1.1204e-06 | 0.017356 | 0.017356 | 0.017356 | 0.98502 | -0.10503 | 0.98533 | -0.10281 | 6.4283
3 | 0.0062404 | 0.0015632 | -0.0062385 | -0.0015629 | 1.9084e-06 | 2.9682e-07 | 0.0094309 | 0.0094311 | 0.0094311 | 0.98459 | -0.10809 | 0.98428 | -0.1103 | 3.493
4 | -0.017381 | -0.004355 | 0.017386 | 0.0043568 | 4.8681e-06 | 1.7281e-06 | 0.026248 | 0.026248 | 0.026248 | 0.98533 | -0.10281 | 0.98562 | -0.10078 | 9.7213
5 | 0.0058877 | 0.001475 | -0.0058869 | -0.0014749 | 8.1646e-07 | 1.0324e-07 | 0.0088912 | 0.0088913 | 0.0088913 | 0.98533 | -0.10281 | 0.98519 | -0.10381 | 3.2931
6 | 0.0018464 | 0.0004626 | -0.0018463 | -0.00046274 | 6.2374e-08 | -1.3906e-07 | 0.0027913 | 0.0027914 | 0.0027914 | 0.98428 | -0.1103 | 0.98424 | -0.11055 | 1.0338
7 | 0.0043921 | 0.0011003 | -0.0043918 | -0.0011003 | 3.0592e-07 | -2.3667e-08 | 0.0066398 | 0.0066398 | 0.0066398 | 0.98428 | -0.1103 | 0.98421 | -0.11081 | 2.4592
8 | -0.017386 | -0.0043568 | 0.017393 | 0.0043592 | 6.897e-06 | 2.4481e-06 | 0.026248 | 0.026248 | 0.026248 | 0.98562 | -0.10078 | 0.98602 | -0.097917 | 9.7213
9 | 0.0040115 | 0.0010049 | -0.0040114 | -0.0010049 | 1.5932e-07 | -2.7285e-08 | 0.0060588 | 0.0060588 | 0.0060588 | 0.98519 | -0.10381 | 0.98515 | -0.1041 | 2.244
10 | 0.0031363 | 0.00078568 | -0.0031361 | -0.0007858 | 2.3013e-07 | -1.1993e-07 | 0.0047416 | 0.0047417 | 0.0047417 | 0.98421 | -0.11081 | 0.98413 | -0.11134 | 1.7562
11 | -0.01925 | -0.0048248 | 0.019259 | 0.0048278 | 8.2991e-06 | 2.9909e-06 | 0.029051 | 0.029051 | 0.029051 | 0.98602 | -0.097917 | 0.98646 | -0.094804 | 10.7596
12 | 0.0023932 | 0.00059939 | -0.0023931 | -0.00059954 | 1.3116e-07 | -1.5437e-07 | 0.0036147 | 0.0036147 | 0.0036147 | 0.98515 | -0.1041 | 0.98509 | -0.10449 | 1.3388
13 | 0.0024406 | 0.00061151 | -0.0024405 | -0.00061161 | 9.0088e-08 | -1.0006e-07 | 0.0036901 | 0.0036902 | 0.0036902 | 0.98413 | -0.11134 | 0.98409 | -0.1116 | 1.3667
14 | -0.0018206 | -0.00045627 | 0.0018206 | 0.00045619 | 3.584e-08 | -8.267e-08 | 0.0027517 | 0.0027517 | 0.0027517 | 0.98448 | -0.10881 | 0.9845 | -0.10867 | 1.0192
15 | -0.0034562 | -0.00086613 | 0.0034563 | 0.00086611 | 3.7086e-08 | -1.3431e-08 | 0.0052239 | 0.0052239 | 0.0052239 | 0.9845 | -0.10867 | 0.98451 | -0.10859 | 1.9348
16 | 0.027038 | 0.0067782 | -0.027024 | -0.0067731 | 1.3517e-05 | 5.034e-06 | 0.040866 | 0.040866 | 0.040866 | 0.98451 | -0.10859 | 0.98401 | -0.1122 | 15.1355
17 | -0.030494 | -0.0076443 | 0.030508 | 0.0076495 | 1.3831e-05 | 5.1869e-06 | 0.04609 | 0.04609 | 0.04609 | 0.98451 | -0.10859 | 0.98497 | -0.10532 | 17.0703
18 | 0.016255 | 0.0040751 | -0.016245 | -0.0040715 | 1.0317e-05 | 3.6133e-06 | 0.02445 | 0.02445 | 0.02445 | 0.98928 | -0.07483 | 0.98864 | -0.079414 | 9.0557
19 | -0.016255 | -0.0040751 | 0.016258 | 0.0040761 | 2.844e-06 | 9.9594e-07 | 0.02445 | 0.02445 | 0.02445 | 0.98928 | -0.07483 | 0.98946 | -0.073567 | 9.0556
20 | 0.014736 | 0.0036934 | -0.01473 | -0.0036915 | 5.6155e-06 | 1.9253e-06 | 0.022179 | 0.02218 | 0.02218 | 0.98864 | -0.079414 | 0.98825 | -0.082167 | 8.2147
21 | 0.064642 | 0.016237 | -0.064496 | -0.016181 | 0.0001458 | 5.5761e-05 | 0.097226 | 0.097226 | 0.097226 | 0.98946 | -0.073567 | 0.98716 | -0.089825 | 36.0096
22 | -0.0809 | -0.020313 | 0.081215 | 0.020434 | 0.00031497 | 0.0001207 | 0.12168 | 0.12168 | 0.12168 | 0.98946 | -0.073567 | 0.99344 | -0.045658 | 45.0652
23 | 0.0045571 | 0.0011412 | -0.0045565 | -0.0011412 | 6.338e-07 | -2.7905e-08 | 0.0068909 | 0.006891 | 0.006891 | 0.98401 | -0.1122 | 0.98387 | -0.11321 | 2.5522
24 | 0.022467 | 0.0056319 | -0.022458 | -0.0056285 | 9.2724e-06 | 3.4029e-06 | 0.033975 | 0.033975 | 0.033975 | 0.98401 | -0.1122 | 0.98359 | -0.11518 | 12.5834
25 | -0.033304 | -0.0083503 | 0.033306 | 0.0083511 | 2.2555e-06 | 8.4932e-07 | 0.050314 | 0.050314 | 0.050314 | 0.98497 | -0.10532 | 0.98504 | -0.10483 | 18.6348
26 | 0.010546 | 0.0026431 | -0.010543 | -0.0026422 | 2.9227e-06 | 8.8618e-07 | 0.015879 | 0.015879 | 0.015879 | 0.98825 | -0.082167 | 0.98796 | -0.08417 | 5.8812
27 | 0.0026935 | 0.00067474 | -0.0026932 | -0.00067498 | 2.8675e-07 | -2.4765e-07 | 0.0040555 | 0.0040557 | 0.0040557 | 0.98825 | -0.082167 | 0.98814 | -0.082937 | 1.5021
28 | 0.040511 | 0.010167 | -0.040473 | -0.010153 | 3.7844e-05 | 1.4348e-05 | 0.06107 | 0.06107 | 0.06107 | 0.98716 | -0.089825 | 0.98621 | -0.09656 | 22.6184
29 | 0.023986 | 0.0060142 | -0.023983 | -0.0060133 | 2.5141e-06 | 9.2758e-07 | 0.036156 | 0.036156 | 0.036156 | 0.98716 | -0.089825 | 0.98705 | -0.090581 | 13.3913
30 | 0.0096401 | 0.0024152 | -0.0096385 | -0.0024148 | 1.5591e-06 | 4.445e-07 | 0.014439 | 0.014439 | 0.014439 | 0.99344 | -0.045658 | 0.99327 | -0.046828 | 5.3478
31 | -0.091505 | -0.023012 | 0.091793 | 0.023122 | 0.00028769 | 0.00011033 | 0.13709 | 0.13709 | 0.13709 | 0.99344 | -0.045658 | 0.99666 | -0.023176 | 50.7736
32 | 0.0033201 | 0.00083138 | -0.0033199 | -0.00083149 | 2.5148e-07 | -1.0626e-07 | 0.0050212 | 0.0050212 | 0.0050212 | 0.98387 | -0.11321 | 0.98379 | -0.11375 | 1.8597
33 | 0.019429 | 0.0048695 | -0.019422 | -0.004867 | 7.0736e-06 | 2.5541e-06 | 0.029394 | 0.029394 | 0.029394 | 0.98359 | -0.11518 | 0.98322 | -0.11781 | 10.8865
34 | -0.034656 | -0.0086893 | 0.034678 | 0.0086976 | 2.184e-05 | 8.2372e-06 | 0.052353 | 0.052353 | 0.052353 | 0.98504 | -0.10483 | 0.98568 | -0.10028 | 19.3898
35 | 0.0065569 | 0.0016432 | -0.0065566 | -0.0016431 | 3.1167e-07 | 5.4296e-08 | 0.0098756 | 0.0098756 | 0.0098756 | 0.98796 | -0.08417 | 0.98792 | -0.084513 | 3.6576
36 | 0.039432 | 0.0098918 | -0.039412 | -0.0098841 | 2.0339e-05 | 7.7054e-06 | 0.059499 | 0.059499 | 0.059499 | 0.98621 | -0.09656 | 0.98568 | -0.10028 | 22.0368
37 | 0.021241 | 0.005326 | -0.021229 | -0.0053215 | 1.2423e-05 | 4.5299e-06 | 0.032022 | 0.032022 | 0.032022 | 0.98705 | -0.090581 | 0.98646 | -0.094804 | 11.8602
38 | 0.0038656 | 0.00096795 | -0.0038654 | -0.000968 | 2.1961e-07 | -5.1367e-08 | 0.0057908 | 0.0057909 | 0.0057909 | 0.99327 | -0.046828 | 0.99321 | -0.047239 | 2.1448
39 | -0.093747 | -0.023612 | 0.093914 | 0.023676 | 0.00016729 | 6.4163e-05 | 0.14001 | 0.14001 | 0.14001 | 0.99666 | -0.023176 | 0.99849 | -0.010436 | 51.8541
40 | -0.094309 | -0.023636 | 0.094825 | 0.023834 | 0.00051613 | 0.000198 | 0.1431 | 0.1431 | 0.1431 | 0.98069 | -0.13538 | 0.98623 | -0.096074 | 52.9989
41 | 0.0093291 | 0.0023383 | -0.0093279 | -0.002338 | 1.1458e-06 | 3.2245e-07 | 0.014076 | 0.014076 | 0.014076 | 0.98623 | -0.096074 | 0.9861 | -0.096961 | 5.2133
42 | -0.10415 | -0.026172 | 0.10457 | 0.026332 | 0.00041537 | 0.00015941 | 0.15717 | 0.15717 | 0.15717 | 0.98623 | -0.096074 | 0.99028 | -0.067535 | 58.212
43 | -0.0049152 | -0.0012319 | 0.0049165 | 0.0012318 | 1.3508e-06 | -1.0937e-08 | 0.0073159 | 0.0073158 | 0.0073159 | 0.99972 | -0.0019855 | 1 | 0 | 2.7096
44 | 0.094052 | 0.023729 | -0.093914 | -0.023676 | 0.00013751 | 5.274e-05 | 0.14001 | 0.14001 | 0.14001 | 1 | 0 | 0.99849 | -0.010436 | 51.8541
45 | 0.13442 | 0.033976 | -0.13382 | -0.033747 | 0.00059964 | 0.00022938 | 0.20013 | 0.20013 | 0.20013 | 1 | 0 | 0.9954 | -0.031823 | 37.0603
46 | 0.0093279 | 0.002338 | -0.0093207 | -0.002336 | 7.2543e-06 | 2.0422e-06 | 0.014076 | 0.014076 | 0.014076 | 0.9861 | -0.096961 | 0.98531 | -0.10258 | 5.2134
47 | -0.11433 | -0.028777 | 0.11453 | 0.028853 | 0.00019887 | 7.5934e-05 | 0.17183 | 0.17183 | 0.17183 | 0.99028 | -0.067535 | 0.99206 | -0.0551 | 31.8213
48 | 0.13153 | 0.033173 | -0.13111 | -0.033009 | 0.00042779 | 0.00016362 | 0.1967 | 0.1967 | 0.1967 | 0.9954 | -0.031823 | 0.99206 | -0.0551 | 36.4264
49 | 0.016579 | 0.0041559 | -0.016573 | -0.0041536 | 6.4e-06 | 2.2475e-06 | 0.024868 | 0.024868 | 0.024868 | 0.99206 | -0.0551 | 0.99167 | -0.057888 | 9.2104
50 | 0.0023609 | 0.00059148 | -0.0023607 | -0.00059166 | 1.439e-07 | -1.8172e-07 | 0.0035425 | 0.0035426 | 0.0035426 | 0.99167 | -0.057888 | 0.9916 | -0.058329 | 1.3121
51 | 0.014212 | 0.0035622 | -0.014209 | -0.003561 | 3.2958e-06 | 1.1178e-06 | 0.021326 | 0.021326 | 0.021326 | 0.99167 | -0.057888 | 0.99143 | -0.059563 | 7.8984
52 | 0.0010382 | 0.00025998 | -0.0010382 | -0.00026008 | 1.2783e-08 | -1.0113e-07 | 0.0015682 | 0.0015682 | 0.0015682 | 0.98509 | -0.10449 | 0.98508 | -0.10458 | 0.58082
53 | 0.0010382 | 0.00026008 | -0.0010382 | -0.00026019 | 1.4265e-08 | -1.1285e-07 | 0.0015682 | 0.0015682 | 0.0015682 | 0.98508 | -0.10458 | 0.98507 | -0.10468 | 0.58083
54 | 0.0023839 | 0.00059718 | -0.0023837 | -0.00059742 | 1.9972e-07 | -2.348e-07 | 0.0036084 | 0.0036085 | 0.0036085 | 0.98305 | -0.11899 | 0.98297 | -0.1196 | 1.3365
55 | -0.0040761 | -0.0010213 | 0.0040767 | 0.0010212 | 6.6596e-07 | -9.9393e-08 | 0.0061697 | 0.0061696 | 0.0061697 | 0.98305 | -0.11899 | 0.98322 | -0.11781 | 2.2851
56 | 0.01295 | 0.0032459 | -0.012944 | -0.0032438 | 6.2378e-06 | 2.0693e-06 | 0.019599 | 0.019599 | 0.019599 | 0.98322 | -0.11781 | 0.98273 | -0.12129 | 7.2589
57 | 0.0023954 | 0.00059992 | -0.0023953 | -0.00060005 | 1.1214e-07 | -1.3029e-07 | 0.0036251 | 0.0036252 | 0.0036252 | 0.98322 | -0.11781 | 0.98317 | -0.11815 | 1.3427
58 | 0.01196 | 0.0029973 | -0.011958 | -0.0029967 | 1.6682e-06 | 5.3834e-07 | 0.018109 | 0.018109 | 0.018109 | 0.98273 | -0.12129 | 0.98259 | -0.1223 | 6.7072
59 | 0.0010108 | 0.00025307 | -0.0010108 | -0.00025333 | 3.1316e-08 | -2.5987e-07 | 0.0015298 | 0.0015299 | 0.0015299 | 0.98317 | -0.11815 | 0.98314 | -0.11837 | 0.56663
60 | 0.01106 | 0.0027716 | -0.011058 | -0.002771 | 1.9231e-06 | 6.0054e-07 | 0.016749 | 0.016749 | 0.016749 | 0.98259 | -0.1223 | 0.98241 | -0.12356 | 6.2035
61 | 0.0006854 | 0.00017144 | -0.00068539 | -0.00017177 | 1.8114e-08 | -3.341e-07 | 0.001038 | 0.0010382 | 0.0010382 | 0.98241 | -0.12356 | 0.98238 | -0.12375 | 0.3845
62 | 0.010373 | 0.0025996 | -0.01037 | -0.0025987 | 3.0448e-06 | 9.2087e-07 | 0.015711 | 0.015711 | 0.015711 | 0.98241 | -0.12356 | 0.98211 | -0.12568 | 5.819
63 | -0.0017191 | -0.00043073 | 0.0017191 | 0.00043072 | 4.3781e-09 | -1.1716e-08 | 0.0025893 | 0.0025893 | 0.0025893 | 0.98791 | -0.084532 | 0.98792 | -0.084513 | 0.959
64 | 0.0010549 | 0.00026426 | -0.0010548 | -0.00026437 | 1.4481e-08 | -1.1214e-07 | 0.0015888 | 0.0015888 | 0.0015888 | 0.98791 | -0.084532 | 0.9879 | -0.084631 | 0.58846
65 | 0.0015993 | 0.00040028 | -0.0015993 | -0.00040051 | 7.5733e-08 | -2.3424e-07 | 0.0024188 | 0.0024189 | 0.0024189 | 0.98379 | -0.11375 | 0.98374 | -0.1141 | 0.8959
66 | 0.00094353 | 0.00023617 | -0.0009435 | -0.00023646 | 3.0473e-08 | -2.9269e-07 | 0.0014271 | 0.0014272 | 0.0014272 | 0.98374 | -0.1141 | 0.98371 | -0.11433 | 0.52859
67 | 0.0013741 | 0.00034434 | -0.0013741 | -0.00034438 | 9.2928e-09 | -4.0257e-08 | 0.0020777 | 0.0020777 | 0.0020777 | 0.98409 | -0.1116 | 0.98409 | -0.11165 | 0.76952
68 | -0.0016203 | -0.00040607 | 0.0016204 | 0.00040571 | 1.1559e-07 | -3.6222e-07 | 0.0024278 | 0.0024276 | 0.0024278 | 0.99307 | -0.048245 | 0.99314 | -0.047729 | 0.89918
69 | -0.0016204 | -0.00040571 | 0.0016205 | 0.00040537 | 1.097e-07 | -3.4386e-07 | 0.0024276 | 0.0024275 | 0.0024276 | 0.99314 | -0.047729 | 0.99321 | -0.047239 | 0.89913
70 | 0.0055506 | 0.0013908 | -0.0055496 | -0.0013907 | 9.5897e-07 | 9.3907e-08 | 0.0084096 | 0.0084097 | 0.0084097 | 0.98211 | -0.12568 | 0.98194 | -0.12693 | 3.1147
71 | 0.0043655 | 0.001094 | -0.0043651 | -0.001094 | 3.8206e-07 | -3.0013e-08 | 0.0066154 | 0.0066154 | 0.0066154 | 0.98194 | -0.12693 | 0.98185 | -0.12756 | 2.4502

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23419 | 0.058937

## res_load
| p_mw | q_mvar
0 | 0.0019106 | 0.00047884
1 | 0.0013097 | 0.00032825
2 | 0.0020249 | 0.0005075
3 | 0.0018754 | 0.00047001
4 | 0.0018463 | 0.00046274
5 | 0.0012555 | 0.00031466
6 | 0.0018576 | 0.00046557
7 | 0.0016182 | 0.00040555
8 | 0.00069546 | 0.0001743
9 | 0.0018206 | 0.00045627
10 | 0.0016357 | 0.00040993
11 | 0.0015087 | 0.00037812
12 | 0.0027962 | 0.00070079
13 | 0.0014909 | 0.00037366
14 | 0.00065023 | 0.00016296
15 | 0.0012363 | 0.00030986
16 | 0.0030285 | 0.000759
17 | 0.0013495 | 0.00033822
18 | 0.0039861 | 0.00099901
19 | 0.0026932 | 0.00067498
20 | 0.0010408 | 0.00026084
21 | 0.0027422 | 0.00068727
22 | 0.0057729 | 0.0014468
23 | 0.001954 | 0.00048972
24 | 0.094309 | 0.023636
25 | 0.0049152 | 0.0012319
26 | 0.0097579 | 0.0024456
27 | 0.00229 | 0.00057393
28 | 0.0093207 | 0.002336
29 | 0.0013549 | 0.00033956
30 | 0.0010382 | 0.00026019
31 | 0.00197 | 0.00049373
32 | 0.0016922 | 0.00042409
33 | 0.0023837 | 0.00059742
34 | 0.00098375 | 0.00024655
35 | 0.0013845 | 0.00034698
36 | 0.00089817 | 0.0002251
37 | 0.0010108 | 0.00025333
38 | 0.00066424 | 0.00016647
39 | 0.0048375 | 0.0012124
40 | 0.0010548 | 0.00026437
41 | 0.0047342 | 0.0011865
42 | 0.0017205 | 0.00043121
43 | 0.00065572 | 0.00016434
44 | 0.0010664 | 0.00026727
45 | 0.0013741 | 0.00034438
46 | 0.014209 | 0.003561
47 | 0.0023607 | 0.00059166
48 | 0.0016203 | 0.00040607
49 | 0.0022449 | 0.00056264
50 | 0.00068539 | 0.00017177
51 | 0.0048193 | 0.0012078
52 | 0.0011841 | 0.00029676
53 | 0.0009435 | 0.00023646
54 | 0.0043651 | 0.001094

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1