## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2425-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2425-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2425-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2425-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2425-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2425-2_0_3_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_2425-2_0_3_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_2425-2_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2425-2_0_3_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_2425-2_0_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_2425-2_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_2425-2_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2425-2_0_3_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_2425-2_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_2425-2_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_2425-2_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2425-2_0_3_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_2425-2_0_3_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_2425-2_0_3_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_2425-2_0_3_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_2425-2_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_2425-2_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_2425-2_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2425-2_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2425-2_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2425-2_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2425-2_0_3_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_2425-2_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2425-2_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_2425-2_0_3_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_2425-2_0_3_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_2425-2_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_2425-2_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2425-2_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2425-2_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_2425-2_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2425-2_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2425-2_0_3_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_2425-2_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2425-2_0_3_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_2425-2_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_2425-2_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2425-2_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2425-2_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_2425-2_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2425-2_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2425-2_0_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_2425-2_0_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_2425-2_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_2425-2_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_2425-2_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_2425-2_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_2425-2_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_2425-2_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2425-2_0_3_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_2425-2_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_2425-2_0_3_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_2425-2_0_3_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_2425-2_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_2425-2_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_2425-2_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_2425-2_0_3_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_2425-2_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_2425-2_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_2425-2_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_2425-2_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_2425-2_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_MV_334_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2425-2_0_3_load_0 | 0 | 0.0021089 | 0.00052855 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2425-2_0_3_load_1 | 1 | 0.0011059 | 0.00027716 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2425-2_0_3_load_2 | 2 | 0.0018902 | 0.00047372 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2425-2_0_3_load_3 | 3 | 0.0016759 | 0.00042002 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2425-2_0_3_load_4 | 4 | 0.002727 | 0.00068344 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2425-2_0_3_load_17 | 5 | 0.0014046 | 0.00035204 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2425-2_0_3_load_38 | 6 | 0.0019149 | 0.00047991 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2425-2_0_3_load_16 | 7 | 0.0018033 | 0.00045195 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2425-2_0_3_load_34 | 8 | 0.0019261 | 0.00048273 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2425-2_0_3_load_23 | 9 | 0.0016759 | 0.00042003 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2425-2_0_3_load_15 | 10 | 0.0013175 | 0.0003302 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2425-2_0_3_load_8 | 11 | 0.0013864 | 0.00034747 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2425-2_0_3_load_32 | 12 | 0.0021501 | 0.00053886 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2425-2_0_3_load_39 | 13 | 0.004777 | 0.0011972 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2425-2_0_3_load_24 | 14 | 0.0059933 | 0.0015021 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2425-2_0_3_load_7 | 15 | 0.0023833 | 0.00059732 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2425-2_0_3_load_5 | 16 | 0.002997 | 0.00075111 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2425-2_0_3_load_6 | 17 | 0.0029383 | 0.00073642 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2425-2_0_3_load_58 | 18 | 0.042513 | 0.010655 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2425-2_0_3_load_65 | 19 | 0.0038073 | 0.00095419 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2425-2_0_3_load_9 | 20 | 0.00095442 | 0.0002392 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2425-2_0_3_load_10 | 21 | 0.0017307 | 0.00043376 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2425-2_0_3_load_12 | 23 | 0.0012568 | 0.00031497 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2425-2_0_3_load_14 | 25 | 0.0012726 | 0.00031895 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2425-2_0_3_load_36 | 28 | 0.0016226 | 0.00040667 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2425-2_0_3_load_55 | 29 | 0.0021118 | 0.00052928 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2425-2_0_3_load_47 | 30 | 0.0012369 | 0.00031001 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2425-2_0_3_load_41 | 31 | 0.0038133 | 0.0009557 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2425-2_0_3_load_22 | 32 | 0.0014602 | 0.00036595 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2425-2_0_3_load_18 | 33 | 0.0018577 | 0.00046558 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2425-2_0_3_load_35 | 34 | 0.00075839 | 0.00019007 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2425-2_0_3_load_19 | 35 | 0.0017111 | 0.00042884 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2425-2_0_3_load_21 | 36 | 0.0017888 | 0.00044833 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2425-2_0_3_load_60 | 37 | 0.0016946 | 0.0004247 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2425-2_0_3_load_37 | 38 | 0.0013493 | 0.00033817 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2425-2_0_3_load_53 | 39 | 0.0028543 | 0.00071536 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2425-2_0_3_load_54 | 40 | 0.0066563 | 0.0016682 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2425-2_0_3_load_25 | 41 | 0.0021533 | 0.00053966 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2425-2_0_3_load_26 | 42 | 0.0008342 | 0.00020907 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2425-2_0_3_load_27 | 43 | 0.0016543 | 0.00041461 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2425-2_0_3_load_28 | 44 | 0.0012638 | 0.00031675 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2425-2_0_3_load_29 | 45 | 0.0012764 | 0.0003199 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2425-2_0_3_load_51 | 46 | 0.0012894 | 0.00032316 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2425-2_0_3_load_52 | 47 | 0.0010585 | 0.00026529 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2425-2_0_3_load_30 | 48 | 0.0032379 | 0.00081149 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2425-2_0_3_load_31 | 49 | 0.0023594 | 0.00059132 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2425-2_0_3_load_33 | 50 | 0.0036842 | 0.00092335 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2425-2_0_3_load_42 | 51 | 0.0010311 | 0.00025842 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2425-2_0_3_load_40 | 52 | 0.0014351 | 0.00035966 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2425-2_0_3_load_48 | 53 | 0.0021637 | 0.00054227 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2425-2_0_3_load_59 | 54 | 0.0063134 | 0.0015823 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2425-2_0_3_load_49 | 55 | 0.0012208 | 0.00030597 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2425-2_0_3_load_62 | 56 | 0.0042469 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2425-2_0_3_load_67 | 57 | 0.0015542 | 0.00038953 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2425-2_0_3_load_63 | 59 | 0.003943 | 0.00098821 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2425-2_0_3_load_66 | 61 | 0.0034315 | 0.00086002 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2425-2_0_3_load_44 | 63 | 0.0012619 | 0.00031626 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2425-2_0_3_load_45 | 64 | 0.001263 | 0.00031653 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2425-2_0_3_load_56 | 65 | 0.0014317 | 0.00035883 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2425-2_0_3_load_57 | 66 | 0.0011039 | 0.00027667 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2425-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0005366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2425-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2425-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_2425-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0094133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2425-2_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.0037631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_2425-2_0_3_line_5 | NAYY 4x150 SE | 4 | 9 | 0.012565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2425-2_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.02347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2425-2_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.0019115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2425-2_0_3_line_8 | NAYY 4x150 SE | 6 | 13 | 0.019459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2425-2_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.023253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2425-2_0_3_line_10 | NAYY 4x150 SE | 8 | 12 | 0.021059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_2425-2_0_3_line_11 | NAYY 4x150 SE | 9 | 14 | 0.017794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2425-2_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.011148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2425-2_0_3_line_13 | NAYY 4x150 SE | 11 | 15 | 0.017224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2425-2_0_3_line_14 | NAYY 4x150 SE | 12 | 48 | 0.0048742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_2425-2_0_3_line_15 | NAYY 4x150 SE | 13 | 51 | 0.018423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2425-2_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.027529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2425-2_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0053371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2425-2_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.13627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2425-2_0_3_line_19 | NAYY 4x150 SE | 19 | 57 | 0.075883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2425-2_0_3_line_20 | NAYY 4x150 SE | 19 | 58 | 0.022288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2425-2_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.043286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2425-2_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.011605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2425-2_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.017244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2425-2_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.001736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2425-2_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.037838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2425-2_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.012715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2425-2_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.042133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2425-2_0_3_line_28 | NAYY 4x150 SE | 24 | 28 | 0.010809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2425-2_0_3_line_29 | NAYY 4x150 SE | 25 | 29 | 0.023424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2425-2_0_3_line_30 | NAYY 4x150 SE | 26 | 30 | 0.0063175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2425-2_0_3_line_31 | NAYY 4x150 SE | 26 | 31 | 0.036156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2425-2_0_3_line_32 | NAYY 4x150 SE | 27 | 32 | 0.00016638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2425-2_0_3_line_33 | NAYY 4x150 SE | 27 | 33 | 0.040951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2425-2_0_3_line_34 | NAYY 4x150 SE | 28 | 34 | 0.01491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2425-2_0_3_line_35 | NAYY 4x150 SE | 30 | 62 | 0.021922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2425-2_0_3_line_36 | NAYY 4x150 SE | 31 | 52 | 0.026844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2425-2_0_3_line_37 | NAYY 4x150 SE | 32 | 39 | 0.017729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2425-2_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.029397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2425-2_0_3_line_39 | NAYY 4x150 SE | 34 | 44 | 0.0063956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2425-2_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.030259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2425-2_0_3_line_41 | NAYY 4x150 SE | 35 | 37 | 0.045692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2425-2_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.00050858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2425-2_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.023291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2425-2_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.015114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2425-2_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.009098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2425-2_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.023987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2425-2_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.0205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2425-2_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.00054552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2425-2_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.020982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2425-2_0_3_line_50 | NAYY 4x150 SE | 47 | 65 | 0.002372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2425-2_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.029898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_2425-2_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.0078832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_2425-2_0_3_line_53 | NAYY 4x150 SE | 50 | 53 | 0.02605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_2425-2_0_3_line_54 | NAYY 4x150 SE | 50 | 54 | 0.050246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_2425-2_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.028448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2425-2_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.019846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_2425-2_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.097695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_2425-2_0_3_line_58 | NAYY 4x150 SE | 55 | 60 | 0.053771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_2425-2_0_3_line_59 | NAYY 4x150 SE | 56 | 59 | 0.030641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_2425-2_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.014741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2425-2_0_3_line_61 | NAYY 4x150 SE | 59 | 61 | 0.016368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2425-2_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.057968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_2425-2_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.012353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2425-2_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.017867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2425-2_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.018329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2425-2_0_3_trafo_1 | 0.25 MVA 20/0.4 kV | 67 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2623468.4865 | 1242546.8516 | 2623467.9499 | 1242546.8492
1 | 2623467.9499 | 1242546.8492 | 2623458.4002 | 1242546.8066 | 2623446.9061 | 1242547.516
2 | 2623468.4865 | 1242546.8516 | 2623479.9036 | 1242546.9026 | 2623490.2041 | 1242546.8667
3 | 2623446.9061 | 1242547.516 | 2623439.0987 | 1242547.9979 | 2623437.5253 | 1242548.2341
4 | 2623493.9671 | 1242546.8536 | 2623490.2041 | 1242546.8667
5 | 2623425.0998 | 1242550.0996 | 2623425.0998 | 1242550.0996 | 2623437.5253 | 1242548.2341
6 | 2623467.1766 | 1242616.1616 | 2623480.1991 | 1242615.6028 | 2623490.6037 | 1242614.8019
7 | 2623467.1766 | 1242616.1616 | 2623466.1986 | 1242616.2035 | 2623465.266 | 1242616.2036
8 | 2623509.9853 | 1242613.0736 | 2623497.0972 | 1242614.3021 | 2623490.6037 | 1242614.8019
9 | 2623465.266 | 1242616.2036 | 2623444.2038 | 1242616.2057 | 2623442.0141 | 1242616.154
10 | 2623493.9671 | 1242546.8536 | 2623509.7976 | 1242546.7984 | 2623515.0237 | 1242546.6478
11 | 2623407.397 | 1242548.4067 | 2623413.599 | 1242549.2983 | 2623425.0998 | 1242550.0996
12 | 2623442.0141 | 1242616.154 | 2623430.8694 | 1242615.8911
13 | 2623413.6544 | 1242615.3513 | 2623422.7023 | 1242615.6984 | 2623430.8694 | 1242615.8911
14 | 2623515.0237 | 1242546.6478 | 2623519.8958 | 1242546.5075
15 | 2623509.9853 | 1242613.0736 | 2623523.3043 | 1242611.8041 | 2623528.3362 | 1242611.4679
16 | 2623386.2211 | 1242613.2343 | 2623391.4026 | 1242613.8963 | 2623398.6041 | 1242614.3027 | 2623407.2024 | 1242615.1037 | 2623413.6544 | 1242615.3513
17 | 2623386.2211 | 1242613.2343 | 2623384.3995 | 1242613.0016 | 2623380.9626 | 1242612.3362
18 | 2623475.4084 | 1242395.1554 | 2623341.3688 | 1242370.604
19 | 2623475.4084 | 1242395.1554 | 2623484.7083 | 1242319.8445
20 | 2623497.5216 | 1242397.9445 | 2623475.4084 | 1242395.1554
21 | 2623554.393 | 1242661.3116 | 2623585.8298 | 1242637.8126 | 2623589.343 | 1242635.8229
22 | 2623545.0982 | 1242668.2594 | 2623554.393 | 1242661.3116
23 | 2623589.343 | 1242635.8229 | 2623598.0337 | 1242630.9011 | 2623604.6341 | 1242627.8853
24 | 2623543.7034 | 1242669.299 | 2623545.0982 | 1242668.2594
25 | 2623545.0982 | 1242668.2594 | 2623514.268 | 1242670.1609 | 2623507.4185 | 1242668.9877
26 | 2623616.1991 | 1242622.6013 | 2623604.6341 | 1242627.8853
27 | 2623511.1043 | 1242696.0981 | 2623527.4971 | 1242682.9991 | 2623541.1022 | 1242671.5012 | 2623543.7034 | 1242669.299
28 | 2623543.7034 | 1242669.299 | 2623545.4983 | 1242670.2956 | 2623547.899 | 1242671.0056 | 2623552.1003 | 1242671.3002 | 2623554.1409 | 1242671.3474
29 | 2623484.1262 | 1242670.3756 | 2623504.4337 | 1242668.4765 | 2623507.4185 | 1242668.9877
30 | 2623616.1991 | 1242622.6013 | 2623621.2039 | 1242620.3975 | 2623621.9903 | 1242620.0776
31 | 2623616.1991 | 1242622.6013 | 2623612.1995 | 1242619.1054 | 2623608.9005 | 1242616.2016 | 2623605.9002 | 1242614.1995 | 2623601.4018 | 1242612.6029 | 2623590.501 | 1242611.1031 | 2623583.4967 | 1242610.1775
32 | 2623511.1043 | 1242696.0981 | 2623510.9652 | 1242696.1894
33 | 2623511.1043 | 1242696.0981 | 2623515.798 | 1242697.9957 | 2623519.6038 | 1242698.9002 | 2623527.7986 | 1242700.4002 | 2623538.1033 | 1242701.5973 | 2623551.2051 | 1242703.7126
34 | 2623554.1409 | 1242671.3474 | 2623569.0469 | 1242671.6922
35 | 2623642.1983 | 1242611.5976 | 2623638.904 | 1242613.1966 | 2623621.9903 | 1242620.0776
36 | 2623556.7215 | 1242609.5914 | 2623576.1023 | 1242609.2004 | 2623583.4967 | 1242610.1775
37 | 2623510.9652 | 1242696.1894 | 2623510.498 | 1242696.496 | 2623498.5374 | 1242708.8147
38 | 2623551.2051 | 1242703.7126 | 2623554.1996 | 1242704.196 | 2623568.0981 | 1242708.2981 | 2623579.5703 | 1242711.3562
39 | 2623569.0469 | 1242671.6922 | 2623569.4979 | 1242671.7027 | 2623575.4414 | 1242671.8071
40 | 2623579.5703 | 1242711.3562 | 2623580.5032 | 1242711.6049 | 2623588.9036 | 1242714.5957 | 2623608.6594 | 1242719.5869
41 | 2623579.5703 | 1242711.3562 | 2623572.2351 | 1242756.4552
42 | 2623608.6594 | 1242719.5869 | 2623609.1524 | 1242719.7115
43 | 2623498.5374 | 1242708.8147 | 2623493.3997 | 1242714.1063 | 2623481.3783 | 1242724.5362
44 | 2623599.4245 | 1242672.2293 | 2623614.5362 | 1242672.5042
45 | 2623623.63 | 1242672.7596 | 2623619.9988 | 1242672.6036 | 2623614.5362 | 1242672.5042
46 | 2623599.4245 | 1242672.2293 | 2623598.104 | 1242672.2053 | 2623575.4414 | 1242671.8071
47 | 2623644.1107 | 1242673.6517 | 2623643.1005 | 1242673.596 | 2623623.63 | 1242672.7596
48 | 2623644.6554 | 1242673.6817 | 2623644.1107 | 1242673.6517
49 | 2623644.6554 | 1242673.6817 | 2623665.606 | 1242674.8367
50 | 2623665.606 | 1242674.8367 | 2623667.9744 | 1242674.9673
51 | 2623549.781 | 1242545.7772 | 2623547.7983 | 1242545.7036 | 2623519.8958 | 1242546.5075
52 | 2623549.781 | 1242545.7772 | 2623557.6587 | 1242546.0696
53 | 2623583.68 | 1242547.2342 | 2623577.3022 | 1242546.7989 | 2623557.6587 | 1242546.0696
54 | 2623557.6587 | 1242546.0696 | 2623571.7058 | 1242497.8274
55 | 2623556.7215 | 1242609.5914 | 2623556.2978 | 1242609.5999 | 2623528.3362 | 1242611.4679
56 | 2623583.68 | 1242547.2342 | 2623603.4803 | 1242548.5857
57 | 2623571.7058 | 1242497.8274 | 2623542.3839 | 1242404.6366
58 | 2623656.7975 | 1242555.4979 | 2623628.3997 | 1242551.9049 | 2623606.7041 | 1242548.8057 | 2623603.4803 | 1242548.5857
59 | 2623542.3839 | 1242404.6366 | 2623522.7119 | 1242402.4247 | 2623512.0346 | 1242400.5257
60 | 2623497.5216 | 1242397.9445 | 2623512.0346 | 1242400.5257
61 | 2623512.0346 | 1242400.5257 | 2623521.427 | 1242387.121
62 | 2623642.1983 | 1242611.5976 | 2623656.7975 | 1242555.4979
63 | 2623642.1983 | 1242611.5976 | 2623643.1971 | 1242613.2026 | 2623644.5978 | 1242614.4978 | 2623647.1012 | 1242615.9976 | 2623649.397 | 1242616.496 | 2623652.6599 | 1242616.8915
64 | 2623652.6599 | 1242616.8915 | 2623666.5613 | 1242618.5767 | 2623670.4171 | 1242618.8266
65 | 2623667.9744 | 1242674.9673 | 2623683.0978 | 1242675.801 | 2623686.2798 | 1242675.8352

## bus_geodata
| x | y | coords
0 | 2623467.9499 | 1242546.8492
1 | 2623468.4865 | 1242546.8516
2 | 2623446.9061 | 1242547.516
3 | 2623490.2041 | 1242546.8667
4 | 2623437.5253 | 1242548.2341
5 | 2623467.1766 | 1242616.1616
6 | 2623490.6037 | 1242614.8019
7 | 2623465.266 | 1242616.2036
8 | 2623493.9671 | 1242546.8536
9 | 2623425.0998 | 1242550.0996
10 | 2623442.0141 | 1242616.154
11 | 2623430.8694 | 1242615.8911
12 | 2623515.0237 | 1242546.6478
13 | 2623509.9853 | 1242613.0736
14 | 2623407.397 | 1242548.4067
15 | 2623413.6544 | 1242615.3513
16 | 2623386.2211 | 1242613.2343
17 | 2623380.9626 | 1242612.3362
18 | 2623341.3688 | 1242370.604
19 | 2623475.4084 | 1242395.1554
20 | 2623554.393 | 1242661.3116
21 | 2623589.343 | 1242635.8229
22 | 2623545.0982 | 1242668.2594
23 | 2623604.6341 | 1242627.8853
24 | 2623543.7034 | 1242669.299
25 | 2623507.4185 | 1242668.9877
26 | 2623616.1991 | 1242622.6013
27 | 2623511.1043 | 1242696.0981
28 | 2623554.1409 | 1242671.3474
29 | 2623484.1262 | 1242670.3756
30 | 2623621.9903 | 1242620.0776
31 | 2623583.4967 | 1242610.1775
32 | 2623510.9652 | 1242696.1894
33 | 2623551.2051 | 1242703.7126
34 | 2623569.0469 | 1242671.6922
35 | 2623579.5703 | 1242711.3562
36 | 2623608.6594 | 1242719.5869
37 | 2623572.2351 | 1242756.4552
38 | 2623609.1524 | 1242719.7115
39 | 2623498.5374 | 1242708.8147
40 | 2623481.3783 | 1242724.5362
41 | 2623614.5362 | 1242672.5042
42 | 2623599.4245 | 1242672.2293
43 | 2623623.63 | 1242672.7596
44 | 2623575.4414 | 1242671.8071
45 | 2623644.1107 | 1242673.6517
46 | 2623644.6554 | 1242673.6817
47 | 2623665.606 | 1242674.8367
48 | 2623519.8958 | 1242546.5075
49 | 2623549.781 | 1242545.7772
50 | 2623557.6587 | 1242546.0696
51 | 2623528.3362 | 1242611.4679
52 | 2623556.7215 | 1242609.5914
53 | 2623583.68 | 1242547.2342
54 | 2623571.7058 | 1242497.8274
55 | 2623603.4803 | 1242548.5857
56 | 2623542.3839 | 1242404.6366
57 | 2623484.7083 | 1242319.8445
58 | 2623497.5216 | 1242397.9445
59 | 2623512.0346 | 1242400.5257
60 | 2623656.7975 | 1242555.4979
61 | 2623521.427 | 1242387.121
62 | 2623642.1983 | 1242611.5976
63 | 2623652.6599 | 1242616.8915
64 | 2623670.4171 | 1242618.8266
65 | 2623667.9744 | 1242674.9673
66 | 2623686.2798 | 1242675.8352
67 | 2623407.397 | 1242548.4067

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99999 | -7.7127e-05 | 0.0021089 | 0.00052855
1 | 1 | 0 | -0.17514 | -0.044153
2 | 0.99962 | -0.0026623 | 0.0018902 | 0.00047372
3 | 0.99752 | -0.017005 | 0.0016759 | 0.00042002
4 | 0.99948 | -0.0036402 | 0.002727 | 0.00068344
5 | 0.97411 | -0.18159 | 0.0014046 | 0.00035204
6 | 0.9746 | -0.17807 | 0.0019149 | 0.00047991
7 | 0.97408 | -0.18184 | 0.0018033 | 0.00045195
8 | 0.9971 | -0.019928 | 0.0019261 | 0.00048273
9 | 0.99934 | -0.0046034 | 0.0016759 | 0.00042003
10 | 0.9737 | -0.18454 | 0.0013175 | 0.0003302
11 | 0.97354 | -0.18568 | 0.0013864 | 0.00034747
12 | 0.99475 | -0.036129 | 0.0021501 | 0.00053886
13 | 0.97506 | -0.17477 | 0.004777 | 0.0011972
14 | 0.99919 | -0.0056695 | 0.0059933 | 0.0015021
15 | 0.97333 | -0.18719 | 0.0023833 | 0.00059732
16 | 0.97309 | -0.18891 | 0.002997 | 0.00075111
17 | 0.97307 | -0.18908 | 0.0029383 | 0.00073642
18 | 0.97115 | -0.20268 | 0.042513 | 0.010655
19 | 0.97965 | -0.1419 | 0.0038073 | 0.00095419
20 | 0.9747 | -0.17732 | 0.00095442 | 0.0002392
21 | 0.97712 | -0.15999 | 0.0017307 | 0.00043376
22 | 0.97407 | -0.18186 | 0 | 0
23 | 0.97813 | -0.1528 | 0.0012568 | 0.00031497
24 | 0.97398 | -0.18248 | 0 | 0
25 | 0.97388 | -0.18321 | 0.0012726 | 0.00031895
26 | 0.9789 | -0.14734 | 0 | 0
27 | 0.97279 | -0.19109 | 0 | 0
28 | 0.97375 | -0.18413 | 0.0016226 | 0.00040667
29 | 0.97381 | -0.18373 | 0.0021118 | 0.00052928
30 | 0.97953 | -0.14284 | 0.0012369 | 0.00031001
31 | 0.97746 | -0.15761 | 0.0038133 | 0.0009557
32 | 0.97278 | -0.19111 | 0.0014602 | 0.00036595
33 | 0.97228 | -0.19472 | 0.0018577 | 0.00046558
34 | 0.97347 | -0.18614 | 0.00075839 | 0.00019007
35 | 0.972 | -0.19676 | 0.0017111 | 0.00042884
36 | 0.97186 | -0.19776 | 0.0017888 | 0.00044833
37 | 0.97189 | -0.19758 | 0.0016946 | 0.0004247
38 | 0.97186 | -0.19777 | 0.0013493 | 0.00033817
39 | 0.97254 | -0.19289 | 0.0028543 | 0.00071536
40 | 0.97231 | -0.19452 | 0.0066563 | 0.0016682
41 | 0.97276 | -0.19128 | 0.0021533 | 0.00053966
42 | 0.97298 | -0.18969 | 0.0008342 | 0.00020907
43 | 0.97266 | -0.19203 | 0.0016543 | 0.00041461
44 | 0.97336 | -0.18695 | 0.0012638 | 0.00031675
45 | 0.97247 | -0.19336 | 0.0012764 | 0.0003199
46 | 0.97247 | -0.19339 | 0.0012894 | 0.00032316
47 | 0.97236 | -0.19419 | 0.0010585 | 0.00026529
48 | 0.99421 | -0.039836 | 0.0032379 | 0.00081149
49 | 0.99099 | -0.062174 | 0.0023594 | 0.00059132
50 | 0.99016 | -0.067994 | 0.0036842 | 0.00092335
51 | 0.97562 | -0.17072 | 0.0010311 | 0.00025842
52 | 0.97654 | -0.16418 | 0.0014351 | 0.00035966
53 | 0.98872 | -0.078031 | 0.0021637 | 0.00054227
54 | 0.98774 | -0.084879 | 0.0063134 | 0.0015823
55 | 0.98766 | -0.085479 | 0.0012208 | 0.00030597
56 | 0.98349 | -0.11476 | 0.0042469 | 0.0010644
57 | 0.97948 | -0.14313 | 0.0015542 | 0.00038953
58 | 0.98122 | -0.13082 | 0 | 0
59 | 0.98225 | -0.12351 | 0.003943 | 0.00098821
60 | 0.98482 | -0.1054 | 0 | 0
61 | 0.98217 | -0.12409 | 0.0034315 | 0.00086002
62 | 0.98176 | -0.127 | 0 | 0
63 | 0.98172 | -0.12732 | 0.0012619 | 0.00031626
64 | 0.98168 | -0.12755 | 0.001263 | 0.00031653
65 | 0.97235 | -0.19425 | 0.0014317 | 0.00035883
66 | 0.97232 | -0.19446 | 0.0011039 | 0.00027667
67 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014403 | -0.00361 | 0.014403 | 0.00361 | 1.5381e-07 | 5.2117e-08 | 0.021432 | 0.021432 | 0.021432 | 0.99999 | -7.7127e-05 | 1 | 0 | 7.9379
1 | 0.012294 | 0.0030814 | -0.01229 | -0.00308 | 4.3993e-06 | 1.4158e-06 | 0.018294 | 0.018294 | 0.018294 | 0.99999 | -7.7127e-05 | 0.99962 | -0.0026623 | 6.7756
2 | 0.15994 | 0.040543 | -0.15956 | -0.040396 | 0.00038432 | 0.00014725 | 0.23816 | 0.23816 | 0.23816 | 1 | 0 | 0.99752 | -0.017005 | 44.1029
3 | 0.0104 | 0.0026063 | -0.010398 | -0.0026059 | 1.4077e-06 | 4.1803e-07 | 0.015481 | 0.015481 | 0.015481 | 0.99962 | -0.0026623 | 0.99948 | -0.0036402 | 5.7335
4 | 0.15788 | 0.039976 | -0.15781 | -0.039951 | 6.5201e-05 | 2.4979e-05 | 0.23566 | 0.23566 | 0.23566 | 0.99752 | -0.017005 | 0.9971 | -0.019928 | 43.64
5 | 0.0076712 | 0.0019224 | -0.0076702 | -0.0019222 | 1.0227e-06 | 2.2868e-07 | 0.011421 | 0.011421 | 0.011421 | 0.99948 | -0.0036402 | 0.99934 | -0.0046034 | 4.2299
6 | -0.01424 | -0.003569 | 0.014247 | 0.0035714 | 6.9295e-06 | 2.3729e-06 | 0.021752 | 0.021752 | 0.021752 | 0.97411 | -0.18159 | 0.9746 | -0.17807 | 8.0564
7 | 0.012835 | 0.003217 | -0.012835 | -0.0032168 | 4.5852e-07 | 1.5256e-07 | 0.019607 | 0.019607 | 0.019607 | 0.97411 | -0.18159 | 0.97408 | -0.18184 | 7.2617
8 | -0.016162 | -0.0040513 | 0.016169 | 0.0040539 | 7.3935e-06 | 2.6011e-06 | 0.024676 | 0.024676 | 0.024676 | 0.9746 | -0.17807 | 0.97506 | -0.17477 | 9.1392
9 | 0.011031 | 0.0027649 | -0.011027 | -0.0027636 | 4.1206e-06 | 1.2955e-06 | 0.016852 | 0.016852 | 0.016852 | 0.97408 | -0.18184 | 0.9737 | -0.18454 | 6.2415
10 | 0.15589 | 0.039468 | -0.15553 | -0.039332 | 0.00035603 | 0.00013639 | 0.23278 | 0.23278 | 0.23278 | 0.9971 | -0.019928 | 0.99475 | -0.036129 | 43.1077
11 | 0.0059942 | 0.0015022 | -0.0059933 | -0.0015021 | 8.8455e-07 | 1.071e-07 | 0.0089253 | 0.0089254 | 0.0089254 | 0.99934 | -0.0046034 | 0.99919 | -0.0056695 | 3.3057
12 | 0.0097098 | 0.0024334 | -0.0097083 | -0.0024329 | 1.5316e-06 | 4.5046e-07 | 0.014839 | 0.014839 | 0.014839 | 0.9737 | -0.18454 | 0.97354 | -0.18568 | 5.4958
13 | 0.0083219 | 0.0020855 | -0.0083201 | -0.002085 | 1.7388e-06 | 4.5467e-07 | 0.01272 | 0.01272 | 0.01272 | 0.97354 | -0.18568 | 0.97333 | -0.18719 | 4.711
14 | 0.15338 | 0.038793 | -0.1533 | -0.038762 | 8.0143e-05 | 3.0698e-05 | 0.22957 | 0.22957 | 0.22957 | 0.99475 | -0.036129 | 0.99421 | -0.039836 | 42.5121
15 | -0.020946 | -0.0052511 | 0.020958 | 0.0052554 | 1.1746e-05 | 4.2879e-06 | 0.031966 | 0.031966 | 0.031966 | 0.97506 | -0.17477 | 0.97562 | -0.17072 | 11.8392
16 | 0.0059368 | 0.0014877 | -0.0059354 | -0.0014875 | 1.415e-06 | 2.0218e-07 | 0.009076 | 0.0090761 | 0.0090761 | 0.97333 | -0.18719 | 0.97309 | -0.18891 | 3.3615
17 | 0.0029384 | 0.00073638 | -0.0029383 | -0.00073642 | 6.7238e-08 | -4.0439e-08 | 0.0044933 | 0.0044933 | 0.0044933 | 0.97309 | -0.18891 | 0.97307 | -0.18908 | 1.6642
18 | -0.042513 | -0.010655 | 0.042874 | 0.010792 | 0.0003608 | 0.00013707 | 0.06514 | 0.065139 | 0.06514 | 0.97115 | -0.20268 | 0.97965 | -0.1419 | 24.1258
19 | 0.0015545 | 0.00038867 | -0.0015542 | -0.00038953 | 2.6395e-07 | -8.5374e-07 | 0.0023608 | 0.0023612 | 0.0023612 | 0.97965 | -0.1419 | 0.97948 | -0.14313 | 0.87451
20 | -0.048236 | -0.012135 | 0.04831 | 0.012163 | 7.469e-05 | 2.8446e-05 | 0.073283 | 0.073283 | 0.073283 | 0.97965 | -0.1419 | 0.98122 | -0.13082 | 27.1417
21 | -0.038236 | -0.0095876 | 0.038328 | 0.0096225 | 9.2039e-05 | 3.4859e-05 | 0.058374 | 0.058374 | 0.058374 | 0.9747 | -0.17732 | 0.97712 | -0.15999 | 21.6199
22 | 0.037281 | 0.0093484 | -0.037258 | -0.0093395 | 2.3458e-05 | 8.8778e-06 | 0.056917 | 0.056917 | 0.056917 | 0.9747 | -0.17732 | 0.97407 | -0.18186 | 21.0803
23 | -0.040058 | -0.010056 | 0.040098 | 0.010071 | 4.0052e-05 | 1.5188e-05 | 0.061009 | 0.061009 | 0.061009 | 0.97712 | -0.15999 | 0.97813 | -0.1528 | 22.596
24 | 0.033873 | 0.0084918 | -0.03387 | -0.0084907 | 2.9006e-06 | 1.094e-06 | 0.051746 | 0.051746 | 0.051746 | 0.97407 | -0.18186 | 0.97398 | -0.18248 | 19.165
25 | 0.0033853 | 0.00084777 | -0.0033846 | -0.000848 | 6.3141e-07 | -2.2806e-07 | 0.0051712 | 0.0051714 | 0.0051714 | 0.97407 | -0.18186 | 0.97388 | -0.18321 | 1.9153
26 | -0.041355 | -0.010386 | 0.041387 | 0.010398 | 3.1412e-05 | 1.1922e-05 | 0.062921 | 0.062921 | 0.062921 | 0.97813 | -0.1528 | 0.9789 | -0.14734 | 23.3041
27 | 0.019406 | 0.0048653 | -0.019383 | -0.0048569 | 2.3111e-05 | 8.365e-06 | 0.029648 | 0.029649 | 0.029649 | 0.97398 | -0.18248 | 0.97279 | -0.19109 | 10.981
28 | 0.014464 | 0.0036254 | -0.01446 | -0.0036243 | 3.2935e-06 | 1.1322e-06 | 0.022097 | 0.022097 | 0.022097 | 0.97398 | -0.18248 | 0.97375 | -0.18413 | 8.1842
29 | 0.002112 | 0.00052904 | -0.0021118 | -0.00052928 | 1.522e-07 | -2.329e-07 | 0.0032269 | 0.003227 | 0.003227 | 0.97388 | -0.18321 | 0.97381 | -0.18373 | 1.1952
30 | -0.068704 | -0.017257 | 0.068747 | 0.017274 | 4.3009e-05 | 1.6462e-05 | 0.10445 | 0.10445 | 0.10445 | 0.9789 | -0.14734 | 0.97953 | -0.14284 | 38.6855
31 | 0.027318 | 0.0068589 | -0.027279 | -0.0068444 | 3.8912e-05 | 1.4512e-05 | 0.04153 | 0.04153 | 0.04153 | 0.9789 | -0.14734 | 0.97746 | -0.15761 | 15.3815
32 | 0.010975 | 0.0027505 | -0.010975 | -0.0027505 | 2.9259e-08 | 9.1879e-09 | 0.016787 | 0.016787 | 0.016787 | 0.97279 | -0.19109 | 0.97278 | -0.19111 | 6.2175
33 | 0.0084082 | 0.0021064 | -0.008404 | -0.0021053 | 4.2269e-06 | 1.1176e-06 | 0.012861 | 0.012861 | 0.012861 | 0.97279 | -0.19109 | 0.97228 | -0.19472 | 4.7635
34 | 0.012838 | 0.0032176 | -0.012834 | -0.0032164 | 3.5806e-06 | 1.1917e-06 | 0.019618 | 0.019618 | 0.019618 | 0.97375 | -0.18413 | 0.97347 | -0.18614 | 7.2658
35 | -0.069984 | -0.017584 | 0.070139 | 0.017643 | 0.00015466 | 5.9207e-05 | 0.10633 | 0.10633 | 0.10633 | 0.97953 | -0.14284 | 0.98176 | -0.127 | 39.3814
36 | 0.023465 | 0.0058887 | -0.023444 | -0.0058808 | 2.1378e-05 | 7.8861e-06 | 0.035725 | 0.035725 | 0.035725 | 0.97746 | -0.15761 | 0.97654 | -0.16418 | 13.2315
37 | 0.0095145 | 0.0023846 | -0.0095121 | -0.0023839 | 2.3432e-06 | 6.812e-07 | 0.014554 | 0.014554 | 0.014554 | 0.97278 | -0.19111 | 0.97254 | -0.19289 | 5.3903
38 | 0.0065463 | 0.0016397 | -0.0065445 | -0.0016393 | 1.8412e-06 | 3.4366e-07 | 0.010018 | 0.010018 | 0.010018 | 0.97228 | -0.19472 | 0.972 | -0.19676 | 3.7106
39 | 0.012076 | 0.0030263 | -0.012074 | -0.0030259 | 1.3597e-06 | 4.4347e-07 | 0.018458 | 0.018458 | 0.018458 | 0.97347 | -0.18614 | 0.97336 | -0.18695 | 6.8365
40 | 0.0031386 | 0.00078629 | -0.0031382 | -0.00078649 | 4.359e-07 | -2.0735e-07 | 0.0048047 | 0.0048049 | 0.0048049 | 0.972 | -0.19676 | 0.97186 | -0.19776 | 1.7796
41 | 0.0016948 | 0.00042421 | -0.0016946 | -0.0004247 | 1.9191e-07 | -4.9246e-07 | 0.0025943 | 0.0025945 | 0.0025945 | 0.972 | -0.19676 | 0.97189 | -0.19758 | 0.96092
42 | 0.0013493 | 0.00033817 | -0.0013493 | -0.00033817 | 1.3546e-09 | -5.781e-09 | 0.002066 | 0.002066 | 0.002066 | 0.97186 | -0.19776 | 0.97186 | -0.19777 | 0.76517
43 | 0.0066578 | 0.0016685 | -0.0066563 | -0.0016682 | 1.5081e-06 | 2.9111e-07 | 0.010187 | 0.010187 | 0.010187 | 0.97254 | -0.19289 | 0.97231 | -0.19452 | 3.7729
44 | -0.00997 | -0.0024982 | 0.0099722 | 0.0024988 | 2.1936e-06 | 6.5601e-07 | 0.015251 | 0.015251 | 0.015251 | 0.97276 | -0.19128 | 0.97298 | -0.18969 | 5.6484
45 | 0.0078168 | 0.0019585 | -0.007816 | -0.0019583 | 8.1166e-07 | 1.9924e-07 | 0.011957 | 0.011957 | 0.011957 | 0.97276 | -0.19128 | 0.97266 | -0.19203 | 4.4285
46 | -0.010806 | -0.0027079 | 0.010811 | 0.0027092 | 4.0881e-06 | 1.2743e-06 | 0.016527 | 0.016526 | 0.016527 | 0.97298 | -0.18969 | 0.97336 | -0.18695 | 6.1209
47 | 0.0061617 | 0.0015437 | -0.0061605 | -0.0015435 | 1.1366e-06 | 1.8278e-07 | 0.0094262 | 0.0094263 | 0.0094263 | 0.97266 | -0.19203 | 0.97247 | -0.19336 | 3.4912
48 | 0.0048841 | 0.0012236 | -0.0048841 | -0.0012236 | 1.9011e-08 | 5.4374e-10 | 0.0074732 | 0.0074732 | 0.0074732 | 0.97247 | -0.19336 | 0.97247 | -0.19339 | 2.7678
49 | 0.0035946 | 0.00090045 | -0.0035943 | -0.00090056 | 3.961e-07 | -1.0795e-07 | 0.0055002 | 0.0055003 | 0.0055003 | 0.97247 | -0.19339 | 0.97236 | -0.19419 | 2.0371
50 | 0.0025357 | 0.00063526 | -0.0025357 | -0.00063528 | 2.2287e-08 | -2.085e-08 | 0.0038804 | 0.0038804 | 0.0038804 | 0.97236 | -0.19419 | 0.97235 | -0.19425 | 1.4372
51 | 0.15006 | 0.037951 | -0.14959 | -0.03777 | 0.00047106 | 0.00018041 | 0.22472 | 0.22472 | 0.22472 | 0.99421 | -0.039836 | 0.99099 | -0.062174 | 41.6148
52 | 0.14723 | 0.037179 | -0.14711 | -0.037133 | 0.00012032 | 4.6074e-05 | 0.22118 | 0.22118 | 0.22118 | 0.99099 | -0.062174 | 0.99016 | -0.067994 | 40.9587
53 | 0.076657 | 0.019354 | -0.076549 | -0.019313 | 0.00010796 | 4.0852e-05 | 0.11525 | 0.11525 | 0.11525 | 0.99016 | -0.067994 | 0.98872 | -0.078031 | 21.3428
54 | 0.066773 | 0.016856 | -0.066615 | -0.016797 | 0.00015799 | 5.9476e-05 | 0.10039 | 0.10039 | 0.10039 | 0.99016 | -0.067994 | 0.98774 | -0.084879 | 18.5907
55 | -0.021989 | -0.0055138 | 0.022009 | 0.0055212 | 1.9967e-05 | 7.324e-06 | 0.033538 | 0.033538 | 0.033538 | 0.97562 | -0.17072 | 0.97654 | -0.16418 | 12.4216
56 | 0.074385 | 0.018771 | -0.074308 | -0.018741 | 7.7666e-05 | 2.9363e-05 | 0.11199 | 0.11199 | 0.11199 | 0.98872 | -0.078031 | 0.98766 | -0.085479 | 20.7398
57 | 0.060301 | 0.015214 | -0.06005 | -0.01512 | 0.00025174 | 9.4334e-05 | 0.090879 | 0.09088 | 0.09088 | 0.98774 | -0.084879 | 0.98349 | -0.11476 | 16.8296
58 | 0.073087 | 0.018435 | -0.072883 | -0.018358 | 0.00020357 | 7.6925e-05 | 0.11016 | 0.11016 | 0.11016 | 0.98766 | -0.085479 | 0.98482 | -0.1054 | 20.3993
59 | 0.055803 | 0.014056 | -0.055734 | -0.01403 | 6.8187e-05 | 2.5449e-05 | 0.084454 | 0.084455 | 0.084455 | 0.98349 | -0.11476 | 0.98225 | -0.12351 | 15.6397
60 | -0.04831 | -0.012163 | 0.04836 | 0.012182 | 4.9398e-05 | 1.8813e-05 | 0.073283 | 0.073283 | 0.073283 | 0.98122 | -0.13082 | 0.98225 | -0.12351 | 27.1417
61 | 0.0034318 | 0.00085992 | -0.0034315 | -0.00086002 | 2.7605e-07 | -1.0099e-07 | 0.0051988 | 0.0051989 | 0.0051989 | 0.98225 | -0.12351 | 0.98217 | -0.12409 | 1.9255
62 | 0.072883 | 0.018358 | -0.072664 | -0.018275 | 0.00021946 | 8.2939e-05 | 0.11016 | 0.11016 | 0.11016 | 0.98482 | -0.1054 | 0.98176 | -0.127 | 20.3994
63 | 0.002525 | 0.00063247 | -0.0025249 | -0.00063258 | 1.1289e-07 | -1.1277e-07 | 0.0038269 | 0.003827 | 0.003827 | 0.98176 | -0.127 | 0.98172 | -0.12732 | 1.4174
64 | 0.001263 | 0.00031632 | -0.001263 | -0.00031653 | 4.0858e-08 | -2.1019e-07 | 0.0019143 | 0.0019144 | 0.0019144 | 0.98172 | -0.12732 | 0.98168 | -0.12755 | 0.70903
65 | 0.001104 | 0.00027645 | -0.0011039 | -0.00027667 | 3.2641e-08 | -2.1478e-07 | 0.0016893 | 0.0016894 | 0.0016894 | 0.97235 | -0.19425 | 0.97232 | -0.19446 | 0.62571

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17625 | 0.044431

## res_load
| p_mw | q_mvar
0 | 0.0021089 | 0.00052855
1 | 0.0011059 | 0.00027716
2 | 0.0018902 | 0.00047372
3 | 0.0016759 | 0.00042002
4 | 0.002727 | 0.00068344
5 | 0.0014046 | 0.00035204
6 | 0.0019149 | 0.00047991
7 | 0.0018033 | 0.00045195
8 | 0.0019261 | 0.00048273
9 | 0.0016759 | 0.00042003
10 | 0.0013175 | 0.0003302
11 | 0.0013864 | 0.00034747
12 | 0.0021501 | 0.00053886
13 | 0.004777 | 0.0011972
14 | 0.0059933 | 0.0015021
15 | 0.0023833 | 0.00059732
16 | 0.002997 | 0.00075111
17 | 0.0029383 | 0.00073642
18 | 0.042513 | 0.010655
19 | 0.0038073 | 0.00095419
20 | 0.00095442 | 0.0002392
21 | 0.0017307 | 0.00043376
22 | 0.0012568 | 0.00031497
23 | 0.0012726 | 0.00031895
24 | 0.0016226 | 0.00040667
25 | 0.0021118 | 0.00052928
26 | 0.0012369 | 0.00031001
27 | 0.0038133 | 0.0009557
28 | 0.0014602 | 0.00036595
29 | 0.0018577 | 0.00046558
30 | 0.00075839 | 0.00019007
31 | 0.0017111 | 0.00042884
32 | 0.0017888 | 0.00044833
33 | 0.0016946 | 0.0004247
34 | 0.0013493 | 0.00033817
35 | 0.0028543 | 0.00071536
36 | 0.0066563 | 0.0016682
37 | 0.0021533 | 0.00053966
38 | 0.0008342 | 0.00020907
39 | 0.0016543 | 0.00041461
40 | 0.0012638 | 0.00031675
41 | 0.0012764 | 0.0003199
42 | 0.0012894 | 0.00032316
43 | 0.0010585 | 0.00026529
44 | 0.0032379 | 0.00081149
45 | 0.0023594 | 0.00059132
46 | 0.0036842 | 0.00092335
47 | 0.0010311 | 0.00025842
48 | 0.0014351 | 0.00035966
49 | 0.0021637 | 0.00054227
50 | 0.0063134 | 0.0015823
51 | 0.0012208 | 0.00030597
52 | 0.0042469 | 0.0010644
53 | 0.0015542 | 0.00038953
54 | 0.003943 | 0.00098821
55 | 0.0034315 | 0.00086002
56 | 0.0012619 | 0.00031626
57 | 0.001263 | 0.00031653
58 | 0.0014317 | 0.00035883
59 | 0.0011039 | 0.00027667

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1