## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2425-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2425-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2425-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2425-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2425-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2425-3_0_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2425-3_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_2425-3_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2425-3_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_2425-3_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2425-3_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2425-3_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2425-3_0_3_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_2425-3_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2425-3_0_3_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_2425-3_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2425-3_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2425-3_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2425-3_0_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_2425-3_0_3_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_2425-3_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_2425-3_0_3_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_2425-3_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_2425-3_0_3_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_2425-3_0_3_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_2425-3_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2425-3_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_2425-3_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2425-3_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2425-3_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2425-3_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_2425-3_0_3_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_2425-3_0_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_2425-3_0_3_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_2425-3_0_3_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_2425-3_0_3_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_2425-3_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_2425-3_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_2425-3_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_2425-3_0_3_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_2425-3_0_3_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_2425-3_0_3_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_2425-3_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_2425-3_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_2425-3_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_2425-3_0_3_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_2425-3_0_3_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_2425-3_0_3_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_2425-3_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_2425-3_0_3_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_2425-3_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_2425-3_0_3_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_2425-3_0_3_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2425-3_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_2425-3_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_2425-3_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_2425-3_0_3_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_2425-3_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2425-3_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_2425-3_0_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_2425-3_0_3_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_2425-3_0_3_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_2425-3_0_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_2425-3_0_3_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_2425-3_0_3_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_2425-3_0_3_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_2425-3_0_3_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_2425-3_0_3_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_2425-3_0_3_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_2425-3_0_3_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_2425-3_0_3_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_2425-3_0_3_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_2425-3_0_3_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_2425-3_0_3_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_2425-3_0_3_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_2425-3_0_3_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_2425-3_0_3_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_2425-3_0_3_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_2425-3_0_3_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_2425-3_0_3_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_2425-3_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_2425-3_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_2425-3_0_3_node_73 | 0.4 | n |  | TRUE
83 | bus_MV_334_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2425-3_0_3_load_0 | 0 | 0.0023581 | 0.000591 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2425-3_0_3_load_1 | 1 | 0.0040667 | 0.0010192 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2425-3_0_3_load_2 | 2 | 0.0009979 | 0.0002501 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2425-3_0_3_load_3 | 3 | 0.0072507 | 0.0018172 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2425-3_0_3_load_19 | 5 | 0.0015545 | 0.0003896 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2425-3_0_3_load_26 | 6 | 0.0018953 | 0.000475 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2425-3_0_3_load_18 | 7 | 0.00082703 | 0.00020727 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2425-3_0_3_load_25 | 8 | 0.0048105 | 0.0012056 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2425-3_0_3_load_5 | 9 | 0.0011532 | 0.00028902 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2425-3_0_3_load_6 | 10 | 0.0011241 | 0.00028173 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2425-3_0_3_load_59 | 12 | 0.0028423 | 0.00071234 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2425-3_0_3_load_10 | 13 | 0.00097344 | 0.00024397 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2425-3_0_3_load_79 | 14 | 0.0017606 | 0.00044125 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2425-3_0_3_load_8 | 15 | 0.002126 | 0.00053282 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2425-3_0_3_load_9 | 16 | 0.0012749 | 0.00031952 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2425-3_0_3_load_65 | 19 | 0.0026351 | 0.00066042 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2425-3_0_3_load_35 | 21 | 0.021613 | 0.0054167 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2425-3_0_3_load_30 | 22 | 0.0059211 | 0.001484 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2425-3_0_3_load_60 | 23 | 0.012746 | 0.0031944 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2425-3_0_3_load_64 | 24 | 0.001734 | 0.00043457 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2425-3_0_3_load_12 | 25 | 0.00064383 | 0.00016136 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2425-3_0_3_load_13 | 26 | 0.0028677 | 0.00071871 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2425-3_0_3_load_15 | 28 | 0.0022486 | 0.00056356 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2425-3_0_3_load_16 | 29 | 0.00048022 | 0.00012036 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2425-3_0_3_load_17 | 30 | 0.0051866 | 0.0012999 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2425-3_0_3_load_55 | 31 | 0.0057233 | 0.0014344 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2425-3_0_3_load_62 | 32 | 0.001727 | 0.00043282 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2425-3_0_3_load_85 | 33 | 0.0070764 | 0.0017735 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2425-3_0_3_load_56 | 34 | 0.0032067 | 0.00080368 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2425-3_0_3_load_63 | 35 | 0.0031833 | 0.0007978 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2425-3_0_3_load_20 | 36 | 0.0020994 | 0.00052615 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2425-3_0_3_load_45 | 38 | 0.001703 | 0.00042682 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2425-3_0_3_load_58 | 39 | 0.0014517 | 0.00036384 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2425-3_0_3_load_57 | 40 | 0.001966 | 0.00049273 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2425-3_0_3_load_43 | 41 | 0.0019458 | 0.00048767 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2425-3_0_3_load_22 | 42 | 0.0087156 | 0.0021843 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2425-3_0_3_load_23 | 43 | 0.0047888 | 0.0012002 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2425-3_0_3_load_24 | 44 | 0.0023138 | 0.00057989 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2425-3_0_3_load_77 | 45 | 0.0029219 | 0.0007323 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2425-3_0_3_load_78 | 46 | 0.0016325 | 0.00040914 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2425-3_0_3_load_28 | 48 | 0.0011307 | 0.00028337 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2425-3_0_3_load_29 | 49 | 0.002348 | 0.00058846 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2425-3_0_3_load_48 | 50 | 0.0024005 | 0.00060161 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2425-3_0_3_load_66 | 51 | 0.0022228 | 0.00055709 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2425-3_0_3_load_33 | 54 | 0.0033989 | 0.00085184 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2425-3_0_3_load_61 | 58 | 0.011617 | 0.0029115 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2425-3_0_3_load_67 | 59 | 0.0013609 | 0.00034108 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2425-3_0_3_load_69 | 60 | 0.0033672 | 0.00084391 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2425-3_0_3_load_42 | 61 | 0.003037 | 0.00076113 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2425-3_0_3_load_37 | 63 | 0.0021398 | 0.00053628 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2425-3_0_3_load_38 | 64 | 0.0018411 | 0.00046142 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2425-3_0_3_load_40 | 66 | 0.00087237 | 0.00021864 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2425-3_0_3_load_71 | 67 | 0.0013325 | 0.00033397 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2425-3_0_3_load_41 | 68 | 0.0014027 | 0.00035154 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2425-3_0_3_load_74 | 69 | 0.0014875 | 0.0003728 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2425-3_0_3_load_72 | 70 | 0.0010546 | 0.00026431 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2425-3_0_3_load_82 | 72 | 0.001096 | 0.00027468 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2425-3_0_3_load_84 | 73 | 0.0017731 | 0.00044438 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2425-3_0_3_load_53 | 74 | 0.0016125 | 0.00040412 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2425-3_0_3_load_80 | 75 | 0.0025451 | 0.00063785 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2425-3_0_3_load_51 | 76 | 0.0011656 | 0.00029212 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2425-3_0_3_load_50 | 77 | 0.0017224 | 0.00043168 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2425-3_0_3_load_52 | 78 | 0.0021766 | 0.00054551 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2425-3_0_3_load_54 | 79 | 0.0023294 | 0.00058381 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2425-3_0_3_load_75 | 80 | 0.0024644 | 0.00061764 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2425-3_0_3_load_70 | 81 | 0.0042129 | 0.0010559 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2425-3_0_3_load_73 | 82 | 0.0016587 | 0.00041572 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2425-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2425-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.047797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2425-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.035371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2425-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2425-3_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0091752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_2425-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.03879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_2425-3_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.011307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2425-3_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.00092104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2425-3_0_3_line_8 | NAYY 4x150 SE | 7 | 36 | 0.015973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2425-3_0_3_line_9 | NAYY 4x150 SE | 8 | 47 | 0.028492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2425-3_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.019682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2425-3_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.012804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2425-3_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.017096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2425-3_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.040013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2425-3_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.010236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2425-3_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.02474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2425-3_0_3_line_16 | NAYY 4x150 SE | 14 | 80 | 0.026962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2425-3_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.033563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2425-3_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.040918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2425-3_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.028298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_2425-3_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.035826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_2425-3_0_3_line_21 | NAYY 4x150 SE | 18 | 23 | 0.023385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_2425-3_0_3_line_22 | NAYY 4x150 SE | 19 | 24 | 0.033858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2425-3_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.016531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2425-3_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.019106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2425-3_0_3_line_25 | NAYY 4x150 SE | 21 | 59 | 0.018212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2425-3_0_3_line_26 | NAYY 4x150 SE | 23 | 58 | 0.029346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_2425-3_0_3_line_27 | NAYY 4x150 SE | 24 | 44 | 0.028433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2425-3_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.022553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2425-3_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0053021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2425-3_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.018422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2425-3_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0041021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2425-3_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.037533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2425-3_0_3_line_33 | NAYY 4x150 SE | 28 | 31 | 0.027147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_2425-3_0_3_line_34 | NAYY 4x150 SE | 29 | 32 | 0.005521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2425-3_0_3_line_35 | NAYY 4x150 SE | 30 | 33 | 0.0098192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2425-3_0_3_line_36 | NAYY 4x150 SE | 31 | 34 | 0.0088424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_2425-3_0_3_line_37 | NAYY 4x150 SE | 32 | 35 | 0.029607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2425-3_0_3_line_38 | NAYY 4x150 SE | 34 | 40 | 0.047426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_2425-3_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.029099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_2425-3_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.027001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_2425-3_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.0096117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2425-3_0_3_line_42 | NAYY 4x150 SE | 37 | 40 | 0.065407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_2425-3_0_3_line_43 | NAYY 4x150 SE | 38 | 41 | 0.0090501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_2425-3_0_3_line_44 | NAYY 4x150 SE | 41 | 61 | 0.023035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_2425-3_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.042787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2425-3_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.051199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2425-3_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.037891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2425-3_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.029719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2425-3_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.01106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2425-3_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.0018452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2425-3_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.028728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2425-3_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.025768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2425-3_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.02392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2425-3_0_3_line_54 | NAYY 4x150 SE | 52 | 74 | 0.022973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2425-3_0_3_line_55 | NAYY 4x150 SE | 52 | 75 | 0.029529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2425-3_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.013673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2425-3_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.017719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2425-3_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.0081523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2425-3_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.026022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_2425-3_0_3_line_60 | NAYY 4x150 SE | 55 | 58 | 0.02907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_2425-3_0_3_line_61 | NAYY 4x150 SE | 56 | 60 | 0.011632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2425-3_0_3_line_62 | NAYY 4x150 SE | 57 | 61 | 0.036603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_2425-3_0_3_line_63 | NAYY 4x150 SE | 59 | 62 | 0.011935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2425-3_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.015701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2425-3_0_3_line_65 | NAYY 4x150 SE | 61 | 71 | 0.059871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2425-3_0_3_line_66 | NAYY 4x150 SE | 62 | 81 | 0.015802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2425-3_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.0061653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2425-3_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.043273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2425-3_0_3_line_69 | NAYY 4x150 SE | 64 | 66 | 0.024965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2425-3_0_3_line_70 | NAYY 4x150 SE | 64 | 67 | 0.055918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2425-3_0_3_line_71 | NAYY 4x150 SE | 65 | 68 | 0.065554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2425-3_0_3_line_72 | NAYY 4x150 SE | 68 | 69 | 0.044586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2425-3_0_3_line_73 | NAYY 4x150 SE | 69 | 70 | 0.0058066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2425-3_0_3_line_74 | NAYY 4x150 SE | 70 | 82 | 0.022022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2425-3_0_3_line_75 | NAYY 4x150 SE | 71 | 73 | 0.027353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2425-3_0_3_line_76 | NAYY 4x150 SE | 71 | 72 | 0.007617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2425-3_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.0089168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2425-3_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.018989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2425-3_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.016687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2425-3_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.0018876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2425-3_0_3_line_81 | NAYY 4x150 SE | 80 | 82 | 0.007467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2425-3_0_3_trafo_65 | 0.25 MVA 20/0.4 kV | 83 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2623677.3974 | 1242325.1006 | 2623677.3974 | 1242325.1006 | 2623670.8006 | 1242320.805 | 2623663.002 | 1242316.5046 | 2623656.1013 | 1242312.5969 | 2623645.7226 | 1242308.931 | 2623643.6558 | 1242308.4274
1 | 2623677.3974 | 1242325.1006 | 2623683.6043 | 1242328.6053 | 2623693.0977 | 1242332.5011 | 2623707.4015 | 1242335.6045 | 2623722.6223 | 1242339.7312
2 | 2623609.1792 | 1242300.5361 | 2623625.4995 | 1242304.1032 | 2623631.8509 | 1242305.496 | 2623637.9295 | 1242307.0322 | 2623643.6558 | 1242308.4274
3 | 2623737.9995 | 1242343.098 | 2623729.502 | 1242341.5965 | 2623722.6223 | 1242339.7312
4 | 2623737.9995 | 1242343.098 | 2623737.6028 | 1242349.7006 | 2623737.827 | 1242352.2515
5 | 2623737.9995 | 1242343.098 | 2623738.1977 | 1242338.8961 | 2623739.1988 | 1242328.6047 | 2623738.1016 | 1242325.0981 | 2623734.3991 | 1242319.1018 | 2623730.1981 | 1242314.9046 | 2623724.4369 | 1242309.9736
6 | 2623737.827 | 1242352.2515 | 2623738.2969 | 1242357.5972 | 2623739.8796 | 1242363.3234
7 | 2623724.4369 | 1242309.9736 | 2623723.7372 | 1242309.3747
8 | 2623748.696 | 1242376.4794 | 2623746.8988 | 1242374.5979 | 2623742.8983 | 1242369.4009 | 2623740.2043 | 1242364.4981 | 2623739.8796 | 1242363.3234
9 | 2623700.2991 | 1242293.205 | 2623706.4061 | 1242297.0984 | 2623722.0022 | 1242307.8897 | 2623723.7372 | 1242309.3747
10 | 2623624.5767 | 1242551.3588 | 2623628.3997 | 1242551.9049 | 2623644.0948 | 1242553.8907
11 | 2623656.7975 | 1242555.4979 | 2623644.0948 | 1242553.8907
12 | 2623656.7975 | 1242555.4979 | 2623660.8998 | 1242556.0034 | 2623673.8293 | 1242556.9322
13 | 2623656.7975 | 1242555.4979 | 2623657.3024 | 1242546.4052 | 2623658.8022 | 1242530.401 | 2623660.3031 | 1242523.6027 | 2623661.808 | 1242515.878
14 | 2623684.0391 | 1242557.6656 | 2623673.8293 | 1242556.9322
15 | 2623661.808 | 1242515.878 | 2623661.9004 | 1242515.4039 | 2623664.199 | 1242509.4982 | 2623668.0021 | 1242503.4984 | 2623673.0977 | 1242497.5038 | 2623675.1997 | 1242495.436
16 | 2623684.0391 | 1242557.6656 | 2623699.8977 | 1242558.8049 | 2623710.8183 | 1242560.5712
17 | 2623675.1997 | 1242495.436 | 2623679.1987 | 1242491.502 | 2623691.7988 | 1242483.9029 | 2623703.0882 | 1242476.9875
18 | 2623739.1509 | 1242457.9308 | 2623733.0504 | 1242460.0189 | 2623729.2031 | 1242461.9048 | 2623723.1069 | 1242464.8045 | 2623709.5973 | 1242473.0003 | 2623703.0882 | 1242476.9875
19 | 2623739.1509 | 1242457.9308 | 2623750.2664 | 1242458.7202 | 2623755.8792 | 1242442.5101
20 | 2623739.1509 | 1242457.9308 | 2623733.6946 | 1242452.0053 | 2623724.2064 | 1242452.5678 | 2623710.2919 | 1242454.2467 | 2623706.0409 | 1242454.2883
21 | 2623755.8792 | 1242442.5101 | 2623766.4434 | 1242446.9551 | 2623777.4706 | 1242451.4913
22 | 2623672.2832 | 1242452.2249 | 2623680.8938 | 1242453.0622 | 2623695.7638 | 1242454.3889 | 2623706.0409 | 1242454.2883
23 | 2623784.5146 | 1242469.9753 | 2623782.7042 | 1242476.6055 | 2623781.9025 | 1242484.2961 | 2623781.9478 | 1242486.2214
24 | 2623784.5146 | 1242469.9753 | 2623802.4362 | 1242476.5989
25 | 2623787.4226 | 1242503.0257 | 2623786.9014 | 1242502.5054 | 2623783.8968 | 1242497.8015 | 2623782.1028 | 1242492.8023 | 2623781.9478 | 1242486.2214
26 | 2623777.4706 | 1242451.4913 | 2623801.4877 | 1242461.371 | 2623804.6096 | 1242462.6561
27 | 2623672.2832 | 1242452.2249 | 2623664.8003 | 1242451.4972 | 2623643.9837 | 1242449.4756
28 | 2623585.5702 | 1242349.0892 | 2623605.0984 | 1242353.598 | 2623607.5479 | 1242354.1523
29 | 2623580.4041 | 1242347.8964 | 2623585.5702 | 1242349.0892
30 | 2623625.4699 | 1242358.395 | 2623622.8 | 1242357.6041 | 2623607.5479 | 1242354.1523
31 | 2623580.4041 | 1242347.8964 | 2623576.373 | 1242347.1363
32 | 2623580.4041 | 1242347.8964 | 2623578.2791 | 1242363.3755 | 2623582.0771 | 1242366.2925 | 2623598.9009 | 1242369.461
33 | 2623625.4699 | 1242358.395 | 2623633.6038 | 1242360.8046 | 2623644.8973 | 1242364.3962 | 2623651.2527 | 1242366.8498
34 | 2623570.9476 | 1242346.1133 | 2623570.9476 | 1242346.1133 | 2623576.373 | 1242347.1363
35 | 2623608.5505 | 1242371.2784 | 2623598.9009 | 1242369.461
36 | 2623659.3074 | 1242370.4613 | 2623655.7802 | 1242368.5977 | 2623651.2527 | 1242366.8498
37 | 2623570.9476 | 1242346.1133 | 2623565.09 | 1242365.091 | 2623562.2894 | 1242374.4255
38 | 2623702.5716 | 1242389.5019 | 2623696.3009 | 1242387.9045 | 2623686.5352 | 1242384.0854 | 2623676.7185 | 1242379.7992 | 2623668.1202 | 1242375.1176 | 2623659.3074 | 1242370.4613
39 | 2623767.0978 | 1242398.6049 | 2623764.9043 | 1242393.3039 | 2623755.5023 | 1242383.6046 | 2623748.696 | 1242376.4794
40 | 2623767.0978 | 1242398.6049 | 2623778.5102 | 1242400.7741 | 2623787.7193 | 1242403.8907 | 2623792.4911 | 1242406.9383
41 | 2623767.0978 | 1242398.6049 | 2623767.7041 | 1242400.0971 | 2623768.1042 | 1242404.0012 | 2623768.0202 | 1242408.0769
42 | 2623767.0978 | 1242398.6049 | 2623758.804 | 1242399.1054 | 2623726.0023 | 1242394.605 | 2623711.199 | 1242391.6996 | 2623702.5716 | 1242389.5019
43 | 2623800.1183 | 1242411.8096 | 2623792.4911 | 1242406.9383
44 | 2623800.1183 | 1242411.8096 | 2623803.8007 | 1242414.1615 | 2623813.0075 | 1242423.5154 | 2623817.5646 | 1242426.6668
45 | 2623592.9552 | 1242445.3349 | 2623577.5042 | 1242444.4015 | 2623574.5578 | 1242471.5496
46 | 2623592.9552 | 1242445.3349 | 2623597.4012 | 1242445.6034 | 2623630.898 | 1242448.2047 | 2623643.9837 | 1242449.4756
47 | 2623592.9552 | 1242445.3349 | 2623579.4961 | 1242409.9153
48 | 2623643.9837 | 1242449.4756 | 2623640.6299 | 1242419.9468
49 | 2623700.2991 | 1242293.205 | 2623704.3033 | 1242284.2041 | 2623704.6894 | 1242283.0584
50 | 2623700.2991 | 1242293.205 | 2623698.7383 | 1242292.2207
51 | 2623704.6894 | 1242283.0584 | 2623707.2406 | 1242275.4881 | 2623707.683 | 1242270.6979 | 2623707.331 | 1242267.9948 | 2623705.7399 | 1242265.1533 | 2623702.2441 | 1242262.2598 | 2623697.4749 | 1242259.7085
52 | 2623676.996 | 1242278.3933 | 2623681.1027 | 1242281.0986 | 2623698.7383 | 1242292.2207
53 | 2623678.0968 | 1242246.298 | 2623685.1803 | 1242253.6642 | 2623696.4438 | 1242259.1569 | 2623697.4749 | 1242259.7085
54 | 2623678.0968 | 1242246.298 | 2623685.6023 | 1242248.2958 | 2623700.7358 | 1242249.7825
55 | 2623678.0968 | 1242246.298 | 2623677.8032 | 1242245.9966 | 2623672.699 | 1242242.6964 | 2623667.3995 | 1242239.1064 | 2623654.971 | 1242228.0585
56 | 2623831.404 | 1242487.8965 | 2623828.8979 | 1242494.6018 | 2623827.1987 | 1242499.8984 | 2623826.7741 | 1242500.7506
57 | 2623831.4911 | 1242473.7212 | 2623835.7018 | 1242475.4503 | 2623831.404 | 1242487.8965
58 | 2623822.7 | 1242507.7965 | 2623825.1032 | 1242504.1038 | 2623826.7741 | 1242500.7506
59 | 2623831.4911 | 1242473.7212 | 2623834.7153 | 1242465.1065 | 2623838.4984 | 1242456.6051 | 2623841.1031 | 1242453.6026 | 2623843.901 | 1242451.4013
60 | 2623831.4911 | 1242473.7212 | 2623804.6096 | 1242462.6561
61 | 2623822.7 | 1242507.7965 | 2623818.3025 | 1242507.4008 | 2623814.1039 | 1242508.2957 | 2623811.2909 | 1242509.0934
62 | 2623843.901 | 1242451.4013 | 2623841.0721 | 1242446.2422 | 2623830.4723 | 1242435.593 | 2623817.5646 | 1242426.6668
63 | 2623795.7995 | 1242511.5023 | 2623793.7986 | 1242509.1038 | 2623790.4021 | 1242505.9994 | 2623787.4226 | 1242503.0257
64 | 2623795.7995 | 1242511.5023 | 2623798.4005 | 1242511.3014 | 2623805.9025 | 1242510.2975 | 2623810.1993 | 1242509.403 | 2623811.2909 | 1242509.0934
65 | 2623817.5646 | 1242426.6668 | 2623859.0714 | 1242383.5191
66 | 2623795.7995 | 1242511.5023 | 2623796.0024 | 1242511.8033 | 2623796.6003 | 1242513.4956 | 2623796.2998 | 1242518.6977 | 2623795.3971 | 1242523.297 | 2623794.3913 | 1242526.9062
67 | 2623689.5955 | 1242620.0695 | 2623683.4431 | 1242619.6708
68 | 2623642.1983 | 1242611.5976 | 2623643.1971 | 1242613.2026 | 2623644.5978 | 1242614.4978 | 2623647.1012 | 1242615.9976 | 2623649.397 | 1242616.496 | 2623666.5613 | 1242618.5767 | 2623683.4431 | 1242619.6708
69 | 2623714.5441 | 1242620.9542 | 2623691.6033 | 1242620.1996 | 2623689.5955 | 1242620.0695
70 | 2623689.5955 | 1242620.0695 | 2623685.337 | 1242675.825
71 | 2623642.1983 | 1242611.5976 | 2623663.9019 | 1242601.1995 | 2623701.9004 | 1242587.2976 | 2623702.8622 | 1242586.9395
72 | 2623744.0997 | 1242570.0994 | 2623739.6031 | 1242571.8048 | 2623726.6002 | 1242578.1013 | 2623702.8622 | 1242586.9395
73 | 2623744.0997 | 1242570.0994 | 2623741.2975 | 1242567.6978 | 2623739.4467 | 1242566.6719
74 | 2623739.4467 | 1242566.6719 | 2623735.7016 | 1242564.5958 | 2623718.1894 | 1242561.7634
75 | 2623859.0714 | 1242383.5191 | 2623838.7974 | 1242365.0928
76 | 2623859.0714 | 1242383.5191 | 2623865.1468 | 1242388.1135
77 | 2623709.623 | 1242250.5071 | 2623701.9986 | 1242249.9066 | 2623700.7358 | 1242249.7825
78 | 2623728.5636 | 1242251.861 | 2623718.5019 | 1242251.2065 | 2623709.623 | 1242250.5071
79 | 2623728.5636 | 1242251.861 | 2623733.797 | 1242252.2015 | 2623745.2136 | 1242252.9724
80 | 2623747.0969 | 1242253.0996 | 2623745.2136 | 1242252.9724
81 | 2623710.8183 | 1242560.5712 | 2623718.1894 | 1242561.7634

## bus_geodata
| x | y | coords
0 | 2623677.3974 | 1242325.1006
1 | 2623643.6558 | 1242308.4274
2 | 2623722.6223 | 1242339.7312
3 | 2623609.1792 | 1242300.5361
4 | 2623737.9995 | 1242343.098
5 | 2623737.827 | 1242352.2515
6 | 2623724.4369 | 1242309.9736
7 | 2623739.8796 | 1242363.3234
8 | 2623723.7372 | 1242309.3747
9 | 2623624.5767 | 1242551.3588
10 | 2623644.0948 | 1242553.8907
11 | 2623656.7975 | 1242555.4979
12 | 2623673.8293 | 1242556.9322
13 | 2623661.808 | 1242515.878
14 | 2623684.0391 | 1242557.6656
15 | 2623675.1997 | 1242495.436
16 | 2623703.0882 | 1242476.9875
17 | 2623739.1509 | 1242457.9308
18 | 2623755.8792 | 1242442.5101
19 | 2623706.0409 | 1242454.2883
20 | 2623784.5146 | 1242469.9753
21 | 2623781.9478 | 1242486.2214
22 | 2623802.4362 | 1242476.5989
23 | 2623777.4706 | 1242451.4913
24 | 2623672.2832 | 1242452.2248
25 | 2623585.5702 | 1242349.0892
26 | 2623607.5479 | 1242354.1523
27 | 2623580.404 | 1242347.8964
28 | 2623625.4699 | 1242358.395
29 | 2623576.373 | 1242347.1363
30 | 2623598.9009 | 1242369.461
31 | 2623651.2527 | 1242366.8498
32 | 2623570.9476 | 1242346.1133
33 | 2623608.5505 | 1242371.2784
34 | 2623659.3074 | 1242370.4613
35 | 2623562.2894 | 1242374.4255
36 | 2623748.696 | 1242376.4794
37 | 2623767.0978 | 1242398.6049
38 | 2623792.4911 | 1242406.9383
39 | 2623768.0202 | 1242408.0769
40 | 2623702.5716 | 1242389.5019
41 | 2623800.1183 | 1242411.8096
42 | 2623574.5578 | 1242471.5496
43 | 2623592.9552 | 1242445.3349
44 | 2623643.9837 | 1242449.4756
45 | 2623579.4961 | 1242409.9153
46 | 2623640.6299 | 1242419.9468
47 | 2623700.2991 | 1242293.205
48 | 2623704.6894 | 1242283.0584
49 | 2623698.7383 | 1242292.2207
50 | 2623697.4749 | 1242259.7085
51 | 2623676.996 | 1242278.3933
52 | 2623678.0968 | 1242246.298
53 | 2623831.404 | 1242487.8965
54 | 2623826.7741 | 1242500.7506
55 | 2623831.4911 | 1242473.7212
56 | 2623822.7 | 1242507.7965
57 | 2623843.901 | 1242451.4013
58 | 2623804.6096 | 1242462.6561
59 | 2623787.4226 | 1242503.0257
60 | 2623811.2909 | 1242509.0934
61 | 2623817.5646 | 1242426.6668
62 | 2623795.7995 | 1242511.5023
63 | 2623683.4431 | 1242619.6708
64 | 2623689.5955 | 1242620.0695
65 | 2623642.1983 | 1242611.5976
66 | 2623714.5441 | 1242620.9542
67 | 2623685.337 | 1242675.825
68 | 2623702.8622 | 1242586.9395
69 | 2623744.0997 | 1242570.0994
70 | 2623739.4467 | 1242566.6719
71 | 2623859.0714 | 1242383.5191
72 | 2623865.1468 | 1242388.1135
73 | 2623838.7974 | 1242365.0928
74 | 2623700.7358 | 1242249.7825
75 | 2623654.971 | 1242228.0585
76 | 2623709.623 | 1242250.5071
77 | 2623728.5636 | 1242251.861
78 | 2623745.2136 | 1242252.9724
79 | 2623747.0969 | 1242253.0996
80 | 2623710.8183 | 1242560.5712
81 | 2623794.3913 | 1242526.9062
82 | 2623718.1894 | 1242561.7634
83 | 2623739.1509 | 1242457.9308

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97244 | -0.19364 | 0.0023581 | 0.000591
1 | 0.97181 | -0.19817 | 0.0040667 | 0.0010192
2 | 0.9734 | -0.18675 | 0.0009979 | 0.0002501
3 | 0.97143 | -0.20088 | 0.0072507 | 0.0018172
4 | 0.97374 | -0.18431 | 0 | 0
5 | 0.97401 | -0.18233 | 0.0015545 | 0.0003896
6 | 0.97299 | -0.1897 | 0.0018953 | 0.000475
7 | 0.97437 | -0.17979 | 0.00082703 | 0.00020727
8 | 0.97295 | -0.18994 | 0.0048105 | 0.0012056
9 | 0.99053 | -0.065955 | 0.0011532 | 0.00028902
10 | 0.99056 | -0.065724 | 0.0011241 | 0.00028173
11 | 0.99061 | -0.065427 | 0 | 0
12 | 0.99014 | -0.068713 | 0.0028423 | 0.00071234
13 | 0.99182 | -0.056823 | 0.00097344 | 0.00024397
14 | 0.9899 | -0.070385 | 0.0017606 | 0.00044125
15 | 0.99261 | -0.051268 | 0.002126 | 0.00053282
16 | 0.99378 | -0.043025 | 0.0012749 | 0.00031952
17 | 0.99529 | -0.032474 | 0 | 0
18 | 0.99208 | -0.054673 | 0 | 0
19 | 1 | 0 | -0.20739 | -0.05227
20 | 0.9786 | -0.14972 | 0 | 0
21 | 0.97875 | -0.1487 | 0.021613 | 0.0054167
22 | 0.97844 | -0.15089 | 0.0059211 | 0.001484
23 | 0.98944 | -0.073125 | 0.012746 | 0.0031944
24 | 0.99893 | -0.0074849 | 0.001734 | 0.00043457
25 | 0.97124 | -0.20226 | 0.00064383 | 0.00016136
26 | 0.97185 | -0.1979 | 0.0028677 | 0.00071871
27 | 0.9711 | -0.20325 | 0 | 0
28 | 0.97242 | -0.19378 | 0.0022486 | 0.00056356
29 | 0.97107 | -0.20349 | 0.00048022 | 0.00012036
30 | 0.97043 | -0.20813 | 0.0051866 | 0.0012999
31 | 0.97289 | -0.19042 | 0.0057233 | 0.0014344
32 | 0.97103 | -0.20377 | 0.001727 | 0.00043282
33 | 0.97032 | -0.20886 | 0.0070764 | 0.0017735
34 | 0.97307 | -0.18906 | 0.0032067 | 0.00080368
35 | 0.97089 | -0.20477 | 0.0031833 | 0.0007978
36 | 0.97487 | -0.17614 | 0.0020994 | 0.00052615
37 | 0.97585 | -0.16919 | 0 | 0
38 | 0.97746 | -0.1577 | 0.001703 | 0.00042682
39 | 0.97583 | -0.16934 | 0.0014517 | 0.00036384
40 | 0.9742 | -0.18098 | 0.001966 | 0.00049273
41 | 0.97801 | -0.15377 | 0.0019458 | 0.00048767
42 | 0.99637 | -0.025477 | 0.0087156 | 0.0021843
43 | 0.9969 | -0.021729 | 0.0047888 | 0.0012002
44 | 0.9981 | -0.013288 | 0.0023138 | 0.00057989
45 | 0.99674 | -0.022842 | 0.0029219 | 0.0007323
46 | 0.99803 | -0.013775 | 0.0016325 | 0.00040914
47 | 0.97213 | -0.19585 | 0 | 0
48 | 0.97189 | -0.19762 | 0.0011307 | 0.00028337
49 | 0.97212 | -0.19594 | 0.002348 | 0.00058846
50 | 0.9713 | -0.20186 | 0.0024005 | 0.00060161
51 | 0.97204 | -0.19655 | 0.0022228 | 0.00055709
52 | 0.97089 | -0.20478 | 0 | 0
53 | 0.98258 | -0.12136 | 0 | 0
54 | 0.98179 | -0.12701 | 0.0033989 | 0.00085184
55 | 0.98361 | -0.11407 | 0 | 0
56 | 0.98135 | -0.13009 | 0 | 0
57 | 0.98188 | -0.12629 | 0 | 0
58 | 0.98639 | -0.094502 | 0.011617 | 0.0029115
59 | 0.97948 | -0.14347 | 0.0013609 | 0.00034108
60 | 0.98074 | -0.13449 | 0.0033672 | 0.00084391
61 | 0.97944 | -0.14357 | 0.003037 | 0.00076113
62 | 0.97998 | -0.13989 | 0 | 0
63 | 0.98736 | -0.088394 | 0.0021398 | 0.00053628
64 | 0.98733 | -0.08865 | 0.0018411 | 0.00046142
65 | 0.98775 | -0.08565 | 0 | 0
66 | 0.9873 | -0.088873 | 0.00087237 | 0.00021864
67 | 0.98722 | -0.089414 | 0.0013325 | 0.00033397
68 | 0.98834 | -0.081494 | 0.0014027 | 0.00035154
69 | 0.98882 | -0.07803 | 0.0014875 | 0.0003728
70 | 0.9889 | -0.07749 | 0.0010546 | 0.00026431
71 | 0.97919 | -0.14536 | 0 | 0
72 | 0.97918 | -0.14545 | 0.001096 | 0.00027468
73 | 0.97912 | -0.14586 | 0.0017731 | 0.00044438
74 | 0.97059 | -0.20698 | 0.0016125 | 0.00040412
75 | 0.97078 | -0.20558 | 0.0025451 | 0.00063785
76 | 0.97049 | -0.20768 | 0.0011656 | 0.00029212
77 | 0.97032 | -0.20893 | 0.0017224 | 0.00043168
78 | 0.97021 | -0.20973 | 0.0021766 | 0.00054551
79 | 0.9702 | -0.20977 | 0.0023294 | 0.00058381
80 | 0.98935 | -0.074309 | 0.0024644 | 0.00061764
81 | 0.97988 | -0.14058 | 0.0042129 | 0.0010559
82 | 0.98922 | -0.075209 | 0.0016587 | 0.00041572
83 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.011327 | 0.0028393 | -0.01132 | -0.002837 | 7.0944e-06 | 2.2594e-06 | 0.017333 | 0.017333 | 0.017333 | 0.97244 | -0.19364 | 0.97181 | -0.19817 | 6.4197
1 | -0.013685 | -0.0034303 | 0.013698 | 0.0034347 | 1.3079e-05 | 4.437e-06 | 0.020941 | 0.020941 | 0.020941 | 0.97244 | -0.19364 | 0.9734 | -0.18675 | 7.7561
2 | 0.0072535 | 0.0018178 | -0.0072507 | -0.0018172 | 2.7226e-06 | 6.0907e-07 | 0.011106 | 0.011106 | 0.011106 | 0.97181 | -0.19817 | 0.97143 | -0.20088 | 4.1135
3 | -0.014696 | -0.0036848 | 0.014701 | 0.0036865 | 4.9629e-06 | 1.7129e-06 | 0.022467 | 0.022467 | 0.022467 | 0.9734 | -0.18675 | 0.97374 | -0.18431 | 8.321
4 | -0.041119 | -0.010312 | 0.041131 | 0.010316 | 1.1304e-05 | 4.1193e-06 | 0.062839 | 0.062839 | 0.062839 | 0.97374 | -0.18431 | 0.97401 | -0.18233 | 11.6368
5 | 0.026418 | 0.0066252 | -0.026398 | -0.0066186 | 1.9726e-05 | 6.6227e-06 | 0.040372 | 0.040373 | 0.040373 | 0.97374 | -0.18431 | 0.97299 | -0.1897 | 7.4764
6 | -0.042685 | -0.010705 | 0.0427 | 0.010711 | 1.5003e-05 | 5.489e-06 | 0.065214 | 0.065214 | 0.065214 | 0.97401 | -0.18233 | 0.97437 | -0.17979 | 12.0766
7 | 0.024503 | 0.0061436 | -0.024502 | -0.0061433 | 8.071e-07 | 2.9898e-07 | 0.037474 | 0.037474 | 0.037474 | 0.97299 | -0.1897 | 0.97295 | -0.18994 | 13.8793
8 | -0.043527 | -0.010918 | 0.043549 | 0.010926 | 2.2023e-05 | 8.0725e-06 | 0.066477 | 0.066477 | 0.066477 | 0.97437 | -0.17979 | 0.97487 | -0.17614 | 12.3105
9 | 0.019692 | 0.0049376 | -0.019676 | -0.0049318 | 1.6126e-05 | 5.8488e-06 | 0.030117 | 0.030117 | 0.030117 | 0.97295 | -0.18994 | 0.97213 | -0.19585 | 11.1545
10 | -0.0011532 | -0.00028902 | 0.0011533 | 0.00028878 | 3.6858e-08 | -2.3918e-07 | 0.0017324 | 0.0017323 | 0.0017324 | 0.99053 | -0.065955 | 0.99056 | -0.065724 | 0.64163
11 | -0.0022774 | -0.00057051 | 0.0022775 | 0.00057038 | 9.3502e-08 | -1.2887e-07 | 0.003421 | 0.0034209 | 0.003421 | 0.99056 | -0.065724 | 0.99061 | -0.065427 | 1.267
12 | 0.018892 | 0.0047352 | -0.018883 | -0.0047321 | 8.5911e-06 | 3.0843e-06 | 0.028378 | 0.028378 | 0.028378 | 0.99061 | -0.065427 | 0.99014 | -0.068713 | 10.5104
13 | -0.021169 | -0.0053056 | 0.021194 | 0.0053148 | 2.5247e-05 | 9.1946e-06 | 0.031799 | 0.031799 | 0.031799 | 0.99061 | -0.065427 | 0.99182 | -0.056823 | 11.7774
14 | 0.016041 | 0.0040198 | -0.016037 | -0.0040185 | 3.7119e-06 | 1.296e-06 | 0.024107 | 0.024107 | 0.024107 | 0.99014 | -0.068713 | 0.9899 | -0.070385 | 8.9284
15 | -0.022168 | -0.0055588 | 0.022185 | 0.005565 | 1.7077e-05 | 6.2485e-06 | 0.033259 | 0.033259 | 0.033259 | 0.99182 | -0.056823 | 0.99261 | -0.051268 | 12.3182
16 | 0.014277 | 0.0035772 | -0.014269 | -0.0035746 | 7.7482e-06 | 2.6337e-06 | 0.02146 | 0.02146 | 0.02146 | 0.9899 | -0.070385 | 0.98935 | -0.074309 | 7.9482
17 | -0.024311 | -0.0060978 | 0.024339 | 0.0061081 | 2.7819e-05 | 1.0265e-05 | 0.036446 | 0.036446 | 0.036446 | 0.99261 | -0.051268 | 0.99378 | -0.043025 | 13.4985
18 | -0.025614 | -0.0064276 | 0.025651 | 0.0064415 | 3.7561e-05 | 1.3916e-05 | 0.038355 | 0.038355 | 0.038355 | 0.99378 | -0.043025 | 0.99529 | -0.032474 | 14.2055
19 | 0.15793 | 0.039943 | -0.15744 | -0.039754 | 0.00049275 | 0.00018879 | 0.23624 | 0.23624 | 0.23624 | 0.99529 | -0.032474 | 0.99208 | -0.054673 | 43.7488
20 | -0.18358 | -0.046385 | 0.18442 | 0.046708 | 0.00084285 | 0.00032324 | 0.2746 | 0.2746 | 0.2746 | 0.99529 | -0.032474 | 1 | 0 | 50.8514
21 | 0.15744 | 0.039754 | -0.15703 | -0.039598 | 0.0004072 | 0.00015601 | 0.23624 | 0.23624 | 0.23624 | 0.99208 | -0.054673 | 0.98944 | -0.073125 | 43.7488
22 | 0.02217 | 0.005562 | -0.022147 | -0.0055536 | 2.2996e-05 | 8.4009e-06 | 0.032992 | 0.032992 | 0.032992 | 1 | 0 | 0.99893 | -0.0074849 | 12.2192
23 | -0.005922 | -0.0014841 | 0.0059229 | 0.0014842 | 8.3641e-07 | 1.1397e-07 | 0.0090047 | 0.0090046 | 0.0090047 | 0.9786 | -0.14972 | 0.97875 | -0.1487 | 3.3351
24 | 0.005922 | 0.0014841 | -0.0059211 | -0.001484 | 9.6673e-07 | 1.3181e-07 | 0.0090047 | 0.0090048 | 0.0090048 | 0.9786 | -0.14972 | 0.97844 | -0.15089 | 3.3351
25 | -0.027536 | -0.0069009 | 0.027556 | 0.0069084 | 1.9917e-05 | 7.4312e-06 | 0.041863 | 0.041863 | 0.041863 | 0.97875 | -0.1487 | 0.97948 | -0.14347 | 15.505
26 | 0.14428 | 0.036404 | -0.14385 | -0.036239 | 0.00043144 | 0.00016519 | 0.21708 | 0.21708 | 0.21708 | 0.98944 | -0.073125 | 0.98639 | -0.094502 | 40.1992
27 | 0.020413 | 0.005119 | -0.020397 | -0.0051131 | 1.6406e-05 | 5.9381e-06 | 0.030409 | 0.030409 | 0.030409 | 0.99893 | -0.0074849 | 0.9981 | -0.013288 | 11.2626
28 | -0.01831 | -0.0045893 | 0.018321 | 0.0045933 | 1.1074e-05 | 3.9801e-06 | 0.028052 | 0.028052 | 0.028052 | 0.97124 | -0.20226 | 0.97185 | -0.1979 | 10.3896
29 | 0.017666 | 0.004428 | -0.017663 | -0.0044271 | 2.4236e-06 | 8.6654e-07 | 0.027065 | 0.027065 | 0.027065 | 0.97124 | -0.20226 | 0.9711 | -0.20325 | 10.0242
30 | -0.021188 | -0.005312 | 0.0212 | 0.0053164 | 1.2099e-05 | 4.4252e-06 | 0.032443 | 0.032442 | 0.032443 | 0.97185 | -0.1979 | 0.97242 | -0.19378 | 12.0158
31 | 0.0053913 | 0.0013508 | -0.0053911 | -0.0013508 | 1.7468e-07 | 1.6435e-08 | 0.0082609 | 0.0082609 | 0.0082609 | 0.9711 | -0.20325 | 0.97107 | -0.20349 | 3.0596
32 | 0.012272 | 0.0030763 | -0.012264 | -0.0030736 | 8.2819e-06 | 2.7213e-06 | 0.018805 | 0.018805 | 0.018805 | 0.9711 | -0.20325 | 0.97043 | -0.20813 | 6.9647
33 | -0.023449 | -0.00588 | 0.02346 | 0.0058835 | 1.0906e-05 | 3.5206e-06 | 0.035883 | 0.035883 | 0.035883 | 0.97242 | -0.19378 | 0.97289 | -0.19042 | 6.6451
34 | 0.0049109 | 0.0012304 | -0.0049107 | -0.0012304 | 1.9508e-07 | 6.7333e-09 | 0.007525 | 0.007525 | 0.007525 | 0.97107 | -0.20349 | 0.97103 | -0.20377 | 2.7871
35 | 0.0070772 | 0.0017737 | -0.0070764 | -0.0017735 | 7.2156e-07 | 1.5622e-07 | 0.010852 | 0.010852 | 0.010852 | 0.97043 | -0.20813 | 0.97032 | -0.20886 | 4.0192
36 | -0.029183 | -0.0073179 | 0.029189 | 0.0073198 | 5.4968e-06 | 1.8945e-06 | 0.044637 | 0.044637 | 0.044637 | 0.97289 | -0.19042 | 0.97307 | -0.18906 | 8.2661
37 | 0.0031837 | 0.00079761 | -0.0031833 | -0.0007978 | 4.3973e-07 | -1.9706e-07 | 0.0048786 | 0.0048788 | 0.0048788 | 0.97103 | -0.20377 | 0.97089 | -0.20477 | 1.807
38 | -0.032395 | -0.0081235 | 0.032432 | 0.0081363 | 3.6315e-05 | 1.2788e-05 | 0.04954 | 0.04954 | 0.04954 | 0.97307 | -0.18906 | 0.9742 | -0.18098 | 9.1742
39 | -0.045649 | -0.011452 | 0.045693 | 0.011469 | 4.4082e-05 | 1.6228e-05 | 0.069681 | 0.069681 | 0.069681 | 0.97487 | -0.17614 | 0.97585 | -0.16919 | 12.9039
40 | -0.081599 | -0.020481 | 0.081729 | 0.020531 | 0.00013045 | 4.9496e-05 | 0.12444 | 0.12444 | 0.12444 | 0.97585 | -0.16919 | 0.97746 | -0.1577 | 23.0438
41 | 0.0014517 | 0.00036373 | -0.0014517 | -0.00036384 | 2.9391e-08 | -1.0877e-07 | 0.0022137 | 0.0022137 | 0.0022137 | 0.97585 | -0.16919 | 0.97583 | -0.16934 | 0.81989
42 | 0.034454 | 0.008649 | -0.034398 | -0.008629 | 5.6338e-05 | 2.0037e-05 | 0.052542 | 0.052543 | 0.052543 | 0.97585 | -0.16919 | 0.9742 | -0.18098 | 9.7302
43 | -0.083432 | -0.020958 | 0.083478 | 0.020975 | 4.5563e-05 | 1.7297e-05 | 0.12703 | 0.12703 | 0.12703 | 0.97746 | -0.1577 | 0.97801 | -0.15377 | 23.5239
44 | -0.085424 | -0.021463 | 0.085545 | 0.021509 | 0.00012144 | 4.6128e-05 | 0.12999 | 0.12999 | 0.12999 | 0.97801 | -0.15377 | 0.97944 | -0.14357 | 24.0721
45 | -0.0087156 | -0.0021843 | 0.0087202 | 0.0021855 | 4.5234e-06 | 1.1822e-06 | 0.013016 | 0.013016 | 0.013016 | 0.99637 | -0.025477 | 0.9969 | -0.021729 | 4.8209
46 | -0.016431 | -0.0041177 | 0.01645 | 0.0041244 | 1.9217e-05 | 6.7229e-06 | 0.024526 | 0.024526 | 0.024526 | 0.9969 | -0.021729 | 0.9981 | -0.013288 | 9.0837
47 | 0.0029223 | 0.00073198 | -0.0029219 | -0.0007323 | 4.4986e-07 | -3.2092e-07 | 0.0043619 | 0.004362 | 0.004362 | 0.9969 | -0.021729 | 0.99674 | -0.022842 | 1.6156
48 | 0.0016326 | 0.0004088 | -0.0016325 | -0.00040914 | 1.0986e-07 | -3.4613e-07 | 0.0024338 | 0.002434 | 0.002434 | 0.9981 | -0.013288 | 0.99803 | -0.013775 | 0.90147
49 | 0.015105 | 0.0037865 | -0.015101 | -0.0037852 | 3.6894e-06 | 1.2819e-06 | 0.023121 | 0.023121 | 0.023121 | 0.97213 | -0.19585 | 0.97189 | -0.19762 | 8.5632
50 | 0.004571 | 0.0011453 | -0.004571 | -0.0011453 | 5.6364e-08 | -1.1983e-09 | 0.0069966 | 0.0069966 | 0.0069966 | 0.97213 | -0.19585 | 0.97212 | -0.19594 | 2.5913
51 | 0.01397 | 0.0035018 | -0.013962 | -0.003499 | 8.2017e-06 | 2.7987e-06 | 0.02139 | 0.02139 | 0.02139 | 0.97189 | -0.19762 | 0.9713 | -0.20186 | 7.9221
52 | 0.002223 | 0.00055684 | -0.0022228 | -0.00055709 | 1.8616e-07 | -2.4784e-07 | 0.0034026 | 0.0034027 | 0.0034027 | 0.97212 | -0.19594 | 0.97204 | -0.19655 | 1.2603
53 | 0.011562 | 0.0028974 | -0.011557 | -0.0028959 | 4.6827e-06 | 1.5051e-06 | 0.017712 | 0.017712 | 0.017712 | 0.9713 | -0.20186 | 0.97089 | -0.20478 | 6.5601
54 | 0.0090116 | 0.0022583 | -0.0090089 | -0.0022576 | 2.7345e-06 | 7.6773e-07 | 0.013811 | 0.013811 | 0.013811 | 0.97089 | -0.20478 | 0.97059 | -0.20698 | 5.1154
55 | 0.0025453 | 0.00063759 | -0.0025451 | -0.00063785 | 2.804e-07 | -2.5729e-07 | 0.0039009 | 0.0039011 | 0.0039011 | 0.97089 | -0.20478 | 0.97078 | -0.20558 | 1.4448
56 | 0.040005 | 0.010042 | -0.039973 | -0.01003 | 3.132e-05 | 1.1873e-05 | 0.060588 | 0.060589 | 0.060589 | 0.98258 | -0.12136 | 0.98179 | -0.12701 | 22.4402
57 | -0.040005 | -0.010042 | 0.040045 | 0.010057 | 4.0589e-05 | 1.5387e-05 | 0.060588 | 0.060588 | 0.060588 | 0.98258 | -0.12136 | 0.98361 | -0.11407 | 22.4402
58 | 0.036574 | 0.0091782 | -0.036559 | -0.0091723 | 1.5634e-05 | 5.91e-06 | 0.055437 | 0.055437 | 0.055437 | 0.98179 | -0.12701 | 0.98135 | -0.13009 | 20.5323
59 | 0.091829 | 0.023132 | -0.091672 | -0.023072 | 0.00015678 | 5.9641e-05 | 0.13896 | 0.13896 | 0.13896 | 0.98361 | -0.11407 | 0.98188 | -0.12629 | 25.7338
60 | -0.13187 | -0.033189 | 0.13224 | 0.033327 | 0.00036116 | 0.00013817 | 0.19955 | 0.19955 | 0.19955 | 0.98361 | -0.11407 | 0.98639 | -0.094502 | 36.9538
61 | 0.036559 | 0.0091723 | -0.036536 | -0.0091639 | 2.2307e-05 | 8.4328e-06 | 0.055437 | 0.055437 | 0.055437 | 0.98135 | -0.13009 | 0.98074 | -0.13449 | 20.5323
62 | 0.091672 | 0.023072 | -0.091452 | -0.022988 | 0.00022053 | 8.3895e-05 | 0.13896 | 0.13896 | 0.13896 | 0.98188 | -0.12629 | 0.97944 | -0.14357 | 25.7339
63 | -0.028917 | -0.0072494 | 0.028931 | 0.0072548 | 1.4372e-05 | 5.3776e-06 | 0.043931 | 0.043931 | 0.043931 | 0.97948 | -0.14347 | 0.97998 | -0.13989 | 16.2707
64 | 0.033169 | 0.00832 | -0.033144 | -0.0083106 | 2.4817e-05 | 9.3469e-06 | 0.050328 | 0.050328 | 0.050328 | 0.98074 | -0.13449 | 0.97998 | -0.13989 | 18.6401
65 | 0.0028699 | 0.00071819 | -0.0028692 | -0.00071867 | 7.1015e-07 | -4.8017e-07 | 0.0043597 | 0.00436 | 0.00436 | 0.97944 | -0.14357 | 0.97919 | -0.14536 | 1.6148
66 | 0.0042133 | 0.0010558 | -0.0042129 | -0.0010559 | 4.0359e-07 | -4.3852e-08 | 0.0063975 | 0.0063976 | 0.0063976 | 0.97998 | -0.13989 | 0.97988 | -0.14058 | 2.3695
67 | 0.0040463 | 0.001013 | -0.0040461 | -0.001013 | 1.4304e-07 | -2.3835e-08 | 0.0060976 | 0.0060976 | 0.0060976 | 0.98736 | -0.088394 | 0.98733 | -0.08865 | 2.2584
68 | -0.0061861 | -0.0015493 | 0.0061884 | 0.0015497 | 2.3466e-06 | 3.4888e-07 | 0.0093224 | 0.0093222 | 0.0093224 | 0.98736 | -0.088394 | 0.98775 | -0.08565 | 3.4527
69 | 0.0008724 | 0.00021833 | -0.00087237 | -0.00021864 | 2.6928e-08 | -3.0891e-07 | 0.0013147 | 0.0013148 | 0.0013148 | 0.98733 | -0.08865 | 0.9873 | -0.088873 | 0.48697
70 | 0.0013327 | 0.0003333 | -0.0013325 | -0.00033397 | 1.4074e-07 | -6.6092e-07 | 0.0020083 | 0.0020085 | 0.0020085 | 0.98733 | -0.08865 | 0.98722 | -0.089414 | 0.74389
71 | -0.0061884 | -0.0015497 | 0.006192 | 0.0015502 | 3.5547e-06 | 5.2762e-07 | 0.0093222 | 0.0093219 | 0.0093222 | 0.98775 | -0.08565 | 0.98834 | -0.081494 | 3.4527
72 | -0.0075946 | -0.0019017 | 0.0075983 | 0.0019025 | 3.6371e-06 | 8.2721e-07 | 0.011434 | 0.011434 | 0.011434 | 0.98834 | -0.081494 | 0.98882 | -0.07803 | 4.2347
73 | -0.0090857 | -0.0022753 | 0.0090864 | 0.0022755 | 6.7727e-07 | 1.86e-07 | 0.013672 | 0.013672 | 0.013672 | 0.98882 | -0.07803 | 0.9889 | -0.07749 | 5.0637
74 | -0.010141 | -0.0025398 | 0.010144 | 0.0025408 | 3.1994e-06 | 9.4792e-07 | 0.015259 | 0.015259 | 0.015259 | 0.9889 | -0.07749 | 0.98922 | -0.075209 | 5.6514
75 | 0.0017732 | 0.00044408 | -0.0017731 | -0.00044438 | 1.2393e-07 | -2.9638e-07 | 0.0026945 | 0.0026947 | 0.0026947 | 0.97919 | -0.14536 | 0.97912 | -0.14586 | 0.99802
76 | 0.001096 | 0.00027459 | -0.001096 | -0.00027468 | 1.3184e-08 | -9.0742e-08 | 0.0016655 | 0.0016655 | 0.0016655 | 0.97919 | -0.14536 | 0.97918 | -0.14545 | 0.61686
77 | 0.0073964 | 0.0018534 | -0.0073957 | -0.0018533 | 7.1544e-07 | 1.6498e-07 | 0.011339 | 0.011339 | 0.011339 | 0.97059 | -0.20698 | 0.97049 | -0.20768 | 4.1998
78 | 0.0062301 | 0.0015612 | -0.006229 | -0.001561 | 1.0812e-06 | 1.8125e-07 | 0.0095523 | 0.0095523 | 0.0095523 | 0.97049 | -0.20768 | 0.97032 | -0.20893 | 3.5379
79 | 0.0045066 | 0.0011293 | -0.0045061 | -0.0011293 | 4.9733e-07 | -1.4815e-08 | 0.0069109 | 0.006911 | 0.006911 | 0.97032 | -0.20893 | 0.97021 | -0.20973 | 2.5596
80 | 0.0023295 | 0.0005838 | -0.0023294 | -0.00058381 | 1.5035e-08 | -1.7528e-08 | 0.0035727 | 0.0035727 | 0.0035727 | 0.97021 | -0.20973 | 0.9702 | -0.20977 | 1.3232
81 | 0.011804 | 0.002957 | -0.011803 | -0.0029565 | 1.4686e-06 | 4.6898e-07 | 0.017754 | 0.017754 | 0.017754 | 0.98935 | -0.074309 | 0.98922 | -0.075209 | 6.5755

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21003 | 0.05293

## res_load
| p_mw | q_mvar
0 | 0.0023581 | 0.000591
1 | 0.0040667 | 0.0010192
2 | 0.0009979 | 0.0002501
3 | 0.0072507 | 0.0018172
4 | 0.0015545 | 0.0003896
5 | 0.0018953 | 0.000475
6 | 0.00082703 | 0.00020727
7 | 0.0048105 | 0.0012056
8 | 0.0011532 | 0.00028902
9 | 0.0011241 | 0.00028173
10 | 0.0028423 | 0.00071234
11 | 0.00097344 | 0.00024397
12 | 0.0017606 | 0.00044125
13 | 0.002126 | 0.00053282
14 | 0.0012749 | 0.00031952
15 | 0.0026351 | 0.00066042
16 | 0.021613 | 0.0054167
17 | 0.0059211 | 0.001484
18 | 0.012746 | 0.0031944
19 | 0.001734 | 0.00043457
20 | 0.00064383 | 0.00016136
21 | 0.0028677 | 0.00071871
22 | 0.0022486 | 0.00056356
23 | 0.00048022 | 0.00012036
24 | 0.0051866 | 0.0012999
25 | 0.0057233 | 0.0014344
26 | 0.001727 | 0.00043282
27 | 0.0070764 | 0.0017735
28 | 0.0032067 | 0.00080368
29 | 0.0031833 | 0.0007978
30 | 0.0020994 | 0.00052615
31 | 0.001703 | 0.00042682
32 | 0.0014517 | 0.00036384
33 | 0.001966 | 0.00049273
34 | 0.0019458 | 0.00048767
35 | 0.0087156 | 0.0021843
36 | 0.0047888 | 0.0012002
37 | 0.0023138 | 0.00057989
38 | 0.0029219 | 0.0007323
39 | 0.0016325 | 0.00040914
40 | 0.0011307 | 0.00028337
41 | 0.002348 | 0.00058846
42 | 0.0024005 | 0.00060161
43 | 0.0022228 | 0.00055709
44 | 0.0033989 | 0.00085184
45 | 0.011617 | 0.0029115
46 | 0.0013609 | 0.00034108
47 | 0.0033672 | 0.00084391
48 | 0.003037 | 0.00076113
49 | 0.0021398 | 0.00053628
50 | 0.0018411 | 0.00046142
51 | 0.00087237 | 0.00021864
52 | 0.0013325 | 0.00033397
53 | 0.0014027 | 0.00035154
54 | 0.0014875 | 0.0003728
55 | 0.0010546 | 0.00026431
56 | 0.001096 | 0.00027468
57 | 0.0017731 | 0.00044438
58 | 0.0016125 | 0.00040412
59 | 0.0025451 | 0.00063785
60 | 0.0011656 | 0.00029212
61 | 0.0017224 | 0.00043168
62 | 0.0021766 | 0.00054551
63 | 0.0023294 | 0.00058381
64 | 0.0024644 | 0.00061764
65 | 0.0042129 | 0.0010559
66 | 0.0016587 | 0.00041572

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1