## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2426-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2426-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2426-1_0_3_node_80 | 0.4 | n |  | TRUE
3 | bus_LV_2426-1_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2426-1_0_3_node_79 | 0.4 | n |  | TRUE
5 | bus_LV_2426-1_0_3_node_95 | 0.4 | n |  | TRUE
6 | bus_LV_2426-1_0_3_node_90 | 0.4 | n |  | TRUE
7 | bus_LV_2426-1_0_3_node_92 | 0.4 | n |  | TRUE
8 | bus_LV_2426-1_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_2426-1_0_3_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_2426-1_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_2426-1_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2426-1_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2426-1_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2426-1_0_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_2426-1_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2426-1_0_3_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_2426-1_0_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_2426-1_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2426-1_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_2426-1_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_2426-1_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2426-1_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2426-1_0_3_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_2426-1_0_3_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_2426-1_0_3_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_2426-1_0_3_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_2426-1_0_3_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_2426-1_0_3_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_2426-1_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_2426-1_0_3_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_2426-1_0_3_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_2426-1_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_2426-1_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_2426-1_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_2426-1_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_2426-1_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2426-1_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2426-1_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2426-1_0_3_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_2426-1_0_3_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_2426-1_0_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_2426-1_0_3_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_2426-1_0_3_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_2426-1_0_3_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_2426-1_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2426-1_0_3_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_2426-1_0_3_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_2426-1_0_3_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_2426-1_0_3_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_2426-1_0_3_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_2426-1_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_2426-1_0_3_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_2426-1_0_3_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_2426-1_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_2426-1_0_3_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_2426-1_0_3_node_83 | 0.4 | n |  | TRUE
57 | bus_LV_2426-1_0_3_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_2426-1_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_2426-1_0_3_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_2426-1_0_3_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_2426-1_0_3_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_2426-1_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_2426-1_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_2426-1_0_3_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_2426-1_0_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_2426-1_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_2426-1_0_3_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_2426-1_0_3_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_2426-1_0_3_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_2426-1_0_3_node_37 | 0.4 | n |  | TRUE
71 | bus_LV_2426-1_0_3_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_2426-1_0_3_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_2426-1_0_3_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_2426-1_0_3_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_2426-1_0_3_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_2426-1_0_3_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_2426-1_0_3_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_2426-1_0_3_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_2426-1_0_3_node_45 | 0.4 | n |  | TRUE
80 | bus_LV_2426-1_0_3_node_47 | 0.4 | n |  | TRUE
81 | bus_LV_2426-1_0_3_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_2426-1_0_3_node_51 | 0.4 | n |  | TRUE
83 | bus_LV_2426-1_0_3_node_52 | 0.4 | n |  | TRUE
84 | bus_LV_2426-1_0_3_node_54 | 0.4 | n |  | TRUE
85 | bus_LV_2426-1_0_3_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_2426-1_0_3_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_2426-1_0_3_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_2426-1_0_3_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_2426-1_0_3_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_2426-1_0_3_node_94 | 0.4 | n |  | TRUE
91 | bus_LV_2426-1_0_3_node_85 | 0.4 | n |  | TRUE
92 | bus_MV_333_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2426-1_0_3_load_0 | 0 | 0.0023312 | 0.00058425 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2426-1_0_3_load_79 | 4 | 0.0021816 | 0.00054677 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2426-1_0_3_load_95 | 5 | 0.0009629 | 0.00024133 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2426-1_0_3_load_92 | 7 | 0.00062862 | 0.00015755 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2426-1_0_3_load_3 | 9 | 0.0020175 | 0.00050564 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2426-1_0_3_load_4 | 10 | 0.0017968 | 0.00045033 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2426-1_0_3_load_5 | 11 | 0.0015383 | 0.00038555 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2426-1_0_3_load_6 | 12 | 0.0024809 | 0.00062177 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2426-1_0_3_load_34 | 16 | 0.069657 | 0.017458 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2426-1_0_3_load_30 | 17 | 0.0015691 | 0.00039325 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2426-1_0_3_load_10 | 18 | 0.001601 | 0.00040124 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2426-1_0_3_load_8 | 19 | 0.0091345 | 0.0022893 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2426-1_0_3_load_12 | 22 | 0.0026508 | 0.00066434 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2426-1_0_3_load_93 | 23 | 0.0031473 | 0.0007888 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2426-1_0_3_load_46 | 27 | 0.0021795 | 0.00054623 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2426-1_0_3_load_69 | 28 | 0.0017237 | 0.00043201 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2426-1_0_3_load_15 | 32 | 0.0014368 | 0.00036009 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2426-1_0_3_load_16 | 33 | 0.0010451 | 0.00026193 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2426-1_0_3_load_17 | 34 | 0.0011564 | 0.00028983 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2426-1_0_3_load_84 | 39 | 0.00115 | 0.00028821 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2426-1_0_3_load_88 | 40 | 0.0005748 | 0.00014406 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2426-1_0_3_load_19 | 42 | 0.0012928 | 0.00032401 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2426-1_0_3_load_29 | 45 | 0.0013739 | 0.00034433 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2426-1_0_3_load_26 | 46 | 0.0033506 | 0.00083975 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2426-1_0_3_load_91 | 48 | 0.0043111 | 0.0010805 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2426-1_0_3_load_89 | 50 | 0.001665 | 0.00041729 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2426-1_0_3_load_35 | 51 | 0.00087017 | 0.00021809 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2426-1_0_3_load_27 | 52 | 0.0024543 | 0.00061512 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2426-1_0_3_load_87 | 53 | 0.0029161 | 0.00073084 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2426-1_0_3_load_39 | 54 | 0.0028646 | 0.00071795 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2426-1_0_3_load_83 | 56 | 0.0020796 | 0.00052119 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2426-1_0_3_load_73 | 57 | 0.00061172 | 0.00015331 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2426-1_0_3_load_28 | 59 | 0.0024499 | 0.00061401 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2426-1_0_3_load_81 | 60 | 0.0060838 | 0.0015247 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2426-1_0_3_load_36 | 61 | 0.00092619 | 0.00023213 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2426-1_0_3_load_58 | 62 | 0.0023976 | 0.00060089 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2426-1_0_3_load_65 | 64 | 0.00021827 | 5.4704e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2426-1_0_3_load_66 | 65 | 0.00016958 | 4.25e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2426-1_0_3_load_67 | 66 | 0.00024467 | 6.1321e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2426-1_0_3_load_68 | 67 | 0.00050317 | 0.00012611 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2426-1_0_3_load_78 | 69 | 0.00037802 | 9.4742e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2426-1_0_3_load_37 | 70 | 0.0013524 | 0.00033895 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2426-1_0_3_load_38 | 71 | 0.0020999 | 0.00052629 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2426-1_0_3_load_40 | 72 | 0.00069511 | 0.00017421 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2426-1_0_3_load_41 | 73 | 0.00098993 | 0.0002481 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2426-1_0_3_load_43 | 75 | 0.0014707 | 0.00036858 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2426-1_0_3_load_61 | 76 | 0.0018176 | 0.00045554 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2426-1_0_3_load_55 | 77 | 0.0025513 | 0.00063942 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2426-1_0_3_load_62 | 78 | 0.0016081 | 0.00040304 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2426-1_0_3_load_45 | 79 | 0.0024279 | 0.00060849 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2426-1_0_3_load_47 | 80 | 0.0022745 | 0.00057005 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2426-1_0_3_load_49 | 81 | 0.0016195 | 0.0004059 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2426-1_0_3_load_51 | 82 | 0.0021244 | 0.00053243 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2426-1_0_3_load_52 | 83 | 0.0028492 | 0.00071407 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2426-1_0_3_load_54 | 84 | 0.002811 | 0.0007045 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2426-1_0_3_load_60 | 85 | 0.00049878 | 0.00012501 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2426-1_0_3_load_63 | 86 | 0.00028516 | 7.1467e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2426-1_0_3_load_77 | 88 | 0.0047995 | 0.0012029 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2426-1_0_3_load_75 | 89 | 0.001588 | 0.000398 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2426-1_0_3_load_94 | 90 | 0.0011913 | 0.00029856 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2426-1_0_3_load_85 | 91 | 0.00056342 | 0.00014121 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 79 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2426-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.059519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2426-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.05231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2426-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2426-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2426-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.058108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2426-1_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.00767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2426-1_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.018794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2426-1_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.04743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2426-1_0_3_line_8 | NAYY 4x150 SE | 8 | 50 | 0.035727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2426-1_0_3_line_9 | NAYY 4x150 SE | 8 | 43 | 0.013873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2426-1_0_3_line_10 | NAYY 4x150 SE | 8 | 47 | 0.031149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2426-1_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.013286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_2426-1_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0081618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_2426-1_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.026476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_2426-1_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.013241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_2426-1_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0044417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_2426-1_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.033722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_2426-1_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.022814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2426-1_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.037226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_2426-1_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.025326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_2426-1_0_3_line_20 | NAYY 4x150 SE | 17 | 38 | 0.050473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_2426-1_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.029337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_2426-1_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.017752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_2426-1_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.013615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_2426-1_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.011152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2426-1_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.022279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2426-1_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.031865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_2426-1_0_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.0021473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2426-1_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.001229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2426-1_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.021594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_2426-1_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.023399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2426-1_0_3_line_31 | NAYY 4x150 SE | 25 | 29 | 0.044978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2426-1_0_3_line_32 | NAYY 4x150 SE | 26 | 60 | 0.016995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2426-1_0_3_line_33 | NAYY 4x150 SE | 27 | 79 | 0.019398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_2426-1_0_3_line_34 | NAYY 4x150 SE | 28 | 30 | 0.0241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2426-1_0_3_line_35 | NAYY 4x150 SE | 29 | 83 | 0.010995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2426-1_0_3_line_36 | NAYY 4x150 SE | 29 | 81 | 0.009021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2426-1_0_3_line_37 | NAYY 4x150 SE | 30 | 31 | 0.014945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2426-1_0_3_line_38 | NAYY 4x150 SE | 31 | 90 | 0.036013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2426-1_0_3_line_39 | NAYY 4x150 SE | 32 | 33 | 0.019224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2426-1_0_3_line_40 | NAYY 4x150 SE | 32 | 34 | 0.019902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2426-1_0_3_line_41 | NAYY 4x150 SE | 33 | 35 | 0.027941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2426-1_0_3_line_42 | NAYY 4x150 SE | 35 | 36 | 0.025859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_2426-1_0_3_line_43 | NAYY 4x150 SE | 35 | 37 | 0.034701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_2426-1_0_3_line_44 | NAYY 4x150 SE | 36 | 38 | 0.016721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_2426-1_0_3_line_45 | NAYY 4x150 SE | 36 | 39 | 0.012604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2426-1_0_3_line_46 | NAYY 4x150 SE | 37 | 40 | 0.011735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2426-1_0_3_line_47 | NAYY 4x150 SE | 37 | 41 | 0.029664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_2426-1_0_3_line_48 | NAYY 4x150 SE | 38 | 55 | 0.0355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2426-1_0_3_line_49 | NAYY 4x150 SE | 39 | 56 | 0.0041526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2426-1_0_3_line_50 | NAYY 4x150 SE | 41 | 57 | 0.016819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2426-1_0_3_line_51 | NAYY 4x150 SE | 41 | 58 | 0.007616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_2426-1_0_3_line_52 | NAYY 4x150 SE | 42 | 43 | 0.048648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2426-1_0_3_line_53 | NAYY 4x150 SE | 43 | 44 | 0.021007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2426-1_0_3_line_54 | NAYY 4x150 SE | 44 | 45 | 0.021808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2426-1_0_3_line_55 | NAYY 4x150 SE | 44 | 46 | 0.016307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2426-1_0_3_line_56 | NAYY 4x150 SE | 45 | 51 | 0.021217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2426-1_0_3_line_57 | NAYY 4x150 SE | 46 | 52 | 0.026954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2426-1_0_3_line_58 | NAYY 4x150 SE | 47 | 48 | 0.024352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2426-1_0_3_line_59 | NAYY 4x150 SE | 47 | 49 | 0.022269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2426-1_0_3_line_60 | NAYY 4x150 SE | 49 | 53 | 0.015476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2426-1_0_3_line_61 | NAYY 4x150 SE | 49 | 54 | 0.042487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2426-1_0_3_line_62 | NAYY 4x150 SE | 51 | 61 | 0.01949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2426-1_0_3_line_63 | NAYY 4x150 SE | 52 | 59 | 0.00027404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2426-1_0_3_line_64 | NAYY 4x150 SE | 54 | 71 | 0.0093348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2426-1_0_3_line_65 | NAYY 4x150 SE | 55 | 62 | 0.026205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2426-1_0_3_line_66 | NAYY 4x150 SE | 56 | 91 | 0.018328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2426-1_0_3_line_67 | NAYY 4x150 SE | 58 | 77 | 0.02287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2426-1_0_3_line_68 | NAYY 4x150 SE | 58 | 74 | 0.047008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_2426-1_0_3_line_69 | NAYY 4x150 SE | 59 | 60 | 0.0098822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2426-1_0_3_line_70 | NAYY 4x150 SE | 62 | 63 | 0.028895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2426-1_0_3_line_71 | NAYY 4x150 SE | 62 | 64 | 0.32545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2426-1_0_3_line_72 | NAYY 4x150 SE | 63 | 85 | 0.015375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2426-1_0_3_line_73 | NAYY 4x150 SE | 64 | 68 | 0.052306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2426-1_0_3_line_74 | NAYY 4x150 SE | 64 | 86 | 0.016664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2426-1_0_3_line_75 | NAYY 4x150 SE | 65 | 66 | 0.004954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2426-1_0_3_line_76 | NAYY 4x150 SE | 66 | 67 | 0.018523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2426-1_0_3_line_77 | NAYY 4x150 SE | 67 | 68 | 0.003689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2426-1_0_3_line_78 | NAYY 4x150 SE | 68 | 69 | 0.023578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2426-1_0_3_line_79 | NAYY 4x150 SE | 70 | 71 | 0.023976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2426-1_0_3_line_80 | NAYY 4x150 SE | 72 | 73 | 0.025394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2426-1_0_3_line_81 | NAYY 4x150 SE | 72 | 74 | 0.04961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2426-1_0_3_line_82 | NAYY 4x150 SE | 73 | 75 | 0.0065762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2426-1_0_3_line_83 | NAYY 4x150 SE | 75 | 76 | 0.021664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_2426-1_0_3_line_84 | NAYY 4x150 SE | 76 | 78 | 0.026897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_2426-1_0_3_line_85 | NAYY 4x150 SE | 78 | 87 | 0.014295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_2426-1_0_3_line_86 | NAYY 4x150 SE | 79 | 80 | 0.00083857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_2426-1_0_3_line_87 | NAYY 4x150 SE | 81 | 82 | 0.0083767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_2426-1_0_3_line_88 | NAYY 4x150 SE | 83 | 84 | 0.0084568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_2426-1_0_3_line_89 | NAYY 4x150 SE | 87 | 88 | 0.0062127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_2426-1_0_3_line_90 | NAYY 4x150 SE | 87 | 89 | 0.030201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2426-1_0_3_trafo_45 | 0.25 MVA 20/0.4 kV | 92 | 79 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2616676.2648 | 1240338.5201 | 2616685.802 | 1240343.0052 | 2616728.8157 | 1240366.4335
1 | 2616728.8157 | 1240366.4335 | 2616689.7974 | 1240401.275
2 | 2616676.2648 | 1240338.5201 | 2616670.8054 | 1240330.4998 | 2616667.3442 | 1240324.4531
3 | 2616689.7974 | 1240401.275 | 2616696.7984 | 1240408.4453
4 | 2616610.1524 | 1240315.8546 | 2616634.1609 | 1240320.6802 | 2616650.186 | 1240325.0721 | 2616667.3442 | 1240324.4531
5 | 2616663.5293 | 1240317.7938 | 2616667.3442 | 1240324.4531
6 | 2616663.5293 | 1240317.7938 | 2616681.4558 | 1240323.6031
7 | 2616635.3483 | 1240279.9915 | 2616653.4027 | 1240299.5986 | 2616663.5293 | 1240317.7938
8 | 2616635.3483 | 1240279.9915 | 2616630.3044 | 1240285.6031 | 2616630.359 | 1240287.6934 | 2616639.4526 | 1240302.1612 | 2616647.4026 | 1240306.475
9 | 2616623.1076 | 1240274.1981 | 2616633.034 | 1240277.4723 | 2616635.3483 | 1240279.9915
10 | 2616635.3483 | 1240279.9915 | 2616633.034 | 1240277.4723 | 2616659.376 | 1240286.1291
11 | 2616664.4784 | 1240137.2987 | 2616656.4889 | 1240134.293 | 2616652.0438 | 1240132.6204
12 | 2616664.4784 | 1240137.2987 | 2616669.7982 | 1240139.3 | 2616671.1335 | 1240141.3875
13 | 2616652.0438 | 1240132.6204 | 2616646.3974 | 1240130.4958 | 2616626.5514 | 1240125.5931
14 | 2616674.4003 | 1240153.7997 | 2616673.9163 | 1240145.7378 | 2616671.1335 | 1240141.3875
15 | 2616622.2401 | 1240124.5246 | 2616625.6857 | 1240125.3792 | 2616626.5514 | 1240125.5931
16 | 2616674.4003 | 1240153.7997 | 2616708.2128 | 1240154.6061
17 | 2616622.2401 | 1240124.5246 | 2616627.8252 | 1240102.4053
18 | 2616622.2401 | 1240124.5246 | 2616599.1405 | 1240118.8122 | 2616585.9191 | 1240116.4503
19 | 2616708.2128 | 1240154.6061 | 2616706.6052 | 1240161.6393 | 2616696.0007 | 1240176.3409
20 | 2616536.2145 | 1240107.6747 | 2616560.8909 | 1240111.9793 | 2616585.9191 | 1240116.4503
21 | 2616696.0007 | 1240176.3409 | 2616686.8429 | 1240195.5272 | 2616683.5496 | 1240202.903
22 | 2616676.3119 | 1240219.1125 | 2616683.5496 | 1240202.903
23 | 2616676.3119 | 1240219.1125 | 2616663.4782 | 1240214.4625
24 | 2616676.3119 | 1240219.1125 | 2616686.399 | 1240223.8674
25 | 2616663.4782 | 1240214.4625 | 2616665.5653 | 1240222.5067 | 2616666.1079 | 1240228.5565 | 2616663.1989 | 1240235.8973
26 | 2616632.8804 | 1240205.2602 | 2616663.4782 | 1240214.4625
27 | 2616688.3413 | 1240224.783 | 2616686.399 | 1240223.8674
28 | 2616631.7018 | 1240204.9011 | 2616632.8804 | 1240205.2602
29 | 2616632.8804 | 1240205.2602 | 2616638.6549 | 1240184.4522
30 | 2616688.3413 | 1240224.783 | 2616709.65 | 1240234.4493
31 | 2616688.3413 | 1240224.783 | 2616690.5203 | 1240232.3827 | 2616699.0364 | 1240239.7445 | 2616700.8246 | 1240249.2221 | 2616694.4087 | 1240264.0912
32 | 2616631.7018 | 1240204.9011 | 2616626.9933 | 1240221.2312
33 | 2616620.0972 | 1240178.8053 | 2616638.6549 | 1240184.4522 | 2616638.6549 | 1240184.4522
34 | 2616731.5976 | 1240244.4055 | 2616709.65 | 1240234.4493
35 | 2616694.4087 | 1240264.0912 | 2616684.3945 | 1240259.5508
36 | 2616694.4087 | 1240264.0912 | 2616702.6277 | 1240267.8095
37 | 2616731.5976 | 1240244.4055 | 2616745.3652 | 1240250.3145
38 | 2616745.3652 | 1240250.3145 | 2616730.7106 | 1240253.2863 | 2616726.4494 | 1240265.5264 | 2616733.3786 | 1240269.8374
39 | 2616578.6411 | 1240151.2456 | 2616559.4235 | 1240150.733
40 | 2616598.5358 | 1240151.7762 | 2616578.6411 | 1240151.2456
41 | 2616531.4921 | 1240149.988 | 2616559.4235 | 1240150.733
42 | 2616531.4921 | 1240149.988 | 2616534.3612 | 1240124.2911
43 | 2616531.4921 | 1240149.988 | 2616503.3642 | 1240149.7321 | 2616496.7938 | 1240149.5694
44 | 2616536.2145 | 1240107.6747 | 2616534.3612 | 1240124.2911
45 | 2616534.3612 | 1240124.2911 | 2616521.7684 | 1240123.7546
46 | 2616496.7938 | 1240149.5694 | 2616497.1212 | 1240137.8407
47 | 2616467.1399 | 1240148.8091 | 2616477.211 | 1240149.0704 | 2616496.7938 | 1240149.5694
48 | 2616540.3503 | 1240072.4198 | 2616536.2145 | 1240107.6747
49 | 2616517.6196 | 1240123.5778 | 2616521.7684 | 1240123.7546
50 | 2616467.1399 | 1240148.8091 | 2616477.9935 | 1240135.961
51 | 2616459.5034 | 1240148.6212 | 2616467.1399 | 1240148.8091
52 | 2616623.1076 | 1240274.1981 | 2616603.3014 | 1240294.3444 | 2616606.5814 | 1240297.6333 | 2616621.8359 | 1240301.5579
53 | 2616603.1037 | 1240267.6049 | 2616620.7582 | 1240273.4244 | 2616623.1076 | 1240274.1981
54 | 2616603.1037 | 1240267.6049 | 2616581.5961 | 1240263.9988
55 | 2616603.1037 | 1240267.6049 | 2616613.966 | 1240255.4418
56 | 2616560.6714 | 1240260.4904 | 2616581.5961 | 1240263.9988
57 | 2616624.1535 | 1240230.9822 | 2616618.1979 | 1240250.7031 | 2616613.966 | 1240255.4418
58 | 2616645.1261 | 1240268.7896 | 2616652.7379 | 1240272.3464 | 2616658.0151 | 1240277.9869 | 2616659.376 | 1240286.1291
59 | 2616659.376 | 1240286.1291 | 2616668.1012 | 1240288.9997 | 2616680.2152 | 1240294.0924
60 | 2616683.3089 | 1240280.2035 | 2616685.1605 | 1240283.2217 | 2616680.2152 | 1240294.0924
61 | 2616680.2152 | 1240294.0924 | 2616719.3838 | 1240310.5545
62 | 2616560.6714 | 1240260.4904 | 2616553.0033 | 1240259.2047 | 2616541.3623 | 1240257.8891
63 | 2616624.2327 | 1240230.7198 | 2616624.1535 | 1240230.9822
64 | 2616727.9894 | 1240314.1714 | 2616719.3838 | 1240310.5545
65 | 2616540.3503 | 1240072.4198 | 2616514.3483 | 1240075.6736
66 | 2616517.6196 | 1240123.5778 | 2616499.3086 | 1240122.7977
67 | 2616459.5034 | 1240148.6212 | 2616436.6408 | 1240148.0449
68 | 2616459.5034 | 1240148.6212 | 2616458.5015 | 1240152.721 | 2616455.0384 | 1240158.1704 | 2616448.3248 | 1240166.0345 | 2616439.9855 | 1240173.9053 | 2616434.8016 | 1240178.2048 | 2616428.7614 | 1240183.2135
69 | 2616624.2327 | 1240230.7198 | 2616624.7766 | 1240228.919 | 2616626.9933 | 1240221.2312
70 | 2616485.6765 | 1240079.2614 | 2616514.3483 | 1240075.6736
71 | 2616514.3483 | 1240075.6736 | 2616475.9037 | 1239752.4976
72 | 2616485.6765 | 1240079.2614 | 2616485.6486 | 1240094.6366
73 | 2616506.3979 | 1239710 | 2616475.9037 | 1239752.4976
74 | 2616475.9037 | 1239752.4976 | 2616461.2802 | 1239744.5076
75 | 2616533.4475 | 1239707.4886 | 2616528.5147 | 1239707.9466
76 | 2616528.5147 | 1239707.9466 | 2616510.0711 | 1239709.659
77 | 2616506.3979 | 1239710 | 2616510.0711 | 1239709.659
78 | 2616506.3979 | 1239710 | 2616505.5038 | 1239699.7023 | 2616496.8804 | 1239689.6541
79 | 2616750.0922 | 1240323.4609 | 2616727.9894 | 1240314.1714
80 | 2616477.0657 | 1240194.521 | 2616488.5031 | 1240197.1983 | 2616502.1502 | 1240197.1137
81 | 2616428.7614 | 1240183.2135 | 2616477.0657 | 1240194.521
82 | 2616508.7263 | 1240197.0729 | 2616502.1502 | 1240197.1137
83 | 2616508.7263 | 1240197.0729 | 2616523.1953 | 1240196.9832 | 2616530.3903 | 1240196.9403
84 | 2616530.3903 | 1240196.9403 | 2616557.2869 | 1240196.7802
85 | 2616571.5814 | 1240196.6952 | 2616557.2869 | 1240196.7802
86 | 2616619.295 | 1240178.5612 | 2616620.0972 | 1240178.8053
87 | 2616710.2597 | 1240271.2623 | 2616702.6277 | 1240267.8095
88 | 2616676.6924 | 1240256.0588 | 2616684.3945 | 1240259.5508
89 | 2616571.5814 | 1240196.6952 | 2616577.794 | 1240196.6571
90 | 2616571.5814 | 1240196.6952 | 2616576.0432 | 1240166.8259

## bus_geodata
| x | y | coords
0 | 2616728.8157 | 1240366.4335
1 | 2616676.2648 | 1240338.5201
2 | 2616689.7974 | 1240401.275
3 | 2616667.3442 | 1240324.4531
4 | 2616696.7984 | 1240408.4453
5 | 2616610.1524 | 1240315.8546
6 | 2616663.5293 | 1240317.7938
7 | 2616681.4558 | 1240323.6031
8 | 2616635.3483 | 1240279.9915
9 | 2616664.4784 | 1240137.2987
10 | 2616652.0438 | 1240132.6204
11 | 2616671.1335 | 1240141.3875
12 | 2616626.5514 | 1240125.5931
13 | 2616674.4003 | 1240153.7997
14 | 2616622.2401 | 1240124.5246
15 | 2616708.2128 | 1240154.6061
16 | 2616627.8252 | 1240102.4053
17 | 2616585.9191 | 1240116.4503
18 | 2616696.0007 | 1240176.3409
19 | 2616683.5496 | 1240202.903
20 | 2616676.3119 | 1240219.1125
21 | 2616663.4782 | 1240214.4625
22 | 2616686.399 | 1240223.8674
23 | 2616663.1989 | 1240235.8973
24 | 2616632.8804 | 1240205.2602
25 | 2616688.3413 | 1240224.783
26 | 2616631.7018 | 1240204.9011
27 | 2616638.6549 | 1240184.4522
28 | 2616709.65 | 1240234.4493
29 | 2616694.4087 | 1240264.0912
30 | 2616731.5976 | 1240244.4055
31 | 2616745.3652 | 1240250.3145
32 | 2616578.6411 | 1240151.2456
33 | 2616559.4235 | 1240150.733
34 | 2616598.5358 | 1240151.7762
35 | 2616531.4921 | 1240149.988
36 | 2616534.3612 | 1240124.2911
37 | 2616496.7938 | 1240149.5694
38 | 2616536.2145 | 1240107.6747
39 | 2616521.7684 | 1240123.7546
40 | 2616497.1212 | 1240137.8407
41 | 2616467.1399 | 1240148.8091
42 | 2616621.8359 | 1240301.5579
43 | 2616623.1076 | 1240274.1981
44 | 2616603.1037 | 1240267.6049
45 | 2616581.5961 | 1240263.9988
46 | 2616613.966 | 1240255.4418
47 | 2616659.376 | 1240286.1291
48 | 2616645.1261 | 1240268.7896
49 | 2616680.2152 | 1240294.0924
50 | 2616647.4026 | 1240306.475
51 | 2616560.6714 | 1240260.4904
52 | 2616624.1535 | 1240230.9822
53 | 2616683.3089 | 1240280.2035
54 | 2616719.3838 | 1240310.5545
55 | 2616540.3503 | 1240072.4198
56 | 2616517.6196 | 1240123.5778
57 | 2616477.9935 | 1240135.961
58 | 2616459.5034 | 1240148.6212
59 | 2616624.2327 | 1240230.7198
60 | 2616626.9933 | 1240221.2312
61 | 2616541.3623 | 1240257.8891
62 | 2616514.3483 | 1240075.6736
63 | 2616485.6765 | 1240079.2614
64 | 2616475.9037 | 1239752.4976
65 | 2616533.4475 | 1239707.4886
66 | 2616528.5147 | 1239707.9466
67 | 2616510.0711 | 1239709.659
68 | 2616506.3979 | 1239710
69 | 2616496.8804 | 1239689.6541
70 | 2616750.0922 | 1240323.4609
71 | 2616727.9894 | 1240314.1714
72 | 2616477.0657 | 1240194.521
73 | 2616502.1502 | 1240197.1137
74 | 2616428.7614 | 1240183.2135
75 | 2616508.7263 | 1240197.0729
76 | 2616530.3903 | 1240196.9403
77 | 2616436.6408 | 1240148.0449
78 | 2616557.2869 | 1240196.7802
79 | 2616620.0972 | 1240178.8053
80 | 2616619.295 | 1240178.5612
81 | 2616702.6277 | 1240267.8095
82 | 2616710.2597 | 1240271.2623
83 | 2616684.3945 | 1240259.5508
84 | 2616676.6924 | 1240256.0588
85 | 2616485.6486 | 1240094.6366
86 | 2616461.2802 | 1239744.5076
87 | 2616571.5814 | 1240196.6952
88 | 2616577.794 | 1240196.6571
89 | 2616576.0432 | 1240166.8259
90 | 2616733.3786 | 1240269.8374
91 | 2616499.3086 | 1240122.7977
92 | 2616617.8938 | 1240178.1348

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98933 | -0.074523 | 0.0023312 | 0.00058425
1 | 0.98972 | -0.07178 | 0 | 0
2 | 0.98917 | -0.075688 | 0 | 0
3 | 0.98983 | -0.071012 | 0 | 0
4 | 0.98914 | -0.075912 | 0.0021816 | 0.00054677
5 | 0.98975 | -0.071583 | 0.0009629 | 0.00024133
6 | 0.98989 | -0.070582 | 0 | 0
7 | 0.98987 | -0.070703 | 0.00062862 | 0.00015755
8 | 0.9903 | -0.067623 | 0 | 0
9 | 0.97996 | -0.13999 | 0.0020175 | 0.00050564
10 | 0.97895 | -0.14721 | 0.0017968 | 0.00045033
11 | 0.9806 | -0.13548 | 0.0015383 | 0.00038555
12 | 0.97696 | -0.1614 | 0.0024809 | 0.00062177
13 | 0.98164 | -0.12807 | 0 | 0
14 | 0.97664 | -0.16373 | 0 | 0
15 | 0.98431 | -0.10925 | 0 | 0
16 | 0.97431 | -0.18039 | 0.069657 | 0.017458
17 | 0.97581 | -0.16968 | 0.0015691 | 0.00039325
18 | 0.9863 | -0.095184 | 0.001601 | 0.00040124
19 | 0.98865 | -0.078722 | 0.0091345 | 0.0022893
20 | 0.99019 | -0.067973 | 0 | 0
21 | 0.99152 | -0.058715 | 0 | 0
22 | 0.98995 | -0.069674 | 0.0026508 | 0.00066434
23 | 0.99142 | -0.059427 | 0.0031473 | 0.0007888
24 | 0.9947 | -0.036637 | 0 | 0
25 | 0.98992 | -0.069944 | 0 | 0
26 | 0.99463 | -0.037135 | 0 | 0
27 | 0.99748 | -0.0174 | 0.0021795 | 0.00054623
28 | 0.98982 | -0.070641 | 0.0017237 | 0.00043201
29 | 0.98931 | -0.074257 | 0 | 0
30 | 0.98978 | -0.070935 | 0 | 0
31 | 0.98975 | -0.071117 | 0 | 0
32 | 0.97384 | -0.18384 | 0.0014368 | 0.00036009
33 | 0.97391 | -0.18331 | 0.0010451 | 0.00026193
34 | 0.9738 | -0.18408 | 0.0011564 | 0.00028983
35 | 0.97406 | -0.18224 | 0 | 0
36 | 0.97445 | -0.17947 | 0 | 0
37 | 0.97364 | -0.1853 | 0 | 0
38 | 0.97474 | -0.17734 | 0 | 0
39 | 0.97438 | -0.17997 | 0.00115 | 0.00028821
40 | 0.97363 | -0.18537 | 0.0005748 | 0.00014406
41 | 0.97328 | -0.18782 | 0 | 0
42 | 0.99064 | -0.06525 | 0.0012928 | 0.00032401
43 | 0.99073 | -0.064609 | 0 | 0
44 | 0.99141 | -0.059772 | 0 | 0
45 | 0.99132 | -0.060476 | 0.0013739 | 0.00034433
46 | 0.99202 | -0.055497 | 0.0033506 | 0.00083975
47 | 0.9897 | -0.071924 | 0 | 0
48 | 0.98955 | -0.072994 | 0.0043111 | 0.0010805
49 | 0.9894 | -0.074022 | 0 | 0
50 | 0.99022 | -0.068229 | 0.001665 | 0.00041729
51 | 0.99126 | -0.060863 | 0.00087017 | 0.00021809
52 | 0.99315 | -0.047527 | 0.0024543 | 0.00061512
53 | 0.98934 | -0.074482 | 0.0029161 | 0.00073084
54 | 0.98901 | -0.076762 | 0.0028646 | 0.00071795
55 | 0.9745 | -0.17911 | 0 | 0
56 | 0.97436 | -0.18009 | 0.0020796 | 0.00052119
57 | 0.97327 | -0.18793 | 0.00061172 | 0.00015331
58 | 0.9732 | -0.18845 | 0 | 0
59 | 0.99316 | -0.047439 | 0.0024499 | 0.00061401
60 | 0.99365 | -0.044032 | 0.0060838 | 0.0015247
61 | 0.99123 | -0.061047 | 0.00092619 | 0.00023213
62 | 0.97432 | -0.18042 | 0.0023976 | 0.00060089
63 | 0.9743 | -0.18057 | 0 | 0
64 | 0.97346 | -0.18667 | 0.00021827 | 5.4704e-05
65 | 0.97334 | -0.18751 | 0.00016958 | 4.25e-05
66 | 0.97335 | -0.1875 | 0.00024467 | 6.1321e-05
67 | 0.97336 | -0.18742 | 0.00050317 | 0.00012611
68 | 0.97336 | -0.18739 | 0 | 0
69 | 0.97335 | -0.18748 | 0.00037802 | 9.4742e-05
70 | 0.98892 | -0.077422 | 0.0013524 | 0.00033895
71 | 0.98897 | -0.077091 | 0.0020999 | 0.00052629
72 | 0.97181 | -0.19847 | 0.00069511 | 0.00017421
73 | 0.97135 | -0.20177 | 0.00098993 | 0.0002481
74 | 0.97275 | -0.19167 | 0 | 0
75 | 0.97124 | -0.20255 | 0.0014707 | 0.00036858
76 | 0.97093 | -0.2048 | 0.0018176 | 0.00045554
77 | 0.97311 | -0.18906 | 0.0025513 | 0.00063942
78 | 0.97061 | -0.20708 | 0.0016081 | 0.00040304
79 | 1 | 0 | -0.18556 | -0.046729
80 | 1 | -1.9036e-05 | 0.0022745 | 0.00057005
81 | 0.98926 | -0.074602 | 0.0016195 | 0.0004059
82 | 0.98923 | -0.074783 | 0.0021244 | 0.00053243
83 | 0.98922 | -0.074892 | 0.0028492 | 0.00071407
84 | 0.98918 | -0.075135 | 0.002811 | 0.0007045
85 | 0.97429 | -0.18065 | 0.00049878 | 0.00012501
86 | 0.97345 | -0.18672 | 0.00028516 | 7.1467e-05
87 | 0.97048 | -0.20805 | 0 | 0
88 | 0.97043 | -0.20837 | 0.0047995 | 0.0012029
89 | 0.97041 | -0.20856 | 0.001588 | 0.000398
90 | 0.98969 | -0.071555 | 0.0011913 | 0.00029856
91 | 0.97435 | -0.18019 | 0.00056342 | 0.00014121
92 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0045132 | -0.0011304 | 0.0045149 | 0.0011303 | 1.7112e-06 | -1.0643e-07 | 0.0067879 | 0.0067876 | 0.0067879 | 0.98933 | -0.074523 | 0.98972 | -0.07178 | 2.514
1 | 0.0021821 | 0.00054613 | -0.0021817 | -0.00054667 | 3.5156e-07 | -5.3638e-07 | 0.0032817 | 0.0032819 | 0.0032819 | 0.98933 | -0.074523 | 0.98917 | -0.075688 | 1.2155
2 | -0.0045149 | -0.0011303 | 0.0045154 | 0.0011302 | 4.7886e-07 | -2.9902e-08 | 0.0067876 | 0.0067876 | 0.0067876 | 0.98972 | -0.07178 | 0.98983 | -0.071012 | 2.5139
3 | 0.0021817 | 0.00054667 | -0.0021816 | -0.00054677 | 6.7356e-08 | -1.0273e-07 | 0.0032819 | 0.003282 | 0.003282 | 0.98917 | -0.075688 | 0.98914 | -0.075912 | 1.2155
4 | 0.00096297 | 0.00024061 | -0.0009629 | -0.00024133 | 7.5975e-08 | -7.1762e-07 | 0.0014474 | 0.0014477 | 0.0014477 | 0.98983 | -0.071012 | 0.98975 | -0.071583 | 0.53617
5 | -0.0054784 | -0.0013708 | 0.0054787 | 0.0013709 | 3.2456e-07 | 2.6238e-08 | 0.0082349 | 0.0082349 | 0.0082349 | 0.98983 | -0.071012 | 0.98989 | -0.070582 | 3.05
6 | 0.00062863 | 0.00015731 | -0.00062862 | -0.00015755 | 1.0471e-08 | -2.3757e-07 | 0.00094488 | 0.00094496 | 0.00094496 | 0.98989 | -0.070582 | 0.98987 | -0.070703 | 0.34999
7 | -0.0061073 | -0.0015282 | 0.0061098 | 0.0015285 | 2.494e-06 | 3.4924e-07 | 0.0091798 | 0.0091796 | 0.0091798 | 0.98989 | -0.070582 | 0.9903 | -0.067623 | 3.3999
8 | 0.0016651 | 0.00041688 | -0.001665 | -0.00041729 | 1.3955e-07 | -4.0596e-07 | 0.0025019 | 0.002502 | 0.002502 | 0.9903 | -0.067623 | 0.99022 | -0.068229 | 0.92667
9 | -0.021333 | -0.0053432 | 0.021342 | 0.0053464 | 8.8946e-06 | 3.2424e-06 | 0.032054 | 0.032054 | 0.032054 | 0.9903 | -0.067623 | 0.99073 | -0.064609 | 11.8718
10 | 0.013558 | 0.0033978 | -0.01355 | -0.0033951 | 8.0671e-06 | 2.7022e-06 | 0.020373 | 0.020373 | 0.020373 | 0.9903 | -0.067623 | 0.9897 | -0.071924 | 7.5454
11 | 0.10496 | 0.02637 | -0.10486 | -0.02633 | 0.00010532 | 4.0173e-05 | 0.1594 | 0.1594 | 0.1594 | 0.97996 | -0.13999 | 0.97895 | -0.14721 | 29.5185
12 | -0.10698 | -0.026876 | 0.10705 | 0.026902 | 6.7213e-05 | 2.5645e-05 | 0.16246 | 0.16246 | 0.16246 | 0.97996 | -0.13999 | 0.9806 | -0.13548 | 30.0858
13 | 0.10306 | 0.02588 | -0.10286 | -0.025803 | 0.00020275 | 7.7317e-05 | 0.15667 | 0.15667 | 0.15667 | 0.97895 | -0.14721 | 0.97696 | -0.1614 | 29.0127
14 | -0.10858 | -0.027287 | 0.1087 | 0.02733 | 0.00011219 | 4.2817e-05 | 0.1648 | 0.1648 | 0.1648 | 0.9806 | -0.13548 | 0.98164 | -0.12807 | 30.518
15 | 0.10037 | 0.025181 | -0.10034 | -0.025169 | 3.2394e-05 | 1.2348e-05 | 0.15289 | 0.15289 | 0.15289 | 0.97696 | -0.1614 | 0.97664 | -0.16373 | 28.313
16 | -0.1087 | -0.02733 | 0.10898 | 0.027439 | 0.00028574 | 0.00010904 | 0.1648 | 0.1648 | 0.1648 | 0.98164 | -0.12807 | 0.98431 | -0.10925 | 30.518
17 | 0.069818 | 0.017519 | -0.069657 | -0.017458 | 0.00016111 | 6.1681e-05 | 0.10638 | 0.10638 | 0.10638 | 0.97664 | -0.16373 | 0.97431 | -0.18039 | 39.4015
18 | 0.030524 | 0.0076491 | -0.030499 | -0.0076403 | 2.512e-05 | 8.7309e-06 | 0.046506 | 0.046507 | 0.046507 | 0.97664 | -0.16373 | 0.97581 | -0.16968 | 8.6123
19 | -0.10898 | -0.027439 | 0.1092 | 0.027521 | 0.00021459 | 8.1891e-05 | 0.1648 | 0.1648 | 0.1648 | 0.98431 | -0.10925 | 0.9863 | -0.095184 | 30.518
20 | 0.02893 | 0.0072471 | -0.028899 | -0.0072366 | 3.0646e-05 | 1.0527e-05 | 0.044114 | 0.044114 | 0.044114 | 0.97581 | -0.16968 | 0.97474 | -0.17734 | 8.1693
21 | -0.1108 | -0.027922 | 0.11105 | 0.02802 | 0.00025592 | 9.7682e-05 | 0.16721 | 0.16721 | 0.16721 | 0.9863 | -0.095184 | 0.98865 | -0.078722 | 30.9652
22 | -0.12019 | -0.030309 | 0.12037 | 0.030379 | 0.00018137 | 6.9302e-05 | 0.18096 | 0.18096 | 0.18096 | 0.98865 | -0.078722 | 0.99019 | -0.067973 | 33.5111
23 | -0.13535 | -0.034132 | 0.13553 | 0.034199 | 0.00017587 | 6.729e-05 | 0.20347 | 0.20347 | 0.20347 | 0.99019 | -0.067973 | 0.99152 | -0.058715 | 37.68
24 | 0.014981 | 0.0037535 | -0.014977 | -0.0037523 | 3.5265e-06 | 1.213e-06 | 0.022512 | 0.022512 | 0.022512 | 0.99019 | -0.067973 | 0.98995 | -0.069674 | 8.3378
25 | 0.0031477 | 0.00078863 | -0.0031473 | -0.0007888 | 3.1021e-07 | -1.6801e-07 | 0.0047237 | 0.0047238 | 0.0047238 | 0.99152 | -0.058715 | 0.99142 | -0.059427 | 1.7496
26 | -0.13867 | -0.034988 | 0.1391 | 0.035153 | 0.00043093 | 0.00016492 | 0.2082 | 0.2082 | 0.2082 | 0.99152 | -0.058715 | 0.9947 | -0.036637 | 38.5547
27 | 0.012326 | 0.0030879 | -0.012326 | -0.0030878 | 4.5996e-07 | 1.493e-07 | 0.018528 | 0.018528 | 0.018528 | 0.98995 | -0.069674 | 0.98992 | -0.069944 | 6.8621
28 | 0.040265 | 0.010102 | -0.040262 | -0.010101 | 2.7828e-06 | 1.0543e-06 | 0.060238 | 0.060238 | 0.060238 | 0.9947 | -0.036637 | 0.99463 | -0.037135 | 22.3104
29 | -0.17937 | -0.045255 | 0.17985 | 0.045442 | 0.00048548 | 0.00018616 | 0.26843 | 0.26843 | 0.26843 | 0.9947 | -0.036637 | 0.99748 | -0.0174 | 49.7099
30 | 0.0029155 | 0.00072947 | -0.0029152 | -0.00072967 | 2.8037e-07 | -1.9295e-07 | 0.004382 | 0.0043821 | 0.0043821 | 0.98992 | -0.069944 | 0.98982 | -0.070641 | 1.623
31 | 0.0094106 | 0.0023583 | -0.0094049 | -0.0023567 | 5.6161e-06 | 1.5822e-06 | 0.014146 | 0.014146 | 0.014146 | 0.98992 | -0.069944 | 0.98931 | -0.074257 | 5.2392
32 | 0.040262 | 0.010101 | -0.040224 | -0.010087 | 3.8482e-05 | 1.458e-05 | 0.060238 | 0.060238 | 0.060238 | 0.99463 | -0.037135 | 0.99365 | -0.044032 | 22.3105
33 | -0.18203 | -0.045988 | 0.18248 | 0.046159 | 0.00044672 | 0.00017131 | 0.27168 | 0.27168 | 0.27168 | 0.99748 | -0.0174 | 1 | 0 | 50.3119
34 | 0.0011914 | 0.00029766 | -0.0011914 | -0.00029795 | 4.823e-08 | -2.9121e-07 | 0.0017908 | 0.0017909 | 0.0017909 | 0.98982 | -0.070641 | 0.98978 | -0.070935 | 0.66329
35 | 0.0056608 | 0.0014185 | -0.0056603 | -0.0014185 | 4.9739e-07 | 5.0133e-08 | 0.0085143 | 0.0085143 | 0.0085143 | 0.98931 | -0.074257 | 0.98922 | -0.074892 | 3.1535
36 | 0.0037442 | 0.00093819 | -0.003744 | -0.00093823 | 1.7852e-07 | -4.7162e-08 | 0.0056316 | 0.0056316 | 0.0056316 | 0.98931 | -0.074257 | 0.98926 | -0.074602 | 2.0858
37 | 0.0011914 | 0.00029795 | -0.0011914 | -0.00029813 | 2.9911e-08 | -1.8057e-07 | 0.0017909 | 0.001791 | 0.001791 | 0.98978 | -0.070935 | 0.98975 | -0.071117 | 0.66332
38 | 0.0011914 | 0.00029813 | -0.0011913 | -0.00029856 | 7.2087e-08 | -4.3507e-07 | 0.001791 | 0.0017911 | 0.0017911 | 0.98975 | -0.071117 | 0.98969 | -0.071555 | 0.66338
39 | -0.0025932 | -0.00064968 | 0.0025934 | 0.00064951 | 1.8833e-07 | -1.6677e-07 | 0.0039623 | 0.0039622 | 0.0039623 | 0.97384 | -0.18384 | 0.97391 | -0.18331 | 1.4675
40 | 0.0011565 | 0.00028959 | -0.0011564 | -0.00028983 | 3.8776e-08 | -2.3269e-07 | 0.001767 | 0.0017671 | 0.0017671 | 0.97384 | -0.18384 | 0.9738 | -0.18408 | 0.65447
41 | -0.0036385 | -0.00091145 | 0.0036391 | 0.00091131 | 5.388e-07 | -1.4052e-07 | 0.0055591 | 0.005559 | 0.0055591 | 0.97391 | -0.18331 | 0.97406 | -0.18224 | 2.0589
42 | -0.020392 | -0.0051103 | 0.0204 | 0.0051127 | 7.8292e-06 | 2.3672e-06 | 0.031151 | 0.031151 | 0.031151 | 0.97406 | -0.18224 | 0.97445 | -0.17947 | 5.7688
43 | 0.016753 | 0.004199 | -0.016746 | -0.0041971 | 7.0914e-06 | 1.8639e-06 | 0.025592 | 0.025593 | 0.025593 | 0.97406 | -0.18224 | 0.97364 | -0.1853 | 4.7394
44 | -0.024193 | -0.0060629 | 0.0242 | 0.0060653 | 7.1202e-06 | 2.3218e-06 | 0.036943 | 0.036943 | 0.036943 | 0.97445 | -0.17947 | 0.97474 | -0.17734 | 6.8414
45 | 0.0037933 | 0.00095029 | -0.003793 | -0.00095034 | 2.6388e-07 | -5.5511e-08 | 0.0057923 | 0.0057924 | 0.0057924 | 0.97445 | -0.17947 | 0.97438 | -0.17997 | 2.1453
46 | 0.00057481 | 0.00014391 | -0.0005748 | -0.00014406 | 5.6508e-09 | -1.4377e-07 | 0.00087843 | 0.00087848 | 0.00087848 | 0.97364 | -0.1853 | 0.97363 | -0.18537 | 0.32536
47 | 0.016171 | 0.0040532 | -0.016165 | -0.0040518 | 5.653e-06 | 1.4367e-06 | 0.024714 | 0.024715 | 0.024715 | 0.97364 | -0.1853 | 0.97328 | -0.18782 | 4.5768
48 | 0.0046989 | 0.0011713 | -0.0046978 | -0.0011713 | 1.1391e-06 | -4.2628e-09 | 0.007171 | 0.0071711 | 0.0071711 | 0.97474 | -0.17734 | 0.9745 | -0.17911 | 2.656
49 | 0.002643 | 0.00066214 | -0.002643 | -0.00066217 | 4.2214e-08 | -3.5486e-08 | 0.0040362 | 0.0040362 | 0.0040362 | 0.97438 | -0.17997 | 0.97436 | -0.18009 | 1.4949
50 | 0.00061173 | 0.00015311 | -0.00061172 | -0.00015331 | 9.179e-09 | -2.0548e-07 | 0.00093517 | 0.00093525 | 0.00093525 | 0.97328 | -0.18782 | 0.97327 | -0.18793 | 0.34639
51 | 0.015554 | 0.0038987 | -0.015552 | -0.0038983 | 1.3436e-06 | 3.2751e-07 | 0.023779 | 0.02378 | 0.02378 | 0.97328 | -0.18782 | 0.9732 | -0.18845 | 4.4036
52 | -0.0012928 | -0.00032401 | 0.0012929 | 0.00032342 | 1.1446e-07 | -5.8237e-07 | 0.0019419 | 0.0019417 | 0.0019419 | 0.99064 | -0.06525 | 0.99073 | -0.064609 | 0.71921
53 | -0.022635 | -0.0056699 | 0.02265 | 0.0056754 | 1.5149e-05 | 5.5559e-06 | 0.033996 | 0.033995 | 0.033996 | 0.99073 | -0.064609 | 0.99141 | -0.059772 | 12.5909
54 | 0.0031707 | 0.0007939 | -0.0031704 | -0.00079406 | 3.0815e-07 | -1.6266e-07 | 0.0047586 | 0.0047587 | 0.0047587 | 0.99141 | -0.059772 | 0.99132 | -0.060476 | 1.7625
55 | -0.025821 | -0.0064693 | 0.025836 | 0.006475 | 1.5283e-05 | 5.6676e-06 | 0.038754 | 0.038754 | 0.038754 | 0.99141 | -0.059772 | 0.99202 | -0.055497 | 14.3534
56 | 0.0017965 | 0.00044973 | -0.0017964 | -0.00044997 | 9.6264e-08 | -2.365e-07 | 0.0026964 | 0.0026965 | 0.0026965 | 0.99132 | -0.060476 | 0.99126 | -0.060863 | 0.99872
57 | -0.029187 | -0.0073147 | 0.029219 | 0.0073268 | 3.2237e-05 | 1.205e-05 | 0.04378 | 0.04378 | 0.04378 | 0.99202 | -0.055497 | 0.99315 | -0.047527 | 16.2148
58 | 0.0043118 | 0.0010804 | -0.0043111 | -0.0010805 | 6.3861e-07 | -6.7264e-08 | 0.0064827 | 0.0064828 | 0.0064828 | 0.9897 | -0.071924 | 0.98955 | -0.072994 | 2.401
59 | 0.0092386 | 0.0023147 | -0.0092359 | -0.0023139 | 2.681e-06 | 7.4506e-07 | 0.01389 | 0.01389 | 0.01389 | 0.9897 | -0.071924 | 0.9894 | -0.074022 | 5.1445
60 | 0.0029163 | 0.00073072 | -0.0029161 | -0.00073084 | 1.8577e-07 | -1.2729e-07 | 0.0043859 | 0.004386 | 0.004386 | 0.9894 | -0.074022 | 0.98934 | -0.074482 | 1.6244
61 | 0.0063196 | 0.0015832 | -0.0063172 | -0.0015828 | 2.3949e-06 | 3.7567e-07 | 0.0095042 | 0.0095044 | 0.0095044 | 0.9894 | -0.074022 | 0.98901 | -0.076762 | 3.5201
62 | 0.00092622 | 0.00023188 | -0.00092619 | -0.00023213 | 2.3509e-08 | -2.422e-07 | 0.0013903 | 0.0013904 | 0.0013904 | 0.99126 | -0.060863 | 0.99123 | -0.061047 | 0.51495
63 | -0.031673 | -0.0079419 | 0.031674 | 0.007942 | 3.8512e-07 | 1.4458e-07 | 0.047457 | 0.047457 | 0.047457 | 0.99315 | -0.047527 | 0.99316 | -0.047439 | 17.5767
64 | 0.0034526 | 0.00086489 | -0.0034524 | -0.00086495 | 1.5717e-07 | -5.9335e-08 | 0.0051944 | 0.0051944 | 0.0051944 | 0.98901 | -0.076762 | 0.98897 | -0.077091 | 1.9239
65 | 0.0046978 | 0.0011713 | -0.0046969 | -0.0011713 | 8.4091e-07 | -2.9922e-09 | 0.0071711 | 0.0071712 | 0.0071712 | 0.9745 | -0.17911 | 0.97432 | -0.18042 | 2.656
66 | 0.00056343 | 0.00014098 | -0.00056342 | -0.00014121 | 8.4666e-09 | -2.2501e-07 | 0.00086038 | 0.00086046 | 0.00086046 | 0.97436 | -0.18009 | 0.97435 | -0.18019 | 0.31869
67 | 0.0025515 | 0.00063922 | -0.0025513 | -0.00063942 | 2.172e-07 | -2.006e-07 | 0.0039012 | 0.0039013 | 0.0039013 | 0.9732 | -0.18845 | 0.97311 | -0.18906 | 1.4449
68 | 0.013001 | 0.0032591 | -0.012995 | -0.003258 | 5.7955e-06 | 1.0614e-06 | 0.019878 | 0.019879 | 0.019879 | 0.9732 | -0.18845 | 0.97275 | -0.19167 | 3.6812
69 | -0.034124 | -0.0085561 | 0.03414 | 0.0085621 | 1.6119e-05 | 6.0718e-06 | 0.051128 | 0.051128 | 0.051128 | 0.99316 | -0.047439 | 0.99365 | -0.044032 | 18.9362
70 | 0.00049879 | 0.00012446 | -0.00049878 | -0.00012482 | 1.046e-08 | -3.5584e-07 | 0.00076158 | 0.00076171 | 0.00076171 | 0.97432 | -0.18042 | 0.9743 | -0.18057 | 0.28211
71 | 0.0018005 | 0.00044595 | -0.001799 | -0.00044941 | 1.5344e-06 | -3.4595e-06 | 0.002748 | 0.0027494 | 0.0027494 | 0.97432 | -0.18042 | 0.97346 | -0.18667 | 1.0183
72 | 0.00049878 | 0.00012482 | -0.00049878 | -0.00012501 | 5.567e-09 | -1.8933e-07 | 0.00076171 | 0.00076178 | 0.00076178 | 0.9743 | -0.18057 | 0.97429 | -0.18065 | 0.28214
73 | 0.0012956 | 0.00032344 | -0.0012955 | -0.00032404 | 1.2797e-07 | -6.01e-07 | 0.00198 | 0.0019802 | 0.0019802 | 0.97346 | -0.18667 | 0.97336 | -0.18739 | 0.7334
74 | 0.00028516 | 7.1261e-05 | -0.00028516 | -7.1467e-05 | 1.9754e-09 | -2.0641e-07 | 0.00043582 | 0.00043589 | 0.00043589 | 0.97346 | -0.18667 | 0.97345 | -0.18672 | 0.16144
75 | -0.00016958 | -4.25e-05 | 0.00016958 | 4.2438e-05 | 2.0774e-10 | -6.1494e-08 | 0.00025924 | 0.00025922 | 0.00025924 | 0.97334 | -0.18751 | 0.97335 | -0.1875 | 0.096016
76 | -0.00041425 | -0.00010376 | 0.00041426 | 0.00010353 | 4.6346e-09 | -2.2845e-07 | 0.00063327 | 0.00063319 | 0.00063327 | 0.97335 | -0.1875 | 0.97336 | -0.18742 | 0.23454
77 | -0.00091742 | -0.00022964 | 0.00091743 | 0.00022959 | 4.5272e-09 | -4.4112e-08 | 0.0014024 | 0.0014024 | 0.0014024 | 0.97336 | -0.18742 | 0.97336 | -0.18739 | 0.51941
78 | 0.00037803 | 9.4451e-05 | -0.00037802 | -9.4742e-05 | 4.9127e-09 | -2.9117e-07 | 0.0005778 | 0.00057791 | 0.00057791 | 0.97336 | -0.18739 | 0.97335 | -0.18748 | 0.21404
79 | -0.0013524 | -0.00033895 | 0.0013525 | 0.00033866 | 6.195e-08 | -2.838e-07 | 0.002035 | 0.0020349 | 0.002035 | 0.98892 | -0.077422 | 0.98897 | -0.077091 | 0.75369
80 | 0.012288 | 0.0030797 | -0.012282 | -0.0030779 | 5.6093e-06 | 1.8429e-06 | 0.018815 | 0.018815 | 0.018815 | 0.97181 | -0.19847 | 0.97135 | -0.20177 | 6.9684
81 | -0.012983 | -0.003254 | 0.012995 | 0.003258 | 1.2233e-05 | 4.0898e-06 | 0.019879 | 0.019879 | 0.019879 | 0.97181 | -0.19847 | 0.97275 | -0.19167 | 7.3626
82 | 0.011292 | 0.0028298 | -0.011291 | -0.0028294 | 1.2279e-06 | 3.9088e-07 | 0.017298 | 0.017298 | 0.017298 | 0.97135 | -0.20177 | 0.97124 | -0.20255 | 6.4068
83 | 0.0098201 | 0.0024608 | -0.0098171 | -0.0024599 | 3.06e-06 | 9.0891e-07 | 0.015045 | 0.015045 | 0.015045 | 0.97124 | -0.20255 | 0.97093 | -0.2048 | 5.5723
84 | 0.0079994 | 0.0020044 | -0.0079969 | -0.0020037 | 2.5226e-06 | 6.3768e-07 | 0.01226 | 0.01226 | 0.01226 | 0.97093 | -0.2048 | 0.97061 | -0.20708 | 4.5406
85 | 0.0063888 | 0.0016007 | -0.0063879 | -0.0016006 | 8.5567e-07 | 1.5245e-07 | 0.0097943 | 0.0097943 | 0.0097943 | 0.97061 | -0.20708 | 0.97048 | -0.20805 | 3.6275
86 | 0.0022745 | 0.00057004 | -0.0022745 | -0.00057005 | 5.994e-09 | -8.6961e-09 | 0.0033845 | 0.0033845 | 0.0033845 | 1 | 0 | 1 | -1.9036e-05 | 1.2535
87 | 0.0021245 | 0.00053234 | -0.0021244 | -0.00053243 | 5.3376e-08 | -8.7016e-08 | 0.0031955 | 0.0031956 | 0.0031956 | 0.98926 | -0.074602 | 0.98923 | -0.074783 | 1.1835
88 | 0.0028111 | 0.00070443 | -0.002811 | -0.0007045 | 9.4356e-08 | -7.2272e-08 | 0.0042285 | 0.0042286 | 0.0042286 | 0.98922 | -0.074892 | 0.98918 | -0.075135 | 1.5661
89 | 0.0047998 | 0.0012029 | -0.0047995 | -0.0012029 | 2.0996e-07 | 3.9949e-09 | 0.0073594 | 0.0073594 | 0.0073594 | 0.97048 | -0.20805 | 0.97043 | -0.20837 | 2.7257
90 | 0.0015881 | 0.00039767 | -0.001588 | -0.000398 | 1.1174e-07 | -3.3016e-07 | 0.002435 | 0.0024351 | 0.0024351 | 0.97048 | -0.20805 | 0.97041 | -0.20856 | 0.90188

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18798 | 0.047338

## res_load
| p_mw | q_mvar
0 | 0.0023312 | 0.00058425
1 | 0.0021816 | 0.00054677
2 | 0.0009629 | 0.00024133
3 | 0.00062862 | 0.00015755
4 | 0.0020175 | 0.00050564
5 | 0.0017968 | 0.00045033
6 | 0.0015383 | 0.00038555
7 | 0.0024809 | 0.00062177
8 | 0.069657 | 0.017458
9 | 0.0015691 | 0.00039325
10 | 0.001601 | 0.00040124
11 | 0.0091345 | 0.0022893
12 | 0.0026508 | 0.00066434
13 | 0.0031473 | 0.0007888
14 | 0.0021795 | 0.00054623
15 | 0.0017237 | 0.00043201
16 | 0.0014368 | 0.00036009
17 | 0.0010451 | 0.00026193
18 | 0.0011564 | 0.00028983
19 | 0.00115 | 0.00028821
20 | 0.0005748 | 0.00014406
21 | 0.0012928 | 0.00032401
22 | 0.0013739 | 0.00034433
23 | 0.0033506 | 0.00083975
24 | 0.0043111 | 0.0010805
25 | 0.001665 | 0.00041729
26 | 0.00087017 | 0.00021809
27 | 0.0024543 | 0.00061512
28 | 0.0029161 | 0.00073084
29 | 0.0028646 | 0.00071795
30 | 0.0020796 | 0.00052119
31 | 0.00061172 | 0.00015331
32 | 0.0024499 | 0.00061401
33 | 0.0060838 | 0.0015247
34 | 0.00092619 | 0.00023213
35 | 0.0023976 | 0.00060089
36 | 0.00021827 | 5.4704e-05
37 | 0.00016958 | 4.25e-05
38 | 0.00024467 | 6.1321e-05
39 | 0.00050317 | 0.00012611
40 | 0.00037802 | 9.4742e-05
41 | 0.0013524 | 0.00033895
42 | 0.0020999 | 0.00052629
43 | 0.00069511 | 0.00017421
44 | 0.00098993 | 0.0002481
45 | 0.0014707 | 0.00036858
46 | 0.0018176 | 0.00045554
47 | 0.0025513 | 0.00063942
48 | 0.0016081 | 0.00040304
49 | 0.0024279 | 0.00060849
50 | 0.0022745 | 0.00057005
51 | 0.0016195 | 0.0004059
52 | 0.0021244 | 0.00053243
53 | 0.0028492 | 0.00071407
54 | 0.002811 | 0.0007045
55 | 0.00049878 | 0.00012501
56 | 0.00028516 | 7.1467e-05
57 | 0.0047995 | 0.0012029
58 | 0.001588 | 0.000398
59 | 0.0011913 | 0.00029856
60 | 0.00056342 | 0.00014121

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1