## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2427-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2427-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2427-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2427-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2427-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2427-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2427-2_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2427-2_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_2427-2_0_3_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_2427-2_0_3_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_2427-2_0_3_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_2427-2_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_2427-2_0_3_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_2427-2_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2427-2_0_3_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_2427-2_0_3_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_2427-2_0_3_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_2427-2_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_2427-2_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2427-2_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_2427-2_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2427-2_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_2427-2_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_2427-2_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2427-2_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2427-2_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2427-2_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_2427-2_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2427-2_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_2427-2_0_3_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_2427-2_0_3_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_2427-2_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2427-2_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2427-2_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2427-2_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2427-2_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2427-2_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2427-2_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_2427-2_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_2427-2_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2427-2_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_2427-2_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_2427-2_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_2427-2_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_2427-2_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2427-2_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_2427-2_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_2427-2_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2427-2_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_2427-2_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_2427-2_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_2427-2_0_3_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_2427-2_0_3_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_2427-2_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_2427-2_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_2427-2_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2427-2_0_3_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_2427-2_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_2427-2_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2427-2_0_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_2427-2_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_2427-2_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_2427-2_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_2427-2_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2427-2_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_2427-2_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_2427-2_0_3_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_2427-2_0_3_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_2427-2_0_3_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_2427-2_0_3_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_2427-2_0_3_node_72 | 0.4 | n |  | TRUE
71 | bus_MV_333_0_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2427-2_0_3_load_0 | 0 | 0.00309 | 0.00077443 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2427-2_0_3_load_1 | 1 | 0.0038793 | 0.00097224 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2427-2_0_3_load_4 | 4 | 0.0025182 | 0.00063113 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2427-2_0_3_load_5 | 5 | 0.0015829 | 0.00039671 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2427-2_0_3_load_6 | 6 | 0.0016286 | 0.00040816 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2427-2_0_3_load_14 | 7 | 0.0013802 | 0.00034592 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2427-2_0_3_load_54 | 9 | 0.0018447 | 0.00046232 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2427-2_0_3_load_58 | 10 | 0.0019982 | 0.0005008 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2427-2_0_3_load_13 | 11 | 0.004021 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2427-2_0_3_load_66 | 12 | 0.0081988 | 0.0020548 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2427-2_0_3_load_10 | 13 | 0.0033092 | 0.00082936 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2427-2_0_3_load_29 | 14 | 0.0014799 | 0.0003709 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2427-2_0_3_load_59 | 15 | 0.0049977 | 0.0012525 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2427-2_0_3_load_60 | 16 | 0.0037075 | 0.0009292 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2427-2_0_3_load_7 | 17 | 0.0020756 | 0.0005202 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2427-2_0_3_load_8 | 18 | 0.0086873 | 0.0021772 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2427-2_0_3_load_9 | 19 | 0.0017975 | 0.00045051 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2427-2_0_3_load_11 | 20 | 0.002536 | 0.00063558 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2427-2_0_3_load_31 | 21 | 0.0065283 | 0.0016361 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2427-2_0_3_load_30 | 22 | 0.0018026 | 0.00045178 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2427-2_0_3_load_15 | 23 | 0.0011895 | 0.00029813 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2427-2_0_3_load_16 | 24 | 0.0018288 | 0.00045835 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2427-2_0_3_load_17 | 25 | 0.0013376 | 0.00033523 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2427-2_0_3_load_18 | 26 | 0.0013526 | 0.00033899 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2427-2_0_3_load_19 | 27 | 0.001868 | 0.00046816 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2427-2_0_3_load_34 | 28 | 0.00091254 | 0.0002287 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2427-2_0_3_load_56 | 29 | 0.0025245 | 0.00063271 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2427-2_0_3_load_35 | 31 | 0.0022091 | 0.00055366 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2427-2_0_3_load_20 | 32 | 0.0013031 | 0.0003266 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2427-2_0_3_load_21 | 33 | 0.0015119 | 0.00037892 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2427-2_0_3_load_22 | 34 | 0.0011943 | 0.00029933 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2427-2_0_3_load_23 | 35 | 0.00081878 | 0.00020521 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2427-2_0_3_load_24 | 36 | 0.0008266 | 0.00020716 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2427-2_0_3_load_46 | 37 | 0.0012939 | 0.00032428 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2427-2_0_3_load_41 | 38 | 0.001587 | 0.00039773 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2427-2_0_3_load_40 | 39 | 0.0012483 | 0.00031285 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2427-2_0_3_load_25 | 40 | 0.0022127 | 0.00055457 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2427-2_0_3_load_26 | 41 | 0.0017608 | 0.0004413 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2427-2_0_3_load_27 | 42 | 0.0032699 | 0.00081951 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2427-2_0_3_load_28 | 43 | 0.0015226 | 0.0003816 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2427-2_0_3_load_36 | 44 | 0.0014018 | 0.00035133 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2427-2_0_3_load_32 | 45 | 0.00235 | 0.00058896 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2427-2_0_3_load_33 | 46 | 0.0023343 | 0.00058503 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2427-2_0_3_load_42 | 47 | 0.0021302 | 0.00053388 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2427-2_0_3_load_37 | 48 | 0.0017869 | 0.00044784 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2427-2_0_3_load_38 | 49 | 0.0017311 | 0.00043385 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2427-2_0_3_load_63 | 52 | 0.0036498 | 0.00091473 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2427-2_0_3_load_43 | 53 | 0.00085969 | 0.00021546 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2427-2_0_3_load_44 | 54 | 0.0024431 | 0.00061229 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2427-2_0_3_load_45 | 55 | 0.002677 | 0.00067093 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2427-2_0_3_load_62 | 56 | 0.0025434 | 0.00063743 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2427-2_0_3_load_61 | 57 | 0.0026504 | 0.00066426 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2427-2_0_3_load_51 | 58 | 0.0022813 | 0.00057176 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2427-2_0_3_load_67 | 59 | 0.0020036 | 0.00050214 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2427-2_0_3_load_48 | 60 | 0.0019177 | 0.00048061 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2427-2_0_3_load_49 | 61 | 0.001885 | 0.00047242 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2427-2_0_3_load_52 | 63 | 0.0021519 | 0.00053932 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2427-2_0_3_load_53 | 64 | 0.0026784 | 0.00067128 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2427-2_0_3_load_64 | 65 | 0.0021161 | 0.00053034 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2427-2_0_3_load_68 | 66 | 0.0017085 | 0.00042818 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2427-2_0_3_load_69 | 67 | 0.0021374 | 0.00053569 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2427-2_0_3_load_70 | 68 | 0.0023541 | 0.00058999 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2427-2_0_3_load_71 | 69 | 0.0026251 | 0.0006579 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2427-2_0_3_load_72 | 70 | 0.0020346 | 0.00050992 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2427-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2427-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2427-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2427-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.043934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2427-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.020328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_2427-2_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.015119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2427-2_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.022355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2427-2_0_3_line_7 | NAYY 4x150 SE | 3 | 8 | 0.015036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2427-2_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0091067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2427-2_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.02325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2427-2_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.023707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2427-2_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.04922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2427-2_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.019628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2427-2_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.014682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_2427-2_0_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.029283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2427-2_0_3_line_15 | NAYY 4x150 SE | 10 | 16 | 0.016786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2427-2_0_3_line_16 | NAYY 4x150 SE | 13 | 18 | 0.018648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2427-2_0_3_line_17 | NAYY 4x150 SE | 14 | 42 | 0.0089107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_2427-2_0_3_line_18 | NAYY 4x150 SE | 16 | 51 | 0.045115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2427-2_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0074136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2427-2_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.019706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2427-2_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.020252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2427-2_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0003711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2427-2_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.025082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2427-2_0_3_line_24 | NAYY 4x150 SE | 22 | 45 | 0.0093232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2427-2_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.010624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2427-2_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.019632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2427-2_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.012807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2427-2_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0013626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2427-2_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.012338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2427-2_0_3_line_30 | NAYY 4x150 SE | 28 | 31 | 0.012065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2427-2_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0049113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2427-2_0_3_line_32 | NAYY 4x150 SE | 30 | 37 | 0.01829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2427-2_0_3_line_33 | NAYY 4x150 SE | 31 | 44 | 0.0037465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2427-2_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.014646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2427-2_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0090783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2427-2_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.03051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2427-2_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.017117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2427-2_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.028665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2427-2_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.015051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2427-2_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.010052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2427-2_0_3_line_41 | NAYY 4x150 SE | 39 | 47 | 0.024118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2427-2_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.019394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_2427-2_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.019539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_2427-2_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.0018539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2427-2_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.023102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2427-2_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.017195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2427-2_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0056497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2427-2_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0096615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2427-2_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.017692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2427-2_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.003097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2427-2_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.016587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2427-2_0_3_line_52 | NAYY 4x150 SE | 52 | 65 | 0.016165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2427-2_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.014549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2427-2_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.035611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2427-2_0_3_line_55 | NAYY 4x150 SE | 54 | 56 | 0.027032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2427-2_0_3_line_56 | NAYY 4x150 SE | 55 | 58 | 0.027274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2427-2_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.011175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2427-2_0_3_line_58 | NAYY 4x150 SE | 57 | 63 | 0.0016776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2427-2_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.019991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2427-2_0_3_line_60 | NAYY 4x150 SE | 59 | 66 | 0.004359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2427-2_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.017478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2427-2_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.0096528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2427-2_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.018902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2427-2_0_3_line_64 | NAYY 4x150 SE | 62 | 64 | 0.029807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2427-2_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.019589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2427-2_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.023516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2427-2_0_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.017787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2427-2_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.001925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2427-2_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.026414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2427-2_0_3_trafo_26 | 0.25 MVA 20/0.4 kV | 71 | 41 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2614634.32 | 1239659.138 | 2614636.4888 | 1239648.8719
1 | 2614631.2012 | 1239673.9016 | 2614634.32 | 1239659.138
2 | 2614642.8001 | 1239618.996 | 2614636.4888 | 1239648.8719
3 | 2614631.2012 | 1239673.9016 | 2614598.5267 | 1239667.2618 | 2614588.1477 | 1239665.1511
4 | 2614631.2012 | 1239673.9016 | 2614651.1601 | 1239677.7594
5 | 2614631.2012 | 1239673.9016 | 2614628.599 | 1239688.7949
6 | 2614642.8001 | 1239618.996 | 2614620.6799 | 1239615.763
7 | 2614642.8001 | 1239618.996 | 2614645.4984 | 1239604.2045
8 | 2614660.1012 | 1239679.4876 | 2614651.1601 | 1239677.7594
9 | 2614624.5975 | 1239711.6978 | 2614628.599 | 1239688.7949
10 | 2614597.2225 | 1239612.3346 | 2614620.6799 | 1239615.763
11 | 2614645.4984 | 1239604.2045 | 2614656.0267 | 1239556.1242
12 | 2614645.4984 | 1239604.2045 | 2614665.0024 | 1239606.4052
13 | 2614660.1012 | 1239679.4876 | 2614674.5165 | 1239682.274
14 | 2614624.5975 | 1239711.6978 | 2614653.6015 | 1239716.3052
15 | 2614624.5975 | 1239711.6978 | 2614623.6766 | 1239728.4586
16 | 2614683.5331 | 1239608.496 | 2614665.0024 | 1239606.4052
17 | 2614683.2653 | 1239683.965 | 2614674.5165 | 1239682.274
18 | 2614621.2017 | 1239773.5056 | 2614623.6766 | 1239728.4586
19 | 2614690.9 | 1239609.3273 | 2614683.5331 | 1239608.496
20 | 2614690.9 | 1239609.3273 | 2614710.4812 | 1239611.5366
21 | 2614710.4812 | 1239611.5366 | 2614730.6057 | 1239613.8073
22 | 2614730.6057 | 1239613.8073 | 2614730.9744 | 1239613.8489
23 | 2614730.9744 | 1239613.8489 | 2614755.8984 | 1239616.6611
24 | 2614765.1628 | 1239617.7064 | 2614755.8984 | 1239616.6611
25 | 2614795.7025 | 1239681.3011 | 2614795.7025 | 1239681.3011 | 2614806.0024 | 1239683.9068
26 | 2614776.1192 | 1239682.675 | 2614795.7025 | 1239681.3011
27 | 2614806.0024 | 1239683.9068 | 2614818.4179 | 1239687.0478
28 | 2614776.1192 | 1239682.675 | 2614774.7599 | 1239682.7704
29 | 2614774.7599 | 1239682.7704 | 2614762.4524 | 1239683.6339
30 | 2614750.417 | 1239684.4783 | 2614762.4524 | 1239683.6339
31 | 2614869.4022 | 1239708.5458 | 2614864.9722 | 1239706.4253
32 | 2614869.4022 | 1239708.5458 | 2614872.9257 | 1239690.5985
33 | 2614750.417 | 1239684.4783 | 2614746.6796 | 1239684.7405
34 | 2614862.0316 | 1239633.8189 | 2614876.4196 | 1239636.5581
35 | 2614862.0316 | 1239633.8189 | 2614853.1135 | 1239632.1211
36 | 2614878.4479 | 1239662.4708 | 2614882.8981 | 1239639.8034 | 2614879.1088 | 1239637.0701 | 2614876.4196 | 1239636.5581
37 | 2614836.2988 | 1239628.9199 | 2614853.1135 | 1239632.1211
38 | 2614878.4479 | 1239662.4708 | 2614872.9257 | 1239690.5985
39 | 2614821.5137 | 1239626.1051 | 2614836.2988 | 1239628.9199
40 | 2614811.6389 | 1239624.2251 | 2614821.5137 | 1239626.1051
41 | 2614811.6389 | 1239624.2251 | 2614795.2017 | 1239621.0958 | 2614787.8632 | 1239620.2677
42 | 2614702.4492 | 1239687.673 | 2614703.097 | 1239687.7982 | 2614721.7854 | 1239686.4871
43 | 2614683.2653 | 1239683.965 | 2614702.4492 | 1239687.673
44 | 2614723.6347 | 1239686.3573 | 2614721.7854 | 1239686.4871
45 | 2614723.6347 | 1239686.3573 | 2614746.6796 | 1239684.7405
46 | 2614782.2491 | 1239619.6343 | 2614765.1628 | 1239617.7064
47 | 2614787.8632 | 1239620.2677 | 2614782.2491 | 1239619.6343
48 | 2614616.5016 | 1239793.7067 | 2614609.6428 | 1239800.5113
49 | 2614620.9975 | 1239776.5959 | 2614616.5016 | 1239793.7067 | 2614616.5016 | 1239793.7067
50 | 2614621.2017 | 1239773.5056 | 2614620.9975 | 1239776.5959
51 | 2614621.2017 | 1239773.5056 | 2614637.7636 | 1239772.5891
52 | 2614637.7636 | 1239772.5891 | 2614653.9039 | 1239771.6959 | 2614653.9039 | 1239771.6959
53 | 2614721.4752 | 1239805.293 | 2614728.1129 | 1239792.346
54 | 2614748.1993 | 1239763.2009 | 2614734.9039 | 1239779.1001 | 2614728.1129 | 1239792.346
55 | 2614704.6036 | 1239779.0031 | 2614728.1129 | 1239792.346
56 | 2614758.9913 | 1239738.1532 | 2614748.1993 | 1239763.2009
57 | 2614704.6036 | 1239779.0031 | 2614702.0331 | 1239768.1274
58 | 2614701.6472 | 1239766.4948 | 2614702.0331 | 1239768.1274
59 | 2614758.9913 | 1239738.1532 | 2614765.4352 | 1239737.8834 | 2614778.5621 | 1239741.2065
60 | 2614782.7878 | 1239742.2763 | 2614778.5621 | 1239741.2065
61 | 2614706.2306 | 1239744.4371 | 2614717.2983 | 1239739.899 | 2614722.8098 | 1239739.6682
62 | 2614697.2994 | 1239748.0992 | 2614706.2306 | 1239744.4371
63 | 2614697.2994 | 1239748.0992 | 2614701.6472 | 1239766.4948
64 | 2614697.2994 | 1239748.0992 | 2614671.1136 | 1239762.338
65 | 2614653.9039 | 1239771.6959 | 2614671.1136 | 1239762.338
66 | 2614782.7878 | 1239742.2763 | 2614805.5843 | 1239748.0472
67 | 2614805.5843 | 1239748.0472 | 2614822.8277 | 1239752.4124
68 | 2614822.8277 | 1239752.4124 | 2614824.6938 | 1239752.8848
69 | 2614850.3003 | 1239759.3671 | 2614824.6938 | 1239752.8848

## bus_geodata
| x | y | coords
0 | 2614634.32 | 1239659.138
1 | 2614636.4888 | 1239648.8719
2 | 2614631.2012 | 1239673.9016
3 | 2614642.8001 | 1239618.996
4 | 2614588.1477 | 1239665.1511
5 | 2614651.1601 | 1239677.7594
6 | 2614628.599 | 1239688.7949
7 | 2614620.6799 | 1239615.763
8 | 2614645.4984 | 1239604.2045
9 | 2614660.1012 | 1239679.4876
10 | 2614624.5975 | 1239711.6978
11 | 2614597.2225 | 1239612.3346
12 | 2614656.0267 | 1239556.1242
13 | 2614665.0024 | 1239606.4052
14 | 2614674.5165 | 1239682.274
15 | 2614653.6015 | 1239716.3052
16 | 2614623.6766 | 1239728.4586
17 | 2614690.9 | 1239609.3273
18 | 2614683.5331 | 1239608.496
19 | 2614710.4812 | 1239611.5366
20 | 2614730.6057 | 1239613.8073
21 | 2614730.9744 | 1239613.8489
22 | 2614755.8984 | 1239616.6611
23 | 2614795.7025 | 1239681.3011
24 | 2614806.0023 | 1239683.9068
25 | 2614776.1192 | 1239682.675
26 | 2614818.4179 | 1239687.0478
27 | 2614774.7599 | 1239682.7704
28 | 2614762.4524 | 1239683.6339
29 | 2614864.9722 | 1239706.4253
30 | 2614869.4022 | 1239708.5458
31 | 2614750.417 | 1239684.4783
32 | 2614862.0316 | 1239633.8189
33 | 2614876.4196 | 1239636.5581
34 | 2614853.1135 | 1239632.1211
35 | 2614878.4479 | 1239662.4708
36 | 2614836.2988 | 1239628.9199
37 | 2614872.9257 | 1239690.5985
38 | 2614821.5137 | 1239626.1051
39 | 2614811.6389 | 1239624.2251
40 | 2614702.4492 | 1239687.673
41 | 2614721.7854 | 1239686.4871
42 | 2614683.2653 | 1239683.965
43 | 2614723.6347 | 1239686.3573
44 | 2614746.6796 | 1239684.7405
45 | 2614765.1628 | 1239617.7064
46 | 2614782.2491 | 1239619.6343
47 | 2614787.8632 | 1239620.2677
48 | 2614609.6428 | 1239800.5113
49 | 2614616.5016 | 1239793.7067
50 | 2614620.9975 | 1239776.5959
51 | 2614621.2017 | 1239773.5056
52 | 2614637.7636 | 1239772.5891
53 | 2614721.4752 | 1239805.293
54 | 2614728.1129 | 1239792.346
55 | 2614748.1993 | 1239763.2009
56 | 2614704.6036 | 1239779.0031
57 | 2614702.0331 | 1239768.1274
58 | 2614758.9913 | 1239738.1532
59 | 2614778.5621 | 1239741.2065
60 | 2614706.2306 | 1239744.4371
61 | 2614722.8098 | 1239739.6682
62 | 2614697.2994 | 1239748.0992
63 | 2614701.6472 | 1239766.4948
64 | 2614671.1136 | 1239762.338
65 | 2614653.9039 | 1239771.6959
66 | 2614782.7878 | 1239742.2763
67 | 2614805.5843 | 1239748.0472
68 | 2614822.8277 | 1239752.4124
69 | 2614824.6938 | 1239752.8848
70 | 2614850.3003 | 1239759.3671
71 | 2614631.2012 | 1239673.9016

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98983 | -0.070721 | 0.00309 | 0.00077443
1 | 0.98886 | -0.077502 | 0.0038793 | 0.00097224
2 | 0.99128 | -0.060518 | 0 | 0
3 | 0.98623 | -0.096095 | 0 | 0
4 | 0.99112 | -0.061643 | 0.0025182 | 0.00063113
5 | 0.99314 | -0.047575 | 0.0015829 | 0.00039671
6 | 0.99004 | -0.069223 | 0.0016286 | 0.00040816
7 | 0.98605 | -0.097335 | 0.0013802 | 0.00034592
8 | 0.98504 | -0.10445 | 0 | 0
9 | 0.99398 | -0.04172 | 0.0018447 | 0.00046232
10 | 0.98818 | -0.082263 | 0.0019982 | 0.0005008
11 | 0.98591 | -0.098314 | 0.004021 | 0.0010078
12 | 0.98446 | -0.10861 | 0.0081988 | 0.0020548
13 | 0.98374 | -0.11373 | 0.0033092 | 0.00082936
14 | 0.99535 | -0.032163 | 0.0014799 | 0.0003709
15 | 0.98797 | -0.08376 | 0.0049977 | 0.0012525
16 | 0.98701 | -0.090505 | 0.0037075 | 0.0009292
17 | 0.98222 | -0.12452 | 0.0020756 | 0.0005202
18 | 0.98258 | -0.12193 | 0.0086873 | 0.0021772
19 | 0.9813 | -0.13101 | 0.0017975 | 0.00045051
20 | 0.98042 | -0.13732 | 0.002536 | 0.00063558
21 | 0.98041 | -0.13743 | 0.0065283 | 0.0016361
22 | 0.97964 | -0.14289 | 0.0018026 | 0.00045178
23 | 0.9991 | -0.0063411 | 0.0011895 | 0.00029813
24 | 0.99905 | -0.0066793 | 0.0018288 | 0.00045835
25 | 0.99922 | -0.0054826 | 0.0013376 | 0.00033523
26 | 0.99902 | -0.0068526 | 0.0013526 | 0.00033899
27 | 0.99923 | -0.0054048 | 0.001868 | 0.00046816
28 | 0.99936 | -0.00447 | 0.00091254 | 0.0002287
29 | 0.97714 | -0.16078 | 0.0025245 | 0.00063271
30 | 0.97716 | -0.16065 | 0 | 0
31 | 0.99951 | -0.0034459 | 0.0022091 | 0.00055366
32 | 0.97772 | -0.1566 | 0.0013031 | 0.0003266
33 | 0.97759 | -0.15754 | 0.0015119 | 0.00037892
34 | 0.97782 | -0.15589 | 0.0011943 | 0.00029933
35 | 0.97739 | -0.15902 | 0.00081878 | 0.00020521
36 | 0.97804 | -0.15434 | 0.0008266 | 0.00020716
37 | 0.97723 | -0.16016 | 0.0012939 | 0.00032428
38 | 0.97825 | -0.15286 | 0.001587 | 0.00039773
39 | 0.97841 | -0.15169 | 0.0012483 | 0.00031285
40 | 0.99809 | -0.013189 | 0.0022127 | 0.00055457
41 | 1 | 0 | -0.15265 | -0.038353
42 | 0.99619 | -0.02631 | 0.0032699 | 0.00081951
43 | 0.99996 | -0.00025223 | 0.0015226 | 0.0003816
44 | 0.99957 | -0.0030452 | 0.0014018 | 0.00035133
45 | 0.97938 | -0.14474 | 0.00235 | 0.00058896
46 | 0.97896 | -0.14775 | 0.0023343 | 0.00058503
47 | 0.97884 | -0.1486 | 0.0021302 | 0.00053388
48 | 0.98397 | -0.11196 | 0.0017869 | 0.00044784
49 | 0.984 | -0.11178 | 0.0017311 | 0.00043385
50 | 0.98409 | -0.11114 | 0 | 0
51 | 0.9841 | -0.11103 | 0 | 0
52 | 0.98312 | -0.118 | 0.0036498 | 0.00091473
53 | 0.97776 | -0.1562 | 0.00085969 | 0.00021546
54 | 0.97778 | -0.15607 | 0.0024431 | 0.00061229
55 | 0.97685 | -0.1627 | 0.002677 | 0.00067093
56 | 0.97861 | -0.15011 | 0.0025434 | 0.00063743
57 | 0.979 | -0.14735 | 0.0026504 | 0.00066426
58 | 0.97625 | -0.16703 | 0.0022813 | 0.00057176
59 | 0.97587 | -0.16972 | 0.0020036 | 0.00050214
60 | 0.97979 | -0.14167 | 0.0019177 | 0.00048061
61 | 0.97974 | -0.14201 | 0.001885 | 0.00047242
62 | 0.97985 | -0.14129 | 0 | 0
63 | 0.97906 | -0.14689 | 0.0021519 | 0.00053932
64 | 0.98125 | -0.13129 | 0.0026784 | 0.00067128
65 | 0.98225 | -0.1242 | 0.0021161 | 0.00053034
66 | 0.9758 | -0.17022 | 0.0017085 | 0.00042818
67 | 0.97549 | -0.17248 | 0.0021374 | 0.00053569
68 | 0.9753 | -0.17379 | 0.0023541 | 0.00058999
69 | 0.97529 | -0.17388 | 0.0026251 | 0.0006579
70 | 0.97521 | -0.17445 | 0.0020346 | 0.00050992
71 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.063842 | 0.016062 | -0.063782 | -0.016039 | 6.0337e-05 | 2.3072e-05 | 0.095997 | 0.095997 | 0.095997 | 0.98983 | -0.070721 | 0.98886 | -0.077502 | 35.5544
1 | -0.066932 | -0.016836 | 0.067028 | 0.016873 | 9.5371e-05 | 3.6487e-05 | 0.10064 | 0.10064 | 0.10064 | 0.98983 | -0.070721 | 0.99128 | -0.060518 | 37.2748
2 | 0.059903 | 0.015067 | -0.059748 | -0.015008 | 0.00015488 | 5.918e-05 | 0.090159 | 0.090159 | 0.090159 | 0.98886 | -0.077502 | 0.98623 | -0.096095 | 33.3924
3 | 0.0025186 | 0.00063071 | -0.0025182 | -0.00063113 | 3.9184e-07 | -4.1557e-07 | 0.0037805 | 0.0037807 | 0.0037807 | 0.99128 | -0.060518 | 0.99112 | -0.061643 | 1.4003
4 | -0.12671 | -0.031902 | 0.12694 | 0.03199 | 0.00022956 | 8.7769e-05 | 0.19025 | 0.19025 | 0.19025 | 0.99128 | -0.060518 | 0.99314 | -0.047575 | 35.2315
5 | 0.057159 | 0.014398 | -0.05709 | -0.014372 | 6.9496e-05 | 2.6535e-05 | 0.085828 | 0.085828 | 0.085828 | 0.99128 | -0.060518 | 0.99004 | -0.069223 | 31.7881
6 | 0.0054027 | 0.0013537 | -0.0054018 | -0.0013536 | 9.2692e-07 | 7.1298e-08 | 0.0081515 | 0.0081516 | 0.0081516 | 0.98623 | -0.096095 | 0.98605 | -0.097335 | 3.0191
7 | 0.054345 | 0.013654 | -0.054282 | -0.01363 | 6.31e-05 | 2.4078e-05 | 0.082008 | 0.082008 | 0.082008 | 0.98623 | -0.096095 | 0.98504 | -0.10445 | 30.3734
8 | -0.12852 | -0.032387 | 0.12862 | 0.032427 | 0.00010542 | 4.031e-05 | 0.19262 | 0.19262 | 0.19262 | 0.99314 | -0.047575 | 0.99398 | -0.04172 | 35.6707
9 | 0.055461 | 0.013964 | -0.05536 | -0.013925 | 0.00010086 | 3.8495e-05 | 0.08338 | 0.08338 | 0.08338 | 0.99004 | -0.069223 | 0.98818 | -0.082263 | 30.8815
10 | 0.0040216 | 0.0010077 | -0.004021 | -0.0010078 | 5.4483e-07 | -9.2806e-08 | 0.0060687 | 0.0060689 | 0.0060689 | 0.98605 | -0.097335 | 0.98591 | -0.098314 | 2.2477
11 | 0.0082035 | 0.002056 | -0.0081988 | -0.0020548 | 4.7166e-06 | 1.1879e-06 | 0.012392 | 0.012392 | 0.012392 | 0.98504 | -0.10445 | 0.98446 | -0.10861 | 4.5898
12 | 0.046079 | 0.011574 | -0.046019 | -0.011551 | 5.9357e-05 | 2.258e-05 | 0.069616 | 0.069616 | 0.069616 | 0.98504 | -0.10445 | 0.98374 | -0.11373 | 25.7837
13 | -0.13047 | -0.032889 | 0.13064 | 0.032956 | 0.00017487 | 6.6877e-05 | 0.19538 | 0.19538 | 0.19538 | 0.99398 | -0.04172 | 0.99535 | -0.032163 | 36.1821
14 | 0.0049987 | 0.0012526 | -0.0049977 | -0.0012525 | 1.0353e-06 | 2.3112e-08 | 0.007527 | 0.0075271 | 0.0075271 | 0.98818 | -0.082263 | 0.98797 | -0.08376 | 2.7878
15 | 0.048363 | 0.012172 | -0.048308 | -0.012151 | 5.5581e-05 | 2.1162e-05 | 0.072844 | 0.072844 | 0.072844 | 0.98818 | -0.082263 | 0.98701 | -0.090505 | 26.9794
16 | 0.04271 | 0.010722 | -0.042662 | -0.010703 | 4.8577e-05 | 1.8447e-05 | 0.06461 | 0.06461 | 0.06461 | 0.98374 | -0.11373 | 0.98258 | -0.12193 | 23.9298
17 | -0.13212 | -0.033327 | 0.13223 | 0.033369 | 0.00010855 | 4.1517e-05 | 0.1976 | 0.1976 | 0.1976 | 0.99535 | -0.032163 | 0.99619 | -0.02631 | 36.5917
18 | 0.0446 | 0.011222 | -0.044473 | -0.011173 | 0.00012734 | 4.8401e-05 | 0.067255 | 0.067255 | 0.067255 | 0.98701 | -0.090505 | 0.9841 | -0.11103 | 24.9093
19 | -0.033962 | -0.0085215 | 0.033974 | 0.0085262 | 1.2248e-05 | 4.6169e-06 | 0.051454 | 0.051454 | 0.051454 | 0.98222 | -0.12452 | 0.98258 | -0.12193 | 19.0572
20 | 0.031886 | 0.0080013 | -0.031858 | -0.0079906 | 2.8698e-05 | 1.0788e-05 | 0.04831 | 0.04831 | 0.04831 | 0.98222 | -0.12452 | 0.9813 | -0.13101 | 17.8926
21 | 0.03006 | 0.00754 | -0.030034 | -0.0075302 | 2.626e-05 | 9.8442e-06 | 0.045584 | 0.045584 | 0.045584 | 0.9813 | -0.13101 | 0.98042 | -0.13732 | 16.8831
22 | 0.027498 | 0.0068946 | -0.027497 | -0.0068945 | 4.0335e-07 | 1.5045e-07 | 0.041735 | 0.041735 | 0.041735 | 0.98042 | -0.13732 | 0.98041 | -0.13743 | 15.4576
23 | 0.020969 | 0.0052583 | -0.020953 | -0.0052525 | 1.5854e-05 | 5.7817e-06 | 0.031827 | 0.031827 | 0.031827 | 0.98041 | -0.13743 | 0.97964 | -0.14289 | 11.7879
24 | 0.019151 | 0.0048008 | -0.019146 | -0.004799 | 4.9228e-06 | 1.776e-06 | 0.029089 | 0.029089 | 0.029089 | 0.97964 | -0.14289 | 0.97938 | -0.14474 | 10.7738
25 | 0.0031816 | 0.0007971 | -0.0031815 | -0.00079718 | 1.4886e-07 | -8.1873e-08 | 0.0047385 | 0.0047385 | 0.0047385 | 0.9991 | -0.0063411 | 0.99905 | -0.0066793 | 1.755
26 | -0.0043711 | -0.0010952 | 0.0043717 | 0.0010952 | 5.1917e-07 | -5.7437e-08 | 0.0065101 | 0.00651 | 0.0065101 | 0.9991 | -0.0063411 | 0.99922 | -0.0054826 | 2.4112
27 | 0.0013526 | 0.00033884 | -0.0013526 | -0.00033899 | 3.2435e-08 | -1.5522e-07 | 0.0020146 | 0.0020147 | 0.0020147 | 0.99905 | -0.0066793 | 0.99902 | -0.0068526 | 0.74617
28 | -0.0057092 | -0.0014304 | 0.0057093 | 0.0014304 | 6.1458e-08 | 5.7895e-09 | 0.0085019 | 0.0085019 | 0.0085019 | 0.99922 | -0.0054826 | 0.99923 | -0.0054048 | 3.1489
29 | -0.0075773 | -0.0018986 | 0.0075783 | 0.0018988 | 9.8021e-07 | 2.1537e-07 | 0.011284 | 0.011284 | 0.011284 | 0.99923 | -0.0054048 | 0.99936 | -0.00447 | 4.1791
30 | -0.0084908 | -0.0021275 | 0.008492 | 0.0021278 | 1.2033e-06 | 3.0469e-07 | 0.012642 | 0.012642 | 0.012642 | 0.99936 | -0.00447 | 0.99951 | -0.0034459 | 4.6823
31 | -0.0025245 | -0.00063271 | 0.0025246 | 0.00063267 | 4.5294e-08 | -4.4101e-08 | 0.0038444 | 0.0038444 | 0.0038444 | 0.97714 | -0.16078 | 0.97716 | -0.16065 | 1.4239
32 | -0.0025246 | -0.00063267 | 0.0025248 | 0.0006325 | 1.6867e-07 | -1.6426e-07 | 0.0038444 | 0.0038443 | 0.0038444 | 0.97716 | -0.16065 | 0.97723 | -0.16016 | 1.4239
33 | -0.010701 | -0.0026815 | 0.010702 | 0.0026816 | 5.9334e-07 | 1.791e-07 | 0.015931 | 0.015931 | 0.015931 | 0.99951 | -0.0034459 | 0.99957 | -0.0030452 | 5.9004
34 | 0.0061517 | 0.0015409 | -0.0061509 | -0.0015408 | 8.0105e-07 | 1.2443e-07 | 0.009362 | 0.0093621 | 0.0093621 | 0.97772 | -0.1566 | 0.97759 | -0.15754 | 3.4674
35 | -0.0074548 | -0.0018675 | 0.0074555 | 0.0018676 | 7.2915e-07 | 1.6658e-07 | 0.011345 | 0.011345 | 0.011345 | 0.97772 | -0.1566 | 0.97782 | -0.15589 | 4.202
36 | 0.004639 | 0.0011618 | -0.004638 | -0.0011619 | 9.4916e-07 | -1.7388e-08 | 0.0070608 | 0.0070609 | 0.0070609 | 0.97759 | -0.15754 | 0.97739 | -0.15902 | 2.6152
37 | -0.0086499 | -0.002167 | 0.0086517 | 0.0021675 | 1.8505e-06 | 4.9698e-07 | 0.013163 | 0.013163 | 0.013163 | 0.97782 | -0.15589 | 0.97804 | -0.15434 | 4.8751
38 | 0.0038192 | 0.00095665 | -0.0038186 | -0.00095678 | 6.0471e-07 | -1.266e-07 | 0.0058144 | 0.0058145 | 0.0058145 | 0.97739 | -0.15902 | 0.97723 | -0.16016 | 2.1535
39 | -0.0094783 | -0.0023746 | 0.0094803 | 0.0023752 | 1.9529e-06 | 5.6221e-07 | 0.01442 | 0.01442 | 0.01442 | 0.97804 | -0.15434 | 0.97825 | -0.15286 | 5.3408
40 | -0.011067 | -0.0027729 | 0.011069 | 0.0027735 | 1.7776e-06 | 5.5745e-07 | 0.016834 | 0.016834 | 0.016834 | 0.97825 | -0.15286 | 0.97841 | -0.15169 | 6.2349
41 | -0.012317 | -0.0030863 | 0.012323 | 0.0030881 | 5.2809e-06 | 1.7281e-06 | 0.018733 | 0.018732 | 0.018733 | 0.97841 | -0.15169 | 0.97884 | -0.1486 | 6.938
42 | -0.13796 | -0.034838 | 0.13822 | 0.034936 | 0.00025623 | 9.804e-05 | 0.20578 | 0.20578 | 0.20578 | 0.99809 | -0.013189 | 1 | 0 | 38.1071
43 | 0.13575 | 0.034284 | -0.1355 | -0.034188 | 0.00024993 | 9.5617e-05 | 0.20248 | 0.20248 | 0.20248 | 0.99809 | -0.013189 | 0.99619 | -0.02631 | 37.4962
44 | 0.013631 | 0.0034162 | -0.013631 | -0.0034161 | 4.7594e-07 | 1.5873e-07 | 0.020284 | 0.020284 | 0.020284 | 1 | 0 | 0.99996 | -0.00025223 | 7.5124
45 | 0.012108 | 0.0030345 | -0.012104 | -0.003033 | 4.6799e-06 | 1.497e-06 | 0.018018 | 0.018018 | 0.018018 | 0.99996 | -0.00025223 | 0.99957 | -0.0030452 | 6.6733
46 | 0.016796 | 0.00421 | -0.016789 | -0.0042076 | 6.9871e-06 | 2.4711e-06 | 0.025519 | 0.025519 | 0.025519 | 0.97938 | -0.14474 | 0.97896 | -0.14775 | 9.4514
47 | 0.014454 | 0.0036225 | -0.014453 | -0.0036219 | 1.7018e-06 | 5.835e-07 | 0.021971 | 0.021971 | 0.021971 | 0.97896 | -0.14775 | 0.97884 | -0.1486 | 8.1373
48 | -0.0017869 | -0.00044784 | 0.001787 | 0.00044774 | 4.4023e-08 | -1.0579e-07 | 0.0027023 | 0.0027022 | 0.0027023 | 0.98397 | -0.11196 | 0.984 | -0.11178 | 1.0008
49 | -0.0035181 | -0.00088159 | 0.0035184 | 0.00088149 | 3.1244e-07 | -1.0458e-07 | 0.00532 | 0.0053199 | 0.00532 | 0.984 | -0.11178 | 0.98409 | -0.11114 | 1.9704
50 | -0.0035184 | -0.00088149 | 0.0035184 | 0.00088147 | 5.4694e-08 | -1.8312e-08 | 0.0053199 | 0.0053199 | 0.0053199 | 0.98409 | -0.11114 | 0.9841 | -0.11103 | 1.9703
51 | 0.040955 | 0.010292 | -0.040915 | -0.010277 | 3.9704e-05 | 1.506e-05 | 0.061935 | 0.061935 | 0.061935 | 0.9841 | -0.11103 | 0.98312 | -0.118 | 22.939
52 | 0.037265 | 0.0093619 | -0.037233 | -0.0093498 | 3.2099e-05 | 1.2141e-05 | 0.056411 | 0.056411 | 0.056411 | 0.98312 | -0.118 | 0.98225 | -0.1242 | 20.893
53 | -0.00085969 | -0.00021546 | 0.0008597 | 0.00021528 | 1.554e-08 | -1.7651e-07 | 0.0013083 | 0.0013083 | 0.0013083 | 0.97776 | -0.1562 | 0.97778 | -0.15607 | 0.48457
54 | 0.017857 | 0.0044782 | -0.017841 | -0.0044723 | 1.6412e-05 | 5.866e-06 | 0.027176 | 0.027177 | 0.027177 | 0.97778 | -0.15607 | 0.97685 | -0.1627 | 10.0654
55 | -0.02116 | -0.0053057 | 0.021177 | 0.0053121 | 1.7492e-05 | 6.3884e-06 | 0.032203 | 0.032203 | 0.032203 | 0.97778 | -0.15607 | 0.97861 | -0.15011 | 11.9269
56 | 0.015164 | 0.0038014 | -0.015154 | -0.0037982 | 9.0804e-06 | 3.1513e-06 | 0.023099 | 0.023099 | 0.023099 | 0.97685 | -0.1627 | 0.97625 | -0.16703 | 8.5551
57 | -0.023721 | -0.0059496 | 0.02373 | 0.0059529 | 9.0726e-06 | 3.349e-06 | 0.03607 | 0.03607 | 0.03607 | 0.97861 | -0.15011 | 0.979 | -0.14735 | 13.3592
58 | -0.02638 | -0.0066172 | 0.026382 | 0.0066178 | 1.6831e-06 | 6.2626e-07 | 0.040098 | 0.040098 | 0.040098 | 0.979 | -0.14735 | 0.97906 | -0.14689 | 14.8512
59 | 0.012873 | 0.0032265 | -0.012868 | -0.0032249 | 4.8026e-06 | 1.5973e-06 | 0.019622 | 0.019622 | 0.019622 | 0.97625 | -0.16703 | 0.97587 | -0.16972 | 7.2673
60 | 0.010865 | 0.0027227 | -0.010864 | -0.0027225 | 7.4652e-07 | 2.3267e-07 | 0.016567 | 0.016567 | 0.016567 | 0.97587 | -0.16972 | 0.9758 | -0.17022 | 6.1358
61 | 0.0018851 | 0.00047224 | -0.001885 | -0.00047242 | 8.9387e-08 | -1.8574e-07 | 0.0028628 | 0.0028629 | 0.0028629 | 0.97979 | -0.14167 | 0.97974 | -0.14201 | 1.0603
62 | -0.0038027 | -0.00095285 | 0.0038029 | 0.00095281 | 2.0089e-07 | -4.4311e-08 | 0.0057752 | 0.0057751 | 0.0057752 | 0.97979 | -0.14167 | 0.97985 | -0.14129 | 2.139
63 | 0.028556 | 0.0071654 | -0.028534 | -0.0071571 | 2.2185e-05 | 8.2948e-06 | 0.043369 | 0.043369 | 0.043369 | 0.97985 | -0.14129 | 0.97906 | -0.14689 | 16.0625
64 | -0.032359 | -0.0081182 | 0.032404 | 0.0081351 | 4.492e-05 | 1.6901e-05 | 0.049144 | 0.049144 | 0.049144 | 0.97985 | -0.14129 | 0.98125 | -0.13129 | 18.2015
65 | -0.035082 | -0.0088064 | 0.035117 | 0.0088195 | 3.4603e-05 | 1.3061e-05 | 0.053206 | 0.053205 | 0.053206 | 0.98125 | -0.13129 | 0.98225 | -0.1242 | 19.7057
66 | 0.0091556 | 0.0022943 | -0.0091527 | -0.0022935 | 2.8602e-06 | 8.0643e-07 | 0.013961 | 0.013962 | 0.013962 | 0.9758 | -0.17022 | 0.97549 | -0.17248 | 5.1709
67 | 0.0070153 | 0.0017578 | -0.007014 | -0.0017575 | 1.271e-06 | 2.6684e-07 | 0.010701 | 0.010701 | 0.010701 | 0.97549 | -0.17248 | 0.9753 | -0.17379 | 3.9634
68 | 0.0046599 | 0.0011676 | -0.0046598 | -0.0011676 | 6.0713e-08 | -6.7069e-10 | 0.0071095 | 0.0071095 | 0.0071095 | 0.9753 | -0.17379 | 0.97529 | -0.17388 | 2.6331
69 | 0.0020348 | 0.00050965 | -0.0020346 | -0.00050992 | 1.5885e-07 | -2.685e-07 | 0.0031044 | 0.0031045 | 0.0031045 | 0.97529 | -0.17388 | 0.97521 | -0.17445 | 1.1498

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15441 | 0.038794

## res_load
| p_mw | q_mvar
0 | 0.00309 | 0.00077443
1 | 0.0038793 | 0.00097224
2 | 0.0025182 | 0.00063113
3 | 0.0015829 | 0.00039671
4 | 0.0016286 | 0.00040816
5 | 0.0013802 | 0.00034592
6 | 0.0018447 | 0.00046232
7 | 0.0019982 | 0.0005008
8 | 0.004021 | 0.0010078
9 | 0.0081988 | 0.0020548
10 | 0.0033092 | 0.00082936
11 | 0.0014799 | 0.0003709
12 | 0.0049977 | 0.0012525
13 | 0.0037075 | 0.0009292
14 | 0.0020756 | 0.0005202
15 | 0.0086873 | 0.0021772
16 | 0.0017975 | 0.00045051
17 | 0.002536 | 0.00063558
18 | 0.0065283 | 0.0016361
19 | 0.0018026 | 0.00045178
20 | 0.0011895 | 0.00029813
21 | 0.0018288 | 0.00045835
22 | 0.0013376 | 0.00033523
23 | 0.0013526 | 0.00033899
24 | 0.001868 | 0.00046816
25 | 0.00091254 | 0.0002287
26 | 0.0025245 | 0.00063271
27 | 0.0022091 | 0.00055366
28 | 0.0013031 | 0.0003266
29 | 0.0015119 | 0.00037892
30 | 0.0011943 | 0.00029933
31 | 0.00081878 | 0.00020521
32 | 0.0008266 | 0.00020716
33 | 0.0012939 | 0.00032428
34 | 0.001587 | 0.00039773
35 | 0.0012483 | 0.00031285
36 | 0.0022127 | 0.00055457
37 | 0.0017608 | 0.0004413
38 | 0.0032699 | 0.00081951
39 | 0.0015226 | 0.0003816
40 | 0.0014018 | 0.00035133
41 | 0.00235 | 0.00058896
42 | 0.0023343 | 0.00058503
43 | 0.0021302 | 0.00053388
44 | 0.0017869 | 0.00044784
45 | 0.0017311 | 0.00043385
46 | 0.0036498 | 0.00091473
47 | 0.00085969 | 0.00021546
48 | 0.0024431 | 0.00061229
49 | 0.002677 | 0.00067093
50 | 0.0025434 | 0.00063743
51 | 0.0026504 | 0.00066426
52 | 0.0022813 | 0.00057176
53 | 0.0020036 | 0.00050214
54 | 0.0019177 | 0.00048061
55 | 0.001885 | 0.00047242
56 | 0.0021519 | 0.00053932
57 | 0.0026784 | 0.00067128
58 | 0.0021161 | 0.00053034
59 | 0.0017085 | 0.00042818
60 | 0.0021374 | 0.00053569
61 | 0.0023541 | 0.00058999
62 | 0.0026251 | 0.0006579
63 | 0.0020346 | 0.00050992

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1