## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2427-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2427-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2427-6_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2427-6_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2427-6_0_2_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_2427-6_0_2_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_2427-6_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2427-6_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2427-6_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2427-6_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2427-6_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2427-6_0_2_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2427-6_0_2_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_2427-6_0_2_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_2427-6_0_2_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2427-6_0_2_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_2427-6_0_2_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_2427-6_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2427-6_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2427-6_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2427-6_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2427-6_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2427-6_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2427-6_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2427-6_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2427-6_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2427-6_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_2427-6_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2427-6_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_2427-6_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2427-6_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_2427-6_0_2_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2427-6_0_2_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_2427-6_0_2_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2427-6_0_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_2427-6_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2427-6_0_2_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_2427-6_0_2_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2427-6_0_2_node_34 | 0.4 | n |  | TRUE
39 | bus_MV_333_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2427-6_0_2_load_0 | 0 | 0.0013271 | 0.0003326 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2427-6_0_2_load_1 | 1 | 0.005929 | 0.001486 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2427-6_0_2_load_2 | 2 | 0.0020228 | 0.00050696 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2427-6_0_2_load_3 | 3 | 0.0088214 | 0.0022108 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2427-6_0_2_load_18 | 4 | 0.00082442 | 0.00020662 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2427-6_0_2_load_17 | 5 | 0.00085629 | 0.00021461 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2427-6_0_2_load_4 | 6 | 0.00084435 | 0.00021161 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2427-6_0_2_load_7 | 9 | 0.0028545 | 0.0007154 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2427-6_0_2_load_19 | 11 | 0.002679 | 0.00067142 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2427-6_0_2_load_38 | 12 | 0.002255 | 0.00056517 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2427-6_0_2_load_37 | 13 | 0.0013258 | 0.00033228 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2427-6_0_2_load_24 | 15 | 0.0025443 | 0.00063765 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2427-6_0_2_load_36 | 16 | 0.0023004 | 0.00057654 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2427-6_0_2_load_9 | 17 | 0.0022296 | 0.0005588 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2427-6_0_2_load_10 | 18 | 0.0065234 | 0.0016349 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2427-6_0_2_load_11 | 19 | 0.0011864 | 0.00029734 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2427-6_0_2_load_12 | 21 | 0.020606 | 0.0051644 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2427-6_0_2_load_13 | 22 | 0.0034151 | 0.00085589 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2427-6_0_2_load_15 | 23 | 0.0065369 | 0.0016383 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2427-6_0_2_load_20 | 24 | 0.0018045 | 0.00045224 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2427-6_0_2_load_23 | 26 | 0.00089626 | 0.00022462 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2427-6_0_2_load_25 | 27 | 0.00077159 | 0.00019338 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2427-6_0_2_load_26 | 28 | 0.013014 | 0.0032617 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2427-6_0_2_load_27 | 29 | 0.002987 | 0.0007486 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2427-6_0_2_load_29 | 30 | 0.0039689 | 0.00099469 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2427-6_0_2_load_35 | 31 | 0.0024392 | 0.00061131 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2427-6_0_2_load_28 | 32 | 0.0028087 | 0.00070394 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2427-6_0_2_load_33 | 33 | 0.00084243 | 0.00021113 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2427-6_0_2_load_39 | 36 | 0.0040024 | 0.0010031 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2427-6_0_2_load_32 | 37 | 0.003648 | 0.00091427 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2427-6_0_2_load_34 | 38 | 0.0013838 | 0.00034682 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2427-6_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.055663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2427-6_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0023193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2427-6_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0038466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2427-6_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0084485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2427-6_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.038878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2427-6_0_2_line_5 | NAYY 4x150 SE | 5 | 23 | 0.0035647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2427-6_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.011823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2427-6_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.035284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2427-6_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.012332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2427-6_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.015298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2427-6_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.031587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2427-6_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.018362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2427-6_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.0086885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2427-6_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.015482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2427-6_0_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.017304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2427-6_0_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.010031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2427-6_0_2_line_16 | NAYY 4x150 SE | 14 | 20 | 0.033277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2427-6_0_2_line_17 | NAYY 4x150 SE | 14 | 19 | 0.007268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2427-6_0_2_line_18 | NAYY 4x150 SE | 16 | 38 | 0.01081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2427-6_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.021501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2427-6_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.013692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2427-6_0_2_line_21 | NAYY 4x150 SE | 20 | 23 | 0.017377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2427-6_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.082137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2427-6_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.025594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2427-6_0_2_line_24 | NAYY 4x150 SE | 24 | 25 | 0.03636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2427-6_0_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.018349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2427-6_0_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.0084481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2427-6_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.022858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2427-6_0_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.032959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2427-6_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.019631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2427-6_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.017005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2427-6_0_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.031107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2427-6_0_2_line_32 | NAYY 4x150 SE | 31 | 33 | 0.0086765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2427-6_0_2_line_33 | NAYY 4x150 SE | 32 | 34 | 0.013024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2427-6_0_2_line_34 | NAYY 4x150 SE | 33 | 37 | 0.00217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2427-6_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.031642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2427-6_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.035646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2427-6_0_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.0020153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2427-6_0_2_trafo_18 | 0.25 MVA 20/0.4 kV | 39 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2614507.7106 | 1239496.3446 | 2614497.3003 | 1239512.1963 | 2614480.7318 | 1239544.9419
1 | 2614507.7106 | 1239496.3446 | 2614508.9837 | 1239494.4059
2 | 2614511.0952 | 1239491.1907 | 2614508.9837 | 1239494.4059
3 | 2614515.7329 | 1239484.1289 | 2614511.0952 | 1239491.1907
4 | 2614515.7329 | 1239484.1289 | 2614521.415 | 1239475.4767 | 2614538.7356 | 1239452.81
5 | 2614538.7356 | 1239452.81 | 2614540.9 | 1239449.9776
6 | 2614486.7051 | 1239406.6495 | 2614474.8939 | 1239406.1176
7 | 2614444.8247 | 1239415.987 | 2614447.7056 | 1239409.868 | 2614451.2138 | 1239407.0748 | 2614455.9144 | 1239405.2628 | 2614474.8939 | 1239406.1176
8 | 2614486.7051 | 1239406.6495 | 2614499.0361 | 1239406.7964
9 | 2614442.2623 | 1239431.068 | 2614444.8247 | 1239415.987
10 | 2614499.0361 | 1239406.7964 | 2614523.0639 | 1239407.0827 | 2614530.5837 | 1239406.329
11 | 2614442.2623 | 1239431.068 | 2614424.1912 | 1239434.3225
12 | 2614442.2623 | 1239431.068 | 2614441.1902 | 1239439.6901
13 | 2614545.3851 | 1239402.1007 | 2614537.7475 | 1239405.0617 | 2614533.6766 | 1239406.019 | 2614530.5837 | 1239406.329
14 | 2614424.1912 | 1239434.3225 | 2614410.4034 | 1239436.8056 | 2614407.1182 | 1239436.5606
15 | 2614441.1902 | 1239439.6901 | 2614439.9524 | 1239449.6446
16 | 2614545.3851 | 1239402.1007 | 2614550.0233 | 1239413.4746 | 2614548.3993 | 1239434.4058
17 | 2614545.3851 | 1239402.1007 | 2614550.1502 | 1239398.688 | 2614551.202 | 1239397.7537
18 | 2614439.9524 | 1239449.6446 | 2614439.6323 | 1239452.2192 | 2614438.252 | 1239460.3182
19 | 2614575.9792 | 1239372.8929 | 2614569.7503 | 1239380.7803 | 2614561.3382 | 1239388.5498
20 | 2614551.202 | 1239397.7537 | 2614555.6676 | 1239393.7873 | 2614561.3382 | 1239388.5498
21 | 2614548.3993 | 1239434.4058 | 2614543.0897 | 1239447.1119 | 2614540.9 | 1239449.9776
22 | 2614548.3993 | 1239434.4058 | 2614628.9506 | 1239450.4653
23 | 2614654.1603 | 1239454.8817 | 2614628.9506 | 1239450.4653
24 | 2614352.0984 | 1239474.1993 | 2614341.5506 | 1239495.5427 | 2614328.9991 | 1239495.7209
25 | 2614352.0984 | 1239474.1993 | 2614370.1193 | 1239477.6555
26 | 2614370.1193 | 1239477.6555 | 2614378.4162 | 1239479.2467
27 | 2614400.8652 | 1239483.5522 | 2614378.4162 | 1239479.2467
28 | 2614433.2344 | 1239489.7603 | 2614400.8652 | 1239483.5522
29 | 2614433.2344 | 1239489.7603 | 2614428.9252 | 1239508.9121
30 | 2614433.2344 | 1239489.7603 | 2614436.0912 | 1239472.9972
31 | 2614420.3339 | 1239538.7844 | 2614426.8588 | 1239518.0958 | 2614428.9252 | 1239508.9121
32 | 2614436.0912 | 1239472.9972 | 2614437.5489 | 1239464.444
33 | 2614415.5344 | 1239550.8888 | 2614419.9773 | 1239539.9149 | 2614420.3339 | 1239538.7844
34 | 2614437.9134 | 1239462.3048 | 2614437.5489 | 1239464.444
35 | 2614397.377 | 1239576.1828 | 2614404.173 | 1239570.896 | 2614409.5462 | 1239562.9929 | 2614415.5344 | 1239550.8888
36 | 2614397.377 | 1239576.1828 | 2614410.4997 | 1239584.5975 | 2614430.3591 | 1239587.4073
37 | 2614437.9134 | 1239462.3048 | 2614438.252 | 1239460.3182

## bus_geodata
| x | y | coords
0 | 2614507.7106 | 1239496.3446
1 | 2614480.7318 | 1239544.9419
2 | 2614508.9837 | 1239494.4059
3 | 2614511.0952 | 1239491.1907
4 | 2614515.7329 | 1239484.1289
5 | 2614538.7356 | 1239452.81
6 | 2614474.8939 | 1239406.1176
7 | 2614486.7051 | 1239406.6495
8 | 2614444.8247 | 1239415.987
9 | 2614499.0361 | 1239406.7964
10 | 2614442.2623 | 1239431.068
11 | 2614530.5837 | 1239406.329
12 | 2614424.1912 | 1239434.3225
13 | 2614441.1902 | 1239439.6901
14 | 2614545.3851 | 1239402.1007
15 | 2614407.1182 | 1239436.5606
16 | 2614439.9524 | 1239449.6446
17 | 2614575.9792 | 1239372.8929
18 | 2614561.3382 | 1239388.5498
19 | 2614551.202 | 1239397.7537
20 | 2614548.3993 | 1239434.4058
21 | 2614628.9506 | 1239450.4653
22 | 2614654.1602 | 1239454.8817
23 | 2614540.9 | 1239449.9776
24 | 2614328.9991 | 1239495.7209
25 | 2614352.0984 | 1239474.1993
26 | 2614370.1193 | 1239477.6555
27 | 2614378.4162 | 1239479.2467
28 | 2614400.8652 | 1239483.5522
29 | 2614433.2344 | 1239489.7603
30 | 2614428.9252 | 1239508.9121
31 | 2614436.0912 | 1239472.9972
32 | 2614420.3339 | 1239538.7844
33 | 2614437.5489 | 1239464.444
34 | 2614415.5344 | 1239550.8888
35 | 2614397.377 | 1239576.1828
36 | 2614430.3591 | 1239587.4073
37 | 2614437.9134 | 1239462.3048
38 | 2614438.252 | 1239460.3182
39 | 2614548.3993 | 1239434.4058

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99971 | -0.0020519 | 0.0013271 | 0.0003326
1 | 0.99924 | -0.0053506 | 0.005929 | 0.001486
2 | 0.99973 | -0.0018837 | 0.0020228 | 0.00050696
3 | 0.99978 | -0.0015271 | 0.0088214 | 0.0022108
4 | 1 | 0 | -0.11518 | -0.028867
5 | 0.99466 | -0.036977 | 0.00085629 | 0.00021461
6 | 0.98369 | -0.11397 | 0.00084435 | 0.00021161
7 | 0.98451 | -0.10813 | 0 | 0
8 | 0.98127 | -0.13112 | 0 | 0
9 | 0.98537 | -0.10206 | 0.0028545 | 0.0007154
10 | 0.98022 | -0.13859 | 0 | 0
11 | 0.98771 | -0.085626 | 0.002679 | 0.00067142
12 | 0.98009 | -0.1395 | 0.002255 | 0.00056517
13 | 0.97969 | -0.1424 | 0.0013258 | 0.00033228
14 | 0.98891 | -0.077176 | 0 | 0
15 | 0.98003 | -0.13996 | 0.0025443 | 0.00063765
16 | 0.97909 | -0.14667 | 0.0023004 | 0.00057654
17 | 0.98856 | -0.079627 | 0.0022296 | 0.0005588
18 | 0.98863 | -0.079138 | 0.0065234 | 0.0016349
19 | 0.98881 | -0.077914 | 0.0011864 | 0.00029734
20 | 0.99197 | -0.055725 | 0 | 0
21 | 0.98913 | -0.075799 | 0.020606 | 0.0051644
22 | 0.98901 | -0.076692 | 0.0034151 | 0.00085589
23 | 0.99418 | -0.040357 | 0.0065369 | 0.0016383
24 | 0.97601 | -0.16869 | 0.0018045 | 0.00045224
25 | 0.97611 | -0.168 | 0 | 0
26 | 0.97616 | -0.16766 | 0.00089626 | 0.00022462
27 | 0.97619 | -0.16742 | 0.00077159 | 0.00019338
28 | 0.9763 | -0.16658 | 0.013014 | 0.0032617
29 | 0.9771 | -0.1609 | 0.002987 | 0.0007486
30 | 0.97679 | -0.16311 | 0.0039689 | 0.00099469
31 | 0.97785 | -0.15552 | 0.0024392 | 0.00061131
32 | 0.97648 | -0.16533 | 0.0028087 | 0.00070394
33 | 0.97826 | -0.15256 | 0.00084243 | 0.00021113
34 | 0.9764 | -0.16588 | 0 | 0
35 | 0.97622 | -0.1672 | 0 | 0
36 | 0.97601 | -0.1687 | 0.0040024 | 0.0010031
37 | 0.97837 | -0.1518 | 0.003648 | 0.00091427
38 | 0.97848 | -0.15101 | 0.0013838 | 0.00034682
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0059317 | 0.0014863 | -0.005929 | -0.001486 | 2.7076e-06 | 3.1189e-07 | 0.008829 | 0.0088292 | 0.0088292 | 0.99971 | -0.0020519 | 0.99924 | -0.0053506 | 3.2701
1 | -0.0072588 | -0.0018189 | 0.007259 | 0.0018189 | 1.6894e-07 | 3.4566e-08 | 0.010804 | 0.010804 | 0.010804 | 0.99971 | -0.0020519 | 0.99973 | -0.0018837 | 4.0016
2 | -0.0092818 | -0.0023259 | 0.0092822 | 0.002326 | 4.581e-07 | 1.2575e-07 | 0.013815 | 0.013815 | 0.013815 | 0.99973 | -0.0018837 | 0.99978 | -0.0015271 | 5.1167
3 | -0.018104 | -0.0045368 | 0.018107 | 0.0045382 | 3.8273e-06 | 1.3612e-06 | 0.026944 | 0.026944 | 0.026944 | 0.99978 | -0.0015271 | 1 | 0 | 9.9793
4 | 0.096277 | 0.024328 | -0.095778 | -0.024137 | 0.00049839 | 0.00019118 | 0.14333 | 0.14333 | 0.14333 | 1 | 0 | 0.99466 | -0.036977 | 53.0858
5 | 0.094922 | 0.023922 | -0.094877 | -0.023905 | 4.4885e-05 | 1.7217e-05 | 0.14205 | 0.14205 | 0.14205 | 0.99466 | -0.036977 | 0.99418 | -0.040357 | 52.6114
6 | -0.048134 | -0.012098 | 0.048173 | 0.012113 | 3.9126e-05 | 1.4898e-05 | 0.072824 | 0.072824 | 0.072824 | 0.98369 | -0.11397 | 0.98451 | -0.10813 | 26.9719
7 | 0.047289 | 0.011887 | -0.047177 | -0.011844 | 0.00011271 | 4.2902e-05 | 0.071547 | 0.071547 | 0.071547 | 0.98369 | -0.11397 | 0.98127 | -0.13112 | 26.4989
8 | -0.048173 | -0.012113 | 0.048214 | 0.012129 | 4.081e-05 | 1.5539e-05 | 0.072824 | 0.072824 | 0.072824 | 0.98451 | -0.10813 | 0.98537 | -0.10206 | 26.9719
9 | 0.047177 | 0.011844 | -0.047128 | -0.011825 | 4.8866e-05 | 1.8601e-05 | 0.071547 | 0.071547 | 0.071547 | 0.98127 | -0.13112 | 0.98022 | -0.13859 | 26.4989
10 | -0.051068 | -0.012844 | 0.051186 | 0.012889 | 0.00011727 | 4.4701e-05 | 0.077135 | 0.077134 | 0.077135 | 0.98537 | -0.10206 | 0.98771 | -0.085626 | 28.5684
11 | 0.0048001 | 0.0012027 | -0.0047995 | -0.0012027 | 6.0835e-07 | 2.554e-09 | 0.0072866 | 0.0072867 | 0.0072867 | 0.98022 | -0.13859 | 0.98009 | -0.1395 | 2.6988
12 | 0.042328 | 0.010622 | -0.042305 | -0.010614 | 2.2388e-05 | 8.5014e-06 | 0.064261 | 0.064261 | 0.064261 | 0.98022 | -0.13859 | 0.97969 | -0.1424 | 23.8002
13 | -0.053865 | -0.01356 | 0.053928 | 0.013585 | 6.3651e-05 | 2.4283e-05 | 0.081171 | 0.08117 | 0.081171 | 0.98771 | -0.085626 | 0.98891 | -0.077176 | 30.0632
14 | 0.0025444 | 0.0006375 | -0.0025443 | -0.00063765 | 1.6113e-07 | -1.5608e-07 | 0.003863 | 0.0038631 | 0.0038631 | 0.98009 | -0.1395 | 0.98003 | -0.13996 | 1.4308
15 | 0.04098 | 0.010282 | -0.040955 | -0.010273 | 2.4253e-05 | 9.2019e-06 | 0.062247 | 0.062247 | 0.062247 | 0.97969 | -0.1424 | 0.97909 | -0.14667 | 23.0544
16 | -0.06387 | -0.016076 | 0.064062 | 0.016149 | 0.00019189 | 7.3375e-05 | 0.09613 | 0.09613 | 0.09613 | 0.98891 | -0.077176 | 0.99197 | -0.055725 | 35.6038
17 | 0.0099421 | 0.0024915 | -0.0099411 | -0.0024912 | 1.015e-06 | 2.9713e-07 | 0.01496 | 0.01496 | 0.01496 | 0.98891 | -0.077176 | 0.98881 | -0.077914 | 5.5407
18 | 0.038655 | 0.009696 | -0.038632 | -0.0096872 | 2.3283e-05 | 8.8193e-06 | 0.058751 | 0.058751 | 0.058751 | 0.97909 | -0.14667 | 0.97848 | -0.15101 | 21.7595
19 | -0.0022296 | -0.0005588 | 0.0022298 | 0.00055858 | 1.5112e-07 | -2.1757e-07 | 0.0033561 | 0.003356 | 0.0033561 | 0.98856 | -0.079627 | 0.98863 | -0.079138 | 1.243
20 | -0.0087532 | -0.0021935 | 0.0087547 | 0.0021939 | 1.4829e-06 | 3.9476e-07 | 0.013175 | 0.013175 | 0.013175 | 0.98863 | -0.079138 | 0.98881 | -0.077914 | 4.8795
21 | -0.088151 | -0.022194 | 0.08834 | 0.022267 | 0.0001897 | 7.2737e-05 | 0.13227 | 0.13227 | 0.13227 | 0.99197 | -0.055725 | 0.99418 | -0.040357 | 48.9877
22 | 0.024088 | 0.0060448 | -0.024022 | -0.0060201 | 6.6931e-05 | 2.4685e-05 | 0.036137 | 0.036137 | 0.036137 | 0.99197 | -0.055725 | 0.98913 | -0.075799 | 13.3841
23 | 0.0034155 | 0.00085573 | -0.0034151 | -0.00085589 | 4.2162e-07 | -1.6631e-07 | 0.005138 | 0.0051382 | 0.0051382 | 0.98913 | -0.075799 | 0.98901 | -0.076692 | 1.903
24 | -0.0018045 | -0.00045224 | 0.0018046 | 0.00045185 | 1.7171e-07 | -3.8841e-07 | 0.0027511 | 0.0027509 | 0.0027511 | 0.97601 | -0.16869 | 0.97611 | -0.168 | 1.0189
25 | -0.0018046 | -0.00045185 | 0.0018047 | 0.00045166 | 8.6644e-08 | -1.9605e-07 | 0.0027509 | 0.0027508 | 0.0027509 | 0.97611 | -0.168 | 0.97616 | -0.16766 | 1.0188
26 | -0.002701 | -0.00067628 | 0.0027011 | 0.00067621 | 8.9353e-08 | -7.1248e-08 | 0.004117 | 0.004117 | 0.004117 | 0.97616 | -0.16766 | 0.97619 | -0.16742 | 1.5248
27 | -0.0034727 | -0.00086959 | 0.0034731 | 0.00086946 | 3.9962e-07 | -1.3211e-07 | 0.0052931 | 0.005293 | 0.0052931 | 0.97619 | -0.16742 | 0.9763 | -0.16658 | 1.9604
28 | -0.016487 | -0.0041312 | 0.0165 | 0.0041358 | 1.2987e-05 | 4.5824e-06 | 0.025129 | 0.025129 | 0.025129 | 0.9763 | -0.16658 | 0.9771 | -0.1609 | 9.3069
29 | 0.010787 | 0.0027029 | -0.010784 | -0.0027018 | 3.3057e-06 | 1.0256e-06 | 0.016428 | 0.016428 | 0.016428 | 0.9771 | -0.1609 | 0.97679 | -0.16311 | 6.0843
30 | -0.030275 | -0.0075872 | 0.030297 | 0.0075957 | 2.2555e-05 | 8.462e-06 | 0.046105 | 0.046105 | 0.046105 | 0.9771 | -0.1609 | 0.97785 | -0.15552 | 17.0759
31 | 0.0068151 | 0.0017072 | -0.006813 | -0.0017067 | 2.092e-06 | 4.1538e-07 | 0.010382 | 0.010382 | 0.010382 | 0.97679 | -0.16311 | 0.97648 | -0.16533 | 3.8451
32 | -0.032736 | -0.008207 | 0.03275 | 0.0082121 | 1.3436e-05 | 5.0589e-06 | 0.049817 | 0.049817 | 0.049817 | 0.97785 | -0.15552 | 0.97826 | -0.15256 | 18.4506
33 | 0.0040042 | 0.0010028 | -0.0040039 | -0.0010028 | 3.0258e-07 | -4.654e-08 | 0.0061016 | 0.0061017 | 0.0061017 | 0.97648 | -0.16533 | 0.9764 | -0.16588 | 2.2599
34 | -0.033592 | -0.0084232 | 0.033596 | 0.0084245 | 3.5356e-06 | 1.3326e-06 | 0.051098 | 0.051098 | 0.051098 | 0.97826 | -0.15256 | 0.97837 | -0.1518 | 18.9252
35 | 0.0040039 | 0.0010028 | -0.0040032 | -0.001003 | 7.3512e-07 | -1.1295e-07 | 0.0061017 | 0.0061018 | 0.0061018 | 0.9764 | -0.16588 | 0.97622 | -0.1672 | 2.2599
36 | 0.0040032 | 0.001003 | -0.0040024 | -0.0010031 | 8.2818e-07 | -1.2705e-07 | 0.0061018 | 0.006102 | 0.006102 | 0.97622 | -0.1672 | 0.97601 | -0.1687 | 2.26
37 | -0.037244 | -0.0093388 | 0.037248 | 0.0093403 | 4.0352e-06 | 1.5267e-06 | 0.056646 | 0.056646 | 0.056646 | 0.97837 | -0.1518 | 0.97848 | -0.15101 | 20.9801

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11601 | 0.029073

## res_load
| p_mw | q_mvar
0 | 0.0013271 | 0.0003326
1 | 0.005929 | 0.001486
2 | 0.0020228 | 0.00050696
3 | 0.0088214 | 0.0022108
4 | 0.00082442 | 0.00020662
5 | 0.00085629 | 0.00021461
6 | 0.00084435 | 0.00021161
7 | 0.0028545 | 0.0007154
8 | 0.002679 | 0.00067142
9 | 0.002255 | 0.00056517
10 | 0.0013258 | 0.00033228
11 | 0.0025443 | 0.00063765
12 | 0.0023004 | 0.00057654
13 | 0.0022296 | 0.0005588
14 | 0.0065234 | 0.0016349
15 | 0.0011864 | 0.00029734
16 | 0.020606 | 0.0051644
17 | 0.0034151 | 0.00085589
18 | 0.0065369 | 0.0016383
19 | 0.0018045 | 0.00045224
20 | 0.00089626 | 0.00022462
21 | 0.00077159 | 0.00019338
22 | 0.013014 | 0.0032617
23 | 0.002987 | 0.0007486
24 | 0.0039689 | 0.00099469
25 | 0.0024392 | 0.00061131
26 | 0.0028087 | 0.00070394
27 | 0.00084243 | 0.00021113
28 | 0.0040024 | 0.0010031
29 | 0.003648 | 0.00091427
30 | 0.0013838 | 0.00034682

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1