## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2428-5_2_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2428-5_2_2_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_2428-5_2_2_node_106 | 0.4 | n |  | TRUE
3 | bus_LV_2428-5_2_2_node_108 | 0.4 | n |  | TRUE
4 | bus_LV_2428-5_2_2_node_146 | 0.4 | n |  | TRUE
5 | bus_LV_2428-5_2_2_node_144 | 0.4 | n |  | TRUE
6 | bus_LV_2428-5_2_2_node_125 | 0.4 | n |  | TRUE
7 | bus_LV_2428-5_2_2_node_119 | 0.4 | n |  | TRUE
8 | bus_LV_2428-5_2_2_node_120 | 0.4 | n |  | TRUE
9 | bus_LV_2428-5_2_2_node_121 | 0.4 | n |  | TRUE
10 | bus_LV_2428-5_2_2_node_124 | 0.4 | n |  | TRUE
11 | bus_LV_2428-5_2_2_node_122 | 0.4 | n |  | TRUE
12 | bus_LV_2428-5_2_2_node_123 | 0.4 | n |  | TRUE
13 | bus_LV_2428-5_2_2_node_126 | 0.4 | n |  | TRUE
14 | bus_MV_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2428-5_2_2_load_128 | 0 | 0.0021322 | 0.00053438 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2428-5_2_2_load_106 | 2 | 7.8802e-05 | 1.975e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2428-5_2_2_load_146 | 4 | 3.0968e-05 | 7.7613e-06 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2428-5_2_2_load_125 | 6 | 0.0028094 | 0.00070411 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2428-5_2_2_load_119 | 7 | 0.0012283 | 0.00030785 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2428-5_2_2_load_122 | 11 | 6.8302e-05 | 1.7118e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2428-5_2_2_load_123 | 12 | 5.611e-05 | 1.4062e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2428-5_2_2_load_126 | 13 | 0.0003247 | 8.1379e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2428-5_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2428-5_2_2_line_1 | NAYY 4x150 SE | 1 | 13 | 0.49508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2428-5_2_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.089442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2428-5_2_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.53501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2428-5_2_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.14391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2428-5_2_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.56767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2428-5_2_2_line_6 | NAYY 4x150 SE | 6 | 10 | 0.065185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2428-5_2_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.044138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2428-5_2_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.016033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2428-5_2_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.58909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2428-5_2_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.051797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2428-5_2_2_line_11 | NAYY 4x150 SE | 10 | 13 | 0.053241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2428-5_2_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.016246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2428-5_2_2_trafo_126 | 0.25 MVA 20/0.4 kV | 14 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82
0 | 2619226.198 | 1246390.0028 | 2619229.2139 | 1246380.0284 | 2619232.3039 | 1246377.5034 | 2619236.99 | 1246376.5846 | 2619240.5419 | 1246376.3379
1 | 2619226.198 | 1246390.0028 | 2619162.4088 | 1246375.8879 | 2619159.0658 | 1246374.8987 | 2619154.7437 | 1246373.0169 | 2619149.8523 | 1246369.6323 | 2619144.8857 | 1246363.8126 | 2619131.0666 | 1246341.4983 | 2619127.8449 | 1246335.6397 | 2619125.97 | 1246329.1184 | 2619125.0126 | 1246323.8119 | 2619124.4046 | 1246313.2254 | 2619123.4524 | 1246303.972 | 2619121.8487 | 1246295.3169 | 2619118.5594 | 1246286.9898 | 2619113.8029 | 1246276.9014 | 2619101.5535 | 1246259.6065 | 2619095.1625 | 1246252.7372 | 2619090.3933 | 1246248.9305 | 2619085.3411 | 1246246.1792 | 2619079.3655 | 1246244.0365 | 2619072.1492 | 1246242.4568 | 2619053.483 | 1246240.4179 | 2619042.7566 | 1246238.1043 | 2619029.6721 | 1246233.8708 | 2619018.1822 | 1246229.3756 | 2618997.4467 | 1246220.0812 | 2618987.4411 | 1246214.4012 | 2618983.1316 | 1246210.874 | 2618979.7914 | 1246206.5828 | 2618977.4554 | 1246202.4728 | 2618976.0477 | 1246198.5658 | 2618974.9251 | 1246192.9141 | 2618972.0476 | 1246178.5735 | 2618970.8871 | 1246172.9774 | 2618968.9547 | 1246167.8012 | 2618967.0181 | 1246163.9481 | 2618964.5301 | 1246160.1044 | 2618952.9771 | 1246144.5354 | 2618948.828 | 1246138.0514 | 2618946.3359 | 1246133.1292 | 2618944.9069 | 1246128.7885 | 2618944.1645 | 1246124.728 | 2618944.0611 | 1246119.2241 | 2618944.5661 | 1246114.8563 | 2618945.6149 | 1246110.4902 | 2618955.3192 | 1246085.1604 | 2618958.7689 | 1246071.7072 | 2618959.4116 | 1246064.4157 | 2618958.8506 | 1246061.1092
2 | 2618749.6159 | 1245360.3232 | 2618745.6953 | 1245357.8314 | 2618729.0669 | 1245345.9048 | 2618711.795 | 1245336.8113 | 2618671.4984 | 1245317.2049
3 | 2619264.0276 | 1245507.3372 | 2618749.6159 | 1245360.3232
4 | 2619323.3947 | 1245570.182 | 2619318.8882 | 1245578.4059 | 2619312.3526 | 1245581.0197 | 2619303.2836 | 1245579.7784 | 2619290.0479 | 1245572.8199 | 2619279.8738 | 1245565.2598 | 2619270.3105 | 1245560.3591 | 2619255.8345 | 1245558.4776 | 2619247.4838 | 1245557.0275 | 2619243.4202 | 1245552.1334 | 2619247.1398 | 1245537.3026 | 2619254.7226 | 1245523.9186 | 2619258.8435 | 1245511.1238 | 2619264.0276 | 1245507.3372
5 | 2619323.3947 | 1245570.182 | 2618977.0389 | 1246019.9409
6 | 2618923.1064 | 1246026.7649 | 2618923.8872 | 1246021.1638 | 2618928.2028 | 1246015.6963 | 2618936.0947 | 1246011.6077 | 2618947.2053 | 1246009.6418 | 2618959.2495 | 1246011.0144 | 2618967.8013 | 1246013.1764 | 2618977.0389 | 1246019.9409
7 | 2618555.2177 | 1246003.5135 | 2618547.1576 | 1246013.1946 | 2618545.5544 | 1246016.1804 | 2618544.3371 | 1246018.9561 | 2618543.507 | 1246023.5453 | 2618543.469 | 1246028.4595 | 2618544.0689 | 1246032.3083 | 2618545.2463 | 1246035.047 | 2618546.8105 | 1246037.2867 | 2618549.6959 | 1246039.7973 | 2618551.4207 | 1246041.0135
8 | 2618555.2177 | 1246003.5135 | 2618566.4034 | 1245991.9966
9 | 2618566.4034 | 1245991.9966 | 2618596.1215 | 1245965.2278 | 2618600.0577 | 1245962.6274 | 2618603.5212 | 1245961.4485 | 2618605.7738 | 1245960.9664 | 2618608.326 | 1245961.2968 | 2618610.7477 | 1245962.3273 | 2618612.4268 | 1245964.067 | 2618613.7261 | 1245966.4614 | 2618614.1717 | 1245968.9088 | 2618613.7766 | 1245972.0652 | 2618612.6184 | 1245975.2303 | 2618610.7873 | 1245978.6267 | 2618606.7858 | 1245985.185 | 2618605.1964 | 1245988.5711 | 2618604.4324 | 1245991.3261 | 2618604.0364 | 1245994.7381 | 2618604.0352 | 1245999.9526 | 2618605.539 | 1246009.43 | 2618610.2767 | 1246023.4871 | 2618613.024 | 1246029.0771 | 2618615.4475 | 1246031.9087 | 2618618.6673 | 1246033.7422 | 2618621.808 | 1246034.3079 | 2618624.9064 | 1246033.884 | 2618627.4946 | 1246032.3689 | 2618630.7455 | 1246029.0992 | 2618640.2713 | 1246014.5642 | 2618644.688 | 1246008.085 | 2618648.3503 | 1246001.3033 | 2618652.8752 | 1245991.6557 | 2618656.8029 | 1245982.162 | 2618659.4127 | 1245978.579 | 2618662.093 | 1245976.6083 | 2618664.7914 | 1245976.0943 | 2618667.2835 | 1245976.3467 | 2618669.8855 | 1245977.6668 | 2618673.735 | 1245981.0255 | 2618701.5177 | 1246010.1647 | 2618725.3976 | 1246038.4023 | 2618729.0446 | 1246041.2935 | 2618732.4072 | 1246043.3387 | 2618736.4958 | 1246045.1305 | 2618740.1731 | 1246045.5868 | 2618743.3767 | 1246045.3634 | 2618747.0739 | 1246044.2966 | 2618750.1844 | 1246042.4608 | 2618756.1735 | 1246038.0546 | 2618759.6823 | 1246034.4523 | 2618762.2165 | 1246030.9247 | 2618765.2642 | 1246025.0305 | 2618769.3298 | 1246014.9702 | 2618771.9287 | 1246010.0864 | 2618775.9941 | 1246004.8626 | 2618782.1249 | 1245998.6669 | 2618790.4916 | 1245992.4782 | 2618800.7997 | 1245986.2957 | 2618810.9373 | 1245981.4802 | 2618819.3765 | 1245978.6829 | 2618829.2459 | 1245977.4578 | 2618838.1216 | 1245977.5526 | 2618847.9075 | 1245978.8511 | 2618855.5606 | 1245980.9656 | 2618860.9688 | 1245983.5066 | 2618864.2001 | 1245986.4632 | 2618866.8013 | 1245990.3962 | 2618867.6373 | 1245993.5453 | 2618866.9302 | 1245997.3899 | 2618865.3922 | 1246001.1764 | 2618856.5387 | 1246015.5353 | 2618855.6971 | 1246018.9014 | 2618855.8223 | 1246022.304 | 2618857.0706 | 1246026.455 | 2618860.0639 | 1246030.6339 | 2618864.11 | 1246033.9044 | 2618869.7365 | 1246036.6462 | 2618875.2771 | 1246037.8979 | 2618882.1055 | 1246038.0419 | 2618889.2237 | 1246037.2751 | 2618896.6258 | 1246035.1417 | 2618910.7923 | 1246029.5053 | 2618916.8798 | 1246027.4344 | 2618923.1064 | 1246026.7649
10 | 2618566.4034 | 1245991.9966 | 2618573.674 | 1246010.1865 | 2618575.3459 | 1246016.6514 | 2618577.4029 | 1246025.5746 | 2618579.9256 | 1246032.9316 | 2618582.9314 | 1246040.3902 | 2618583.2014 | 1246040.8736
11 | 2618923.1064 | 1246026.7649 | 2618929.3663 | 1246027.5187 | 2618936.1941 | 1246030.2088 | 2618942.6694 | 1246034.4432 | 2618948.9269 | 1246040.6782 | 2618956.0019 | 1246051.0963 | 2618958.3736 | 1246058.2974 | 2618958.8506 | 1246061.1092
12 | 2618583.2014 | 1246040.8736 | 2618586.5521 | 1246046.8724 | 2618592.0108 | 1246054.4943

## bus_geodata
| x | y | coords
0 | 2619240.5419 | 1246376.3379
1 | 2619226.198 | 1246390.0028
2 | 2618671.4984 | 1245317.2049
3 | 2618749.6159 | 1245360.3232
4 | 2619264.0276 | 1245507.3372
5 | 2619323.3947 | 1245570.182
6 | 2618977.0389 | 1246019.9409
7 | 2618551.4207 | 1246041.0135
8 | 2618555.2177 | 1246003.5135
9 | 2618566.4034 | 1245991.9966
10 | 2618923.1064 | 1246026.7649
11 | 2618583.2014 | 1246040.8736
12 | 2618592.0108 | 1246054.4943
13 | 2618958.8506 | 1246061.1092
14 | 2618958.8506 | 1246061.1092

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99842 | -0.011168 | 0.0021322 | 0.00053438
1 | 0.99849 | -0.010682 | 0 | 0
2 | 0.99923 | -0.0065146 | 7.8802e-05 | 1.975e-05
3 | 0.99924 | -0.0064402 | 0 | 0
4 | 0.9993 | -0.0058322 | 3.0968e-05 | 7.7613e-06
5 | 0.99932 | -0.0055764 | 0 | 0
6 | 0.99941 | -0.0043702 | 0.0028094 | 0.00070411
7 | 0.99843 | -0.011334 | 0.0012283 | 0.00030785
8 | 0.99851 | -0.010791 | 0 | 0
9 | 0.99854 | -0.010593 | 0 | 0
10 | 0.99968 | -0.0023821 | 0 | 0
11 | 0.99853 | -0.010659 | 6.8302e-05 | 1.7118e-05
12 | 0.99853 | -0.010668 | 5.611e-05 | 1.4062e-05
13 | 1 | 0 | -0.0072111 | -0.0015726
14 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0021322 | -0.00053438 | 0.0021324 | 0.00053414 | 1.4333e-07 | -2.4237e-07 | 0.0031778 | 0.0031777 | 0.0031778 | 0.99842 | -0.011168 | 0.99849 | -0.010682 | 1.177
1 | -0.0021324 | -0.00053414 | 0.0021355 | 0.00052885 | 3.1172e-06 | -5.2864e-06 | 0.0031777 | 0.0031754 | 0.0031777 | 0.99849 | -0.010682 | 1 | 0 | 1.1769
2 | -7.8802e-05 | -1.975e-05 | 7.8802e-05 | 1.8578e-05 | 7.6591e-10 | -1.1713e-06 | 0.00011735 | 0.00011695 | 0.00011735 | 0.99923 | -0.0065146 | 0.99924 | -0.0064402 | 0.043462
3 | -7.8802e-05 | -1.8578e-05 | 7.8807e-05 | 1.1571e-05 | 4.4838e-09 | -7.0069e-06 | 0.00011695 | 0.00011505 | 0.00011695 | 0.99924 | -0.0064402 | 0.9993 | -0.0058322 | 0.043314
4 | -0.00010977 | -1.9333e-05 | 0.00010978 | 1.7448e-05 | 2.321e-09 | -1.8846e-06 | 0.000161 | 0.00016055 | 0.000161 | 0.9993 | -0.0058322 | 0.99932 | -0.0055764 | 0.059629
5 | -0.00010978 | -1.7448e-05 | 0.00010979 | 1.0014e-05 | 9.0447e-09 | -7.4344e-06 | 0.00016055 | 0.00015922 | 0.00016055 | 0.99932 | -0.0055764 | 0.99941 | -0.0043702 | 0.059462
6 | -0.0029192 | -0.00071413 | 0.00292 | 0.00071357 | 7.6622e-07 | -5.5969e-07 | 0.0043404 | 0.0043401 | 0.0043404 | 0.99941 | -0.0043702 | 0.99968 | -0.0023821 | 1.6075
7 | -0.0012283 | -0.00030785 | 0.0012284 | 0.0003073 | 9.2289e-08 | -5.418e-07 | 0.0018306 | 0.0018304 | 0.0018306 | 0.99843 | -0.011334 | 0.99851 | -0.010791 | 0.67801
8 | -0.0012284 | -0.0003073 | 0.0012284 | 0.00030711 | 3.3518e-08 | -1.9683e-07 | 0.0018304 | 0.0018303 | 0.0018304 | 0.99851 | -0.010791 | 0.99854 | -0.010593 | 0.67793
9 | -0.0013529 | -0.0003374 | 0.0013543 | 0.00033026 | 1.4912e-06 | -7.1412e-06 | 0.0020154 | 0.0020128 | 0.0020154 | 0.99854 | -0.010593 | 0.99968 | -0.0023821 | 0.74646
10 | 0.00012441 | 3.0291e-05 | -0.00012441 | -3.0968e-05 | 1.1087e-09 | -6.7712e-07 | 0.00018509 | 0.00018533 | 0.00018533 | 0.99854 | -0.010593 | 0.99853 | -0.010659 | 0.068639
11 | -0.0042743 | -0.0010438 | 0.0042757 | 0.0010436 | 1.3408e-06 | -1.8258e-07 | 0.0063528 | 0.0063526 | 0.0063528 | 0.99968 | -0.0023821 | 1 | 0 | 2.3529
12 | 5.611e-05 | 1.385e-05 | -5.611e-05 | -1.4062e-05 | 7.0809e-11 | -2.1248e-07 | 8.3541e-05 | 8.3616e-05 | 8.3616e-05 | 0.99853 | -0.010659 | 0.99853 | -0.010668 | 0.030969

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.0075358 | 0.0016539

## res_load
| p_mw | q_mvar
0 | 0.0021322 | 0.00053438
1 | 7.8802e-05 | 1.975e-05
2 | 3.0968e-05 | 7.7613e-06
3 | 0.0028094 | 0.00070411
4 | 0.0012283 | 0.00030785
5 | 6.8302e-05 | 1.7118e-05
6 | 5.611e-05 | 1.4062e-05
7 | 0.0003247 | 8.1379e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1