## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2615-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2615-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2615-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2615-1_0_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2615-1_0_2_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_2615-1_0_2_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_2615-1_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_2615-1_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2615-1_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2615-1_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2615-1_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2615-1_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2615-1_0_2_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_2615-1_0_2_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_2615-1_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2615-1_0_2_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_2615-1_0_2_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_2615-1_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2615-1_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2615-1_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2615-1_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2615-1_0_2_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_2615-1_0_2_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_2615-1_0_2_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_2615-1_0_2_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_2615-1_0_2_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_2615-1_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_2615-1_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2615-1_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_2615-1_0_2_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_2615-1_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2615-1_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2615-1_0_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_2615-1_0_2_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_2615-1_0_2_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_2615-1_0_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2615-1_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2615-1_0_2_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_2615-1_0_2_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_2615-1_0_2_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_2615-1_0_2_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_2615-1_0_2_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_2615-1_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2615-1_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2615-1_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_2615-1_0_2_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_2615-1_0_2_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_2615-1_0_2_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_2615-1_0_2_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_2615-1_0_2_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_2615-1_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_2615-1_0_2_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_2615-1_0_2_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_2615-1_0_2_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_2615-1_0_2_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_2615-1_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_2615-1_0_2_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_2615-1_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2615-1_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_2615-1_0_2_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_2615-1_0_2_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_2615-1_0_2_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_2615-1_0_2_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_2615-1_0_2_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_2615-1_0_2_node_60 | 0.4 | n |  | TRUE
65 | bus_MV_294_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2615-1_0_2_load_0 | 0 | 0.0038838 | 0.00097336 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2615-1_0_2_load_1 | 1 | 0.0041589 | 0.0010423 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2615-1_0_2_load_2 | 2 | 0.0012788 | 0.00032049 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2615-1_0_2_load_49 | 4 | 0.0012614 | 0.00031614 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2615-1_0_2_load_47 | 5 | 0.0021447 | 0.00053751 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2615-1_0_2_load_3 | 6 | 0.0015171 | 0.00038023 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2615-1_0_2_load_4 | 7 | 0.0013088 | 0.00032802 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2615-1_0_2_load_5 | 8 | 0.0013687 | 0.00034302 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2615-1_0_2_load_6 | 9 | 0.0011578 | 0.00029017 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2615-1_0_2_load_9 | 10 | 0.0035298 | 0.00088466 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2615-1_0_2_load_10 | 11 | 0.0031043 | 0.00077801 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2615-1_0_2_load_65 | 12 | 0.011697 | 0.0029317 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2615-1_0_2_load_11 | 14 | 0.0031022 | 0.0007775 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2615-1_0_2_load_63 | 16 | 0.0023671 | 0.00059325 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2615-1_0_2_load_12 | 17 | 0.0016912 | 0.00042385 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2615-1_0_2_load_13 | 18 | 0.0018955 | 0.00047506 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2615-1_0_2_load_14 | 19 | 0.0015798 | 0.00039594 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2615-1_0_2_load_15 | 20 | 0.001304 | 0.0003268 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2615-1_0_2_load_46 | 21 | 0.001985 | 0.0004975 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2615-1_0_2_load_67 | 22 | 0.0018088 | 0.00045333 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2615-1_0_2_load_68 | 24 | 0.0014677 | 0.00036785 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2615-1_0_2_load_18 | 26 | 0.0019444 | 0.0004873 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2615-1_0_2_load_19 | 27 | 0.0012474 | 0.00031264 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2615-1_0_2_load_37 | 29 | 0.001285 | 0.00032205 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2615-1_0_2_load_21 | 30 | 0.001273 | 0.00031905 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2615-1_0_2_load_22 | 31 | 0.0024887 | 0.00062372 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2615-1_0_2_load_35 | 32 | 0.00068398 | 0.00017142 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2615-1_0_2_load_36 | 33 | 0.0012198 | 0.00030571 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2615-1_0_2_load_38 | 36 | 0.0010295 | 0.00025802 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2615-1_0_2_load_58 | 39 | 0.0010932 | 0.00027397 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2615-1_0_2_load_57 | 40 | 0.0015598 | 0.00039093 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2615-1_0_2_load_43 | 41 | 0.0072667 | 0.0018212 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2615-1_0_2_load_33 | 43 | 0.0010531 | 0.00026393 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2615-1_0_2_load_34 | 44 | 0.0015878 | 0.00039794 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2615-1_0_2_load_23 | 45 | 0.00097391 | 0.00024409 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2615-1_0_2_load_24 | 46 | 0.000857 | 0.00021478 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2615-1_0_2_load_25 | 47 | 0.00087291 | 0.00021877 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2615-1_0_2_load_26 | 48 | 0.00088489 | 0.00022177 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2615-1_0_2_load_27 | 49 | 0.00065087 | 0.00016312 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2615-1_0_2_load_39 | 50 | 0.00075427 | 0.00018904 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2615-1_0_2_load_40 | 51 | 0.0013187 | 0.0003305 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2615-1_0_2_load_28 | 52 | 0.0015506 | 0.00038861 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2615-1_0_2_load_29 | 53 | 0.0026259 | 0.00065812 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2615-1_0_2_load_30 | 54 | 0.0020071 | 0.00050302 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2615-1_0_2_load_51 | 56 | 0.0019035 | 0.00047706 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2615-1_0_2_load_44 | 57 | 0.001051 | 0.00026341 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2615-1_0_2_load_45 | 58 | 0.0013128 | 0.00032902 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2615-1_0_2_load_50 | 59 | 0.0015479 | 0.00038793 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2615-1_0_2_load_69 | 61 | 0.0023241 | 0.00058248 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2615-1_0_2_load_54 | 63 | 0.0054311 | 0.0013612 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2615-1_0_2_load_60 | 64 | 0.0016704 | 0.00041865 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2615-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2615-1_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.049178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2615-1_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.040221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2615-1_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.017463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2615-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.03139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2615-1_0_2_line_5 | NAYY 4x150 SE | 4 | 12 | 0.055744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2615-1_0_2_line_6 | NAYY 4x150 SE | 5 | 13 | 0.012459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2615-1_0_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.014938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2615-1_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.015082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2615-1_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.014601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2615-1_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.013779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2615-1_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.012021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2615-1_0_2_line_12 | NAYY 4x150 SE | 11 | 14 | 0.023052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2615-1_0_2_line_13 | NAYY 4x150 SE | 12 | 15 | 0.02536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2615-1_0_2_line_14 | NAYY 4x150 SE | 13 | 59 | 0.028279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2615-1_0_2_line_15 | NAYY 4x150 SE | 13 | 58 | 0.013576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2615-1_0_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0089043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2615-1_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.050349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2615-1_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.022109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2615-1_0_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.019746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2615-1_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.010237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2615-1_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0095267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2615-1_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.010293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2615-1_0_2_line_23 | NAYY 4x150 SE | 22 | 60 | 0.035544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2615-1_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.036678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2615-1_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.053092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2615-1_0_2_line_26 | NAYY 4x150 SE | 24 | 64 | 0.047998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2615-1_0_2_line_27 | NAYY 4x150 SE | 25 | 63 | 0.040812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2615-1_0_2_line_28 | NAYY 4x150 SE | 25 | 56 | 0.020405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2615-1_0_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.01048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2615-1_0_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.035013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2615-1_0_2_line_31 | NAYY 4x150 SE | 26 | 29 | 0.040161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2615-1_0_2_line_32 | NAYY 4x150 SE | 27 | 30 | 0.027662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2615-1_0_2_line_33 | NAYY 4x150 SE | 28 | 31 | 0.030602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2615-1_0_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.014361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2615-1_0_2_line_35 | NAYY 4x150 SE | 30 | 34 | 0.022805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2615-1_0_2_line_36 | NAYY 4x150 SE | 31 | 35 | 0.012638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2615-1_0_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.011763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2615-1_0_2_line_38 | NAYY 4x150 SE | 33 | 36 | 0.0062091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2615-1_0_2_line_39 | NAYY 4x150 SE | 34 | 41 | 0.013084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2615-1_0_2_line_40 | NAYY 4x150 SE | 34 | 42 | 0.036583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2615-1_0_2_line_41 | NAYY 4x150 SE | 35 | 43 | 0.0046788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2615-1_0_2_line_42 | NAYY 4x150 SE | 35 | 44 | 0.020774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2615-1_0_2_line_43 | NAYY 4x150 SE | 36 | 37 | 0.035287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2615-1_0_2_line_44 | NAYY 4x150 SE | 37 | 38 | 0.028123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2615-1_0_2_line_45 | NAYY 4x150 SE | 38 | 39 | 0.0056944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2615-1_0_2_line_46 | NAYY 4x150 SE | 39 | 40 | 0.019394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2615-1_0_2_line_47 | NAYY 4x150 SE | 41 | 48 | 0.031474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2615-1_0_2_line_48 | NAYY 4x150 SE | 42 | 53 | 0.050895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2615-1_0_2_line_49 | NAYY 4x150 SE | 43 | 55 | 0.014184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2615-1_0_2_line_50 | NAYY 4x150 SE | 45 | 46 | 0.0093682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2615-1_0_2_line_51 | NAYY 4x150 SE | 45 | 47 | 0.0041362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2615-1_0_2_line_52 | NAYY 4x150 SE | 46 | 48 | 0.051476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2615-1_0_2_line_53 | NAYY 4x150 SE | 47 | 49 | 0.001438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2615-1_0_2_line_54 | NAYY 4x150 SE | 49 | 50 | 0.023702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2615-1_0_2_line_55 | NAYY 4x150 SE | 50 | 51 | 0.010737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2615-1_0_2_line_56 | NAYY 4x150 SE | 51 | 57 | 0.0057855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2615-1_0_2_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0027876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2615-1_0_2_line_58 | NAYY 4x150 SE | 52 | 54 | 0.0050599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2615-1_0_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.0022828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2615-1_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.0089157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2615-1_0_2_line_61 | NAYY 4x150 SE | 59 | 61 | 0.047078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2615-1_0_2_line_62 | NAYY 4x150 SE | 59 | 62 | 0.042741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2615-1_0_2_line_63 | NAYY 4x150 SE | 60 | 62 | 0.010362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2615-1_0_2_trafo_24 | 0.25 MVA 20/0.4 kV | 65 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2607973.5074 | 1246946.914 | 2607973.3328 | 1246950.4395 | 2607972.7195 | 1246962.9244 | 2607972.8109 | 1246966.5579
1 | 2607972.8109 | 1246966.5579 | 2607973.114 | 1246978.6016 | 2607974.1479 | 1246990.5217 | 2607977.7843 | 1247015.4236
2 | 2607955.1964 | 1247042.9744 | 2607963.409 | 1247040.7728 | 2607969.6446 | 1247037.2789 | 2607975.3014 | 1247031.7051 | 2607977.4023 | 1247025.1037 | 2607977.8975 | 1247016.1986 | 2607977.7843 | 1247015.4236
3 | 2607955.1964 | 1247042.9744 | 2607952.9375 | 1247037.8014 | 2607950.073 | 1247026.3355
4 | 2607955.1964 | 1247042.9744 | 2607956.5902 | 1247051.2482 | 2607962.8404 | 1247073.3823
5 | 2607933.6337 | 1246973.2297 | 2607934.1102 | 1246974.2247 | 2607938.2588 | 1246983.903 | 2607942.4133 | 1246994.9045 | 2607947.0025 | 1247014.045 | 2607950.073 | 1247026.3355
6 | 2607966.0987 | 1247085.4049 | 2607964.5123 | 1247079.9771 | 2607963.2203 | 1247074.7276 | 2607962.8404 | 1247073.3823
7 | 2607933.27 | 1246864.2587 | 2607932.7651 | 1246866.6431 | 2607930.3503 | 1246878.9087
8 | 2607933.27 | 1246864.2587 | 2607936.3945 | 1246849.5035
9 | 2607930.3503 | 1246878.9087 | 2607928.5372 | 1246888.1179 | 2607927.8283 | 1246893.2842
10 | 2607925.9552 | 1246906.9353 | 2607927.8283 | 1246893.2842
11 | 2607925.0521 | 1246918.913 | 2607925.479 | 1246910.4059 | 2607925.9552 | 1246906.9353
12 | 2607925.0521 | 1246918.913 | 2607924.005 | 1246939.7782 | 2607923.6261 | 1246941.9052
13 | 2607922.0646 | 1246950.6715 | 2607928.3935 | 1246962.2873 | 2607933.6337 | 1246973.2297
14 | 2607966.0987 | 1247085.4049 | 2607971.5839 | 1247089.5259 | 2607989.4978 | 1247101.3685
15 | 2607966.0987 | 1247085.4049 | 2607961.7336 | 1247085.1989 | 2607956.364 | 1247084.9583 | 2607952.6946 | 1247083.8567
16 | 2607922.0646 | 1246950.6715 | 2607923.6261 | 1246941.9052
17 | 2607922.0646 | 1246950.6715 | 2607916.9688 | 1246943.2822 | 2607912.6886 | 1246935.8607 | 2607908.8574 | 1246925.9827 | 2607907.4821 | 1246920.7442 | 2607906.1612 | 1246914.4051 | 2607906.0608 | 1246904.6987 | 2607906.117 | 1246904.0891
18 | 2608004.5837 | 1247189.4437 | 2607994.6141 | 1247209.1775
19 | 2608013.4875 | 1247171.8194 | 2608004.5837 | 1247189.4437
20 | 2608013.4875 | 1247171.8194 | 2608018.1038 | 1247162.6819
21 | 2608018.1038 | 1247162.6819 | 2608022.3997 | 1247154.1787
22 | 2608022.3997 | 1247154.1787 | 2608027.041 | 1247144.9917
23 | 2608040.5986 | 1247112.2996 | 2608038.3659 | 1247121.458 | 2608027.5128 | 1247144.0578 | 2608027.041 | 1247144.9917
24 | 2607882.1441 | 1247211.6854 | 2607891.057 | 1247193.6968 | 2607900.8476 | 1247180.2567
25 | 2607882.1441 | 1247211.6854 | 2607878.6512 | 1247202.9975 | 2607873.469 | 1247192.4728 | 2607856.4967 | 1247165.3109
26 | 2607900.8476 | 1247180.2567 | 2607947.6176 | 1247169.471
27 | 2607856.4967 | 1247165.3109 | 2607875.5522 | 1247153.3061 | 2607881.6032 | 1247146.5208 | 2607885.0886 | 1247137.9422
28 | 2607856.4967 | 1247165.3109 | 2607855.3888 | 1247163.5417 | 2607844.7374 | 1247148.6391
29 | 2607823.1322 | 1247058.9901 | 2607823.1028 | 1247059.0993 | 2607819.4037 | 1247068.7841
30 | 2607803.2015 | 1247099.7993 | 2607809.5988 | 1247088.0001 | 2607818.4041 | 1247071.401 | 2607819.4037 | 1247068.7841
31 | 2607819.4037 | 1247068.7841 | 2607783.4019 | 1247050.9868
32 | 2607827.0031 | 1247031.7965 | 2607827.1007 | 1247034.0997 | 2607827.0984 | 1247041.6045 | 2607825.9033 | 1247048.6963 | 2607823.1322 | 1247058.9901
33 | 2607803.2015 | 1247099.7993 | 2607807.6611 | 1247102.8182 | 2607824.1683 | 1247121.8816
34 | 2607783.4019 | 1247050.9868 | 2607779.06 | 1247050.3585 | 2607776.9895 | 1247051.1786 | 2607775.582 | 1247058.7968
35 | 2607824.3993 | 1247009.1691 | 2607825.8761 | 1247017.6209 | 2607826.8003 | 1247027.0059 | 2607827.0031 | 1247031.7965
36 | 2607832.4412 | 1247131.4355 | 2607824.1683 | 1247121.8816
37 | 2607775.582 | 1247058.7968 | 2607773.445 | 1247070.364 | 2607773.445 | 1247070.364
38 | 2607767.4939 | 1247072.1354 | 2607773.445 | 1247070.364
39 | 2607824.3993 | 1247009.1691 | 2607829.4162 | 1247007.6636 | 2607833.6901 | 1247008.3252 | 2607837.076 | 1247009.2922
40 | 2607812.9722 | 1246974.4209 | 2607820.4886 | 1246996.4003 | 2607822.1882 | 1247001.9394 | 2607824.3993 | 1247009.1691
41 | 2607832.4412 | 1247131.4355 | 2607835.1619 | 1247135.242
42 | 2607832.4412 | 1247131.4355 | 2607830.0957 | 1247134.6901 | 2607824.7184 | 1247150.5667
43 | 2607733.3946 | 1247063.8746 | 2607757.5002 | 1247071.3773 | 2607767.2344 | 1247072.2126 | 2607767.4939 | 1247072.1354
44 | 2607733.3946 | 1247063.8746 | 2607729.552 | 1247091.7319
45 | 2607729.552 | 1247091.7319 | 2607728.5224 | 1247097.3324
46 | 2607724.6757 | 1247116.3165 | 2607725.422 | 1247114.1964 | 2607728.5224 | 1247097.3324
47 | 2607837.076 | 1247009.2922 | 2607840.8474 | 1247010.3692 | 2607865.5058 | 1247016.8279 | 2607867.412 | 1247017.6134
48 | 2607812.9722 | 1246974.4209 | 2607821.2379 | 1246972.0524 | 2607863.5334 | 1246971.7703
49 | 2607843.41 | 1247146.7819 | 2607835.1619 | 1247135.242
50 | 2607898.9234 | 1247055.9611 | 2607902.5034 | 1247064.6183
51 | 2607905.1388 | 1247067.8063 | 2607902.5034 | 1247064.6183 | 2607902.5034 | 1247064.6183
52 | 2607898.9234 | 1247055.9611 | 2607894.6738 | 1247045.6848 | 2607888.608 | 1247035.0367 | 2607882.6895 | 1247027.2016 | 2607875.5756 | 1247020.9772 | 2607867.412 | 1247017.6134
53 | 2607906.055 | 1247068.9147 | 2607905.1388 | 1247067.8063
54 | 2607906.055 | 1247068.9147 | 2607906.055 | 1247068.9147 | 2607912.4326 | 1247072.1696 | 2607921.6208 | 1247074.6945 | 2607928.4776 | 1247076.1646
55 | 2607938.7538 | 1247079.2018 | 2607932.735 | 1247077.0774 | 2607928.4776 | 1247076.1646
56 | 2607938.7538 | 1247079.2018 | 2607944.2095 | 1247081.1274
57 | 2607863.5334 | 1246971.7703 | 2607866.3209 | 1246971.7517
58 | 2607871.3808 | 1246971.718 | 2607866.3209 | 1246971.7517
59 | 2607843.41 | 1247146.7819 | 2607844.7374 | 1247148.6391
60 | 2607952.6946 | 1247083.8567 | 2607947.6594 | 1247082.3451 | 2607944.2095 | 1247081.1274
61 | 2607989.4978 | 1247101.3685 | 2607998.0389 | 1247079.3881 | 2608005.5307 | 1247057.1061
62 | 2607989.4978 | 1247101.3685 | 2607994.8025 | 1247104.9001 | 2608000.803 | 1247107.6988 | 2608005.9974 | 1247109.0066 | 2608011.0042 | 1247109.4024 | 2608020.0971 | 1247109.6592 | 2608030.4736 | 1247110.1179
63 | 2608030.4736 | 1247110.1179 | 2608039.2022 | 1247111.6973 | 2608040.5986 | 1247112.2996

## bus_geodata
| x | y | coords
0 | 2607973.5074 | 1246946.914
1 | 2607972.8109 | 1246966.5579
2 | 2607977.7843 | 1247015.4236
3 | 2607955.1964 | 1247042.9744
4 | 2607950.073 | 1247026.3355
5 | 2607962.8404 | 1247073.3823
6 | 2607933.27 | 1246864.2587
7 | 2607930.3503 | 1246878.9087
8 | 2607936.3945 | 1246849.5035
9 | 2607927.8283 | 1246893.2842
10 | 2607925.9552 | 1246906.9353
11 | 2607925.0521 | 1246918.913
12 | 2607933.6337 | 1246973.2297
13 | 2607966.0987 | 1247085.4049
14 | 2607923.6261 | 1246941.9052
15 | 2607922.0646 | 1246950.6715
16 | 2607906.117 | 1246904.0891
17 | 2608004.5837 | 1247189.4437
18 | 2607994.6141 | 1247209.1775
19 | 2608013.4875 | 1247171.8194
20 | 2608018.1038 | 1247162.6819
21 | 2608022.3997 | 1247154.1787
22 | 2608027.041 | 1247144.9917
23 | 2607882.1441 | 1247211.6854
24 | 2607900.8476 | 1247180.2567
25 | 2607856.4967 | 1247165.3109
26 | 2607819.4037 | 1247068.7841
27 | 2607823.1322 | 1247058.9901
28 | 2607803.2015 | 1247099.7993
29 | 2607783.4019 | 1247050.9868
30 | 2607827.0031 | 1247031.7965
31 | 2607824.1683 | 1247121.8816
32 | 2607775.582 | 1247058.7968
33 | 2607773.445 | 1247070.364
34 | 2607824.3993 | 1247009.1691
35 | 2607832.4412 | 1247131.4355
36 | 2607767.4939 | 1247072.1354
37 | 2607733.3946 | 1247063.8746
38 | 2607729.552 | 1247091.7319
39 | 2607728.5224 | 1247097.3324
40 | 2607724.6757 | 1247116.3165
41 | 2607837.076 | 1247009.2922
42 | 2607812.9722 | 1246974.4209
43 | 2607835.1619 | 1247135.242
44 | 2607824.7184 | 1247150.5667
45 | 2607902.5034 | 1247064.6183
46 | 2607898.9234 | 1247055.9611
47 | 2607905.1388 | 1247067.8063
48 | 2607867.412 | 1247017.6134
49 | 2607906.055 | 1247068.9147
50 | 2607928.4776 | 1247076.1646
51 | 2607938.7538 | 1247079.2018
52 | 2607866.3209 | 1246971.7517
53 | 2607863.5334 | 1246971.7703
54 | 2607871.3808 | 1246971.718
55 | 2607843.41 | 1247146.7819
56 | 2607844.7374 | 1247148.6391
57 | 2607944.2095 | 1247081.1274
58 | 2607952.6946 | 1247083.8567
59 | 2607989.4978 | 1247101.3685
60 | 2608040.5986 | 1247112.2995
61 | 2608005.5307 | 1247057.1061
62 | 2608030.4736 | 1247110.1179
63 | 2607885.0886 | 1247137.9422
64 | 2607947.6176 | 1247169.471
65 | 2607966.0987 | 1247085.4049

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98957 | -0.073022 | 0.0038838 | 0.00097336
1 | 0.98968 | -0.072244 | 0.0041589 | 0.0010423
2 | 0.99025 | -0.068214 | 0.0012788 | 0.00032049
3 | 0.99079 | -0.064397 | 0 | 0
4 | 0.99003 | -0.069805 | 0.0012614 | 0.00031614
5 | 0.99259 | -0.051727 | 0.0021447 | 0.00053751
6 | 0.98604 | -0.098077 | 0.0015171 | 0.00038023
7 | 0.9861 | -0.097634 | 0.0013088 | 0.00032802
8 | 0.98601 | -0.098289 | 0.0013687 | 0.00034302
9 | 0.98619 | -0.097005 | 0.0011578 | 0.00029017
10 | 0.98629 | -0.096247 | 0.0035298 | 0.00088466
11 | 0.98645 | -0.095151 | 0.0031043 | 0.00077801
12 | 0.98768 | -0.086403 | 0.011697 | 0.0029317
13 | 0.99335 | -0.046441 | 0 | 0
14 | 0.98685 | -0.092317 | 0.0031022 | 0.0007775
15 | 0.98704 | -0.090939 | 0 | 0
16 | 0.98687 | -0.092162 | 0.0023671 | 0.00059325
17 | 0.99107 | -0.062497 | 0.0016912 | 0.00042385
18 | 0.99101 | -0.062924 | 0.0018955 | 0.00047506
19 | 0.99117 | -0.061777 | 0.0015798 | 0.00039594
20 | 0.99125 | -0.06124 | 0.001304 | 0.0003268
21 | 0.99134 | -0.060613 | 0.001985 | 0.0004975
22 | 0.99146 | -0.059729 | 0.0018088 | 0.00045333
23 | 0.98969 | -0.072399 | 0 | 0
24 | 0.98953 | -0.073575 | 0.0014677 | 0.00036785
25 | 0.98993 | -0.070696 | 0 | 0
26 | 0.99223 | -0.054504 | 0.0019444 | 0.0004873
27 | 0.99259 | -0.051906 | 0.0012474 | 0.00031264
28 | 0.99144 | -0.060056 | 0 | 0
29 | 0.99183 | -0.057308 | 0.001285 | 0.00032205
30 | 0.99361 | -0.044708 | 0.001273 | 0.00031905
31 | 0.99075 | -0.064916 | 0.0024887 | 0.00062372
32 | 0.99171 | -0.058124 | 0.00068398 | 0.00017142
33 | 0.99163 | -0.05871 | 0.0012198 | 0.00030571
34 | 0.9945 | -0.038491 | 0 | 0
35 | 0.99051 | -0.066604 | 0 | 0
36 | 0.9916 | -0.058943 | 0.0010295 | 0.00025802
37 | 0.99146 | -0.059895 | 0 | 0
38 | 0.99136 | -0.060654 | 0 | 0
39 | 0.99133 | -0.060808 | 0.0010932 | 0.00027397
40 | 0.99129 | -0.061115 | 0.0015598 | 0.00039093
41 | 0.99512 | -0.034113 | 0.0072667 | 0.0018212
42 | 0.99417 | -0.040777 | 0 | 0
43 | 0.99043 | -0.067154 | 0.0010531 | 0.00026393
44 | 0.99047 | -0.06694 | 0.0015878 | 0.00039794
45 | 0.99915 | -0.0058973 | 0.00097391 | 0.00024409
46 | 1 | 0 | -0.10598 | -0.026469
47 | 0.99878 | -0.0084639 | 0.00087291 | 0.00021877
48 | 0.99695 | -0.021304 | 0.00088489 | 0.00022177
49 | 0.99865 | -0.0093441 | 0.00065087 | 0.00016312
50 | 0.99659 | -0.023728 | 0.00075427 | 0.00018904
51 | 0.99567 | -0.030183 | 0.0013187 | 0.0003305
52 | 0.99371 | -0.044059 | 0.0015506 | 0.00038861
53 | 0.99372 | -0.043958 | 0.0026259 | 0.00065812
54 | 0.99369 | -0.044161 | 0.0020071 | 0.00050302
55 | 0.99022 | -0.068669 | 0 | 0
56 | 0.99019 | -0.068912 | 0.0019035 | 0.00047706
57 | 0.99518 | -0.033588 | 0.001051 | 0.00026341
58 | 0.99444 | -0.038749 | 0.0013128 | 0.00032902
59 | 0.99277 | -0.050493 | 0.0015479 | 0.00038793
60 | 0.99199 | -0.056023 | 0 | 0
61 | 0.99262 | -0.051602 | 0.0023241 | 0.00058248
62 | 0.99214 | -0.054944 | 0 | 0
63 | 0.98962 | -0.072955 | 0.0054311 | 0.0013612
64 | 0.98941 | -0.074393 | 0.0016704 | 0.00041865
65 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0038838 | -0.00097336 | 0.0038842 | 0.00097327 | 4.1849e-07 | -9.1704e-08 | 0.00584 | 0.0058399 | 0.00584 | 0.98957 | -0.073022 | 0.98968 | -0.072244 | 2.163
1 | -0.0080431 | -0.0020156 | 0.0080476 | 0.0020167 | 4.4876e-06 | 1.0937e-06 | 0.012093 | 0.012093 | 0.012093 | 0.98968 | -0.072244 | 0.99025 | -0.068214 | 4.4789
2 | -0.0093264 | -0.0023372 | 0.0093313 | 0.0023386 | 4.9292e-06 | 1.3781e-06 | 0.014014 | 0.014014 | 0.014014 | 0.99025 | -0.068214 | 0.99079 | -0.064397 | 5.1905
3 | 0.030526 | 0.0076624 | -0.030503 | -0.0076538 | 2.2908e-05 | 8.5859e-06 | 0.04585 | 0.04585 | 0.04585 | 0.99079 | -0.064397 | 0.99003 | -0.069805 | 16.9815
4 | -0.039858 | -0.010001 | 0.039928 | 0.010028 | 7.0195e-05 | 2.6593e-05 | 0.059864 | 0.059864 | 0.059864 | 0.99079 | -0.064397 | 0.99259 | -0.051727 | 22.1718
5 | 0.029242 | 0.0073376 | -0.029175 | -0.0073125 | 6.7203e-05 | 2.5132e-05 | 0.043954 | 0.043954 | 0.043954 | 0.99003 | -0.069805 | 0.98768 | -0.086403 | 16.2794
6 | -0.042073 | -0.010565 | 0.042103 | 0.010577 | 3.0934e-05 | 1.1737e-05 | 0.063079 | 0.063079 | 0.063079 | 0.99259 | -0.051727 | 0.99335 | -0.046441 | 23.3626
7 | -0.0028859 | -0.00072308 | 0.002886 | 0.00072295 | 1.7678e-07 | -1.2256e-07 | 0.0043549 | 0.0043549 | 0.0043549 | 0.98604 | -0.098077 | 0.9861 | -0.097634 | 1.6129
8 | 0.0013687 | 0.00034285 | -0.0013687 | -0.00034302 | 4.0152e-08 | -1.7693e-07 | 0.0020655 | 0.0020655 | 0.0020655 | 0.98604 | -0.098077 | 0.98601 | -0.098289 | 0.76501
9 | -0.0041948 | -0.001051 | 0.0041952 | 0.0010509 | 3.6504e-07 | -4.5878e-08 | 0.0063299 | 0.0063298 | 0.0063299 | 0.9861 | -0.097634 | 0.98619 | -0.097005 | 2.3444
10 | -0.005353 | -0.0013411 | 0.0053536 | 0.0013411 | 5.6089e-07 | 3.9895e-08 | 0.0080768 | 0.0080767 | 0.0080768 | 0.98619 | -0.097005 | 0.98629 | -0.096247 | 2.9914
11 | -0.0088834 | -0.0022258 | 0.0088848 | 0.0022262 | 1.3473e-06 | 3.6476e-07 | 0.013402 | 0.013402 | 0.013402 | 0.98629 | -0.096247 | 0.98645 | -0.095151 | 4.9638
12 | -0.011989 | -0.0030042 | 0.011994 | 0.0030057 | 4.7045e-06 | 1.515e-06 | 0.018085 | 0.018085 | 0.018085 | 0.98645 | -0.095151 | 0.98685 | -0.092317 | 6.6981
13 | 0.017477 | 0.0043808 | -0.017466 | -0.0043769 | 1.0972e-05 | 3.8956e-06 | 0.026331 | 0.026331 | 0.026331 | 0.98768 | -0.086403 | 0.98704 | -0.090939 | 9.7523
14 | 0.01416 | 0.003549 | -0.014152 | -0.0035463 | 7.9397e-06 | 2.6879e-06 | 0.021212 | 0.021212 | 0.021212 | 0.99335 | -0.046441 | 0.99277 | -0.050493 | 7.8563
15 | -0.056264 | -0.014126 | 0.056324 | 0.014149 | 6.0189e-05 | 2.2974e-05 | 0.084291 | 0.084291 | 0.084291 | 0.99335 | -0.046441 | 0.99444 | -0.038749 | 31.2188
16 | -0.015096 | -0.0037832 | 0.015099 | 0.0037842 | 2.8789e-06 | 9.9347e-07 | 0.022762 | 0.022762 | 0.022762 | 0.98685 | -0.092317 | 0.98704 | -0.090939 | 8.4305
17 | 0.0023675 | 0.00059276 | -0.0023671 | -0.00059325 | 4.0019e-07 | -4.895e-07 | 0.0035689 | 0.0035691 | 0.0035691 | 0.98704 | -0.090939 | 0.98687 | -0.092162 | 1.3219
18 | 0.0018956 | 0.00047482 | -0.0018955 | -0.00047506 | 1.1175e-07 | -2.419e-07 | 0.0028461 | 0.0028462 | 0.0028462 | 0.99107 | -0.062497 | 0.99101 | -0.062924 | 1.0541
19 | -0.0035868 | -0.00089867 | 0.0035872 | 0.00089855 | 3.5732e-07 | -1.1704e-07 | 0.0053852 | 0.0053851 | 0.0053852 | 0.99107 | -0.062497 | 0.99117 | -0.061777 | 1.9945
20 | -0.005167 | -0.0012945 | 0.0051674 | 0.0012945 | 3.8436e-07 | 1.5875e-08 | 0.0077568 | 0.0077568 | 0.0077568 | 0.99117 | -0.061777 | 0.99125 | -0.06124 | 2.8729
21 | -0.0064713 | -0.0016213 | 0.0064719 | 0.0016214 | 5.6098e-07 | 9.2943e-08 | 0.0097142 | 0.0097142 | 0.0097142 | 0.99125 | -0.06124 | 0.99134 | -0.060613 | 3.5979
22 | -0.0084569 | -0.0021189 | 0.008458 | 0.0021192 | 1.0349e-06 | 2.6532e-07 | 0.012694 | 0.012694 | 0.012694 | 0.99134 | -0.060613 | 0.99146 | -0.059729 | 4.7014
23 | -0.010267 | -0.0025725 | 0.010272 | 0.0025741 | 5.2658e-06 | 1.5667e-06 | 0.015408 | 0.015408 | 0.015408 | 0.99146 | -0.059729 | 0.99199 | -0.056023 | 5.7068
24 | 0.0031389 | 0.00078568 | -0.0031384 | -0.00078595 | 5.0968e-07 | -2.7521e-07 | 0.004719 | 0.0047191 | 0.0047191 | 0.98969 | -0.072399 | 0.98953 | -0.073575 | 1.7478
25 | -0.0031389 | -0.00078568 | 0.0031396 | 0.00078528 | 7.3771e-07 | -3.9868e-07 | 0.004719 | 0.0047187 | 0.004719 | 0.98969 | -0.072399 | 0.98993 | -0.070696 | 1.7478
26 | 0.0016706 | 0.00041811 | -0.0016704 | -0.00041865 | 1.8901e-07 | -5.4381e-07 | 0.002512 | 0.0025122 | 0.0025122 | 0.98953 | -0.073575 | 0.98941 | -0.074393 | 0.93046
27 | 0.0054328 | 0.0013613 | -0.0054311 | -0.0013612 | 1.6984e-06 | 1.2868e-07 | 0.0081662 | 0.0081664 | 0.0081664 | 0.98993 | -0.070696 | 0.98962 | -0.072955 | 3.0246
28 | -0.0085724 | -0.0021466 | 0.0085746 | 0.0021471 | 2.1139e-06 | 5.5064e-07 | 0.012885 | 0.012885 | 0.012885 | 0.98993 | -0.070696 | 0.99019 | -0.068912 | 4.7722
29 | -0.024457 | -0.0061285 | 0.024466 | 0.0061317 | 8.7972e-06 | 3.2481e-06 | 0.036677 | 0.036677 | 0.036677 | 0.99223 | -0.054504 | 0.99259 | -0.051906 | 13.5841
30 | 0.015637 | 0.0039194 | -0.015625 | -0.0039153 | 1.2015e-05 | 4.1691e-06 | 0.02345 | 0.02345 | 0.02345 | 0.99223 | -0.054504 | 0.99144 | -0.060056 | 8.6853
31 | 0.0068758 | 0.0017218 | -0.0068731 | -0.0017213 | 2.6643e-06 | 5.0624e-07 | 0.010311 | 0.010311 | 0.010311 | 0.99223 | -0.054504 | 0.99183 | -0.057308 | 3.8189
32 | -0.025713 | -0.0064444 | 0.025739 | 0.0064539 | 2.5648e-05 | 9.5066e-06 | 0.038547 | 0.038547 | 0.038547 | 0.99259 | -0.051906 | 0.99361 | -0.044708 | 14.2767
33 | 0.015625 | 0.0039153 | -0.015614 | -0.0039116 | 1.0501e-05 | 3.6446e-06 | 0.02345 | 0.02345 | 0.02345 | 0.99144 | -0.060056 | 0.99075 | -0.064916 | 8.6854
34 | 0.0055882 | 0.0013992 | -0.0055875 | -0.0013992 | 6.2981e-07 | 5.6914e-08 | 0.0083833 | 0.0083834 | 0.0083834 | 0.99183 | -0.057308 | 0.99171 | -0.058124 | 3.105
35 | -0.027012 | -0.0067729 | 0.027035 | 0.0067816 | 2.3288e-05 | 8.6611e-06 | 0.040453 | 0.040453 | 0.040453 | 0.99361 | -0.044708 | 0.9945 | -0.038491 | 14.9827
36 | 0.013126 | 0.0032879 | -0.013122 | -0.0032869 | 3.0645e-06 | 1.0159e-06 | 0.019713 | 0.019713 | 0.019713 | 0.99075 | -0.064916 | 0.99051 | -0.066604 | 7.301
37 | 0.0049035 | 0.0012277 | -0.0049031 | -0.0012277 | 3.973e-07 | 1.0453e-09 | 0.0073571 | 0.0073572 | 0.0073572 | 0.99171 | -0.058124 | 0.99163 | -0.05871 | 2.7249
38 | 0.0036834 | 0.00092203 | -0.0036832 | -0.00092207 | 1.1835e-07 | -3.458e-08 | 0.0055268 | 0.0055268 | 0.0055268 | 0.99163 | -0.05871 | 0.9916 | -0.058943 | 2.047
39 | -0.033223 | -0.0083319 | 0.033244 | 0.0083395 | 2.0177e-05 | 7.5904e-06 | 0.049712 | 0.049712 | 0.049712 | 0.9945 | -0.038491 | 0.99512 | -0.034113 | 18.4119
40 | 0.0061883 | 0.0015503 | -0.0061864 | -0.0015501 | 1.9571e-06 | 2.782e-07 | 0.009259 | 0.0092592 | 0.0092592 | 0.9945 | -0.038491 | 0.99417 | -0.040777 | 3.4293
41 | 0.011535 | 0.0028892 | -0.011534 | -0.0028889 | 8.7658e-07 | 2.7693e-07 | 0.017327 | 0.017327 | 0.017327 | 0.99051 | -0.066604 | 0.99043 | -0.067154 | 6.4176
42 | 0.0015879 | 0.0003977 | -0.0015878 | -0.00039794 | 7.3759e-08 | -2.3901e-07 | 0.0023853 | 0.0023854 | 0.0023854 | 0.99051 | -0.066604 | 0.99047 | -0.06694 | 0.88348
43 | 0.0026537 | 0.00066405 | -0.0026534 | -0.00066437 | 3.4914e-07 | -3.2085e-07 | 0.0039819 | 0.0039821 | 0.0039821 | 0.9916 | -0.058943 | 0.99146 | -0.059895 | 1.4748
44 | 0.0026534 | 0.00066437 | -0.0026531 | -0.00066463 | 2.7828e-07 | -2.5561e-07 | 0.0039821 | 0.0039822 | 0.0039822 | 0.99146 | -0.059895 | 0.99136 | -0.060654 | 1.4749
45 | 0.0026531 | 0.00066463 | -0.0026531 | -0.00066468 | 5.6348e-08 | -5.1746e-08 | 0.0039822 | 0.0039822 | 0.0039822 | 0.99136 | -0.060654 | 0.99133 | -0.060808 | 1.4749
46 | 0.0015599 | 0.00039071 | -0.0015598 | -0.00039093 | 6.6347e-08 | -2.2452e-07 | 0.0023414 | 0.0023415 | 0.0023415 | 0.99133 | -0.060808 | 0.99129 | -0.061115 | 0.86721
47 | -0.04051 | -0.010161 | 0.040582 | 0.010188 | 7.2072e-05 | 2.731e-05 | 0.060578 | 0.060578 | 0.060578 | 0.99512 | -0.034113 | 0.99695 | -0.021304 | 22.4364
48 | 0.0061864 | 0.0015501 | -0.0061836 | -0.0015497 | 2.7228e-06 | 3.8759e-07 | 0.0092592 | 0.0092594 | 0.0092594 | 0.99417 | -0.040777 | 0.99372 | -0.043958 | 3.4294
49 | 0.010481 | 0.002625 | -0.010478 | -0.0026243 | 2.1943e-06 | 6.6147e-07 | 0.015745 | 0.015745 | 0.015745 | 0.99043 | -0.067154 | 0.99022 | -0.068669 | 5.8316
50 | -0.063534 | -0.015992 | 0.063586 | 0.016012 | 5.2364e-05 | 2.0017e-05 | 0.094644 | 0.094644 | 0.094644 | 0.99915 | -0.0058973 | 1 | 0 | 35.0534
51 | 0.06256 | 0.015748 | -0.062538 | -0.015739 | 2.2416e-05 | 8.5675e-06 | 0.093194 | 0.093194 | 0.093194 | 0.99915 | -0.0058973 | 0.99878 | -0.0084639 | 34.5162
52 | 0.04159 | 0.010456 | -0.041467 | -0.01041 | 0.00012307 | 4.6662e-05 | 0.061899 | 0.061899 | 0.061899 | 1 | 0 | 0.99695 | -0.021304 | 22.9255
53 | 0.061665 | 0.015521 | -0.061657 | -0.015518 | 7.5773e-06 | 2.8955e-06 | 0.091893 | 0.091893 | 0.091893 | 0.99878 | -0.0084639 | 0.99865 | -0.0093441 | 34.0345
54 | 0.061006 | 0.015355 | -0.060884 | -0.015308 | 0.00012227 | 4.6717e-05 | 0.090923 | 0.090923 | 0.090923 | 0.99865 | -0.0093441 | 0.99659 | -0.023728 | 33.6754
55 | 0.06013 | 0.015119 | -0.060076 | -0.015098 | 5.4024e-05 | 2.0639e-05 | 0.089797 | 0.089797 | 0.089797 | 0.99659 | -0.023728 | 0.99567 | -0.030183 | 33.2583
56 | 0.058757 | 0.014768 | -0.058729 | -0.014757 | 2.7847e-05 | 1.0635e-05 | 0.087827 | 0.087827 | 0.087827 | 0.99567 | -0.030183 | 0.99518 | -0.033588 | 32.5284
57 | -0.0035577 | -0.00089157 | 0.0035577 | 0.00089156 | 4.9367e-08 | -1.7126e-08 | 0.0053274 | 0.0053273 | 0.0053274 | 0.99371 | -0.044059 | 0.99372 | -0.043958 | 1.9731
58 | 0.0020071 | 0.00050296 | -0.0020071 | -0.00050302 | 2.852e-08 | -5.458e-08 | 0.0030055 | 0.0030055 | 0.0030055 | 0.99371 | -0.044059 | 0.99369 | -0.044161 | 1.1131
59 | 0.010478 | 0.0026243 | -0.010478 | -0.0026242 | 3.5315e-07 | 1.0646e-07 | 0.015745 | 0.015745 | 0.015745 | 0.99022 | -0.068669 | 0.99019 | -0.068912 | 5.8316
60 | 0.057678 | 0.014494 | -0.057637 | -0.014478 | 4.1391e-05 | 1.5804e-05 | 0.086255 | 0.086255 | 0.086255 | 0.99518 | -0.033588 | 0.99444 | -0.038749 | 31.9463
61 | 0.0023245 | 0.00058201 | -0.0023241 | -0.00058248 | 3.5657e-07 | -4.7149e-07 | 0.0034839 | 0.0034841 | 0.0034841 | 0.99277 | -0.050493 | 0.99262 | -0.051602 | 1.2904
62 | 0.01028 | 0.0025764 | -0.010274 | -0.0025745 | 6.3318e-06 | 1.883e-06 | 0.015408 | 0.015408 | 0.015408 | 0.99277 | -0.050493 | 0.99214 | -0.054944 | 5.7068
63 | -0.010272 | -0.0025741 | 0.010274 | 0.0025745 | 1.5351e-06 | 4.5663e-07 | 0.015408 | 0.015408 | 0.015408 | 0.99199 | -0.056023 | 0.99214 | -0.054944 | 5.7068

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10683 | 0.026683

## res_load
| p_mw | q_mvar
0 | 0.0038838 | 0.00097336
1 | 0.0041589 | 0.0010423
2 | 0.0012788 | 0.00032049
3 | 0.0012614 | 0.00031614
4 | 0.0021447 | 0.00053751
5 | 0.0015171 | 0.00038023
6 | 0.0013088 | 0.00032802
7 | 0.0013687 | 0.00034302
8 | 0.0011578 | 0.00029017
9 | 0.0035298 | 0.00088466
10 | 0.0031043 | 0.00077801
11 | 0.011697 | 0.0029317
12 | 0.0031022 | 0.0007775
13 | 0.0023671 | 0.00059325
14 | 0.0016912 | 0.00042385
15 | 0.0018955 | 0.00047506
16 | 0.0015798 | 0.00039594
17 | 0.001304 | 0.0003268
18 | 0.001985 | 0.0004975
19 | 0.0018088 | 0.00045333
20 | 0.0014677 | 0.00036785
21 | 0.0019444 | 0.0004873
22 | 0.0012474 | 0.00031264
23 | 0.001285 | 0.00032205
24 | 0.001273 | 0.00031905
25 | 0.0024887 | 0.00062372
26 | 0.00068398 | 0.00017142
27 | 0.0012198 | 0.00030571
28 | 0.0010295 | 0.00025802
29 | 0.0010932 | 0.00027397
30 | 0.0015598 | 0.00039093
31 | 0.0072667 | 0.0018212
32 | 0.0010531 | 0.00026393
33 | 0.0015878 | 0.00039794
34 | 0.00097391 | 0.00024409
35 | 0.000857 | 0.00021478
36 | 0.00087291 | 0.00021877
37 | 0.00088489 | 0.00022177
38 | 0.00065087 | 0.00016312
39 | 0.00075427 | 0.00018904
40 | 0.0013187 | 0.0003305
41 | 0.0015506 | 0.00038861
42 | 0.0026259 | 0.00065812
43 | 0.0020071 | 0.00050302
44 | 0.0019035 | 0.00047706
45 | 0.001051 | 0.00026341
46 | 0.0013128 | 0.00032902
47 | 0.0015479 | 0.00038793
48 | 0.0023241 | 0.00058248
49 | 0.0054311 | 0.0013612
50 | 0.0016704 | 0.00041865

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1