## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2855-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2855-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2855-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2855-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2855-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2855-1_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_2855-1_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2855-1_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2855-1_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2855-1_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2855-1_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2855-1_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2855-1_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_2855-1_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_2855-1_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2855-1_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_2855-1_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_2855-1_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_2855-1_0_3_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_2855-1_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2855-1_0_3_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_2855-1_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2855-1_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_2855-1_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_2855-1_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_2855-1_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_2855-1_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_2855-1_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_2855-1_0_3_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_2855-1_0_3_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_2855-1_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_2855-1_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_2855-1_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_2855-1_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_2855-1_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_2855-1_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_2855-1_0_3_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_2855-1_0_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_2855-1_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_2855-1_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_2855-1_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_2855-1_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2855-1_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_2855-1_0_3_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_2855-1_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_2855-1_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_2855-1_0_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_2855-1_0_3_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_2855-1_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_2855-1_0_3_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_2855-1_0_3_node_101 | 0.4 | n |  | TRUE
51 | bus_LV_2855-1_0_3_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_2855-1_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_2855-1_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_2855-1_0_3_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_2855-1_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_2855-1_0_3_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_2855-1_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_2855-1_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_2855-1_0_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_2855-1_0_3_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_2855-1_0_3_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_2855-1_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_2855-1_0_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_2855-1_0_3_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_2855-1_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_2855-1_0_3_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_2855-1_0_3_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_2855-1_0_3_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_2855-1_0_3_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_2855-1_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_2855-1_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_2855-1_0_3_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_2855-1_0_3_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_2855-1_0_3_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_2855-1_0_3_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_2855-1_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_2855-1_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_2855-1_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_2855-1_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_2855-1_0_3_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_2855-1_0_3_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_2855-1_0_3_node_94 | 0.4 | n |  | TRUE
83 | bus_LV_2855-1_0_3_node_95 | 0.4 | n |  | TRUE
84 | bus_LV_2855-1_0_3_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_2855-1_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_2855-1_0_3_node_99 | 0.4 | n |  | TRUE
87 | bus_LV_2855-1_0_3_node_97 | 0.4 | n |  | TRUE
88 | bus_LV_2855-1_0_3_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_2855-1_0_3_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_2855-1_0_3_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_2855-1_0_3_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_2855-1_0_3_node_96 | 0.4 | n |  | TRUE
93 | bus_MV_291_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2855-1_0_3_load_0 | 0 | 0.00081165 | 0.00020342 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2855-1_0_3_load_1 | 1 | 0.0016408 | 0.00041123 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2855-1_0_3_load_3 | 3 | 0.001017 | 0.00025489 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2855-1_0_3_load_4 | 4 | 0.0011256 | 0.0002821 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2855-1_0_3_load_11 | 5 | 0.00057893 | 0.00014509 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2855-1_0_3_load_12 | 6 | 0.0020231 | 0.00050705 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2855-1_0_3_load_8 | 7 | 0.0012477 | 0.00031269 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2855-1_0_3_load_5 | 8 | 0.0034853 | 0.00087349 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2855-1_0_3_load_7 | 9 | 0.0011078 | 0.00027765 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2855-1_0_3_load_9 | 10 | 0.001682 | 0.00042156 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2855-1_0_3_load_14 | 11 | 0.0071669 | 0.0017962 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2855-1_0_3_load_21 | 13 | 0.0033047 | 0.00082823 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2855-1_0_3_load_17 | 14 | 0.00051625 | 0.00012938 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2855-1_0_3_load_16 | 15 | 0.0070318 | 0.0017623 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2855-1_0_3_load_30 | 18 | 0.001623 | 0.00040677 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2855-1_0_3_load_22 | 19 | 0.0031615 | 0.00079234 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2855-1_0_3_load_75 | 20 | 0.00074428 | 0.00018653 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2855-1_0_3_load_29 | 22 | 0.0031297 | 0.00078437 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2855-1_0_3_load_27 | 23 | 0.0020808 | 0.00052149 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2855-1_0_3_load_24 | 24 | 0.0016018 | 0.00040144 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2855-1_0_3_load_25 | 25 | 0.00079075 | 0.00019818 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2855-1_0_3_load_26 | 26 | 0.0011253 | 0.00028202 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2855-1_0_3_load_28 | 27 | 0.0011649 | 0.00029195 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2855-1_0_3_load_93 | 28 | 0.0017639 | 0.00044208 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2855-1_0_3_load_92 | 29 | 0.00065532 | 0.00016424 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2855-1_0_3_load_32 | 30 | 0.0013042 | 0.00032687 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2855-1_0_3_load_33 | 31 | 0.0015032 | 0.00037675 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2855-1_0_3_load_35 | 33 | 0.00053533 | 0.00013417 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2855-1_0_3_load_36 | 34 | 0.0018645 | 0.00046729 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2855-1_0_3_load_42 | 35 | 0.0021428 | 0.00053704 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2855-1_0_3_load_43 | 36 | 0.00084018 | 0.00021057 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2855-1_0_3_load_37 | 37 | 0.0016384 | 0.00041062 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2855-1_0_3_load_38 | 38 | 0.0014251 | 0.00035717 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2855-1_0_3_load_39 | 39 | 0.001418 | 0.00035539 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2855-1_0_3_load_40 | 40 | 0.00075152 | 0.00018835 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2855-1_0_3_load_55 | 43 | 0.00095172 | 0.00023852 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2855-1_0_3_load_50 | 44 | 0.001396 | 0.00034987 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2855-1_0_3_load_46 | 45 | 0.00062554 | 0.00015678 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2855-1_0_3_load_53 | 46 | 0.0038762 | 0.00097146 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2855-1_0_3_load_49 | 47 | 0.0021977 | 0.0005508 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2855-1_0_3_load_48 | 48 | 0.00085045 | 0.00021314 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2855-1_0_3_load_100 | 49 | 0.0069667 | 0.001746 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2855-1_0_3_load_101 | 50 | 0.0041424 | 0.0010382 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2855-1_0_3_load_51 | 51 | 0.0010344 | 0.00025924 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2855-1_0_3_load_52 | 52 | 0.0020769 | 0.00052052 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2855-1_0_3_load_54 | 53 | 0.00051101 | 0.00012807 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2855-1_0_3_load_56 | 54 | 0.0023827 | 0.00059716 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2855-1_0_3_load_57 | 55 | 0.00094447 | 0.00023671 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2855-1_0_3_load_58 | 56 | 0.00078411 | 0.00019652 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2855-1_0_3_load_59 | 57 | 0.002493 | 0.00062481 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2855-1_0_3_load_60 | 58 | 0.0032789 | 0.00082178 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2855-1_0_3_load_67 | 59 | 0.0060941 | 0.0015273 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2855-1_0_3_load_66 | 60 | 0.0038179 | 0.00095685 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2855-1_0_3_load_61 | 61 | 0.00065028 | 0.00016298 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2855-1_0_3_load_62 | 62 | 0.0018796 | 0.00047107 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2855-1_0_3_load_63 | 63 | 0.0017418 | 0.00043654 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2855-1_0_3_load_64 | 64 | 0.0019102 | 0.00047875 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2855-1_0_3_load_65 | 65 | 0.0016463 | 0.0004126 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2855-1_0_3_load_83 | 66 | 0.001391 | 0.00034863 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2855-1_0_3_load_84 | 67 | 0.0014589 | 0.00036562 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2855-1_0_3_load_81 | 68 | 0.0022773 | 0.00057074 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2855-1_0_3_load_73 | 69 | 0.00076121 | 0.00019078 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2855-1_0_3_load_68 | 70 | 0.0046248 | 0.0011591 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2855-1_0_3_load_85 | 72 | 0.0031911 | 0.00079978 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2855-1_0_3_load_82 | 73 | 0.0013054 | 0.00032715 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2855-1_0_3_load_80 | 75 | 0.0053209 | 0.0013336 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2855-1_0_3_load_70 | 76 | 0.0010475 | 0.00026253 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2855-1_0_3_load_71 | 77 | 0.0014386 | 0.00036054 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2855-1_0_3_load_72 | 78 | 0.0031859 | 0.00079846 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2855-1_0_3_load_74 | 79 | 0.0010661 | 0.00026719 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2855-1_0_3_load_86 | 80 | 0.0019276 | 0.0004831 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2855-1_0_3_load_89 | 81 | 0.0024688 | 0.00061873 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2855-1_0_3_load_94 | 82 | 0.00073009 | 0.00018298 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2855-1_0_3_load_95 | 83 | 0.0018198 | 0.00045608 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2855-1_0_3_load_78 | 84 | 0.00069564 | 0.00017434 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2855-1_0_3_load_79 | 85 | 0.0022141 | 0.00055491 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2855-1_0_3_load_99 | 86 | 0.0034476 | 0.00086406 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2855-1_0_3_load_97 | 87 | 0.0024137 | 0.00060493 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2855-1_0_3_load_87 | 88 | 0.00079734 | 0.00019983 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2855-1_0_3_load_88 | 89 | 0.0012086 | 0.0003029 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2855-1_0_3_load_90 | 90 | 0.0012489 | 0.000313 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2855-1_0_3_load_91 | 91 | 0.0010233 | 0.00025646 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2855-1_0_3_load_96 | 92 | 0.0017112 | 0.00042887 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2855-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0020055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2855-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.066092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2855-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0065945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2855-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2855-1_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.42425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2855-1_0_3_line_5 | NAYY 4x150 SE | 3 | 7 | 0.0062958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2855-1_0_3_line_6 | NAYY 4x150 SE | 4 | 8 | 0.0062876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2855-1_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.17988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2855-1_0_3_line_8 | NAYY 4x150 SE | 6 | 11 | 0.069995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2855-1_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.0055367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2855-1_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.00773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2855-1_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0077671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2855-1_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.027403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2855-1_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.033648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2855-1_0_3_line_14 | NAYY 4x150 SE | 13 | 19 | 0.0028663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2855-1_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.016742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2855-1_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.078047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2855-1_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.026679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2855-1_0_3_line_18 | NAYY 4x150 SE | 17 | 20 | 0.12887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2855-1_0_3_line_19 | NAYY 4x150 SE | 18 | 21 | 0.0025956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2855-1_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.040226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2855-1_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.0066795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2855-1_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.018394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2855-1_0_3_line_23 | NAYY 4x150 SE | 23 | 25 | 0.012424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2855-1_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.0062058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2855-1_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.0020967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2855-1_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.0018519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2855-1_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.0089064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2855-1_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.0018598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2855-1_0_3_line_29 | NAYY 4x150 SE | 29 | 91 | 0.0062015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_2855-1_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.038531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2855-1_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.010771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2855-1_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.014267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2855-1_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.0033446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2855-1_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.021772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2855-1_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.011742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2855-1_0_3_line_36 | NAYY 4x150 SE | 36 | 48 | 0.0028349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2855-1_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.01037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2855-1_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0052537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2855-1_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.0076066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2855-1_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.016495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2855-1_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.0041864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2855-1_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.0051788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2855-1_0_3_line_43 | NAYY 4x150 SE | 41 | 44 | 0.015729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2855-1_0_3_line_44 | NAYY 4x150 SE | 42 | 45 | 0.01387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2855-1_0_3_line_45 | NAYY 4x150 SE | 43 | 46 | 0.0064564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2855-1_0_3_line_46 | NAYY 4x150 SE | 44 | 47 | 0.0025575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2855-1_0_3_line_47 | NAYY 4x150 SE | 46 | 51 | 0.0049206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2855-1_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.028246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2855-1_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.011221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2855-1_0_3_line_50 | NAYY 4x150 SE | 50 | 86 | 0.010235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2855-1_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.0077015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2855-1_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.00014243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2855-1_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.0079319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2855-1_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.0018753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2855-1_0_3_line_55 | NAYY 4x150 SE | 55 | 56 | 0.017839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2855-1_0_3_line_56 | NAYY 4x150 SE | 56 | 57 | 0.0023126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2855-1_0_3_line_57 | NAYY 4x150 SE | 57 | 58 | 0.011263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2855-1_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.0013984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2855-1_0_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.014668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_2855-1_0_3_line_60 | NAYY 4x150 SE | 60 | 70 | 0.0091555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_2855-1_0_3_line_61 | NAYY 4x150 SE | 61 | 62 | 0.0052539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_2855-1_0_3_line_62 | NAYY 4x150 SE | 61 | 63 | 0.0013725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_2855-1_0_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.0016654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_2855-1_0_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.0042804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_2855-1_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.0075651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_2855-1_0_3_line_66 | NAYY 4x150 SE | 65 | 67 | 0.0074096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_2855-1_0_3_line_67 | NAYY 4x150 SE | 66 | 68 | 0.0025213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_2855-1_0_3_line_68 | NAYY 4x150 SE | 67 | 69 | 0.0019952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_2855-1_0_3_line_69 | NAYY 4x150 SE | 68 | 85 | 0.0021813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_2855-1_0_3_line_70 | NAYY 4x150 SE | 69 | 77 | 0.00454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_2855-1_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.017495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_2855-1_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.021129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2855-1_0_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.0087493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_2855-1_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.0043158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2855-1_0_3_line_75 | NAYY 4x150 SE | 73 | 75 | 0.0012643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_2855-1_0_3_line_76 | NAYY 4x150 SE | 74 | 86 | 0.015173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2855-1_0_3_line_77 | NAYY 4x150 SE | 74 | 87 | 0.010525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2855-1_0_3_line_78 | NAYY 4x150 SE | 75 | 84 | 0.0053562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_2855-1_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0043823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_2855-1_0_3_line_80 | NAYY 4x150 SE | 76 | 78 | 0.0097651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_2855-1_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.0052406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_2855-1_0_3_line_82 | NAYY 4x150 SE | 79 | 80 | 0.0011372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_2855-1_0_3_line_83 | NAYY 4x150 SE | 80 | 81 | 0.0048965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_2855-1_0_3_line_84 | NAYY 4x150 SE | 81 | 88 | 0.007543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_2855-1_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.005827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_2855-1_0_3_line_86 | NAYY 4x150 SE | 83 | 92 | 0.0087272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_2855-1_0_3_line_87 | NAYY 4x150 SE | 84 | 85 | 0.010816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_2855-1_0_3_line_88 | NAYY 4x150 SE | 87 | 92 | 0.010905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_2855-1_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.0070381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_2855-1_0_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.0072567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_2855-1_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.00032396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2855-1_0_3_trafo_67 | 0.25 MVA 20/0.4 kV | 93 | 59 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2638091.5435 | 1253959.1665 | 2638091.9427 | 1253961.1318
1 | 2638026.2581 | 1253958.9918 | 2638037.3775 | 1253955.5497 | 2638057.1916 | 1253956.2106 | 2638075.0613 | 1253957.7374 | 2638087.5912 | 1253957.8624 | 2638091.5435 | 1253959.1665
2 | 2638093.2554 | 1253967.5944 | 2638091.9427 | 1253961.1318
3 | 2638026.2581 | 1253958.9918 | 2638023.669 | 1253967.4587 | 2638024.5283 | 1253968.9625
4 | 2637780.5644 | 1253613.1317 | 2638026.2581 | 1253958.9918
5 | 2638094.5086 | 1253973.7643 | 2638093.2554 | 1253967.5944
6 | 2638024.5283 | 1253968.9625 | 2638027.6478 | 1253974.4216
7 | 2637649.7195 | 1253540.8037 | 2637650.1683 | 1253541.3428 | 2637665.8274 | 1253556.1522 | 2637678.0973 | 1253568.8276 | 2637679.7731 | 1253572.2406 | 2637680.0293 | 1253577.0455 | 2637676.6874 | 1253594.7807 | 2637678.0244 | 1253600.4597 | 2637680.9368 | 1253605.1702 | 2637690.3322 | 1253608.3543 | 2637711.8911 | 1253608.8806 | 2637728.5463 | 1253610.5544 | 2637746.5546 | 1253615.3611 | 2637763.7946 | 1253617.6168 | 2637773.4869 | 1253616.8002 | 2637780.5644 | 1253613.1317
8 | 2637644.1213 | 1253475.9117 | 2637648.4247 | 1253480.9131 | 2637651.6335 | 1253488.8611 | 2637650.0197 | 1253497.0564 | 2637645.8064 | 1253513.0182 | 2637643.4556 | 1253525.5895 | 2637643.5639 | 1253531.1162 | 2637644.9571 | 1253535.0833 | 2637649.7195 | 1253540.8037
9 | 2638095.1185 | 1253979.2592 | 2638094.7976 | 1253975.1871 | 2638094.5086 | 1253973.7643
10 | 2638095.1185 | 1253979.2592 | 2638095.7258 | 1253986.9654
11 | 2637639.0554 | 1253470.0241 | 2637644.1213 | 1253475.9117
12 | 2637639.0554 | 1253470.0241 | 2637628.0865 | 1253461.5376 | 2637624.4711 | 1253457.0116 | 2637621.9341 | 1253452.5703 | 2637620.9263 | 1253450.1448
13 | 2637639.0554 | 1253470.0241 | 2637651.8289 | 1253447.4121 | 2637655.1277 | 1253440.4794
14 | 2637620.9263 | 1253450.1448 | 2637619.8265 | 1253447.4979
15 | 2637655.1277 | 1253440.4794 | 2637656.0117 | 1253438.6216 | 2637656.865 | 1253434.9468 | 2637657.0286 | 1253430.5671 | 2637656.6421 | 1253427.2735 | 2637654.9923 | 1253424.5167 | 2637654.9923 | 1253424.5167
16 | 2637553.0266 | 1253375.4148 | 2637561.4734 | 1253380.7163 | 2637570.6189 | 1253390.0583 | 2637582.2599 | 1253386.5853 | 2637593.6608 | 1253385.2789 | 2637601.8243 | 1253386.4759 | 2637611.4633 | 1253390.5509 | 2637616.7345 | 1253393.3417 | 2637621.2966 | 1253398.4853
17 | 2637621.2966 | 1253398.4853 | 2637607.9072 | 1253407.5843 | 2637599.3886 | 1253413.7072
18 | 2637553.0266 | 1253375.4148 | 2637547.9871 | 1253380.1194 | 2637530.0894 | 1253400.5866 | 2637519.7503 | 1253415.32 | 2637501.156 | 1253444.5666 | 2637495.5827 | 1253452.559 | 2637490.7209 | 1253457.7984 | 2637485.2797 | 1253462.8119 | 2637480.7646 | 1253466.9194 | 2637474.7637 | 1253469.7501 | 2637470.0193 | 1253471.6188
19 | 2637597.281 | 1253415.2221 | 2637599.3886 | 1253413.7072
20 | 2637597.281 | 1253415.2221 | 2637603.6981 | 1253420.533 | 2637608.2288 | 1253424.6756 | 2637610.9324 | 1253427.8394 | 2637612.9317 | 1253431.4211 | 2637618.1591 | 1253443.4847 | 2637619.8265 | 1253447.4979
21 | 2637597.281 | 1253415.2221 | 2637592.8822 | 1253420.2485
22 | 2637592.8822 | 1253420.2485 | 2637580.7687 | 1253434.0904
23 | 2637572.5868 | 1253443.4398 | 2637580.7687 | 1253434.0904
24 | 2637568.4999 | 1253448.1098 | 2637572.5868 | 1253443.4398
25 | 2637568.4999 | 1253448.1098 | 2637567.1191 | 1253449.6876
26 | 2637565.8995 | 1253451.0813 | 2637567.1191 | 1253449.6876
27 | 2637565.8995 | 1253451.0813 | 2637560.0341 | 1253457.7835
28 | 2637558.8093 | 1253459.1831 | 2637560.0341 | 1253457.7835
29 | 2637558.8093 | 1253459.1831 | 2637557.9748 | 1253460.1367 | 2637554.9404 | 1253464.0277
30 | 2637626.0158 | 1253706.4215 | 2637595.6658 | 1253695.9904 | 2637589.5577 | 1253693.9531
31 | 2637635.7213 | 1253711.0881 | 2637626.252 | 1253706.5027 | 2637626.0158 | 1253706.4215
32 | 2637576.024 | 1253689.4388 | 2637589.5577 | 1253693.9531
33 | 2637635.7213 | 1253711.0881 | 2637638.9065 | 1253712.108
34 | 2637576.024 | 1253689.4388 | 2637555.3707 | 1253682.5497
35 | 2637544.3845 | 1253678.4246 | 2637550.0656 | 1253680.7801 | 2637555.3707 | 1253682.5497
36 | 2637544.3845 | 1253678.4246 | 2637541.7657 | 1253677.3389
37 | 2637488.0023 | 1253682.403 | 2637486.6206 | 1253684.9705 | 2637482.9886 | 1253691.4798
38 | 2637488.0023 | 1253682.403 | 2637490.492 | 1253677.7767
39 | 2637479.2821 | 1253698.1223 | 2637482.9886 | 1253691.4798
40 | 2637497.6091 | 1253662.9139 | 2637494.1403 | 1253670.9974 | 2637490.492 | 1253677.7767
41 | 2637477.2422 | 1253701.7781 | 2637479.2821 | 1253698.1223
42 | 2637497.6091 | 1253662.9139 | 2637498.9136 | 1253657.9021
43 | 2637497.6091 | 1253662.9139 | 2637512.7602 | 1253667.1368
44 | 2637477.2422 | 1253701.7781 | 2637471.5848 | 1253714.4422
45 | 2637500.0304 | 1253651.5671 | 2637499.7819 | 1253654.5664 | 2637498.9136 | 1253657.9021
46 | 2637515.2239 | 1253667.8235 | 2637512.7602 | 1253667.1368
47 | 2637500.3788 | 1253646.664 | 2637500.4109 | 1253646.9764 | 2637500.0304 | 1253651.5671
48 | 2637515.2239 | 1253667.8235 | 2637526.1823 | 1253670.8778 | 2637541.7657 | 1253677.3389
49 | 2637451.1051 | 1253597.4635 | 2637455.1998 | 1253593.9882 | 2637457.6087 | 1253590.0563 | 2637458.0811 | 1253588.9102
50 | 2637458.0811 | 1253588.9102 | 2637461.9816 | 1253579.4476
51 | 2637500.3788 | 1253646.664 | 2637499.7571 | 1253640.6013 | 2637499.5677 | 1253639.0055
52 | 2637499.5677 | 1253639.0055 | 2637499.551 | 1253638.8641
53 | 2637499.551 | 1253638.8641 | 2637498.7114 | 1253631.7887 | 2637498.5641 | 1253630.9953
54 | 2637498.5641 | 1253630.9953 | 2637498.2219 | 1253629.1515
55 | 2637498.0884 | 1253611.4042 | 2637497.325 | 1253620.7725 | 2637497.4986 | 1253624.3316 | 2637497.7775 | 1253626.7572 | 2637498.2219 | 1253629.1515
56 | 2637498.0884 | 1253611.4042 | 2637498.2762 | 1253609.0992
57 | 2637498.2762 | 1253609.0992 | 2637499.1909 | 1253597.8735
58 | 2637499.1909 | 1253597.8735 | 2637499.3045 | 1253596.4797
59 | 2637497.4633 | 1253581.932 | 2637497.6268 | 1253582.6153 | 2637499.3045 | 1253596.4797 | 2637499.3045 | 1253596.4797
60 | 2637497.4633 | 1253581.932 | 2637495.3327 | 1253573.0278
61 | 2637513.6172 | 1253516.8717 | 2637511.044 | 1253521.3476 | 2637511.0069 | 1253521.4308
62 | 2637513.6172 | 1253516.8717 | 2637514.3013 | 1253515.6819
63 | 2637511.0069 | 1253521.4308 | 2637510.3287 | 1253522.9519
64 | 2637516.4347 | 1253511.971 | 2637514.3013 | 1253515.6819
65 | 2637507.248 | 1253529.8613 | 2637510.3287 | 1253522.9519
66 | 2637516.4347 | 1253511.971 | 2637517.2537 | 1253510.5463 | 2637521.0519 | 1253506.2077
67 | 2637507.248 | 1253529.8613 | 2637506.2213 | 1253532.1641
68 | 2637522.3661 | 1253504.7065 | 2637521.0519 | 1253506.2077
69 | 2637506.2213 | 1253532.1641 | 2637505.333 | 1253534.1564
70 | 2637522.3661 | 1253504.7065 | 2637525.3566 | 1253501.2906
71 | 2637491.2615 | 1253556.0126 | 2637495.3327 | 1253573.0278
72 | 2637491.2615 | 1253556.0126 | 2637480.8619 | 1253557.7036 | 2637473.4551 | 1253560.9701 | 2637471.7099 | 1253562.7563
73 | 2637491.2615 | 1253556.0126 | 2637495.4842 | 1253548.3498
74 | 2637468.6938 | 1253565.8433 | 2637471.7099 | 1253562.7563
75 | 2637495.4842 | 1253548.3498 | 2637496.0944 | 1253547.2425
76 | 2637468.6938 | 1253565.8433 | 2637462.4588 | 1253578.2901 | 2637461.9816 | 1253579.4476
77 | 2637468.6938 | 1253565.8433 | 2637458.2255 | 1253566.9305
78 | 2637499.5108 | 1253543.1316 | 2637496.3598 | 1253546.7608 | 2637496.0944 | 1253547.2425
79 | 2637528.2056 | 1253497.9618 | 2637527.5436 | 1253498.7923 | 2637525.3566 | 1253501.2906
80 | 2637528.2056 | 1253497.9618 | 2637534.2918 | 1253490.3254
81 | 2637534.2918 | 1253490.3254 | 2637537.5581 | 1253486.2272
82 | 2637538.2669 | 1253485.3379 | 2637537.5581 | 1253486.2272
83 | 2637538.2669 | 1253485.3379 | 2637540.8221 | 1253482.1318 | 2637541.312 | 1253481.5036
84 | 2637545.9506 | 1253475.5555 | 2637541.312 | 1253481.5036
85 | 2637432.8121 | 1253568.1784 | 2637438.637 | 1253568.0232
86 | 2637447.3611 | 1253567.7909 | 2637438.637 | 1253568.0232
87 | 2637499.5108 | 1253543.1316 | 2637503.253 | 1253538.8213 | 2637505.333 | 1253534.1564
88 | 2637458.2255 | 1253566.9305 | 2637450.8316 | 1253567.6984 | 2637447.3611 | 1253567.7909
89 | 2637545.9506 | 1253475.5555 | 2637550.2787 | 1253470.0055
90 | 2637554.7412 | 1253464.2832 | 2637550.2787 | 1253470.0055
91 | 2637554.9404 | 1253464.0277 | 2637554.7412 | 1253464.2832

## bus_geodata
| x | y | coords
0 | 2638091.5435 | 1253959.1665
1 | 2638091.9427 | 1253961.1318
2 | 2638026.2581 | 1253958.9918
3 | 2638093.2554 | 1253967.5944
4 | 2638024.5283 | 1253968.9625
5 | 2637780.5644 | 1253613.1317
6 | 2637649.7195 | 1253540.8037
7 | 2638094.5086 | 1253973.7643
8 | 2638027.6478 | 1253974.4216
9 | 2638095.1185 | 1253979.2592
10 | 2638095.7258 | 1253986.9654
11 | 2637644.1213 | 1253475.9117
12 | 2637639.0554 | 1253470.0241
13 | 2637620.9263 | 1253450.1448
14 | 2637655.1277 | 1253440.4794
15 | 2637654.9923 | 1253424.5167
16 | 2637621.2966 | 1253398.4853
17 | 2637553.0266 | 1253375.4148
18 | 2637599.3886 | 1253413.7072
19 | 2637619.8265 | 1253447.4979
20 | 2637470.0193 | 1253471.6188
21 | 2637597.281 | 1253415.2221
22 | 2637592.8822 | 1253420.2485
23 | 2637580.7687 | 1253434.0904
24 | 2637568.4999 | 1253448.1098
25 | 2637572.5868 | 1253443.4398
26 | 2637567.1191 | 1253449.6876
27 | 2637565.8995 | 1253451.0813
28 | 2637560.0341 | 1253457.7835
29 | 2637558.8093 | 1253459.1831
30 | 2637626.0158 | 1253706.4215
31 | 2637589.5577 | 1253693.9531
32 | 2637635.7213 | 1253711.0881
33 | 2637576.024 | 1253689.4388
34 | 2637638.9065 | 1253712.108
35 | 2637555.3707 | 1253682.5497
36 | 2637544.3845 | 1253678.4246
37 | 2637488.0023 | 1253682.403
38 | 2637482.9886 | 1253691.4798
39 | 2637490.492 | 1253677.7767
40 | 2637479.2821 | 1253698.1223
41 | 2637497.6091 | 1253662.9139
42 | 2637477.2422 | 1253701.7781
43 | 2637498.9136 | 1253657.9021
44 | 2637512.7602 | 1253667.1368
45 | 2637471.5848 | 1253714.4422
46 | 2637500.0304 | 1253651.5671
47 | 2637515.2239 | 1253667.8235
48 | 2637541.7657 | 1253677.3389
49 | 2637451.1051 | 1253597.4635
50 | 2637458.0811 | 1253588.9102
51 | 2637500.3788 | 1253646.664
52 | 2637499.5677 | 1253639.0055
53 | 2637499.551 | 1253638.8641
54 | 2637498.5641 | 1253630.9953
55 | 2637498.2219 | 1253629.1515
56 | 2637498.0884 | 1253611.4042
57 | 2637498.2762 | 1253609.0992
58 | 2637499.1909 | 1253597.8735
59 | 2637499.3045 | 1253596.4797
60 | 2637497.4633 | 1253581.932
61 | 2637513.6172 | 1253516.8717
62 | 2637511.0069 | 1253521.4308
63 | 2637514.3013 | 1253515.6819
64 | 2637510.3287 | 1253522.9519
65 | 2637516.4347 | 1253511.971
66 | 2637507.248 | 1253529.8613
67 | 2637521.0519 | 1253506.2077
68 | 2637506.2213 | 1253532.1641
69 | 2637522.3661 | 1253504.7065
70 | 2637495.3327 | 1253573.0278
71 | 2637491.2615 | 1253556.0126
72 | 2637471.7099 | 1253562.7563
73 | 2637495.4842 | 1253548.3498
74 | 2637468.6938 | 1253565.8433
75 | 2637496.0944 | 1253547.2425
76 | 2637528.2056 | 1253497.9618
77 | 2637525.3566 | 1253501.2906
78 | 2637534.2918 | 1253490.3254
79 | 2637537.5581 | 1253486.2272
80 | 2637538.2669 | 1253485.3379
81 | 2637541.312 | 1253481.5036
82 | 2637432.8121 | 1253568.1784
83 | 2637438.637 | 1253568.0232
84 | 2637499.5108 | 1253543.1316
85 | 2637505.333 | 1253534.1564
86 | 2637461.9816 | 1253579.4476
87 | 2637458.2255 | 1253566.9305
88 | 2637545.9506 | 1253475.5555
89 | 2637550.2787 | 1253470.0055
90 | 2637554.7412 | 1253464.2832
91 | 2637554.9404 | 1253464.0277
92 | 2637447.3611 | 1253567.7909
93 | 2637491.2615 | 1253556.0126

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1