## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2858-1_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_2858-1_1_2_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_2858-1_1_2_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_2858-1_1_2_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_2858-1_1_2_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_2858-1_1_2_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_2858-1_1_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2858-1_1_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_2858-1_1_2_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_2858-1_1_2_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_2858-1_1_2_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_2858-1_1_2_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_2858-1_1_2_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_2858-1_1_2_node_121 | 0.4 | n |  | TRUE
14 | bus_LV_2858-1_1_2_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_2858-1_1_2_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_2858-1_1_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2858-1_1_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_2858-1_1_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_2858-1_1_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_2858-1_1_2_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_2858-1_1_2_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_2858-1_1_2_node_124 | 0.4 | n |  | TRUE
23 | bus_LV_2858-1_1_2_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_2858-1_1_2_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_2858-1_1_2_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_2858-1_1_2_node_120 | 0.4 | n |  | TRUE
27 | bus_LV_2858-1_1_2_node_122 | 0.4 | n |  | TRUE
28 | bus_LV_2858-1_1_2_node_123 | 0.4 | n |  | TRUE
29 | bus_MV_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2858-1_1_2_load_6 | 0 | 0.005605 | 0.0014048 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2858-1_1_2_load_7 | 1 | 0.00044667 | 0.00011195 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2858-1_1_2_load_8 | 2 | 0.0018166 | 0.00045528 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2858-1_1_2_load_9 | 3 | 0.00038349 | 9.6111e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2858-1_1_2_load_10 | 4 | 0.0023757 | 0.00059541 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2858-1_1_2_load_11 | 6 | 0.002993 | 0.00075012 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2858-1_1_2_load_12 | 7 | 0.0023969 | 0.00060073 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2858-1_1_2_load_17 | 11 | 0.0064584 | 0.0016186 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2858-1_1_2_load_121 | 13 | 0.0057733 | 0.0014469 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2858-1_1_2_load_18 | 15 | 0.00047132 | 0.00011812 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2858-1_1_2_load_19 | 16 | 0.0018877 | 0.00047311 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2858-1_1_2_load_24 | 17 | 0.0013878 | 0.00034782 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2858-1_1_2_load_27 | 20 | 0.0014554 | 0.00036475 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2858-1_1_2_load_28 | 21 | 0.00038469 | 9.6413e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2858-1_1_2_load_124 | 22 | 9.4872e-05 | 2.3777e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2858-1_1_2_load_53 | 24 | 0.00063869 | 0.00016007 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2858-1_1_2_load_54 | 25 | 0.00014251 | 3.5717e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2858-1_1_2_load_120 | 26 | 0.0014187 | 0.00035556 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2858-1_1_2_load_123 | 28 | 0.0007968 | 0.0001997 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2858-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2858-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.035294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2858-1_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2858-1_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0082974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2858-1_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.020625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2858-1_1_2_line_5 | NAYY 4x150 SE | 5 | 17 | 0.031063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2858-1_1_2_line_6 | NAYY 4x150 SE | 5 | 16 | 0.01445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2858-1_1_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.032047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2858-1_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.14013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2858-1_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.050644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2858-1_1_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.11854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2858-1_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.003566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2858-1_1_2_line_12 | NAYY 4x150 SE | 10 | 12 | 2.4813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2858-1_1_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.14016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2858-1_1_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.038954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2858-1_1_2_line_15 | NAYY 4x150 SE | 12 | 22 | 0.045995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2858-1_1_2_line_16 | NAYY 4x150 SE | 12 | 23 | 0.9033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2858-1_1_2_line_17 | NAYY 4x150 SE | 13 | 26 | 0.15368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2858-1_1_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.028939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2858-1_1_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.019612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2858-1_1_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.037751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2858-1_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.024286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2858-1_1_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.052011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2858-1_1_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.05349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2858-1_1_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.10954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2858-1_1_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.022107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2858-1_1_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.036672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2858-1_1_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.066239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2858-1_1_2_trafo_11 | 0.25 MVA 20/0.4 kV | 29 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95 | x96 | y96 | x97 | y97 | x98 | y98 | x99 | y99 | x100 | y100 | x101 | y101 | x102 | y102 | x103 | y103 | x104 | y104 | x105 | y105 | x106 | y106 | x107 | y107 | x108 | y108 | x109 | y109 | x110 | y110 | x111 | y111 | x112 | y112 | x113 | y113 | x114 | y114 | x115 | y115 | x116 | y116 | x117 | y117 | x118 | y118 | x119 | y119 | x120 | y120 | x121 | y121 | x122 | y122 | x123 | y123
0 | 2634767.0068 | 1257693.6087 | 2634769.6881 | 1257688.9943 | 2634772.8543 | 1257680.6642
1 | 2634788.2483 | 1257649.9777 | 2634782.7031 | 1257653.9467 | 2634774.0988 | 1257677.39 | 2634772.8543 | 1257680.6642
2 | 2634756.1567 | 1257703.9288 | 2634765.065 | 1257696.9504 | 2634767.0068 | 1257693.6087
3 | 2634788.2483 | 1257649.9777 | 2634792.8106 | 1257646.7121 | 2634795.464 | 1257647.1346
4 | 2634737.2444 | 1257695.7865 | 2634756.1049 | 1257703.9694 | 2634756.1567 | 1257703.9288
5 | 2634737.2444 | 1257695.7865 | 2634734.5539 | 1257704.6212 | 2634727.3838 | 1257725.2378
6 | 2634737.2444 | 1257695.7865 | 2634723.8802 | 1257690.2922
7 | 2634750.7223 | 1257584.4188 | 2634743.9153 | 1257594.4784 | 2634732.0075 | 1257610.4229
8 | 2634833.4847 | 1257472.4651 | 2634818.3388 | 1257487.6643 | 2634802.7706 | 1257502.9055 | 2634792.4727 | 1257515.5648 | 2634789.0654 | 1257520.5927 | 2634773.9086 | 1257546.6883 | 2634761.3012 | 1257568.785 | 2634750.7223 | 1257584.4188
9 | 2634701.5452 | 1257650.88 | 2634712.0602 | 1257637.1321 | 2634732.0075 | 1257610.4229
10 | 2634833.4847 | 1257472.4651 | 2634892.8236 | 1257416.9761 | 2634919.9153 | 1257391.0846
11 | 2634701.5452 | 1257650.88 | 2634699.4235 | 1257653.7461
12 | 2634919.9153 | 1257391.0846 | 2634971.2487 | 1257343.2656 | 2635003.7722 | 1257310.5797 | 2635009.3591 | 1257315.6828 | 2635018.7256 | 1257328.08 | 2635023.407 | 1257335.8685 | 2635026.668 | 1257345.4277 | 2635028.552 | 1257351.9544 | 2635030.9681 | 1257360.3077 | 2635033.177 | 1257366.714 | 2635037.7346 | 1257372.4671 | 2635042.624 | 1257376.9436 | 2635048.1677 | 1257377.877 | 2635052.3451 | 1257377.8016 | 2635056.3533 | 1257375.7573 | 2635062.6479 | 1257368.2894 | 2635072.3073 | 1257354.1035 | 2635081.5702 | 1257341.9389 | 2635084.9064 | 1257338.7787 | 2635088.8729 | 1257337.4012 | 2635093.0822 | 1257337.0481 | 2635098.6811 | 1257340.1278 | 2635111.3714 | 1257352.6782 | 2635122.4031 | 1257363.9402 | 2635147.3644 | 1257394.876 | 2635165.3524 | 1257418.0096 | 2635174.7297 | 1257428.5058 | 2635195.1761 | 1257446.4394 | 2635253.4299 | 1257394.0164 | 2635264.4571 | 1257386.9772 | 2635272.3914 | 1257382.7548 | 2635298.8454 | 1257370.5484 | 2635325.9707 | 1257358.335 | 2635335.1557 | 1257352.9972 | 2635348.6223 | 1257342.7816 | 2635356.7869 | 1257327.7756 | 2635379.2122 | 1257304.7158 | 2635384.2495 | 1257299.5424 | 2635432.0933 | 1257227.0452 | 2635440.3459 | 1257216.2983 | 2635444.1986 | 1257211.2846 | 2635457.934 | 1257200.337 | 2635475.6282 | 1257189.3354 | 2635499.8211 | 1257175.9488 | 2635591.1031 | 1257125.1837 | 2635660.6522 | 1257082.5837 | 2635699.7143 | 1257060.5593 | 2635711.2911 | 1257053.8578 | 2635722.1642 | 1257047.5635 | 2635735.0504 | 1257040.036 | 2635768.0313 | 1257021.2332 | 2635773.7663 | 1257019.2442 | 2635771.5492 | 1257026.7804 | 2635764.7344 | 1257040.2707 | 2635760.3271 | 1257049.6617 | 2635742.8483 | 1257072.294 | 2635726.4956 | 1257091.9977 | 2635688.348 | 1257136.2204 | 2635676.0923 | 1257149.2667 | 2635664.7013 | 1257158.9603 | 2635642.9097 | 1257175.4294 | 2635624.6208 | 1257191.2303 | 2635616.4469 | 1257200.1206 | 2635611.0963 | 1257205.9368 | 2635602.8059 | 1257211.6131 | 2635587.9194 | 1257219.607 | 2635579.7732 | 1257225.1397 | 2635572.7371 | 1257231.6574 | 2635566.0972 | 1257241.2464 | 2635558.8885 | 1257253.9007 | 2635550.0685 | 1257272.4827 | 2635542.6935 | 1257297.7892 | 2635539.7746 | 1257311.7701 | 2635532.6744 | 1257352.8779 | 2635528.0988 | 1257369.0393 | 2635524.6526 | 1257384.2291 | 2635523.8496 | 1257398.6897 | 2635524.8676 | 1257411.2266 | 2635526.4344 | 1257424.0448 | 2635527.3151 | 1257436.8589 | 2635525.8685 | 1257449.2587 | 2635523.0575 | 1257462.8734 | 2635519.7232 | 1257471.9819 | 2635517.2211 | 1257478.0933 | 2635512.301 | 1257485.1019 | 2635503.4285 | 1257494.8999 | 2635477.0632 | 1257526.2969 | 2635458.3677 | 1257548.5447 | 2635449.4827 | 1257560.4775 | 2635439.7754 | 1257576.2636 | 2635433.5924 | 1257583.9431 | 2635421.7545 | 1257597.9819 | 2635395.1461 | 1257626.0422 | 2635370.6862 | 1257652.9257 | 2635351.1829 | 1257676.7701 | 2635332.463 | 1257703.2767 | 2635323.828 | 1257717.6017 | 2635297.052 | 1257767.6321 | 2635288.8209 | 1257783.7941 | 2635283.1287 | 1257791.421 | 2635261.0772 | 1257815.384 | 2635253.3317 | 1257827.2683 | 2635250.109 | 1257836.7112 | 2635247.9966 | 1257850.8861 | 2635247.1936 | 1257871.8179 | 2635246.3878 | 1257893.2056 | 2635246.5428 | 1257897.5539 | 2635247.1651 | 1257914.6027 | 2635249.518 | 1257936.0091 | 2635255.4399 | 1257965.7648 | 2635267.5553 | 1258017.628 | 2635275.9746 | 1258044.4743 | 2635286.9391 | 1258078.1294 | 2635293.5604 | 1258084.0729 | 2635297.5451 | 1258087.1543 | 2635301.081 | 1258088.3873 | 2635303.5875 | 1258089.0471 | 2635306.8067 | 1258089.0218 | 2635309.5396 | 1258088.371 | 2635319.864 | 1258083.9406 | 2635343.4963 | 1258069.0824 | 2635351.109 | 1258065.5365 | 2635357.1679 | 1258063.3934 | 2635361.403 | 1258064.953
13 | 2634919.9153 | 1257391.0846 | 2634909.0369 | 1257379.3569 | 2634896.8801 | 1257368.3111 | 2634892.5246 | 1257362.7928 | 2634889.1076 | 1257356.6352 | 2634887.2799 | 1257349.4862 | 2634886.3389 | 1257337.717 | 2634886.3385 | 1257335.2153 | 2634887.3085 | 1257329.2725 | 2634892.2149 | 1257320.6399 | 2634902.8142 | 1257308.116 | 2634926.2291 | 1257281.8804 | 2634929.4032 | 1257278.7526
14 | 2634675.9315 | 1257684.8089 | 2634680.6468 | 1257679.1103 | 2634699.4235 | 1257653.7461
15 | 2635361.403 | 1258064.953 | 2635359.7782 | 1258050.4667 | 2635360.3041 | 1258039.3956 | 2635360.1247 | 1258031.5669 | 2635353.9475 | 1258020.6893
16 | 2635271.781 | 1258189.1043 | 2635250.5684 | 1258155.9886 | 2635239.5724 | 1258108.6129 | 2635222.0027 | 1258070.0598 | 2635221.7482 | 1258048.2099 | 2635218.7787 | 1258013.8465 | 2635212.8857 | 1257981.7338 | 2635207.4682 | 1257943.1974 | 2635205.6576 | 1257905.3496 | 2635204.7289 | 1257871.343 | 2635206.2238 | 1257848.1582 | 2635209.2326 | 1257835.345 | 2635215.8682 | 1257821.197 | 2635226.5673 | 1257807.0731 | 2635237.257 | 1257794.528 | 2635246.1585 | 1257779.7152 | 2635253.652 | 1257773.4555 | 2635269.0288 | 1257770.167 | 2635288.4665 | 1257767.3585 | 2635297.052 | 1257767.6321 | 2635288.8209 | 1257783.7941 | 2635283.1287 | 1257791.421 | 2635261.0772 | 1257815.384 | 2635253.3317 | 1257827.2683 | 2635250.109 | 1257836.7112 | 2635247.9966 | 1257850.8861 | 2635247.1936 | 1257871.8179 | 2635246.3878 | 1257893.2056 | 2635246.5428 | 1257897.5539 | 2635247.1651 | 1257914.6027 | 2635249.518 | 1257936.0091 | 2635255.4399 | 1257965.7648 | 2635267.5553 | 1258017.628 | 2635275.9746 | 1258044.4743 | 2635286.9391 | 1258078.1294 | 2635293.5604 | 1258084.0729 | 2635297.5451 | 1258087.1543 | 2635301.081 | 1258088.3873 | 2635303.5875 | 1258089.0471 | 2635306.8067 | 1258089.0218 | 2635309.5396 | 1258088.371 | 2635319.864 | 1258083.9406 | 2635343.4963 | 1258069.0824 | 2635351.109 | 1258065.5365 | 2635357.1679 | 1258063.3934 | 2635361.403 | 1258064.953
17 | 2634965.278 | 1257137.1293 | 2634965.8233 | 1257144.7423 | 2634964.713 | 1257175.7236 | 2634964.0868 | 1257202.6161 | 2634963.5879 | 1257223.2717 | 2634962.5866 | 1257234.5179 | 2634960.4957 | 1257241.2991 | 2634956.2821 | 1257250.0469 | 2634947.8204 | 1257260.6042 | 2634929.4032 | 1257278.7526
18 | 2634675.9315 | 1257684.8089 | 2634704.7977 | 1257686.8577
19 | 2634704.7977 | 1257686.8577 | 2634717.7646 | 1257687.778 | 2634723.8802 | 1257690.2922
20 | 2634713.2382 | 1257759.0225 | 2634715.1507 | 1257742.7226 | 2634727.3838 | 1257725.2378
21 | 2634713.2382 | 1257759.0225 | 2634719.5637 | 1257770.5786 | 2634724.4357 | 1257780.5807
22 | 2634713.2382 | 1257759.0225 | 2634703.3436 | 1257767.2814 | 2634699.6075 | 1257779.579 | 2634699.5354 | 1257791.8982 | 2634703.0098 | 1257805.4091
23 | 2634724.4357 | 1257780.5807 | 2634745.6729 | 1257765.2502 | 2634756.732 | 1257752.5508 | 2634764.8505 | 1257745.9585
24 | 2635271.781 | 1258189.1043 | 2635279.3444 | 1258198.8782 | 2635291.1354 | 1258217.7503 | 2635301.3429 | 1258240.4822 | 2635303.9944 | 1258250.9497 | 2635304.3588 | 1258269.4979 | 2635298.8043 | 1258281.8956 | 2635292.1616 | 1258284.3187
25 | 2635292.1616 | 1258284.3187 | 2635277.9603 | 1258289.4989 | 2635276.4531 | 1258296.3252
26 | 2634963.008 | 1257100.5288 | 2634964.2769 | 1257123.1517 | 2634965.278 | 1257137.1293
27 | 2634963.008 | 1257100.5288 | 2634949.6451 | 1257108.5221 | 2634907.4453 | 1257136.5659

## bus_geodata
| x | y | coords
0 | 2634772.8543 | 1257680.6642
1 | 2634767.0068 | 1257693.6087
2 | 2634788.2483 | 1257649.9777
3 | 2634756.1567 | 1257703.9288
4 | 2634795.464 | 1257647.1346
5 | 2634737.2444 | 1257695.7865
6 | 2634750.7223 | 1257584.4188
7 | 2634732.0075 | 1257610.4229
8 | 2634833.4847 | 1257472.4651
9 | 2634701.5452 | 1257650.88
10 | 2634919.9153 | 1257391.0846
11 | 2634699.4235 | 1257653.7461
12 | 2635361.403 | 1258064.953
13 | 2634929.4033 | 1257278.7526
14 | 2634675.9315 | 1257684.8089
15 | 2634704.7977 | 1257686.8577
16 | 2634723.8802 | 1257690.2922
17 | 2634727.3838 | 1257725.2378
18 | 2634713.2382 | 1257759.0225
19 | 2634724.4357 | 1257780.5807
20 | 2634703.0098 | 1257805.4091
21 | 2634764.8505 | 1257745.9585
22 | 2635353.9475 | 1258020.6893
23 | 2635271.781 | 1258189.1043
24 | 2635292.1616 | 1258284.3187
25 | 2635276.4531 | 1258296.3252
26 | 2634965.278 | 1257137.1293
27 | 2634963.008 | 1257100.5288
28 | 2634907.4453 | 1257136.5659
29 | 2634750.7223 | 1257584.4188

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1