## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2858-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2858-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2858-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2858-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2858-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2858-3_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2858-3_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2858-3_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_2858-3_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2858-3_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_2858-3_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_2858-3_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_2858-3_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_2858-3_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_2858-3_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2858-3_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2858-3_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2858-3_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2858-3_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2858-3_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2858-3_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2858-3_0_3_node_133 | 0.4 | n |  | TRUE
22 | bus_LV_2858-3_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2858-3_0_3_node_131 | 0.4 | n |  | TRUE
24 | bus_LV_2858-3_0_3_node_134 | 0.4 | n |  | TRUE
25 | bus_LV_2858-3_0_3_node_132 | 0.4 | n |  | TRUE
26 | bus_LV_2858-3_0_3_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_2858-3_0_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_2858-3_0_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_2858-3_0_3_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_2858-3_0_3_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_2858-3_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2858-3_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2858-3_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2858-3_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2858-3_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2858-3_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_2858-3_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_2858-3_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_2858-3_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2858-3_0_3_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_2858-3_0_3_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_2858-3_0_3_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_2858-3_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2858-3_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_2858-3_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2858-3_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_2858-3_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_2858-3_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_2858-3_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_2858-3_0_3_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_2858-3_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_2858-3_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_2858-3_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2858-3_0_3_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_2858-3_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_2858-3_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_2858-3_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_2858-3_0_3_node_115 | 0.4 | n |  | TRUE
59 | bus_LV_2858-3_0_3_node_116 | 0.4 | n |  | TRUE
60 | bus_LV_2858-3_0_3_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_2858-3_0_3_node_118 | 0.4 | n |  | TRUE
62 | bus_LV_2858-3_0_3_node_117 | 0.4 | n |  | TRUE
63 | bus_LV_2858-3_0_3_node_120 | 0.4 | n |  | TRUE
64 | bus_LV_2858-3_0_3_node_99 | 0.4 | n |  | TRUE
65 | bus_LV_2858-3_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_2858-3_0_3_node_87 | 0.4 | n |  | TRUE
67 | bus_LV_2858-3_0_3_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_2858-3_0_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_2858-3_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_2858-3_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_2858-3_0_3_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_2858-3_0_3_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_2858-3_0_3_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_2858-3_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_2858-3_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_2858-3_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_2858-3_0_3_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_2858-3_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_2858-3_0_3_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_2858-3_0_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_2858-3_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_2858-3_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_2858-3_0_3_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_2858-3_0_3_node_94 | 0.4 | n |  | TRUE
85 | bus_LV_2858-3_0_3_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_2858-3_0_3_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_2858-3_0_3_node_155 | 0.4 | n |  | TRUE
88 | bus_LV_2858-3_0_3_node_139 | 0.4 | n |  | TRUE
89 | bus_LV_2858-3_0_3_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_2858-3_0_3_node_140 | 0.4 | n |  | TRUE
91 | bus_LV_2858-3_0_3_node_152 | 0.4 | n |  | TRUE
92 | bus_LV_2858-3_0_3_node_104 | 0.4 | n |  | TRUE
93 | bus_LV_2858-3_0_3_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_2858-3_0_3_node_72 | 0.4 | n |  | TRUE
95 | bus_LV_2858-3_0_3_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_2858-3_0_3_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_2858-3_0_3_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_2858-3_0_3_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_2858-3_0_3_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_2858-3_0_3_node_83 | 0.4 | n |  | TRUE
101 | bus_LV_2858-3_0_3_node_84 | 0.4 | n |  | TRUE
102 | bus_LV_2858-3_0_3_node_85 | 0.4 | n |  | TRUE
103 | bus_LV_2858-3_0_3_node_86 | 0.4 | n |  | TRUE
104 | bus_LV_2858-3_0_3_node_92 | 0.4 | n |  | TRUE
105 | bus_LV_2858-3_0_3_node_101 | 0.4 | n |  | TRUE
106 | bus_LV_2858-3_0_3_node_97 | 0.4 | n |  | TRUE
107 | bus_LV_2858-3_0_3_node_90 | 0.4 | n |  | TRUE
108 | bus_LV_2858-3_0_3_node_100 | 0.4 | n |  | TRUE
109 | bus_LV_2858-3_0_3_node_106 | 0.4 | n |  | TRUE
110 | bus_LV_2858-3_0_3_node_109 | 0.4 | n |  | TRUE
111 | bus_LV_2858-3_0_3_node_89 | 0.4 | n |  | TRUE
112 | bus_LV_2858-3_0_3_node_105 | 0.4 | n |  | TRUE
113 | bus_LV_2858-3_0_3_node_110 | 0.4 | n |  | TRUE
114 | bus_LV_2858-3_0_3_node_102 | 0.4 | n |  | TRUE
115 | bus_LV_2858-3_0_3_node_103 | 0.4 | n |  | TRUE
116 | bus_LV_2858-3_0_3_node_107 | 0.4 | n |  | TRUE
117 | bus_LV_2858-3_0_3_node_108 | 0.4 | n |  | TRUE
118 | bus_LV_2858-3_0_3_node_147 | 0.4 | n |  | TRUE
119 | bus_LV_2858-3_0_3_node_156 | 0.4 | n |  | TRUE
120 | bus_LV_2858-3_0_3_node_141 | 0.4 | n |  | TRUE
121 | bus_LV_2858-3_0_3_node_111 | 0.4 | n |  | TRUE
122 | bus_LV_2858-3_0_3_node_112 | 0.4 | n |  | TRUE
123 | bus_LV_2858-3_0_3_node_113 | 0.4 | n |  | TRUE
124 | bus_LV_2858-3_0_3_node_114 | 0.4 | n |  | TRUE
125 | bus_LV_2858-3_0_3_node_121 | 0.4 | n |  | TRUE
126 | bus_LV_2858-3_0_3_node_122 | 0.4 | n |  | TRUE
127 | bus_LV_2858-3_0_3_node_124 | 0.4 | n |  | TRUE
128 | bus_LV_2858-3_0_3_node_130 | 0.4 | n |  | TRUE
129 | bus_LV_2858-3_0_3_node_127 | 0.4 | n |  | TRUE
130 | bus_LV_2858-3_0_3_node_125 | 0.4 | n |  | TRUE
131 | bus_LV_2858-3_0_3_node_126 | 0.4 | n |  | TRUE
132 | bus_LV_2858-3_0_3_node_129 | 0.4 | n |  | TRUE
133 | bus_LV_2858-3_0_3_node_128 | 0.4 | n |  | TRUE
134 | bus_LV_2858-3_0_3_node_135 | 0.4 | n |  | TRUE
135 | bus_LV_2858-3_0_3_node_165 | 0.4 | n |  | TRUE
136 | bus_LV_2858-3_0_3_node_164 | 0.4 | n |  | TRUE
137 | bus_LV_2858-3_0_3_node_136 | 0.4 | n |  | TRUE
138 | bus_LV_2858-3_0_3_node_137 | 0.4 | n |  | TRUE
139 | bus_LV_2858-3_0_3_node_142 | 0.4 | n |  | TRUE
140 | bus_LV_2858-3_0_3_node_143 | 0.4 | n |  | TRUE
141 | bus_LV_2858-3_0_3_node_144 | 0.4 | n |  | TRUE
142 | bus_LV_2858-3_0_3_node_145 | 0.4 | n |  | TRUE
143 | bus_LV_2858-3_0_3_node_146 | 0.4 | n |  | TRUE
144 | bus_LV_2858-3_0_3_node_148 | 0.4 | n |  | TRUE
145 | bus_LV_2858-3_0_3_node_149 | 0.4 | n |  | TRUE
146 | bus_LV_2858-3_0_3_node_150 | 0.4 | n |  | TRUE
147 | bus_LV_2858-3_0_3_node_151 | 0.4 | n |  | TRUE
148 | bus_LV_2858-3_0_3_node_157 | 0.4 | n |  | TRUE
149 | bus_LV_2858-3_0_3_node_154 | 0.4 | n |  | TRUE
150 | bus_LV_2858-3_0_3_node_153 | 0.4 | n |  | TRUE
151 | bus_LV_2858-3_0_3_node_161 | 0.4 | n |  | TRUE
152 | bus_LV_2858-3_0_3_node_159 | 0.4 | n |  | TRUE
153 | bus_LV_2858-3_0_3_node_160 | 0.4 | n |  | TRUE
154 | bus_LV_2858-3_0_3_node_162 | 0.4 | n |  | TRUE
155 | bus_MV_291_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2858-3_0_3_load_0 | 0 | 0.0018361 | 0.00046016 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2858-3_0_3_load_1 | 1 | 0.0015377 | 0.00038537 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2858-3_0_3_load_3 | 3 | 0.0014168 | 0.00035509 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2858-3_0_3_load_4 | 4 | 0.0017617 | 0.00044152 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2858-3_0_3_load_6 | 5 | 0.001234 | 0.00030927 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2858-3_0_3_load_15 | 6 | 0.002006 | 0.00050276 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2858-3_0_3_load_14 | 7 | 0.0019084 | 0.00047829 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2858-3_0_3_load_5 | 8 | 0.0020739 | 0.00051977 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2858-3_0_3_load_16 | 9 | 0.002341 | 0.00058672 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2858-3_0_3_load_20 | 10 | 0.0012018 | 0.00030119 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2858-3_0_3_load_17 | 12 | 0.0014521 | 0.00036393 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2858-3_0_3_load_7 | 14 | 0.0023476 | 0.00058837 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2858-3_0_3_load_8 | 15 | 0.0032853 | 0.00082336 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2858-3_0_3_load_9 | 16 | 0.0032612 | 0.00081732 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2858-3_0_3_load_10 | 17 | 0.0014104 | 0.00035349 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2858-3_0_3_load_11 | 18 | 0.001914 | 0.0004797 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2858-3_0_3_load_12 | 19 | 0.0020084 | 0.00050336 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2858-3_0_3_load_18 | 20 | 0.0040374 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2858-3_0_3_load_133 | 21 | 0.0018998 | 0.00047615 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2858-3_0_3_load_19 | 22 | 0.0011695 | 0.0002931 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2858-3_0_3_load_131 | 23 | 0.0021947 | 0.00055005 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2858-3_0_3_load_134 | 24 | 0.003475 | 0.00087091 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2858-3_0_3_load_132 | 25 | 0.0024661 | 0.00061807 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2858-3_0_3_load_44 | 26 | 0.0019244 | 0.0004823 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2858-3_0_3_load_42 | 28 | 0.0017334 | 0.00043444 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2858-3_0_3_load_49 | 29 | 0.002246 | 0.0005629 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2858-3_0_3_load_45 | 30 | 0.0015021 | 0.00037646 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2858-3_0_3_load_22 | 31 | 0.0038114 | 0.00095523 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2858-3_0_3_load_25 | 33 | 0.0028433 | 0.00071259 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2858-3_0_3_load_26 | 34 | 0.0044347 | 0.0011114 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2858-3_0_3_load_27 | 35 | 0.0027728 | 0.00069492 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2858-3_0_3_load_36 | 36 | 0.0051606 | 0.0012934 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2858-3_0_3_load_28 | 37 | 0.0025866 | 0.00064827 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2858-3_0_3_load_29 | 39 | 0.0022393 | 0.00056122 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2858-3_0_3_load_80 | 41 | 0.00090143 | 0.00022592 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2858-3_0_3_load_81 | 42 | 0.0033235 | 0.00083294 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2858-3_0_3_load_30 | 43 | 0.0020096 | 0.00050365 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2858-3_0_3_load_31 | 44 | 0.0038652 | 0.0009687 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2858-3_0_3_load_37 | 45 | 0.0035113 | 0.00088002 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2858-3_0_3_load_43 | 47 | 0.0025666 | 0.00064326 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2858-3_0_3_load_41 | 48 | 0.0025103 | 0.00062914 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2858-3_0_3_load_54 | 50 | 0.0036362 | 0.00091131 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2858-3_0_3_load_53 | 52 | 0.0022271 | 0.00055817 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2858-3_0_3_load_50 | 53 | 0.0097456 | 0.0024425 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2858-3_0_3_load_78 | 54 | 0.0031931 | 0.00080027 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2858-3_0_3_load_51 | 55 | 0.0070428 | 0.0017651 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2858-3_0_3_load_46 | 56 | 0.0026682 | 0.00066872 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2858-3_0_3_load_116 | 59 | 0.00096335 | 0.00024144 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2858-3_0_3_load_98 | 60 | 0.00097536 | 0.00024445 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2858-3_0_3_load_118 | 61 | 0.0031924 | 0.00080009 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2858-3_0_3_load_117 | 62 | 0.0022502 | 0.00056395 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2858-3_0_3_load_99 | 64 | 0.0023973 | 0.00060083 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2858-3_0_3_load_52 | 65 | 0.0040881 | 0.0010246 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2858-3_0_3_load_87 | 66 | 0.0018332 | 0.00045945 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2858-3_0_3_load_88 | 67 | 0.0021815 | 0.00054674 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2858-3_0_3_load_55 | 68 | 0.0056683 | 0.0014206 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2858-3_0_3_load_56 | 69 | 0.0045753 | 0.0011467 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2858-3_0_3_load_58 | 71 | 0.00084027 | 0.00021059 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2858-3_0_3_load_59 | 72 | 0.0025425 | 0.00063722 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2858-3_0_3_load_60 | 73 | 0.001099 | 0.00027544 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2858-3_0_3_load_61 | 75 | 0.00062349 | 0.00015626 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2858-3_0_3_load_62 | 76 | 0.0012975 | 0.00032518 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2858-3_0_3_load_67 | 77 | 0.0053013 | 0.0013286 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2858-3_0_3_load_66 | 78 | 0.0014701 | 0.00036843 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2858-3_0_3_load_63 | 79 | 0.0034155 | 0.000856 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2858-3_0_3_load_76 | 81 | 0.0010683 | 0.00026775 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2858-3_0_3_load_77 | 82 | 0.00048399 | 0.0001213 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2858-3_0_3_load_94 | 84 | 0.00063978 | 0.00016035 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2858-3_0_3_load_69 | 86 | 0.00050288 | 0.00012603 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2858-3_0_3_load_155 | 87 | 0.0008034 | 0.00020135 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2858-3_0_3_load_139 | 88 | 0.001873 | 0.00046941 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2858-3_0_3_load_140 | 90 | 0.00039809 | 9.9771e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2858-3_0_3_load_152 | 91 | 0.0014384 | 0.0003605 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2858-3_0_3_load_104 | 92 | 0.003341 | 0.00083734 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2858-3_0_3_load_70 | 93 | 0.0017932 | 0.00044942 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2858-3_0_3_load_82 | 95 | 0.0012441 | 0.00031179 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2858-3_0_3_load_95 | 97 | 0.0022191 | 0.00055616 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2858-3_0_3_load_96 | 98 | 0.00053218 | 0.00013338 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2858-3_0_3_load_91 | 99 | 0.0015877 | 0.00039792 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2858-3_0_3_load_83 | 100 | 0.00097473 | 0.00024429 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2858-3_0_3_load_84 | 101 | 0.0012621 | 0.00031632 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2858-3_0_3_load_85 | 102 | 0.0031031 | 0.00077772 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2858-3_0_3_load_101 | 105 | 0.0014604 | 0.000366 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2858-3_0_3_load_97 | 106 | 0.00098088 | 0.00024583 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2858-3_0_3_load_90 | 107 | 0.001743 | 0.00043684 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2858-3_0_3_load_100 | 108 | 0.00083102 | 0.00020827 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2858-3_0_3_load_106 | 109 | 0.0029558 | 0.0007408 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2858-3_0_3_load_109 | 110 | 0.0020371 | 0.00051054 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2858-3_0_3_load_89 | 111 | 0.0012505 | 0.0003134 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2858-3_0_3_load_105 | 112 | 0.0010076 | 0.00025254 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2858-3_0_3_load_102 | 114 | 0.00072523 | 0.00018176 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2858-3_0_3_load_103 | 115 | 0.0010732 | 0.00026897 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2858-3_0_3_load_107 | 116 | 0.00083999 | 0.00021052 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2858-3_0_3_load_108 | 117 | 0.00071649 | 0.00017957 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2858-3_0_3_load_147 | 118 | 0.00091833 | 0.00023016 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2858-3_0_3_load_156 | 119 | 0.00083831 | 0.0002101 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2858-3_0_3_load_141 | 120 | 0.00080049 | 0.00020062 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2858-3_0_3_load_111 | 121 | 0.0011784 | 0.00029534 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2858-3_0_3_load_112 | 122 | 0.0011209 | 0.00028091 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2858-3_0_3_load_113 | 123 | 0.0020669 | 0.00051802 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2858-3_0_3_load_114 | 124 | 0.0012035 | 0.00030161 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2858-3_0_3_load_124 | 127 | 0.00056162 | 0.00014075 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2858-3_0_3_load_130 | 128 | 0.0011762 | 0.00029479 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2858-3_0_3_load_125 | 130 | 0.00093267 | 0.00023375 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2858-3_0_3_load_126 | 131 | 0.00094626 | 0.00023716 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2858-3_0_3_load_129 | 132 | 0.00090073 | 0.00022575 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2858-3_0_3_load_135 | 134 | 0.0019498 | 0.00048867 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2858-3_0_3_load_165 | 135 | 0.0012219 | 0.00030623 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2858-3_0_3_load_136 | 137 | 0.0010263 | 0.00025722 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2858-3_0_3_load_137 | 138 | 0.00024244 | 6.076e-05 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2858-3_0_3_load_142 | 139 | 0.00039586 | 9.9212e-05 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2858-3_0_3_load_143 | 140 | 0.00061641 | 0.00015449 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2858-3_0_3_load_144 | 141 | 0.00031292 | 7.8426e-05 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2858-3_0_3_load_145 | 142 | 0.00037938 | 9.5081e-05 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2858-3_0_3_load_146 | 143 | 0.00060325 | 0.00015119 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2858-3_0_3_load_148 | 144 | 0.00087173 | 0.00021848 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2858-3_0_3_load_149 | 145 | 0.00031857 | 7.9841e-05 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2858-3_0_3_load_150 | 146 | 0.00075248 | 0.00018859 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2858-3_0_3_load_151 | 147 | 0.00033053 | 8.284e-05 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2858-3_0_3_load_153 | 150 | 0.0006394 | 0.00016025 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2858-3_0_3_load_159 | 152 | 0.00039996 | 0.00010024 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2858-3_0_3_load_160 | 153 | 0.00044113 | 0.00011056 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2858-3_0_3_load_162 | 154 | 0.0024464 | 0.00061313 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2858-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2858-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0092119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2858-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0096377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2858-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2858-3_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.011879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2858-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.018575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2858-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.02875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2858-3_0_3_line_7 | NAYY 4x150 SE | 5 | 10 | 0.015172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2858-3_0_3_line_8 | NAYY 4x150 SE | 7 | 11 | 0.020028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2858-3_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0019857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2858-3_0_3_line_10 | NAYY 4x150 SE | 9 | 12 | 0.023628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2858-3_0_3_line_11 | NAYY 4x150 SE | 10 | 13 | 0.018439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2858-3_0_3_line_12 | NAYY 4x150 SE | 11 | 19 | 0.021395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2858-3_0_3_line_13 | NAYY 4x150 SE | 12 | 22 | 0.0024039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2858-3_0_3_line_14 | NAYY 4x150 SE | 13 | 26 | 0.010529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2858-3_0_3_line_15 | NAYY 4x150 SE | 13 | 27 | 0.007119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2858-3_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0011943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2858-3_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.018311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2858-3_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.018962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2858-3_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.020008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2858-3_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.040335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2858-3_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.015326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2858-3_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0060193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2858-3_0_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.020379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2858-3_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.025383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2858-3_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0078017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2858-3_0_3_line_26 | NAYY 4x150 SE | 24 | 134 | 0.002461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2858-3_0_3_line_27 | NAYY 4x150 SE | 25 | 132 | 0.021741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2858-3_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.015982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2858-3_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.011731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2858-3_0_3_line_30 | NAYY 4x150 SE | 27 | 30 | 0.0069452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2858-3_0_3_line_31 | NAYY 4x150 SE | 28 | 48 | 0.018502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2858-3_0_3_line_32 | NAYY 4x150 SE | 29 | 60 | 0.028159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2858-3_0_3_line_33 | NAYY 4x150 SE | 30 | 56 | 0.035823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2858-3_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.045064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2858-3_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.013729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_2858-3_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.021031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_2858-3_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.018881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_2858-3_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.003817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_2858-3_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.0074909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_2858-3_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.033255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_2858-3_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.012755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_2858-3_0_3_line_42 | NAYY 4x150 SE | 38 | 45 | 0.012558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_2858-3_0_3_line_43 | NAYY 4x150 SE | 38 | 44 | 0.022484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2858-3_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0084903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_2858-3_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.0040411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_2858-3_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.019077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2858-3_0_3_line_47 | NAYY 4x150 SE | 41 | 97 | 0.017048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_2858-3_0_3_line_48 | NAYY 4x150 SE | 42 | 98 | 0.0068298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2858-3_0_3_line_49 | NAYY 4x150 SE | 43 | 44 | 0.041208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2858-3_0_3_line_50 | NAYY 4x150 SE | 45 | 46 | 0.0021571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_2858-3_0_3_line_51 | NAYY 4x150 SE | 46 | 51 | 0.015965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_2858-3_0_3_line_52 | NAYY 4x150 SE | 46 | 49 | 0.0142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2858-3_0_3_line_53 | NAYY 4x150 SE | 47 | 48 | 0.017271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2858-3_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.017461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2858-3_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.013763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2858-3_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.014829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_2858-3_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.010466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2858-3_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.011962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_2858-3_0_3_line_59 | NAYY 4x150 SE | 55 | 65 | 0.0078685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_2858-3_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.026566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2858-3_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.0078861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2858-3_0_3_line_62 | NAYY 4x150 SE | 58 | 61 | 0.037271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2858-3_0_3_line_63 | NAYY 4x150 SE | 58 | 62 | 0.018445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2858-3_0_3_line_64 | NAYY 4x150 SE | 59 | 63 | 0.01963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2858-3_0_3_line_65 | NAYY 4x150 SE | 60 | 64 | 0.0083798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2858-3_0_3_line_66 | NAYY 4x150 SE | 61 | 126 | 0.0067636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2858-3_0_3_line_67 | NAYY 4x150 SE | 62 | 113 | 0.019475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2858-3_0_3_line_68 | NAYY 4x150 SE | 63 | 127 | 0.0084414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2858-3_0_3_line_69 | NAYY 4x150 SE | 64 | 113 | 0.012942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2858-3_0_3_line_70 | NAYY 4x150 SE | 65 | 66 | 0.027105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_2858-3_0_3_line_71 | NAYY 4x150 SE | 66 | 67 | 0.013005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2858-3_0_3_line_72 | NAYY 4x150 SE | 67 | 109 | 0.00083474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2858-3_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.018805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2858-3_0_3_line_74 | NAYY 4x150 SE | 68 | 70 | 0.018117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2858-3_0_3_line_75 | NAYY 4x150 SE | 69 | 71 | 0.018331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2858-3_0_3_line_76 | NAYY 4x150 SE | 70 | 72 | 0.010845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2858-3_0_3_line_77 | NAYY 4x150 SE | 70 | 73 | 0.018137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2858-3_0_3_line_78 | NAYY 4x150 SE | 71 | 74 | 0.013932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2858-3_0_3_line_79 | NAYY 4x150 SE | 72 | 75 | 0.0038886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2858-3_0_3_line_80 | NAYY 4x150 SE | 73 | 76 | 0.0072003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2858-3_0_3_line_81 | NAYY 4x150 SE | 74 | 77 | 0.034983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2858-3_0_3_line_82 | NAYY 4x150 SE | 74 | 78 | 0.013782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2858-3_0_3_line_83 | NAYY 4x150 SE | 76 | 79 | 0.0019372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_2858-3_0_3_line_84 | NAYY 4x150 SE | 79 | 80 | 0.022387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_2858-3_0_3_line_85 | NAYY 4x150 SE | 80 | 81 | 0.020636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_2858-3_0_3_line_86 | NAYY 4x150 SE | 80 | 82 | 0.012356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_2858-3_0_3_line_87 | NAYY 4x150 SE | 81 | 83 | 0.010463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_2858-3_0_3_line_88 | NAYY 4x150 SE | 82 | 84 | 0.00024003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_2858-3_0_3_line_89 | NAYY 4x150 SE | 83 | 95 | 0.020362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_2858-3_0_3_line_90 | NAYY 4x150 SE | 83 | 94 | 0.003131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_2858-3_0_3_line_91 | NAYY 4x150 SE | 84 | 97 | 0.0082005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_2858-3_0_3_line_92 | NAYY 4x150 SE | 85 | 86 | 0.039213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_2858-3_0_3_line_93 | NAYY 4x150 SE | 85 | 87 | 0.073513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_2858-3_0_3_line_94 | NAYY 4x150 SE | 86 | 88 | 0.049613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_2858-3_0_3_line_95 | NAYY 4x150 SE | 87 | 89 | 0.038935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_2858-3_0_3_line_96 | NAYY 4x150 SE | 88 | 90 | 0.024596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_2858-3_0_3_line_97 | NAYY 4x150 SE | 89 | 94 | 0.054074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_2858-3_0_3_line_98 | NAYY 4x150 SE | 91 | 92 | 0.042133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_2858-3_0_3_line_99 | NAYY 4x150 SE | 92 | 112 | 0.0050396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_2858-3_0_3_line_100 | NAYY 4x150 SE | 92 | 106 | 0.050318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_2858-3_0_3_line_101 | NAYY 4x150 SE | 93 | 94 | 0.01281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_2858-3_0_3_line_102 | NAYY 4x150 SE | 95 | 96 | 0.01226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
103 | LV_2858-3_0_3_line_103 | NAYY 4x150 SE | 96 | 99 | 0.014881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_2858-3_0_3_line_104 | NAYY 4x150 SE | 99 | 111 | 0.0099825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_2858-3_0_3_line_105 | NAYY 4x150 SE | 100 | 101 | 0.017901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_2858-3_0_3_line_106 | NAYY 4x150 SE | 100 | 102 | 0.0054788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_2858-3_0_3_line_107 | NAYY 4x150 SE | 101 | 103 | 0.009453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_2858-3_0_3_line_108 | NAYY 4x150 SE | 103 | 104 | 0.026767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_2858-3_0_3_line_109 | NAYY 4x150 SE | 103 | 105 | 0.020143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_2858-3_0_3_line_110 | NAYY 4x150 SE | 104 | 106 | 0.043435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_2858-3_0_3_line_111 | NAYY 4x150 SE | 104 | 107 | 0.037592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_2858-3_0_3_line_112 | NAYY 4x150 SE | 105 | 108 | 0.0095209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_2858-3_0_3_line_113 | NAYY 4x150 SE | 107 | 111 | 0.02413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_2858-3_0_3_line_114 | NAYY 4x150 SE | 108 | 114 | 0.014093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_2858-3_0_3_line_115 | NAYY 4x150 SE | 109 | 110 | 0.014288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_2858-3_0_3_line_116 | NAYY 4x150 SE | 110 | 113 | 0.010771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_2858-3_0_3_line_117 | NAYY 4x150 SE | 112 | 118 | 0.054239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_2858-3_0_3_line_118 | NAYY 4x150 SE | 114 | 115 | 0.01716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_2858-3_0_3_line_119 | NAYY 4x150 SE | 115 | 116 | 0.0092502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_2858-3_0_3_line_120 | NAYY 4x150 SE | 116 | 117 | 0.008525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_2858-3_0_3_line_121 | NAYY 4x150 SE | 117 | 120 | 0.012758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_2858-3_0_3_line_122 | NAYY 4x150 SE | 118 | 119 | 0.02521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_2858-3_0_3_line_123 | NAYY 4x150 SE | 119 | 144 | 0.026841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_2858-3_0_3_line_124 | NAYY 4x150 SE | 121 | 122 | 0.0097463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_2858-3_0_3_line_125 | NAYY 4x150 SE | 121 | 123 | 0.017826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_2858-3_0_3_line_126 | NAYY 4x150 SE | 122 | 124 | 0.01093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_2858-3_0_3_line_127 | NAYY 4x150 SE | 124 | 125 | 0.0057929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_2858-3_0_3_line_128 | NAYY 4x150 SE | 125 | 126 | 0.026075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_2858-3_0_3_line_129 | NAYY 4x150 SE | 127 | 130 | 0.011464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_2858-3_0_3_line_130 | NAYY 4x150 SE | 128 | 129 | 0.024077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_2858-3_0_3_line_131 | NAYY 4x150 SE | 129 | 132 | 0.018484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_2858-3_0_3_line_132 | NAYY 4x150 SE | 129 | 131 | 0.011052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_2858-3_0_3_line_133 | NAYY 4x150 SE | 130 | 131 | 0.003069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_2858-3_0_3_line_134 | NAYY 4x150 SE | 133 | 134 | 0.032262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_2858-3_0_3_line_135 | NAYY 4x150 SE | 133 | 135 | 0.096399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_2858-3_0_3_line_136 | NAYY 4x150 SE | 135 | 136 | 0.062772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_2858-3_0_3_line_137 | NAYY 4x150 SE | 136 | 138 | 0.13178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_2858-3_0_3_line_138 | NAYY 4x150 SE | 137 | 138 | 0.012943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_2858-3_0_3_line_139 | NAYY 4x150 SE | 139 | 140 | 0.0065514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_2858-3_0_3_line_140 | NAYY 4x150 SE | 139 | 141 | 0.0042455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_2858-3_0_3_line_141 | NAYY 4x150 SE | 140 | 142 | 0.0072397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_2858-3_0_3_line_142 | NAYY 4x150 SE | 141 | 143 | 0.029049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_2858-3_0_3_line_143 | NAYY 4x150 SE | 142 | 144 | 0.0086178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_2858-3_0_3_line_144 | NAYY 4x150 SE | 143 | 145 | 0.023047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_2858-3_0_3_line_145 | NAYY 4x150 SE | 145 | 146 | 0.0083936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_2858-3_0_3_line_146 | NAYY 4x150 SE | 146 | 147 | 0.011857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_2858-3_0_3_line_147 | NAYY 4x150 SE | 147 | 148 | 0.017606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_2858-3_0_3_line_148 | NAYY 4x150 SE | 148 | 149 | 0.037967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_2858-3_0_3_line_149 | NAYY 4x150 SE | 149 | 151 | 0.15809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
150 | LV_2858-3_0_3_line_150 | NAYY 4x150 SE | 149 | 150 | 0.052415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
151 | LV_2858-3_0_3_line_151 | NAYY 4x150 SE | 151 | 152 | 0.038993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
152 | LV_2858-3_0_3_line_152 | NAYY 4x150 SE | 152 | 153 | 0.014667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
153 | LV_2858-3_0_3_line_153 | NAYY 4x150 SE | 153 | 154 | 0.032093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2858-3_0_3_trafo_87 | 0.25 MVA 20/0.4 kV | 155 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2635903.6306 | 1257023.6242 | 2635926.3912 | 1257020.6669
1 | 2635894.4956 | 1257024.8112 | 2635903.6306 | 1257023.6242
2 | 2635926.3912 | 1257020.6669 | 2635933.4937 | 1257019.744 | 2635935.9687 | 1257019.6953
3 | 2635894.4956 | 1257024.8112 | 2635898.5125 | 1257031.3511 | 2635904.4661 | 1257037.3165
4 | 2635894.4956 | 1257024.8112 | 2635889.3626 | 1257014.0984
5 | 2635935.9687 | 1257019.6953 | 2635954.5403 | 1257019.3295
6 | 2635924.9915 | 1257057.443 | 2635917.3689 | 1257050.2449 | 2635904.4661 | 1257037.3165
7 | 2635889.3626 | 1257014.0984 | 2635886.0965 | 1257007.2817 | 2635881.0471 | 1257001.5836
8 | 2635939.553 | 1257071.1937 | 2635924.9915 | 1257057.443
9 | 2635864.4428 | 1257040.9379 | 2635862.7435 | 1257041.9652
10 | 2635842.523 | 1257054.189 | 2635862.7435 | 1257041.9652
11 | 2635865.3794 | 1256993.0354 | 2635876.7353 | 1256996.7178 | 2635881.0471 | 1257001.5836
12 | 2635939.553 | 1257071.1937 | 2635932.9458 | 1257071.5317 | 2635918.5887 | 1257075.0388
13 | 2635842.523 | 1257054.189 | 2635840.4658 | 1257055.4326
14 | 2635865.3794 | 1256993.0354 | 2635869.5575 | 1256987.9239 | 2635872.829 | 1256985.7516
15 | 2635858.2514 | 1256993.4593 | 2635865.3794 | 1256993.0354
16 | 2635864.3667 | 1257101.1842 | 2635865.3567 | 1257100.5162
17 | 2635864.3667 | 1257101.1842 | 2635850.9469 | 1257110.2394 | 2635849.2238 | 1257111.4785
18 | 2635881.5882 | 1257090.7251 | 2635868.3071 | 1257098.5253 | 2635865.3567 | 1257100.5162
19 | 2635833.0788 | 1257123.2873 | 2635834.8771 | 1257121.7946 | 2635849.2238 | 1257111.4785
20 | 2635881.5882 | 1257090.7251 | 2635887.27 | 1257087.388 | 2635897.4119 | 1257082.3238 | 2635915.6685 | 1257075.7521 | 2635918.5887 | 1257075.0388
21 | 2635833.0788 | 1257123.2873 | 2635821.2858 | 1257133.0761
22 | 2635816.6541 | 1257136.9206 | 2635821.2858 | 1257133.0761
23 | 2635816.6541 | 1257136.9206 | 2635807.4294 | 1257144.5777 | 2635800.8728 | 1257149.8124
24 | 2635818.7437 | 1257068.5642 | 2635840.4658 | 1257055.4326
25 | 2635818.7437 | 1257068.5642 | 2635812.0672 | 1257072.6003
26 | 2635800.8728 | 1257149.8124 | 2635798.9496 | 1257151.3479
27 | 2635812.0672 | 1257072.6003 | 2635800.9398 | 1257079.3271 | 2635792.7482 | 1257082.3683
28 | 2635886.9089 | 1256978.4606 | 2635880.4592 | 1256980.6849 | 2635872.829 | 1256985.7516
29 | 2635858.2514 | 1256993.4593 | 2635846.7907 | 1256995.9613
30 | 2635858.2514 | 1256993.4593 | 2635854.7241 | 1256999.442 | 2635854.7241 | 1256999.442
31 | 2635904.7551 | 1256973.7096 | 2635894.2413 | 1256975.9318 | 2635886.9089 | 1256978.4606
32 | 2635846.7907 | 1256995.9613 | 2635840.3122 | 1256997.3757 | 2635824.1221 | 1257000.1019 | 2635819.0745 | 1256999.3091
33 | 2635854.7241 | 1256999.442 | 2635839.1851 | 1257009.188 | 2635824.2164 | 1257018.2165
34 | 2635880.7531 | 1256831.329 | 2635896.6972 | 1256833.2046 | 2635907.2772 | 1256834.3139 | 2635917.0508 | 1256835.3516 | 2635925.5654 | 1256836.0533
35 | 2635880.7531 | 1256831.329 | 2635867.1305 | 1256829.6232
36 | 2635880.7531 | 1256831.329 | 2635879.1732 | 1256852.301
37 | 2635848.2724 | 1256829.693 | 2635852.1647 | 1256829.2991 | 2635867.1305 | 1256829.6232 | 2635867.1305 | 1256829.6232
38 | 2635879.1732 | 1256852.301 | 2635879.0476 | 1256853.9675 | 2635878.8361 | 1256856.1028
39 | 2635848.2724 | 1256829.693 | 2635840.8196 | 1256830.4472
40 | 2635872.1582 | 1256888.4271 | 2635876.9514 | 1256875.1248 | 2635878.8361 | 1256856.1028
41 | 2635828.1261 | 1256831.6981 | 2635838.9987 | 1256830.6315 | 2635840.8196 | 1256830.4472
42 | 2635872.1582 | 1256888.4271 | 2635861.7106 | 1256895.3951
43 | 2635872.1582 | 1256888.4271 | 2635894.3086 | 1256892.2863
44 | 2635819.6763 | 1256832.5271 | 2635828.1261 | 1256831.6981
45 | 2635819.6763 | 1256832.5271 | 2635815.8144 | 1256831.337
46 | 2635819.6763 | 1256832.5271 | 2635812.4717 | 1256840.6002 | 2635805.5451 | 1256845.0948
47 | 2635815.8144 | 1256831.337 | 2635811.9844 | 1256830.1568 | 2635804.5271 | 1256826.3758 | 2635800.6409 | 1256823.7696
48 | 2635799.6959 | 1256848.6207 | 2635805.5451 | 1256845.0948
49 | 2635935.0269 | 1256898.2531 | 2635929.7671 | 1256896.9819 | 2635908.8627 | 1256894.9316 | 2635895.9604 | 1256892.5741 | 2635894.3086 | 1256892.2863
50 | 2635859.9161 | 1256896.592 | 2635861.7106 | 1256895.3951
51 | 2635845.3235 | 1256903.1638 | 2635859.9161 | 1256896.592
52 | 2635873.8536 | 1256898.5777 | 2635865.4168 | 1256898.4376 | 2635859.9161 | 1256896.592
53 | 2635921.653 | 1256970.1382 | 2635904.7551 | 1256973.7096
54 | 2635873.8536 | 1256898.5777 | 2635880.8993 | 1256899.3208 | 2635890.2584 | 1256903.8016
55 | 2635845.3235 | 1256903.1638 | 2635839.3512 | 1256890.7636 | 2635839.3512 | 1256890.7636
56 | 2635845.3235 | 1256903.1638 | 2635842.3185 | 1256917.6856
57 | 2635836.6403 | 1256880.6544 | 2635839.3512 | 1256890.7636
58 | 2635842.3185 | 1256917.6856 | 2635840.4611 | 1256926.6615 | 2635839.0218 | 1256929.0587
59 | 2635834.9713 | 1256935.8045 | 2635839.0218 | 1256929.0587
60 | 2635786.9124 | 1257042.3505 | 2635773.7663 | 1257019.2442
61 | 2635786.9124 | 1257042.3505 | 2635780.3812 | 1257046.7703
62 | 2635773.7663 | 1257019.2442 | 2635768.0313 | 1257021.2332 | 2635740.9262 | 1257036.6861
63 | 2635773.7663 | 1257019.2442 | 2635784.5246 | 1257008.2572 | 2635786.5772 | 1257005.9772
64 | 2635763.6612 | 1257056.9312 | 2635768.4618 | 1257054.8365 | 2635780.3812 | 1257046.7703
65 | 2635819.0745 | 1256999.3091 | 2635810.7961 | 1256998.0088
66 | 2635735.0504 | 1257040.036 | 2635740.9262 | 1257036.6861
67 | 2635799.6081 | 1256991.5035 | 2635786.5772 | 1257005.9772
68 | 2635763.6612 | 1257056.9312 | 2635767.1818 | 1257064.6033
69 | 2635799.6081 | 1256991.5035 | 2635810.7961 | 1256998.0088
70 | 2635834.9713 | 1256935.8045 | 2635821.0183 | 1256959.0423
71 | 2635821.0183 | 1256959.0423 | 2635815.8354 | 1256967.6741 | 2635814.1824 | 1256970.1016
72 | 2635814.1824 | 1256970.1016 | 2635813.7125 | 1256970.7915
73 | 2635773.558 | 1256760.0219 | 2635769.3261 | 1256759.3508 | 2635757.3297 | 1256759.2784 | 2635754.8753 | 1256759.8641
74 | 2635789.9325 | 1256767.125 | 2635785.3423 | 1256764.3064 | 2635779.2399 | 1256760.9228 | 2635773.558 | 1256760.0219
75 | 2635754.8753 | 1256759.8641 | 2635742.1515 | 1256762.9004 | 2635737.1235 | 1256764.4098
76 | 2635789.9325 | 1256767.125 | 2635793.9371 | 1256762.0457 | 2635797.1813 | 1256759.1073
77 | 2635789.9325 | 1256767.125 | 2635786.5748 | 1256771.2297 | 2635785.4938 | 1256775.4261 | 2635784.5694 | 1256781.1688 | 2635784.66 | 1256783.8516
78 | 2635723.7798 | 1256768.4157 | 2635737.1235 | 1256764.4098
79 | 2635800.0634 | 1256756.4969 | 2635797.1813 | 1256759.1073
80 | 2635784.9032 | 1256791.0478 | 2635784.66 | 1256783.8516
81 | 2635723.7798 | 1256768.4157 | 2635695.3106 | 1256781.5754 | 2635692.3562 | 1256783.6672
82 | 2635723.7798 | 1256768.4157 | 2635718.3319 | 1256767.7713 | 2635710.5039 | 1256770.5183
83 | 2635784.9032 | 1256791.0478 | 2635784.9686 | 1256792.9839
84 | 2635781.9751 | 1256814.9318 | 2635783.5804 | 1256811.3168 | 2635784.5849 | 1256804.8073 | 2635785.1195 | 1256797.45 | 2635784.9686 | 1256792.9839
85 | 2635781.9751 | 1256814.9318 | 2635777.2875 | 1256822.0084 | 2635773.4332 | 1256825.9322 | 2635768.9728 | 1256829.1075 | 2635767.9862 | 1256829.7398
86 | 2635781.9751 | 1256814.9318 | 2635789.6366 | 1256817.3575 | 2635793.4918 | 1256819.3059
87 | 2635759.1776 | 1256835.386 | 2635767.9862 | 1256829.7398
88 | 2635793.7061 | 1256819.4142 | 2635793.4918 | 1256819.3059
89 | 2635759.1776 | 1256835.386 | 2635766.0433 | 1256849.7261 | 2635769.0215 | 1256853.0496
90 | 2635759.1776 | 1256835.386 | 2635756.4761 | 1256836.9819
91 | 2635793.7061 | 1256819.4142 | 2635795.4927 | 1256820.3171 | 2635800.6409 | 1256823.7696
92 | 2635609.5728 | 1256847.2935 | 2635595.3736 | 1256853.6793 | 2635586.5521 | 1256856.0724 | 2635579.7608 | 1256856.8988 | 2635572.0992 | 1256856.9974 | 2635572.0992 | 1256856.9974
93 | 2635681.5303 | 1256862.3365 | 2635609.5728 | 1256847.2935
94 | 2635529.5828 | 1256832.8967 | 2635532.9125 | 1256834.2913 | 2635550.1595 | 1256847.7594 | 2635563.0087 | 1256855.2194 | 2635572.0992 | 1256856.9974
95 | 2635681.5303 | 1256862.3365 | 2635701.7063 | 1256851.4061 | 2635710.137 | 1256865.0662
96 | 2635505.9821 | 1256832.3444 | 2635512.0324 | 1256830.6414 | 2635521.4121 | 1256829.4746 | 2635529.5828 | 1256832.8967
97 | 2635710.137 | 1256865.0662 | 2635727.1222 | 1256854.3501 | 2635756.4761 | 1256836.9819
98 | 2635633.1402 | 1256961.2327 | 2635615.2632 | 1256923.0808
99 | 2635628.5121 | 1256963.2274 | 2635633.1402 | 1256961.2327
100 | 2635679.7071 | 1256942.2319 | 2635666.1585 | 1256947.0019 | 2635633.1402 | 1256961.2327
101 | 2635756.4761 | 1256836.9819 | 2635754.7421 | 1256834.4252 | 2635752.2154 | 1256830.7853 | 2635749.2179 | 1256827.7096 | 2635748.49 | 1256827.0305
102 | 2635777.2032 | 1256862.1797 | 2635769.0215 | 1256853.0496
103 | 2635777.2032 | 1256862.1797 | 2635768.1292 | 1256871.4091 | 2635766.9635 | 1256872.9577
104 | 2635760.9599 | 1256880.9332 | 2635766.9635 | 1256872.9577
105 | 2635749.4988 | 1256954.7919 | 2635732.8111 | 1256961.2686
106 | 2635749.4988 | 1256954.7919 | 2635754.6064 | 1256952.8095
107 | 2635728.9271 | 1256952.6504 | 2635732.8111 | 1256961.2686 | 2635732.8111 | 1256961.2686
108 | 2635720.4693 | 1256927.2487 | 2635728.9271 | 1256952.6504
109 | 2635728.9271 | 1256952.6504 | 2635718.1554 | 1256957.1108 | 2635710.3608 | 1256960.4608
110 | 2635720.4693 | 1256927.2487 | 2635704.5368 | 1256933.4903 | 2635679.7071 | 1256942.2319
111 | 2635720.4693 | 1256927.2487 | 2635733.706 | 1256915.4204 | 2635746.3668 | 1256900.3198 | 2635746.4478 | 1256900.2121
112 | 2635701.6135 | 1256964.2202 | 2635710.3608 | 1256960.4608
113 | 2635760.9599 | 1256880.9332 | 2635746.4478 | 1256900.2121
114 | 2635701.6135 | 1256964.2202 | 2635688.6659 | 1256969.7849
115 | 2635813.7125 | 1256970.7915 | 2635805.6705 | 1256982.601
116 | 2635799.6081 | 1256991.5035 | 2635805.6705 | 1256982.601
117 | 2635628.5121 | 1256963.2274 | 2635612.068 | 1256970.3148 | 2635595.5843 | 1256977.9766 | 2635580.367 | 1256987.8777
118 | 2635672.891 | 1256976.5374 | 2635673.8399 | 1256976.1569 | 2635688.6659 | 1256969.7849
119 | 2635664.3052 | 1256979.9797 | 2635672.891 | 1256976.5374
120 | 2635664.3052 | 1256979.9797 | 2635656.3925 | 1256983.1522
121 | 2635644.5509 | 1256987.8999 | 2635656.3925 | 1256983.1522
122 | 2635580.367 | 1256987.8777 | 2635575.9937 | 1256990.7233 | 2635563.496 | 1256996.3521 | 2635557.6132 | 1256998.5655
123 | 2635557.6132 | 1256998.5655 | 2635533.6525 | 1257007.5808 | 2635532.5568 | 1257008.1613
124 | 2635682.8289 | 1257045.4585 | 2635691.455 | 1257043.5313 | 2635692.355 | 1257043.4151
125 | 2635665.4144 | 1257049.2642 | 2635669.5516 | 1257048.425 | 2635682.8289 | 1257045.4585
126 | 2635692.355 | 1257043.4151 | 2635703.1947 | 1257042.016
127 | 2635708.974 | 1257041.7244 | 2635704.7057 | 1257041.821 | 2635703.1947 | 1257042.016
128 | 2635735.0504 | 1257040.036 | 2635721.0849 | 1257041.475 | 2635708.974 | 1257041.7244
129 | 2635771.102 | 1257075.3568 | 2635768.7367 | 1257067.9916 | 2635767.1818 | 1257064.6033
130 | 2635775.4197 | 1257088.8018 | 2635760.5824 | 1257094.7941 | 2635753.0994 | 1257097.8288
131 | 2635775.4197 | 1257088.8018 | 2635792.7482 | 1257082.3683
132 | 2635775.4197 | 1257088.8018 | 2635772.0403 | 1257078.2788
133 | 2635771.102 | 1257075.3568 | 2635772.0403 | 1257078.2788
134 | 2635770.1702 | 1257162.7318 | 2635778.6619 | 1257162.4495 | 2635787.0561 | 1257160.8435 | 2635798.9496 | 1257151.3479
135 | 2635770.1702 | 1257162.7318 | 2635675.0353 | 1257178.2913
136 | 2635675.0353 | 1257178.2913 | 2635658.8675 | 1257187.4225 | 2635646.9382 | 1257190.1081 | 2635632.3593 | 1257194.5791 | 2635621.0224 | 1257199.0696 | 2635616.4469 | 1257200.1206
137 | 2635485.6847 | 1257183.7708 | 2635616.4469 | 1257200.1206
138 | 2635485.6847 | 1257183.7708 | 2635475.6282 | 1257189.3354 | 2635474.397 | 1257190.1009
139 | 2635512.75 | 1257018.642 | 2635513.3578 | 1257018.3332 | 2635518.5445 | 1257015.5852
140 | 2635508.9649 | 1257020.5649 | 2635512.75 | 1257018.642
141 | 2635524.9418 | 1257012.1959 | 2635518.5445 | 1257015.5852
142 | 2635508.9649 | 1257020.5649 | 2635505.6358 | 1257022.2563 | 2635498.7605 | 1257027.074 | 2635486.9349 | 1257039.1744
143 | 2635524.9418 | 1257012.1959 | 2635532.5568 | 1257008.1613
144 | 2635486.9349 | 1257039.1744 | 2635473.7625 | 1257052.6529 | 2635470.5482 | 1257055.3574
145 | 2635464.1256 | 1257060.7614 | 2635470.5482 | 1257055.3574
146 | 2635464.1256 | 1257060.7614 | 2635461.7434 | 1257062.7657 | 2635454.1885 | 1257067.1675
147 | 2635437.1399 | 1257070.3682 | 2635451.0898 | 1257068.9729 | 2635454.1885 | 1257067.1675
148 | 2635428.3846 | 1257035.2696 | 2635436.5279 | 1257045.3697 | 2635437.1399 | 1257070.3682
149 | 2635428.3846 | 1257035.2696 | 2635306.1613 | 1256934.9941
150 | 2635428.3846 | 1257035.2696 | 2635449.5368 | 1257022.3206 | 2635473.1744 | 1257008.0443
151 | 2635306.1613 | 1256934.9941 | 2635267.8852 | 1256942.436
152 | 2635267.8852 | 1256942.436 | 2635258.1649 | 1256944.3259 | 2635253.5138 | 1256945.3592
153 | 2635253.5138 | 1256945.3592 | 2635241.2524 | 1256948.0834 | 2635222.3298 | 1256952.9272

## bus_geodata
| x | y | coords
0 | 2635903.6306 | 1257023.6242
1 | 2635926.3912 | 1257020.6669
2 | 2635894.4956 | 1257024.8112
3 | 2635935.9687 | 1257019.6953
4 | 2635904.4661 | 1257037.3165
5 | 2635889.3626 | 1257014.0984
6 | 2635954.5403 | 1257019.3295
7 | 2635924.9915 | 1257057.443
8 | 2635864.4428 | 1257040.9379
9 | 2635862.7435 | 1257041.9652
10 | 2635881.0471 | 1257001.5836
11 | 2635939.553 | 1257071.1937
12 | 2635842.5229 | 1257054.189
13 | 2635865.3794 | 1256993.0354
14 | 2635864.3667 | 1257101.1842
15 | 2635865.3567 | 1257100.5162
16 | 2635849.2238 | 1257111.4785
17 | 2635881.5882 | 1257090.7251
18 | 2635833.0788 | 1257123.2873
19 | 2635918.5887 | 1257075.0388
20 | 2635821.2858 | 1257133.0761
21 | 2635816.6541 | 1257136.9206
22 | 2635840.4658 | 1257055.4326
23 | 2635818.7437 | 1257068.5642
24 | 2635800.8728 | 1257149.8124
25 | 2635812.0672 | 1257072.6003
26 | 2635872.829 | 1256985.7516
27 | 2635858.2514 | 1256993.4593
28 | 2635886.9089 | 1256978.4606
29 | 2635846.7907 | 1256995.9613
30 | 2635854.7241 | 1256999.442
31 | 2635925.5654 | 1256836.0533
32 | 2635880.7531 | 1256831.329
33 | 2635867.1304 | 1256829.6232
34 | 2635879.1732 | 1256852.301
35 | 2635848.2724 | 1256829.693
36 | 2635878.8361 | 1256856.1028
37 | 2635840.8196 | 1256830.4472
38 | 2635872.1582 | 1256888.4271
39 | 2635828.1261 | 1256831.6981
40 | 2635819.6763 | 1256832.5271
41 | 2635815.8144 | 1256831.337
42 | 2635805.5451 | 1256845.0948
43 | 2635935.0269 | 1256898.2531
44 | 2635894.3086 | 1256892.2863
45 | 2635861.7106 | 1256895.3951
46 | 2635859.9161 | 1256896.592
47 | 2635921.653 | 1256970.1382
48 | 2635904.7551 | 1256973.7096
49 | 2635873.8536 | 1256898.5777
50 | 2635890.2584 | 1256903.8016
51 | 2635845.3235 | 1256903.1638
52 | 2635839.3512 | 1256890.7636
53 | 2635842.3185 | 1256917.6856
54 | 2635836.6403 | 1256880.6544
55 | 2635839.0218 | 1256929.0587
56 | 2635824.2164 | 1257018.2165
57 | 2635786.9124 | 1257042.3505
58 | 2635773.7663 | 1257019.2442
59 | 2635780.3812 | 1257046.7703
60 | 2635819.0745 | 1256999.3091
61 | 2635740.9262 | 1257036.6861
62 | 2635786.5772 | 1257005.9772
63 | 2635763.6612 | 1257056.9312
64 | 2635810.7961 | 1256998.0088
65 | 2635834.9713 | 1256935.8045
66 | 2635821.0183 | 1256959.0423
67 | 2635814.1824 | 1256970.1016
68 | 2635773.558 | 1256760.0219
69 | 2635754.8753 | 1256759.8641
70 | 2635789.9325 | 1256767.125
71 | 2635737.1235 | 1256764.4098
72 | 2635797.1813 | 1256759.1073
73 | 2635784.66 | 1256783.8516
74 | 2635723.7798 | 1256768.4157
75 | 2635800.0634 | 1256756.4969
76 | 2635784.9032 | 1256791.0478
77 | 2635692.3562 | 1256783.6672
78 | 2635710.5039 | 1256770.5183
79 | 2635784.9686 | 1256792.9839
80 | 2635781.9751 | 1256814.9318
81 | 2635767.9862 | 1256829.7398
82 | 2635793.4918 | 1256819.3059
83 | 2635759.1776 | 1256835.386
84 | 2635793.7061 | 1256819.4142
85 | 2635609.5728 | 1256847.2935
86 | 2635572.0992 | 1256856.9974
87 | 2635681.5303 | 1256862.3365
88 | 2635529.5828 | 1256832.8967
89 | 2635710.137 | 1256865.0662
90 | 2635505.9821 | 1256832.3444
91 | 2635615.2632 | 1256923.0808
92 | 2635633.1402 | 1256961.2327
93 | 2635748.49 | 1256827.0305
94 | 2635756.4761 | 1256836.9819
95 | 2635769.0215 | 1256853.0496
96 | 2635777.2032 | 1256862.1797
97 | 2635800.6409 | 1256823.7696
98 | 2635799.6959 | 1256848.6207
99 | 2635766.9635 | 1256872.9577
100 | 2635749.4988 | 1256954.7919
101 | 2635732.8111 | 1256961.2686
102 | 2635754.6064 | 1256952.8095
103 | 2635728.9271 | 1256952.6504
104 | 2635720.4693 | 1256927.2487
105 | 2635710.3608 | 1256960.4608
106 | 2635679.7071 | 1256942.2319
107 | 2635746.4478 | 1256900.2121
108 | 2635701.6135 | 1256964.2202
109 | 2635813.7125 | 1256970.7915
110 | 2635805.6705 | 1256982.601
111 | 2635760.9599 | 1256880.9332
112 | 2635628.5121 | 1256963.2274
113 | 2635799.6081 | 1256991.5035
114 | 2635688.6659 | 1256969.7849
115 | 2635672.891 | 1256976.5374
116 | 2635664.3052 | 1256979.9797
117 | 2635656.3925 | 1256983.1522
118 | 2635580.367 | 1256987.8777
119 | 2635557.6132 | 1256998.5655
120 | 2635644.5509 | 1256987.8999
121 | 2635682.8289 | 1257045.4585
122 | 2635692.355 | 1257043.4151
123 | 2635665.4144 | 1257049.2642
124 | 2635703.1947 | 1257042.016
125 | 2635708.974 | 1257041.7244
126 | 2635735.0504 | 1257040.036
127 | 2635767.1818 | 1257064.6033
128 | 2635753.0994 | 1257097.8288
129 | 2635775.4197 | 1257088.8018
130 | 2635771.102 | 1257075.3568
131 | 2635772.0403 | 1257078.2788
132 | 2635792.7482 | 1257082.3683
133 | 2635770.1702 | 1257162.7318
134 | 2635798.9496 | 1257151.3479
135 | 2635675.0353 | 1257178.2913
136 | 2635616.4469 | 1257200.1206
137 | 2635474.397 | 1257190.1009
138 | 2635485.6847 | 1257183.7708
139 | 2635512.75 | 1257018.642
140 | 2635518.5445 | 1257015.5852
141 | 2635508.9649 | 1257020.5649
142 | 2635524.9418 | 1257012.1959
143 | 2635486.9349 | 1257039.1744
144 | 2635532.5568 | 1257008.1613
145 | 2635470.5482 | 1257055.3574
146 | 2635464.1256 | 1257060.7614
147 | 2635454.1885 | 1257067.1675
148 | 2635437.1399 | 1257070.3682
149 | 2635428.3846 | 1257035.2696
150 | 2635473.1744 | 1257008.0443
151 | 2635306.1613 | 1256934.9941
152 | 2635267.8852 | 1256942.436
153 | 2635253.5138 | 1256945.3592
154 | 2635222.3298 | 1256952.9272
155 | 2635799.6081 | 1256991.5035

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1