## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2885-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2885-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2885-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2885-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2885-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2885-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2885-1_0_2_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_2885-1_0_2_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_2885-1_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2885-1_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2885-1_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2885-1_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2885-1_0_2_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_2885-1_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2885-1_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_2885-1_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2885-1_0_2_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_2885-1_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2885-1_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2885-1_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2885-1_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_2885-1_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_2885-1_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2885-1_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_2885-1_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_2885-1_0_2_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_2885-1_0_2_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_2885-1_0_2_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_2885-1_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_2885-1_0_2_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2885-1_0_2_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2885-1_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_2885-1_0_2_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_2885-1_0_2_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_2885-1_0_2_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2885-1_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_2885-1_0_2_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_2885-1_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_2885-1_0_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2885-1_0_2_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2885-1_0_2_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_2885-1_0_2_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_2885-1_0_2_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_2885-1_0_2_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_2885-1_0_2_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_2885-1_0_2_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_2885-1_0_2_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_2885-1_0_2_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_2885-1_0_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_2885-1_0_2_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_2885-1_0_2_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_2885-1_0_2_node_58 | 0.4 | n |  | TRUE
52 | bus_MV_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2885-1_0_2_load_0 | 0 | 0.00084774 | 0.00021246 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2885-1_0_2_load_3 | 3 | 0.0044803 | 0.0011229 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2885-1_0_2_load_5 | 5 | 0.00031879 | 7.9896e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2885-1_0_2_load_47 | 7 | 0.00078105 | 0.00019575 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2885-1_0_2_load_7 | 9 | 0.00092435 | 0.00023166 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2885-1_0_2_load_9 | 10 | 0.0028469 | 0.0007135 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2885-1_0_2_load_22 | 12 | 8.3986e-05 | 2.1049e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2885-1_0_2_load_11 | 13 | 0.00065945 | 0.00016527 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2885-1_0_2_load_15 | 14 | 0.0011558 | 0.00028967 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2885-1_0_2_load_41 | 16 | 0.0031955 | 0.00080086 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2885-1_0_2_load_13 | 17 | 0.00063914 | 0.00016018 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2885-1_0_2_load_14 | 18 | 0.0010357 | 0.00025956 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2885-1_0_2_load_16 | 19 | 0.00018121 | 4.5415e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2885-1_0_2_load_17 | 20 | 0.00024591 | 6.163e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2885-1_0_2_load_18 | 21 | 0.00089646 | 0.00022467 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2885-1_0_2_load_19 | 22 | 0.00024962 | 6.2561e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2885-1_0_2_load_30 | 26 | 0.00016731 | 4.1933e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2885-1_0_2_load_49 | 27 | 0.0027842 | 0.00069779 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2885-1_0_2_load_28 | 30 | 0.00096378 | 0.00024155 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2885-1_0_2_load_29 | 31 | 0.00026435 | 6.6253e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2885-1_0_2_load_31 | 32 | 0.00016276 | 4.0791e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2885-1_0_2_load_39 | 33 | 0.0001453 | 3.6417e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2885-1_0_2_load_32 | 34 | 8.452e-05 | 2.1183e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2885-1_0_2_load_35 | 36 | 0.00014233 | 3.5671e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2885-1_0_2_load_37 | 38 | 8.5846e-05 | 2.1515e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2885-1_0_2_load_40 | 39 | 0.0002176 | 5.4537e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2885-1_0_2_load_56 | 40 | 6.8382e-05 | 1.7138e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2885-1_0_2_load_54 | 41 | 7.4715e-05 | 1.8725e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2885-1_0_2_load_42 | 42 | 0.00791 | 0.0019824 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2885-1_0_2_load_45 | 44 | 0.00037156 | 9.3122e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2885-1_0_2_load_50 | 45 | 0.00034023 | 8.5271e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2885-1_0_2_load_51 | 46 | 0.00050717 | 0.00012711 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2885-1_0_2_load_52 | 47 | 0.00014567 | 3.6508e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2885-1_0_2_load_58 | 51 | 0.00019996 | 5.0114e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2885-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2885-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.21747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2885-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.036625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2885-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.77191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2885-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2885-1_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.62822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2885-1_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.062695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2885-1_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.045748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2885-1_0_2_line_8 | NAYY 4x150 SE | 6 | 16 | 0.27194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2885-1_0_2_line_9 | NAYY 4x150 SE | 6 | 42 | 0.021031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2885-1_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.013237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2885-1_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.017553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2885-1_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.36724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2885-1_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.039061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2885-1_0_2_line_14 | NAYY 4x150 SE | 12 | 27 | 0.41861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2885-1_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.15782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2885-1_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.019337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2885-1_0_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.011431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2885-1_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.066224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2885-1_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0059632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2885-1_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.017037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2885-1_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.012233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2885-1_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.00058492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2885-1_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.019484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2885-1_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.56666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2885-1_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.46228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2885-1_0_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.048547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2885-1_0_2_line_27 | NAYY 4x150 SE | 25 | 41 | 0.060516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2885-1_0_2_line_28 | NAYY 4x150 SE | 25 | 37 | 0.1582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2885-1_0_2_line_29 | NAYY 4x150 SE | 26 | 30 | 0.033042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2885-1_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.16783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2885-1_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.39964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2885-1_0_2_line_32 | NAYY 4x150 SE | 29 | 40 | 0.085447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2885-1_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0072081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2885-1_0_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0006973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2885-1_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.20861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2885-1_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.01356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2885-1_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.10138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2885-1_0_2_line_38 | NAYY 4x150 SE | 36 | 39 | 0.010375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2885-1_0_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.082965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2885-1_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0095547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2885-1_0_2_line_41 | NAYY 4x150 SE | 40 | 50 | 0.3114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2885-1_0_2_line_42 | NAYY 4x150 SE | 41 | 50 | 0.034525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2885-1_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.01486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2885-1_0_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.041541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2885-1_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.024696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2885-1_0_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.14394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2885-1_0_2_line_47 | NAYY 4x150 SE | 46 | 48 | 0.02202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2885-1_0_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.2458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2885-1_0_2_line_49 | NAYY 4x150 SE | 48 | 50 | 0.003722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2885-1_0_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.0060212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2885-1_0_2_trafo_41 | 0.25 MVA 20/0.4 kV | 52 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63
0 | 2629363.9991 | 1246544.4755 | 2629359.6366 | 1246548.3787 | 2629350.918 | 1246556.4074 | 2629348.3539 | 1246566.2452
1 | 2629459.2561 | 1246743.6874 | 2629456.9565 | 1246742.8644 | 2629451.3644 | 1246735.8099 | 2629434.8098 | 1246698.8483 | 2629423.4743 | 1246675.6215 | 2629411.5001 | 1246657.7951 | 2629391.0018 | 1246637.6917 | 2629359.6339 | 1246608.4843 | 2629350.3469 | 1246595.5411 | 2629346.2553 | 1246587.4267 | 2629345.3245 | 1246583.1972 | 2629345.2394 | 1246580.5506 | 2629348.0846 | 1246567.2783 | 2629348.3539 | 1246566.2452
2 | 2629363.9991 | 1246544.4755 | 2629375.3978 | 1246548.9458 | 2629381.794 | 1246550.7675 | 2629389.8779 | 1246551.9527 | 2629397.5373 | 1246551.8906 | 2629399.4171 | 1246551.6106
3 | 2629361.2009 | 1247389.5994 | 2629361.9168 | 1247377.7064 | 2629362.8954 | 1247370.7289 | 2629367.5493 | 1247347.5034 | 2629374.393 | 1247304.5093 | 2629374.8486 | 1247297.9184 | 2629372.8571 | 1247268.4449 | 2629372.408 | 1247250.8424 | 2629372.6452 | 1247241.0483 | 2629373.5962 | 1247233.5592 | 2629375.2775 | 1247226.5074 | 2629382.3219 | 1247207.0963 | 2629378.8921 | 1247199.6634 | 2629375.437 | 1247195.7993 | 2629371.221 | 1247193.0878 | 2629366.8724 | 1247192.7439 | 2629362.3036 | 1247194.1778 | 2629356.7092 | 1247198.3417 | 2629344.2491 | 1247193.4214 | 2629342.0249 | 1247191.1089 | 2629341.0671 | 1247187.7687 | 2629340.8808 | 1247184.2099 | 2629342.4487 | 1247180.2373 | 2629347.4842 | 1247174.5585 | 2629350.6398 | 1247168.7258 | 2629352.2702 | 1247162.8078 | 2629354.2807 | 1247153.356 | 2629355.2423 | 1247149.814 | 2629358.0427 | 1247145.5473 | 2629363.3279 | 1247138.2465 | 2629365.6804 | 1247132.9436 | 2629367.7616 | 1247124.4483 | 2629368.3509 | 1247116.7907 | 2629368.6763 | 1247105.9631 | 2629369.2479 | 1247097.3047 | 2629376.3229 | 1247053.4112 | 2629377.999 | 1247045.9146 | 2629380.7297 | 1247040.5024 | 2629386.3622 | 1247033.2477 | 2629390.2456 | 1247026.885 | 2629391.7832 | 1247021.4224 | 2629392.6562 | 1247015.9676 | 2629392.9475 | 1247010.51 | 2629393.4744 | 1247006.2987 | 2629394.7285 | 1247001.6575 | 2629404.5956 | 1246982.7385 | 2629413.8288 | 1246969.8202 | 2629418.6787 | 1246957.4251 | 2629420.317 | 1246930.1488 | 2629421.9597 | 1246917.193 | 2629427.4377 | 1246901.5322 | 2629444.8804 | 1246862.8713 | 2629423.0815 | 1246870.6906 | 2629421.4554 | 1246860.4537 | 2629422.9948 | 1246853.1343 | 2629433.617 | 1246840.4009 | 2629438.3645 | 1246833.4644 | 2629440.676 | 1246824.2698 | 2629444.8571 | 1246817.3305 | 2629453.5725 | 1246808.3568 | 2629470.7915 | 1246796.6012 | 2629483.8472 | 1246788.205 | 2629484.6059 | 1246784.473 | 2629459.2561 | 1246743.6874
4 | 2629412.7141 | 1246549.1217 | 2629407.2884 | 1246550.4379 | 2629399.4171 | 1246551.6106
5 | 2629085.4905 | 1247478.4341 | 2629087.2213 | 1247476.6191 | 2629097.3957 | 1247467.0739 | 2629101.8781 | 1247461.6478 | 2629105.7608 | 1247455.3072 | 2629115.0541 | 1247439.0977 | 2629119.0693 | 1247428.8552 | 2629126.6329 | 1247415.7616 | 2629136.4169 | 1247402.6899 | 2629147.0216 | 1247388.5995 | 2629154.9563 | 1247381.4782 | 2629161.9731 | 1247376.7207 | 2629177.202 | 1247368.3567 | 2629183.0881 | 1247366.262 | 2629193.3252 | 1247363.9886 | 2629204.7817 | 1247362.5329 | 2629213.9037 | 1247361.2658 | 2629221.0051 | 1247359.2772 | 2629234.1369 | 1247353.5048 | 2629257.2604 | 1247340.1099 | 2629287.8733 | 1247313.4657 | 2629296.1204 | 1247304.3226 | 2629298.6844 | 1247298.9762 | 2629300.4417 | 1247291.8136 | 2629303.4239 | 1247282.8447 | 2629305.1852 | 1247274.8815 | 2629308.8698 | 1247265.905 | 2629317.4859 | 1247252.4054 | 2629348.6104 | 1247207.9969 | 2629352.0772 | 1247203.3666 | 2629356.7092 | 1247198.3417 | 2629362.3036 | 1247194.1778 | 2629366.8724 | 1247192.7439 | 2629371.221 | 1247193.0878 | 2629375.437 | 1247195.7993 | 2629378.8921 | 1247199.6634 | 2629382.3219 | 1247207.0963 | 2629375.2775 | 1247226.5074 | 2629373.5962 | 1247233.5592 | 2629372.6452 | 1247241.0483 | 2629372.408 | 1247250.8424 | 2629372.8571 | 1247268.4449 | 2629374.8486 | 1247297.9184 | 2629374.393 | 1247304.5093 | 2629367.5493 | 1247347.5034 | 2629362.8954 | 1247370.7289 | 2629361.9168 | 1247377.7064 | 2629361.2009 | 1247389.5994
6 | 2629361.2009 | 1247389.5994 | 2629369.2548 | 1247390.5065 | 2629376.4667 | 1247392.1432 | 2629380.364 | 1247393.619 | 2629382.9949 | 1247396.1226 | 2629384.9351 | 1247399.3343 | 2629386.0038 | 1247403.1309 | 2629385.7155 | 1247407.9771 | 2629383.3023 | 1247416.4151 | 2629380.7223 | 1247426.5089 | 2629380.0296 | 1247432.1758 | 2629380.0228 | 1247434.1164
7 | 2629440.5548 | 1246519.7383 | 2629439.9152 | 1246525.3388 | 2629438.6908 | 1246530.058 | 2629437.0864 | 1246535.2423 | 2629435.4893 | 1246538.9701 | 2629433.7845 | 1246541.5523 | 2629431.0547 | 1246543.6957 | 2629426.1039 | 1246545.8837 | 2629419.101 | 1246547.5723 | 2629412.7141 | 1246549.1217
8 | 2629085.4905 | 1247478.4341 | 2628862.6848 | 1247322.5251
9 | 2629085.4905 | 1247478.4341 | 2629103.5191 | 1247488.9292 | 2629103.6699 | 1247489.0077
10 | 2629440.5548 | 1246519.7383 | 2629435.7525 | 1246519.4032 | 2629432.093 | 1246518.6068 | 2629427.6973 | 1246517.0062
11 | 2628805.3175 | 1246846.6694 | 2628795.9781 | 1246861.5315
12 | 2628707.0983 | 1247217.8521 | 2628795.9781 | 1246861.5315
13 | 2628805.3175 | 1246846.6694 | 2628800.995 | 1246840.8892 | 2628795.7559 | 1246834.1038 | 2628792.176 | 1246830.9511 | 2628789.6217 | 1246824.9904 | 2628787.8309 | 1246813.1095
14 | 2628528.517 | 1247596.4573 | 2628707.0983 | 1247217.8521
15 | 2628707.0983 | 1247217.8521 | 2628800.5961 | 1247344.9924
16 | 2628787.8309 | 1246813.1095 | 2628784.9486 | 1246793.9882
17 | 2628783.3551 | 1246782.6693 | 2628784.2213 | 1246789.1632 | 2628784.9486 | 1246793.9882
18 | 2628800.5961 | 1247344.9924 | 2628807.0923 | 1247343.1894 | 2628826.8409 | 1247337.1702 | 2628852.8584 | 1247327.946 | 2628862.3996 | 1247322.7779 | 2628862.6848 | 1247322.5251
19 | 2628783.3551 | 1246782.6693 | 2628782.5667 | 1246776.7584
20 | 2628248.8581 | 1247038.5346 | 2628246.94 | 1247031.9305 | 2628244.4182 | 1247022.0883
21 | 2628241.3742 | 1247010.2404 | 2628241.4751 | 1247010.6018 | 2628244.4182 | 1247022.0883
22 | 2628241.217 | 1247009.677 | 2628241.3742 | 1247010.2404
23 | 2628230.8028 | 1246994.7519 | 2628234.3975 | 1246996.4367 | 2628238.4823 | 1246999.8806 | 2628241.217 | 1247009.677
24 | 2627861.756 | 1247157.4373 | 2627865.4882 | 1247147.5262 | 2627872.5757 | 1247127.5576 | 2627879.2624 | 1247083.5715 | 2627888.6809 | 1247062.6133 | 2627914.6887 | 1247045.7689 | 2627933.0194 | 1247024.8527 | 2627964.0436 | 1246975.7223 | 2627993.0262 | 1246895.1177 | 2628026.8339 | 1246917.3804 | 2628042.8 | 1246925.5388 | 2628052.3076 | 1246929.0526 | 2628060.7348 | 1246931.0493 | 2628079.0581 | 1246934.2602 | 2628115.0361 | 1246939.9006 | 2628127.8834 | 1246943.1191 | 2628139.6278 | 1246946.3768 | 2628155.9285 | 1246952.4135 | 2628174.4652 | 1246959.9619 | 2628186.2596 | 1246965.4102 | 2628202.9031 | 1246973.9948 | 2628207.2995 | 1246975.45 | 2628211.5551 | 1246976.3263 | 2628214.6903 | 1246976.1744 | 2628216.8832 | 1246975.6289 | 2628221.8039 | 1246982.7903 | 2628227.5338 | 1246991.3008 | 2628230.8028 | 1246994.7519
25 | 2628035.658 | 1247499.0218 | 2627991.1476 | 1247410.4877 | 2627965.4778 | 1247360.69 | 2627951.2123 | 1247336.4404 | 2627947.4339 | 1247330.4855 | 2627944.1959 | 1247326.8568 | 2627939.6576 | 1247323.4888 | 2627933.6285 | 1247320.7698 | 2627918.2002 | 1247315.6939 | 2627891.5707 | 1247309.198 | 2627857.1913 | 1247301.2982 | 2627848.5643 | 1247298.5337 | 2627843.5767 | 1247295.9531 | 2627839.537 | 1247292.5542 | 2627836.3223 | 1247288.7589 | 2627833.4017 | 1247283.4751 | 2627831.5578 | 1247277.2513 | 2627830.5606 | 1247269.2637 | 2627831.0651 | 1247264.752 | 2627832.9138 | 1247258.6678 | 2627835.1838 | 1247254.5202 | 2627838.3825 | 1247250.4659 | 2627842.7641 | 1247246.9842 | 2627855.7248 | 1247238.8063 | 2627858.1994 | 1247236.1606 | 2627859.7623 | 1247233.0437 | 2627859.9401 | 1247228.9419 | 2627859.0133 | 1247222.0442 | 2627854.4815 | 1247209.2257 | 2627852.8317 | 1247203.5032 | 2627851.9279 | 1247198.1399 | 2627851.6658 | 1247192.8241 | 2627851.9631 | 1247187.4109 | 2627852.9442 | 1247181.1336 | 2627853.1918 | 1247175.0419 | 2627852.9979 | 1247169.6931 | 2627852.2407 | 1247165.2756 | 2627854.0485 | 1247163.0826 | 2627857.1601 | 1247159.884 | 2627861.756 | 1247157.4373
26 | 2627861.756 | 1247157.4373 | 2627867.9288 | 1247155.3316 | 2627872.0686 | 1247155.1175 | 2627876.272 | 1247155.86 | 2627880.2897 | 1247157.5243 | 2627889.5105 | 1247162.5376 | 2627899.8355 | 1247168.8568 | 2627905.9933 | 1247171.3978
27 | 2628035.658 | 1247499.0218 | 2628042.0227 | 1247513.8059 | 2628045.3288 | 1247523.7613 | 2628047.7254 | 1247532.8118 | 2628050.3415 | 1247544.9432 | 2628051.9767 | 1247556.9901
28 | 2628035.658 | 1247499.0218 | 2628045.6892 | 1247495.4335 | 2628053.5677 | 1247493.5028 | 2628058.321 | 1247492.8692 | 2628064.945 | 1247492.7227 | 2628073.3477 | 1247493.3183 | 2628085.9986 | 1247494.7235 | 2628102.675 | 1247496.0699 | 2628112.2272 | 1247496.3375 | 2628122.0022 | 1247495.8279 | 2628129.2422 | 1247494.7726 | 2628137.4663 | 1247493.2216 | 2628148.3384 | 1247490.6715 | 2628154.8682 | 1247489.6907 | 2628161.168 | 1247489.4315 | 2628167.1477 | 1247489.7712 | 2628173.2795 | 1247489.8892 | 2628177.5177 | 1247489.5869 | 2628182.8779 | 1247488.3893 | 2628192.0524 | 1247485.5088
29 | 2627938.2167 | 1247178.3521 | 2627917.1257 | 1247174.7974 | 2627908.2026 | 1247172.3095 | 2627905.9933 | 1247171.3978
30 | 2628518.0806 | 1247763.8239 | 2628519.9195 | 1247701.7368 | 2628521.1666 | 1247660.6716 | 2628524.8637 | 1247628.3683 | 2628528.517 | 1247596.4573
31 | 2628426.2819 | 1247642.0713 | 2628430.5941 | 1247642.0697 | 2628436.398 | 1247641.2525 | 2628441.3565 | 1247641.91 | 2628445.504 | 1247643.1752 | 2628456.9746 | 1247649.6677 | 2628457.8307 | 1247653.83 | 2628461.0882 | 1247661.1504 | 2628485.9872 | 1247702.0519 | 2628495.726 | 1247726.3145 | 2628498.9158 | 1247736.7254 | 2628502.5945 | 1247750.6855 | 2628504.5728 | 1247760.1789 | 2628505.8675 | 1247770.4808 | 2628511.5538 | 1247830.2692 | 2628510.3777 | 1247864.4636 | 2628511.2791 | 1247884.3253 | 2628517.1218 | 1247851.7877 | 2628517.872 | 1247840.2616 | 2628519.1191 | 1247821.1663 | 2628518.0806 | 1247763.8239
32 | 2628426.2819 | 1247642.0713 | 2628421.0906 | 1247641.1459 | 2628416.0087 | 1247639.4427 | 2628405.1511 | 1247634.2318 | 2628388.4329 | 1247624.3566 | 2628352.2203 | 1247600.5196
33 | 2627938.2167 | 1247178.3521 | 2627945.3246 | 1247179.5501
34 | 2627946.0122 | 1247179.666 | 2627945.3246 | 1247179.5501
35 | 2628122.3519 | 1247237.0725 | 2628107.0166 | 1247231.463 | 2628089.3037 | 1247225.5643 | 2628078.4546 | 1247223.1447 | 2628069.9621 | 1247227.0627 | 2628051.6642 | 1247233.0468 | 2628041.8651 | 1247233.7899 | 2628032.8801 | 1247230.0562 | 2628022.8465 | 1247222.882 | 2628009.9438 | 1247207.5111 | 2627997.4691 | 1247192.6427 | 2627991.2505 | 1247185.2419 | 2627986.5017 | 1247181.6617 | 2627981.486 | 1247178.6027 | 2627971.3002 | 1247176.4422 | 2627964.4149 | 1247175.8761 | 2627962.6619 | 1247182.4721 | 2627946.0122 | 1247179.666
36 | 2628319.835 | 1247457.1537 | 2628306.6483 | 1247460.3118
37 | 2628319.835 | 1247457.1537 | 2628316.8091 | 1247445.5317 | 2628316.3407 | 1247440.8153 | 2628316.5822 | 1247436.1134 | 2628317.2603 | 1247430.1128 | 2628319.1304 | 1247424.3735 | 2628321.0755 | 1247418.7569 | 2628321.7073 | 1247414.5572 | 2628320.9282 | 1247411.6516 | 2628319.3062 | 1247409.6981 | 2628317.0219 | 1247408.8422 | 2628313.3005 | 1247408.4465 | 2628309.3875 | 1247408.6391 | 2628304.7387 | 1247409.5064 | 2628300.5624 | 1247411.0764 | 2628288.9415 | 1247416.9693 | 2628284.727 | 1247418.617 | 2628272.5603 | 1247421.7944 | 2628269.9889 | 1247422.5931
38 | 2628269.9889 | 1247422.5931 | 2628260.0805 | 1247425.6709
39 | 2628192.0524 | 1247485.5088 | 2628198.888 | 1247478.9814 | 2628206.9055 | 1247470.0581 | 2628213.4772 | 1247460.2607 | 2628222.9726 | 1247447.075 | 2628227.0463 | 1247443.2586 | 2628233.5974 | 1247439.3872 | 2628250.9707 | 1247430.7976 | 2628251.7538 | 1247430.3569
40 | 2628260.0805 | 1247425.6709 | 2628260.0805 | 1247425.6709 | 2628251.7538 | 1247430.3569
41 | 2628049.3378 | 1247591.1351 | 2628066.954 | 1247591.7187 | 2628073.334 | 1247592.0491 | 2628091.95 | 1247596.7846 | 2628114.5546 | 1247602.9067 | 2628130.5427 | 1247606.0066 | 2628145.4217 | 1247607.289 | 2628160.8185 | 1247607.6622 | 2628173.9848 | 1247607.0243 | 2628194.865 | 1247604.0881 | 2628217.8688 | 1247600.873 | 2628235.5155 | 1247596.6096 | 2628255.8981 | 1247590.3469 | 2628268.8802 | 1247587.1733 | 2628286.4111 | 1247585.0443 | 2628315.5814 | 1247584.1716 | 2628331.5033 | 1247586.8826 | 2628352.2203 | 1247600.5196
42 | 2628049.3378 | 1247591.1351 | 2628052.2911 | 1247578.2518 | 2628052.6112 | 1247561.6648 | 2628051.9767 | 1247556.9901
43 | 2629116.8525 | 1247495.8657 | 2629103.6699 | 1247489.0077
44 | 2629116.8525 | 1247495.8657 | 2629121.8455 | 1247520.2839 | 2629120.8321 | 1247526.7275 | 2629118.6936 | 1247531.6091 | 2629114.9784 | 1247534.5929
45 | 2628010.5688 | 1247568.4804 | 2628017.1126 | 1247572.0484 | 2628028.91 | 1247584.6234
46 | 2627869.9905 | 1247586.4991 | 2627888.5139 | 1247588.4984 | 2627904.3158 | 1247587.8722 | 2627915.258 | 1247586.4116 | 2627936.0552 | 1247580.2498 | 2627963.2391 | 1247571.383 | 2627981.9931 | 1247567.7356 | 2627992.1283 | 1247566.0712 | 2628008.3295 | 1247567.2594 | 2628010.5688 | 1247568.4804
47 | 2628048.226 | 1247594.6877 | 2628039.3053 | 1247591.8438 | 2628028.91 | 1247584.6234
48 | 2627837.9372 | 1247678.7976 | 2627845.9227 | 1247679.7468 | 2627858.0782 | 1247678.7921 | 2627871.9679 | 1247675.2216 | 2627891.5537 | 1247668.0422 | 2627904.7369 | 1247663.768 | 2627916.5937 | 1247662.1004 | 2627931.9885 | 1247662.8844 | 2627945.0451 | 1247664.658 | 2627956.9873 | 1247665.726 | 2627967.3013 | 1247664.5294 | 2627979.9987 | 1247662.3989 | 2627992.6764 | 1247658.0224 | 2627999.6407 | 1247654.5308 | 2628007.63 | 1247649.8876 | 2628015.5925 | 1247644.5106 | 2628024.5414 | 1247636.5699 | 2628032.3843 | 1247627.7233 | 2628039.0163 | 1247617.8593 | 2628044.0294 | 1247606.9759 | 2628048.226 | 1247594.6877
49 | 2628049.3378 | 1247591.1351 | 2628048.226 | 1247594.6877
50 | 2627837.9372 | 1247678.7976 | 2627832.1117 | 1247677.275

## bus_geodata
| x | y | coords
0 | 2629348.3539 | 1246566.2452
1 | 2629363.9991 | 1246544.4755
2 | 2629459.2562 | 1246743.6874
3 | 2629399.4171 | 1246551.6106
4 | 2629361.2009 | 1247389.5994
5 | 2629412.7141 | 1246549.1217
6 | 2629085.4905 | 1247478.4341
7 | 2629380.0228 | 1247434.1164
8 | 2629440.5548 | 1246519.7383
9 | 2629427.6973 | 1246517.0062
10 | 2628795.9781 | 1246861.5315
11 | 2628805.3175 | 1246846.6694
12 | 2628707.0983 | 1247217.8521
13 | 2628787.8309 | 1246813.1095
14 | 2628784.9486 | 1246793.9882
15 | 2628800.5961 | 1247344.9924
16 | 2628862.6848 | 1247322.5251
17 | 2628783.3551 | 1246782.6693
18 | 2628782.5667 | 1246776.7584
19 | 2628244.4182 | 1247022.0883
20 | 2628248.8581 | 1247038.5346
21 | 2628241.3742 | 1247010.2404
22 | 2628241.217 | 1247009.677
23 | 2628230.8028 | 1246994.7519
24 | 2627861.756 | 1247157.4373
25 | 2628035.658 | 1247499.0218
26 | 2627905.9933 | 1247171.3978
27 | 2628528.517 | 1247596.4573
28 | 2628518.0806 | 1247763.8239
29 | 2628426.2819 | 1247642.0713
30 | 2627938.2167 | 1247178.3521
31 | 2627945.3246 | 1247179.5501
32 | 2627946.0122 | 1247179.666
33 | 2628122.3519 | 1247237.0725
34 | 2628306.6483 | 1247460.3118
35 | 2628319.835 | 1247457.1537
36 | 2628269.9889 | 1247422.5931
37 | 2628192.0524 | 1247485.5088
38 | 2628251.7538 | 1247430.3569
39 | 2628260.0805 | 1247425.6709
40 | 2628352.2203 | 1247600.5196
41 | 2628051.9767 | 1247556.9901
42 | 2629103.6699 | 1247489.0077
43 | 2629116.8525 | 1247495.8657
44 | 2629114.9784 | 1247534.5929
45 | 2628010.5688 | 1247568.4804
46 | 2628028.91 | 1247584.6234
47 | 2627869.9905 | 1247586.4991
48 | 2628048.226 | 1247594.6877
49 | 2627837.9372 | 1247678.7976
50 | 2628049.3378 | 1247591.1351
51 | 2627832.1117 | 1247677.275
52 | 2628862.6848 | 1247322.5251

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1