## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2895-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2895-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2895-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2895-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2895-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2895-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2895-5_0_3_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_2895-5_0_3_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_2895-5_0_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_2895-5_0_3_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_2895-5_0_3_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_2895-5_0_3_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_2895-5_0_3_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_2895-5_0_3_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_2895-5_0_3_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_2895-5_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_2895-5_0_3_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_2895-5_0_3_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_2895-5_0_3_node_77 | 0.4 | n |  | TRUE
19 | bus_LV_2895-5_0_3_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_2895-5_0_3_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_2895-5_0_3_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_2895-5_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_2895-5_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_2895-5_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_2895-5_0_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_2895-5_0_3_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_2895-5_0_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_2895-5_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_2895-5_0_3_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_2895-5_0_3_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_2895-5_0_3_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_2895-5_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_2895-5_0_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_2895-5_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_2895-5_0_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_2895-5_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_2895-5_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_2895-5_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_2895-5_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_2895-5_0_3_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_2895-5_0_3_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_2895-5_0_3_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_2895-5_0_3_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_2895-5_0_3_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_2895-5_0_3_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_2895-5_0_3_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_2895-5_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_2895-5_0_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_2895-5_0_3_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_2895-5_0_3_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_2895-5_0_3_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_2895-5_0_3_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_2895-5_0_3_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_2895-5_0_3_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_2895-5_0_3_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_2895-5_0_3_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_2895-5_0_3_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_2895-5_0_3_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_2895-5_0_3_node_82 | 0.4 | n |  | TRUE
60 | bus_MV_300_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2895-5_0_3_load_0 | 0 | 0.0059549 | 0.0014924 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2895-5_0_3_load_1 | 1 | 0.0041653 | 0.0010439 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2895-5_0_3_load_3 | 3 | 0.0014232 | 0.00035669 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2895-5_0_3_load_5 | 5 | 0.0046499 | 0.0011654 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2895-5_0_3_load_38 | 7 | 0.0047849 | 0.0011992 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2895-5_0_3_load_37 | 8 | 0.0035319 | 0.00088518 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2895-5_0_3_load_51 | 9 | 0.0069734 | 0.0017477 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2895-5_0_3_load_76 | 10 | 0.0050357 | 0.0012621 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2895-5_0_3_load_63 | 12 | 0.0027447 | 0.0006879 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2895-5_0_3_load_52 | 14 | 0.0035577 | 0.00089164 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2895-5_0_3_load_75 | 16 | 0.00061673 | 0.00015457 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2895-5_0_3_load_73 | 17 | 0.0018571 | 0.00046543 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2895-5_0_3_load_83 | 19 | 0.0014253 | 0.00035722 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2895-5_0_3_load_48 | 20 | 0.001074 | 0.00026917 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2895-5_0_3_load_53 | 21 | 0.0032226 | 0.00080765 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2895-5_0_3_load_30 | 22 | 0.0031648 | 0.00079317 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2895-5_0_3_load_31 | 23 | 0.0040596 | 0.0010174 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2895-5_0_3_load_33 | 25 | 0.0018303 | 0.00045872 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2895-5_0_3_load_50 | 27 | 0.0050375 | 0.0012625 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2895-5_0_3_load_55 | 30 | 0.0035845 | 0.00089836 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2895-5_0_3_load_54 | 31 | 0.013964 | 0.0034998 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2895-5_0_3_load_39 | 32 | 0.0042896 | 0.0010751 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2895-5_0_3_load_40 | 33 | 0.00082431 | 0.00020659 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2895-5_0_3_load_41 | 34 | 0.00080182 | 0.00020095 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2895-5_0_3_load_43 | 35 | 0.00079118 | 0.00019829 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2895-5_0_3_load_49 | 36 | 0.0029601 | 0.00074188 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2895-5_0_3_load_47 | 37 | 0.00074471 | 0.00018664 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2895-5_0_3_load_44 | 38 | 0.0007939 | 0.00019897 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2895-5_0_3_load_45 | 39 | 0.00088904 | 0.00022281 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2895-5_0_3_load_46 | 40 | 0.00092664 | 0.00023224 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2895-5_0_3_load_81 | 41 | 0.0017738 | 0.00044456 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2895-5_0_3_load_79 | 42 | 0.0016754 | 0.00041991 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2895-5_0_3_load_56 | 43 | 0.0042174 | 0.001057 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2895-5_0_3_load_57 | 44 | 0.0023626 | 0.00059211 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2895-5_0_3_load_58 | 45 | 0.0020655 | 0.00051766 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2895-5_0_3_load_59 | 46 | 0.0016349 | 0.00040974 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2895-5_0_3_load_60 | 47 | 0.001129 | 0.00028295 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2895-5_0_3_load_61 | 48 | 0.0017336 | 0.00043448 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2895-5_0_3_load_62 | 49 | 0.0018687 | 0.00046834 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2895-5_0_3_load_64 | 50 | 0.0034071 | 0.0008539 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2895-5_0_3_load_65 | 51 | 0.0010416 | 0.00026105 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2895-5_0_3_load_67 | 52 | 0.0029816 | 0.00074727 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2895-5_0_3_load_69 | 53 | 0.00092293 | 0.00023131 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2895-5_0_3_load_70 | 54 | 0.0011753 | 0.00029455 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2895-5_0_3_load_71 | 55 | 0.0011609 | 0.00029094 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2895-5_0_3_load_72 | 56 | 0.00089603 | 0.00022457 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2895-5_0_3_load_74 | 57 | 0.00081817 | 0.00020505 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2895-5_0_3_load_80 | 58 | 0.0021706 | 0.00054401 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2895-5_0_3_load_82 | 59 | 0.0017977 | 0.00045054 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2895-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2895-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.034468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2895-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2895-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.034118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2895-5_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.020203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2895-5_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0039073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2895-5_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.015008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2895-5_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.054853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2895-5_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.010375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2895-5_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.013666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2895-5_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.017556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2895-5_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.020582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2895-5_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.029283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2895-5_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.20508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2895-5_0_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.0049872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2895-5_0_3_line_15 | NAYY 4x150 SE | 11 | 52 | 0.0076748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2895-5_0_3_line_16 | NAYY 4x150 SE | 11 | 51 | 0.027089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2895-5_0_3_line_17 | NAYY 4x150 SE | 13 | 28 | 0.012132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2895-5_0_3_line_18 | NAYY 4x150 SE | 13 | 25 | 0.008095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2895-5_0_3_line_19 | NAYY 4x150 SE | 14 | 21 | 0.0048211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2895-5_0_3_line_20 | NAYY 4x150 SE | 15 | 16 | 0.034072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2895-5_0_3_line_21 | NAYY 4x150 SE | 16 | 17 | 0.020237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2895-5_0_3_line_22 | NAYY 4x150 SE | 17 | 57 | 0.023392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2895-5_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.0097009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2895-5_0_3_line_24 | NAYY 4x150 SE | 18 | 20 | 0.070925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2895-5_0_3_line_25 | NAYY 4x150 SE | 20 | 41 | 0.016668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2895-5_0_3_line_26 | NAYY 4x150 SE | 20 | 40 | 0.0044001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2895-5_0_3_line_27 | NAYY 4x150 SE | 22 | 23 | 0.006233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2895-5_0_3_line_28 | NAYY 4x150 SE | 22 | 24 | 0.056799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2895-5_0_3_line_29 | NAYY 4x150 SE | 23 | 25 | 0.016808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2895-5_0_3_line_30 | NAYY 4x150 SE | 24 | 26 | 0.044968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2895-5_0_3_line_31 | NAYY 4x150 SE | 26 | 27 | 0.057939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2895-5_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.015271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2895-5_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.043429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2895-5_0_3_line_34 | NAYY 4x150 SE | 29 | 36 | 0.021894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2895-5_0_3_line_35 | NAYY 4x150 SE | 29 | 33 | 0.05383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2895-5_0_3_line_36 | NAYY 4x150 SE | 30 | 31 | 0.0038295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2895-5_0_3_line_37 | NAYY 4x150 SE | 31 | 43 | 0.0095283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2895-5_0_3_line_38 | NAYY 4x150 SE | 32 | 33 | 0.0076171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2895-5_0_3_line_39 | NAYY 4x150 SE | 32 | 34 | 0.019107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2895-5_0_3_line_40 | NAYY 4x150 SE | 34 | 35 | 0.018093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2895-5_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.028265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2895-5_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.010935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2895-5_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.012866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2895-5_0_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.019624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2895-5_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.011111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2895-5_0_3_line_46 | NAYY 4x150 SE | 42 | 58 | 0.014253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2895-5_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.12689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2895-5_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0014543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2895-5_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.013901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2895-5_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.030067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2895-5_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.011416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2895-5_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0013056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2895-5_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.011139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2895-5_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.013214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2895-5_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.034164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2895-5_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.016438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2895-5_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.014027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2895-5_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.021471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2895-5_0_3_trafo_4 | 0.25 MVA 20/0.4 kV | 60 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2623257.98 | 1247548.7888 | 2623256.1935 | 1247553.0046 | 2623254.165 | 1247558.0222 | 2623248.5048 | 1247572.0318
1 | 2623275.1459 | 1247519.1681 | 2623267.64 | 1247528.5781 | 2623265.6406 | 1247531.9502 | 2623262.6422 | 1247537.7867 | 2623257.98 | 1247548.7888
2 | 2623239.4694 | 1247594.3954 | 2623248.5048 | 1247572.0318
3 | 2623271.1844 | 1247485.5419 | 2623272.1768 | 1247494.396 | 2623272.0173 | 1247508.1264 | 2623275.1459 | 1247519.1681
4 | 2623275.1459 | 1247519.1681 | 2623286.212 | 1247510.8727 | 2623292.2344 | 1247508.7873
5 | 2623238.0058 | 1247598.0182 | 2623239.4694 | 1247594.3954
6 | 2623271.1844 | 1247485.5419 | 2623256.1976 | 1247486.3318
7 | 2623271.1844 | 1247485.5419 | 2623266.7029 | 1247451.6247 | 2623264.7756 | 1247431.0739
8 | 2623302.1222 | 1247505.7789 | 2623300.4671 | 1247505.9365 | 2623292.2344 | 1247508.7873
9 | 2623238.0058 | 1247598.0182 | 2623233.1808 | 1247610.8044
10 | 2623223.4655 | 1247589.0333 | 2623230.2515 | 1247595.6641 | 2623238.0058 | 1247598.0182
11 | 2623235.6442 | 1247487.4152 | 2623256.1976 | 1247486.3318
12 | 2623262.0415 | 1247401.9187 | 2623264.7756 | 1247431.0739
13 | 2623302.1222 | 1247505.7789 | 2623312.8043 | 1247504.7619 | 2623323.2967 | 1247506.0595 | 2623332.9624 | 1247510.1556 | 2623340.5529 | 1247513.8433 | 2623345.8107 | 1247519.223 | 2623349.1809 | 1247526.4187 | 2623350.8662 | 1247535.7091 | 2623351.3238 | 1247546.1065 | 2623349.6131 | 1247556.6955 | 2623346.1049 | 1247573.0924 | 2623342.0224 | 1247591.5216 | 2623325.4861 | 1247665.8492 | 2623323.9456 | 1247672.6855
14 | 2623231.4201 | 1247615.4704 | 2623233.1808 | 1247610.8044
15 | 2623223.4655 | 1247589.0333 | 2623216.2408 | 1247586.4438
16 | 2623223.4655 | 1247589.0333 | 2623221.9518 | 1247570.5599 | 2623221.6251 | 1247562.0125
17 | 2623250.6391 | 1247397.6825 | 2623262.0415 | 1247401.9187
18 | 2623262.0415 | 1247401.9187 | 2623262.0704 | 1247393.8238
19 | 2623323.9456 | 1247672.6855 | 2623322.8858 | 1247677.3887
20 | 2623231.4201 | 1247615.4704 | 2623202.8342 | 1247604.307 | 2623199.5665 | 1247603.4276
21 | 2623180.025 | 1247598.1682 | 2623199.5665 | 1247603.4276
22 | 2623180.025 | 1247598.1682 | 2623177.9764 | 1247597.6168 | 2623164.3337 | 1247598.6087 | 2623158.6984 | 1247603.6963
23 | 2623474.1605 | 1247411.7702 | 2623475.7417 | 1247409.1526 | 2623477.2218 | 1247405.3671 | 2623478.0685 | 1247402.9319
24 | 2623403.2602 | 1247413.6363 | 2623474.1605 | 1247411.7702
25 | 2623403.5978 | 1247396.9713 | 2623403.5978 | 1247396.9713 | 2623403.2602 | 1247413.6363
26 | 2623401.5105 | 1247417.6736 | 2623403.2602 | 1247413.6363 | 2623403.2602 | 1247413.6363
27 | 2623262.1527 | 1247370.7833 | 2623262.1304 | 1247377.0162
28 | 2623270.9006 | 1247315.0973 | 2623269.9333 | 1247317.1838 | 2623267.0624 | 1247325.1444 | 2623264.3769 | 1247337.842 | 2623262.1978 | 1247358.1577 | 2623262.1527 | 1247370.7833
29 | 2623262.0704 | 1247393.8238 | 2623262.1304 | 1247377.0162
30 | 2623270.9006 | 1247315.0973 | 2623285.9901 | 1247317.0466 | 2623301.8295 | 1247324.2133 | 2623314.2715 | 1247325.3184
31 | 2623314.2715 | 1247325.3184 | 2623337.2815 | 1247377.7092 | 2623337.4907 | 1247378.3957
32 | 2623341.9416 | 1247393.004 | 2623337.4907 | 1247378.3957
33 | 2623250.6391 | 1247397.6825 | 2623221.0463 | 1247423.5724 | 2623217.603 | 1247425.8162
34 | 2623341.9416 | 1247393.004 | 2623348.1526 | 1247411.4515 | 2623348.7461 | 1247413.8069
35 | 2623341.9416 | 1247393.004 | 2623339.3576 | 1247395.2064 | 2623328.3441 | 1247440.0255 | 2623327.6562 | 1247444.2518
36 | 2623214.073 | 1247427.2787 | 2623217.2302 | 1247426.0591 | 2623217.603 | 1247425.8162
37 | 2623214.073 | 1247427.2787 | 2623211.8449 | 1247428.1394 | 2623205.6617 | 1247429.5607 | 2623204.8736 | 1247429.6674
38 | 2623326.4326 | 1247451.77 | 2623326.4326 | 1247451.77 | 2623327.6562 | 1247444.2518
39 | 2623326.4326 | 1247451.77 | 2623328.4227 | 1247458.471 | 2623331.4419 | 1247464.6758 | 2623334.5758 | 1247468.8458
40 | 2623345.4459 | 1247483.3095 | 2623334.5758 | 1247468.8458
41 | 2623365.9911 | 1247434.0199 | 2623365.2153 | 1247433.9219 | 2623354.2089 | 1247426.9631 | 2623350.7999 | 1247421.9575 | 2623348.7461 | 1247413.8069
42 | 2623376.84 | 1247435.3908 | 2623376.84 | 1247435.3908 | 2623365.9911 | 1247434.0199
43 | 2623389.373 | 1247432.4827 | 2623389.373 | 1247432.4827 | 2623376.84 | 1247435.3908
44 | 2623389.373 | 1247432.4827 | 2623398.4739 | 1247424.6801 | 2623401.5105 | 1247417.6736
45 | 2623399.5086 | 1247386.6399 | 2623403.5978 | 1247396.9713
46 | 2623399.5086 | 1247386.6399 | 2623394.2632 | 1247373.3872
47 | 2623204.8736 | 1247429.6674 | 2623187.8668 | 1247431.9705 | 2623182.6093 | 1247432.2724 | 2623174.3184 | 1247431.9065 | 2623167.6114 | 1247430.1237 | 2623161.3057 | 1247428.0867 | 2623152.0831 | 1247424.5373 | 2623148.7705 | 1247423.8351 | 2623146.2521 | 1247424.7147 | 2623144.1742 | 1247426.9192 | 2623143.6481 | 1247430.1526 | 2623144.1119 | 1247433.223 | 2623145.8026 | 1247435.4199 | 2623148.2807 | 1247437.0973 | 2623159.4474 | 1247443.7006 | 2623166.2095 | 1247450.6982 | 2623168.8073 | 1247458.48 | 2623167.8759 | 1247464.9361 | 2623160.244 | 1247476.7403
48 | 2623222.4927 | 1247525.7345 | 2623222.2962 | 1247524.2936
49 | 2623222.4927 | 1247525.7345 | 2623223.3193 | 1247531.7957 | 2623222.4789 | 1247539.5334
50 | 2623214.5314 | 1247496.0475 | 2623219.2887 | 1247502.2386 | 2623222.2962 | 1247524.2936
51 | 2623222.4789 | 1247539.5334 | 2623221.2463 | 1247550.8829
52 | 2623213.7359 | 1247495.0123 | 2623214.5314 | 1247496.0475
53 | 2623221.2463 | 1247550.8829 | 2623221.2119 | 1247551.2 | 2623221.6251 | 1247562.0125
54 | 2623203.802 | 1247581.9854 | 2623216.2408 | 1247586.4438
55 | 2623203.802 | 1247581.9854 | 2623197.5606 | 1247579.7483 | 2623179.3139 | 1247572.2723 | 2623175.9969 | 1247565.1962
56 | 2623172.7651 | 1247549.6327 | 2623172.1762 | 1247557.0457 | 2623175.9969 | 1247565.1962
57 | 2623173.8758 | 1247535.6497 | 2623172.7651 | 1247549.6327
58 | 2623384.9095 | 1247354.067 | 2623393.6149 | 1247371.749 | 2623394.2632 | 1247373.3872

## bus_geodata
| x | y | coords
0 | 2623257.98 | 1247548.7888
1 | 2623248.5048 | 1247572.0318
2 | 2623275.1459 | 1247519.1681
3 | 2623239.4694 | 1247594.3954
4 | 2623271.1844 | 1247485.5419
5 | 2623292.2344 | 1247508.7873
6 | 2623238.0058 | 1247598.0182
7 | 2623256.1976 | 1247486.3318
8 | 2623264.7756 | 1247431.0739
9 | 2623302.1222 | 1247505.7789
10 | 2623233.1808 | 1247610.8044
11 | 2623223.4655 | 1247589.0333
12 | 2623235.6442 | 1247487.4152
13 | 2623262.0415 | 1247401.9187
14 | 2623323.9456 | 1247672.6855
15 | 2623231.4201 | 1247615.4704
16 | 2623199.5665 | 1247603.4276
17 | 2623180.025 | 1247598.1682
18 | 2623474.1605 | 1247411.7702
19 | 2623478.0685 | 1247402.9319
20 | 2623403.2602 | 1247413.6363
21 | 2623322.8858 | 1247677.3887
22 | 2623262.1527 | 1247370.7833
23 | 2623262.1304 | 1247377.0162
24 | 2623270.9006 | 1247315.0973
25 | 2623262.0704 | 1247393.8238
26 | 2623314.2715 | 1247325.3184
27 | 2623337.4907 | 1247378.3957
28 | 2623250.6391 | 1247397.6825
29 | 2623341.9416 | 1247393.004
30 | 2623217.603 | 1247425.8162
31 | 2623214.073 | 1247427.2787
32 | 2623326.4326 | 1247451.77
33 | 2623327.6562 | 1247444.2518
34 | 2623334.5758 | 1247468.8458
35 | 2623345.4459 | 1247483.3095
36 | 2623348.7461 | 1247413.8069
37 | 2623365.9911 | 1247434.0199
38 | 2623389.373 | 1247432.4827
39 | 2623376.84 | 1247435.3908
40 | 2623401.5105 | 1247417.6736
41 | 2623403.5978 | 1247396.9713
42 | 2623399.5086 | 1247386.6399
43 | 2623204.8736 | 1247429.6674
44 | 2623160.244 | 1247476.7403
45 | 2623222.4927 | 1247525.7345
46 | 2623222.2962 | 1247524.2936
47 | 2623222.4789 | 1247539.5334
48 | 2623214.5314 | 1247496.0475
49 | 2623221.2463 | 1247550.8829
50 | 2623213.7359 | 1247495.0123
51 | 2623221.6251 | 1247562.0125
52 | 2623216.2408 | 1247586.4438
53 | 2623203.802 | 1247581.9854
54 | 2623175.9969 | 1247565.1962
55 | 2623172.7651 | 1247549.6327
56 | 2623173.8758 | 1247535.6497
57 | 2623158.6984 | 1247603.6963
58 | 2623394.2632 | 1247373.3871
59 | 2623384.9095 | 1247354.067
60 | 2623275.1459 | 1247519.1681

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1