## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4163-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4163-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4163-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4163-2_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4163-2_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4163-2_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4163-2_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_4163-2_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_4163-2_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_4163-2_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_4163-2_0_4_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_4163-2_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4163-2_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_4163-2_0_4_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_4163-2_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4163-2_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4163-2_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4163-2_0_4_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_4163-2_0_4_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_4163-2_0_4_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_4163-2_0_4_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_4163-2_0_4_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_4163-2_0_4_node_87 | 0.4 | n |  | TRUE
23 | bus_LV_4163-2_0_4_node_96 | 0.4 | n |  | TRUE
24 | bus_LV_4163-2_0_4_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_4163-2_0_4_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_4163-2_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4163-2_0_4_node_97 | 0.4 | n |  | TRUE
28 | bus_LV_4163-2_0_4_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_4163-2_0_4_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_4163-2_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4163-2_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4163-2_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4163-2_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4163-2_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4163-2_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4163-2_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_4163-2_0_4_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_4163-2_0_4_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_4163-2_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4163-2_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4163-2_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4163-2_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_4163-2_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_4163-2_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_4163-2_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_4163-2_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_4163-2_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_4163-2_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_4163-2_0_4_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_4163-2_0_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_4163-2_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_4163-2_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_4163-2_0_4_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_4163-2_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_4163-2_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_4163-2_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_4163-2_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4163-2_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_4163-2_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_4163-2_0_4_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_4163-2_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_4163-2_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_4163-2_0_4_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_4163-2_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_4163-2_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4163-2_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_4163-2_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_4163-2_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_4163-2_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_4163-2_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_4163-2_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_4163-2_0_4_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_4163-2_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_4163-2_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_4163-2_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_4163-2_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_4163-2_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_4163-2_0_4_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_4163-2_0_4_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_4163-2_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_4163-2_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_4163-2_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_4163-2_0_4_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_4163-2_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_4163-2_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_4163-2_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_4163-2_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4163-2_0_4_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_4163-2_0_4_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_4163-2_0_4_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_4163-2_0_4_node_94 | 0.4 | n |  | TRUE
92 | bus_MV_304_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4163-2_0_4_load_0 | 0 | 0.0097236 | 0.002437 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4163-2_0_4_load_11 | 7 | 0.017608 | 0.0044129 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4163-2_0_4_load_14 | 9 | 0.0062932 | 0.0015772 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4163-2_0_4_load_66 | 10 | 0.0051474 | 0.0012901 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4163-2_0_4_load_6 | 11 | 0.0033975 | 0.00085149 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4163-2_0_4_load_13 | 12 | 0.00067612 | 0.00016945 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4163-2_0_4_load_65 | 17 | 0.001322 | 0.00033132 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4163-2_0_4_load_95 | 19 | 0.0034478 | 0.00086409 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4163-2_0_4_load_87 | 22 | 0.0041806 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4163-2_0_4_load_96 | 23 | 0.00485 | 0.0012155 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4163-2_0_4_load_49 | 24 | 0.00069594 | 0.00017442 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4163-2_0_4_load_48 | 25 | 0.00065003 | 0.00016291 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4163-2_0_4_load_97 | 27 | 0.0019411 | 0.00048649 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4163-2_0_4_load_44 | 29 | 0.0017973 | 0.00045044 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4163-2_0_4_load_17 | 30 | 0.01242 | 0.0031128 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4163-2_0_4_load_21 | 33 | 0.026244 | 0.0065774 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4163-2_0_4_load_22 | 34 | 0.011465 | 0.0028734 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4163-2_0_4_load_76 | 37 | 0.0044049 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4163-2_0_4_load_25 | 39 | 0.0022164 | 0.00055549 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4163-2_0_4_load_26 | 40 | 0.0021378 | 0.00053579 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4163-2_0_4_load_28 | 42 | 0.00065754 | 0.0001648 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4163-2_0_4_load_29 | 43 | 0.00085916 | 0.00021533 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4163-2_0_4_load_30 | 44 | 0.001705 | 0.00042733 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4163-2_0_4_load_31 | 45 | 0.0029622 | 0.00074239 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4163-2_0_4_load_46 | 46 | 0.0018182 | 0.00045568 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4163-2_0_4_load_47 | 48 | 0.0005997 | 0.0001503 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4163-2_0_4_load_64 | 50 | 0.002245 | 0.00056264 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4163-2_0_4_load_36 | 52 | 0.0015425 | 0.0003866 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4163-2_0_4_load_52 | 54 | 0.0011446 | 0.00028687 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4163-2_0_4_load_35 | 55 | 0.0031692 | 0.00079428 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4163-2_0_4_load_37 | 56 | 0.0028983 | 0.00072638 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4163-2_0_4_load_41 | 58 | 0.0022319 | 0.00055936 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4163-2_0_4_load_39 | 59 | 0.0033017 | 0.00082749 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4163-2_0_4_load_93 | 60 | 0.0027573 | 0.00069106 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4163-2_0_4_load_42 | 63 | 0.0041587 | 0.0010423 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4163-2_0_4_load_51 | 64 | 0.0020492 | 0.00051357 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4163-2_0_4_load_53 | 65 | 0.003209 | 0.00080426 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4163-2_0_4_load_54 | 66 | 0.0023691 | 0.00059374 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4163-2_0_4_load_56 | 67 | 0.0013134 | 0.00032917 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4163-2_0_4_load_57 | 68 | 0.0013147 | 0.0003295 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4163-2_0_4_load_58 | 69 | 0.001907 | 0.00047795 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4163-2_0_4_load_59 | 70 | 0.0029507 | 0.00073952 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4163-2_0_4_load_82 | 72 | 0.0047215 | 0.0011833 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4163-2_0_4_load_60 | 73 | 0.0012135 | 0.00030412 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4163-2_0_4_load_62 | 74 | 0.0011078 | 0.00027765 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4163-2_0_4_load_70 | 76 | 0.0017155 | 0.00042994 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4163-2_0_4_load_71 | 77 | 0.0027134 | 0.00068005 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4163-2_0_4_load_88 | 78 | 0.0042696 | 0.0010701 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4163-2_0_4_load_83 | 79 | 0.0056675 | 0.0014204 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4163-2_0_4_load_72 | 81 | 0.0045244 | 0.0011339 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4163-2_0_4_load_73 | 82 | 0.0025234 | 0.00063243 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4163-2_0_4_load_74 | 83 | 0.0033264 | 0.00083369 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4163-2_0_4_load_78 | 84 | 0.0044013 | 0.0011031 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4163-2_0_4_load_80 | 85 | 0.0033574 | 0.00084145 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4163-2_0_4_load_86 | 87 | 0.0043325 | 0.0010858 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4163-2_0_4_load_85 | 88 | 0.0022302 | 0.00055895 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4163-2_0_4_load_91 | 89 | 0.0054137 | 0.0013568 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4163-2_0_4_load_94 | 91 | 0.0026625 | 0.00066728 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 85 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4163-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4163-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4163-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4163-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.062526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4163-2_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.008944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4163-2_0_4_line_5 | NAYY 4x150 SE | 3 | 9 | 0.042506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4163-2_0_4_line_6 | NAYY 4x150 SE | 4 | 10 | 0.056368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4163-2_0_4_line_7 | NAYY 4x150 SE | 5 | 6 | 0.011722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_4163-2_0_4_line_8 | NAYY 4x150 SE | 5 | 7 | 0.03973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_4163-2_0_4_line_9 | NAYY 4x150 SE | 6 | 11 | 0.0021564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_4163-2_0_4_line_10 | NAYY 4x150 SE | 7 | 8 | 0.024024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_4163-2_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.025555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4163-2_0_4_line_12 | NAYY 4x150 SE | 10 | 13 | 0.0297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4163-2_0_4_line_13 | NAYY 4x150 SE | 11 | 14 | 0.014705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_4163-2_0_4_line_14 | NAYY 4x150 SE | 12 | 24 | 0.0077567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4163-2_0_4_line_15 | NAYY 4x150 SE | 13 | 71 | 0.013961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4163-2_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.013573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_4163-2_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.033538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_4163-2_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0044551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4163-2_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.031375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_4163-2_0_4_line_20 | NAYY 4x150 SE | 16 | 19 | 0.018329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4163-2_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.03272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4163-2_0_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.006801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4163-2_0_4_line_23 | NAYY 4x150 SE | 18 | 22 | 0.054001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_4163-2_0_4_line_24 | NAYY 4x150 SE | 19 | 23 | 0.0016854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4163-2_0_4_line_25 | NAYY 4x150 SE | 20 | 50 | 0.011714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4163-2_0_4_line_26 | NAYY 4x150 SE | 21 | 78 | 0.021363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4163-2_0_4_line_27 | NAYY 4x150 SE | 22 | 86 | 0.0036971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_4163-2_0_4_line_28 | NAYY 4x150 SE | 24 | 25 | 0.012692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4163-2_0_4_line_29 | NAYY 4x150 SE | 25 | 48 | 0.0066895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4163-2_0_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.024923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4163-2_0_4_line_31 | NAYY 4x150 SE | 26 | 28 | 0.028614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4163-2_0_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.028769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4163-2_0_4_line_33 | NAYY 4x150 SE | 29 | 43 | 0.048355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4163-2_0_4_line_34 | NAYY 4x150 SE | 30 | 31 | 0.031211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4163-2_0_4_line_35 | NAYY 4x150 SE | 31 | 32 | 0.059816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4163-2_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.039148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4163-2_0_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.016862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4163-2_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.075465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4163-2_0_4_line_39 | NAYY 4x150 SE | 35 | 36 | 0.064496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4163-2_0_4_line_40 | NAYY 4x150 SE | 36 | 37 | 0.055357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4163-2_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.059197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4163-2_0_4_line_42 | NAYY 4x150 SE | 38 | 84 | 0.025554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4163-2_0_4_line_43 | NAYY 4x150 SE | 39 | 40 | 0.020439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4163-2_0_4_line_44 | NAYY 4x150 SE | 39 | 41 | 0.046401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4163-2_0_4_line_45 | NAYY 4x150 SE | 40 | 42 | 0.0027651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4163-2_0_4_line_46 | NAYY 4x150 SE | 41 | 43 | 0.016375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4163-2_0_4_line_47 | NAYY 4x150 SE | 41 | 44 | 0.02376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4163-2_0_4_line_48 | NAYY 4x150 SE | 42 | 45 | 0.02161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4163-2_0_4_line_49 | NAYY 4x150 SE | 44 | 46 | 0.0064314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4163-2_0_4_line_50 | NAYY 4x150 SE | 45 | 47 | 0.0089817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4163-2_0_4_line_51 | NAYY 4x150 SE | 46 | 48 | 0.0072631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4163-2_0_4_line_52 | NAYY 4x150 SE | 47 | 49 | 0.01067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4163-2_0_4_line_53 | NAYY 4x150 SE | 49 | 51 | 0.05729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4163-2_0_4_line_54 | NAYY 4x150 SE | 49 | 52 | 0.017384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4163-2_0_4_line_55 | NAYY 4x150 SE | 50 | 53 | 0.010104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4163-2_0_4_line_56 | NAYY 4x150 SE | 51 | 54 | 0.015203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4163-2_0_4_line_57 | NAYY 4x150 SE | 52 | 55 | 0.0083423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4163-2_0_4_line_58 | NAYY 4x150 SE | 53 | 75 | 0.007525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4163-2_0_4_line_59 | NAYY 4x150 SE | 53 | 73 | 0.014499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4163-2_0_4_line_60 | NAYY 4x150 SE | 54 | 65 | 0.031324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4163-2_0_4_line_61 | NAYY 4x150 SE | 55 | 56 | 0.012234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4163-2_0_4_line_62 | NAYY 4x150 SE | 56 | 57 | 0.010757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4163-2_0_4_line_63 | NAYY 4x150 SE | 57 | 58 | 0.017758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4163-2_0_4_line_64 | NAYY 4x150 SE | 57 | 59 | 0.0053042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4163-2_0_4_line_65 | NAYY 4x150 SE | 58 | 60 | 0.030294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4163-2_0_4_line_66 | NAYY 4x150 SE | 59 | 61 | 0.013795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4163-2_0_4_line_67 | NAYY 4x150 SE | 61 | 62 | 0.007591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4163-2_0_4_line_68 | NAYY 4x150 SE | 62 | 64 | 0.025179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4163-2_0_4_line_69 | NAYY 4x150 SE | 63 | 64 | 0.011249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4163-2_0_4_line_70 | NAYY 4x150 SE | 65 | 66 | 0.028542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4163-2_0_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.0095862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4163-2_0_4_line_72 | NAYY 4x150 SE | 67 | 69 | 0.016016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4163-2_0_4_line_73 | NAYY 4x150 SE | 69 | 70 | 0.010018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4163-2_0_4_line_74 | NAYY 4x150 SE | 70 | 71 | 0.02444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4163-2_0_4_line_75 | NAYY 4x150 SE | 71 | 72 | 0.015371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4163-2_0_4_line_76 | NAYY 4x150 SE | 72 | 79 | 0.023091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4163-2_0_4_line_77 | NAYY 4x150 SE | 73 | 74 | 0.0092547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4163-2_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.014792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4163-2_0_4_line_79 | NAYY 4x150 SE | 76 | 77 | 0.034874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4163-2_0_4_line_80 | NAYY 4x150 SE | 77 | 81 | 0.020368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4163-2_0_4_line_81 | NAYY 4x150 SE | 78 | 80 | 5.9819e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4163-2_0_4_line_82 | NAYY 4x150 SE | 80 | 89 | 0.024154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4163-2_0_4_line_83 | NAYY 4x150 SE | 80 | 90 | 0.01727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4163-2_0_4_line_84 | NAYY 4x150 SE | 81 | 82 | 0.019431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4163-2_0_4_line_85 | NAYY 4x150 SE | 82 | 83 | 0.025935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4163-2_0_4_line_86 | NAYY 4x150 SE | 84 | 85 | 0.02349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4163-2_0_4_line_87 | NAYY 4x150 SE | 85 | 86 | 0.025246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_4163-2_0_4_line_88 | NAYY 4x150 SE | 86 | 88 | 0.02526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4163-2_0_4_line_89 | NAYY 4x150 SE | 87 | 88 | 0.038391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4163-2_0_4_line_90 | NAYY 4x150 SE | 90 | 91 | 0.029747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4163-2_0_4_trafo_80 | 0.25 MVA 20/0.4 kV | 92 | 85 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2643666.9931 | 1261774.2772 | 2643673.0114 | 1261767.35 | 2643684.6946 | 1261768.6927 | 2643694.7873 | 1261775.0304
1 | 2643711.625 | 1261785.6035 | 2643694.7873 | 1261775.0304
2 | 2643656.3482 | 1261790.4879 | 2643666.9931 | 1261774.2772
3 | 2643742.3531 | 1261731.103 | 2643711.625 | 1261785.6035
4 | 2643656.3482 | 1261790.4879 | 2643648.6297 | 1261795.0454
5 | 2643656.3482 | 1261790.4879 | 2643657.7459 | 1261794.0452 | 2643646.6365 | 1261813.9996 | 2643660.4631 | 1261821.7396
6 | 2643742.3531 | 1261731.103 | 2643723.7241 | 1261724.5496 | 2643689.1716 | 1261712.4205
7 | 2643595.7639 | 1261745.7543 | 2643605.9294 | 1261751.6445
8 | 2643605.9294 | 1261751.6445 | 2643610.5099 | 1261768.0342 | 2643615.5349 | 1261771.1512 | 2643629.2905 | 1261780.7942
9 | 2643595.7639 | 1261745.7543 | 2643593.8508 | 1261744.7591
10 | 2643648.6297 | 1261795.0454 | 2643632.1898 | 1261782.8267 | 2643629.2905 | 1261780.7942
11 | 2643648.6297 | 1261795.0454 | 2643638.8379 | 1261800.8217 | 2643630.6027 | 1261806.9876 | 2643628.1589 | 1261810.0248
12 | 2643661.1482 | 1261702.5834 | 2643689.1716 | 1261712.4205
13 | 2643580.8054 | 1261737.972 | 2643593.8508 | 1261744.7591
14 | 2643623.3427 | 1261816.1044 | 2643624.6793 | 1261814.3492 | 2643628.1589 | 1261810.0248
15 | 2643666.4573 | 1261689.669 | 2643663.616 | 1261696.9309 | 2643661.1482 | 1261702.5834
16 | 2643567.2115 | 1261737.2381 | 2643580.8054 | 1261737.972
17 | 2643567.2115 | 1261737.2381 | 2643574.8196 | 1261715.9569 | 2643578.6471 | 1261705.7111
18 | 2643567.2115 | 1261737.2381 | 2643565.1167 | 1261739.3242 | 2643563.6383 | 1261739.0778
19 | 2643578.6471 | 1261705.7111 | 2643587.7471 | 1261681.3609 | 2643589.0514 | 1261676.1335
20 | 2643578.6471 | 1261705.7111 | 2643561.5568 | 1261699.0888
21 | 2643534.1426 | 1261725.0863 | 2643561.8357 | 1261738.7774 | 2643563.6383 | 1261739.0778
22 | 2643589.0514 | 1261676.1335 | 2643595.4534 | 1261678.4823
23 | 2643589.0514 | 1261676.1335 | 2643550.8778 | 1261663.4547 | 2643537.4703 | 1261660.2878
24 | 2643559.9852 | 1261698.4798 | 2643561.5568 | 1261699.0888
25 | 2643534.1426 | 1261725.0863 | 2643523.3846 | 1261720.4524
26 | 2643595.4534 | 1261678.4823 | 2643600.43 | 1261657.7069
27 | 2643533.8722 | 1261659.4379 | 2643537.4703 | 1261660.2878
28 | 2643615.6531 | 1261826.2018 | 2643623.3427 | 1261816.1044
29 | 2643611.589 | 1261831.5151 | 2643612.1417 | 1261830.8129 | 2643615.6531 | 1261826.2018
30 | 2643668.9173 | 1261893.309 | 2643669.2745 | 1261881.6589 | 2643675.5763 | 1261869.9749
31 | 2643668.9173 | 1261893.309 | 2643660.5778 | 1261903.4102 | 2643652.8091 | 1261916.8401
32 | 2643652.8091 | 1261916.8401 | 2643627.6946 | 1261902.8067
33 | 2643627.6946 | 1261902.8067 | 2643618.9925 | 1261897.9442 | 2643612.9482 | 1261893.1074 | 2643608.4697 | 1261887.4148 | 2643596.5261 | 1261867.2898
34 | 2643329.3273 | 1261454.9931 | 2643316.3716 | 1261483.3884
35 | 2643329.3273 | 1261454.9931 | 2643336.6249 | 1261439.0018 | 2643339.5478 | 1261440.1018 | 2643341.1399 | 1261436.6999 | 2643345.1292 | 1261438.2858 | 2643366.0648 | 1261461.3332
36 | 2643329.3273 | 1261454.9931 | 2643320.7035 | 1261451.4386 | 2643313.9576 | 1261453.8353 | 2643311.4638 | 1261446.612 | 2643304.9121 | 1261449.2215 | 2643301.6123 | 1261441.97
37 | 2643366.0648 | 1261461.3332 | 2643381.4942 | 1261468.1338
38 | 2643450.8394 | 1261497.9027 | 2643382.9706 | 1261468.7845 | 2643381.4942 | 1261468.1338
39 | 2643490.323 | 1261532.417 | 2643494.6569 | 1261515.8149 | 2643450.8394 | 1261497.9027
40 | 2643490.323 | 1261532.417 | 2643476.279 | 1261585.9628
41 | 2643461.3674 | 1261643.2493 | 2643462.2001 | 1261639.6418 | 2643476.279 | 1261585.9628
42 | 2643461.3674 | 1261643.2493 | 2643486.3077 | 1261648.8179
43 | 2643553.2243 | 1261796.3123 | 2643555.8456 | 1261799.2095 | 2643564.3365 | 1261813.3942
44 | 2643588.1688 | 1261853.2078 | 2643564.3365 | 1261813.3942
45 | 2643551.3691 | 1261794.2619 | 2643553.2243 | 1261796.3123
46 | 2643588.1688 | 1261853.2078 | 2643596.5261 | 1261867.2898
47 | 2643588.1688 | 1261853.2078 | 2643590.788 | 1261851.5147 | 2643592.9838 | 1261855.1557 | 2643603.1197 | 1261842.2766
48 | 2643551.3691 | 1261794.2619 | 2643551.3691 | 1261794.2619 | 2643545.3221 | 1261790.7928 | 2643538.4041 | 1261788.9517 | 2643531.9271 | 1261788.6372 | 2643530.9374 | 1261788.5334
49 | 2643603.1197 | 1261842.2766 | 2643607.0971 | 1261837.2227
50 | 2643522.0046 | 1261787.5968 | 2643530.9374 | 1261788.5334
51 | 2643607.0971 | 1261837.2227 | 2643611.589 | 1261831.5151
52 | 2643511.6809 | 1261784.7856 | 2643522.0046 | 1261787.5968
53 | 2643511.6809 | 1261784.7856 | 2643507.0448 | 1261792.3013 | 2643496.6223 | 1261811.1158 | 2643486.2462 | 1261829.775 | 2643483.2952 | 1261834.579
54 | 2643511.6809 | 1261784.7856 | 2643507.3548 | 1261778.8385 | 2643502.6224 | 1261772.8106 | 2643500.9609 | 1261771.1252
55 | 2643514.1046 | 1261716.4551 | 2643523.3846 | 1261720.4524
56 | 2643483.2952 | 1261834.579 | 2643477.0572 | 1261828.3954 | 2643471.5374 | 1261825.1181
57 | 2643500.9609 | 1261771.1252 | 2643498.8682 | 1261769.0025 | 2643493.9847 | 1261766.7895
58 | 2643514.1046 | 1261716.4551 | 2643510.7707 | 1261714.9184 | 2643507.9573 | 1261712.2625
59 | 2643514.1046 | 1261716.4551 | 2643509.6114 | 1261730.2401
60 | 2643471.5374 | 1261825.1181 | 2643444.6031 | 1261809.1261
61 | 2643483.051 | 1261761.3022 | 2643493.2814 | 1261766.4708 | 2643493.9847 | 1261766.7895
62 | 2643473.4496 | 1261756.4514 | 2643483.051 | 1261761.3022
63 | 2643473.4496 | 1261756.4514 | 2643476.4663 | 1261738.9519
64 | 2643473.4496 | 1261756.4514 | 2643468.7194 | 1261754.0512
65 | 2643488.0284 | 1261714.4176 | 2643482.6131 | 1261715.1895 | 2643479.6981 | 1261720.205 | 2643476.4663 | 1261738.9519
66 | 2643456.4179 | 1261747.8092 | 2643468.7194 | 1261754.0512
67 | 2643449.571 | 1261744.4899 | 2643456.4179 | 1261747.8092
68 | 2643449.571 | 1261744.4899 | 2643440.2317 | 1261734.8256 | 2643439.3687 | 1261729.2265 | 2643441.9017 | 1261723.7054
69 | 2643441.9017 | 1261723.7054 | 2643442.5463 | 1261722.3004 | 2643447.2748 | 1261718.5992 | 2643450.3565 | 1261718.5773 | 2643450.9367 | 1261718.7852
70 | 2643444.6031 | 1261809.1261 | 2643420.0609 | 1261794.5544
71 | 2643710.5528 | 1261665.3276 | 2643718.6885 | 1261660.2575
72 | 2643710.5528 | 1261665.3276 | 2643696.96 | 1261673.7986
73 | 2643688.4582 | 1261679.0969 | 2643696.96 | 1261673.7986
74 | 2643666.4573 | 1261689.669 | 2643674.4676 | 1261686.4258 | 2643687.287 | 1261679.8268 | 2643688.4582 | 1261679.0969
75 | 2643666.4573 | 1261689.669 | 2643666.034 | 1261678.6247 | 2643665.2699 | 1261674.374
76 | 2643665.2699 | 1261674.374 | 2643661.1846 | 1261651.6475
77 | 2643506.7433 | 1261739.0392 | 2643509.6114 | 1261730.2401
78 | 2643507.9573 | 1261712.2625 | 2643500.7098 | 1261706.0493 | 2643499.3056 | 1261704.3823 | 2643496.5124 | 1261703.1179
79 | 2643496.5124 | 1261703.1179 | 2643475.2608 | 1261693.498 | 2643465.0834 | 1261688.0436
80 | 2643446.6066 | 1261679.5533 | 2643456.5814 | 1261683.4871 | 2643465.0834 | 1261688.0436
81 | 2643600.444 | 1261657.6487 | 2643600.43 | 1261657.7069
82 | 2643600.444 | 1261657.6487 | 2643577.0196 | 1261651.7572
83 | 2643604.4329 | 1261640.844 | 2643600.444 | 1261657.6487
84 | 2643446.6066 | 1261679.5533 | 2643428.5301 | 1261672.4244
85 | 2643404.4033 | 1261662.9095 | 2643428.5301 | 1261672.4244
86 | 2643486.3077 | 1261648.8179 | 2643509.2331 | 1261653.9366
87 | 2643533.8722 | 1261659.4379 | 2643509.2331 | 1261653.9366
88 | 2643533.8722 | 1261659.4379 | 2643534.9629 | 1261655.5876 | 2643539.886 | 1261634.9074
89 | 2643539.886 | 1261634.9074 | 2643548.7768 | 1261597.5604
90 | 2643604.4329 | 1261640.844 | 2643608.3101 | 1261624.9057 | 2643595.3317 | 1261621.8052

## bus_geodata
| x | y | coords
0 | 2643694.7873 | 1261775.0304
1 | 2643666.9931 | 1261774.2772
2 | 2643711.625 | 1261785.6035
3 | 2643656.3482 | 1261790.4879
4 | 2643742.3531 | 1261731.103
5 | 2643605.9294 | 1261751.6445
6 | 2643595.7639 | 1261745.7543
7 | 2643629.2905 | 1261780.7942
8 | 2643648.6297 | 1261795.0454
9 | 2643660.4631 | 1261821.7396
10 | 2643689.1716 | 1261712.4205
11 | 2643593.8508 | 1261744.7591
12 | 2643628.1589 | 1261810.0248
13 | 2643661.1482 | 1261702.5834
14 | 2643580.8054 | 1261737.972
15 | 2643567.2115 | 1261737.2381
16 | 2643578.6471 | 1261705.7111
17 | 2643563.6383 | 1261739.0778
18 | 2643589.0514 | 1261676.1335
19 | 2643561.5568 | 1261699.0888
20 | 2643534.1426 | 1261725.0863
21 | 2643595.4534 | 1261678.4823
22 | 2643537.4703 | 1261660.2878
23 | 2643559.9852 | 1261698.4798
24 | 2643623.3427 | 1261816.1044
25 | 2643615.6531 | 1261826.2018
26 | 2643668.9173 | 1261893.309
27 | 2643675.5763 | 1261869.9749
28 | 2643652.8091 | 1261916.8401
29 | 2643627.6946 | 1261902.8067
30 | 2643316.3716 | 1261483.3884
31 | 2643329.3273 | 1261454.9931
32 | 2643366.0648 | 1261461.3332
33 | 2643301.6123 | 1261441.97
34 | 2643381.4942 | 1261468.1338
35 | 2643450.8394 | 1261497.9027
36 | 2643490.323 | 1261532.417
37 | 2643476.279 | 1261585.9628
38 | 2643461.3674 | 1261643.2493
39 | 2643564.3365 | 1261813.3942
40 | 2643553.2243 | 1261796.3123
41 | 2643588.1688 | 1261853.2078
42 | 2643551.3691 | 1261794.2619
43 | 2643596.5261 | 1261867.2898
44 | 2643603.1197 | 1261842.2766
45 | 2643530.9374 | 1261788.5334
46 | 2643607.0971 | 1261837.2227
47 | 2643522.0046 | 1261787.5968
48 | 2643611.589 | 1261831.5151
49 | 2643511.6809 | 1261784.7856
50 | 2643523.3846 | 1261720.4524
51 | 2643483.2952 | 1261834.579
52 | 2643500.9609 | 1261771.1252
53 | 2643514.1046 | 1261716.4551
54 | 2643471.5374 | 1261825.1181
55 | 2643493.9847 | 1261766.7895
56 | 2643483.051 | 1261761.3022
57 | 2643473.4496 | 1261756.4514
58 | 2643476.4663 | 1261738.9519
59 | 2643468.7194 | 1261754.0512
60 | 2643488.0284 | 1261714.4176
61 | 2643456.4179 | 1261747.8091
62 | 2643449.571 | 1261744.4899
63 | 2643450.9367 | 1261718.7852
64 | 2643441.9017 | 1261723.7054
65 | 2643444.6031 | 1261809.1261
66 | 2643420.0609 | 1261794.5544
67 | 2643710.5528 | 1261665.3276
68 | 2643718.6885 | 1261660.2575
69 | 2643696.96 | 1261673.7986
70 | 2643688.4582 | 1261679.0969
71 | 2643666.4573 | 1261689.669
72 | 2643665.2699 | 1261674.374
73 | 2643509.6114 | 1261730.2401
74 | 2643506.7433 | 1261739.0392
75 | 2643507.9573 | 1261712.2625
76 | 2643496.5124 | 1261703.1179
77 | 2643465.0834 | 1261688.0436
78 | 2643600.43 | 1261657.7069
79 | 2643661.1846 | 1261651.6475
80 | 2643600.444 | 1261657.6487
81 | 2643446.6066 | 1261679.5533
82 | 2643428.5301 | 1261672.4244
83 | 2643404.4033 | 1261662.9095
84 | 2643486.3077 | 1261648.8179
85 | 2643509.2331 | 1261653.9366
86 | 2643533.8722 | 1261659.4379
87 | 2643548.7768 | 1261597.5604
88 | 2643539.886 | 1261634.9074
89 | 2643577.0196 | 1261651.7572
90 | 2643604.4329 | 1261640.844
91 | 2643595.3317 | 1261621.8052
92 | 2643509.2331 | 1261653.9366

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1