## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4163-8_1_2_node_94 | 0.4 | n |  | TRUE
1 | bus_LV_4163-8_1_2_node_93 | 0.4 | n |  | TRUE
2 | bus_LV_4163-8_1_2_node_35 | 0.4 | n |  | TRUE
3 | bus_LV_4163-8_1_2_node_36 | 0.4 | n |  | TRUE
4 | bus_LV_4163-8_1_2_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_4163-8_1_2_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_4163-8_1_2_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_4163-8_1_2_node_101 | 0.4 | n |  | TRUE
8 | bus_LV_4163-8_1_2_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_4163-8_1_2_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_4163-8_1_2_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_4163-8_1_2_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_4163-8_1_2_node_100 | 0.4 | n |  | TRUE
13 | bus_LV_4163-8_1_2_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_4163-8_1_2_node_90 | 0.4 | n |  | TRUE
15 | bus_LV_4163-8_1_2_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_4163-8_1_2_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_4163-8_1_2_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_4163-8_1_2_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_4163-8_1_2_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_4163-8_1_2_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_4163-8_1_2_node_88 | 0.4 | n |  | TRUE
22 | bus_LV_4163-8_1_2_node_89 | 0.4 | n |  | TRUE
23 | bus_LV_4163-8_1_2_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_4163-8_1_2_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_4163-8_1_2_node_103 | 0.4 | n |  | TRUE
26 | bus_LV_4163-8_1_2_node_102 | 0.4 | n |  | TRUE
27 | bus_LV_4163-8_1_2_node_84 | 0.4 | n |  | TRUE
28 | bus_LV_4163-8_1_2_node_109 | 0.4 | n |  | TRUE
29 | bus_LV_4163-8_1_2_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_4163-8_1_2_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_4163-8_1_2_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_4163-8_1_2_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_4163-8_1_2_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_4163-8_1_2_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_4163-8_1_2_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_4163-8_1_2_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_4163-8_1_2_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_4163-8_1_2_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_4163-8_1_2_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_4163-8_1_2_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_4163-8_1_2_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_4163-8_1_2_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_4163-8_1_2_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_4163-8_1_2_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_4163-8_1_2_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_4163-8_1_2_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_4163-8_1_2_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_4163-8_1_2_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_4163-8_1_2_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_4163-8_1_2_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_4163-8_1_2_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_4163-8_1_2_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_4163-8_1_2_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_4163-8_1_2_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_4163-8_1_2_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_4163-8_1_2_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_4163-8_1_2_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_4163-8_1_2_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_4163-8_1_2_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_4163-8_1_2_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_4163-8_1_2_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_4163-8_1_2_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_4163-8_1_2_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_4163-8_1_2_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_4163-8_1_2_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_4163-8_1_2_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_4163-8_1_2_node_98 | 0.4 | n |  | TRUE
68 | bus_LV_4163-8_1_2_node_104 | 0.4 | n |  | TRUE
69 | bus_LV_4163-8_1_2_node_105 | 0.4 | n |  | TRUE
70 | bus_LV_4163-8_1_2_node_106 | 0.4 | n |  | TRUE
71 | bus_MV_304_0_node_219 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4163-8_1_2_load_94 | 0 | 0.0018518 | 0.00046411 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4163-8_1_2_load_93 | 1 | 0.0020054 | 0.00050259 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4163-8_1_2_load_35 | 2 | 0.0036606 | 0.00091742 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4163-8_1_2_load_36 | 3 | 0.0014376 | 0.0003603 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4163-8_1_2_load_37 | 4 | 0.0031022 | 0.00077747 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4163-8_1_2_load_44 | 6 | 0.001566 | 0.00039248 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4163-8_1_2_load_101 | 7 | 0.0020393 | 0.00051111 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4163-8_1_2_load_41 | 8 | 0.00089071 | 0.00022323 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4163-8_1_2_load_42 | 9 | 0.00098244 | 0.00024622 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4163-8_1_2_load_83 | 11 | 0.0022289 | 0.00055862 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4163-8_1_2_load_100 | 12 | 0.0012501 | 0.00031332 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4163-8_1_2_load_90 | 14 | 0.0010492 | 0.00026296 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4163-8_1_2_load_58 | 15 | 0.0010532 | 0.00026395 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4163-8_1_2_load_45 | 16 | 0.004006 | 0.001004 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4163-8_1_2_load_46 | 17 | 0.003247 | 0.00081378 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4163-8_1_2_load_47 | 18 | 0.0022269 | 0.00055811 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4163-8_1_2_load_49 | 20 | 0.00083469 | 0.00020919 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4163-8_1_2_load_88 | 21 | 0.0024747 | 0.00062023 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4163-8_1_2_load_89 | 22 | 0.0020496 | 0.00051369 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4163-8_1_2_load_87 | 23 | 0.0016241 | 0.00040703 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4163-8_1_2_load_72 | 24 | 0.00389 | 0.00097494 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4163-8_1_2_load_103 | 25 | 0.0024635 | 0.00061742 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4163-8_1_2_load_102 | 26 | 0.002363 | 0.00059222 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4163-8_1_2_load_109 | 28 | 0.003166 | 0.00079348 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4163-8_1_2_load_71 | 29 | 0.0021022 | 0.00052686 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4163-8_1_2_load_77 | 30 | 0.0018179 | 0.00045562 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4163-8_1_2_load_80 | 31 | 0.0021409 | 0.00053655 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4163-8_1_2_load_50 | 33 | 0.0039345 | 0.00098608 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4163-8_1_2_load_51 | 34 | 0.0037559 | 0.00094132 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4163-8_1_2_load_54 | 36 | 0.0034568 | 0.00086636 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4163-8_1_2_load_68 | 37 | 0.0017437 | 0.00043701 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4163-8_1_2_load_66 | 38 | 0.001756 | 0.00044009 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4163-8_1_2_load_55 | 39 | 0.0008807 | 0.00022072 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4163-8_1_2_load_56 | 40 | 0.0011577 | 0.00029014 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4163-8_1_2_load_57 | 41 | 0.0012129 | 0.00030399 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4163-8_1_2_load_59 | 42 | 0.0014241 | 0.0003569 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4163-8_1_2_load_60 | 43 | 0.0011072 | 0.00027749 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4163-8_1_2_load_61 | 44 | 0.0011405 | 0.00028584 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4163-8_1_2_load_62 | 45 | 0.0010675 | 0.00026755 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4163-8_1_2_load_99 | 46 | 0.00097072 | 0.00024329 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4163-8_1_2_load_97 | 47 | 0.0010613 | 0.000266 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4163-8_1_2_load_63 | 48 | 0.0012536 | 0.00031417 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4163-8_1_2_load_64 | 49 | 0.0019316 | 0.0004841 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4163-8_1_2_load_65 | 50 | 0.0025833 | 0.00064744 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4163-8_1_2_load_67 | 51 | 0.0011197 | 0.00028062 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4163-8_1_2_load_91 | 52 | 0.0017374 | 0.00043545 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4163-8_1_2_load_92 | 53 | 0.0014451 | 0.00036218 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4163-8_1_2_load_69 | 54 | 0.0018432 | 0.00046194 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4163-8_1_2_load_70 | 55 | 0.0033955 | 0.000851 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4163-8_1_2_load_82 | 56 | 0.00084019 | 0.00021057 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4163-8_1_2_load_79 | 57 | 0.0023573 | 0.0005908 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4163-8_1_2_load_81 | 58 | 0.0017664 | 0.0004427 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4163-8_1_2_load_73 | 59 | 0.0027999 | 0.00070172 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4163-8_1_2_load_74 | 60 | 0.0035391 | 0.00088698 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4163-8_1_2_load_76 | 61 | 0.0014794 | 0.00037078 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4163-8_1_2_load_78 | 62 | 0.0024 | 0.00060149 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4163-8_1_2_load_85 | 63 | 0.0017829 | 0.00044682 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4163-8_1_2_load_86 | 64 | 0.001107 | 0.00027745 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4163-8_1_2_load_96 | 66 | 0.0027742 | 0.00069528 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4163-8_1_2_load_98 | 67 | 0.0029624 | 0.00074244 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4163-8_1_2_load_104 | 68 | 0.0030894 | 0.00077427 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4163-8_1_2_load_105 | 69 | 0.0024294 | 0.00060887 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4163-8_1_2_load_106 | 70 | 0.0029504 | 0.00073944 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4163-8_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0076393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4163-8_1_2_line_1 | NAYY 4x150 SE | 1 | 56 | 0.0018378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4163-8_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.061095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4163-8_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4163-8_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4163-8_1_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.018193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4163-8_1_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.017901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4163-8_1_2_line_7 | NAYY 4x150 SE | 7 | 15 | 0.028039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4163-8_1_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0089141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4163-8_1_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0023572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4163-8_1_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.053731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_4163-8_1_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.01591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4163-8_1_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.018356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4163-8_1_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.017914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4163-8_1_2_line_14 | NAYY 4x150 SE | 13 | 37 | 0.0083807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4163-8_1_2_line_15 | NAYY 4x150 SE | 13 | 35 | 0.015185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_4163-8_1_2_line_16 | NAYY 4x150 SE | 14 | 64 | 0.023499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4163-8_1_2_line_17 | NAYY 4x150 SE | 15 | 40 | 4.2339e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4163-8_1_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.036998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4163-8_1_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0051132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4163-8_1_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0035589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4163-8_1_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.027015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4163-8_1_2_line_22 | NAYY 4x150 SE | 19 | 24 | 0.071769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4163-8_1_2_line_23 | NAYY 4x150 SE | 20 | 27 | 0.018078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4163-8_1_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.034052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4163-8_1_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.021196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4163-8_1_2_line_26 | NAYY 4x150 SE | 22 | 25 | 0.0049206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4163-8_1_2_line_27 | NAYY 4x150 SE | 23 | 62 | 0.0066878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4163-8_1_2_line_28 | NAYY 4x150 SE | 24 | 28 | 0.048438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4163-8_1_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.019705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4163-8_1_2_line_30 | NAYY 4x150 SE | 26 | 68 | 0.0038907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4163-8_1_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0057937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4163-8_1_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.05378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4163-8_1_2_line_33 | NAYY 4x150 SE | 29 | 55 | 0.028841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4163-8_1_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.018313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4163-8_1_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.017361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4163-8_1_2_line_36 | NAYY 4x150 SE | 31 | 57 | 0.0194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4163-8_1_2_line_37 | NAYY 4x150 SE | 32 | 62 | 0.0087678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4163-8_1_2_line_38 | NAYY 4x150 SE | 32 | 59 | 0.018679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4163-8_1_2_line_39 | NAYY 4x150 SE | 33 | 34 | 0.017086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_4163-8_1_2_line_40 | NAYY 4x150 SE | 33 | 35 | 0.013564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4163-8_1_2_line_41 | NAYY 4x150 SE | 35 | 36 | 0.032351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4163-8_1_2_line_42 | NAYY 4x150 SE | 37 | 38 | 0.027814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4163-8_1_2_line_43 | NAYY 4x150 SE | 38 | 49 | 0.014038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4163-8_1_2_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0034661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4163-8_1_2_line_45 | NAYY 4x150 SE | 39 | 41 | 0.012568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4163-8_1_2_line_46 | NAYY 4x150 SE | 41 | 42 | 5.9461e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4163-8_1_2_line_47 | NAYY 4x150 SE | 42 | 43 | 0.0038466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4163-8_1_2_line_48 | NAYY 4x150 SE | 43 | 44 | 0.011839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4163-8_1_2_line_49 | NAYY 4x150 SE | 44 | 45 | 0.0010334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4163-8_1_2_line_50 | NAYY 4x150 SE | 45 | 46 | 0.015438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4163-8_1_2_line_51 | NAYY 4x150 SE | 46 | 47 | 0.001943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4163-8_1_2_line_52 | NAYY 4x150 SE | 47 | 67 | 0.04647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4163-8_1_2_line_53 | NAYY 4x150 SE | 48 | 49 | 0.012412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4163-8_1_2_line_54 | NAYY 4x150 SE | 48 | 50 | 0.035953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4163-8_1_2_line_55 | NAYY 4x150 SE | 50 | 51 | 0.02159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4163-8_1_2_line_56 | NAYY 4x150 SE | 51 | 52 | 0.0014456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4163-8_1_2_line_57 | NAYY 4x150 SE | 52 | 53 | 0.021657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4163-8_1_2_line_58 | NAYY 4x150 SE | 53 | 65 | 0.030357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4163-8_1_2_line_59 | NAYY 4x150 SE | 54 | 55 | 0.029324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4163-8_1_2_line_60 | NAYY 4x150 SE | 56 | 58 | 0.010868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4163-8_1_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.01306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4163-8_1_2_line_62 | NAYY 4x150 SE | 59 | 60 | 0.021715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4163-8_1_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.0074646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4163-8_1_2_line_64 | NAYY 4x150 SE | 61 | 63 | 0.017557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4163-8_1_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.017247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4163-8_1_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.071876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4163-8_1_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.011687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4163-8_1_2_line_68 | NAYY 4x150 SE | 68 | 69 | 0.020361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4163-8_1_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.026862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4163-8_1_2_trafo_51 | 0.25 MVA 20/0.4 kV | 71 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2644361.3462 | 1262607.2746 | 2644357.1384 | 1262600.8986
1 | 2644357.1384 | 1262600.8986 | 2644356.1262 | 1262599.3647
2 | 2644201.0879 | 1262629.9048 | 2644200.7203 | 1262638.0172 | 2644198.6969 | 1262643.6616 | 2644194.4864 | 1262645.6094 | 2644152.3574 | 1262641.4025
3 | 2644201.902 | 1262611.9408 | 2644201.0879 | 1262629.9048
4 | 2644135.5159 | 1262639.7208 | 2644152.3574 | 1262641.4025
5 | 2644135.5159 | 1262639.7208 | 2644136.5178 | 1262621.5553
6 | 2644137.5037 | 1262603.6814 | 2644136.5178 | 1262621.5553
7 | 2644139.0478 | 1262575.6853 | 2644137.5037 | 1262603.6814
8 | 2644236.2493 | 1262638.9284 | 2644235.4621 | 1262630.0491
9 | 2644235.2539 | 1262627.7011 | 2644235.4621 | 1262630.0491
10 | 2644235.2539 | 1262627.7011 | 2644228.4049 | 1262586.5763 | 2644225.4486 | 1262574.9051
11 | 2644235.2539 | 1262627.7011 | 2644251.0912 | 1262626.1791
12 | 2644220.9414 | 1262557.1107 | 2644225.4486 | 1262574.9051
13 | 2644268.9395 | 1262624.8398 | 2644265.3102 | 1262624.8126 | 2644251.0912 | 1262626.1791
14 | 2644220.9414 | 1262557.1107 | 2644218.5081 | 1262549.091
15 | 2644235.8575 | 1262554.0422 | 2644220.9414 | 1262557.1107
16 | 2644268.9395 | 1262624.8398 | 2644285.8821 | 1262624.9666 | 2644292.2935 | 1262623.5978
17 | 2644139.0501 | 1262575.6431 | 2644139.0478 | 1262575.6853
18 | 2644331.9368 | 1262483.5019 | 2644331.1532 | 1262482.6377 | 2644321.1954 | 1262470.3989 | 2644311.429 | 1262452.8842
19 | 2644331.9368 | 1262483.5019 | 2644335.3714 | 1262487.2898
20 | 2644309.6958 | 1262449.7759 | 2644311.429 | 1262452.8842
21 | 2644335.3714 | 1262487.2898 | 2644343.0703 | 1262495.7807 | 2644355.3313 | 1262505.3495
22 | 2644309.6958 | 1262449.7759 | 2644318.1051 | 1262452.5186 | 2644353.6715 | 1262469.4192 | 2644375.6323 | 1262477.9121
23 | 2644369.583 | 1262516.4718 | 2644355.3313 | 1262505.3495
24 | 2644287.002 | 1262516.5975 | 2644285.196 | 1262514.3495 | 2644267.7357 | 1262488.531
25 | 2644299.1916 | 1262533.8126 | 2644296.6006 | 1262528.545 | 2644287.002 | 1262516.5975
26 | 2644267.7357 | 1262488.531 | 2644264.9792 | 1262484.4549
27 | 2644299.1916 | 1262533.8126 | 2644301.4312 | 1262538.3659 | 2644302.0359 | 1262539.8618
28 | 2644375.6323 | 1262477.9121 | 2644356.8866 | 1262433.2489
29 | 2644254.2026 | 1262467.9806 | 2644255.1541 | 1262469.9267 | 2644264.9792 | 1262484.4549
30 | 2644254.2026 | 1262467.9806 | 2644252.4935 | 1262464.4853
31 | 2644369.583 | 1262516.4718 | 2644369.4416 | 1262522.2638
32 | 2644322.174 | 1262547.9168 | 2644369.4416 | 1262522.2638
33 | 2644369.4416 | 1262522.2638 | 2644369.4416 | 1262522.2638 | 2644385.6386 | 1262546.1272
34 | 2644322.174 | 1262547.9168 | 2644332.2609 | 1262563.2016
35 | 2644305.3216 | 1262547.9907 | 2644316.9 | 1262545.9982 | 2644322.174 | 1262547.9168
36 | 2644342.9468 | 1262579.3939 | 2644332.2609 | 1262563.2016
37 | 2644305.3216 | 1262547.9907 | 2644302.0359 | 1262539.8618
38 | 2644305.3216 | 1262547.9907 | 2644305.6651 | 1262566.6666
39 | 2644261.7936 | 1262538.0469 | 2644246.8319 | 1262546.2988
40 | 2644235.8575 | 1262554.0422 | 2644239.5163 | 1262550.3336 | 2644246.8319 | 1262546.2988
41 | 2644235.8575 | 1262554.0422 | 2644246.1467 | 1262552.1844 | 2644254.4711 | 1262554.1814 | 2644266.1889 | 1262560.5466
42 | 2644210.4324 | 1262522.4748 | 2644218.5081 | 1262549.091
43 | 2644210.4324 | 1262522.4748 | 2644208.5015 | 1262516.1109 | 2644206.1028 | 1262509.124
44 | 2644139.241 | 1262572.1822 | 2644139.0501 | 1262575.6431
45 | 2644139.241 | 1262572.1822 | 2644139.9332 | 1262559.6333
46 | 2644139.9364 | 1262559.5739 | 2644139.9332 | 1262559.6333
47 | 2644140.1483 | 1262555.7332 | 2644139.9364 | 1262559.5739
48 | 2644140.1483 | 1262555.7332 | 2644140.8003 | 1262543.9121
49 | 2644140.8572 | 1262542.8803 | 2644140.8003 | 1262543.9121
50 | 2644140.8572 | 1262542.8803 | 2644141.7074 | 1262527.4654
51 | 2644141.8144 | 1262525.5253 | 2644141.7074 | 1262527.4654
52 | 2644141.8144 | 1262525.5253 | 2644144.3736 | 1262479.1255
53 | 2644202.0725 | 1262497.3851 | 2644206.1028 | 1262509.124
54 | 2644202.0725 | 1262497.3851 | 2644196.8819 | 1262482.2667 | 2644189.445 | 1262463.7347
55 | 2644180.9544 | 1262443.896 | 2644184.1984 | 1262450.6607 | 2644189.445 | 1262463.7347
56 | 2644180.9544 | 1262443.896 | 2644180.3294 | 1262442.5926
57 | 2644170.9649 | 1262423.0646 | 2644180.3294 | 1262442.5926
58 | 2644154.6427 | 1262397.4691 | 2644170.9649 | 1262423.0646 | 2644170.9649 | 1262423.0646
59 | 2644402.1066 | 1262570.3901 | 2644385.6386 | 1262546.1272
60 | 2644350.1403 | 1262590.2943 | 2644356.1262 | 1262599.3647
61 | 2644342.9468 | 1262579.3939 | 2644350.1403 | 1262590.2943
62 | 2644305.6651 | 1262566.6666 | 2644306.0643 | 1262588.3776
63 | 2644306.2016 | 1262595.8409 | 2644306.0643 | 1262588.3776
64 | 2644306.2016 | 1262595.8409 | 2644306.3976 | 1262606.4959 | 2644305.0211 | 1262613.2571 | 2644305.0211 | 1262613.2571
65 | 2644305.0211 | 1262613.2571 | 2644300.8198 | 1262619.9971 | 2644294.3855 | 1262623.1512 | 2644292.2935 | 1262623.5978
66 | 2644154.6427 | 1262397.4691 | 2644150.4101 | 1262402.3632 | 2644147.8345 | 1262416.3762 | 2644145.0172 | 1262467.456
67 | 2644144.3736 | 1262479.1255 | 2644145.0172 | 1262467.456
68 | 2644243.5498 | 1262446.1941 | 2644252.4935 | 1262464.4853
69 | 2644243.5498 | 1262446.1941 | 2644241.5832 | 1262442.1722 | 2644233.3868 | 1262421.3421

## bus_geodata
| x | y | coords
0 | 2644361.3462 | 1262607.2746
1 | 2644357.1384 | 1262600.8986
2 | 2644201.0879 | 1262629.9048
3 | 2644152.3574 | 1262641.4025
4 | 2644201.902 | 1262611.9408
5 | 2644135.5159 | 1262639.7208
6 | 2644136.5178 | 1262621.5553
7 | 2644137.5037 | 1262603.6814
8 | 2644236.2493 | 1262638.9284
9 | 2644235.4621 | 1262630.0491
10 | 2644235.2539 | 1262627.7011
11 | 2644225.4486 | 1262574.9051
12 | 2644251.0912 | 1262626.1791
13 | 2644220.9414 | 1262557.1107
14 | 2644268.9395 | 1262624.8398
15 | 2644139.0478 | 1262575.6853
16 | 2644331.9368 | 1262483.5019
17 | 2644311.429 | 1262452.8842
18 | 2644335.3714 | 1262487.2898
19 | 2644309.6958 | 1262449.7759
20 | 2644355.3313 | 1262505.3495
21 | 2644287.002 | 1262516.5975
22 | 2644267.7357 | 1262488.531
23 | 2644299.1916 | 1262533.8126
24 | 2644375.6323 | 1262477.9121
25 | 2644264.9792 | 1262484.4549
26 | 2644254.2026 | 1262467.9806
27 | 2644369.583 | 1262516.4718
28 | 2644356.8866 | 1262433.2489
29 | 2644369.4416 | 1262522.2638
30 | 2644322.174 | 1262547.9168
31 | 2644332.2609 | 1262563.2016
32 | 2644305.3216 | 1262547.9907
33 | 2644246.8319 | 1262546.2988
34 | 2644261.7936 | 1262538.0469
35 | 2644235.8575 | 1262554.0422
36 | 2644266.1889 | 1262560.5466
37 | 2644218.5081 | 1262549.091
38 | 2644210.4324 | 1262522.4748
39 | 2644139.241 | 1262572.1822
40 | 2644139.0501 | 1262575.6431
41 | 2644139.9332 | 1262559.6333
42 | 2644139.9364 | 1262559.5739
43 | 2644140.1483 | 1262555.7332
44 | 2644140.8003 | 1262543.9121
45 | 2644140.8572 | 1262542.8803
46 | 2644141.7074 | 1262527.4654
47 | 2644141.8144 | 1262525.5253
48 | 2644202.0725 | 1262497.3851
49 | 2644206.1028 | 1262509.124
50 | 2644189.445 | 1262463.7347
51 | 2644180.9544 | 1262443.896
52 | 2644180.3294 | 1262442.5926
53 | 2644170.9649 | 1262423.0646
54 | 2644402.1066 | 1262570.3901
55 | 2644385.6386 | 1262546.1272
56 | 2644356.1262 | 1262599.3647
57 | 2644342.9468 | 1262579.3939
58 | 2644350.1403 | 1262590.2943
59 | 2644305.6651 | 1262566.6666
60 | 2644306.0643 | 1262588.3776
61 | 2644306.2016 | 1262595.8409
62 | 2644302.0359 | 1262539.8618
63 | 2644305.0211 | 1262613.2571
64 | 2644292.2935 | 1262623.5978
65 | 2644154.6427 | 1262397.4691
66 | 2644145.0172 | 1262467.456
67 | 2644144.3736 | 1262479.1255
68 | 2644252.4935 | 1262464.4853
69 | 2644243.5498 | 1262446.1941
70 | 2644233.3869 | 1262421.3421
71 | 2644235.8575 | 1262554.0422

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1