## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4165-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4165-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4165-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4165-14_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4165-14_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4165-14_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4165-14_0_4_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_4165-14_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4165-14_0_4_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_4165-14_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4165-14_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_4165-14_0_4_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_4165-14_0_4_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_4165-14_0_4_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_4165-14_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_4165-14_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4165-14_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4165-14_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4165-14_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4165-14_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4165-14_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_4165-14_0_4_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_4165-14_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4165-14_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_4165-14_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4165-14_0_4_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_4165-14_0_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_4165-14_0_4_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_4165-14_0_4_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_4165-14_0_4_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_4165-14_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4165-14_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4165-14_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_4165-14_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4165-14_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4165-14_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_4165-14_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4165-14_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_4165-14_0_4_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_4165-14_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_4165-14_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4165-14_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4165-14_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_4165-14_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4165-14_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_4165-14_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_4165-14_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_4165-14_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_4165-14_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_4165-14_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_4165-14_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_4165-14_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_4165-14_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_4165-14_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_4165-14_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_4165-14_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_4165-14_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_4165-14_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_4165-14_0_4_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_4165-14_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_4165-14_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_4165-14_0_4_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_4165-14_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_4165-14_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_MV_304_0_node_235 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4165-14_0_4_load_0 | 0 | 0.001235 | 0.00030951 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4165-14_0_4_load_1 | 1 | 0.010184 | 0.0025524 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4165-14_0_4_load_3 | 3 | 0.0071526 | 0.0017926 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4165-14_0_4_load_4 | 4 | 0.0013883 | 0.00034795 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4165-14_0_4_load_7 | 5 | 0.0043395 | 0.0010876 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4165-14_0_4_load_41 | 6 | 0.0012963 | 0.00032487 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4165-14_0_4_load_48 | 8 | 0.0025802 | 0.00064666 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4165-14_0_4_load_8 | 9 | 0.002716 | 0.00068069 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4165-14_0_4_load_39 | 12 | 0.0027633 | 0.00069256 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4165-14_0_4_load_37 | 13 | 0.0025018 | 0.00062701 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4165-14_0_4_load_15 | 14 | 0.0025096 | 0.00062896 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4165-14_0_4_load_9 | 16 | 0.0014602 | 0.00036596 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4165-14_0_4_load_12 | 18 | 0.00070587 | 0.00017691 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4165-14_0_4_load_13 | 19 | 0.002438 | 0.00061101 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4165-14_0_4_load_33 | 21 | 0.0010511 | 0.00026344 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4165-14_0_4_load_34 | 23 | 0.00080827 | 0.00020257 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4165-14_0_4_load_16 | 24 | 0.0020288 | 0.00050847 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4165-14_0_4_load_64 | 25 | 0.0027381 | 0.00068623 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4165-14_0_4_load_56 | 26 | 0.00069318 | 0.00017373 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4165-14_0_4_load_55 | 28 | 0.0034208 | 0.00085734 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4165-14_0_4_load_54 | 29 | 0.00062583 | 0.00015685 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4165-14_0_4_load_20 | 30 | 0.0022696 | 0.00056881 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4165-14_0_4_load_21 | 31 | 0.003168 | 0.00079396 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4165-14_0_4_load_23 | 33 | 0.0044375 | 0.0011121 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4165-14_0_4_load_24 | 34 | 0.0047276 | 0.0011848 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4165-14_0_4_load_32 | 36 | 0.010915 | 0.0027355 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4165-14_0_4_load_30 | 37 | 0.0076484 | 0.0019169 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4165-14_0_4_load_66 | 38 | 0.0043409 | 0.0010879 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4165-14_0_4_load_26 | 40 | 0.0041941 | 0.0010511 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4165-14_0_4_load_27 | 41 | 0.0019407 | 0.00048638 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4165-14_0_4_load_29 | 42 | 0.0016877 | 0.00042297 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4165-14_0_4_load_31 | 43 | 0.0011197 | 0.00028063 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4165-14_0_4_load_35 | 44 | 0.0011301 | 0.00028322 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4165-14_0_4_load_36 | 45 | 0.0021169 | 0.00053055 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4165-14_0_4_load_40 | 46 | 0.0021108 | 0.00052901 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4165-14_0_4_load_42 | 47 | 0.0018844 | 0.00047228 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4165-14_0_4_load_43 | 48 | 0.0012951 | 0.00032459 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4165-14_0_4_load_44 | 49 | 0.0067854 | 0.0017006 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4165-14_0_4_load_45 | 50 | 0.0015738 | 0.00039443 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4165-14_0_4_load_46 | 51 | 0.0029278 | 0.00073378 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4165-14_0_4_load_47 | 52 | 0.0065266 | 0.0016357 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4165-14_0_4_load_49 | 53 | 0.00079808 | 0.00020002 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4165-14_0_4_load_50 | 54 | 0.00035697 | 8.9464e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4165-14_0_4_load_51 | 55 | 0.00054885 | 0.00013755 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4165-14_0_4_load_53 | 56 | 0.001086 | 0.00027217 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4165-14_0_4_load_57 | 57 | 0.00073526 | 0.00018427 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4165-14_0_4_load_59 | 59 | 0.0013519 | 0.00033881 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4165-14_0_4_load_62 | 62 | 0.0012549 | 0.0003145 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4165-14_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_4165-14_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.067777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_4165-14_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_4165-14_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.032573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_4165-14_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0093816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_4165-14_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.00064343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4165-14_0_4_line_6 | NAYY 4x150 SE | 5 | 9 | 0.023575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_4165-14_0_4_line_7 | NAYY 4x150 SE | 6 | 11 | 0.03821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4165-14_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.055858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4165-14_0_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.026441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_4165-14_0_4_line_10 | NAYY 4x150 SE | 7 | 10 | 0.17811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_4165-14_0_4_line_11 | NAYY 4x150 SE | 10 | 14 | 0.050262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4165-14_0_4_line_12 | NAYY 4x150 SE | 10 | 15 | 0.002473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4165-14_0_4_line_13 | NAYY 4x150 SE | 11 | 46 | 0.012606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4165-14_0_4_line_14 | NAYY 4x150 SE | 11 | 45 | 0.011049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4165-14_0_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0017369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4165-14_0_4_line_16 | NAYY 4x150 SE | 13 | 45 | 0.002392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4165-14_0_4_line_17 | NAYY 4x150 SE | 14 | 24 | 0.013206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4165-14_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.032364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_4165-14_0_4_line_19 | NAYY 4x150 SE | 16 | 17 | 0.01065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_4165-14_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.033706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4165-14_0_4_line_21 | NAYY 4x150 SE | 17 | 19 | 0.040433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_4165-14_0_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.17533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4165-14_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.0013774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_4165-14_0_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.13901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4165-14_0_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.016238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_4165-14_0_4_line_26 | NAYY 4x150 SE | 22 | 25 | 0.077978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4165-14_0_4_line_27 | NAYY 4x150 SE | 22 | 26 | 0.036944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4165-14_0_4_line_28 | NAYY 4x150 SE | 23 | 44 | 0.022987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_4165-14_0_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.1698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4165-14_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.043534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4165-14_0_4_line_31 | NAYY 4x150 SE | 27 | 58 | 0.37706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4165-14_0_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.027484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4165-14_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0050569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4165-14_0_4_line_34 | NAYY 4x150 SE | 30 | 32 | 0.010635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4165-14_0_4_line_35 | NAYY 4x150 SE | 31 | 33 | 0.015701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4165-14_0_4_line_36 | NAYY 4x150 SE | 32 | 34 | 0.015751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_4165-14_0_4_line_37 | NAYY 4x150 SE | 32 | 35 | 0.34218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4165-14_0_4_line_38 | NAYY 4x150 SE | 33 | 36 | 0.011332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4165-14_0_4_line_39 | NAYY 4x150 SE | 34 | 37 | 0.015042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_4165-14_0_4_line_40 | NAYY 4x150 SE | 35 | 38 | 0.026897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4165-14_0_4_line_41 | NAYY 4x150 SE | 37 | 39 | 0.016516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_4165-14_0_4_line_42 | NAYY 4x150 SE | 39 | 43 | 0.017802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_4165-14_0_4_line_43 | NAYY 4x150 SE | 39 | 40 | 0.022765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4165-14_0_4_line_44 | NAYY 4x150 SE | 40 | 41 | 0.0098187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4165-14_0_4_line_45 | NAYY 4x150 SE | 41 | 42 | 0.01849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4165-14_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0063119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_4165-14_0_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0035238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4165-14_0_4_line_48 | NAYY 4x150 SE | 47 | 48 | 0.016737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4165-14_0_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.012888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4165-14_0_4_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0090132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4165-14_0_4_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0021013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4165-14_0_4_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0010504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4165-14_0_4_line_53 | NAYY 4x150 SE | 53 | 54 | 0.061174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4165-14_0_4_line_54 | NAYY 4x150 SE | 53 | 55 | 9.5961e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4165-14_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0024989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4165-14_0_4_line_56 | NAYY 4x150 SE | 56 | 57 | 0.0055233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4165-14_0_4_line_57 | NAYY 4x150 SE | 57 | 60 | 0.077472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4165-14_0_4_line_58 | NAYY 4x150 SE | 58 | 59 | 0.16036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4165-14_0_4_line_59 | NAYY 4x150 SE | 59 | 63 | 0.075583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4165-14_0_4_line_60 | NAYY 4x150 SE | 60 | 61 | 0.013071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4165-14_0_4_line_61 | NAYY 4x150 SE | 61 | 62 | 0.11055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4165-14_0_4_line_62 | NAYY 4x150 SE | 62 | 63 | 0.10247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4165-14_0_4_trafo_22 | 0.25 MVA 20/0.4 kV | 64 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2641978.2156 | 1260380.6074 | 2641979.7384 | 1260382.9176 | 2641986.0006 | 1260402.424
1 | 2641940.2497 | 1260324.4746 | 2641943.4308 | 1260329.6674 | 2641967.8018 | 1260364.8092 | 2641978.2156 | 1260380.6074
2 | 2641987.9932 | 1260413.2269 | 2641986.1603 | 1260402.9216 | 2641986.0006 | 1260402.424
3 | 2641940.2497 | 1260324.4746 | 2641913.4158 | 1260342.9394
4 | 2641987.9932 | 1260413.2269 | 2641989.6359 | 1260422.4635
5 | 2641913.4158 | 1260342.9394 | 2641912.8857 | 1260343.3042
6 | 2641993.8904 | 1260445.6508 | 2641992.2549 | 1260437.1888 | 2641989.6359 | 1260422.4635
7 | 2641881.4082 | 1260364.9644 | 2641912.8857 | 1260343.3042
8 | 2642013.5408 | 1260460.9675 | 2641998.118 | 1260488.1328 | 2641975.3818 | 1260497.7895
9 | 2642013.5408 | 1260460.9675 | 2642000.6437 | 1260456.106 | 2641997.514 | 1260453.2596 | 2641993.8904 | 1260445.6508 | 2641993.8904 | 1260445.6508
10 | 2641951.3896 | 1260581.5115 | 2641959.2332 | 1260578.4649 | 2641969.2788 | 1260570.9642 | 2641989.4432 | 1260549.8924 | 2641997.5653 | 1260541.5886 | 2642003.1443 | 1260531.6767 | 2642014.8069 | 1260505.53 | 2642023.7694 | 1260494.5859 | 2642033.8646 | 1260482.2489 | 2642044.0197 | 1260474.2154 | 2642038.4985 | 1260470.6626 | 2642013.5408 | 1260460.9675
11 | 2641951.3896 | 1260581.5115 | 2641940.0114 | 1260556.947 | 2641944.434 | 1260542.1902 | 2641941.6264 | 1260534.9292
12 | 2641949.0773 | 1260582.4069 | 2641951.3896 | 1260581.5115
13 | 2641881.4082 | 1260364.9644 | 2641888.4346 | 1260375.4303
14 | 2641881.4082 | 1260364.9644 | 2641875.2477 | 1260355.7918
15 | 2641873.9141 | 1260353.806 | 2641872.9457 | 1260352.3642
16 | 2641875.2477 | 1260355.7918 | 2641873.9141 | 1260353.806
17 | 2641936.8636 | 1260522.6118 | 2641941.6264 | 1260534.9292
18 | 2641949.0773 | 1260582.4069 | 2641937.8064 | 1260585.2401 | 2641917.8111 | 1260590.7554
19 | 2641907.5442 | 1260593.5873 | 2641917.8111 | 1260590.7554
20 | 2641907.5442 | 1260593.5873 | 2641876.1625 | 1260605.8878
21 | 2641907.5442 | 1260593.5873 | 2641890.2748 | 1260557.0279
22 | 2641712.7951 | 1260666.8972 | 2641754.6027 | 1260658.3302 | 2641780.1247 | 1260649.9488 | 2641813.6876 | 1260635.1308 | 2641842.5171 | 1260619.4012 | 2641860.9273 | 1260611.8593 | 2641876.1625 | 1260605.8878
23 | 2641890.2748 | 1260557.0279 | 2641889.6864 | 1260555.7824
24 | 2641576.016 | 1260693.7876 | 2641637.7858 | 1260680.8235 | 2641712.7951 | 1260666.8972
25 | 2641889.6864 | 1260555.7824 | 2641882.7512 | 1260541.1004
26 | 2641576.016 | 1260693.7876 | 2641500.6849 | 1260713.9335
27 | 2641576.016 | 1260693.7876 | 2641543.0159 | 1260677.1787
28 | 2641882.7512 | 1260541.1004 | 2641879.0714 | 1260533.3103 | 2641875.8027 | 1260527.7277 | 2641875.3284 | 1260519.8398
29 | 2641334.7829 | 1260739.809 | 2641364.5824 | 1260743.5307 | 2641384.7956 | 1260743.105 | 2641409.7041 | 1260738.2646 | 2641500.6849 | 1260713.9335
30 | 2641502.956 | 1260660.175 | 2641537.5022 | 1260674.4037 | 2641543.0159 | 1260677.1787
31 | 2640967.7481 | 1260682.6407 | 2640992.9531 | 1260676.3218 | 2641004.8067 | 1260675.2253 | 2641019.0119 | 1260676.2133 | 2641034.3675 | 1260681.9237 | 2641064.7518 | 1260698.0789 | 2641081.8733 | 1260705.5696 | 2641112.323 | 1260712.2745 | 2641228.8987 | 1260724.0153 | 2641264.4023 | 1260727.7986 | 2641334.7829 | 1260739.809
32 | 2641477.543 | 1260649.7081 | 2641502.956 | 1260660.175
33 | 2641856.4356 | 1260440.4508 | 2641856.4944 | 1260445.5074
34 | 2641856.618 | 1260456.1419 | 2641856.4944 | 1260445.5074
35 | 2641856.2531 | 1260424.7509 | 2641856.4356 | 1260440.4508
36 | 2641856.618 | 1260456.1419 | 2641862.2621 | 1260458.3055 | 2641869.3587 | 1260464.9283
37 | 2641557.0507 | 1260337.2601 | 2641558.1047 | 1260338.4794 | 2641579.9384 | 1260377.9047 | 2641585.5903 | 1260386.4838 | 2641644.8992 | 1260408.8384 | 2641729.2545 | 1260445.4356 | 2641758.691 | 1260455.9282 | 2641782.4028 | 1260458.564 | 2641792.389 | 1260458.401 | 2641808.6155 | 1260458.1376 | 2641851.3572 | 1260454.1144 | 2641856.618 | 1260456.1419
38 | 2641856.1214 | 1260413.4195 | 2641856.2531 | 1260424.7509
39 | 2641869.3587 | 1260464.9283 | 2641870.2577 | 1260465.7673 | 2641872.667 | 1260475.6579 | 2641872.8859 | 1260479.2838
40 | 2641557.0507 | 1260337.2601 | 2641549.2577 | 1260338.4396 | 2641534.5407 | 1260346.9089 | 2641532.6302 | 1260347.6102
41 | 2641873.8811 | 1260495.7695 | 2641872.8859 | 1260479.2838
42 | 2641873.8811 | 1260495.7695 | 2641874.9496 | 1260513.5392
43 | 2641873.8811 | 1260495.7695 | 2641895.0709 | 1260487.4497
44 | 2641904.2104 | 1260483.8613 | 2641895.0709 | 1260487.4497
45 | 2641921.4212 | 1260477.1038 | 2641904.2104 | 1260483.8613
46 | 2641875.3284 | 1260519.8398 | 2641874.9496 | 1260513.5392
47 | 2641888.4346 | 1260375.4303 | 2641890.3988 | 1260378.3559
48 | 2641890.3988 | 1260378.3559 | 2641894.3765 | 1260384.2807 | 2641899.8008 | 1260392.2019
49 | 2641899.8008 | 1260392.2019 | 2641907.0826 | 1260402.8355
50 | 2641907.0826 | 1260402.8355 | 2641912.1751 | 1260410.2722
51 | 2641913.3624 | 1260412.0059 | 2641912.1751 | 1260410.2722
52 | 2641913.9559 | 1260412.8726 | 2641913.3624 | 1260412.0059
53 | 2640811.1684 | 1260545.3441 | 2640815.3227 | 1260547.6826 | 2640827.1338 | 1260550.5772 | 2640870.914 | 1260556.983
54 | 2640811.0848 | 1260545.297 | 2640811.1684 | 1260545.3441
55 | 2640808.9071 | 1260544.0712 | 2640811.0848 | 1260545.297
56 | 2640808.9071 | 1260544.0712 | 2640804.094 | 1260541.3618
57 | 2640742.3684 | 1260495.2658 | 2640768.2583 | 1260511.0439 | 2640795.8056 | 1260536.696 | 2640804.094 | 1260541.3618
58 | 2640967.7481 | 1260682.6407 | 2640919.1056 | 1260694.7018 | 2640905.4738 | 1260695.7973 | 2640890.9727 | 1260695.0966 | 2640878.2743 | 1260690.8838 | 2640844.0287 | 1260676.1816 | 2640825.098 | 1260673.1045 | 2640817.7532 | 1260672.7537 | 2640813.0138 | 1260673.8895
59 | 2640741.0796 | 1260696.7203 | 2640757.1614 | 1260693.2952 | 2640810.5826 | 1260674.4721 | 2640813.0138 | 1260673.8895
60 | 2640730.1094 | 1260490.6338 | 2640742.3684 | 1260495.2658
61 | 2640730.1094 | 1260490.6338 | 2640726.1635 | 1260503.3712 | 2640720.1165 | 1260549.851 | 2640715.7117 | 1260588.7591 | 2640715.5198 | 1260599.9421
62 | 2640741.0796 | 1260696.7203 | 2640735.3127 | 1260688.2858 | 2640727.4192 | 1260675.6894 | 2640718.8495 | 1260651.8582 | 2640716.6433 | 1260630.7838 | 2640715.4098 | 1260606.3471 | 2640715.5198 | 1260599.9421

## bus_geodata
| x | y | coords
0 | 2641978.2156 | 1260380.6074
1 | 2641986.0006 | 1260402.424
2 | 2641940.2497 | 1260324.4746
3 | 2641987.9932 | 1260413.2269
4 | 2641913.4158 | 1260342.9394
5 | 2641989.6359 | 1260422.4635
6 | 2641912.8857 | 1260343.3042
7 | 2642013.5408 | 1260460.9675
8 | 2641975.3818 | 1260497.7895
9 | 2641993.8904 | 1260445.6508
10 | 2641951.3896 | 1260581.5115
11 | 2641881.4082 | 1260364.9643
12 | 2641872.9457 | 1260352.3642
13 | 2641873.9141 | 1260353.806
14 | 2641941.6264 | 1260534.9292
15 | 2641949.0773 | 1260582.4069
16 | 2641917.8111 | 1260590.7554
17 | 2641907.5442 | 1260593.5873
18 | 2641876.1625 | 1260605.8878
19 | 2641890.2748 | 1260557.0279
20 | 2641712.7951 | 1260666.8972
21 | 2641889.6864 | 1260555.7824
22 | 2641576.016 | 1260693.7875
23 | 2641882.7512 | 1260541.1004
24 | 2641936.8636 | 1260522.6118
25 | 2641500.6849 | 1260713.9335
26 | 2641543.0159 | 1260677.1787
27 | 2641334.7829 | 1260739.809
28 | 2641502.956 | 1260660.175
29 | 2641477.543 | 1260649.7081
30 | 2641856.4944 | 1260445.5074
31 | 2641856.4356 | 1260440.4508
32 | 2641856.618 | 1260456.1419
33 | 2641856.2531 | 1260424.7509
34 | 2641869.3587 | 1260464.9283
35 | 2641557.0507 | 1260337.2601
36 | 2641856.1214 | 1260413.4195
37 | 2641872.8859 | 1260479.2838
38 | 2641532.6302 | 1260347.6102
39 | 2641873.8811 | 1260495.7695
40 | 2641895.0709 | 1260487.4497
41 | 2641904.2104 | 1260483.8613
42 | 2641921.4212 | 1260477.1038
43 | 2641874.9496 | 1260513.5392
44 | 2641875.3284 | 1260519.8398
45 | 2641875.2477 | 1260355.7918
46 | 2641888.4346 | 1260375.4303
47 | 2641890.3988 | 1260378.3559
48 | 2641899.8008 | 1260392.2019
49 | 2641907.0826 | 1260402.8355
50 | 2641912.1751 | 1260410.2722
51 | 2641913.3624 | 1260412.0059
52 | 2641913.9559 | 1260412.8726
53 | 2640811.1684 | 1260545.3441
54 | 2640870.914 | 1260556.983
55 | 2640811.0848 | 1260545.297
56 | 2640808.9071 | 1260544.0712
57 | 2640804.094 | 1260541.3618
58 | 2640967.7481 | 1260682.6407
59 | 2640813.0138 | 1260673.8895
60 | 2640742.3684 | 1260495.2658
61 | 2640730.1094 | 1260490.6338
62 | 2640715.5198 | 1260599.9421
63 | 2640741.0796 | 1260696.7203
64 | 2641856.1214 | 1260413.4195

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1