## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4165-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4165-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4165-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4165-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4165-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4165-2_0_3_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_4165-2_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_4165-2_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4165-2_0_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_4165-2_0_3_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_4165-2_0_3_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_4165-2_0_3_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_4165-2_0_3_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_4165-2_0_3_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_4165-2_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4165-2_0_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_4165-2_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_4165-2_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_4165-2_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_4165-2_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4165-2_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4165-2_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_4165-2_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4165-2_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4165-2_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4165-2_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_4165-2_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_4165-2_0_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_4165-2_0_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_4165-2_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_4165-2_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_4165-2_0_3_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_4165-2_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_4165-2_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_4165-2_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4165-2_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_4165-2_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4165-2_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_4165-2_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_4165-2_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_4165-2_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_4165-2_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_4165-2_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_4165-2_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_4165-2_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_4165-2_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_4165-2_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4165-2_0_3_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_4165-2_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_4165-2_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4165-2_0_3_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_4165-2_0_3_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_4165-2_0_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_4165-2_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4165-2_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_4165-2_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4165-2_0_3_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4165-2_0_3_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_4165-2_0_3_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_4165-2_0_3_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_4165-2_0_3_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_4165-2_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_4165-2_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_4165-2_0_3_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_4165-2_0_3_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_4165-2_0_3_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_4165-2_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_4165-2_0_3_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_4165-2_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_4165-2_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_4165-2_0_3_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_4165-2_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_4165-2_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_4165-2_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_4165-2_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_4165-2_0_3_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_4165-2_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_4165-2_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_4165-2_0_3_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_4165-2_0_3_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_4165-2_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_4165-2_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_4165-2_0_3_node_82 | 0.4 | n |  | TRUE
83 | bus_MV_304_0_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4165-2_0_3_load_0 | 0 | 0.0032383 | 0.00081161 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4165-2_0_3_load_1 | 1 | 0.0043402 | 0.0010877 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4165-2_0_3_load_3 | 3 | 0.0019397 | 0.00048614 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4165-2_0_3_load_24 | 6 | 0.0023156 | 0.00058035 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4165-2_0_3_load_29 | 9 | 0.0046165 | 0.001157 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4165-2_0_3_load_50 | 10 | 0.020204 | 0.0050636 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4165-2_0_3_load_45 | 11 | 0.0039371 | 0.00098674 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4165-2_0_3_load_46 | 12 | 0.0046667 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4165-2_0_3_load_44 | 13 | 0.0020592 | 0.00051608 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4165-2_0_3_load_27 | 15 | 0.011554 | 0.0028956 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4165-2_0_3_load_6 | 16 | 0.001552 | 0.00038897 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4165-2_0_3_load_7 | 17 | 0.0025863 | 0.00064818 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4165-2_0_3_load_8 | 18 | 0.0035493 | 0.00088955 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4165-2_0_3_load_10 | 21 | 0.0017719 | 0.00044408 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4165-2_0_3_load_14 | 24 | 0.0021646 | 0.0005425 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4165-2_0_3_load_23 | 25 | 0.0047532 | 0.0011913 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4165-2_0_3_load_21 | 26 | 0.00058594 | 0.00014685 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4165-2_0_3_load_67 | 27 | 0.0034851 | 0.00087346 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4165-2_0_3_load_49 | 28 | 0.0016747 | 0.00041972 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4165-2_0_3_load_36 | 29 | 0.0021414 | 0.0005367 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4165-2_0_3_load_22 | 30 | 0.0026657 | 0.00066809 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4165-2_0_3_load_68 | 31 | 0.0019639 | 0.0004922 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4165-2_0_3_load_16 | 32 | 0.001973 | 0.00049449 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4165-2_0_3_load_17 | 33 | 0.0051606 | 0.0012934 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4165-2_0_3_load_18 | 34 | 0.0015667 | 0.00039266 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4165-2_0_3_load_19 | 35 | 0.0011578 | 0.00029017 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4165-2_0_3_load_20 | 36 | 0.0044825 | 0.0011234 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4165-2_0_3_load_40 | 37 | 0.004657 | 0.0011672 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4165-2_0_3_load_41 | 38 | 0.0044978 | 0.0011272 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4165-2_0_3_load_38 | 39 | 0.0012469 | 0.00031251 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4165-2_0_3_load_31 | 40 | 0.0017146 | 0.00042972 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4165-2_0_3_load_32 | 41 | 0.0013112 | 0.00032862 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4165-2_0_3_load_33 | 42 | 0.0031018 | 0.00077739 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4165-2_0_3_load_34 | 43 | 0.0023402 | 0.00058652 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4165-2_0_3_load_39 | 44 | 0.0068866 | 0.0017259 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4165-2_0_3_load_37 | 45 | 0.0033507 | 0.00083976 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4165-2_0_3_load_28 | 48 | 0.0012056 | 0.00030216 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4165-2_0_3_load_61 | 50 | 0.0016484 | 0.00041313 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4165-2_0_3_load_74 | 52 | 0.00065601 | 0.00016441 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4165-2_0_3_load_42 | 53 | 0.001916 | 0.0004802 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4165-2_0_3_load_47 | 55 | 0.0035031 | 0.00087795 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4165-2_0_3_load_48 | 56 | 0.0017104 | 0.00042867 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4165-2_0_3_load_77 | 57 | 0.0007244 | 0.00018155 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4165-2_0_3_load_75 | 58 | 0.0019455 | 0.00048758 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4165-2_0_3_load_78 | 59 | 0.00072625 | 0.00018202 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4165-2_0_3_load_81 | 60 | 0.0048875 | 0.0012249 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4165-2_0_3_load_51 | 61 | 0.0022184 | 0.00055598 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4165-2_0_3_load_52 | 62 | 0.0018009 | 0.00045134 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4165-2_0_3_load_54 | 64 | 0.0021353 | 0.00053517 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4165-2_0_3_load_55 | 65 | 0.0010963 | 0.00027477 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4165-2_0_3_load_66 | 66 | 0.002155 | 0.00054009 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4165-2_0_3_load_65 | 68 | 0.0018142 | 0.00045469 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4165-2_0_3_load_56 | 70 | 0.0020925 | 0.00052442 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4165-2_0_3_load_57 | 71 | 0.0016771 | 0.00042031 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4165-2_0_3_load_59 | 73 | 0.0023667 | 0.00059315 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4165-2_0_3_load_85 | 75 | 0.00067768 | 0.00016984 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4165-2_0_3_load_71 | 76 | 0.0045674 | 0.0011447 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4165-2_0_3_load_72 | 77 | 0.0014951 | 0.00037471 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4165-2_0_3_load_63 | 78 | 0.0019144 | 0.00047979 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4165-2_0_3_load_64 | 79 | 0.001986 | 0.00049775 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4165-2_0_3_load_73 | 80 | 0.0012869 | 0.00032252 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4165-2_0_3_load_80 | 81 | 0.0016011 | 0.00040127 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4165-2_0_3_load_82 | 82 | 0.0013483 | 0.00033793 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4165-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4165-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.047991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4165-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 9.2911e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4165-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.009809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4165-2_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.010308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4165-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0066588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4165-2_0_3_line_6 | NAYY 4x150 SE | 5 | 10 | 0.029507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4165-2_0_3_line_7 | NAYY 4x150 SE | 5 | 11 | 0.0075717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4165-2_0_3_line_8 | NAYY 4x150 SE | 6 | 14 | 0.01998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4165-2_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.010622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4165-2_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.026555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4165-2_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.024034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4165-2_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.0090061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4165-2_0_3_line_13 | NAYY 4x150 SE | 9 | 15 | 0.0030553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4165-2_0_3_line_14 | NAYY 4x150 SE | 10 | 20 | 0.030747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_4165-2_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.0053533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4165-2_0_3_line_16 | NAYY 4x150 SE | 12 | 47 | 0.0090667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4165-2_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.02112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4165-2_0_3_line_18 | NAYY 4x150 SE | 15 | 48 | 0.022183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4165-2_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.016251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4165-2_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.027805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4165-2_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.009166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_4165-2_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0078433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_4165-2_0_3_line_23 | NAYY 4x150 SE | 20 | 28 | 0.014086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4165-2_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.025919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4165-2_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.015902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4165-2_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.034426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4165-2_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.032948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4165-2_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.018365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4165-2_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.02342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4165-2_0_3_line_30 | NAYY 4x150 SE | 25 | 29 | 0.031892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4165-2_0_3_line_31 | NAYY 4x150 SE | 26 | 30 | 0.0065452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4165-2_0_3_line_32 | NAYY 4x150 SE | 27 | 31 | 0.044049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4165-2_0_3_line_33 | NAYY 4x150 SE | 29 | 46 | 0.0020056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4165-2_0_3_line_34 | NAYY 4x150 SE | 30 | 35 | 0.0029248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4165-2_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.011717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4165-2_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.017196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4165-2_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.019644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4165-2_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.021381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4165-2_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.011914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4165-2_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.018859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4165-2_0_3_line_41 | NAYY 4x150 SE | 38 | 53 | 0.024474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4165-2_0_3_line_42 | NAYY 4x150 SE | 39 | 45 | 0.0025406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4165-2_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.021666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4165-2_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.004604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4165-2_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.033966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4165-2_0_3_line_46 | NAYY 4x150 SE | 41 | 44 | 0.04594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4165-2_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0034116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4165-2_0_3_line_48 | NAYY 4x150 SE | 46 | 52 | 0.044228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4165-2_0_3_line_49 | NAYY 4x150 SE | 47 | 60 | 0.027506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4165-2_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.012859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4165-2_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.014427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4165-2_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.027744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4165-2_0_3_line_53 | NAYY 4x150 SE | 51 | 78 | 0.013165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4165-2_0_3_line_54 | NAYY 4x150 SE | 52 | 58 | 0.031397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4165-2_0_3_line_55 | NAYY 4x150 SE | 52 | 55 | 0.031028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4165-2_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.014095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4165-2_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.050662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4165-2_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.017542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4165-2_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.0233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4165-2_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.0033329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4165-2_0_3_line_61 | NAYY 4x150 SE | 60 | 82 | 0.0057593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4165-2_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.025607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4165-2_0_3_line_63 | NAYY 4x150 SE | 61 | 63 | 0.022573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4165-2_0_3_line_64 | NAYY 4x150 SE | 62 | 64 | 0.0036939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4165-2_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.030956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4165-2_0_3_line_66 | NAYY 4x150 SE | 64 | 66 | 0.020818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4165-2_0_3_line_67 | NAYY 4x150 SE | 65 | 67 | 0.045602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4165-2_0_3_line_68 | NAYY 4x150 SE | 66 | 68 | 0.0014764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4165-2_0_3_line_69 | NAYY 4x150 SE | 67 | 69 | 0.051813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4165-2_0_3_line_70 | NAYY 4x150 SE | 68 | 79 | 0.021522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4165-2_0_3_line_71 | NAYY 4x150 SE | 69 | 75 | 0.030168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4165-2_0_3_line_72 | NAYY 4x150 SE | 69 | 72 | 0.008546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4165-2_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.0051822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4165-2_0_3_line_74 | NAYY 4x150 SE | 70 | 72 | 0.014522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4165-2_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0071048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4165-2_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.033378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4165-2_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.030071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4165-2_0_3_line_78 | NAYY 4x150 SE | 74 | 77 | 0.029012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4165-2_0_3_line_79 | NAYY 4x150 SE | 76 | 80 | 0.00077462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4165-2_0_3_line_80 | NAYY 4x150 SE | 77 | 81 | 0.0087601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4165-2_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.024158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4165-2_0_3_trafo_10 | 0.25 MVA 20/0.4 kV | 83 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2643035.9591 | 1261340.0613 | 2643030.3715 | 1261349.9576
1 | 2642993.7724 | 1261317.1831 | 2643035.9591 | 1261340.0613
2 | 2643030.3715 | 1261349.9576 | 2643030.3259 | 1261350.0385
3 | 2642989.3762 | 1261325.9574 | 2642993.7724 | 1261317.1831
4 | 2642979.5969 | 1261322.7286 | 2642984.3308 | 1261324.5198 | 2642989.3762 | 1261325.9574
5 | 2642989.3762 | 1261325.9574 | 2642986.558 | 1261331.9905
6 | 2642979.5969 | 1261322.7286 | 2642967.4283 | 1261349.6093
7 | 2642979.5969 | 1261322.7286 | 2642982.7348 | 1261315.8377
8 | 2642978.1021 | 1261350.0926 | 2642986.558 | 1261331.9905
9 | 2642988.6857 | 1261302.7694 | 2642993.4995 | 1261304.9726 | 2642998.3893 | 1261307.0873
10 | 2642998.3893 | 1261307.0873 | 2643002.5057 | 1261298.4556 | 2643009.7825 | 1261283.1005
11 | 2642988.6857 | 1261302.7694 | 2642966.5715 | 1261293.3578
12 | 2642988.6857 | 1261302.7694 | 2642984.9533 | 1261310.9657
13 | 2643011.0909 | 1261280.3395 | 2643009.7825 | 1261283.1005
14 | 2642954.748 | 1261377.6203 | 2642967.4283 | 1261349.6093
15 | 2642984.9533 | 1261310.9657 | 2642982.7348 | 1261315.8377
16 | 2642962.6318 | 1261301.5239 | 2642966.5715 | 1261293.3578
17 | 2642978.1021 | 1261350.0926 | 2642996.6173 | 1261360.2534
18 | 2643011.0909 | 1261280.3395 | 2643016.999 | 1261267.8726 | 2643020.8874 | 1261260.4414
19 | 2643010.8642 | 1261368.0719 | 2642996.6173 | 1261360.2534
20 | 2643010.8642 | 1261368.0719 | 2643035.2397 | 1261381.4488
21 | 2642954.748 | 1261377.6203 | 2642962.8694 | 1261381.9156
22 | 2642962.8694 | 1261381.9156 | 2642959.4539 | 1261388.9762
23 | 2642954.748 | 1261377.6203 | 2642950.501 | 1261380.3803 | 2642946.5526 | 1261388.4916
24 | 2642948.1671 | 1261412.3082 | 2642959.4539 | 1261388.9762
25 | 2642948.1671 | 1261412.3082 | 2642959.9716 | 1261423.0013
26 | 2642948.1671 | 1261412.3082 | 2642925.8566 | 1261398.8591 | 2642918.3823 | 1261395.0795
27 | 2642959.9716 | 1261423.0013 | 2642952.6922 | 1261430.3982 | 2642932.2729 | 1261440.0141
28 | 2642959.9716 | 1261423.0013 | 2642972.8043 | 1261435.292 | 2642973.2436 | 1261435.6949
29 | 2642897.4827 | 1261384.5108 | 2642918.3823 | 1261395.0795
30 | 2642932.2729 | 1261440.0141 | 2642903.4206 | 1261453.6014
31 | 2642978.0673 | 1261440.1187 | 2642973.2436 | 1261435.6949
32 | 2642897.4827 | 1261384.5108 | 2642889.0264 | 1261380.2346 | 2642870.6896 | 1261369.472 | 2642859.8016 | 1261361.8144
33 | 2642901.6062 | 1261454.4559 | 2642903.4206 | 1261453.6014
34 | 2642978.0673 | 1261440.1187 | 2642980.2229 | 1261442.0956
35 | 2642994.7006 | 1261455.3731 | 2642998.1626 | 1261458.5481 | 2643003.5772 | 1261463.0154
36 | 2643016.8413 | 1261473.9591 | 2643003.5772 | 1261463.0154
37 | 2642994.7006 | 1261455.3731 | 2642980.2229 | 1261442.0956
38 | 2643016.8413 | 1261473.9591 | 2643017.3063 | 1261474.3427 | 2643034.5974 | 1261485.8651
39 | 2642932.657 | 1261593.111 | 2642943.3452 | 1261598.3755
40 | 2642960.2636 | 1261606.7087 | 2642943.3452 | 1261598.3755
41 | 2642932.657 | 1261593.111 | 2642916.7587 | 1261585.2802 | 2642910.9911 | 1261581.7707
42 | 2642962.5428 | 1261607.8313 | 2642960.2636 | 1261606.7087
43 | 2643000.8815 | 1261572.7484 | 2643008.5452 | 1261593.0137
44 | 2643000.8815 | 1261572.7484 | 2643000.8815 | 1261572.7484 | 2642998.1397 | 1261569.0498
45 | 2643023.9295 | 1261622.4621 | 2643017.5364 | 1261616.7894 | 2643008.5452 | 1261593.0137
46 | 2642965.6032 | 1261609.3387 | 2643008.5452 | 1261593.0137
47 | 2642962.5428 | 1261607.8313 | 2642965.6032 | 1261609.3387
48 | 2642901.6062 | 1261454.4559 | 2642883.5259 | 1261494.8195
49 | 2642962.6318 | 1261301.5239 | 2642937.5116 | 1261290.318
50 | 2643027.7256 | 1261249.6377 | 2643024.6324 | 1261253.2845 | 2643020.8874 | 1261260.4414
51 | 2643027.7256 | 1261249.6377 | 2643022.8957 | 1261243.4316 | 2643019.0075 | 1261238.2775 | 2643018.9592 | 1261238.182
52 | 2643006.9381 | 1261213.1832 | 2643012.6862 | 1261225.7672 | 2643018.9592 | 1261238.182
53 | 2643006.9381 | 1261213.1832 | 2642997.7752 | 1261212.2049 | 2642993.8837 | 1261211.5269
54 | 2642883.5259 | 1261494.8195 | 2642879.3832 | 1261491.3209 | 2642871.7251 | 1261487.5628 | 2642864.7042 | 1261485.2993 | 2642854.6861 | 1261484.3066
55 | 2642883.5259 | 1261494.8195 | 2642885.771 | 1261496.7154 | 2642890.6621 | 1261502.7996 | 2642896.5714 | 1261518.0865 | 2642897.225 | 1261521.9249
56 | 2642901.1132 | 1261572.3244 | 2642904.2015 | 1261577.6394 | 2642910.9911 | 1261581.7707
57 | 2642901.1132 | 1261572.3244 | 2642901.1064 | 1261554.5562 | 2642899.6428 | 1261536.1215 | 2642897.225 | 1261521.9249
58 | 2642901.1132 | 1261572.3244 | 2642892.0351 | 1261574.2822 | 2642883.7822 | 1261574.4576
59 | 2642883.7822 | 1261574.4576 | 2642881.8921 | 1261574.4978 | 2642860.7894 | 1261570.8884
60 | 2642857.5042 | 1261570.3265 | 2642860.7894 | 1261570.8884
61 | 2642932.2519 | 1261287.9717 | 2642937.5116 | 1261290.318
62 | 2642900.1681 | 1261187.437 | 2642906.2333 | 1261187.2899 | 2642924.6154 | 1261193.9178
63 | 2642877.9302 | 1261190.6651 | 2642881.3294 | 1261189.4889 | 2642894.9364 | 1261187.5639 | 2642900.1681 | 1261187.437
64 | 2642928.0904 | 1261195.1707 | 2642924.6154 | 1261193.9178
65 | 2642877.9302 | 1261190.6651 | 2642877.7167 | 1261193.0875 | 2642873.9745 | 1261209.3607 | 2642870.2006 | 1261218.5621 | 2642869.4023 | 1261220.2654
66 | 2642928.0904 | 1261195.1707 | 2642934.2428 | 1261197.389 | 2642943.6267 | 1261201.1374 | 2642947.7029 | 1261202.0304
67 | 2642850.0499 | 1261261.5577 | 2642869.4023 | 1261220.2654
68 | 2642949.1452 | 1261202.3463 | 2642947.7029 | 1261202.0304
69 | 2642850.0499 | 1261261.5577 | 2642844.3753 | 1261275.1929 | 2642840.4195 | 1261287.6842 | 2642862.3134 | 1261297.3717
70 | 2642970.1688 | 1261206.9517 | 2642949.1452 | 1261202.3463
71 | 2642875.7404 | 1261270.3387 | 2642862.3134 | 1261297.3717
72 | 2642862.3134 | 1261297.3717 | 2642870.147 | 1261300.8419
73 | 2642860.6937 | 1261318.1301 | 2642863.1799 | 1261313.5833
74 | 2642870.147 | 1261300.8419 | 2642863.1799 | 1261313.5833
75 | 2642870.147 | 1261300.8419 | 2642876.6494 | 1261303.7049
76 | 2642907.1979 | 1261317.1551 | 2642876.6494 | 1261303.7049
77 | 2642907.1979 | 1261317.1551 | 2642920.8274 | 1261290.3498
78 | 2642907.1979 | 1261317.1551 | 2642910.8776 | 1261318.8608 | 2642900.5297 | 1261341.5705
79 | 2642921.1785 | 1261289.6593 | 2642920.8274 | 1261290.3498
80 | 2642900.5297 | 1261341.5705 | 2642896.8974 | 1261349.5421
81 | 2642993.8837 | 1261211.5269 | 2642980.0604 | 1261209.1185 | 2642970.1688 | 1261206.9517

## bus_geodata
| x | y | coords
0 | 2643035.9591 | 1261340.0613
1 | 2643030.3715 | 1261349.9576
2 | 2642993.7724 | 1261317.1831
3 | 2643030.3259 | 1261350.0385
4 | 2642989.3762 | 1261325.9574
5 | 2642979.5969 | 1261322.7286
6 | 2642986.558 | 1261331.9905
7 | 2642998.3893 | 1261307.0873
8 | 2642988.6857 | 1261302.7694
9 | 2643009.7825 | 1261283.1005
10 | 2642967.4283 | 1261349.6093
11 | 2642982.7348 | 1261315.8377
12 | 2642966.5715 | 1261293.3578
13 | 2642984.9533 | 1261310.9657
14 | 2642978.1021 | 1261350.0926
15 | 2643011.0909 | 1261280.3395
16 | 2643010.8642 | 1261368.0719
17 | 2642996.6173 | 1261360.2534
18 | 2643035.2397 | 1261381.4488
19 | 2642962.8694 | 1261381.9156
20 | 2642954.748 | 1261377.6203
21 | 2642959.4539 | 1261388.9762
22 | 2642948.1671 | 1261412.3082
23 | 2642959.9716 | 1261423.0013
24 | 2642918.3823 | 1261395.0795
25 | 2642932.2729 | 1261440.0141
26 | 2642973.2436 | 1261435.6949
27 | 2642897.4827 | 1261384.5108
28 | 2642946.5527 | 1261388.4916
29 | 2642903.4206 | 1261453.6014
30 | 2642978.0673 | 1261440.1187
31 | 2642859.8016 | 1261361.8144
32 | 2643003.5772 | 1261463.0154
33 | 2642994.7006 | 1261455.3731
34 | 2643016.8413 | 1261473.9591
35 | 2642980.2229 | 1261442.0956
36 | 2643034.5974 | 1261485.8651
37 | 2642943.3453 | 1261598.3755
38 | 2642932.657 | 1261593.111
39 | 2642960.2636 | 1261606.7087
40 | 2643000.8815 | 1261572.7484
41 | 2643008.5452 | 1261593.0137
42 | 2642998.1397 | 1261569.0498
43 | 2643023.9295 | 1261622.4621
44 | 2642965.6032 | 1261609.3387
45 | 2642962.5428 | 1261607.8313
46 | 2642901.6062 | 1261454.4559
47 | 2642962.6318 | 1261301.5239
48 | 2643020.8874 | 1261260.4414
49 | 2643027.7256 | 1261249.6377
50 | 2643018.9592 | 1261238.182
51 | 2643006.9381 | 1261213.1832
52 | 2642883.5259 | 1261494.8195
53 | 2642910.9911 | 1261581.7707
54 | 2642901.1132 | 1261572.3244
55 | 2642897.225 | 1261521.9249
56 | 2642883.7822 | 1261574.4576
57 | 2642860.7894 | 1261570.8884
58 | 2642854.6861 | 1261484.3066
59 | 2642857.5042 | 1261570.3265
60 | 2642937.5116 | 1261290.318
61 | 2642900.1681 | 1261187.437
62 | 2642924.6154 | 1261193.9178
63 | 2642877.9302 | 1261190.6651
64 | 2642928.0904 | 1261195.1707
65 | 2642869.4023 | 1261220.2654
66 | 2642947.7029 | 1261202.0304
67 | 2642850.0499 | 1261261.5577
68 | 2642949.1452 | 1261202.3463
69 | 2642862.3134 | 1261297.3717
70 | 2642863.1799 | 1261313.5833
71 | 2642860.6937 | 1261318.1301
72 | 2642870.147 | 1261300.8419
73 | 2642876.6494 | 1261303.7049
74 | 2642907.1979 | 1261317.1551
75 | 2642875.7404 | 1261270.3387
76 | 2642920.8274 | 1261290.3498
77 | 2642900.5297 | 1261341.5705
78 | 2642993.8837 | 1261211.5269
79 | 2642970.1688 | 1261206.9517
80 | 2642921.1785 | 1261289.6593
81 | 2642896.8974 | 1261349.5421
82 | 2642932.2519 | 1261287.9717
83 | 2642962.8694 | 1261381.9156

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1