## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4181-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4181-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4181-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4181-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4181-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4181-4_0_3_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_4181-4_0_3_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_4181-4_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4181-4_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4181-4_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4181-4_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4181-4_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4181-4_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4181-4_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_4181-4_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4181-4_0_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_4181-4_0_3_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_4181-4_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4181-4_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4181-4_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4181-4_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4181-4_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_4181-4_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_4181-4_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_4181-4_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4181-4_0_3_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_4181-4_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_4181-4_0_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_4181-4_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4181-4_0_3_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_4181-4_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4181-4_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_4181-4_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_4181-4_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_4181-4_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_4181-4_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4181-4_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4181-4_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_4181-4_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_4181-4_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_4181-4_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_4181-4_0_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_4181-4_0_3_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_4181-4_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_4181-4_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_4181-4_0_3_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_4181-4_0_3_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_4181-4_0_3_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_4181-4_0_3_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_4181-4_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_4181-4_0_3_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_4181-4_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_4181-4_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_4181-4_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_4181-4_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_4181-4_0_3_node_99 | 0.4 | n |  | TRUE
56 | bus_LV_4181-4_0_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_4181-4_0_3_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_4181-4_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_4181-4_0_3_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_4181-4_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_4181-4_0_3_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_4181-4_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_4181-4_0_3_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_4181-4_0_3_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_4181-4_0_3_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_4181-4_0_3_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_4181-4_0_3_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_4181-4_0_3_node_134 | 0.4 | n |  | TRUE
69 | bus_LV_4181-4_0_3_node_145 | 0.4 | n |  | TRUE
70 | bus_LV_4181-4_0_3_node_128 | 0.4 | n |  | TRUE
71 | bus_LV_4181-4_0_3_node_135 | 0.4 | n |  | TRUE
72 | bus_LV_4181-4_0_3_node_115 | 0.4 | n |  | TRUE
73 | bus_LV_4181-4_0_3_node_131 | 0.4 | n |  | TRUE
74 | bus_LV_4181-4_0_3_node_114 | 0.4 | n |  | TRUE
75 | bus_LV_4181-4_0_3_node_136 | 0.4 | n |  | TRUE
76 | bus_MV_304_0_node_238 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4181-4_0_3_load_0 | 0 | 0.0012704 | 0.00031838 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4181-4_0_3_load_1 | 1 | 0.00059627 | 0.00014944 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4181-4_0_3_load_2 | 2 | 0.00040158 | 0.00010065 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4181-4_0_3_load_3 | 3 | 0.002349 | 0.00058871 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4181-4_0_3_load_4 | 4 | 0.001328 | 0.00033284 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4181-4_0_3_load_39 | 5 | 0.00073909 | 0.00018523 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4181-4_0_3_load_5 | 7 | 0.00054277 | 0.00013603 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4181-4_0_3_load_6 | 8 | 0.00078828 | 0.00019756 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4181-4_0_3_load_7 | 9 | 0.00086642 | 0.00021715 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4181-4_0_3_load_8 | 10 | 0.0014528 | 0.00036411 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4181-4_0_3_load_10 | 12 | 0.0029714 | 0.00074469 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4181-4_0_3_load_21 | 13 | 0.00060987 | 0.00015285 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4181-4_0_3_load_11 | 14 | 0.00057891 | 0.00014509 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4181-4_0_3_load_26 | 15 | 0.0016557 | 0.00041497 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4181-4_0_3_load_12 | 17 | 0.0015139 | 0.00037942 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4181-4_0_3_load_13 | 18 | 0.0022094 | 0.00055373 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4181-4_0_3_load_15 | 20 | 0.0017658 | 0.00044255 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4181-4_0_3_load_17 | 22 | 0.0018722 | 0.00046921 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4181-4_0_3_load_27 | 23 | 0.0010374 | 0.00026 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4181-4_0_3_load_19 | 24 | 0.001217 | 0.000305 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4181-4_0_3_load_22 | 26 | 0.0038907 | 0.00097511 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4181-4_0_3_load_45 | 27 | 0.001064 | 0.00026667 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4181-4_0_3_load_18 | 28 | 0.0036644 | 0.00091838 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4181-4_0_3_load_63 | 29 | 0.003825 | 0.00095865 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4181-4_0_3_load_23 | 30 | 0.0030519 | 0.00076487 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4181-4_0_3_load_25 | 31 | 0.0050909 | 0.0012759 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4181-4_0_3_load_35 | 32 | 0.0030261 | 0.00075841 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4181-4_0_3_load_38 | 33 | 0.0010761 | 0.00026969 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4181-4_0_3_load_28 | 34 | 0.0016787 | 0.00042072 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4181-4_0_3_load_29 | 35 | 0.0019513 | 0.00048904 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4181-4_0_3_load_30 | 36 | 0.0010163 | 0.00025471 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4181-4_0_3_load_32 | 37 | 0.0012253 | 0.00030708 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4181-4_0_3_load_33 | 38 | 0.0012258 | 0.00030722 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4181-4_0_3_load_34 | 39 | 0.0015406 | 0.0003861 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4181-4_0_3_load_36 | 40 | 0.0016283 | 0.00040808 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4181-4_0_3_load_57 | 41 | 0.00084029 | 0.0002106 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4181-4_0_3_load_49 | 42 | 0.0010823 | 0.00027125 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4181-4_0_3_load_41 | 43 | 0.0027044 | 0.00067779 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4181-4_0_3_load_42 | 44 | 0.00058104 | 0.00014562 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4181-4_0_3_load_44 | 45 | 0.0024436 | 0.00061242 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4181-4_0_3_load_74 | 48 | 0.00093198 | 0.00023358 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4181-4_0_3_load_46 | 49 | 0.00026178 | 6.5609e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4181-4_0_3_load_47 | 50 | 0.0006941 | 0.00017396 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4181-4_0_3_load_50 | 52 | 0.00047844 | 0.00011991 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4181-4_0_3_load_51 | 53 | 0.0012607 | 0.00031596 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4181-4_0_3_load_58 | 54 | 0.0001848 | 4.6314e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4181-4_0_3_load_99 | 55 | 0.00073127 | 0.00018327 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4181-4_0_3_load_98 | 57 | 0.00063306 | 0.00015866 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4181-4_0_3_load_60 | 58 | 0.0016858 | 0.00042249 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4181-4_0_3_load_61 | 59 | 0.00055116 | 0.00013813 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4181-4_0_3_load_68 | 60 | 0.0021356 | 0.00053523 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4181-4_0_3_load_67 | 61 | 0.0019724 | 0.00049433 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4181-4_0_3_load_62 | 62 | 0.0026723 | 0.00066975 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4181-4_0_3_load_64 | 63 | 0.0017719 | 0.00044408 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4181-4_0_3_load_66 | 64 | 0.0029331 | 0.00073511 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4181-4_0_3_load_70 | 66 | 0.0018921 | 0.00047422 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4181-4_0_3_load_134 | 68 | 0.0023058 | 0.0005779 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4181-4_0_3_load_145 | 69 | 0.0020721 | 0.00051931 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4181-4_0_3_load_128 | 70 | 0.0016876 | 0.00042295 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4181-4_0_3_load_135 | 71 | 0.0019955 | 0.00050013 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4181-4_0_3_load_115 | 72 | 0.00068696 | 0.00017217 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4181-4_0_3_load_131 | 73 | 0.002113 | 0.00052958 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4181-4_0_3_load_136 | 75 | 0.0039656 | 0.00099387 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4181-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0032317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4181-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0087767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4181-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.049506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4181-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4181-4_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0076094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4181-4_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.012019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4181-4_0_3_line_6 | NAYY 4x150 SE | 6 | 32 | 0.0067874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4181-4_0_3_line_7 | NAYY 4x150 SE | 6 | 31 | 0.0095898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4181-4_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0045106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4181-4_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 8.2375e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4181-4_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.005074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4181-4_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.029664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4181-4_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0063702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4181-4_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.027569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4181-4_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0078756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4181-4_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0092782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4181-4_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.013492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4181-4_0_3_line_17 | NAYY 4x150 SE | 16 | 26 | 0.008419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4181-4_0_3_line_18 | NAYY 4x150 SE | 16 | 20 | 0.0098791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4181-4_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.036103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4181-4_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.013523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_4181-4_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.017844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4181-4_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.01172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4181-4_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.020726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_4181-4_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.023094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4181-4_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.018058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4181-4_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.0018573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_4181-4_0_3_line_27 | NAYY 4x150 SE | 23 | 27 | 0.0069012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4181-4_0_3_line_28 | NAYY 4x150 SE | 24 | 28 | 0.0029848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4181-4_0_3_line_29 | NAYY 4x150 SE | 25 | 29 | 0.028758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4181-4_0_3_line_30 | NAYY 4x150 SE | 26 | 30 | 0.0096866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4181-4_0_3_line_31 | NAYY 4x150 SE | 27 | 33 | 0.0070281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4181-4_0_3_line_32 | NAYY 4x150 SE | 29 | 62 | 0.010985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4181-4_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.02718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4181-4_0_3_line_34 | NAYY 4x150 SE | 32 | 38 | 0.013036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4181-4_0_3_line_35 | NAYY 4x150 SE | 33 | 36 | 0.0068714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4181-4_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0085919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4181-4_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.014751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4181-4_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.019798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4181-4_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.02167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4181-4_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.015781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4181-4_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0058347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4181-4_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0016275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4181-4_0_3_line_43 | NAYY 4x150 SE | 42 | 50 | 0.010048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4181-4_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.018816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4181-4_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.013182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4181-4_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.012316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4181-4_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.020136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4181-4_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.031551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4181-4_0_3_line_49 | NAYY 4x150 SE | 47 | 72 | 0.0074256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4181-4_0_3_line_50 | NAYY 4x150 SE | 47 | 70 | 0.013709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4181-4_0_3_line_51 | NAYY 4x150 SE | 48 | 73 | 0.018297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4181-4_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.037337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4181-4_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.013542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4181-4_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.030412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4181-4_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.012282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4181-4_0_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.0019464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4181-4_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.0053303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4181-4_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.0080574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4181-4_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.0015877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4181-4_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.019097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4181-4_0_3_line_61 | NAYY 4x150 SE | 56 | 59 | 0.038595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4181-4_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.017133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4181-4_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.030235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4181-4_0_3_line_64 | NAYY 4x150 SE | 61 | 65 | 0.0081364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4181-4_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.0076387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4181-4_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.0035879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4181-4_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.012865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4181-4_0_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.01924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4181-4_0_3_line_69 | NAYY 4x150 SE | 66 | 68 | 0.0043407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4181-4_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.037352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4181-4_0_3_line_71 | NAYY 4x150 SE | 67 | 70 | 0.018171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4181-4_0_3_line_72 | NAYY 4x150 SE | 68 | 71 | 0.014817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4181-4_0_3_line_73 | NAYY 4x150 SE | 72 | 74 | 0.045347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4181-4_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.10476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4181-4_0_3_trafo_65 | 0.25 MVA 20/0.4 kV | 76 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2640751.7733 | 1259048.7821 | 2640753.077 | 1259045.825
1 | 2640751.7733 | 1259048.7821 | 2640749.249 | 1259054.5079 | 2640748.1793 | 1259056.7886
2 | 2640753.077 | 1259045.825 | 2640754.0041 | 1259043.722 | 2640755.9402 | 1259034.0285 | 2640755.6309 | 1259006.6963 | 2640755.6589 | 1258996.7074
3 | 2640748.1793 | 1259056.7886 | 2640744.9192 | 1259063.7401 | 2640740.7499 | 1259072.6398 | 2640736.9451 | 1259083.184
4 | 2640734.3623 | 1259090.3417 | 2640736.9451 | 1259083.184
5 | 2640729.2022 | 1259101.1358 | 2640732.3972 | 1259095.7874 | 2640734.3623 | 1259090.3417
6 | 2640729.2022 | 1259101.1358 | 2640723.568 | 1259097.351
7 | 2640729.2022 | 1259101.1358 | 2640737.1642 | 1259106.4809
8 | 2640815.1772 | 1259154.9593 | 2640813.2235 | 1259153.6172 | 2640811.4451 | 1259152.4263
9 | 2640815.1772 | 1259154.9593 | 2640815.2451 | 1259155.006
10 | 2640811.4451 | 1259152.4263 | 2640807.2292 | 1259149.6028
11 | 2640841.1087 | 1259169.4315 | 2640830.1485 | 1259164.0634 | 2640821.3331 | 1259159.1881 | 2640815.2451 | 1259155.006
12 | 2640807.2292 | 1259149.6028 | 2640801.9363 | 1259146.0582
13 | 2640841.1087 | 1259169.4315 | 2640836.2277 | 1259183.163 | 2640830.3242 | 1259193.2404 | 2640829.6065 | 1259194.3445
14 | 2640795.3926 | 1259141.6758 | 2640801.9363 | 1259146.0582
15 | 2640787.5302 | 1259136.7568 | 2640791.8853 | 1259139.327 | 2640795.3926 | 1259141.6758
16 | 2640775.9104 | 1259129.8993 | 2640787.5302 | 1259136.7568
17 | 2640775.9104 | 1259129.8993 | 2640768.6625 | 1259125.616
18 | 2640775.9104 | 1259129.8993 | 2640771.3889 | 1259138.683
19 | 2640763.5348 | 1259154.6902 | 2640750.2977 | 1259188.2794
20 | 2640745.3397 | 1259200.8606 | 2640750.2977 | 1259188.2794
21 | 2640763.5348 | 1259154.6902 | 2640764.7946 | 1259151.4934 | 2640771.3889 | 1259138.683
22 | 2640755.5048 | 1259206.7457 | 2640745.3397 | 1259200.8606
23 | 2640745.3397 | 1259200.8606 | 2640727.4117 | 1259190.4614
24 | 2640755.5048 | 1259206.7457 | 2640749.1273 | 1259220.0111 | 2640746.6367 | 1259228.0079
25 | 2640755.5048 | 1259206.7457 | 2640760.3553 | 1259209.4699 | 2640770.691 | 1259216.4918
26 | 2640725.8052 | 1259189.5295 | 2640727.4117 | 1259190.4614
27 | 2640746.6367 | 1259228.0079 | 2640744.5846 | 1259234.597
28 | 2640770.691 | 1259216.4918 | 2640773.1599 | 1259218.1692
29 | 2640725.8052 | 1259189.5295 | 2640733.8636 | 1259170.783 | 2640732.4649 | 1259162.548
30 | 2640760.3162 | 1259120.6996 | 2640767.1347 | 1259124.7131 | 2640768.6625 | 1259125.616
31 | 2640742.4947 | 1259241.3072 | 2640744.5846 | 1259234.597
32 | 2640732.4649 | 1259162.548 | 2640732.0164 | 1259159.9071 | 2640734.6636 | 1259152.0339
33 | 2640760.3162 | 1259120.6996 | 2640744.3131 | 1259111.2801 | 2640737.1642 | 1259106.4809
34 | 2640723.568 | 1259097.351 | 2640714.7366 | 1259091.4185 | 2640712.9217 | 1259089.8532
35 | 2640742.4947 | 1259241.3072 | 2640740.4515 | 1259247.8677
36 | 2640740.4132 | 1259270.1847 | 2640737.9811 | 1259265.7663 | 2640737.9237 | 1259262.2183
37 | 2640737.9237 | 1259262.2183 | 2640737.8278 | 1259256.292 | 2640740.4515 | 1259247.8677
38 | 2640697.9296 | 1259076.9233 | 2640712.9217 | 1259089.8532
39 | 2640681.5194 | 1259062.7703 | 2640697.9296 | 1259076.9233
40 | 2640681.5194 | 1259062.7703 | 2640674.0932 | 1259076.6953
41 | 2640671.3476 | 1259081.8436 | 2640674.0932 | 1259076.6953
42 | 2640671.3476 | 1259081.8436 | 2640670.5817 | 1259083.2797
43 | 2640665.8536 | 1259092.1454 | 2640670.5817 | 1259083.2797
44 | 2640700.4278 | 1259300.8183 | 2640697.0967 | 1259300.0202 | 2640683.7359 | 1259298.494 | 2640681.7952 | 1259298.5909
45 | 2640668.6292 | 1259299.2483 | 2640681.7952 | 1259298.5909
46 | 2640656.3284 | 1259299.8624 | 2640668.6292 | 1259299.2483
47 | 2640656.3284 | 1259299.8624 | 2640642.1405 | 1259298.0526 | 2640636.4141 | 1259296.668
48 | 2640656.3284 | 1259299.8624 | 2640652.0815 | 1259331.1265
49 | 2640636.4141 | 1259296.668 | 2640629.1978 | 1259294.9172
50 | 2640636.4141 | 1259296.668 | 2640639.2774 | 1259283.2617
51 | 2640659.7726 | 1259344.9063 | 2640651.0651 | 1259338.6088 | 2640652.0815 | 1259331.1265
52 | 2640648.2841 | 1259125.0902 | 2640665.8536 | 1259092.1454
53 | 2640641.9118 | 1259137.039 | 2640648.2841 | 1259125.0902
54 | 2640641.9118 | 1259137.039 | 2640666.8676 | 1259154.4208
55 | 2640641.9118 | 1259137.039 | 2640631.8333 | 1259130.0198
56 | 2640668.4648 | 1259155.5332 | 2640666.8676 | 1259154.4208
57 | 2640631.8333 | 1259130.0198 | 2640627.4593 | 1259126.9735
58 | 2640675.0765 | 1259160.1383 | 2640668.4648 | 1259155.5332
59 | 2640626.1564 | 1259126.0661 | 2640627.4593 | 1259126.9735
60 | 2640675.0765 | 1259160.1383 | 2640691.6001 | 1259169.7117
61 | 2640675.0765 | 1259160.1383 | 2640655.4013 | 1259193.3415
62 | 2640648.0569 | 1259208.6724 | 2640649.5832 | 1259203.1599 | 2640655.4013 | 1259193.3415
63 | 2640642.4928 | 1259238.3333 | 2640645.2781 | 1259218.7078 | 2640648.0569 | 1259208.6724
64 | 2640641.3495 | 1259246.389 | 2640642.4928 | 1259238.3333
65 | 2640737.0981 | 1259144.7934 | 2640734.6636 | 1259152.0339
66 | 2640738.2416 | 1259141.3926 | 2640737.0981 | 1259144.7934
67 | 2640641.3495 | 1259246.389 | 2640635.596 | 1259245.6602 | 2640629.4769 | 1259242.1281
68 | 2640643.0726 | 1259265.4919 | 2640641.0724 | 1259248.3218 | 2640641.3495 | 1259246.389
69 | 2640625.7176 | 1259239.9581 | 2640629.4769 | 1259242.1281
70 | 2640643.0726 | 1259265.4919 | 2640648.1584 | 1259265.7715 | 2640664.6064 | 1259256.767 | 2640678.1743 | 1259257.7719
71 | 2640643.0726 | 1259265.4919 | 2640639.2774 | 1259283.2617
72 | 2640612.8853 | 1259232.5509 | 2640625.7176 | 1259239.9581
73 | 2640593.1645 | 1259268.1627 | 2640596.1826 | 1259272.0972 | 2640607.552 | 1259282.6269 | 2640629.1978 | 1259294.9172
74 | 2640593.1645 | 1259268.1627 | 2640542.526 | 1259359.8686

## bus_geodata
| x | y | coords
0 | 2640751.7733 | 1259048.7821
1 | 2640753.077 | 1259045.825
2 | 2640748.1793 | 1259056.7886
3 | 2640755.6589 | 1258996.7074
4 | 2640736.9451 | 1259083.184
5 | 2640734.3623 | 1259090.3417
6 | 2640729.2022 | 1259101.1358
7 | 2640815.1772 | 1259154.9593
8 | 2640811.4451 | 1259152.4263
9 | 2640815.2451 | 1259155.006
10 | 2640807.2292 | 1259149.6028
11 | 2640841.1087 | 1259169.4315
12 | 2640801.9363 | 1259146.0582
13 | 2640829.6065 | 1259194.3445
14 | 2640795.3926 | 1259141.6758
15 | 2640787.5302 | 1259136.7568
16 | 2640775.9104 | 1259129.8993
17 | 2640750.2977 | 1259188.2794
18 | 2640763.5348 | 1259154.6902
19 | 2640745.3397 | 1259200.8606
20 | 2640771.3889 | 1259138.683
21 | 2640755.5048 | 1259206.7457
22 | 2640727.4117 | 1259190.4614
23 | 2640746.6367 | 1259228.0079
24 | 2640770.691 | 1259216.4918
25 | 2640725.8052 | 1259189.5295
26 | 2640768.6625 | 1259125.616
27 | 2640744.5846 | 1259234.597
28 | 2640773.1599 | 1259218.1692
29 | 2640732.4649 | 1259162.548
30 | 2640760.3162 | 1259120.6996
31 | 2640737.1642 | 1259106.4809
32 | 2640723.568 | 1259097.351
33 | 2640742.4947 | 1259241.3072
34 | 2640740.4132 | 1259270.1847
35 | 2640737.9237 | 1259262.2183
36 | 2640740.4515 | 1259247.8677
37 | 2640697.9296 | 1259076.9233
38 | 2640712.9217 | 1259089.8532
39 | 2640681.5194 | 1259062.7703
40 | 2640674.0932 | 1259076.6953
41 | 2640671.3476 | 1259081.8436
42 | 2640670.5817 | 1259083.2797
43 | 2640700.4278 | 1259300.8183
44 | 2640681.7952 | 1259298.5909
45 | 2640668.6292 | 1259299.2483
46 | 2640656.3284 | 1259299.8624
47 | 2640636.4141 | 1259296.668
48 | 2640652.0815 | 1259331.1265
49 | 2640648.2841 | 1259125.0902
50 | 2640665.8536 | 1259092.1454
51 | 2640641.9118 | 1259137.039
52 | 2640666.8676 | 1259154.4208
53 | 2640631.8333 | 1259130.0198
54 | 2640668.4648 | 1259155.5332
55 | 2640627.4593 | 1259126.9735
56 | 2640675.0765 | 1259160.1383
57 | 2640626.1564 | 1259126.0661
58 | 2640691.6001 | 1259169.7117
59 | 2640655.4013 | 1259193.3415
60 | 2640648.0569 | 1259208.6724
61 | 2640642.4928 | 1259238.3333
62 | 2640734.6636 | 1259152.0339
63 | 2640737.0981 | 1259144.7934
64 | 2640738.2416 | 1259141.3926
65 | 2640641.3495 | 1259246.389
66 | 2640629.4769 | 1259242.1281
67 | 2640643.0726 | 1259265.4919
68 | 2640625.7176 | 1259239.9581
69 | 2640678.1743 | 1259257.7719
70 | 2640639.2774 | 1259283.2617
71 | 2640612.8853 | 1259232.5509
72 | 2640629.1978 | 1259294.9172
73 | 2640659.7726 | 1259344.9063
74 | 2640593.1645 | 1259268.1627
75 | 2640542.526 | 1259359.8686
76 | 2640745.3397 | 1259200.8606

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1