## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4182-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4182-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4182-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4182-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4182-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4182-3_0_4_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_4182-3_0_4_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_4182-3_0_4_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_4182-3_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4182-3_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4182-3_0_4_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_4182-3_0_4_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_4182-3_0_4_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_4182-3_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_4182-3_0_4_node_112 | 0.4 | n |  | TRUE
15 | bus_LV_4182-3_0_4_node_108 | 0.4 | n |  | TRUE
16 | bus_LV_4182-3_0_4_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_4182-3_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4182-3_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_4182-3_0_4_node_107 | 0.4 | n |  | TRUE
20 | bus_LV_4182-3_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4182-3_0_4_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_4182-3_0_4_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_4182-3_0_4_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_4182-3_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_4182-3_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_4182-3_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_4182-3_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_4182-3_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_4182-3_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_4182-3_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_4182-3_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_4182-3_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_4182-3_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_4182-3_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4182-3_0_4_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_4182-3_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_4182-3_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_4182-3_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_4182-3_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_4182-3_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4182-3_0_4_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_4182-3_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_4182-3_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4182-3_0_4_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_4182-3_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_4182-3_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4182-3_0_4_node_102 | 0.4 | n |  | TRUE
48 | bus_LV_4182-3_0_4_node_101 | 0.4 | n |  | TRUE
49 | bus_LV_4182-3_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4182-3_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4182-3_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_4182-3_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_4182-3_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_4182-3_0_4_node_99 | 0.4 | n |  | TRUE
55 | bus_LV_4182-3_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_4182-3_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_4182-3_0_4_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_4182-3_0_4_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_4182-3_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4182-3_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_4182-3_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_4182-3_0_4_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_4182-3_0_4_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_4182-3_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_4182-3_0_4_node_105 | 0.4 | n |  | TRUE
66 | bus_LV_4182-3_0_4_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_4182-3_0_4_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_4182-3_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_4182-3_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_4182-3_0_4_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_4182-3_0_4_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_4182-3_0_4_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_4182-3_0_4_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_4182-3_0_4_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_4182-3_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_4182-3_0_4_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_4182-3_0_4_node_103 | 0.4 | n |  | TRUE
78 | bus_LV_4182-3_0_4_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_4182-3_0_4_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_4182-3_0_4_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_4182-3_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_4182-3_0_4_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_4182-3_0_4_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_4182-3_0_4_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_4182-3_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_4182-3_0_4_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_4182-3_0_4_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_4182-3_0_4_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_4182-3_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_4182-3_0_4_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_4182-3_0_4_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_4182-3_0_4_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_4182-3_0_4_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_4182-3_0_4_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_4182-3_0_4_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_4182-3_0_4_node_78 | 0.4 | n |  | TRUE
97 | bus_LV_4182-3_0_4_node_82 | 0.4 | n |  | TRUE
98 | bus_LV_4182-3_0_4_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_4182-3_0_4_node_79 | 0.4 | n |  | TRUE
100 | bus_LV_4182-3_0_4_node_138 | 0.4 | n |  | TRUE
101 | bus_LV_4182-3_0_4_node_145 | 0.4 | n |  | TRUE
102 | bus_LV_4182-3_0_4_node_136 | 0.4 | n |  | TRUE
103 | bus_LV_4182-3_0_4_node_83 | 0.4 | n |  | TRUE
104 | bus_LV_4182-3_0_4_node_84 | 0.4 | n |  | TRUE
105 | bus_LV_4182-3_0_4_node_87 | 0.4 | n |  | TRUE
106 | bus_LV_4182-3_0_4_node_109 | 0.4 | n |  | TRUE
107 | bus_LV_4182-3_0_4_node_110 | 0.4 | n |  | TRUE
108 | bus_LV_4182-3_0_4_node_93 | 0.4 | n |  | TRUE
109 | bus_LV_4182-3_0_4_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_4182-3_0_4_node_120 | 0.4 | n |  | TRUE
111 | bus_LV_4182-3_0_4_node_121 | 0.4 | n |  | TRUE
112 | bus_LV_4182-3_0_4_node_94 | 0.4 | n |  | TRUE
113 | bus_LV_4182-3_0_4_node_95 | 0.4 | n |  | TRUE
114 | bus_LV_4182-3_0_4_node_96 | 0.4 | n |  | TRUE
115 | bus_LV_4182-3_0_4_node_97 | 0.4 | n |  | TRUE
116 | bus_LV_4182-3_0_4_node_98 | 0.4 | n |  | TRUE
117 | bus_LV_4182-3_0_4_node_113 | 0.4 | n |  | TRUE
118 | bus_LV_4182-3_0_4_node_114 | 0.4 | n |  | TRUE
119 | bus_LV_4182-3_0_4_node_115 | 0.4 | n |  | TRUE
120 | bus_LV_4182-3_0_4_node_111 | 0.4 | n |  | TRUE
121 | bus_LV_4182-3_0_4_node_116 | 0.4 | n |  | TRUE
122 | bus_LV_4182-3_0_4_node_117 | 0.4 | n |  | TRUE
123 | bus_LV_4182-3_0_4_node_118 | 0.4 | n |  | TRUE
124 | bus_LV_4182-3_0_4_node_128 | 0.4 | n |  | TRUE
125 | bus_LV_4182-3_0_4_node_127 | 0.4 | n |  | TRUE
126 | bus_LV_4182-3_0_4_node_141 | 0.4 | n |  | TRUE
127 | bus_LV_4182-3_0_4_node_137 | 0.4 | n |  | TRUE
128 | bus_LV_4182-3_0_4_node_139 | 0.4 | n |  | TRUE
129 | bus_LV_4182-3_0_4_node_122 | 0.4 | n |  | TRUE
130 | bus_LV_4182-3_0_4_node_123 | 0.4 | n |  | TRUE
131 | bus_LV_4182-3_0_4_node_124 | 0.4 | n |  | TRUE
132 | bus_LV_4182-3_0_4_node_125 | 0.4 | n |  | TRUE
133 | bus_LV_4182-3_0_4_node_126 | 0.4 | n |  | TRUE
134 | bus_LV_4182-3_0_4_node_130 | 0.4 | n |  | TRUE
135 | bus_LV_4182-3_0_4_node_129 | 0.4 | n |  | TRUE
136 | bus_LV_4182-3_0_4_node_131 | 0.4 | n |  | TRUE
137 | bus_LV_4182-3_0_4_node_132 | 0.4 | n |  | TRUE
138 | bus_LV_4182-3_0_4_node_135 | 0.4 | n |  | TRUE
139 | bus_LV_4182-3_0_4_node_133 | 0.4 | n |  | TRUE
140 | bus_LV_4182-3_0_4_node_134 | 0.4 | n |  | TRUE
141 | bus_LV_4182-3_0_4_node_144 | 0.4 | n |  | TRUE
142 | bus_LV_4182-3_0_4_node_140 | 0.4 | n |  | TRUE
143 | bus_LV_4182-3_0_4_node_142 | 0.4 | n |  | TRUE
144 | bus_LV_4182-3_0_4_node_143 | 0.4 | n |  | TRUE
145 | bus_MV_304_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4182-3_0_4_load_0 | 0 | 0.0016501 | 0.00041356 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4182-3_0_4_load_1 | 1 | 0.0015697 | 0.00039339 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4182-3_0_4_load_2 | 2 | 0.0024756 | 0.00062045 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4182-3_0_4_load_3 | 3 | 0.0017358 | 0.00043504 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4182-3_0_4_load_4 | 4 | 0.00087267 | 0.00021871 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4182-3_0_4_load_58 | 5 | 0.0014377 | 0.00036032 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4182-3_0_4_load_60 | 6 | 0.0026267 | 0.00065831 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4182-3_0_4_load_56 | 7 | 0.0033461 | 0.0008386 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4182-3_0_4_load_5 | 8 | 0.0010005 | 0.00025075 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4182-3_0_4_load_6 | 9 | 0.0022796 | 0.00057133 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4182-3_0_4_load_63 | 10 | 0.0010004 | 0.00025073 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4182-3_0_4_load_31 | 11 | 0.0018708 | 0.00046886 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4182-3_0_4_load_61 | 12 | 0.0067163 | 0.0016833 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4182-3_0_4_load_25 | 13 | 0.0011133 | 0.00027902 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4182-3_0_4_load_112 | 14 | 0.0018694 | 0.00046852 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4182-3_0_4_load_108 | 15 | 0.0028007 | 0.00070192 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4182-3_0_4_load_59 | 16 | 0.00084122 | 0.00021083 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4182-3_0_4_load_36 | 18 | 0.0009242 | 0.00023163 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4182-3_0_4_load_12 | 20 | 0.0022455 | 0.00056277 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4182-3_0_4_load_7 | 21 | 0.0027756 | 0.00069564 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4182-3_0_4_load_8 | 22 | 0.0015052 | 0.00037723 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4182-3_0_4_load_9 | 23 | 0.0020872 | 0.0005231 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4182-3_0_4_load_30 | 25 | 0.0018455 | 0.00046252 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4182-3_0_4_load_24 | 26 | 0.0015307 | 0.00038362 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4182-3_0_4_load_11 | 27 | 0.0018376 | 0.00046055 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4182-3_0_4_load_13 | 28 | 0.0018384 | 0.00046074 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4182-3_0_4_load_14 | 29 | 0.0013396 | 0.00033574 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4182-3_0_4_load_16 | 31 | 0.0013165 | 0.00032995 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4182-3_0_4_load_17 | 32 | 0.0014994 | 0.00037579 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4182-3_0_4_load_18 | 33 | 0.00096241 | 0.0002412 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4182-3_0_4_load_19 | 34 | 0.0015006 | 0.00037608 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4182-3_0_4_load_65 | 35 | 0.0021496 | 0.00053873 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4182-3_0_4_load_26 | 36 | 0.0020537 | 0.00051471 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4182-3_0_4_load_27 | 37 | 0.0010485 | 0.00026277 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4182-3_0_4_load_20 | 38 | 0.0013166 | 0.00032998 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4182-3_0_4_load_21 | 39 | 0.0014734 | 0.00036926 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4182-3_0_4_load_28 | 40 | 0.0022108 | 0.00055407 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4182-3_0_4_load_57 | 41 | 0.0020375 | 0.00051063 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4182-3_0_4_load_22 | 42 | 0.0015001 | 0.00037597 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4182-3_0_4_load_32 | 43 | 0.0013576 | 0.00034024 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4182-3_0_4_load_23 | 44 | 0.00084683 | 0.00021223 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4182-3_0_4_load_33 | 45 | 0.0014708 | 0.00036861 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4182-3_0_4_load_37 | 46 | 0.0011345 | 0.00028432 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4182-3_0_4_load_102 | 47 | 0.0014327 | 0.00035908 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4182-3_0_4_load_101 | 48 | 0.0018073 | 0.00045294 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4182-3_0_4_load_39 | 49 | 0.0023878 | 0.00059845 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4182-3_0_4_load_34 | 51 | 0.0013885 | 0.00034798 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4182-3_0_4_load_35 | 52 | 0.0029342 | 0.00073538 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4182-3_0_4_load_38 | 53 | 0.0014267 | 0.00035756 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4182-3_0_4_load_99 | 54 | 0.00036005 | 9.0236e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4182-3_0_4_load_40 | 55 | 0.0019019 | 0.00047665 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4182-3_0_4_load_100 | 57 | 0.00096063 | 0.00024076 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4182-3_0_4_load_91 | 58 | 0.00088111 | 0.00022083 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4182-3_0_4_load_46 | 59 | 0.0021771 | 0.00054564 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4182-3_0_4_load_43 | 60 | 0.0023116 | 0.00057934 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4182-3_0_4_load_89 | 62 | 0.0010601 | 0.00026568 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4182-3_0_4_load_88 | 63 | 0.0021041 | 0.00052735 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4182-3_0_4_load_54 | 64 | 0.0010315 | 0.00025852 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4182-3_0_4_load_106 | 66 | 0.0022647 | 0.00056759 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4182-3_0_4_load_119 | 67 | 0.0029781 | 0.00074639 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4182-3_0_4_load_48 | 68 | 0.0021358 | 0.00053529 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4182-3_0_4_load_44 | 69 | 0.00079016 | 0.00019803 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4182-3_0_4_load_45 | 70 | 0.0015149 | 0.00037966 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4182-3_0_4_load_49 | 71 | 0.0019567 | 0.00049039 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4182-3_0_4_load_47 | 73 | 0.0020443 | 0.00051234 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4182-3_0_4_load_50 | 74 | 0.0028669 | 0.0007185 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4182-3_0_4_load_53 | 75 | 0.0025166 | 0.00063073 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4182-3_0_4_load_52 | 76 | 0.0012336 | 0.00030917 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4182-3_0_4_load_103 | 77 | 0.0010964 | 0.00027478 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4182-3_0_4_load_62 | 81 | 0.0020939 | 0.00052479 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4182-3_0_4_load_67 | 83 | 0.0023103 | 0.00057903 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4182-3_0_4_load_68 | 84 | 0.0037146 | 0.00093096 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4182-3_0_4_load_70 | 85 | 0.00075469 | 0.00018914 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4182-3_0_4_load_80 | 86 | 0.0014425 | 0.00036153 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4182-3_0_4_load_71 | 88 | 0.00043199 | 0.00010827 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4182-3_0_4_load_85 | 89 | 0.0013951 | 0.00034964 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4182-3_0_4_load_72 | 91 | 0.00037417 | 9.3776e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4182-3_0_4_load_73 | 92 | 0.0011576 | 0.00029013 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4182-3_0_4_load_74 | 93 | 0.00034989 | 8.769e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4182-3_0_4_load_76 | 94 | 0.00067177 | 0.00016836 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4182-3_0_4_load_77 | 95 | 0.0012468 | 0.00031249 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4182-3_0_4_load_82 | 97 | 0.0010504 | 0.00026326 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4182-3_0_4_load_81 | 98 | 0.00089469 | 0.00022423 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4182-3_0_4_load_138 | 100 | 0.00060031 | 0.00015045 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4182-3_0_4_load_145 | 101 | 0.00018764 | 4.7026e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4182-3_0_4_load_136 | 102 | 0.00053448 | 0.00013395 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4182-3_0_4_load_83 | 103 | 0.00094926 | 0.00023791 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4182-3_0_4_load_84 | 104 | 0.0010978 | 0.00027514 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4182-3_0_4_load_87 | 105 | 0.00031409 | 7.8718e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4182-3_0_4_load_109 | 106 | 0.00082902 | 0.00020777 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4182-3_0_4_load_110 | 107 | 0.0014131 | 0.00035417 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4182-3_0_4_load_93 | 108 | 0.0018659 | 0.00046763 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4182-3_0_4_load_104 | 109 | 0.0039395 | 0.00098734 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4182-3_0_4_load_120 | 110 | 0.0019895 | 0.00049862 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4182-3_0_4_load_121 | 111 | 0.0021139 | 0.00052979 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4182-3_0_4_load_94 | 112 | 0.00060501 | 0.00015163 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4182-3_0_4_load_95 | 113 | 0.0011628 | 0.00029141 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4182-3_0_4_load_96 | 114 | 0.001252 | 0.00031379 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4182-3_0_4_load_97 | 115 | 0.0021979 | 0.00055085 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4182-3_0_4_load_98 | 116 | 0.00064455 | 0.00016154 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4182-3_0_4_load_113 | 117 | 0.0027942 | 0.00070029 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4182-3_0_4_load_114 | 118 | 0.0022512 | 0.0005642 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4182-3_0_4_load_115 | 119 | 0.0011607 | 0.0002909 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4182-3_0_4_load_111 | 120 | 0.0028157 | 0.00070569 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4182-3_0_4_load_117 | 122 | 0.0018958 | 0.00047514 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4182-3_0_4_load_118 | 123 | 0.0002675 | 6.7041e-05 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4182-3_0_4_load_128 | 124 | 0.0004384 | 0.00010987 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4182-3_0_4_load_127 | 125 | 0.00067004 | 0.00016793 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4182-3_0_4_load_137 | 127 | 0.0013292 | 0.00033313 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4182-3_0_4_load_139 | 128 | 0.00028787 | 7.2148e-05 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4182-3_0_4_load_122 | 129 | 0.0024759 | 0.00062052 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4182-3_0_4_load_123 | 130 | 0.00083299 | 0.00020877 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4182-3_0_4_load_124 | 131 | 0.0013749 | 0.00034459 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4182-3_0_4_load_125 | 132 | 0.0015475 | 0.00038784 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4182-3_0_4_load_126 | 133 | 0.00054525 | 0.00013665 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4182-3_0_4_load_130 | 134 | 0.00055365 | 0.00013876 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4182-3_0_4_load_129 | 135 | 0.00089752 | 0.00022494 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4182-3_0_4_load_131 | 136 | 0.00035357 | 8.8613e-05 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4182-3_0_4_load_132 | 137 | 0.00036197 | 9.0719e-05 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4182-3_0_4_load_135 | 138 | 0.00031021 | 7.7745e-05 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4182-3_0_4_load_133 | 139 | 0.00020856 | 5.227e-05 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4182-3_0_4_load_134 | 140 | 0.00082266 | 0.00020618 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4182-3_0_4_load_144 | 141 | 0.00095943 | 0.00024046 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4182-3_0_4_load_140 | 142 | 0.00022534 | 5.6475e-05 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4182-3_0_4_load_142 | 143 | 0.00017224 | 4.3169e-05 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4182-3_0_4_load_143 | 144 | 0.00014501 | 3.6344e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4182-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4182-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.044884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4182-3_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4182-3_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4182-3_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.028802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4182-3_0_4_line_5 | NAYY 4x150 SE | 4 | 9 | 0.012546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4182-3_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0082109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_4182-3_0_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.013488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_4182-3_0_4_line_8 | NAYY 4x150 SE | 6 | 35 | 0.014477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_4182-3_0_4_line_9 | NAYY 4x150 SE | 7 | 41 | 0.010993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_4182-3_0_4_line_10 | NAYY 4x150 SE | 8 | 13 | 0.022188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4182-3_0_4_line_11 | NAYY 4x150 SE | 9 | 17 | 0.026371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4182-3_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.066514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_4182-3_0_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.029355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_4182-3_0_4_line_14 | NAYY 4x150 SE | 11 | 25 | 0.027015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_4182-3_0_4_line_15 | NAYY 4x150 SE | 12 | 81 | 0.0029946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_4182-3_0_4_line_16 | NAYY 4x150 SE | 13 | 18 | 0.018157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4182-3_0_4_line_17 | NAYY 4x150 SE | 14 | 15 | 0.03763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4182-3_0_4_line_18 | NAYY 4x150 SE | 14 | 16 | 0.009415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_4182-3_0_4_line_19 | NAYY 4x150 SE | 15 | 19 | 0.0086905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4182-3_0_4_line_20 | NAYY 4x150 SE | 16 | 41 | 0.020003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_4182-3_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.043645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4182-3_0_4_line_22 | NAYY 4x150 SE | 18 | 46 | 0.0198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4182-3_0_4_line_23 | NAYY 4x150 SE | 19 | 47 | 0.0048152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4182-3_0_4_line_24 | NAYY 4x150 SE | 19 | 115 | 0.035561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4182-3_0_4_line_25 | NAYY 4x150 SE | 20 | 27 | 0.030416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4182-3_0_4_line_26 | NAYY 4x150 SE | 21 | 22 | 0.0043839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4182-3_0_4_line_27 | NAYY 4x150 SE | 22 | 23 | 0.047298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4182-3_0_4_line_28 | NAYY 4x150 SE | 23 | 24 | 0.010839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4182-3_0_4_line_29 | NAYY 4x150 SE | 24 | 25 | 0.013285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_4182-3_0_4_line_30 | NAYY 4x150 SE | 24 | 26 | 0.015256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_4182-3_0_4_line_31 | NAYY 4x150 SE | 26 | 44 | 0.008167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_4182-3_0_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.015886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_4182-3_0_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.017783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_4182-3_0_4_line_34 | NAYY 4x150 SE | 29 | 31 | 0.0040681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_4182-3_0_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.020016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4182-3_0_4_line_36 | NAYY 4x150 SE | 30 | 33 | 0.016044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_4182-3_0_4_line_37 | NAYY 4x150 SE | 31 | 34 | 0.010843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_4182-3_0_4_line_38 | NAYY 4x150 SE | 32 | 36 | 0.013333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4182-3_0_4_line_39 | NAYY 4x150 SE | 33 | 37 | 0.026131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4182-3_0_4_line_40 | NAYY 4x150 SE | 34 | 38 | 0.021034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_4182-3_0_4_line_41 | NAYY 4x150 SE | 34 | 39 | 0.02572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4182-3_0_4_line_42 | NAYY 4x150 SE | 35 | 80 | 0.0063454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_4182-3_0_4_line_43 | NAYY 4x150 SE | 37 | 40 | 0.037843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_4182-3_0_4_line_44 | NAYY 4x150 SE | 38 | 42 | 0.009852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_4182-3_0_4_line_45 | NAYY 4x150 SE | 39 | 43 | 0.025885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4182-3_0_4_line_46 | NAYY 4x150 SE | 40 | 49 | 0.010976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_4182-3_0_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.013119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_4182-3_0_4_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0019692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4182-3_0_4_line_49 | NAYY 4x150 SE | 45 | 51 | 0.025243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4182-3_0_4_line_50 | NAYY 4x150 SE | 46 | 53 | 0.025041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_4182-3_0_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.028021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4182-3_0_4_line_52 | NAYY 4x150 SE | 48 | 54 | 0.0011532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4182-3_0_4_line_53 | NAYY 4x150 SE | 49 | 50 | 0.037994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4182-3_0_4_line_54 | NAYY 4x150 SE | 50 | 59 | 0.031223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4182-3_0_4_line_55 | NAYY 4x150 SE | 50 | 60 | 0.013801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_4182-3_0_4_line_56 | NAYY 4x150 SE | 51 | 52 | 0.018484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4182-3_0_4_line_57 | NAYY 4x150 SE | 53 | 55 | 0.028392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_4182-3_0_4_line_58 | NAYY 4x150 SE | 54 | 57 | 0.025341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4182-3_0_4_line_59 | NAYY 4x150 SE | 55 | 56 | 0.03992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_4182-3_0_4_line_60 | NAYY 4x150 SE | 56 | 61 | 0.054667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_4182-3_0_4_line_61 | NAYY 4x150 SE | 57 | 58 | 0.0069432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4182-3_0_4_line_62 | NAYY 4x150 SE | 58 | 62 | 0.0080617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4182-3_0_4_line_63 | NAYY 4x150 SE | 59 | 68 | 0.014127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4182-3_0_4_line_64 | NAYY 4x150 SE | 60 | 69 | 0.036737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_4182-3_0_4_line_65 | NAYY 4x150 SE | 61 | 64 | 0.014357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_4182-3_0_4_line_66 | NAYY 4x150 SE | 62 | 63 | 0.025668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4182-3_0_4_line_67 | NAYY 4x150 SE | 63 | 79 | 0.024652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4182-3_0_4_line_68 | NAYY 4x150 SE | 64 | 72 | 0.0031345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_4182-3_0_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.028025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4182-3_0_4_line_70 | NAYY 4x150 SE | 65 | 67 | 0.034594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4182-3_0_4_line_71 | NAYY 4x150 SE | 67 | 109 | 0.039132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4182-3_0_4_line_72 | NAYY 4x150 SE | 68 | 73 | 0.039272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4182-3_0_4_line_73 | NAYY 4x150 SE | 69 | 70 | 0.0029612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_4182-3_0_4_line_74 | NAYY 4x150 SE | 70 | 71 | 0.024455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_4182-3_0_4_line_75 | NAYY 4x150 SE | 71 | 72 | 0.02273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_4182-3_0_4_line_76 | NAYY 4x150 SE | 72 | 74 | 0.0086133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4182-3_0_4_line_77 | NAYY 4x150 SE | 74 | 75 | 0.034024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4182-3_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.013284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4182-3_0_4_line_79 | NAYY 4x150 SE | 77 | 78 | 0.0093552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4182-3_0_4_line_80 | NAYY 4x150 SE | 78 | 109 | 0.022508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4182-3_0_4_line_81 | NAYY 4x150 SE | 78 | 79 | 0.01508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4182-3_0_4_line_82 | NAYY 4x150 SE | 79 | 108 | 0.020202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4182-3_0_4_line_83 | NAYY 4x150 SE | 80 | 84 | 0.017953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4182-3_0_4_line_84 | NAYY 4x150 SE | 80 | 83 | 0.011967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_4182-3_0_4_line_85 | NAYY 4x150 SE | 81 | 82 | 0.021208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_4182-3_0_4_line_86 | NAYY 4x150 SE | 82 | 83 | 0.045701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_4182-3_0_4_line_87 | NAYY 4x150 SE | 84 | 85 | 0.0040343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4182-3_0_4_line_88 | NAYY 4x150 SE | 86 | 87 | 0.044482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4182-3_0_4_line_89 | NAYY 4x150 SE | 87 | 92 | 0.0034034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4182-3_0_4_line_90 | NAYY 4x150 SE | 88 | 89 | 0.01065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4182-3_0_4_line_91 | NAYY 4x150 SE | 89 | 90 | 0.025439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4182-3_0_4_line_92 | NAYY 4x150 SE | 90 | 105 | 0.0093891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4182-3_0_4_line_93 | NAYY 4x150 SE | 90 | 104 | 0.010817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4182-3_0_4_line_94 | NAYY 4x150 SE | 91 | 92 | 0.008449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4182-3_0_4_line_95 | NAYY 4x150 SE | 91 | 93 | 0.0062258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4182-3_0_4_line_96 | NAYY 4x150 SE | 93 | 94 | 0.0060829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4182-3_0_4_line_97 | NAYY 4x150 SE | 94 | 97 | 0.0077102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4182-3_0_4_line_98 | NAYY 4x150 SE | 95 | 96 | 0.029107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4182-3_0_4_line_99 | NAYY 4x150 SE | 96 | 99 | 0.01409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4182-3_0_4_line_100 | NAYY 4x150 SE | 97 | 98 | 0.0078918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4182-3_0_4_line_101 | NAYY 4x150 SE | 98 | 103 | 0.013149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4182-3_0_4_line_102 | NAYY 4x150 SE | 99 | 100 | 0.037636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4182-3_0_4_line_103 | NAYY 4x150 SE | 100 | 101 | 0.016565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4182-3_0_4_line_104 | NAYY 4x150 SE | 100 | 102 | 0.021095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4182-3_0_4_line_105 | NAYY 4x150 SE | 101 | 141 | 0.025762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4182-3_0_4_line_106 | NAYY 4x150 SE | 102 | 140 | 0.021142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4182-3_0_4_line_107 | NAYY 4x150 SE | 103 | 104 | 0.016583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4182-3_0_4_line_108 | NAYY 4x150 SE | 105 | 106 | 0.012471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4182-3_0_4_line_109 | NAYY 4x150 SE | 106 | 107 | 0.0024784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4182-3_0_4_line_110 | NAYY 4x150 SE | 107 | 120 | 0.030834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4182-3_0_4_line_111 | NAYY 4x150 SE | 108 | 110 | 0.022578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_4182-3_0_4_line_112 | NAYY 4x150 SE | 110 | 111 | 0.0026313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_4182-3_0_4_line_113 | NAYY 4x150 SE | 111 | 129 | 0.0055779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_4182-3_0_4_line_114 | NAYY 4x150 SE | 112 | 113 | 0.0049037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_4182-3_0_4_line_115 | NAYY 4x150 SE | 112 | 114 | 0.0074471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_4182-3_0_4_line_116 | NAYY 4x150 SE | 113 | 115 | 0.0077169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_4182-3_0_4_line_117 | NAYY 4x150 SE | 114 | 116 | 0.0036779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_4182-3_0_4_line_118 | NAYY 4x150 SE | 116 | 117 | 0.018062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_4182-3_0_4_line_119 | NAYY 4x150 SE | 117 | 118 | 0.0099759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_4182-3_0_4_line_120 | NAYY 4x150 SE | 117 | 119 | 0.038303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_4182-3_0_4_line_121 | NAYY 4x150 SE | 118 | 122 | 0.014464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_4182-3_0_4_line_122 | NAYY 4x150 SE | 119 | 124 | 0.0059722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_4182-3_0_4_line_123 | NAYY 4x150 SE | 120 | 121 | 0.012522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_4182-3_0_4_line_124 | NAYY 4x150 SE | 121 | 122 | 0.016831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_4182-3_0_4_line_125 | NAYY 4x150 SE | 121 | 123 | 0.015316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_4182-3_0_4_line_126 | NAYY 4x150 SE | 123 | 126 | 0.005913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_4182-3_0_4_line_127 | NAYY 4x150 SE | 124 | 125 | 0.010228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_4182-3_0_4_line_128 | NAYY 4x150 SE | 125 | 135 | 0.001039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_4182-3_0_4_line_129 | NAYY 4x150 SE | 126 | 127 | 0.029566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_4182-3_0_4_line_130 | NAYY 4x150 SE | 126 | 128 | 0.023352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_4182-3_0_4_line_131 | NAYY 4x150 SE | 127 | 138 | 0.033055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_4182-3_0_4_line_132 | NAYY 4x150 SE | 127 | 137 | 0.079857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4182-3_0_4_line_133 | NAYY 4x150 SE | 128 | 142 | 0.010386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4182-3_0_4_line_134 | NAYY 4x150 SE | 130 | 131 | 0.042456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4182-3_0_4_line_135 | NAYY 4x150 SE | 131 | 132 | 0.019047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4182-3_0_4_line_136 | NAYY 4x150 SE | 132 | 133 | 0.006302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_4182-3_0_4_line_137 | NAYY 4x150 SE | 133 | 134 | 0.014712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_4182-3_0_4_line_138 | NAYY 4x150 SE | 134 | 135 | 0.0075119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_4182-3_0_4_line_139 | NAYY 4x150 SE | 136 | 137 | 0.0096292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_4182-3_0_4_line_140 | NAYY 4x150 SE | 138 | 139 | 0.022151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_4182-3_0_4_line_141 | NAYY 4x150 SE | 139 | 140 | 0.015743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_4182-3_0_4_line_142 | NAYY 4x150 SE | 142 | 143 | 0.021115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_4182-3_0_4_line_143 | NAYY 4x150 SE | 143 | 144 | 0.0080217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4182-3_0_4_trafo_112 | 0.25 MVA 20/0.4 kV | 145 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2642356.8518 | 1257235.2505 | 2642358.0139 | 1257239.3652 | 2642360.6632 | 1257253.7275 | 2642359.7993 | 1257260.6594 | 2642356.2056 | 1257266.5934 | 2642353.831 | 1257269.1866
1 | 2642356.8518 | 1257235.2505 | 2642344.6529 | 1257192.0558
2 | 2642353.831 | 1257269.1866 | 2642350.3389 | 1257273.0003 | 2642344.1573 | 1257278.1152 | 2642336.7049 | 1257280.6304 | 2642328.9329 | 1257282.5095 | 2642314.2233 | 1257282.4044 | 2642303.0994 | 1257281.9135
3 | 2642344.6529 | 1257192.0558 | 2642337.5323 | 1257166.8426
4 | 2642274.3056 | 1257281.4782 | 2642282.382 | 1257281.3764 | 2642301.2964 | 1257281.8339 | 2642303.0994 | 1257281.9135
5 | 2642334.1224 | 1257154.7686 | 2642337.5323 | 1257166.8426
6 | 2642105.7068 | 1257093.9794 | 2642103.3599 | 1257099.2312 | 2642102.018 | 1257101.2914
7 | 2642094.6562 | 1257112.5933 | 2642102.018 | 1257101.2914
8 | 2642111.613 | 1257080.7625 | 2642105.7068 | 1257093.9794
9 | 2642094.6562 | 1257112.5933 | 2642088.6562 | 1257121.8046
10 | 2642274.3056 | 1257281.4782 | 2642266.0566 | 1257281.5823 | 2642254.4098 | 1257282.2997 | 2642252.2608 | 1257283.0308
11 | 2642330.6921 | 1257129.2383 | 2642329.1872 | 1257134.0864 | 2642330.4223 | 1257141.6671 | 2642334.1224 | 1257154.7686
12 | 2642175.4295 | 1257011.3871 | 2642224.2197 | 1257056.594
13 | 2642147.3061 | 1257018.8975 | 2642156.076 | 1257018.3278 | 2642165.3006 | 1257014.7577 | 2642175.4295 | 1257011.3871
14 | 2642226.6707 | 1257083.4978 | 2642225.0499 | 1257065.4626 | 2642224.2197 | 1257056.594
15 | 2642147.3061 | 1257018.8975 | 2642145.1225 | 1257019.0393 | 2642144.3164 | 1257019.0152
16 | 2642235.9222 | 1257290.7181 | 2642244.1986 | 1257285.7737 | 2642252.2608 | 1257283.0308
17 | 2642056.6473 | 1257180.61 | 2642073.4225 | 1257146.9257
18 | 2642073.4225 | 1257146.9257 | 2642077.09 | 1257139.5614 | 2642077.7384 | 1257138.5659
19 | 2642052.7732 | 1257188.3892 | 2642056.6473 | 1257180.61
20 | 2642088.6562 | 1257121.8046 | 2642077.7384 | 1257138.5659
21 | 2642330.6921 | 1257129.2383 | 2642327.9146 | 1257120.1343 | 2642319.878 | 1257107.3125 | 2642317.0077 | 1257101.677 | 2642314.917 | 1257096.7031 | 2642313.8826 | 1257089.5018
22 | 2642235.9222 | 1257290.7181 | 2642235.9222 | 1257290.7181 | 2642221.9367 | 1257302.2153 | 2642220.6967 | 1257303.3714
23 | 2642052.7732 | 1257188.3892 | 2642050.9 | 1257192.8251
24 | 2642052.7732 | 1257188.3892 | 2642041.0351 | 1257180.7117 | 2642036.3743 | 1257177.6765 | 2642022.911 | 1257169.0812
25 | 2642313.8826 | 1257089.5018 | 2642313.6254 | 1257082.2394 | 2642314.8355 | 1257074.3426 | 2642316.2883 | 1257066.2363 | 2642317.2798 | 1257059.383
26 | 2642246.8128 | 1257041.9571 | 2642249.8667 | 1257038.8118
27 | 2642230.3946 | 1257085.697 | 2642230.9193 | 1257079.8366 | 2642234.037 | 1257066.6386 | 2642240.3513 | 1257052.4516 | 2642246.8128 | 1257041.9571 | 2642246.8128 | 1257041.9571
28 | 2642229.4282 | 1257096.4931 | 2642230.3946 | 1257085.697
29 | 2642229.4282 | 1257096.4931 | 2642226.6707 | 1257083.4978
30 | 2642229.4282 | 1257096.4931 | 2642232.8627 | 1257104.423 | 2642236.076 | 1257110.2041
31 | 2642240.0438 | 1257117.3425 | 2642236.076 | 1257110.2041
32 | 2642267.5985 | 1257169.399 | 2642269.1714 | 1257172.6736 | 2642272.7371 | 1257184.396 | 2642272.7371 | 1257184.396
33 | 2642269.3728 | 1257201.5061 | 2642272.8345 | 1257192.9359 | 2642272.7371 | 1257184.396
34 | 2642267.5985 | 1257169.399 | 2642265.837 | 1257165.732
35 | 2642269.3728 | 1257201.5061 | 2642272.8396 | 1257207.0124 | 2642278.4858 | 1257219.2854
36 | 2642269.3728 | 1257201.5061 | 2642267.3522 | 1257205.7057 | 2642262.0802 | 1257211.2052 | 2642259.0568 | 1257213.4498
37 | 2642261.0491 | 1257156.0041 | 2642262.767 | 1257159.3409 | 2642265.837 | 1257165.732
38 | 2642284.0584 | 1257231.3982 | 2642278.4858 | 1257219.2854
39 | 2642259.0568 | 1257213.4498 | 2642255.5385 | 1257216.0619 | 2642243.9336 | 1257220.4044 | 2642234.6972 | 1257221.9103
40 | 2642261.0491 | 1257156.0041 | 2642254.9436 | 1257144.1079 | 2642251.2114 | 1257137.4159
41 | 2642261.0491 | 1257156.0041 | 2642236.1758 | 1257162.5476
42 | 2642114.2018 | 1257074.9692 | 2642111.613 | 1257080.7625
43 | 2642234.6972 | 1257221.9103 | 2642224.3974 | 1257223.5896 | 2642204.231 | 1257227.393 | 2642197.6138 | 1257229.296
44 | 2642251.2114 | 1257137.4159 | 2642248.2134 | 1257132.0404 | 2642246.4173 | 1257128.809
45 | 2642211.1428 | 1257169.1332 | 2642236.1758 | 1257162.5476
46 | 2642197.6138 | 1257229.296 | 2642187.0649 | 1257232.3297
47 | 2642246.4173 | 1257128.809 | 2642240.0438 | 1257117.3425
48 | 2642211.1428 | 1257169.1332 | 2642209.2383 | 1257169.6342
49 | 2642209.2383 | 1257169.6342 | 2642206.938 | 1257170.2394 | 2642184.6966 | 1257175.5396
50 | 2642220.6967 | 1257303.3714 | 2642206.1488 | 1257316.9352 | 2642202.7448 | 1257320.8014
51 | 2642050.9 | 1257192.8251 | 2642047.2822 | 1257201.3925 | 2642040.8145 | 1257217.0908 | 2642040.0528 | 1257218.6582
52 | 2642039.5487 | 1257219.6954 | 2642040.0528 | 1257218.6582
53 | 2642162.2767 | 1257260.4616 | 2642168.7005 | 1257249.9111 | 2642178.1382 | 1257238.5927 | 2642187.0649 | 1257232.3297 | 2642187.0649 | 1257232.3297
54 | 2642162.2767 | 1257260.4616 | 2642151.8888 | 1257256.9853 | 2642136.8209 | 1257248.9392 | 2642134.3435 | 1257246.9345
55 | 2642162.2767 | 1257260.4616 | 2642155.6909 | 1257272.5898
56 | 2642166.5729 | 1257179.1582 | 2642181.7038 | 1257176.2527 | 2642184.6966 | 1257175.5396
57 | 2642202.7448 | 1257320.8014 | 2642195.7196 | 1257328.7803 | 2642182.4588 | 1257340.5965
58 | 2642039.5487 | 1257219.6954 | 2642033.7979 | 1257231.5288 | 2642030.1776 | 1257238.0521 | 2642027.8855 | 1257242.1825
59 | 2642161.7873 | 1257373.6698 | 2642164.7135 | 1257364.0395 | 2642168.9062 | 1257354.4294 | 2642181.2113 | 1257341.7081 | 2642182.4588 | 1257340.5965
60 | 2642111.1126 | 1257356.6643 | 2642116.8244 | 1257362.4423 | 2642124.255 | 1257366.131 | 2642133.2734 | 1257369.1972 | 2642161.7873 | 1257373.6698
61 | 2642024.5164 | 1257248.2535 | 2642027.8855 | 1257242.1825
62 | 2642024.5164 | 1257248.2535 | 2642020.6046 | 1257255.3025
63 | 2642134.3435 | 1257246.9345 | 2642127.4499 | 1257241.3562 | 2642122.4936 | 1257239.5976 | 2642122.4936 | 1257239.5976
64 | 2642155.6909 | 1257272.5898 | 2642148.6295 | 1257283.7584 | 2642141.2656 | 1257293.9909 | 2642133.5653 | 1257301.7292
65 | 2642111.1126 | 1257356.6643 | 2642106.133 | 1257349.713 | 2642105.3513 | 1257343.9599
66 | 2642006.9248 | 1257276.9989 | 2642016.6132 | 1257262.495 | 2642020.6046 | 1257255.3025
67 | 2641993.6903 | 1257297.7903 | 2641994.8172 | 1257296.2305 | 2642004.5417 | 1257280.5664 | 2642006.9248 | 1257276.9989
68 | 2642104.9293 | 1257340.8539 | 2642105.3513 | 1257343.9599
69 | 2641982.1363 | 1257376.8853 | 2641979.1091 | 1257380.6109 | 2641969.0533 | 1257401.5458
70 | 2641951.1111 | 1257361.5817 | 2641982.1363 | 1257376.8853
71 | 2641972.2768 | 1257328.6933 | 2641956.2818 | 1257352.4853 | 2641951.1111 | 1257361.5817
72 | 2642092.411 | 1257263.0077 | 2642113.233 | 1257242.9896 | 2642118.2194 | 1257239.456 | 2642122.4936 | 1257239.5976
73 | 2642133.5653 | 1257301.7292 | 2642131.4766 | 1257303.8282
74 | 2642131.4766 | 1257303.8282 | 2642127.0492 | 1257308.2775 | 2642113.7986 | 1257320.3583 | 2642113.666 | 1257320.5671
75 | 2642104.9293 | 1257340.8539 | 2642105.2965 | 1257333.7405 | 2642113.666 | 1257320.5671
76 | 2642104.9293 | 1257340.8539 | 2642100.8677 | 1257343.7048 | 2642100.7786 | 1257347.3548
77 | 2642100.7786 | 1257347.3548 | 2642067.2396 | 1257341.6312
78 | 2642067.2396 | 1257341.6312 | 2642066.7011 | 1257348.4432 | 2642066.4247 | 1257354.8882
79 | 2641984.8347 | 1257310.0137 | 2641987.585 | 1257314.5141 | 2641987.986 | 1257318.5753
80 | 2641984.8347 | 1257310.0137 | 2641972.2768 | 1257328.6933
81 | 2641984.8347 | 1257310.0137 | 2641993.6903 | 1257297.7903
82 | 2641993.6903 | 1257297.7903 | 2641979.9357 | 1257289.5315 | 2641976.5202 | 1257287.1598
83 | 2642114.2018 | 1257074.9692 | 2642097.0377 | 1257069.7066
84 | 2642114.2018 | 1257074.9692 | 2642117.1445 | 1257065.1389 | 2642117.6472 | 1257063.5087
85 | 2642123.117 | 1257018.4046 | 2642131.4851 | 1257018.6309 | 2642144.3164 | 1257019.0152
86 | 2642123.117 | 1257018.4046 | 2642123.0399 | 1257030.3012 | 2642122.2801 | 1257042.7711 | 2642120.6717 | 1257053.7005 | 2642117.6472 | 1257063.5087
87 | 2642097.0377 | 1257069.7066 | 2642093.1807 | 1257068.5239
88 | 2642041.4511 | 1256970.2469 | 2642061.8547 | 1256977.7525 | 2642074.0562 | 1256979.6849 | 2642073.6887 | 1256983.6628 | 2642079.3179 | 1256986.6931
89 | 2642041.4511 | 1256970.2469 | 2642039.8271 | 1256973.2379
90 | 2642039.8171 | 1257052.2817 | 2642050.0765 | 1257055.1384
91 | 2642015.3106 | 1257045.4579 | 2642039.8171 | 1257052.2817
92 | 2642015.3106 | 1257045.4579 | 2642014.6176 | 1257054.8215
93 | 2642015.3106 | 1257045.4579 | 2642017.1396 | 1257034.7966
94 | 2642035.7955 | 1256980.6629 | 2642039.8271 | 1256973.2379
95 | 2642035.7955 | 1256980.6629 | 2642032.8247 | 1256986.1342
96 | 2642032.8247 | 1256986.1342 | 2642029.9221 | 1256991.4798
97 | 2642029.9221 | 1256991.4798 | 2642029.9221 | 1256991.4798 | 2642027.0457 | 1256998.6334
98 | 2641968.4129 | 1256950.4266 | 2641973.0296 | 1256952.2606 | 2641996.9544 | 1256955.4724
99 | 2641968.4129 | 1256950.4266 | 2641965.352 | 1256964.1811
100 | 2642024.1016 | 1257005.9554 | 2642027.0457 | 1256998.6334
101 | 2642024.1016 | 1257005.9554 | 2642022.3077 | 1257010.4167 | 2642020.5413 | 1257018.5684
102 | 2641929.7023 | 1256952.117 | 2641965.352 | 1256964.1811
103 | 2641930.6183 | 1256935.5788 | 2641929.8419 | 1256950.7204 | 2641929.7023 | 1256952.117
104 | 2641929.7023 | 1256952.117 | 2641927.7239 | 1256971.909 | 2641927.6899 | 1256973.1129
105 | 2641930.0302 | 1256909.8458 | 2641930.4213 | 1256913.6212 | 2641930.8044 | 1256924.4758 | 2641930.6905 | 1256934.1706 | 2641930.6183 | 1256935.5788
106 | 2641929.6034 | 1256994.0803 | 2641928.4195 | 1256988.681 | 2641927.5126 | 1256979.3904 | 2641927.6899 | 1256973.1129
107 | 2642020.5413 | 1257018.5684 | 2642017.5758 | 1257032.2538 | 2642017.1396 | 1257034.7966
108 | 2642012.6275 | 1257067.0999 | 2642014.2431 | 1257059.8826 | 2642014.6176 | 1257054.8215
109 | 2642012.0861 | 1257069.5184 | 2642012.6275 | 1257067.0999
110 | 2642012.0861 | 1257069.5184 | 2642012.0861 | 1257069.5184 | 2642006.6105 | 1257079.2863 | 2641992.5127 | 1257092.9547
111 | 2641957.9496 | 1257274.3191 | 2641962.5288 | 1257277.4443 | 2641976.5202 | 1257287.1598
112 | 2641957.9496 | 1257274.3191 | 2641955.7763 | 1257272.8358
113 | 2641951.1691 | 1257269.6914 | 2641955.7763 | 1257272.8358
114 | 2642013.205 | 1257161.0298 | 2642016.9396 | 1257164.2077
115 | 2642013.205 | 1257161.0298 | 2642007.5334 | 1257156.2036
116 | 2642016.9396 | 1257164.2077 | 2642021.9327 | 1257168.4566 | 2642022.911 | 1257169.0812
117 | 2642004.7324 | 1257153.8201 | 2642007.5334 | 1257156.2036
118 | 2641992.0419 | 1257141.0924 | 2641996.5552 | 1257146.8617 | 2642004.7324 | 1257153.8201
119 | 2641992.0419 | 1257141.0924 | 2641987.7976 | 1257135.6697 | 2641987.1608 | 1257132.6464
120 | 2641992.0419 | 1257141.0924 | 2641969.5846 | 1257172.1219
121 | 2641987.1608 | 1257132.6464 | 2641984.2305 | 1257118.7327 | 2641984.2204 | 1257118.4875
122 | 2641969.5846 | 1257172.1219 | 2641966.0831 | 1257176.9599
123 | 2641983.5221 | 1257101.6715 | 2641992.5127 | 1257092.9547
124 | 2641983.5221 | 1257101.6715 | 2641984.2204 | 1257118.4875
125 | 2641983.5221 | 1257101.6715 | 2641980.4661 | 1257095.6012 | 2641975.3379 | 1257088.7979
126 | 2641971.7786 | 1257084.0761 | 2641975.3379 | 1257088.7979
127 | 2641960.0862 | 1257185.2459 | 2641966.0831 | 1257176.9599
128 | 2641960.0862 | 1257185.2459 | 2641959.4771 | 1257186.0875
129 | 2641971.7786 | 1257084.0761 | 2641963.0129 | 1257076.1308 | 2641957.7063 | 1257065.2524 | 2641955.5457 | 1257060.0523
130 | 2641971.7786 | 1257084.0761 | 2641972.6115 | 1257077.1995 | 2641968.2335 | 1257061.3682
131 | 2641955.5457 | 1257060.0523 | 2641942.8625 | 1257029.5269
132 | 2641955.5457 | 1257060.0523 | 2641890.7241 | 1257106.6923
133 | 2641968.2335 | 1257061.3682 | 2641965.4652 | 1257051.3582
134 | 2641906.693 | 1257259.0198 | 2641931.5848 | 1257224.6265
135 | 2641942.7521 | 1257209.1966 | 2641931.5848 | 1257224.6265
136 | 2641942.7521 | 1257209.1966 | 2641946.4469 | 1257204.0914
137 | 2641955.0728 | 1257192.1729 | 2641946.4469 | 1257204.0914
138 | 2641959.4771 | 1257186.0875 | 2641955.0728 | 1257192.1729
139 | 2641888.7475 | 1257116.1165 | 2641890.7241 | 1257106.6923
140 | 2641934.3634 | 1257009.0718 | 2641942.8625 | 1257029.5269
141 | 2641934.3634 | 1257009.0718 | 2641934.1081 | 1257008.4572 | 2641930.1287 | 1256996.4763 | 2641929.6034 | 1256994.0803
142 | 2641961.6585 | 1257030.6407 | 2641963.3042 | 1257043.5437 | 2641965.4652 | 1257051.3582
143 | 2641960.6436 | 1257022.6834 | 2641961.6585 | 1257030.6407

## bus_geodata
| x | y | coords
0 | 2642356.8518 | 1257235.2505
1 | 2642353.831 | 1257269.1866
2 | 2642344.6529 | 1257192.0558
3 | 2642303.0994 | 1257281.9135
4 | 2642337.5323 | 1257166.8426
5 | 2642102.018 | 1257101.2913
6 | 2642105.7068 | 1257093.9794
7 | 2642094.6562 | 1257112.5933
8 | 2642274.3056 | 1257281.4782
9 | 2642334.1224 | 1257154.7686
10 | 2642175.4295 | 1257011.3871
11 | 2642224.2197 | 1257056.594
12 | 2642147.3061 | 1257018.8975
13 | 2642252.2608 | 1257283.0308
14 | 2642073.4225 | 1257146.9257
15 | 2642056.6473 | 1257180.61
16 | 2642077.7384 | 1257138.5659
17 | 2642330.6921 | 1257129.2383
18 | 2642235.9222 | 1257290.7181
19 | 2642052.7732 | 1257188.3892
20 | 2642313.8826 | 1257089.5018
21 | 2642249.8667 | 1257038.8118
22 | 2642246.8128 | 1257041.9571
23 | 2642230.3946 | 1257085.697
24 | 2642229.4282 | 1257096.4931
25 | 2642226.6707 | 1257083.4978
26 | 2642236.076 | 1257110.2041
27 | 2642317.2798 | 1257059.383
28 | 2642272.7371 | 1257184.396
29 | 2642267.5985 | 1257169.399
30 | 2642269.3728 | 1257201.5061
31 | 2642265.837 | 1257165.732
32 | 2642278.4858 | 1257219.2854
33 | 2642259.0568 | 1257213.4498
34 | 2642261.0491 | 1257156.0041
35 | 2642111.613 | 1257080.7625
36 | 2642284.0584 | 1257231.3982
37 | 2642234.6972 | 1257221.9103
38 | 2642251.2114 | 1257137.4159
39 | 2642236.1758 | 1257162.5476
40 | 2642197.6138 | 1257229.296
41 | 2642088.6562 | 1257121.8046
42 | 2642246.4173 | 1257128.809
43 | 2642211.1428 | 1257169.1332
44 | 2642240.0438 | 1257117.3425
45 | 2642209.2383 | 1257169.6342
46 | 2642220.6967 | 1257303.3714
47 | 2642050.9 | 1257192.8251
48 | 2642040.0528 | 1257218.6582
49 | 2642187.0649 | 1257232.3297
50 | 2642162.2767 | 1257260.4616
51 | 2642184.6966 | 1257175.5396
52 | 2642166.5729 | 1257179.1582
53 | 2642202.7448 | 1257320.8014
54 | 2642039.5487 | 1257219.6954
55 | 2642182.4588 | 1257340.5965
56 | 2642161.7873 | 1257373.6698
57 | 2642027.8855 | 1257242.1825
58 | 2642024.5164 | 1257248.2535
59 | 2642134.3435 | 1257246.9345
60 | 2642155.6909 | 1257272.5898
61 | 2642111.1126 | 1257356.6643
62 | 2642020.6046 | 1257255.3025
63 | 2642006.9248 | 1257276.9989
64 | 2642105.3513 | 1257343.9599
65 | 2641982.1363 | 1257376.8853
66 | 2641969.0533 | 1257401.5458
67 | 2641951.1111 | 1257361.5817
68 | 2642122.4936 | 1257239.5976
69 | 2642133.5653 | 1257301.7292
70 | 2642131.4766 | 1257303.8282
71 | 2642113.666 | 1257320.5671
72 | 2642104.9293 | 1257340.8539
73 | 2642092.411 | 1257263.0077
74 | 2642100.7786 | 1257347.3548
75 | 2642067.2396 | 1257341.6312
76 | 2642066.4247 | 1257354.8882
77 | 2641987.986 | 1257318.5753
78 | 2641984.8347 | 1257310.0137
79 | 2641993.6903 | 1257297.7903
80 | 2642114.2018 | 1257074.9692
81 | 2642144.3164 | 1257019.0152
82 | 2642123.117 | 1257018.4046
83 | 2642117.6472 | 1257063.5087
84 | 2642097.0377 | 1257069.7066
85 | 2642093.1807 | 1257068.5239
86 | 2642079.3179 | 1256986.6931
87 | 2642041.4511 | 1256970.2469
88 | 2642050.0765 | 1257055.1384
89 | 2642039.8171 | 1257052.2817
90 | 2642015.3106 | 1257045.4579
91 | 2642035.7955 | 1256980.6629
92 | 2642039.8271 | 1256973.2379
93 | 2642032.8247 | 1256986.1342
94 | 2642029.9221 | 1256991.4798
95 | 2641996.9544 | 1256955.4724
96 | 2641968.4129 | 1256950.4266
97 | 2642027.0457 | 1256998.6334
98 | 2642024.1016 | 1257005.9554
99 | 2641965.352 | 1256964.1811
100 | 2641929.7023 | 1256952.117
101 | 2641930.6183 | 1256935.5788
102 | 2641927.6899 | 1256973.1129
103 | 2642020.5413 | 1257018.5684
104 | 2642017.1396 | 1257034.7966
105 | 2642014.6176 | 1257054.8215
106 | 2642012.6275 | 1257067.0999
107 | 2642012.0861 | 1257069.5184
108 | 2641976.5202 | 1257287.1598
109 | 2641972.2768 | 1257328.6933
110 | 2641957.9496 | 1257274.3191
111 | 2641955.7763 | 1257272.8358
112 | 2642013.205 | 1257161.0298
113 | 2642016.9396 | 1257164.2077
114 | 2642007.5334 | 1257156.2036
115 | 2642022.911 | 1257169.0812
116 | 2642004.7324 | 1257153.8201
117 | 2641992.0419 | 1257141.0924
118 | 2641987.1608 | 1257132.6464
119 | 2641969.5846 | 1257172.1219
120 | 2641992.5127 | 1257092.9547
121 | 2641983.5221 | 1257101.6715
122 | 2641984.2204 | 1257118.4875
123 | 2641975.3379 | 1257088.7979
124 | 2641966.0831 | 1257176.9599
125 | 2641960.0862 | 1257185.2459
126 | 2641971.7786 | 1257084.0761
127 | 2641955.5457 | 1257060.0523
128 | 2641968.2335 | 1257061.3682
129 | 2641951.1691 | 1257269.6914
130 | 2641906.693 | 1257259.0198
131 | 2641931.5848 | 1257224.6265
132 | 2641942.7521 | 1257209.1966
133 | 2641946.4469 | 1257204.0914
134 | 2641955.0728 | 1257192.1729
135 | 2641959.4771 | 1257186.0875
136 | 2641888.7475 | 1257116.1165
137 | 2641890.7241 | 1257106.6923
138 | 2641942.8625 | 1257029.5269
139 | 2641934.3634 | 1257009.0718
140 | 2641929.6034 | 1256994.0803
141 | 2641930.0302 | 1256909.8458
142 | 2641965.4652 | 1257051.3582
143 | 2641961.6585 | 1257030.6407
144 | 2641960.6436 | 1257022.6834
145 | 2642052.7732 | 1257188.3892

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1