## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4184-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4184-2_0_3_node_3 | 0.4 | n |  | TRUE
2 | bus_LV_4184-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4184-2_0_3_node_64 | 0.4 | n |  | TRUE
4 | bus_LV_4184-2_0_3_node_128 | 0.4 | n |  | TRUE
5 | bus_LV_4184-2_0_3_node_126 | 0.4 | n |  | TRUE
6 | bus_LV_4184-2_0_3_node_154 | 0.4 | n |  | TRUE
7 | bus_LV_4184-2_0_3_node_129 | 0.4 | n |  | TRUE
8 | bus_LV_4184-2_0_3_node_151 | 0.4 | n |  | TRUE
9 | bus_LV_4184-2_0_3_node_130 | 0.4 | n |  | TRUE
10 | bus_LV_4184-2_0_3_node_127 | 0.4 | n |  | TRUE
11 | bus_LV_4184-2_0_3_node_133 | 0.4 | n |  | TRUE
12 | bus_LV_4184-2_0_3_node_134 | 0.4 | n |  | TRUE
13 | bus_LV_4184-2_0_3_node_135 | 0.4 | n |  | TRUE
14 | bus_LV_4184-2_0_3_node_136 | 0.4 | n |  | TRUE
15 | bus_LV_4184-2_0_3_node_137 | 0.4 | n |  | TRUE
16 | bus_LV_4184-2_0_3_node_138 | 0.4 | n |  | TRUE
17 | bus_LV_4184-2_0_3_node_139 | 0.4 | n |  | TRUE
18 | bus_LV_4184-2_0_3_node_153 | 0.4 | n |  | TRUE
19 | bus_LV_4184-2_0_3_node_148 | 0.4 | n |  | TRUE
20 | bus_LV_4184-2_0_3_node_110 | 0.4 | n |  | TRUE
21 | bus_LV_4184-2_0_3_node_140 | 0.4 | n |  | TRUE
22 | bus_LV_4184-2_0_3_node_121 | 0.4 | n |  | TRUE
23 | bus_LV_4184-2_0_3_node_141 | 0.4 | n |  | TRUE
24 | bus_LV_4184-2_0_3_node_152 | 0.4 | n |  | TRUE
25 | bus_LV_4184-2_0_3_node_150 | 0.4 | n |  | TRUE
26 | bus_LV_4184-2_0_3_node_142 | 0.4 | n |  | TRUE
27 | bus_LV_4184-2_0_3_node_143 | 0.4 | n |  | TRUE
28 | bus_LV_4184-2_0_3_node_144 | 0.4 | n |  | TRUE
29 | bus_LV_4184-2_0_3_node_145 | 0.4 | n |  | TRUE
30 | bus_LV_4184-2_0_3_node_158 | 0.4 | n |  | TRUE
31 | bus_LV_4184-2_0_3_node_156 | 0.4 | n |  | TRUE
32 | bus_LV_4184-2_0_3_node_146 | 0.4 | n |  | TRUE
33 | bus_LV_4184-2_0_3_node_108 | 0.4 | n |  | TRUE
34 | bus_LV_4184-2_0_3_node_147 | 0.4 | n |  | TRUE
35 | bus_LV_4184-2_0_3_node_149 | 0.4 | n |  | TRUE
36 | bus_LV_4184-2_0_3_node_117 | 0.4 | n |  | TRUE
37 | bus_LV_4184-2_0_3_node_155 | 0.4 | n |  | TRUE
38 | bus_LV_4184-2_0_3_node_105 | 0.4 | n |  | TRUE
39 | bus_LV_4184-2_0_3_node_159 | 0.4 | n |  | TRUE
40 | bus_LV_4184-2_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_4184-2_0_3_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_4184-2_0_3_node_106 | 0.4 | n |  | TRUE
43 | bus_LV_4184-2_0_3_node_107 | 0.4 | n |  | TRUE
44 | bus_LV_4184-2_0_3_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_4184-2_0_3_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_4184-2_0_3_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_4184-2_0_3_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_4184-2_0_3_node_75 | 0.4 | n |  | TRUE
49 | bus_LV_4184-2_0_3_node_84 | 0.4 | n |  | TRUE
50 | bus_LV_4184-2_0_3_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_4184-2_0_3_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_4184-2_0_3_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_4184-2_0_3_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_4184-2_0_3_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_4184-2_0_3_node_86 | 0.4 | n |  | TRUE
56 | bus_LV_4184-2_0_3_node_87 | 0.4 | n |  | TRUE
57 | bus_LV_4184-2_0_3_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_4184-2_0_3_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_4184-2_0_3_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_4184-2_0_3_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_4184-2_0_3_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_4184-2_0_3_node_109 | 0.4 | n |  | TRUE
63 | bus_LV_4184-2_0_3_node_114 | 0.4 | n |  | TRUE
64 | bus_LV_4184-2_0_3_node_115 | 0.4 | n |  | TRUE
65 | bus_LV_4184-2_0_3_node_116 | 0.4 | n |  | TRUE
66 | bus_LV_4184-2_0_3_node_118 | 0.4 | n |  | TRUE
67 | bus_LV_4184-2_0_3_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_4184-2_0_3_node_120 | 0.4 | n |  | TRUE
69 | bus_LV_4184-2_0_3_node_125 | 0.4 | n |  | TRUE
70 | bus_MV_302_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4184-2_0_3_load_0 | 0 | 0.0021112 | 0.00052912 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4184-2_0_3_load_2 | 2 | 0.000803 | 0.00020125 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4184-2_0_3_load_64 | 3 | 0.0028263 | 0.00070833 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4184-2_0_3_load_128 | 4 | 0.0028386 | 0.00071141 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4184-2_0_3_load_154 | 6 | 0.0025052 | 0.00062787 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4184-2_0_3_load_129 | 7 | 0.0027566 | 0.00069087 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4184-2_0_3_load_151 | 8 | 0.0043698 | 0.0010952 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4184-2_0_3_load_130 | 9 | 0.00067759 | 0.00016982 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4184-2_0_3_load_133 | 11 | 0.0026963 | 0.00067576 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4184-2_0_3_load_134 | 12 | 0.0017016 | 0.00042647 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4184-2_0_3_load_135 | 13 | 0.0022695 | 0.00056879 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4184-2_0_3_load_136 | 14 | 0.00059024 | 0.00014793 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4184-2_0_3_load_137 | 15 | 0.0017874 | 0.00044796 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4184-2_0_3_load_139 | 17 | 0.00069167 | 0.00017335 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4184-2_0_3_load_153 | 18 | 0.0011565 | 0.00028985 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4184-2_0_3_load_148 | 19 | 0.0035689 | 0.00089445 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4184-2_0_3_load_110 | 20 | 0.0012546 | 0.00031444 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4184-2_0_3_load_150 | 25 | 0.0038167 | 0.00095656 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4184-2_0_3_load_142 | 26 | 0.00028052 | 7.0304e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4184-2_0_3_load_143 | 27 | 0.00048781 | 0.00012226 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4184-2_0_3_load_158 | 30 | 0.00077196 | 0.00019347 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4184-2_0_3_load_156 | 31 | 0.00067083 | 0.00016813 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4184-2_0_3_load_146 | 32 | 0.0045215 | 0.0011332 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4184-2_0_3_load_147 | 34 | 0.0013908 | 0.00034856 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4184-2_0_3_load_117 | 36 | 0.0035201 | 0.00088222 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4184-2_0_3_load_155 | 37 | 0.00083817 | 0.00021006 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4184-2_0_3_load_105 | 38 | 0.00069656 | 0.00017457 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4184-2_0_3_load_159 | 39 | 0.00080167 | 0.00020092 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4184-2_0_3_load_51 | 40 | 0.0024609 | 0.00061676 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4184-2_0_3_load_53 | 41 | 0.0010358 | 0.0002596 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4184-2_0_3_load_106 | 42 | 0.0012865 | 0.00032242 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4184-2_0_3_load_71 | 44 | 0.00061673 | 0.00015457 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4184-2_0_3_load_72 | 45 | 0.0013166 | 0.00032998 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4184-2_0_3_load_73 | 46 | 0.0018425 | 0.00046178 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4184-2_0_3_load_74 | 47 | 0.0019186 | 0.00048084 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4184-2_0_3_load_75 | 48 | 0.00045319 | 0.00011358 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4184-2_0_3_load_79 | 50 | 0.00039566 | 9.9162e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4184-2_0_3_load_76 | 51 | 0.0004254 | 0.00010661 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4184-2_0_3_load_77 | 52 | 0.0008603 | 0.00021561 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4184-2_0_3_load_85 | 53 | 0.00071609 | 0.00017947 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4184-2_0_3_load_92 | 54 | 0.00062186 | 0.00015585 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4184-2_0_3_load_86 | 55 | 0.00036265 | 9.0889e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4184-2_0_3_load_87 | 56 | 0.00046532 | 0.00011662 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4184-2_0_3_load_88 | 57 | 0.00064165 | 0.00016081 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4184-2_0_3_load_89 | 58 | 0.00052335 | 0.00013116 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4184-2_0_3_load_90 | 59 | 0.00079671 | 0.00019967 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4184-2_0_3_load_91 | 60 | 0.00033163 | 8.3114e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4184-2_0_3_load_104 | 61 | 0.0011217 | 0.00028113 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4184-2_0_3_load_109 | 62 | 0.0012622 | 0.00031633 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4184-2_0_3_load_114 | 63 | 0.00075247 | 0.00018859 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4184-2_0_3_load_115 | 64 | 0.0040578 | 0.001017 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4184-2_0_3_load_116 | 65 | 0.00084667 | 0.0002122 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4184-2_0_3_load_118 | 66 | 0.00045375 | 0.00011372 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4184-2_0_3_load_119 | 67 | 0.00046511 | 0.00011657 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4184-2_0_3_load_120 | 68 | 0.00051289 | 0.00012854 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4184-2_0_3_load_125 | 69 | 0.0063196 | 0.0015838 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4184-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.59432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4184-2_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0062499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4184-2_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.30776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4184-2_0_3_line_3 | NAYY 4x150 SE | 3 | 43 | 0.072894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4184-2_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.019611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4184-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.025335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4184-2_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.021617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4184-2_0_3_line_7 | NAYY 4x150 SE | 5 | 69 | 0.019045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4184-2_0_3_line_8 | NAYY 4x150 SE | 6 | 37 | 0.031093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4184-2_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.026982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4184-2_0_3_line_10 | NAYY 4x150 SE | 8 | 25 | 0.031004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4184-2_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.014678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4184-2_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0020036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4184-2_0_3_line_13 | NAYY 4x150 SE | 10 | 69 | 0.030052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4184-2_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.029042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4184-2_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.020998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_4184-2_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.015124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4184-2_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.021918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4184-2_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.002884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4184-2_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0016656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4184-2_0_3_line_20 | NAYY 4x150 SE | 16 | 19 | 0.072562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4184-2_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.0082903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4184-2_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.086141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4184-2_0_3_line_23 | NAYY 4x150 SE | 19 | 34 | 0.010331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4184-2_0_3_line_24 | NAYY 4x150 SE | 20 | 62 | 0.023399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4184-2_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.035459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4184-2_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.027925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4184-2_0_3_line_27 | NAYY 4x150 SE | 22 | 67 | 0.029077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4184-2_0_3_line_28 | NAYY 4x150 SE | 23 | 24 | 0.021269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4184-2_0_3_line_29 | NAYY 4x150 SE | 23 | 25 | 0.061229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4184-2_0_3_line_30 | NAYY 4x150 SE | 24 | 31 | 0.015564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4184-2_0_3_line_31 | NAYY 4x150 SE | 26 | 27 | 0.010701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4184-2_0_3_line_32 | NAYY 4x150 SE | 26 | 28 | 0.036838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4184-2_0_3_line_33 | NAYY 4x150 SE | 28 | 29 | 0.005597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4184-2_0_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.017116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4184-2_0_3_line_35 | NAYY 4x150 SE | 29 | 31 | 0.082958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4184-2_0_3_line_36 | NAYY 4x150 SE | 30 | 39 | 0.039303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4184-2_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.012784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4184-2_0_3_line_38 | NAYY 4x150 SE | 32 | 34 | 0.022379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4184-2_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.051123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4184-2_0_3_line_40 | NAYY 4x150 SE | 33 | 43 | 0.012846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4184-2_0_3_line_41 | NAYY 4x150 SE | 35 | 36 | 0.030984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4184-2_0_3_line_42 | NAYY 4x150 SE | 36 | 64 | 0.041224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4184-2_0_3_line_43 | NAYY 4x150 SE | 37 | 38 | 0.029808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4184-2_0_3_line_44 | NAYY 4x150 SE | 38 | 61 | 0.014067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4184-2_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.022602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4184-2_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.043299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4184-2_0_3_line_47 | NAYY 4x150 SE | 42 | 62 | 0.0073783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4184-2_0_3_line_48 | NAYY 4x150 SE | 44 | 45 | 0.04497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4184-2_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.03638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4184-2_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.018955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4184-2_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.0074301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4184-2_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.060624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4184-2_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.013325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4184-2_0_3_line_54 | NAYY 4x150 SE | 49 | 53 | 0.036906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4184-2_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.00085858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4184-2_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.025196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4184-2_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.0020099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4184-2_0_3_line_58 | NAYY 4x150 SE | 54 | 60 | 0.033192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4184-2_0_3_line_59 | NAYY 4x150 SE | 55 | 56 | 0.054706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4184-2_0_3_line_60 | NAYY 4x150 SE | 55 | 57 | 0.01482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4184-2_0_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.049256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4184-2_0_3_line_62 | NAYY 4x150 SE | 57 | 59 | 0.029215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4184-2_0_3_line_63 | NAYY 4x150 SE | 58 | 60 | 0.039477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4184-2_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.0012618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4184-2_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.019057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4184-2_0_3_line_66 | NAYY 4x150 SE | 63 | 65 | 0.030215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4184-2_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.03499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4184-2_0_3_line_68 | NAYY 4x150 SE | 66 | 68 | 0.019255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4184-2_0_3_trafo_135 | 0.25 MVA 20/0.4 kV | 70 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2650818.4612 | 1269574.5371 | 2651409.7013 | 1269634.9765
1 | 2650818.4612 | 1269574.5371 | 2650814.1401 | 1269570.0216
2 | 2650762.0249 | 1269266.7057 | 2650814.1401 | 1269570.0216
3 | 2650795.5681 | 1269202.1977 | 2650783.1806 | 1269231.2573 | 2650769.6026 | 1269255.2696 | 2650762.0249 | 1269266.7057
4 | 2650743.6956 | 1269063.305 | 2650729.483 | 1269049.7925
5 | 2650711.122 | 1269032.3359 | 2650729.483 | 1269049.7925
6 | 2650743.6956 | 1269063.305 | 2650758.2177 | 1269047.292
7 | 2650743.6956 | 1269063.305 | 2650730.9001 | 1269077.4117
8 | 2650711.122 | 1269032.3359 | 2650683.0143 | 1269019.0429
9 | 2650758.2177 | 1269047.292 | 2650776.3434 | 1269027.3054
10 | 2650776.3434 | 1269027.3054 | 2650790.524 | 1269011.6689 | 2650797.038 | 1269004.2201
11 | 2650710.7096 | 1269099.6711 | 2650699.8039 | 1269089.8467
12 | 2650698.3152 | 1269088.5057 | 2650699.8039 | 1269089.8467
13 | 2650710.7096 | 1269099.6711 | 2650730.9001 | 1269077.4117
14 | 2650679.0194 | 1269067.6554 | 2650682.9079 | 1269071.2228 | 2650684.1035 | 1269075.703 | 2650698.3152 | 1269088.5057
15 | 2650796.3143 | 1269100.5289 | 2650813.9903 | 1269089.1946
16 | 2650786.5561 | 1269112.0839 | 2650796.3143 | 1269100.5289
17 | 2650833.0317 | 1269078.3391 | 2650813.9903 | 1269089.1946
18 | 2650786.5561 | 1269112.0839 | 2650784.6953 | 1269114.2873
19 | 2650833.0317 | 1269078.3391 | 2650833.838 | 1269076.8817
20 | 2650833.0317 | 1269078.3391 | 2650813.4359 | 1269116.8992 | 2650808.0183 | 1269136.9786 | 2650805.2582 | 1269145.0292
21 | 2650779.3464 | 1269120.6212 | 2650784.6953 | 1269114.2873
22 | 2650874.9484 | 1269001.187 | 2650856.4606 | 1269035.9871 | 2650833.838 | 1269076.8817
23 | 2650805.2582 | 1269145.0292 | 2650803.2328 | 1269150.9367 | 2650802.7744 | 1269154.9964
24 | 2650764.2493 | 1269138.4981 | 2650779.3464 | 1269120.6212
25 | 2650864.3608 | 1268970.5622 | 2650868.782 | 1268971.8567 | 2650875.4423 | 1268985.7799 | 2650875.6072 | 1268993.7205 | 2650874.9484 | 1269001.187
26 | 2650840.2182 | 1268961.1587 | 2650855.1815 | 1268962.5328 | 2650862.5847 | 1268966.2103 | 2650864.3608 | 1268970.5622
27 | 2650864.3608 | 1268970.5622 | 2650866.42 | 1268975.25 | 2650866.4669 | 1268983.7901 | 2650863.1722 | 1268993.2465 | 2650859.1143 | 1268996.813
28 | 2650853.8563 | 1268945.1419 | 2650849.0987 | 1268953.1958 | 2650844.5528 | 1268957.6489 | 2650840.2182 | 1268961.1587
29 | 2650840.2182 | 1268961.1587 | 2650835.2378 | 1268964.5072 | 2650821.2732 | 1268976.5071 | 2650797.038 | 1269004.2201
30 | 2650853.8563 | 1268945.1419 | 2650865.5452 | 1268940.5057 | 2650868.0424 | 1268938.8621
31 | 2650987.1008 | 1268906.1188 | 2650977.3134 | 1268910.4461 | 2650977.3134 | 1268910.4461
32 | 2650942.797 | 1268923.3025 | 2650958.8898 | 1268917.6259 | 2650977.3134 | 1268910.4461
33 | 2650939.5024 | 1268918.7708 | 2650942.797 | 1268923.3025
34 | 2650939.5024 | 1268918.7708 | 2650952.9436 | 1268912.5376 | 2650955.0381 | 1268911.5882
35 | 2650939.5024 | 1268918.7708 | 2650934.5596 | 1268913.3909 | 2650928.762 | 1268910.2609 | 2650918.1904 | 1268909.2246 | 2650907.9296 | 1268913.1614 | 2650882.1043 | 1268929.6068 | 2650868.0424 | 1268938.8621
36 | 2650990.3796 | 1268894.4803 | 2650981.9767 | 1268899.3781 | 2650955.0381 | 1268911.5882
37 | 2650799.646 | 1269190.0126 | 2650800.5623 | 1269177.2619
38 | 2650800.5623 | 1269177.2619 | 2650801.0906 | 1269169.9102 | 2650802.7744 | 1269154.9964
39 | 2650846.503 | 1269173.4699 | 2650836.0535 | 1269179.2843 | 2650825.2177 | 1269184.5172 | 2650816.5962 | 1269189.5357 | 2650808.5658 | 1269191.4348 | 2650799.646 | 1269190.0126
40 | 2650799.646 | 1269190.0126 | 2650795.5681 | 1269202.1977
41 | 2650846.503 | 1269173.4699 | 2650862.6563 | 1269147.0295
42 | 2650862.6563 | 1269147.0295 | 2650872.1482 | 1269131.4927 | 2650886.5768 | 1269113.5598
43 | 2650664.375 | 1268995.7817 | 2650683.0143 | 1269019.0429
44 | 2650676.1745 | 1268988.144 | 2650668.6291 | 1268992.6978 | 2650664.375 | 1268995.7817
45 | 2650715.3642 | 1269193.0594 | 2650730.7818 | 1269176.5316
46 | 2650759.4888 | 1269144.1352 | 2650745.0213 | 1269161.2667 | 2650730.7818 | 1269176.5316
47 | 2650764.2493 | 1269138.4981 | 2650759.4888 | 1269144.1352
48 | 2650713.312 | 1268868.9347 | 2650743.2248 | 1268845.6399 | 2650748.8725 | 1268841.4086
49 | 2650713.312 | 1268868.9347 | 2650684.6089 | 1268891.2873
50 | 2650764.0421 | 1268830.0431 | 2650748.8725 | 1268841.4086
51 | 2650678.7468 | 1268895.8524 | 2650684.6089 | 1268891.2873
52 | 2650812.1195 | 1268793.115 | 2650771.2793 | 1268824.6208 | 2650764.0421 | 1268830.0431
53 | 2650668.036 | 1268903.7767 | 2650675.8595 | 1268898.1009 | 2650678.7468 | 1268895.8524
54 | 2650812.1195 | 1268793.115 | 2650820.6833 | 1268801.0056 | 2650823.9862 | 1268806.349 | 2650825.9584 | 1268810.6581 | 2650826.4309 | 1268816.9668 | 2650825.9729 | 1268821.2104 | 2650825.1236 | 1268824.7558
55 | 2650667.3411 | 1268904.2809 | 2650668.036 | 1268903.7767
56 | 2650646.9465 | 1268919.0768 | 2650667.3411 | 1268904.2809
57 | 2650824.6554 | 1268826.7105 | 2650825.1236 | 1268824.7558
58 | 2650808.1254 | 1268855.014 | 2650815.8417 | 1268845.9528 | 2650820.3022 | 1268838.3077 | 2650823.639 | 1268830.9531 | 2650824.6554 | 1268826.7105
59 | 2650712.969 | 1268962.315 | 2650726.3192 | 1268946.8586 | 2650748.7102 | 1268920.8984
60 | 2650712.969 | 1268962.315 | 2650708.5106 | 1268967.4767 | 2650702.1434 | 1268972.3196
61 | 2650748.7102 | 1268920.8984 | 2650770.4731 | 1268895.6664 | 2650781.315 | 1268883.9883
62 | 2650677.2548 | 1268987.492 | 2650680.7093 | 1268985.4071 | 2650695.399 | 1268977.4494 | 2650702.1434 | 1268972.3196
63 | 2650808.1254 | 1268855.014 | 2650807.1373 | 1268856.1744 | 2650781.315 | 1268883.9883
64 | 2650676.1745 | 1268988.144 | 2650677.2548 | 1268987.492
65 | 2650886.5768 | 1269113.5598 | 2650890.0157 | 1269109.2856 | 2650900.8755 | 1269101.1466
66 | 2650922.8951 | 1269080.5196 | 2650905.5195 | 1269097.6661 | 2650900.8755 | 1269101.1466
67 | 2650831.3389 | 1269018.0681 | 2650855.0286 | 1269000.404 | 2650859.1143 | 1268996.813
68 | 2650815.9027 | 1269029.578 | 2650831.3389 | 1269018.0681

## bus_geodata
| x | y | coords
0 | 2651409.7013 | 1269634.9765
1 | 2650818.4612 | 1269574.5371
2 | 2650814.1401 | 1269570.0216
3 | 2650762.0249 | 1269266.7057
4 | 2650729.483 | 1269049.7925
5 | 2650743.6956 | 1269063.305
6 | 2650711.122 | 1269032.3359
7 | 2650758.2177 | 1269047.292
8 | 2650776.3434 | 1269027.3054
9 | 2650699.8039 | 1269089.8467
10 | 2650710.7096 | 1269099.6711
11 | 2650698.3152 | 1269088.5057
12 | 2650679.0194 | 1269067.6554
13 | 2650796.3143 | 1269100.5289
14 | 2650813.9903 | 1269089.1946
15 | 2650786.5561 | 1269112.0839
16 | 2650833.0317 | 1269078.3391
17 | 2650784.6953 | 1269114.2873
18 | 2650833.838 | 1269076.8817
19 | 2650805.2582 | 1269145.0292
20 | 2650779.3464 | 1269120.6212
21 | 2650874.9484 | 1269001.187
22 | 2650864.3608 | 1268970.5622
23 | 2650840.2182 | 1268961.1587
24 | 2650853.8563 | 1268945.1419
25 | 2650797.038 | 1269004.2201
26 | 2650977.3134 | 1268910.4461
27 | 2650987.1008 | 1268906.1188
28 | 2650942.797 | 1268923.3025
29 | 2650939.5024 | 1268918.7708
30 | 2650955.0381 | 1268911.5882
31 | 2650868.0424 | 1268938.8621
32 | 2650800.5623 | 1269177.2619
33 | 2650799.646 | 1269190.0126
34 | 2650802.7744 | 1269154.9964
35 | 2650846.503 | 1269173.4699
36 | 2650862.6563 | 1269147.0295
37 | 2650683.0143 | 1269019.0429
38 | 2650664.375 | 1268995.7817
39 | 2650990.3796 | 1268894.4803
40 | 2650715.3642 | 1269193.0594
41 | 2650730.7818 | 1269176.5316
42 | 2650759.4888 | 1269144.1352
43 | 2650795.5681 | 1269202.1977
44 | 2650713.312 | 1268868.9347
45 | 2650748.8725 | 1268841.4086
46 | 2650684.6089 | 1268891.2873
47 | 2650764.0421 | 1268830.0431
48 | 2650678.7468 | 1268895.8524
49 | 2650812.1195 | 1268793.115
50 | 2650668.036 | 1268903.7767
51 | 2650646.9465 | 1268919.0768
52 | 2650667.3411 | 1268904.2809
53 | 2650825.1236 | 1268824.7558
54 | 2650824.6554 | 1268826.7105
55 | 2650712.969 | 1268962.315
56 | 2650748.7102 | 1268920.8984
57 | 2650702.1434 | 1268972.3196
58 | 2650781.315 | 1268883.9883
59 | 2650677.2548 | 1268987.492
60 | 2650808.1254 | 1268855.014
61 | 2650676.1745 | 1268988.144
62 | 2650764.2493 | 1269138.4981
63 | 2650900.8755 | 1269101.1466
64 | 2650886.5768 | 1269113.5598
65 | 2650922.8951 | 1269080.5196
66 | 2650831.3389 | 1269018.0681
67 | 2650859.1143 | 1268996.813
68 | 2650815.9027 | 1269029.578
69 | 2650730.9001 | 1269077.4117
70 | 2650833.0317 | 1269078.3391

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1