## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4184-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4184-5_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4184-5_0_2_node_113 | 0.4 | n |  | TRUE
3 | bus_LV_4184-5_0_2_node_111 | 0.4 | n |  | TRUE
4 | bus_LV_4184-5_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4184-5_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4184-5_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4184-5_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4184-5_0_2_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_4184-5_0_2_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_4184-5_0_2_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_4184-5_0_2_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_4184-5_0_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_4184-5_0_2_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_4184-5_0_2_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_4184-5_0_2_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_4184-5_0_2_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_4184-5_0_2_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_4184-5_0_2_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_4184-5_0_2_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4184-5_0_2_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4184-5_0_2_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4184-5_0_2_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4184-5_0_2_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_4184-5_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_4184-5_0_2_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_4184-5_0_2_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_4184-5_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_4184-5_0_2_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_4184-5_0_2_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_4184-5_0_2_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_4184-5_0_2_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_4184-5_0_2_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_4184-5_0_2_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_4184-5_0_2_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4184-5_0_2_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_4184-5_0_2_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4184-5_0_2_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_4184-5_0_2_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_4184-5_0_2_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_4184-5_0_2_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_4184-5_0_2_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_4184-5_0_2_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4184-5_0_2_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_4184-5_0_2_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_4184-5_0_2_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_4184-5_0_2_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_4184-5_0_2_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_4184-5_0_2_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_4184-5_0_2_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_4184-5_0_2_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_4184-5_0_2_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_4184-5_0_2_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_4184-5_0_2_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_4184-5_0_2_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_4184-5_0_2_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_4184-5_0_2_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_4184-5_0_2_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_4184-5_0_2_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_4184-5_0_2_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_4184-5_0_2_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_4184-5_0_2_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4184-5_0_2_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_4184-5_0_2_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_4184-5_0_2_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_4184-5_0_2_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_4184-5_0_2_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_4184-5_0_2_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_4184-5_0_2_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_4184-5_0_2_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_4184-5_0_2_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_4184-5_0_2_node_114 | 0.4 | n |  | TRUE
72 | bus_LV_4184-5_0_2_node_115 | 0.4 | n |  | TRUE
73 | bus_LV_4184-5_0_2_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_4184-5_0_2_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_4184-5_0_2_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_4184-5_0_2_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_4184-5_0_2_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_4184-5_0_2_node_112 | 0.4 | n |  | TRUE
79 | bus_LV_4184-5_0_2_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_4184-5_0_2_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_4184-5_0_2_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_4184-5_0_2_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_4184-5_0_2_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_4184-5_0_2_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_4184-5_0_2_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_4184-5_0_2_node_106 | 0.4 | n |  | TRUE
87 | bus_LV_4184-5_0_2_node_99 | 0.4 | n |  | TRUE
88 | bus_LV_4184-5_0_2_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_4184-5_0_2_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_4184-5_0_2_node_98 | 0.4 | n |  | TRUE
91 | bus_LV_4184-5_0_2_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_4184-5_0_2_node_105 | 0.4 | n |  | TRUE
93 | bus_LV_4184-5_0_2_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_4184-5_0_2_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_4184-5_0_2_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_4184-5_0_2_node_104 | 0.4 | n |  | TRUE
97 | bus_LV_4184-5_0_2_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_4184-5_0_2_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_4184-5_0_2_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_4184-5_0_2_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_4184-5_0_2_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_4184-5_0_2_node_102 | 0.4 | n |  | TRUE
103 | bus_LV_4184-5_0_2_node_91 | 0.4 | n |  | TRUE
104 | bus_LV_4184-5_0_2_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_4184-5_0_2_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_4184-5_0_2_node_107 | 0.4 | n |  | TRUE
107 | bus_LV_4184-5_0_2_node_100 | 0.4 | n |  | TRUE
108 | bus_LV_4184-5_0_2_node_101 | 0.4 | n |  | TRUE
109 | bus_LV_4184-5_0_2_node_103 | 0.4 | n |  | TRUE
110 | bus_LV_4184-5_0_2_node_126 | 0.4 | n |  | TRUE
111 | bus_LV_4184-5_0_2_node_140 | 0.4 | n |  | TRUE
112 | bus_LV_4184-5_0_2_node_109 | 0.4 | n |  | TRUE
113 | bus_LV_4184-5_0_2_node_123 | 0.4 | n |  | TRUE
114 | bus_LV_4184-5_0_2_node_120 | 0.4 | n |  | TRUE
115 | bus_LV_4184-5_0_2_node_118 | 0.4 | n |  | TRUE
116 | bus_LV_4184-5_0_2_node_117 | 0.4 | n |  | TRUE
117 | bus_LV_4184-5_0_2_node_119 | 0.4 | n |  | TRUE
118 | bus_LV_4184-5_0_2_node_121 | 0.4 | n |  | TRUE
119 | bus_LV_4184-5_0_2_node_122 | 0.4 | n |  | TRUE
120 | bus_LV_4184-5_0_2_node_124 | 0.4 | n |  | TRUE
121 | bus_LV_4184-5_0_2_node_156 | 0.4 | n |  | TRUE
122 | bus_LV_4184-5_0_2_node_143 | 0.4 | n |  | TRUE
123 | bus_LV_4184-5_0_2_node_125 | 0.4 | n |  | TRUE
124 | bus_LV_4184-5_0_2_node_142 | 0.4 | n |  | TRUE
125 | bus_LV_4184-5_0_2_node_139 | 0.4 | n |  | TRUE
126 | bus_LV_4184-5_0_2_node_127 | 0.4 | n |  | TRUE
127 | bus_LV_4184-5_0_2_node_128 | 0.4 | n |  | TRUE
128 | bus_LV_4184-5_0_2_node_129 | 0.4 | n |  | TRUE
129 | bus_LV_4184-5_0_2_node_130 | 0.4 | n |  | TRUE
130 | bus_LV_4184-5_0_2_node_131 | 0.4 | n |  | TRUE
131 | bus_LV_4184-5_0_2_node_132 | 0.4 | n |  | TRUE
132 | bus_LV_4184-5_0_2_node_137 | 0.4 | n |  | TRUE
133 | bus_LV_4184-5_0_2_node_145 | 0.4 | n |  | TRUE
134 | bus_LV_4184-5_0_2_node_135 | 0.4 | n |  | TRUE
135 | bus_LV_4184-5_0_2_node_157 | 0.4 | n |  | TRUE
136 | bus_LV_4184-5_0_2_node_144 | 0.4 | n |  | TRUE
137 | bus_LV_4184-5_0_2_node_133 | 0.4 | n |  | TRUE
138 | bus_LV_4184-5_0_2_node_134 | 0.4 | n |  | TRUE
139 | bus_LV_4184-5_0_2_node_136 | 0.4 | n |  | TRUE
140 | bus_LV_4184-5_0_2_node_138 | 0.4 | n |  | TRUE
141 | bus_LV_4184-5_0_2_node_146 | 0.4 | n |  | TRUE
142 | bus_LV_4184-5_0_2_node_147 | 0.4 | n |  | TRUE
143 | bus_LV_4184-5_0_2_node_158 | 0.4 | n |  | TRUE
144 | bus_LV_4184-5_0_2_node_152 | 0.4 | n |  | TRUE
145 | bus_LV_4184-5_0_2_node_153 | 0.4 | n |  | TRUE
146 | bus_LV_4184-5_0_2_node_148 | 0.4 | n |  | TRUE
147 | bus_LV_4184-5_0_2_node_149 | 0.4 | n |  | TRUE
148 | bus_LV_4184-5_0_2_node_151 | 0.4 | n |  | TRUE
149 | bus_LV_4184-5_0_2_node_154 | 0.4 | n |  | TRUE
150 | bus_MV_302_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4184-5_0_2_load_0 | 0 | 0.00032364 | 8.1111e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4184-5_0_2_load_111 | 3 | 0.0015792 | 0.00039579 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4184-5_0_2_load_3 | 4 | 0.00088071 | 0.00022073 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4184-5_0_2_load_14 | 10 | 0.0010811 | 0.00027096 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4184-5_0_2_load_49 | 11 | 0.00027523 | 6.8978e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4184-5_0_2_load_13 | 12 | 0.00078454 | 0.00019662 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4184-5_0_2_load_40 | 14 | 0.0001356 | 3.3984e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4184-5_0_2_load_38 | 15 | 0.00033018 | 8.2752e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4184-5_0_2_load_7 | 17 | 0.0027244 | 0.00068279 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4184-5_0_2_load_8 | 18 | 0.00099749 | 0.00024999 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4184-5_0_2_load_10 | 20 | 0.0012857 | 0.00032223 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4184-5_0_2_load_42 | 23 | 0.0015288 | 0.00038316 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4184-5_0_2_load_23 | 24 | 0.00093681 | 0.00023479 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4184-5_0_2_load_67 | 25 | 0.0027031 | 0.00067746 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4184-5_0_2_load_61 | 26 | 0.0022284 | 0.00055849 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4184-5_0_2_load_22 | 27 | 0.00078149 | 0.00019586 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4184-5_0_2_load_15 | 29 | 0.00021692 | 5.4364e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4184-5_0_2_load_41 | 31 | 0.0021268 | 0.00053303 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4184-5_0_2_load_17 | 33 | 0.0007988 | 0.0002002 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4184-5_0_2_load_18 | 34 | 0.00038907 | 9.7511e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4184-5_0_2_load_19 | 35 | 0.0020542 | 0.00051483 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4184-5_0_2_load_20 | 36 | 0.0026773 | 0.00067101 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4184-5_0_2_load_21 | 37 | 0.0018288 | 0.00045833 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4184-5_0_2_load_52 | 38 | 0.0020115 | 0.00050412 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4184-5_0_2_load_69 | 39 | 0.0013137 | 0.00032923 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4184-5_0_2_load_53 | 40 | 0.00046875 | 0.00011748 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4184-5_0_2_load_70 | 41 | 0.0022968 | 0.00057562 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4184-5_0_2_load_25 | 43 | 0.0010969 | 0.00027492 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4184-5_0_2_load_63 | 44 | 0.00076502 | 0.00019173 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4184-5_0_2_load_64 | 45 | 0.00094905 | 0.00023785 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4184-5_0_2_load_26 | 46 | 0.00093538 | 0.00023443 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4184-5_0_2_load_27 | 47 | 0.0011376 | 0.00028511 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4184-5_0_2_load_29 | 48 | 0.00048475 | 0.00012149 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4184-5_0_2_load_50 | 49 | 0.0025533 | 0.00063992 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4184-5_0_2_load_51 | 50 | 0.00048609 | 0.00012183 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4184-5_0_2_load_30 | 51 | 0.0013212 | 0.00033112 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4184-5_0_2_load_31 | 52 | 0.0012802 | 0.00032086 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4184-5_0_2_load_32 | 53 | 0.0011977 | 0.00030017 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4184-5_0_2_load_33 | 54 | 0.0005246 | 0.00013148 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4184-5_0_2_load_37 | 56 | 0.0031471 | 0.00078873 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4184-5_0_2_load_56 | 57 | 0.0011354 | 0.00028455 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4184-5_0_2_load_62 | 58 | 0.001513 | 0.00037921 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4184-5_0_2_load_36 | 59 | 0.0010136 | 0.00025404 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4184-5_0_2_load_35 | 60 | 0.0010549 | 0.00026439 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4184-5_0_2_load_43 | 61 | 0.00038577 | 9.6684e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4184-5_0_2_load_44 | 62 | 0.0008107 | 0.00020318 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4184-5_0_2_load_83 | 65 | 0.0031445 | 0.0007881 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4184-5_0_2_load_46 | 66 | 0.00059059 | 0.00014802 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4184-5_0_2_load_48 | 67 | 0.00050148 | 0.00012568 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4184-5_0_2_load_54 | 68 | 0.0010845 | 0.00027179 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4184-5_0_2_load_59 | 69 | 0.00077333 | 0.00019381 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4184-5_0_2_load_57 | 70 | 0.00084285 | 0.00021124 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4184-5_0_2_load_114 | 71 | 0.0015132 | 0.00037923 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4184-5_0_2_load_115 | 72 | 0.00041628 | 0.00010433 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4184-5_0_2_load_58 | 73 | 0.0013852 | 0.00034717 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4184-5_0_2_load_60 | 74 | 0.00022054 | 5.5272e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4184-5_0_2_load_74 | 75 | 0.00023605 | 5.916e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4184-5_0_2_load_112 | 78 | 0.00077712 | 0.00019477 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4184-5_0_2_load_71 | 79 | 0.001721 | 0.00043132 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4184-5_0_2_load_89 | 80 | 0.0012895 | 0.00032319 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4184-5_0_2_load_75 | 82 | 0.00095283 | 0.0002388 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4184-5_0_2_load_76 | 83 | 0.00045495 | 0.00011402 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4184-5_0_2_load_79 | 85 | 0.0060534 | 0.0015171 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4184-5_0_2_load_106 | 86 | 0.0015867 | 0.00039766 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4184-5_0_2_load_81 | 88 | 0.0087633 | 0.0021963 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4184-5_0_2_load_98 | 90 | 0.0001926 | 4.8271e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4184-5_0_2_load_93 | 91 | 0.0010716 | 0.00026857 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4184-5_0_2_load_105 | 92 | 0.00022634 | 5.6725e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4184-5_0_2_load_87 | 94 | 0.0056677 | 0.0014205 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4184-5_0_2_load_85 | 95 | 0.0024727 | 0.00061973 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4184-5_0_2_load_92 | 98 | 0.0016457 | 0.00041245 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4184-5_0_2_load_88 | 99 | 0.0017141 | 0.00042958 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4184-5_0_2_load_90 | 100 | 0.0012225 | 0.00030638 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4184-5_0_2_load_96 | 101 | 0.0026204 | 0.00065673 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4184-5_0_2_load_91 | 103 | 0.0012399 | 0.00031075 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4184-5_0_2_load_97 | 105 | 0.000981 | 0.00024586 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4184-5_0_2_load_107 | 106 | 0.00050487 | 0.00012653 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4184-5_0_2_load_100 | 107 | 0.0085435 | 0.0021412 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4184-5_0_2_load_101 | 108 | 0.00077457 | 0.00019412 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4184-5_0_2_load_103 | 109 | 0.00035895 | 8.9962e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4184-5_0_2_load_126 | 110 | 0.0004253 | 0.00010659 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4184-5_0_2_load_140 | 111 | 0.0010698 | 0.00026811 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4184-5_0_2_load_123 | 113 | 0.0032519 | 0.00081501 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4184-5_0_2_load_120 | 114 | 0.00041759 | 0.00010466 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4184-5_0_2_load_117 | 116 | 0.00018703 | 4.6874e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4184-5_0_2_load_121 | 118 | 0.00098667 | 0.00024728 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4184-5_0_2_load_124 | 120 | 0.00013663 | 3.4243e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4184-5_0_2_load_156 | 121 | 0.00037815 | 9.4772e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4184-5_0_2_load_143 | 122 | 0.0018153 | 0.00045496 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4184-5_0_2_load_125 | 123 | 0.00083033 | 0.0002081 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4184-5_0_2_load_142 | 124 | 0.001814 | 0.00045462 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4184-5_0_2_load_139 | 125 | 0.0018342 | 0.00045969 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4184-5_0_2_load_127 | 126 | 0.0016217 | 0.00040644 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4184-5_0_2_load_128 | 127 | 0.0014046 | 0.00035202 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4184-5_0_2_load_131 | 130 | 0.00052558 | 0.00013172 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4184-5_0_2_load_132 | 131 | 0.0023034 | 0.00057729 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4184-5_0_2_load_137 | 132 | 0.0021665 | 0.00054297 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4184-5_0_2_load_157 | 135 | 0.0010119 | 0.00025361 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4184-5_0_2_load_144 | 136 | 0.0012758 | 0.00031975 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4184-5_0_2_load_133 | 137 | 0.001359 | 0.00034059 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4184-5_0_2_load_134 | 138 | 0.0016809 | 0.00042126 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4184-5_0_2_load_136 | 139 | 0.0013287 | 0.00033299 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4184-5_0_2_load_138 | 140 | 0.00045686 | 0.0001145 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4184-5_0_2_load_146 | 141 | 0.0015464 | 0.00038755 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4184-5_0_2_load_158 | 143 | 0.00071574 | 0.00017938 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4184-5_0_2_load_152 | 144 | 0.0010292 | 0.00025793 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4184-5_0_2_load_153 | 145 | 0.0010294 | 0.00025798 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4184-5_0_2_load_148 | 146 | 0.0018694 | 0.00046851 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4184-5_0_2_load_149 | 147 | 0.0022298 | 0.00055884 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4184-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.12208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4184-5_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.82015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4184-5_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.060171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4184-5_0_2_line_3 | NAYY 4x150 SE | 3 | 78 | 0.036331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4184-5_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.022299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4184-5_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.1299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_4184-5_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.24669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_4184-5_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.1844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_4184-5_0_2_line_8 | NAYY 4x150 SE | 7 | 10 | 0.043307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_4184-5_0_2_line_9 | NAYY 4x150 SE | 7 | 11 | 0.054452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4184-5_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.26882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_4184-5_0_2_line_11 | NAYY 4x150 SE | 9 | 45 | 0.092398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_4184-5_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.02446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4184-5_0_2_line_13 | NAYY 4x150 SE | 11 | 16 | 0.014413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4184-5_0_2_line_14 | NAYY 4x150 SE | 12 | 29 | 0.013488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_4184-5_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.063705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4184-5_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.050442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4184-5_0_2_line_17 | NAYY 4x150 SE | 14 | 61 | 0.0038298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4184-5_0_2_line_18 | NAYY 4x150 SE | 15 | 30 | 0.019254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4184-5_0_2_line_19 | NAYY 4x150 SE | 16 | 67 | 0.031966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4184-5_0_2_line_20 | NAYY 4x150 SE | 16 | 66 | 0.038631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4184-5_0_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.017047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4184-5_0_2_line_22 | NAYY 4x150 SE | 17 | 19 | 0.019245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4184-5_0_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.028123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4184-5_0_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.022337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_4184-5_0_2_line_25 | NAYY 4x150 SE | 19 | 22 | 0.036038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_4184-5_0_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.019429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4184-5_0_2_line_27 | NAYY 4x150 SE | 21 | 24 | 0.0010614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_4184-5_0_2_line_28 | NAYY 4x150 SE | 22 | 25 | 0.0058412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4184-5_0_2_line_29 | NAYY 4x150 SE | 22 | 26 | 0.039349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_4184-5_0_2_line_30 | NAYY 4x150 SE | 24 | 27 | 0.022121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_4184-5_0_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.025939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_4184-5_0_2_line_32 | NAYY 4x150 SE | 27 | 42 | 0.030042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_4184-5_0_2_line_33 | NAYY 4x150 SE | 28 | 58 | 0.04204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4184-5_0_2_line_34 | NAYY 4x150 SE | 28 | 54 | 0.023618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4184-5_0_2_line_35 | NAYY 4x150 SE | 29 | 30 | 0.098037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_4184-5_0_2_line_36 | NAYY 4x150 SE | 30 | 31 | 0.032585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_4184-5_0_2_line_37 | NAYY 4x150 SE | 31 | 32 | 0.040539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_4184-5_0_2_line_38 | NAYY 4x150 SE | 32 | 63 | 0.23342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_4184-5_0_2_line_39 | NAYY 4x150 SE | 33 | 34 | 0.013523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4184-5_0_2_line_40 | NAYY 4x150 SE | 33 | 35 | 0.012418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4184-5_0_2_line_41 | NAYY 4x150 SE | 34 | 36 | 0.02368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4184-5_0_2_line_42 | NAYY 4x150 SE | 35 | 37 | 0.011812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4184-5_0_2_line_43 | NAYY 4x150 SE | 36 | 38 | 0.02001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4184-5_0_2_line_44 | NAYY 4x150 SE | 37 | 39 | 0.013313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4184-5_0_2_line_45 | NAYY 4x150 SE | 38 | 40 | 0.0026213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4184-5_0_2_line_46 | NAYY 4x150 SE | 39 | 41 | 0.027694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4184-5_0_2_line_47 | NAYY 4x150 SE | 40 | 68 | 0.02224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4184-5_0_2_line_48 | NAYY 4x150 SE | 41 | 79 | 0.0032461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4184-5_0_2_line_49 | NAYY 4x150 SE | 42 | 43 | 0.0059743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_4184-5_0_2_line_50 | NAYY 4x150 SE | 43 | 44 | 0.011849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_4184-5_0_2_line_51 | NAYY 4x150 SE | 44 | 45 | 0.047773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_4184-5_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.0064191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4184-5_0_2_line_53 | NAYY 4x150 SE | 47 | 48 | 0.0023898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4184-5_0_2_line_54 | NAYY 4x150 SE | 48 | 49 | 0.013762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4184-5_0_2_line_55 | NAYY 4x150 SE | 49 | 50 | 0.0030502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4184-5_0_2_line_56 | NAYY 4x150 SE | 50 | 57 | 0.05651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4184-5_0_2_line_57 | NAYY 4x150 SE | 51 | 52 | 0.025327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4184-5_0_2_line_58 | NAYY 4x150 SE | 51 | 53 | 0.0083197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4184-5_0_2_line_59 | NAYY 4x150 SE | 52 | 54 | 0.028294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4184-5_0_2_line_60 | NAYY 4x150 SE | 53 | 55 | 0.018007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4184-5_0_2_line_61 | NAYY 4x150 SE | 55 | 56 | 0.032725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4184-5_0_2_line_62 | NAYY 4x150 SE | 55 | 57 | 0.022928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4184-5_0_2_line_63 | NAYY 4x150 SE | 56 | 59 | 0.0035246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4184-5_0_2_line_64 | NAYY 4x150 SE | 58 | 65 | 0.0013587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_4184-5_0_2_line_65 | NAYY 4x150 SE | 59 | 60 | 0.017133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4184-5_0_2_line_66 | NAYY 4x150 SE | 61 | 62 | 0.0094362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4184-5_0_2_line_67 | NAYY 4x150 SE | 63 | 64 | 0.2311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4184-5_0_2_line_68 | NAYY 4x150 SE | 64 | 71 | 0.01634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4184-5_0_2_line_69 | NAYY 4x150 SE | 64 | 72 | 0.027889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4184-5_0_2_line_70 | NAYY 4x150 SE | 65 | 77 | 0.031631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_4184-5_0_2_line_71 | NAYY 4x150 SE | 68 | 69 | 0.0029961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4184-5_0_2_line_72 | NAYY 4x150 SE | 69 | 70 | 0.0045804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4184-5_0_2_line_73 | NAYY 4x150 SE | 70 | 73 | 0.016815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4184-5_0_2_line_74 | NAYY 4x150 SE | 71 | 78 | 0.040368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4184-5_0_2_line_75 | NAYY 4x150 SE | 73 | 74 | 0.0034956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4184-5_0_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.023677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4184-5_0_2_line_77 | NAYY 4x150 SE | 75 | 76 | 0.01621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4184-5_0_2_line_78 | NAYY 4x150 SE | 76 | 80 | 0.013817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_4184-5_0_2_line_79 | NAYY 4x150 SE | 76 | 81 | 0.01981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_4184-5_0_2_line_80 | NAYY 4x150 SE | 77 | 97 | 0.021602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_4184-5_0_2_line_81 | NAYY 4x150 SE | 77 | 98 | 0.016635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4184-5_0_2_line_82 | NAYY 4x150 SE | 81 | 85 | 0.0086696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_4184-5_0_2_line_83 | NAYY 4x150 SE | 81 | 82 | 0.012515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4184-5_0_2_line_84 | NAYY 4x150 SE | 82 | 83 | 0.0091625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4184-5_0_2_line_85 | NAYY 4x150 SE | 83 | 84 | 0.042477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4184-5_0_2_line_86 | NAYY 4x150 SE | 84 | 86 | 0.080226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4184-5_0_2_line_87 | NAYY 4x150 SE | 84 | 87 | 0.080286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4184-5_0_2_line_88 | NAYY 4x150 SE | 85 | 88 | 0.020646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_4184-5_0_2_line_89 | NAYY 4x150 SE | 87 | 92 | 0.010206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4184-5_0_2_line_90 | NAYY 4x150 SE | 87 | 90 | 0.034301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4184-5_0_2_line_91 | NAYY 4x150 SE | 88 | 93 | 0.030562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_4184-5_0_2_line_92 | NAYY 4x150 SE | 89 | 90 | 0.062439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4184-5_0_2_line_93 | NAYY 4x150 SE | 89 | 91 | 0.040671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4184-5_0_2_line_94 | NAYY 4x150 SE | 91 | 104 | 0.032374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4184-5_0_2_line_95 | NAYY 4x150 SE | 93 | 94 | 0.013766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4184-5_0_2_line_96 | NAYY 4x150 SE | 93 | 95 | 0.020293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
97 | LV_4184-5_0_2_line_97 | NAYY 4x150 SE | 94 | 96 | 0.03604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4184-5_0_2_line_98 | NAYY 4x150 SE | 95 | 97 | 0.014476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
99 | LV_4184-5_0_2_line_99 | NAYY 4x150 SE | 96 | 101 | 0.017506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4184-5_0_2_line_100 | NAYY 4x150 SE | 96 | 102 | 0.007495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4184-5_0_2_line_101 | NAYY 4x150 SE | 97 | 99 | 0.021625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4184-5_0_2_line_102 | NAYY 4x150 SE | 99 | 100 | 0.0018741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4184-5_0_2_line_103 | NAYY 4x150 SE | 100 | 103 | 0.013426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4184-5_0_2_line_104 | NAYY 4x150 SE | 102 | 107 | 0.032051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4184-5_0_2_line_105 | NAYY 4x150 SE | 104 | 105 | 0.043993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4184-5_0_2_line_106 | NAYY 4x150 SE | 105 | 106 | 0.040925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4184-5_0_2_line_107 | NAYY 4x150 SE | 107 | 108 | 0.017929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4184-5_0_2_line_108 | NAYY 4x150 SE | 108 | 109 | 0.012648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4184-5_0_2_line_109 | NAYY 4x150 SE | 109 | 110 | 0.0031757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4184-5_0_2_line_110 | NAYY 4x150 SE | 110 | 111 | 0.00060709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4184-5_0_2_line_111 | NAYY 4x150 SE | 111 | 125 | 0.0092064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_4184-5_0_2_line_112 | NAYY 4x150 SE | 112 | 113 | 0.084599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_4184-5_0_2_line_113 | NAYY 4x150 SE | 112 | 114 | 0.011801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_4184-5_0_2_line_114 | NAYY 4x150 SE | 114 | 115 | 0.13938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_4184-5_0_2_line_115 | NAYY 4x150 SE | 115 | 116 | 0.039866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_4184-5_0_2_line_116 | NAYY 4x150 SE | 116 | 117 | 0.028297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_4184-5_0_2_line_117 | NAYY 4x150 SE | 117 | 118 | 0.012905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_4184-5_0_2_line_118 | NAYY 4x150 SE | 117 | 119 | 0.042427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_4184-5_0_2_line_119 | NAYY 4x150 SE | 118 | 120 | 0.024896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_4184-5_0_2_line_120 | NAYY 4x150 SE | 119 | 121 | 0.029757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_4184-5_0_2_line_121 | NAYY 4x150 SE | 119 | 122 | 0.017106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_4184-5_0_2_line_122 | NAYY 4x150 SE | 120 | 123 | 0.027587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_4184-5_0_2_line_123 | NAYY 4x150 SE | 122 | 124 | 0.0074087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_4184-5_0_2_line_124 | NAYY 4x150 SE | 124 | 136 | 0.021834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_4184-5_0_2_line_125 | NAYY 4x150 SE | 125 | 130 | 0.010688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_4184-5_0_2_line_126 | NAYY 4x150 SE | 126 | 127 | 0.017189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_4184-5_0_2_line_127 | NAYY 4x150 SE | 126 | 128 | 0.0022067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_4184-5_0_2_line_128 | NAYY 4x150 SE | 127 | 129 | 0.024256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_4184-5_0_2_line_129 | NAYY 4x150 SE | 128 | 130 | 0.034524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_4184-5_0_2_line_130 | NAYY 4x150 SE | 128 | 131 | 0.026947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_4184-5_0_2_line_131 | NAYY 4x150 SE | 129 | 132 | 0.055107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_4184-5_0_2_line_132 | NAYY 4x150 SE | 131 | 133 | 0.012977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4184-5_0_2_line_133 | NAYY 4x150 SE | 132 | 134 | 0.029283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4184-5_0_2_line_134 | NAYY 4x150 SE | 133 | 135 | 0.022563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4184-5_0_2_line_135 | NAYY 4x150 SE | 133 | 136 | 0.014647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4184-5_0_2_line_136 | NAYY 4x150 SE | 134 | 140 | 0.032021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_4184-5_0_2_line_137 | NAYY 4x150 SE | 134 | 137 | 0.015357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_4184-5_0_2_line_138 | NAYY 4x150 SE | 135 | 143 | 0.030699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_4184-5_0_2_line_139 | NAYY 4x150 SE | 137 | 138 | 0.011538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_4184-5_0_2_line_140 | NAYY 4x150 SE | 138 | 139 | 0.017516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_4184-5_0_2_line_141 | NAYY 4x150 SE | 140 | 141 | 0.03678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_4184-5_0_2_line_142 | NAYY 4x150 SE | 141 | 142 | 0.021946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_4184-5_0_2_line_143 | NAYY 4x150 SE | 142 | 144 | 0.016656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_4184-5_0_2_line_144 | NAYY 4x150 SE | 144 | 145 | 0.041824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_4184-5_0_2_line_145 | NAYY 4x150 SE | 145 | 149 | 0.048874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_4184-5_0_2_line_146 | NAYY 4x150 SE | 146 | 147 | 0.065666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_4184-5_0_2_line_147 | NAYY 4x150 SE | 147 | 148 | 0.0090229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_4184-5_0_2_line_148 | NAYY 4x150 SE | 148 | 149 | 0.05209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4184-5_0_2_trafo_89 | 0.25 MVA 20/0.4 kV | 150 | 80 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2652996.3288 | 1269721.148 | 2652975.84 | 1269709.4222 | 2652951.516 | 1269695.7608 | 2652932.2523 | 1269679.1314 | 2652921.1595 | 1269665.0771 | 2652914.1652 | 1269657.987 | 2652908.4124 | 1269653.4099 | 2652898.7225 | 1269651.5662 | 2652898.6746 | 1269651.5801
1 | 2653448.8805 | 1269037.1575 | 2652996.3288 | 1269721.148
2 | 2653448.8805 | 1269037.1575 | 2653427.0305 | 1269012.6862 | 2653409.1938 | 1268991.9342
3 | 2653409.1938 | 1268991.9342 | 2653385.5737 | 1268964.4536 | 2653385.5393 | 1268964.3656
4 | 2652638.2587 | 1268367.9433 | 2652626.929 | 1268364.9069 | 2652616.8339 | 1268361.776
5 | 2652638.2587 | 1268367.9433 | 2652641.5667 | 1268361.5792 | 2652643.3966 | 1268358.0707 | 2652643.5248 | 1268352.9791 | 2652643.6251 | 1268342.5612 | 2652640.9704 | 1268331.3626 | 2652648.6494 | 1268319.2665 | 2652661.053 | 1268313.2836 | 2652673.1626 | 1268306.5087 | 2652694.2817 | 1268297.1233 | 2652715.8483 | 1268281.4483
6 | 2652638.2587 | 1268367.9433 | 2652633.9334 | 1268371.0849 | 2652627.0751 | 1268375.5494 | 2652623.6006 | 1268378.643 | 2652644.9478 | 1268390.9199 | 2652672.509 | 1268406.8327 | 2652689.4173 | 1268423.9961 | 2652696.2416 | 1268430.9287 | 2652716.4062 | 1268441.5942 | 2652738.5793 | 1268455.7357 | 2652784.9665 | 1268489.6859 | 2652802.2628 | 1268502.1051 | 2652811.1562 | 1268507.3996
7 | 2652680.9386 | 1268100.381 | 2652715.8483 | 1268281.4483
8 | 2652811.1562 | 1268507.3996 | 2652834.4076 | 1268519.5497 | 2652849.5431 | 1268527.4473
9 | 2652811.1562 | 1268507.3996 | 2652818.7983 | 1268501.9639 | 2652829.4318 | 1268500.3354 | 2652846.8465 | 1268500.3466 | 2652858.1497 | 1268498.7243 | 2652863.1065 | 1268496.3816
10 | 2652948.1845 | 1268107.0286 | 2652928.8826 | 1268107.5228 | 2652903.7395 | 1268108.9322 | 2652889.0003 | 1268110.0678 | 2652852.7185 | 1268114.8247 | 2652827.847 | 1268117.8602 | 2652817.0807 | 1268119.1094 | 2652807.6886 | 1268119.0254 | 2652797.4926 | 1268118.7786 | 2652787.3107 | 1268117.8092 | 2652773.7115 | 1268116.0199 | 2652760.5972 | 1268113.0451 | 2652717.5733 | 1268103.2985 | 2652692.8102 | 1268100.9316 | 2652680.9386 | 1268100.381
11 | 2652948.1845 | 1268107.0286 | 2652972.7346 | 1268107.9603 | 2652987.4977 | 1268109.1935 | 2653000.6865 | 1268110.5794 | 2653039.8698 | 1268117.2934
12 | 2652868.6158 | 1268542.4433 | 2652866.4793 | 1268540.1072 | 2652856.176 | 1268530.9082 | 2652849.5431 | 1268527.4473
13 | 2652876.1373 | 1268490.2232 | 2652863.1065 | 1268496.3816
14 | 2652877.7186 | 1268552.3967 | 2652868.6158 | 1268542.4433
15 | 2652895.4133 | 1268608.4834 | 2652894.0877 | 1268617.0112 | 2652896.9579 | 1268627.6114 | 2652903.7451 | 1268635.2778 | 2652931.5194 | 1268647.3687 | 2652934.8677 | 1268648.5825
16 | 2652895.4133 | 1268608.4834 | 2652901.002 | 1268606.2873 | 2652909.7681 | 1268601.3954 | 2652935.3474 | 1268598.9337 | 2652944.0467 | 1268598.7452
17 | 2652934.8677 | 1268648.5825 | 2652938.4683 | 1268649.8877
18 | 2652963.2958 | 1268598.328 | 2652944.0467 | 1268598.7452
19 | 2652876.1373 | 1268490.2232 | 2652872.628 | 1268483.7537 | 2652848.6424 | 1268477.935
20 | 2652876.1373 | 1268490.2232 | 2652891.5483 | 1268482.0328 | 2652911.34 | 1268474.4948
21 | 2653179.6132 | 1268123.8232 | 2653179.4917 | 1268109.5063 | 2653176.7653 | 1268109.3702
22 | 2653178.5807 | 1268142.9896 | 2653179.7072 | 1268134.9048 | 2653179.6132 | 1268123.8232
23 | 2653148.7445 | 1268107.2282 | 2653157.7579 | 1268108.4212 | 2653176.7653 | 1268109.3702
24 | 2653178.5807 | 1268142.9896 | 2653167.0245 | 1268142.5298 | 2653156.3064 | 1268140.9211
25 | 2653214.6636 | 1268141.1128 | 2653194.9836 | 1268142.648 | 2653178.5807 | 1268142.9896
26 | 2653156.3064 | 1268140.9211 | 2653155.63 | 1268148.3427 | 2653152.9147 | 1268160.007
27 | 2653156.3064 | 1268140.9211 | 2653155.2649 | 1268140.717
28 | 2653214.6636 | 1268141.1128 | 2653210.7859 | 1268145.4812
29 | 2653214.6636 | 1268141.1128 | 2653229.9413 | 1268139.5159 | 2653253.891 | 1268138.1542
30 | 2653155.2649 | 1268140.717 | 2653133.5566 | 1268136.4633
31 | 2653279.797 | 1268136.8518 | 2653267.0801 | 1268137.4043 | 2653253.891 | 1268138.1542
32 | 2653104.1934 | 1268130.1448 | 2653117.1709 | 1268133.2526 | 2653133.5566 | 1268136.4633
33 | 2653279.797 | 1268136.8518 | 2653321.7913 | 1268134.8936
34 | 2653279.797 | 1268136.8518 | 2653278.2189 | 1268125.7294 | 2653274.1322 | 1268114.0394
35 | 2652963.2958 | 1268598.328 | 2652950.3518 | 1268593.2639 | 2652923.4388 | 1268582.4593 | 2652904.9749 | 1268573.5875 | 2652882.5252 | 1268557.6526 | 2652877.7186 | 1268552.3967
36 | 2652963.2958 | 1268598.328 | 2652975.2111 | 1268597.2562 | 2652985.5016 | 1268597.771 | 2652995.7849 | 1268598.6162
37 | 2653035.7137 | 1268605.2601 | 2653008.1298 | 1268599.6308 | 2652995.7849 | 1268598.6162
38 | 2653183.3669 | 1268769.2305 | 2653173.2007 | 1268754.0944 | 2653160.888 | 1268707.3712 | 2653150.1033 | 1268692.3742 | 2653135.9129 | 1268685.3637 | 2653114.411 | 1268676.2971 | 2653109.259 | 1268673.4376 | 2653100.6001 | 1268665.5651 | 2653083.1148 | 1268649.1737 | 2653057.8769 | 1268625.3628 | 2653049.3696 | 1268620.7052 | 2653039.3201 | 1268617.6572 | 2653036.8485 | 1268612.976 | 2653035.7137 | 1268605.2601
39 | 2653219.4427 | 1268208.4582 | 2653217.8575 | 1268208.4915 | 2653205.9371 | 1268207.8573
40 | 2653194.2489 | 1268211.5925 | 2653198.0067 | 1268209.7916 | 2653204.2716 | 1268207.7687 | 2653205.9371 | 1268207.8573
41 | 2653219.4427 | 1268208.4582 | 2653243.1179 | 1268207.9609
42 | 2653194.2489 | 1268211.5925 | 2653183.5975 | 1268216.6973
43 | 2653263.1228 | 1268207.4903 | 2653251.5662 | 1268207.7834 | 2653243.1179 | 1268207.9609
44 | 2653171.8363 | 1268222.9066 | 2653176.7362 | 1268219.9856 | 2653183.5975 | 1268216.6973
45 | 2653265.7432 | 1268207.4238 | 2653263.1228 | 1268207.4903
46 | 2653171.8363 | 1268222.9066 | 2653151.5993 | 1268234.9707 | 2653147.9656 | 1268236.9414
47 | 2653265.7432 | 1268207.4238 | 2653287.9759 | 1268206.8599
48 | 2653145.1121 | 1268238.489 | 2653147.9656 | 1268236.9414
49 | 2653104.1934 | 1268130.1448 | 2653098.3328 | 1268128.9849
50 | 2653098.3328 | 1268128.9849 | 2653086.7094 | 1268126.6845
51 | 2653086.7094 | 1268126.6845 | 2653078.0032 | 1268124.9614 | 2653041.4316 | 1268117.561 | 2653039.8698 | 1268117.2934
52 | 2653134.9135 | 1268017.4151 | 2653132.0809 | 1268011.6548
53 | 2653136.6117 | 1268019.0967 | 2653134.9135 | 1268017.4151 | 2653134.9135 | 1268017.4151
54 | 2653136.6117 | 1268019.0967 | 2653146.3905 | 1268028.7794
55 | 2653148.5579 | 1268030.9256 | 2653148.5579 | 1268030.9256 | 2653146.3905 | 1268028.7794
56 | 2653148.5579 | 1268030.9256 | 2653163.1192 | 1268035.3709 | 2653180.6199 | 1268037.6855 | 2653190.8086 | 1268042.0915 | 2653194.6035 | 1268046.9293 | 2653197.5849 | 1268052.5737
57 | 2653251.6461 | 1268098.2632 | 2653241.2567 | 1268095.7186 | 2653227.7276 | 1268090.1484
58 | 2653220.7734 | 1268085.696 | 2653225.2698 | 1268089.1365 | 2653227.7276 | 1268090.1484
59 | 2653251.6461 | 1268098.2632 | 2653259.1675 | 1268100.1054 | 2653267.8006 | 1268106.7437 | 2653274.1322 | 1268114.0394
60 | 2653210.233 | 1268071.4881 | 2653216.3 | 1268082.2729 | 2653220.7734 | 1268085.696
61 | 2653210.233 | 1268071.4881 | 2653228.7676 | 1268061.7811 | 2653233.5293 | 1268057.8877 | 2653236.158 | 1268052.8843
62 | 2653210.233 | 1268071.4881 | 2653208.944 | 1268069.197 | 2653202.877 | 1268062.5931 | 2653197.5849 | 1268052.5737
63 | 2653237.7972 | 1268049.7641 | 2653236.158 | 1268052.8843
64 | 2653321.7913 | 1268134.8936 | 2653323.1486 | 1268134.8303
65 | 2653237.7972 | 1268049.7641 | 2653240.2681 | 1268045.0611 | 2653249.1667 | 1268037.2799 | 2653249.1667 | 1268037.2799
66 | 2652938.4683 | 1268649.8877 | 2652947.3396 | 1268653.1035 | 2652947.3396 | 1268653.1035
67 | 2653364.9208 | 1268911.5389 | 2653353.5436 | 1268902.2515 | 2653322.4049 | 1268874.6167 | 2653271.4394 | 1268826.6327 | 2653206.7293 | 1268782.2281 | 2653183.3669 | 1268769.2305
68 | 2653364.9208 | 1268911.5389 | 2653370.8618 | 1268926.7603
69 | 2653364.9208 | 1268911.5389 | 2653365.2693 | 1268884.6221 | 2653365.2804 | 1268883.6523
70 | 2653354.6046 | 1268137.2823 | 2653352.0193 | 1268136.8698 | 2653342.1061 | 1268135.3125 | 2653327.5489 | 1268134.6251 | 2653323.1486 | 1268134.8303
71 | 2653290.971 | 1268206.784 | 2653287.9759 | 1268206.8599
72 | 2653290.971 | 1268206.784 | 2653295.5499 | 1268206.6678
73 | 2653295.5499 | 1268206.6678 | 2653312.3596 | 1268206.2415
74 | 2653385.5393 | 1268964.3656 | 2653370.8618 | 1268926.7603
75 | 2653315.8541 | 1268206.1529 | 2653312.3596 | 1268206.2415
76 | 2653315.8541 | 1268206.1529 | 2653325.6261 | 1268205.905 | 2653339.5279 | 1268205.9433
77 | 2653355.7377 | 1268205.9879 | 2653339.5279 | 1268205.9433
78 | 2653355.7377 | 1268205.9879 | 2653353.6419 | 1268192.3308
79 | 2653355.7377 | 1268205.9879 | 2653368.122 | 1268205.5882 | 2653375.5295 | 1268204.5654
80 | 2653375.3762 | 1268143.2186 | 2653373.0014 | 1268141.9963 | 2653354.6046 | 1268137.2823
81 | 2653354.6046 | 1268137.2823 | 2653352.6118 | 1268152.0975 | 2653352.5551 | 1268153.7826
82 | 2653375.5295 | 1268204.5654 | 2653383.7611 | 1268201.8448
83 | 2653375.5295 | 1268204.5654 | 2653374.2125 | 1268217.0106
84 | 2653374.2125 | 1268217.0106 | 2653373.2483 | 1268226.1222
85 | 2653367.4285 | 1268268.195 | 2653372.6494 | 1268231.7818 | 2653373.2483 | 1268226.1222
86 | 2653367.4285 | 1268268.195 | 2653356.9096 | 1268259.5715 | 2653346.6132 | 1268254.6416 | 2653337.0533 | 1268253.1542 | 2653323.3922 | 1268253.2867 | 2653294.3672 | 1268258.7512 | 2653292.0598 | 1268259.1181
87 | 2653399.3904 | 1268248.3912 | 2653394.3696 | 1268258.4755 | 2653392.1362 | 1268276.591 | 2653387.2141 | 1268294.0817 | 2653382.4408 | 1268288.4456 | 2653372.3541 | 1268274.4775 | 2653367.4285 | 1268268.195
88 | 2653383.7611 | 1268201.8448 | 2653384.5352 | 1268201.589 | 2653388.5323 | 1268200.68 | 2653392.8505 | 1268198.3839 | 2653397.4353 | 1268190.7419 | 2653398.0497 | 1268188.9132
89 | 2653399.3904 | 1268248.3912 | 2653403.9457 | 1268239.2586
90 | 2653399.3904 | 1268248.3912 | 2653407.2274 | 1268262.2945 | 2653412.6737 | 1268279.8078
91 | 2653406.0026 | 1268159.6629 | 2653403.5867 | 1268164.6559 | 2653401.1566 | 1268172.0505 | 2653399.8639 | 1268183.514 | 2653398.0497 | 1268188.9132
92 | 2653427.7524 | 1268340.3934 | 2653413.5975 | 1268282.7783 | 2653412.6737 | 1268279.8078
93 | 2653427.7524 | 1268340.3934 | 2653429.377 | 1268341.331 | 2653440.9763 | 1268346.1394 | 2653457.3092 | 1268348.4888 | 2653467.0272 | 1268347.8706
94 | 2653499.1979 | 1268344.4647 | 2653481.6398 | 1268346.941 | 2653467.0272 | 1268347.8706
95 | 2653406.0026 | 1268159.6629 | 2653414.3326 | 1268163.1741 | 2653419.0519 | 1268163.4219
96 | 2653406.0026 | 1268159.6629 | 2653393.0412 | 1268152.2959 | 2653388.252 | 1268149.835
97 | 2653453.8633 | 1268156.2151 | 2653444.344 | 1268160.2209 | 2653437.4923 | 1268162.1937 | 2653431.8143 | 1268163.3766 | 2653425.3308 | 1268163.7517 | 2653419.0519 | 1268163.4219
98 | 2653375.3762 | 1268143.2186 | 2653388.252 | 1268149.835
99 | 2653453.8633 | 1268156.2151 | 2653459.3309 | 1268168.3068 | 2653460.245 | 1268172.443
100 | 2653460.7249 | 1268153.1526 | 2653453.8633 | 1268156.2151
101 | 2653375.3762 | 1268143.2186 | 2653381.0306 | 1268135.4861 | 2653384.5366 | 1268131.4593 | 2653385.9079 | 1268124.8946
102 | 2653386.2911 | 1268123.0601 | 2653385.9079 | 1268124.8946
103 | 2653389.0363 | 1268109.9173 | 2653386.2911 | 1268123.0601
104 | 2653460.7249 | 1268153.1526 | 2653490.4166 | 1268141.0834
105 | 2653499.1979 | 1268344.4647 | 2653500.6689 | 1268360.7123 | 2653506.827 | 1268387.6975
106 | 2653506.827 | 1268387.6975 | 2653508.7039 | 1268395.9222 | 2653520.7708 | 1268426.0871
107 | 2653490.4166 | 1268141.0834 | 2653500.2479 | 1268137.0871 | 2653507.0228 | 1268134.3238
108 | 2653507.0228 | 1268134.3238 | 2653518.7341 | 1268129.5472
109 | 2653521.6746 | 1268128.3478 | 2653518.7341 | 1268129.5472
110 | 2653522.2368 | 1268128.1186 | 2653521.6746 | 1268128.3478
111 | 2653522.2368 | 1268128.1186 | 2653530.7614 | 1268124.6416
112 | 2653630.3335 | 1268357.5402 | 2653641.3354 | 1268385.8499 | 2653650.812 | 1268407.2407 | 2653653.701 | 1268423.0898 | 2653651.1641 | 1268432.2847 | 2653646.6103 | 1268434.8342
113 | 2653646.6103 | 1268434.8342 | 2653644.2816 | 1268426.896 | 2653643.1999 | 1268423.5373
114 | 2653573.9445 | 1268303.1998 | 2653589.4257 | 1268331.4055 | 2653618.3327 | 1268375.4224 | 2653637.5403 | 1268405.9638 | 2653643.1999 | 1268423.5373
115 | 2653573.9445 | 1268303.1998 | 2653564.549 | 1268288.5816 | 2653560.2818 | 1268281.9269 | 2653561.5093 | 1268267.3952
116 | 2653572.4666 | 1268242.0855 | 2653569.315 | 1268246.0266 | 2653562.2546 | 1268258.5719 | 2653561.5093 | 1268267.3952
117 | 2653572.4666 | 1268242.0855 | 2653580.1879 | 1268231.7449
118 | 2653586.4482 | 1268202.4829 | 2653583.0309 | 1268211.6476 | 2653575.2048 | 1268228.9562 | 2653572.2501 | 1268236.9131 | 2653572.4666 | 1268242.0855
119 | 2653580.1879 | 1268231.7449 | 2653580.2682 | 1268231.6374 | 2653587.6683 | 1268221.4747 | 2653598.2094 | 1268215.3513
120 | 2653557.383 | 1268195.7145 | 2653586.4482 | 1268202.4829
121 | 2653586.4482 | 1268202.4829 | 2653593.9553 | 1268192.1432 | 2653594.6076 | 1268187.8637
122 | 2653623.6822 | 1268204.8195 | 2653600.2204 | 1268214.183 | 2653598.2094 | 1268215.3513
123 | 2653595.7239 | 1268180.5396 | 2653594.6076 | 1268187.8637
124 | 2653585.4024 | 1268161.3821 | 2653588.0054 | 1268166.8817 | 2653593.499 | 1268175.2377 | 2653595.7239 | 1268180.5396 | 2653595.7239 | 1268180.5396
125 | 2653540.8344 | 1268121.0717 | 2653531.7717 | 1268124.2296 | 2653530.7614 | 1268124.6416
126 | 2653575.2039 | 1268108.2354 | 2653581.1622 | 1268104.8404 | 2653588.8984 | 1268097.9933
127 | 2653573.2866 | 1268109.3279 | 2653575.2039 | 1268108.2354
128 | 2653606.5135 | 1268081.3305 | 2653595.8739 | 1268091.8196 | 2653588.8984 | 1268097.9933
129 | 2653573.2866 | 1268109.3279 | 2653561.6083 | 1268114.0255 | 2653543.4971 | 1268120.1438 | 2653540.8344 | 1268121.0717
130 | 2653573.2866 | 1268109.3279 | 2653577.5153 | 1268118.573 | 2653578.524 | 1268125.1982 | 2653578.2763 | 1268129.2768 | 2653577.9201 | 1268135.2597
131 | 2653606.5135 | 1268081.3305 | 2653602.6401 | 1268077.7149 | 2653579.5331 | 1268053.7544 | 2653574.5464 | 1268048.4164 | 2653568.4943 | 1268042.7017 | 2653567.8518 | 1268042.0817
132 | 2653579.1363 | 1268148.143 | 2653577.7702 | 1268137.7785 | 2653577.9201 | 1268135.2597
133 | 2653546.7823 | 1268021.7451 | 2653567.8518 | 1268042.0817
134 | 2653579.1363 | 1268148.143 | 2653562.1863 | 1268154.0382 | 2653558.0176 | 1268156.0239
135 | 2653579.1363 | 1268148.143 | 2653585.4024 | 1268161.3821
136 | 2653546.7823 | 1268021.7451 | 2653541.3579 | 1268016.5143 | 2653525.0704 | 1268004.9138 | 2653520.8149 | 1268003.4858
137 | 2653546.7823 | 1268021.7451 | 2653540.7998 | 1268025.7828 | 2653533.189 | 1268028.6684
138 | 2653530.7249 | 1268169.9873 | 2653536.6447 | 1268166.2048 | 2653558.0176 | 1268156.0239
139 | 2653533.189 | 1268028.6684 | 2653522.4003 | 1268032.7589
140 | 2653505.9002 | 1268038.6351 | 2653520.7784 | 1268033.3738 | 2653522.4003 | 1268032.7589
141 | 2653520.8149 | 1268003.4858 | 2653508.6223 | 1267999.3942 | 2653484.9201 | 1267996.1816
142 | 2653463.173 | 1267993.2341 | 2653484.9201 | 1267996.1816
143 | 2653463.173 | 1267993.2341 | 2653463.6949 | 1267987.1231 | 2653472.9615 | 1267982.1369
144 | 2653472.9615 | 1267982.1369 | 2653489.9927 | 1267972.9727 | 2653502.4436 | 1267963.6007 | 2653508.2657 | 1267959.8974
145 | 2653532.7409 | 1267919.242 | 2653524.8269 | 1267931.2682 | 2653521.4982 | 1267940.6228 | 2653518.657 | 1267949.3368 | 2653515.3561 | 1267955.6227 | 2653512.4059 | 1267957.2639 | 2653508.2657 | 1267959.8974
146 | 2653415.5001 | 1267950.5024 | 2653429.4668 | 1267949.408 | 2653438.0923 | 1267946.8952 | 2653450.6544 | 1267940.2149 | 2653470.0821 | 1267929.2158 | 2653474.5818 | 1267925.0684
147 | 2653481.2165 | 1267918.9533 | 2653474.5818 | 1267925.0684
148 | 2653532.7409 | 1267919.242 | 2653507.2933 | 1267923.4148 | 2653481.2165 | 1267918.9533

## bus_geodata
| x | y | coords
0 | 2652898.6746 | 1269651.5801
1 | 2652996.3288 | 1269721.148
2 | 2653448.8805 | 1269037.1575
3 | 2653409.1938 | 1268991.9342
4 | 2652616.8339 | 1268361.776
5 | 2652638.2587 | 1268367.9433
6 | 2652715.8483 | 1268281.4483
7 | 2652811.1562 | 1268507.3996
8 | 2652680.9386 | 1268100.381
9 | 2652948.1845 | 1268107.0286
10 | 2652849.5431 | 1268527.4473
11 | 2652863.1065 | 1268496.3816
12 | 2652868.6158 | 1268542.4433
13 | 2652895.4133 | 1268608.4834
14 | 2652934.8677 | 1268648.5825
15 | 2652944.0467 | 1268598.7452
16 | 2652876.1373 | 1268490.2232
17 | 2653179.6132 | 1268123.8232
18 | 2653176.7653 | 1268109.3702
19 | 2653178.5807 | 1268142.9896
20 | 2653148.7445 | 1268107.2282
21 | 2653156.3064 | 1268140.9211
22 | 2653214.6636 | 1268141.1128
23 | 2653152.9147 | 1268160.007
24 | 2653155.2649 | 1268140.717
25 | 2653210.7859 | 1268145.4812
26 | 2653253.891 | 1268138.1542
27 | 2653133.5566 | 1268136.4633
28 | 2653279.797 | 1268136.8518
29 | 2652877.7186 | 1268552.3967
30 | 2652963.2958 | 1268598.328
31 | 2652995.7849 | 1268598.6162
32 | 2653035.7137 | 1268605.2601
33 | 2653205.9371 | 1268207.8573
34 | 2653219.4427 | 1268208.4582
35 | 2653194.2489 | 1268211.5925
36 | 2653243.1179 | 1268207.9609
37 | 2653183.5975 | 1268216.6973
38 | 2653263.1228 | 1268207.4903
39 | 2653171.8363 | 1268222.9066
40 | 2653265.7432 | 1268207.4238
41 | 2653147.9656 | 1268236.9414
42 | 2653104.1934 | 1268130.1448
43 | 2653098.3328 | 1268128.9849
44 | 2653086.7094 | 1268126.6845
45 | 2653039.8698 | 1268117.2934
46 | 2653132.0809 | 1268011.6548
47 | 2653134.9135 | 1268017.4151
48 | 2653136.6117 | 1268019.0967
49 | 2653146.3905 | 1268028.7794
50 | 2653148.5579 | 1268030.9256
51 | 2653227.7276 | 1268090.1484
52 | 2653251.6461 | 1268098.2632
53 | 2653220.7734 | 1268085.696
54 | 2653274.1322 | 1268114.0394
55 | 2653210.233 | 1268071.4881
56 | 2653236.158 | 1268052.8843
57 | 2653197.5849 | 1268052.5737
58 | 2653321.7913 | 1268134.8936
59 | 2653237.7972 | 1268049.7641
60 | 2653249.1667 | 1268037.2799
61 | 2652938.4683 | 1268649.8877
62 | 2652947.3396 | 1268653.1035
63 | 2653183.3669 | 1268769.2305
64 | 2653364.9208 | 1268911.5389
65 | 2653323.1486 | 1268134.8303
66 | 2652911.34 | 1268474.4948
67 | 2652848.6424 | 1268477.935
68 | 2653287.9759 | 1268206.8599
69 | 2653290.971 | 1268206.784
70 | 2653295.5499 | 1268206.6678
71 | 2653370.8618 | 1268926.7603
72 | 2653365.2804 | 1268883.6523
73 | 2653312.3596 | 1268206.2415
74 | 2653315.8541 | 1268206.1529
75 | 2653339.5279 | 1268205.9433
76 | 2653355.7377 | 1268205.9879
77 | 2653354.6046 | 1268137.2823
78 | 2653385.5393 | 1268964.3656
79 | 2653145.1121 | 1268238.489
80 | 2653353.6419 | 1268192.3308
81 | 2653375.5295 | 1268204.5654
82 | 2653374.2125 | 1268217.0106
83 | 2653373.2483 | 1268226.1222
84 | 2653367.4285 | 1268268.195
85 | 2653383.7611 | 1268201.8448
86 | 2653292.0598 | 1268259.1181
87 | 2653399.3904 | 1268248.3912
88 | 2653398.0497 | 1268188.9132
89 | 2653427.7524 | 1268340.3934
90 | 2653412.6737 | 1268279.8078
91 | 2653467.0272 | 1268347.8706
92 | 2653403.9457 | 1268239.2586
93 | 2653406.0026 | 1268159.6629
94 | 2653419.0519 | 1268163.4219
95 | 2653388.252 | 1268149.835
96 | 2653453.8633 | 1268156.2151
97 | 2653375.3762 | 1268143.2186
98 | 2653352.5551 | 1268153.7826
99 | 2653385.9079 | 1268124.8946
100 | 2653386.2911 | 1268123.0601
101 | 2653460.245 | 1268172.443
102 | 2653460.7249 | 1268153.1526
103 | 2653389.0363 | 1268109.9173
104 | 2653499.1979 | 1268344.4647
105 | 2653506.827 | 1268387.6975
106 | 2653520.7708 | 1268426.0871
107 | 2653490.4166 | 1268141.0834
108 | 2653507.0228 | 1268134.3238
109 | 2653518.7341 | 1268129.5472
110 | 2653521.6746 | 1268128.3478
111 | 2653522.2368 | 1268128.1186
112 | 2653646.6103 | 1268434.8342
113 | 2653630.3335 | 1268357.5402
114 | 2653643.1999 | 1268423.5373
115 | 2653573.9445 | 1268303.1998
116 | 2653561.5093 | 1268267.3952
117 | 2653572.4666 | 1268242.0855
118 | 2653580.1879 | 1268231.7449
119 | 2653586.4482 | 1268202.4829
120 | 2653598.2094 | 1268215.3513
121 | 2653557.383 | 1268195.7145
122 | 2653594.6076 | 1268187.8637
123 | 2653623.6822 | 1268204.8195
124 | 2653595.7239 | 1268180.5396
125 | 2653530.7614 | 1268124.6416
126 | 2653575.2039 | 1268108.2354
127 | 2653588.8984 | 1268097.9933
128 | 2653573.2866 | 1268109.3279
129 | 2653606.5135 | 1268081.3305
130 | 2653540.8344 | 1268121.0717
131 | 2653577.9201 | 1268135.2597
132 | 2653567.8518 | 1268042.0817
133 | 2653579.1363 | 1268148.143
134 | 2653546.7823 | 1268021.7451
135 | 2653558.0176 | 1268156.0239
136 | 2653585.4024 | 1268161.3821
137 | 2653533.189 | 1268028.6684
138 | 2653522.4003 | 1268032.7589
139 | 2653505.9002 | 1268038.6351
140 | 2653520.8149 | 1268003.4858
141 | 2653484.9201 | 1267996.1816
142 | 2653463.173 | 1267993.2341
143 | 2653530.7249 | 1268169.9873
144 | 2653472.9615 | 1267982.1369
145 | 2653508.2657 | 1267959.8974
146 | 2653415.5001 | 1267950.5024
147 | 2653474.5818 | 1267925.0684
148 | 2653481.2165 | 1267918.9533
149 | 2653532.7409 | 1267919.242
150 | 2653355.7377 | 1268205.9879

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1