## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4185-14_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4185-14_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4185-14_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4185-14_0_2_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_4185-14_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4185-14_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4185-14_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4185-14_0_2_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_4185-14_0_2_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_4185-14_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4185-14_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4185-14_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4185-14_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4185-14_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_4185-14_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_4185-14_0_2_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_4185-14_0_2_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_4185-14_0_2_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_4185-14_0_2_node_92 | 0.4 | n |  | TRUE
19 | bus_LV_4185-14_0_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_4185-14_0_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_4185-14_0_2_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_4185-14_0_2_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_4185-14_0_2_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_4185-14_0_2_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4185-14_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4185-14_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4185-14_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4185-14_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4185-14_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4185-14_0_2_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4185-14_0_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_4185-14_0_2_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_4185-14_0_2_node_89 | 0.4 | n |  | TRUE
34 | bus_LV_4185-14_0_2_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4185-14_0_2_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_4185-14_0_2_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4185-14_0_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_4185-14_0_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_4185-14_0_2_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_4185-14_0_2_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_4185-14_0_2_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4185-14_0_2_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4185-14_0_2_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4185-14_0_2_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4185-14_0_2_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_4185-14_0_2_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4185-14_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_4185-14_0_2_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4185-14_0_2_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4185-14_0_2_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_4185-14_0_2_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_4185-14_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_4185-14_0_2_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4185-14_0_2_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_4185-14_0_2_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4185-14_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_4185-14_0_2_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_4185-14_0_2_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_4185-14_0_2_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_4185-14_0_2_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_4185-14_0_2_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_4185-14_0_2_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_4185-14_0_2_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_4185-14_0_2_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_4185-14_0_2_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_4185-14_0_2_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_4185-14_0_2_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_4185-14_0_2_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_4185-14_0_2_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_4185-14_0_2_node_86 | 0.4 | n |  | TRUE
71 | bus_LV_4185-14_0_2_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_4185-14_0_2_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_4185-14_0_2_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_4185-14_0_2_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_4185-14_0_2_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_4185-14_0_2_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4185-14_0_2_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_4185-14_0_2_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_4185-14_0_2_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_4185-14_0_2_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_4185-14_0_2_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_4185-14_0_2_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_4185-14_0_2_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_4185-14_0_2_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_4185-14_0_2_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_4185-14_0_2_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_4185-14_0_2_node_96 | 0.4 | n |  | TRUE
88 | bus_LV_4185-14_0_2_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_4185-14_0_2_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_4185-14_0_2_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_4185-14_0_2_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_4185-14_0_2_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_4185-14_0_2_node_76 | 0.4 | n |  | TRUE
94 | bus_LV_4185-14_0_2_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_4185-14_0_2_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_4185-14_0_2_node_93 | 0.4 | n |  | TRUE
97 | bus_MV_304_0_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4185-14_0_2_load_0 | 0 | 0.0011948 | 0.00029944 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4185-14_0_2_load_6 | 3 | 0.0037698 | 0.0009448 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4185-14_0_2_load_4 | 4 | 0.0010542 | 0.00026422 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4185-14_0_2_load_5 | 5 | 0.0018898 | 0.00047364 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4185-14_0_2_load_7 | 6 | 0.00050113 | 0.00012559 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4185-14_0_2_load_43 | 7 | 0.0013724 | 0.00034396 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4185-14_0_2_load_35 | 8 | 0.0012573 | 0.00031511 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4185-14_0_2_load_8 | 9 | 0.0045092 | 0.0011301 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4185-14_0_2_load_9 | 10 | 0.0017955 | 0.00045 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4185-14_0_2_load_11 | 12 | 0.0014469 | 0.00036262 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4185-14_0_2_load_13 | 14 | 0.0031069 | 0.00077866 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4185-14_0_2_load_48 | 16 | 0.0020646 | 0.00051744 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4185-14_0_2_load_47 | 17 | 0.0026794 | 0.00067153 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4185-14_0_2_load_92 | 18 | 0.0012956 | 0.0003247 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4185-14_0_2_load_33 | 19 | 0.0012339 | 0.00030924 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4185-14_0_2_load_80 | 21 | 0.003079 | 0.00077167 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4185-14_0_2_load_46 | 22 | 0.0019683 | 0.00049331 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4185-14_0_2_load_91 | 23 | 0.0028635 | 0.00071767 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4185-14_0_2_load_14 | 24 | 0.00084958 | 0.00021292 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4185-14_0_2_load_15 | 25 | 0.00084325 | 0.00021134 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4185-14_0_2_load_17 | 27 | 0.010811 | 0.0027095 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4185-14_0_2_load_18 | 28 | 0.0017035 | 0.00042694 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4185-14_0_2_load_20 | 30 | 0.00097401 | 0.00024411 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4185-14_0_2_load_42 | 31 | 0.0041932 | 0.0010509 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4185-14_0_2_load_89 | 33 | 0.0018093 | 0.00045345 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4185-14_0_2_load_21 | 34 | 0.0012069 | 0.00030247 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4185-14_0_2_load_95 | 35 | 0.00081907 | 0.00020528 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4185-14_0_2_load_22 | 36 | 0.0011197 | 0.00028063 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4185-14_0_2_load_36 | 37 | 0.0019137 | 0.00047961 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4185-14_0_2_load_37 | 38 | 0.0015813 | 0.0003963 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4185-14_0_2_load_23 | 39 | 0.00091575 | 0.00022951 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4185-14_0_2_load_24 | 40 | 0.0017734 | 0.00044445 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4185-14_0_2_load_25 | 41 | 0.002889 | 0.00072406 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4185-14_0_2_load_26 | 42 | 0.0021175 | 0.00053069 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4185-14_0_2_load_27 | 43 | 0.0013498 | 0.00033829 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4185-14_0_2_load_28 | 44 | 0.0010083 | 0.00025271 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4185-14_0_2_load_29 | 45 | 0.0014451 | 0.00036218 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4185-14_0_2_load_30 | 46 | 0.00084977 | 0.00021297 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4185-14_0_2_load_39 | 47 | 0.00091442 | 0.00022918 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4185-14_0_2_load_38 | 48 | 0.0020679 | 0.00051827 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4185-14_0_2_load_40 | 49 | 0.0032483 | 0.00081409 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4185-14_0_2_load_34 | 50 | 0.0013715 | 0.00034373 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4185-14_0_2_load_41 | 51 | 0.0018195 | 0.000456 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4185-14_0_2_load_45 | 52 | 0.001375 | 0.00034461 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4185-14_0_2_load_44 | 53 | 0.00080791 | 0.00020248 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4185-14_0_2_load_81 | 54 | 0.0018559 | 0.00046514 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4185-14_0_2_load_49 | 55 | 0.0014886 | 0.00037307 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4185-14_0_2_load_50 | 56 | 0.0035184 | 0.00088179 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4185-14_0_2_load_98 | 57 | 0.0010548 | 0.00026436 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4185-14_0_2_load_51 | 58 | 0.0027168 | 0.00068089 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4185-14_0_2_load_52 | 59 | 0.0025822 | 0.00064716 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4185-14_0_2_load_53 | 60 | 0.0017853 | 0.00044744 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4185-14_0_2_load_79 | 61 | 0.0019871 | 0.00049801 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4185-14_0_2_load_54 | 63 | 0.0021525 | 0.00053946 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4185-14_0_2_load_55 | 64 | 0.0021524 | 0.00053944 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4185-14_0_2_load_56 | 65 | 0.0023202 | 0.00058149 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4185-14_0_2_load_57 | 66 | 0.0019805 | 0.00049637 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4185-14_0_2_load_85 | 69 | 0.00050756 | 0.00012721 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4185-14_0_2_load_86 | 70 | 0.00044768 | 0.0001122 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4185-14_0_2_load_59 | 72 | 0.00067184 | 0.00016838 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4185-14_0_2_load_60 | 73 | 0.001478 | 0.00037042 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4185-14_0_2_load_61 | 74 | 0.0012593 | 0.00031561 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4185-14_0_2_load_62 | 75 | 0.0017069 | 0.00042779 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4185-14_0_2_load_63 | 76 | 0.00055086 | 0.00013806 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4185-14_0_2_load_64 | 77 | 0.0014099 | 0.00035336 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4185-14_0_2_load_70 | 78 | 0.0010682 | 0.00026772 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4185-14_0_2_load_65 | 80 | 0.0016632 | 0.00041683 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4185-14_0_2_load_66 | 81 | 0.0014023 | 0.00035145 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4185-14_0_2_load_68 | 83 | 0.0017446 | 0.00043724 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4185-14_0_2_load_69 | 84 | 0.0014187 | 0.00035555 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4185-14_0_2_load_71 | 85 | 0.0019115 | 0.00047907 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4185-14_0_2_load_72 | 86 | 0.0021648 | 0.00054254 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4185-14_0_2_load_96 | 87 | 0.0012963 | 0.00032487 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4185-14_0_2_load_94 | 88 | 0.001477 | 0.00037018 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4185-14_0_2_load_75 | 89 | 0.0021048 | 0.00052752 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4185-14_0_2_load_73 | 90 | 0.0023442 | 0.00058752 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4185-14_0_2_load_83 | 91 | 0.0012659 | 0.00031728 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4185-14_0_2_load_84 | 92 | 0.00045226 | 0.00011335 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4185-14_0_2_load_76 | 93 | 0.0016806 | 0.00042121 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4185-14_0_2_load_87 | 94 | 0.00066798 | 0.00016741 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4185-14_0_2_load_88 | 95 | 0.00052623 | 0.00013188 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4185-14_0_2_load_93 | 96 | 0.0010361 | 0.00025968 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4185-14_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.065279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4185-14_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.082079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4185-14_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.011542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4185-14_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.00011323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4185-14_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.030632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4185-14_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.014661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4185-14_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.01058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4185-14_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.015175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4185-14_0_2_line_8 | NAYY 4x150 SE | 8 | 50 | 0.007068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4185-14_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.059002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4185-14_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0021571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4185-14_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.013437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4185-14_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.020554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4185-14_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.0438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4185-14_0_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.032369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4185-14_0_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.015013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4185-14_0_2_line_16 | NAYY 4x150 SE | 13 | 17 | 0.014375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4185-14_0_2_line_17 | NAYY 4x150 SE | 14 | 18 | 0.018068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4185-14_0_2_line_18 | NAYY 4x150 SE | 15 | 19 | 0.018924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4185-14_0_2_line_19 | NAYY 4x150 SE | 15 | 20 | 0.0805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4185-14_0_2_line_20 | NAYY 4x150 SE | 16 | 21 | 0.031467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4185-14_0_2_line_21 | NAYY 4x150 SE | 17 | 22 | 0.0092819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4185-14_0_2_line_22 | NAYY 4x150 SE | 18 | 23 | 0.048774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4185-14_0_2_line_23 | NAYY 4x150 SE | 19 | 50 | 0.010897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4185-14_0_2_line_24 | NAYY 4x150 SE | 20 | 48 | 0.024658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4185-14_0_2_line_25 | NAYY 4x150 SE | 20 | 45 | 0.013409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4185-14_0_2_line_26 | NAYY 4x150 SE | 21 | 54 | 0.004835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4185-14_0_2_line_27 | NAYY 4x150 SE | 22 | 42 | 0.015124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4185-14_0_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0013344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4185-14_0_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.043847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4185-14_0_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.0019984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4185-14_0_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.02524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4185-14_0_2_line_32 | NAYY 4x150 SE | 26 | 29 | 0.076225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4185-14_0_2_line_33 | NAYY 4x150 SE | 27 | 30 | 0.017448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4185-14_0_2_line_34 | NAYY 4x150 SE | 28 | 31 | 0.011949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4185-14_0_2_line_35 | NAYY 4x150 SE | 29 | 32 | 0.048881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4185-14_0_2_line_36 | NAYY 4x150 SE | 29 | 33 | 0.049116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4185-14_0_2_line_37 | NAYY 4x150 SE | 30 | 34 | 0.011229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4185-14_0_2_line_38 | NAYY 4x150 SE | 32 | 35 | 0.18907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4185-14_0_2_line_39 | NAYY 4x150 SE | 34 | 36 | 0.013507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4185-14_0_2_line_40 | NAYY 4x150 SE | 35 | 96 | 0.031125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4185-14_0_2_line_41 | NAYY 4x150 SE | 36 | 37 | 0.010267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4185-14_0_2_line_42 | NAYY 4x150 SE | 37 | 38 | 0.0124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4185-14_0_2_line_43 | NAYY 4x150 SE | 38 | 48 | 0.016331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4185-14_0_2_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0077497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4185-14_0_2_line_45 | NAYY 4x150 SE | 39 | 41 | 0.00661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4185-14_0_2_line_46 | NAYY 4x150 SE | 41 | 42 | 0.0052125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4185-14_0_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.020929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4185-14_0_2_line_48 | NAYY 4x150 SE | 43 | 45 | 0.045282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4185-14_0_2_line_49 | NAYY 4x150 SE | 44 | 46 | 0.022116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4185-14_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.021591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4185-14_0_2_line_51 | NAYY 4x150 SE | 47 | 49 | 0.019556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4185-14_0_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.01678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4185-14_0_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.013069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4185-14_0_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.019062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4185-14_0_2_line_55 | NAYY 4x150 SE | 54 | 68 | 0.0069931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4185-14_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.046554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4185-14_0_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.053714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4185-14_0_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.0053647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4185-14_0_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.02242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4185-14_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.016201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4185-14_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0092761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4185-14_0_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.020355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4185-14_0_2_line_63 | NAYY 4x150 SE | 62 | 71 | 0.022932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4185-14_0_2_line_64 | NAYY 4x150 SE | 62 | 93 | 0.044836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4185-14_0_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.027299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4185-14_0_2_line_66 | NAYY 4x150 SE | 63 | 65 | 0.0055317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4185-14_0_2_line_67 | NAYY 4x150 SE | 64 | 66 | 0.034159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4185-14_0_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.020158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4185-14_0_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.038713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4185-14_0_2_line_70 | NAYY 4x150 SE | 67 | 69 | 0.0070435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4185-14_0_2_line_71 | NAYY 4x150 SE | 68 | 70 | 0.021318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4185-14_0_2_line_72 | NAYY 4x150 SE | 69 | 71 | 0.022222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4185-14_0_2_line_73 | NAYY 4x150 SE | 70 | 94 | 0.006049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4185-14_0_2_line_74 | NAYY 4x150 SE | 71 | 92 | 0.0092035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4185-14_0_2_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0059933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4185-14_0_2_line_76 | NAYY 4x150 SE | 72 | 74 | 0.018326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4185-14_0_2_line_77 | NAYY 4x150 SE | 74 | 75 | 0.007361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4185-14_0_2_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0014982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4185-14_0_2_line_79 | NAYY 4x150 SE | 76 | 77 | 0.031161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4185-14_0_2_line_80 | NAYY 4x150 SE | 77 | 78 | 0.021301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4185-14_0_2_line_81 | NAYY 4x150 SE | 78 | 79 | 0.015613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4185-14_0_2_line_82 | NAYY 4x150 SE | 79 | 89 | 0.033541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4185-14_0_2_line_83 | NAYY 4x150 SE | 80 | 81 | 0.014015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4185-14_0_2_line_84 | NAYY 4x150 SE | 80 | 82 | 0.011607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4185-14_0_2_line_85 | NAYY 4x150 SE | 81 | 83 | 0.039897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4185-14_0_2_line_86 | NAYY 4x150 SE | 82 | 84 | 0.043688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4185-14_0_2_line_87 | NAYY 4x150 SE | 83 | 85 | 0.01621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4185-14_0_2_line_88 | NAYY 4x150 SE | 85 | 86 | 0.014355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4185-14_0_2_line_89 | NAYY 4x150 SE | 86 | 90 | 0.023632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4185-14_0_2_line_90 | NAYY 4x150 SE | 87 | 88 | 0.0209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4185-14_0_2_line_91 | NAYY 4x150 SE | 88 | 96 | 0.0015775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4185-14_0_2_line_92 | NAYY 4x150 SE | 89 | 93 | 0.0027643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4185-14_0_2_line_93 | NAYY 4x150 SE | 90 | 91 | 0.014607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4185-14_0_2_line_94 | NAYY 4x150 SE | 91 | 92 | 0.035846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4185-14_0_2_line_95 | NAYY 4x150 SE | 94 | 95 | 0.015885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4185-14_0_2_trafo_48 | 0.25 MVA 20/0.4 kV | 97 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2650141.8221 | 1259871.2434 | 2650144.5127 | 1259841.0114 | 2650142.5724 | 1259827.1741 | 2650143.7586 | 1259819.7121 | 2650145.8682 | 1259813.5701 | 2650145.9268 | 1259806.6657
1 | 2650141.8221 | 1259871.2434 | 2650120.1986 | 1259872.1944 | 2650102.1372 | 1259869.9177 | 2650070.3264 | 1259860.7754 | 2650061.6667 | 1259857.2108
2 | 2650061.6667 | 1259857.2108 | 2650050.4342 | 1259854.5542
3 | 2650050.324 | 1259854.5281 | 2650050.4342 | 1259854.5542
4 | 2650050.324 | 1259854.5281 | 2650042.6517 | 1259852.7135 | 2650027.8033 | 1259849.2523 | 2650020.3343 | 1259848.5522
5 | 2650005.707 | 1259848.2862 | 2650014.1123 | 1259847.9691 | 2650020.3343 | 1259848.5522
6 | 2649995.134 | 1259848.6654 | 2649996.0559 | 1259848.6504 | 2650005.707 | 1259848.2862
7 | 2649979.9614 | 1259848.9126 | 2649995.134 | 1259848.6654
8 | 2649972.946 | 1259849.5304 | 2649975.8318 | 1259848.9799 | 2649979.9614 | 1259848.9126
9 | 2649861.7479 | 1259810.7433 | 2649873.207 | 1259814.5569 | 2649883.328 | 1259819.1343 | 2649895.1983 | 1259826.3171 | 2649913.355 | 1259838.639
10 | 2649859.7011 | 1259810.0622 | 2649861.7479 | 1259810.7433
11 | 2649924.0771 | 1259846.7359 | 2649914.128 | 1259839.1636 | 2649913.355 | 1259838.639
12 | 2649861.5385 | 1259789.6854 | 2649861.7642 | 1259797.7819 | 2649860.3947 | 1259806.4655 | 2649859.7011 | 1259810.0622
13 | 2649859.7011 | 1259810.0622 | 2649849.6191 | 1259807.1085 | 2649832.472 | 1259804.5179 | 2649826.4008 | 1259804.0998 | 2649816.5568 | 1259803.4318
14 | 2649949.8341 | 1259866.3395 | 2649924.0771 | 1259846.7359
15 | 2649861.5385 | 1259789.6854 | 2649858.9475 | 1259786.806 | 2649854.2149 | 1259784.0531 | 2649848.7517 | 1259782.5552
16 | 2649861.5385 | 1259789.6854 | 2649868.8994 | 1259786.4228 | 2649874.7616 | 1259784.052
17 | 2649798.5304 | 1259802.2085 | 2649816.5568 | 1259803.4318
18 | 2649949.8341 | 1259866.3395 | 2649952.3108 | 1259863.1026 | 2649958.3542 | 1259855.2035 | 2649962.7245 | 1259852.9831
19 | 2649949.8341 | 1259866.3395 | 2649963.8306 | 1259876.0645 | 2649984.0716 | 1259887.0987 | 2650002.7499 | 1259893.9724 | 2649996.5479 | 1259913.5117
20 | 2649819.29 | 1259772.2952 | 2649825.7768 | 1259776.1637 | 2649832.0639 | 1259778.6961 | 2649842.4995 | 1259780.8411 | 2649848.7517 | 1259782.5552
21 | 2649874.7616 | 1259784.052 | 2649879.0258 | 1259782.3275 | 2649883.6982 | 1259782.0251
22 | 2649750.2888 | 1259795.4404 | 2649765.2321 | 1259798.6705 | 2649798.5304 | 1259802.2085 | 2649798.5304 | 1259802.2085
23 | 2649972.946 | 1259849.5304 | 2649967.46 | 1259850.577 | 2649962.7245 | 1259852.9831
24 | 2649996.5479 | 1259913.5117 | 2649991.2876 | 1259911.6882 | 2649972.2959 | 1259909.7495
25 | 2649996.5479 | 1259913.5117 | 2649990.2366 | 1259925.3425
26 | 2649819.29 | 1259772.2952 | 2649819.29 | 1259772.2952 | 2649816.2748 | 1259768.5156
27 | 2649898.7912 | 1259781.0486 | 2649883.6982 | 1259782.0251
28 | 2649889.5056 | 1259901.7148 | 2649888.1769 | 1259901.5918
29 | 2649844.516 | 1259897.552 | 2649888.1769 | 1259901.5918
30 | 2649889.5056 | 1259901.7148 | 2649891.4955 | 1259901.8989
31 | 2649844.516 | 1259897.552 | 2649838.0312 | 1259904.2021 | 2649826.1938 | 1259914.895
32 | 2649844.516 | 1259897.552 | 2649825.4229 | 1259890.6975 | 2649779.9219 | 1259874.7702 | 2649772.2359 | 1259872.7931
33 | 2649891.4955 | 1259901.8989 | 2649908.8695 | 1259903.5065
34 | 2649826.1938 | 1259914.895 | 2649817.3267 | 1259922.9047
35 | 2649724.0068 | 1259878.3362 | 2649750.5768 | 1259872.6109 | 2649762.5184 | 1259871.3103 | 2649772.2359 | 1259872.7931
36 | 2649772.2359 | 1259872.7931 | 2649770.5657 | 1259884.9877 | 2649770.3259 | 1259894.6814 | 2649767.0467 | 1259906.4177 | 2649763.0172 | 1259910.5868 | 2649756.4033 | 1259916.8768
37 | 2649920.051 | 1259904.5411 | 2649908.8695 | 1259903.5065
38 | 2649724.0068 | 1259878.3362 | 2649555.3666 | 1259792.8516
39 | 2649933.5 | 1259905.7893 | 2649933.1015 | 1259905.7486 | 2649920.051 | 1259904.5411
40 | 2649542.415 | 1259764.5839 | 2649543.091 | 1259766.2403 | 2649550.7033 | 1259784.239 | 2649555.3666 | 1259792.8516
41 | 2649933.5 | 1259905.7893 | 2649943.7139 | 1259906.8319
42 | 2649956.0497 | 1259908.0911 | 2649943.7139 | 1259906.8319
43 | 2649956.0497 | 1259908.0911 | 2649972.2959 | 1259909.7495
44 | 2649917.9914 | 1259778.2592 | 2649913.0809 | 1259780.124 | 2649910.589 | 1259780.2852
45 | 2649903.9928 | 1259780.712 | 2649910.589 | 1259780.2852
46 | 2649898.7912 | 1259781.0486 | 2649903.9928 | 1259780.712
47 | 2649935.79 | 1259953.2587 | 2649952.9639 | 1259952.6939 | 2649956.705 | 1259952.5048
48 | 2649990.2366 | 1259925.3425 | 2649988.216 | 1259929.1302 | 2649981.5441 | 1259938.2804 | 2649975.5532 | 1259944.4342 | 2649968.7254 | 1259949.7359 | 2649960.8807 | 1259952.2937 | 2649956.705 | 1259952.5048
49 | 2649935.79 | 1259953.2587 | 2649914.2222 | 1259953.9681 | 2649913.6869 | 1259953.9998
50 | 2649892.3505 | 1259956.5119 | 2649897.6257 | 1259954.9511 | 2649913.6869 | 1259953.9998
51 | 2649892.3505 | 1259956.5119 | 2649884.6907 | 1259958.7782 | 2649874.951 | 1259962.6211 | 2649874.1644 | 1259963.3871
52 | 2649874.1644 | 1259963.3871 | 2649865.6347 | 1259971.6935 | 2649862.0745 | 1259975.023
53 | 2649852.5117 | 1259983.9311 | 2649853.1916 | 1259983.3303 | 2649862.0745 | 1259975.023
54 | 2649838.1393 | 1259996.4513 | 2649842.3334 | 1259992.9235 | 2649852.5117 | 1259983.9311
55 | 2649811.9138 | 1259763.0488 | 2649816.2748 | 1259768.5156
56 | 2649897.9523 | 1259703.4236 | 2649885.9206 | 1259702.0397 | 2649876.7878 | 1259700.9064 | 2649868.1159 | 1259696.9417 | 2649854.4567 | 1259689.1913
57 | 2649897.9523 | 1259703.4236 | 2649902.7304 | 1259649.9222
58 | 2649849.7908 | 1259686.5439 | 2649854.4567 | 1259689.1913
59 | 2649849.7908 | 1259686.5439 | 2649849.3781 | 1259686.3097 | 2649833.1438 | 1259677.3111 | 2649830.286 | 1259675.4983
60 | 2649816.6055 | 1259666.8201 | 2649830.286 | 1259675.4983
61 | 2649808.1737 | 1259670.6866 | 2649816.6055 | 1259666.8201 | 2649816.6055 | 1259666.8201
62 | 2649789.3963 | 1259678.5217 | 2649800.5575 | 1259674.1792 | 2649808.1737 | 1259670.6866
63 | 2649789.3963 | 1259678.5217 | 2649786.3185 | 1259701.2453
64 | 2649789.3963 | 1259678.5217 | 2649791.5862 | 1259633.7393
65 | 2649869.2178 | 1259730.5441 | 2649846.4281 | 1259719.7753 | 2649844.3625 | 1259719.4379
66 | 2649874.2192 | 1259732.9075 | 2649869.2178 | 1259730.5441
67 | 2649844.3625 | 1259719.4379 | 2649834.7995 | 1259717.876 | 2649824.3271 | 1259718.2993 | 2649811.1472 | 1259722.9847
68 | 2649792.1535 | 1259729.7368 | 2649811.1472 | 1259722.9847
69 | 2649811.9138 | 1259763.0488 | 2649801.7183 | 1259746.707 | 2649792.1535 | 1259729.7368
70 | 2649792.1535 | 1259729.7368 | 2649789.9 | 1259723.0635
71 | 2649811.9138 | 1259763.0488 | 2649807.004 | 1259765.2313 | 2649798.1015 | 1259766.3016 | 2649791.1237 | 1259766.3717
72 | 2649786.3185 | 1259701.2453 | 2649787.9398 | 1259717.2592 | 2649789.9 | 1259723.0635
73 | 2649791.1237 | 1259766.3717 | 2649789.667 | 1259766.3863 | 2649785.117 | 1259765.7646
74 | 2649786.3185 | 1259701.2453 | 2649782.2508 | 1259692.9895
75 | 2649750.1322 | 1259513.4749 | 2649748.4178 | 1259507.7321
76 | 2649750.1322 | 1259513.4749 | 2649750.7745 | 1259515.6261 | 2649758.4415 | 1259529.7613
77 | 2649761.9451 | 1259536.2349 | 2649761.5588 | 1259535.5086 | 2649758.4415 | 1259529.7613
78 | 2649761.9451 | 1259536.2349 | 2649762.6486 | 1259537.5576
79 | 2649762.6486 | 1259537.5576 | 2649777.2815 | 1259565.0697
80 | 2649787.3204 | 1259583.8566 | 2649782.8612 | 1259575.5605 | 2649777.2815 | 1259565.0697
81 | 2649794.7125 | 1259597.6091 | 2649787.3204 | 1259583.8566
82 | 2649794.7125 | 1259597.6091 | 2649792.6736 | 1259611.5018 | 2649791.7212 | 1259630.9783
83 | 2649704.5578 | 1259554.9213 | 2649710.9237 | 1259567.4071
84 | 2649699.2857 | 1259544.5809 | 2649704.5578 | 1259554.9213
85 | 2649710.9237 | 1259567.4071 | 2649729.046 | 1259602.9512
86 | 2649699.2857 | 1259544.5809 | 2649697.6378 | 1259551.4386 | 2649694.1004 | 1259562.4946 | 2649684.7716 | 1259585.7178
87 | 2649736.4087 | 1259617.3922 | 2649729.046 | 1259602.9512
88 | 2649736.4087 | 1259617.3922 | 2649737.5172 | 1259619.5662 | 2649743.7777 | 1259629.7039
89 | 2649756.1944 | 1259649.8105 | 2649743.7777 | 1259629.7039
90 | 2649541.819 | 1259763.1233 | 2649535.3142 | 1259747.1839 | 2649533.2672 | 1259744.1207
91 | 2649542.415 | 1259764.5839 | 2649541.819 | 1259763.1233
92 | 2649791.5862 | 1259633.7393 | 2649791.7212 | 1259630.9783
93 | 2649763.8695 | 1259662.239 | 2649756.1944 | 1259649.8105
94 | 2649763.8695 | 1259662.239 | 2649779.8491 | 1259688.1149 | 2649782.2508 | 1259692.9895
95 | 2649769.3783 | 1259763.6138 | 2649785.117 | 1259765.7646

## bus_geodata
| x | y | coords
0 | 2650145.9268 | 1259806.6657
1 | 2650141.8221 | 1259871.2434
2 | 2650061.6667 | 1259857.2108
3 | 2650050.4342 | 1259854.5542
4 | 2650050.324 | 1259854.5281
5 | 2650020.3343 | 1259848.5522
6 | 2650005.707 | 1259848.2862
7 | 2649995.134 | 1259848.6654
8 | 2649979.9614 | 1259848.9126
9 | 2649861.7479 | 1259810.7433
10 | 2649913.355 | 1259838.639
11 | 2649859.7011 | 1259810.0622
12 | 2649924.0771 | 1259846.7359
13 | 2649861.5385 | 1259789.6854
14 | 2649816.5568 | 1259803.4318
15 | 2649949.8341 | 1259866.3395
16 | 2649848.7517 | 1259782.5552
17 | 2649874.7616 | 1259784.052
18 | 2649798.5304 | 1259802.2085
19 | 2649962.7245 | 1259852.9831
20 | 2649996.5479 | 1259913.5117
21 | 2649819.29 | 1259772.2952
22 | 2649883.6982 | 1259782.0251
23 | 2649750.2888 | 1259795.4404
24 | 2649888.1769 | 1259901.5918
25 | 2649889.5056 | 1259901.7148
26 | 2649844.516 | 1259897.552
27 | 2649891.4955 | 1259901.8989
28 | 2649826.1938 | 1259914.895
29 | 2649772.2359 | 1259872.7931
30 | 2649908.8695 | 1259903.5065
31 | 2649817.3267 | 1259922.9047
32 | 2649724.0068 | 1259878.3362
33 | 2649756.4033 | 1259916.8768
34 | 2649920.051 | 1259904.5411
35 | 2649555.3666 | 1259792.8516
36 | 2649933.5 | 1259905.7893
37 | 2649943.7139 | 1259906.8319
38 | 2649956.0497 | 1259908.0911
39 | 2649910.589 | 1259780.2852
40 | 2649917.9914 | 1259778.2592
41 | 2649903.9928 | 1259780.712
42 | 2649898.7912 | 1259781.0486
43 | 2649956.705 | 1259952.5048
44 | 2649935.79 | 1259953.2587
45 | 2649990.2366 | 1259925.3425
46 | 2649913.6868 | 1259953.9998
47 | 2649892.3505 | 1259956.5119
48 | 2649972.2959 | 1259909.7495
49 | 2649874.1644 | 1259963.3871
50 | 2649972.946 | 1259849.5304
51 | 2649862.0745 | 1259975.023
52 | 2649852.5117 | 1259983.9311
53 | 2649838.1394 | 1259996.4513
54 | 2649816.2748 | 1259768.5156
55 | 2649897.9523 | 1259703.4236
56 | 2649854.4567 | 1259689.1913
57 | 2649902.7304 | 1259649.9222
58 | 2649849.7908 | 1259686.5439
59 | 2649830.286 | 1259675.4983
60 | 2649816.6055 | 1259666.8201
61 | 2649808.1737 | 1259670.6866
62 | 2649789.3963 | 1259678.5217
63 | 2649869.2178 | 1259730.5441
64 | 2649844.3625 | 1259719.4379
65 | 2649874.2192 | 1259732.9075
66 | 2649811.1472 | 1259722.9847
67 | 2649792.1535 | 1259729.7368
68 | 2649811.9138 | 1259763.0488
69 | 2649789.9 | 1259723.0635
70 | 2649791.1237 | 1259766.3717
71 | 2649786.3185 | 1259701.2453
72 | 2649750.1322 | 1259513.4749
73 | 2649748.4178 | 1259507.7321
74 | 2649758.4415 | 1259529.7613
75 | 2649761.9451 | 1259536.2349
76 | 2649762.6486 | 1259537.5576
77 | 2649777.2815 | 1259565.0697
78 | 2649787.3204 | 1259583.8566
79 | 2649794.7125 | 1259597.6091
80 | 2649704.5578 | 1259554.9213
81 | 2649710.9237 | 1259567.4071
82 | 2649699.2857 | 1259544.5809
83 | 2649729.046 | 1259602.9512
84 | 2649684.7716 | 1259585.7178
85 | 2649736.4087 | 1259617.3922
86 | 2649743.7777 | 1259629.7039
87 | 2649533.2672 | 1259744.1207
88 | 2649541.819 | 1259763.1233
89 | 2649791.7212 | 1259630.9783
90 | 2649756.1944 | 1259649.8105
91 | 2649763.8695 | 1259662.239
92 | 2649782.2508 | 1259692.9895
93 | 2649791.5862 | 1259633.7393
94 | 2649785.117 | 1259765.7646
95 | 2649769.3783 | 1259763.6138
96 | 2649542.415 | 1259764.5839
97 | 2649861.5385 | 1259789.6854

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1