## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4185-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4185-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4185-3_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4185-3_0_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_4185-3_0_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_4185-3_0_2_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_4185-3_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4185-3_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4185-3_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4185-3_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4185-3_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4185-3_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4185-3_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4185-3_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4185-3_0_2_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_4185-3_0_2_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_4185-3_0_2_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_4185-3_0_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_4185-3_0_2_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_4185-3_0_2_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_4185-3_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4185-3_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4185-3_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4185-3_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4185-3_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_4185-3_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4185-3_0_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4185-3_0_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_4185-3_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4185-3_0_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_4185-3_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_4185-3_0_2_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_4185-3_0_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_4185-3_0_2_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_4185-3_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4185-3_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4185-3_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4185-3_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_4185-3_0_2_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_4185-3_0_2_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_4185-3_0_2_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_4185-3_0_2_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_4185-3_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_4185-3_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_4185-3_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_4185-3_0_2_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_4185-3_0_2_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_4185-3_0_2_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_4185-3_0_2_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_4185-3_0_2_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_4185-3_0_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4185-3_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_4185-3_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4185-3_0_2_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_4185-3_0_2_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_4185-3_0_2_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_4185-3_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_4185-3_0_2_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_4185-3_0_2_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_4185-3_0_2_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_4185-3_0_2_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_4185-3_0_2_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_4185-3_0_2_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_4185-3_0_2_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_4185-3_0_2_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_4185-3_0_2_node_65 | 0.4 | n |  | TRUE
66 | bus_MV_304_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4185-3_0_2_load_0 | 0 | 0.0042893 | 0.001075 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4185-3_0_2_load_1 | 1 | 0.010922 | 0.0027373 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4185-3_0_2_load_3 | 2 | 0.011114 | 0.0027854 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4185-3_0_2_load_15 | 4 | 0.0013047 | 0.00032699 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4185-3_0_2_load_13 | 5 | 0.0028697 | 0.00071922 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4185-3_0_2_load_4 | 6 | 0.0010972 | 0.00027498 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4185-3_0_2_load_5 | 7 | 0.0016664 | 0.00041763 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4185-3_0_2_load_6 | 8 | 0.0013532 | 0.00033915 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4185-3_0_2_load_7 | 9 | 0.00052856 | 0.00013247 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4185-3_0_2_load_9 | 10 | 0.00035567 | 8.914e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4185-3_0_2_load_10 | 11 | 0.00052955 | 0.00013272 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4185-3_0_2_load_12 | 12 | 0.0003716 | 9.3132e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4185-3_0_2_load_52 | 15 | 0.0012751 | 0.00031956 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4185-3_0_2_load_56 | 16 | 0.00038479 | 9.6438e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4185-3_0_2_load_23 | 17 | 0.00080955 | 0.00020289 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4185-3_0_2_load_45 | 18 | 0.0005987 | 0.00015005 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4185-3_0_2_load_47 | 19 | 0.004064 | 0.0010185 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4185-3_0_2_load_16 | 20 | 0.0006594 | 0.00016526 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4185-3_0_2_load_17 | 21 | 0.0033576 | 0.0008415 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4185-3_0_2_load_18 | 22 | 0.0033091 | 0.00082933 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4185-3_0_2_load_20 | 24 | 0.0052236 | 0.0013092 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4185-3_0_2_load_21 | 25 | 0.00032766 | 8.212e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4185-3_0_2_load_24 | 28 | 0.0038269 | 0.00095911 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4185-3_0_2_load_31 | 29 | 0.00036318 | 9.1022e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4185-3_0_2_load_29 | 30 | 0.00036569 | 9.1651e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4185-3_0_2_load_35 | 31 | 0.0018383 | 0.00046072 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4185-3_0_2_load_33 | 32 | 0.0005918 | 0.00014832 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4185-3_0_2_load_27 | 34 | 0.00040685 | 0.00010197 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4185-3_0_2_load_28 | 35 | 0.00022732 | 5.6972e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4185-3_0_2_load_30 | 36 | 0.00050659 | 0.00012696 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4185-3_0_2_load_41 | 38 | 0.00042625 | 0.00010683 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4185-3_0_2_load_68 | 39 | 0.00039632 | 9.9327e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4185-3_0_2_load_40 | 40 | 0.001062 | 0.00026616 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4185-3_0_2_load_36 | 42 | 0.0093042 | 0.0023318 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4185-3_0_2_load_38 | 43 | 0.00055118 | 0.00013814 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4185-3_0_2_load_63 | 46 | 0.0023546 | 0.00059013 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4185-3_0_2_load_57 | 47 | 0.0048873 | 0.0012249 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4185-3_0_2_load_54 | 48 | 0.0047841 | 0.001199 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4185-3_0_2_load_64 | 49 | 0.00091 | 0.00022807 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4185-3_0_2_load_42 | 50 | 0.0069249 | 0.0017355 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4185-3_0_2_load_43 | 51 | 0.0023723 | 0.00059455 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4185-3_0_2_load_46 | 53 | 0.0040136 | 0.0010059 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4185-3_0_2_load_49 | 54 | 0.0016803 | 0.00042113 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4185-3_0_2_load_48 | 55 | 0.0088218 | 0.002211 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4185-3_0_2_load_51 | 57 | 0.0013149 | 0.00032953 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4185-3_0_2_load_53 | 58 | 0.0048236 | 0.0012089 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4185-3_0_2_load_62 | 60 | 0.0007472 | 0.00018727 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4185-3_0_2_load_58 | 61 | 0.0023762 | 0.00059554 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4185-3_0_2_load_59 | 62 | 0.00055796 | 0.00013984 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4185-3_0_2_load_61 | 63 | 0.0012951 | 0.00032457 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4185-3_0_2_load_67 | 64 | 0.00067898 | 0.00017017 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4185-3_0_2_load_65 | 65 | 0.00018152 | 4.5494e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4185-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.059407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4185-3_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.01461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4185-3_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0012025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4185-3_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.034231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4185-3_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4185-3_0_2_line_5 | NAYY 4x150 SE | 4 | 14 | 0.02256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4185-3_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0078106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4185-3_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.019686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4185-3_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0099496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4185-3_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.038873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4185-3_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.013225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4185-3_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.027626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4185-3_0_2_line_12 | NAYY 4x150 SE | 12 | 16 | 0.017121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4185-3_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.009619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4185-3_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.028548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4185-3_0_2_line_15 | NAYY 4x150 SE | 14 | 17 | 0.037122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4185-3_0_2_line_16 | NAYY 4x150 SE | 15 | 18 | 0.017406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4185-3_0_2_line_17 | NAYY 4x150 SE | 16 | 19 | 0.022428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4185-3_0_2_line_18 | NAYY 4x150 SE | 17 | 29 | 0.0082455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4185-3_0_2_line_19 | NAYY 4x150 SE | 18 | 51 | 0.025754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4185-3_0_2_line_20 | NAYY 4x150 SE | 19 | 52 | 0.011059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4185-3_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.013146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4185-3_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.034505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4185-3_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0062656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4185-3_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.0031058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4185-3_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0065246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4185-3_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.019109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4185-3_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.047855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4185-3_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.023285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4185-3_0_2_line_29 | NAYY 4x150 SE | 27 | 31 | 0.036291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4185-3_0_2_line_30 | NAYY 4x150 SE | 27 | 32 | 0.014508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4185-3_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.016711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4185-3_0_2_line_32 | NAYY 4x150 SE | 30 | 34 | 0.0032685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4185-3_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.014107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4185-3_0_2_line_34 | NAYY 4x150 SE | 33 | 37 | 0.030658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4185-3_0_2_line_35 | NAYY 4x150 SE | 33 | 36 | 0.016632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4185-3_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.019205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4185-3_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0016117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4185-3_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.01881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4185-3_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.019326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4185-3_0_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.0047006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4185-3_0_2_line_41 | NAYY 4x150 SE | 41 | 44 | 0.022625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4185-3_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.013245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4185-3_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.0074693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4185-3_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.018902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4185-3_0_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.030195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4185-3_0_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.018022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4185-3_0_2_line_47 | NAYY 4x150 SE | 45 | 48 | 0.013755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4185-3_0_2_line_48 | NAYY 4x150 SE | 46 | 49 | 0.0039872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4185-3_0_2_line_49 | NAYY 4x150 SE | 47 | 59 | 0.0093377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4185-3_0_2_line_50 | NAYY 4x150 SE | 48 | 58 | 0.01024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4185-3_0_2_line_51 | NAYY 4x150 SE | 49 | 65 | 0.052587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4185-3_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0030844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4185-3_0_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.024362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4185-3_0_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.017267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4185-3_0_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0013424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4185-3_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.015099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4185-3_0_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.026067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4185-3_0_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.02828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4185-3_0_2_line_59 | NAYY 4x150 SE | 57 | 58 | 0.010657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4185-3_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.039304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4185-3_0_2_line_61 | NAYY 4x150 SE | 59 | 61 | 0.0087388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4185-3_0_2_line_62 | NAYY 4x150 SE | 60 | 64 | 0.029878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4185-3_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.067224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4185-3_0_2_line_64 | NAYY 4x150 SE | 62 | 63 | 0.01214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4185-3_0_2_trafo_45 | 0.25 MVA 20/0.4 kV | 66 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2649782.197 | 1262282.6837 | 2649782.1339 | 1262276.8355 | 2649781.4814 | 1262269.3247 | 2649780.2786 | 1262263.6438 | 2649778.9146 | 1262258.3174 | 2649777.0101 | 1262252.7641 | 2649774.3893 | 1262246.3819 | 2649770.6345 | 1262239.5788 | 2649765.5034 | 1262231.5966 | 2649762.9481 | 1262227.6704
1 | 2649755.581 | 1262215.0753 | 2649758.7872 | 1262221.2772 | 2649762.9481 | 1262227.6704
2 | 2649755.0288 | 1262214.007 | 2649755.581 | 1262215.0753
3 | 2649755.0288 | 1262214.007 | 2649746.6585 | 1262197.0134 | 2649742.3112 | 1262186.3025 | 2649741.2321 | 1262182.7341
4 | 2649755.0288 | 1262214.007 | 2649762.223 | 1262213.178 | 2649772.1185 | 1262208.4946
5 | 2649738.9051 | 1262160.422 | 2649738.8332 | 1262168.972 | 2649739.3864 | 1262174.8586 | 2649740.42 | 1262180.0488 | 2649741.2321 | 1262182.7341
6 | 2649819.1007 | 1262221.9569 | 2649813.6964 | 1262216.3179
7 | 2649819.1007 | 1262221.9569 | 2649832.722 | 1262236.1701
8 | 2649807.1865 | 1262208.7961 | 2649812.7789 | 1262215.3604 | 2649813.6964 | 1262216.3179
9 | 2649807.1865 | 1262208.7961 | 2649802.0737 | 1262202.7946 | 2649794.5738 | 1262192.5019 | 2649789.3655 | 1262182.9513 | 2649786.1678 | 1262176.3052
10 | 2649781.3128 | 1262164.0367 | 2649783.4568 | 1262170.6706 | 2649786.1678 | 1262176.3052
11 | 2649781.3128 | 1262164.0367 | 2649772.5963 | 1262137.8219
12 | 2649772.5963 | 1262137.8219 | 2649769.9529 | 1262129.8722 | 2649767.8201 | 1262121.3935
13 | 2649748.3119 | 1262162.5581 | 2649738.9051 | 1262160.422
14 | 2649748.3119 | 1262162.5581 | 2649747.3731 | 1262158.6252 | 2649746.2725 | 1262156.9147 | 2649743.6402 | 1262154.5798 | 2649735.1042 | 1262149.2265 | 2649730.7705 | 1262144.9537 | 2649729.3492 | 1262142.5526
15 | 2649738.9051 | 1262160.422 | 2649720.8176 | 1262156.6785 | 2649702.3269 | 1262154.2371
16 | 2649726.4931 | 1262125.7259 | 2649726.2171 | 1262132.7511 | 2649727.031 | 1262137.2056 | 2649728.4751 | 1262141.0761 | 2649729.3492 | 1262142.5526
17 | 2649762.3487 | 1262099.6431 | 2649767.8201 | 1262121.3935
18 | 2649694.1309 | 1262153.4056 | 2649696.894 | 1262153.5197 | 2649702.3269 | 1262154.2371
19 | 2649737.1651 | 1262103.5812 | 2649730.7554 | 1262109.1168 | 2649728.2083 | 1262115.4666 | 2649726.6293 | 1262122.2582 | 2649726.4931 | 1262125.7259
20 | 2649760.2558 | 1262088.7946 | 2649761.3507 | 1262095.6754 | 2649762.3487 | 1262099.6431
21 | 2649648.3879 | 1262208.1889 | 2649639.5599 | 1262209.3564 | 2649635.4017 | 1262210.1923
22 | 2649648.3879 | 1262208.1889 | 2649652.8416 | 1262207.5999 | 2649658.1549 | 1262208.2672 | 2649667.3559 | 1262211.5912 | 2649676.6362 | 1262216.2279 | 2649680.4678 | 1262218.5891
23 | 2649629.2589 | 1262211.4271 | 2649635.4017 | 1262210.1923
24 | 2649683.1119 | 1262220.2185 | 2649680.4678 | 1262218.5891
25 | 2649629.2589 | 1262211.4271 | 2649622.7343 | 1262211.4344
26 | 2649605.4086 | 1262204.9447 | 2649610.5873 | 1262209.08 | 2649618.7417 | 1262211.4389 | 2649622.7343 | 1262211.4344
27 | 2649608.3823 | 1262157.5913 | 2649605.7101 | 1262165.3967 | 2649604.5122 | 1262186.9577 | 2649605.4086 | 1262204.9447
28 | 2649605.4086 | 1262204.9447 | 2649600.5706 | 1262217.68 | 2649598.4319 | 1262227.1024
29 | 2649608.3823 | 1262157.5913 | 2649573.6649 | 1262168.1622
30 | 2649608.3823 | 1262157.5913 | 2649622.793 | 1262155.9138
31 | 2649694.1309 | 1262153.4056 | 2649677.4337 | 1262152.7159
32 | 2649674.168 | 1262152.581 | 2649677.4337 | 1262152.7159
33 | 2649636.8051 | 1262154.2827 | 2649622.793 | 1262155.9138
34 | 2649645.6777 | 1262124.9361 | 2649642.0513 | 1262136.0248 | 2649636.8051 | 1262154.2827
35 | 2649636.8051 | 1262154.2827 | 2649653.3905 | 1262153.045
36 | 2649674.168 | 1262152.581 | 2649664.7959 | 1262152.1938 | 2649654.9978 | 1262152.925
37 | 2649653.3905 | 1262153.045 | 2649654.9978 | 1262152.925
38 | 2649645.6777 | 1262124.9361 | 2649664.4882 | 1262124.935
39 | 2649683.8143 | 1262124.9339 | 2649664.4882 | 1262124.935
40 | 2649675.5006 | 1262074.25 | 2649673.3031 | 1262078.4054
41 | 2649675.5006 | 1262074.25 | 2649679.8302 | 1262055.7064 | 2649678.434 | 1262052.4034
42 | 2649675.5006 | 1262074.25 | 2649687.8385 | 1262079.0681
43 | 2649691.0516 | 1262085.8111 | 2649687.8385 | 1262079.0681
44 | 2649696.165 | 1262045.7142 | 2649678.434 | 1262052.4034
45 | 2649678.434 | 1262052.4034 | 2649667.2048 | 1262056.4232 | 2649658.0212 | 1262053.6886 | 2649653.7939 | 1262046.101
46 | 2649696.165 | 1262045.7142 | 2649689.1084 | 1262029.1316
47 | 2649696.165 | 1262045.7142 | 2649709.6494 | 1262042.9981
48 | 2649651.8534 | 1262042.6179 | 2649653.7939 | 1262046.101
49 | 2649685.4521 | 1262020.5395 | 2649689.1084 | 1262029.1316
50 | 2649719.6881 | 1262040.9761 | 2649709.6494 | 1262042.9981
51 | 2649651.8534 | 1262042.6179 | 2649602.2036 | 1262059.9463
52 | 2649739.6168 | 1262101.7272 | 2649738.61 | 1262102.3335 | 2649737.1651 | 1262103.5812
53 | 2649760.2558 | 1262088.7946 | 2649752.5051 | 1262093.9665 | 2649739.6168 | 1262101.7272
54 | 2649760.2558 | 1262088.7946 | 2649760.3463 | 1262071.5279
55 | 2649760.3533 | 1262070.1856 | 2649760.3463 | 1262071.5279
56 | 2649759.7547 | 1262055.0987 | 2649760.3553 | 1262069.804 | 2649760.3533 | 1262070.1856
57 | 2649756.7714 | 1262029.2337 | 2649758.178 | 1262036.6731 | 2649759.6556 | 1262052.6748 | 2649759.7547 | 1262055.0987
58 | 2649756.7714 | 1262029.2337 | 2649729.9738 | 1262038.271
59 | 2649719.6881 | 1262040.9761 | 2649725.3106 | 1262039.8436 | 2649729.9738 | 1262038.271
60 | 2649685.4521 | 1262020.5395 | 2649681.9337 | 1262019.6538 | 2649662.9192 | 1262012.3001 | 2649655.6174 | 1262007.9691 | 2649650.5429 | 1262003.4444
61 | 2649685.4521 | 1262020.5395 | 2649681.9561 | 1262012.5305
62 | 2649631.8835 | 1261980.3391 | 2649643.6077 | 1261997.2607 | 2649650.5429 | 1262003.4444
63 | 2649681.9561 | 1262012.5305 | 2649672.4795 | 1261990.8205 | 2649669.8765 | 1261986.7846 | 2649645.9534 | 1261956.3217
64 | 2649638.4557 | 1261946.7743 | 2649645.9534 | 1261956.3217

## bus_geodata
| x | y | coords
0 | 2649782.197 | 1262282.6837
1 | 2649762.9481 | 1262227.6704
2 | 2649755.581 | 1262215.0753
3 | 2649755.0288 | 1262214.007
4 | 2649741.2321 | 1262182.7341
5 | 2649772.1185 | 1262208.4946
6 | 2649819.1007 | 1262221.9569
7 | 2649813.6964 | 1262216.3179
8 | 2649832.722 | 1262236.1701
9 | 2649807.1865 | 1262208.7961
10 | 2649786.1678 | 1262176.3052
11 | 2649781.3128 | 1262164.0367
12 | 2649772.5963 | 1262137.8219
13 | 2649748.3119 | 1262162.5581
14 | 2649738.9051 | 1262160.422
15 | 2649729.3492 | 1262142.5526
16 | 2649767.8201 | 1262121.3935
17 | 2649702.3269 | 1262154.2371
18 | 2649726.4931 | 1262125.7259
19 | 2649762.3487 | 1262099.6431
20 | 2649648.3879 | 1262208.1889
21 | 2649635.4017 | 1262210.1923
22 | 2649680.4678 | 1262218.5891
23 | 2649629.2589 | 1262211.4271
24 | 2649683.1119 | 1262220.2185
25 | 2649622.7343 | 1262211.4344
26 | 2649605.4086 | 1262204.9447
27 | 2649608.3823 | 1262157.5913
28 | 2649598.4319 | 1262227.1024
29 | 2649694.1309 | 1262153.4056
30 | 2649677.4337 | 1262152.7159
31 | 2649573.6649 | 1262168.1622
32 | 2649622.793 | 1262155.9138
33 | 2649636.8051 | 1262154.2827
34 | 2649674.168 | 1262152.581
35 | 2649654.9978 | 1262152.925
36 | 2649653.3905 | 1262153.045
37 | 2649645.6777 | 1262124.9361
38 | 2649664.4882 | 1262124.935
39 | 2649683.8143 | 1262124.9339
40 | 2649673.3031 | 1262078.4054
41 | 2649675.5006 | 1262074.25
42 | 2649687.8385 | 1262079.0681
43 | 2649691.0516 | 1262085.8111
44 | 2649678.434 | 1262052.4034
45 | 2649696.165 | 1262045.7142
46 | 2649653.7939 | 1262046.101
47 | 2649689.1084 | 1262029.1316
48 | 2649709.6494 | 1262042.9981
49 | 2649651.8534 | 1262042.6179
50 | 2649739.6168 | 1262101.7272
51 | 2649737.1651 | 1262103.5812
52 | 2649760.2558 | 1262088.7946
53 | 2649760.3463 | 1262071.5279
54 | 2649760.3533 | 1262070.1856
55 | 2649759.7547 | 1262055.0987
56 | 2649756.7714 | 1262029.2337
57 | 2649729.9738 | 1262038.271
58 | 2649719.6881 | 1262040.9761
59 | 2649685.4521 | 1262020.5395
60 | 2649650.5429 | 1262003.4444
61 | 2649681.9561 | 1262012.5305
62 | 2649645.9534 | 1261956.3217
63 | 2649638.4557 | 1261946.7743
64 | 2649631.8835 | 1261980.3391
65 | 2649602.2036 | 1262059.9463
66 | 2649748.3119 | 1262162.5581

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1